## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-19 00:00:00 | 3.636 | 219.8 | 1.136 | 207.439 | 0 | 0 | 0.716 | 0 | 28.318 | 889.7 | 15.955 | 0.13074
2020-07-19 00:15:00 | 3.7 | 220.28 | 0.316 | 207.495 | 0 | 228.067 | 0 | 0 | 28.277 | 889.933 | 16.032 | 0.14496
2020-07-19 00:30:00 | 4.125 | 220.153 | 0 | 207.442 | 0 | 228 | 0 | 0 | 27.935 | 889.267 | 16.549 | 0.17196
2020-07-19 00:45:00 | 4.877 | 215.44 | 0.888 | 207.469 | 0 | 228.067 | 0 | 0 | 25.423 | 889.433 | 18.2 | 0.17764
2020-07-19 01:00:00 | 5.552 | 216.56 | 2.468 | 208.454 | 0 | 228.067 | 0 | 11.867 | 23.731 | 889.6 | 20.403 | 0.17764
2020-07-19 01:15:00 | 5.131 | 216.86 | 2.438 | 212.516 | 0 | 228 | 0.85 | 346.067 | 24.039 | 888.933 | 19.872 | 0.17196
2020-07-19 01:30:00 | 5.001 | 216.773 | 1.881 | 214.464 | 0 | 228.067 | 0 | 358 | 24.256 | 889.6 | 20.16 | 0.51445
2020-07-19 01:45:00 | 0 | 71.293 | 0.846 | 85.272 | 2.603 | 92.633 | 4.048 | 76.733 | 23.581 | 889.417 | 20.744 | 8.3705
2020-07-19 02:00:00 | 0.627 | 68.047 | 2.981 | 77.476 | 4.348 | 83.2 | 5.932 | 81.667 | 23.064 | 889.617 | 21.787 | 19.2734
2020-07-19 02:15:00 | 3.051 | 113.983 | 4.654 | 103.087 | 5.061 | 103.767 | 5.704 | 98.933 | 24.818 | 889.117 | 20.48 | 11.6888
2020-07-19 02:30:00 | 3.792 | 128.073 | 4.58 | 109.523 | 4.511 | 113 | 5.22 | 108.033 | 25.156 | 889.3 | 19.544 | 13.3437
2020-07-19 02:45:00 | 3.96 | 127.293 | 5.212 | 111.11 | 5.153 | 111.533 | 5.674 | 105.7 | 25.51 | 889.433 | 20.371 | 16.6585
2020-07-19 03:00:00 | 3.326 | 119.983 | 4.643 | 108.792 | 4.717 | 108.8 | 5.433 | 101.833 | 24.739 | 889.917 | 22.587 | 18.2289
2020-07-19 03:15:00 | 3.43 | 123.41 | 3.78 | 111.017 | 4.008 | 114.333 | 4.84 | 109.833 | 24.635 | 889.817 | 24.197 | 10.5647
2020-07-19 03:30:00 | 3.439 | 159.72 | 3.498 | 142.258 | 3.652 | 136.4 | 4.404 | 125.633 | 24.706 | 889.817 | 23.883 | 4.2414
2020-07-19 03:45:00 | 2.588 | 195.927 | 1.944 | 162.178 | 2.558 | 152.4 | 3.115 | 140.133 | 23.364 | 889.9 | 22.277 | 0.90882
2020-07-19 04:00:00 | 4.806 | 229.727 | 3.379 | 220.701 | 2.417 | 212.433 | 2.076 | 190.733 | 21.773 | 889.583 | 23.312 | 0.26078
2020-07-19 04:15:00 | 5.216 | 237.887 | 4.648 | 240.34 | 3.949 | 245.067 | 3.353 | 230.867 | 21.077 | 889.783 | 24.848 | 0.23946
2020-07-19 04:30:00 | 4.302 | 231.3 | 3.167 | 241.296 | 2.415 | 247 | 2.118 | 230.9 | 20.66 | 889.817 | 25.323 | 0.23733
2020-07-19 04:45:00 | 4.471 | 231.18 | 2.492 | 241.806 | 1.01 | 241.1 | 1.408 | 220.967 | 21.627 | 889.717 | 25.051 | 0.22241
2020-07-19 05:00:00 | 4.404 | 216.287 | 1.964 | 198.291 | 2.073 | 169.633 | 3.054 | 153.067 | 22.048 | 889.517 | 24.459 | 0.22028
2020-07-19 05:15:00 | 4.796 | 235.927 | 5.102 | 235.872 | 3.317 | 242 | 1.911 | 230.667 | 19.827 | 889.817 | 26.64 | 0.17764
2020-07-19 05:30:00 | 5.443 | 226.447 | 3.897 | 228.629 | 2.972 | 227.333 | 2.147 | 220.133 | 20.144 | 889.733 | 27.525 | 0.13998
2020-07-19 05:45:00 | 4.556 | 208.22 | 3.892 | 212.464 | 3.145 | 209.1 | 3.013 | 199.867 | 20.548 | 890.117 | 26.992 | 0.5315
2020-07-19 06:00:00 | 5.536 | 224.967 | 4.97 | 216.54 | 3.034 | 218.633 | 2.353 | 204.4 | 20.339 | 889.533 | 27.877 | 0.15561
2020-07-19 06:15:00 | 5.474 | 219.233 | 4.411 | 218.754 | 3.215 | 217.633 | 2.586 | 205.633 | 20.781 | 889.517 | 27.131 | 0.091663
2020-07-19 06:30:00 | 6.965 | 236.773 | 7.451 | 234.983 | 7.202 | 241.867 | 6.511 | 237.433 | 21.239 | 889.467 | 25.701 | 7.1646
2020-07-19 06:45:00 | 6.082 | 231.52 | 7.848 | 229.257 | 7.845 | 232.833 | 7.322 | 228 | 21.91 | 889.2 | 24.347 | 15.1344
2020-07-19 07:00:00 | 4.55 | 232.46 | 5.948 | 222.671 | 6.567 | 222.167 | 6.661 | 217.433 | 23.231 | 889.333 | 22.309 | 9.7319
2020-07-19 07:15:00 | 4.961 | 212.82 | 6.494 | 210.701 | 6.631 | 211.833 | 6.449 | 203.433 | 23.481 | 889.667 | 21.787 | 11.9667
2020-07-19 07:30:00 | 5.437 | 185.44 | 6.753 | 190.409 | 7.08 | 194.1 | 6.973 | 187.8 | 24.085 | 889.417 | 20.795 | 6.302
2020-07-19 07:45:00 | 3.676 | 180.107 | 4.103 | 171.162 | 3.603 | 169.467 | 3.596 | 158.667 | 25.339 | 889.433 | 19.683 | 2.4941
2020-07-19 08:00:00 | 2.666 | 164.827 | 2.762 | 160.279 | 2.851 | 161.667 | 3.603 | 157.7 | 26.86 | 889.4 | 18.275 | 2.7208
2020-07-19 08:15:00 | 3.424 | 155.833 | 3.007 | 154.728 | 2.792 | 160.867 | 2.881 | 157.433 | 27.314 | 889.767 | 17.645 | 2.5943
2020-07-19 08:30:00 | 3.24 | 150.247 | 3.19 | 146.638 | 3.168 | 151.433 | 3.534 | 149.167 | 26.814 | 889.867 | 17.827 | 4.1504
2020-07-19 08:45:00 | 2.664 | 179.947 | 2.607 | 178.436 | 2.787 | 184.967 | 3.312 | 183 | 28.16 | 889.733 | 17.453 | 2.6156
2020-07-19 09:00:00 | 2.668 | 208.38 | 2.451 | 203.812 | 2.348 | 207.067 | 2.533 | 203.4 | 29.798 | 889.733 | 15.968 | 0.15206
2020-07-19 09:15:00 | 2.916 | 244.033 | 2.923 | 248.733 | 3.079 | 254.583 | 3.307 | 251.567 | 31.485 | 889.267 | 15.009 | 0.19256
2020-07-19 09:30:00 | 3.856 | 309.107 | 3.974 | 303.125 | 3.941 | 306.633 | 4.18 | 302.467 | 29.614 | 889.5 | 15.031 | 1.4439
2020-07-19 09:45:00 | 3.92 | 310.453 | 4.147 | 300.314 | 3.948 | 301.533 | 4.236 | 299.667 | 29.581 | 889.333 | 15.549 | 1.7956
2020-07-19 10:00:00 | 4.129 | 325.4 | 4.267 | 331.595 | 4.171 | 336.467 | 4.509 | 335.5 | 30.114 | 889.267 | 15.888 | 2.3626
2020-07-19 10:15:00 | 4.915 | 327.947 | 5.098 | 324.178 | 4.885 | 330.267 | 5.104 | 329.033 | 30.11 | 889.033 | 17.032 | 4.4098
2020-07-19 10:30:00 | 4.765 | 306.973 | 5.341 | 324.176 | 5.37 | 324.433 | 5.845 | 321.4 | 30.073 | 889.8 | 17.601 | 8.3975
2020-07-19 10:45:00 | 5.014 | 287.813 | 5.295 | 341.834 | 5.353 | 275.8 | 5.819 | 322.4 | 29.956 | 889.5 | 17.467 | 8.6057
2020-07-19 11:00:00 | 3.78 | 264.615 | 4.134 | 283.531 | 4.137 | 292.067 | 4.2 | 316.1 | 30.36 | 889.8 | 17.215 | 7.2677
2020-07-19 11:15:00 | 4.467 | 175.915 | 4.564 | 309.641 | 4.933 | 215.667 | 5.095 | 228.9 | 30.799 | 889.7 | 16.852 | 6.5067
2020-07-19 11:30:00 | 4.01 | 316.173 | 4.211 | 308.387 | 4.464 | 313.9 | 4.636 | 310.5 | 31.299 | 889.267 | 16.416 | 2.9901
2020-07-19 11:45:00 | 3.643 | 105.372 | 3.961 | 165.865 | 4.047 | 132.2 | 4.211 | 154.033 | 31.857 | 889.733 | 16.073 | 1.6506
2020-07-19 12:00:00 | 4.706 | 338.213 | 4.859 | 330.506 | 4.966 | 332.833 | 5.431 | 330.733 | 32.338 | 889.567 | 17.365 | 4.2073
2020-07-19 12:15:00 | 5.508 | 33.68 | 5.91 | 57.222 | 6.136 | 40.167 | 6.012 | 19.267 | 31.631 | 889.4 | 19.087 | 11.4096
2020-07-19 12:30:00 | 5.187 | 36.393 | 5.448 | 74.587 | 5.655 | 45.4 | 5.706 | 44.7 | 31.86 | 889.367 | 19.111 | 15.5962
2020-07-19 12:45:00 | 3.823 | 65.061 | 3.749 | 158.256 | 3.738 | 100.7 | 3.635 | 130.5 | 31.659 | 889.567 | 18.345 | 6.7625
2020-07-19 13:00:00 | 5.782 | 63.877 | 6.307 | 174.71 | 6.69 | 119.9 | 6.808 | 154.033 | 32.604 | 889.6 | 17.467 | 7.0012
2020-07-19 13:15:00 | 1.964 | 147.956 | 1.138 | 96.168 | 1.167 | 36.035 | 2.076 | 45.733 | 32.498 | 889.3 | 17.541 | 4.7373
2020-07-19 13:30:00 | 4.022 | 323.827 | 4.18 | 314.985 | 4.148 | 313.733 | 4.729 | 309.417 | 31.963 | 889.7 | 18.027 | 10.9342
2020-07-19 13:45:00 | 14.122 | 270.133 | 15.703 | 261.174 | 15.912 | 265.483 | 15.575 | 258.6 | 29.798 | 889.333 | 20.369 | 66.0102
2020-07-19 14:00:00 | 14.919 | 230.313 | 15.772 | 229.172 | 16.234 | 233.2 | 16.414 | 231.767 | 28.789 | 890.133 | 24.357 | 79.8869
2020-07-19 14:15:00 | 12.663 | 209.86 | 14.004 | 208.272 | 14.59 | 209.633 | 15.049 | 204.733 | 27.731 | 889.633 | 25.68 | 88.5586
2020-07-19 14:30:00 | 6.382 | 205.533 | 6.811 | 199.137 | 7.039 | 206.267 | 6.669 | 205.2 | 29.331 | 889.55 | 21.341 | 53.802
2020-07-19 14:45:00 | 8.986 | 169.087 | 9.458 | 164.315 | 9.781 | 165.967 | 10.376 | 159.767 | 28.964 | 889.867 | 22.811 | 40.2891
2020-07-19 15:00:00 | 12.728 | 163.787 | 13.159 | 159.369 | 13.164 | 161.8 | 13.389 | 157.8 | 28.306 | 889.75 | 22.709 | 70.5067
2020-07-19 15:15:00 | 10.506 | 174.933 | 10.789 | 170.068 | 10.971 | 173.2 | 11.394 | 171 | 29.581 | 889.767 | 20.867 | 68.0716
2020-07-19 15:30:00 | 9.483 | 182.467 | 9.971 | 178.935 | 10.37 | 178.733 | 10.973 | 177.5 | 30.406 | 889.933 | 19.659 | 45.6347
2020-07-19 15:45:00 | 7.564 | 189.733 | 7.908 | 184.969 | 8.256 | 186.767 | 8.491 | 184.067 | 30.031 | 889.067 | 19.813 | 27.1046
2020-07-19 16:00:00 | 1.695 | 98.717 | 1.252 | 115.906 | 1.43 | 147.1 | 1.513 | 137.9 | 29.956 | 889.467 | 21.117 | 12.0697
2020-07-19 16:15:00 | 5.864 | 287.2 | 6.341 | 277.675 | 6.988 | 285.467 | 7.59 | 279.467 | 30.589 | 889.567 | 20.345 | 12.1244
2020-07-19 16:30:00 | 5.707 | 278.747 | 5.779 | 273.794 | 5.594 | 284.417 | 5.627 | 279.017 | 30.556 | 889.333 | 18.251 | 36.7704
2020-07-19 16:45:00 | 10.961 | 271.789 | 11.369 | 325.287 | 11.704 | 318.433 | 11.448 | 318.7 | 31.796 | 889.6 | 15.363 | 45.5637
2020-07-19 17:00:00 | 1.726 | 310.401 | 1.472 | 254.89 | 2.265 | 279.467 | 2.864 | 269.8 | 31.979 | 889.4 | 15.887 | 20.222
2020-07-19 17:15:00 | 2.53 | 296.587 | 2.56 | 302.6 | 2.895 | 309.167 | 3.115 | 310.6 | 32.36 | 889.667 | 15.241 | 4.5867
2020-07-19 17:30:00 | 2.877 | 311.093 | 2.634 | 299.883 | 3.208 | 289.267 | 3.604 | 290.767 | 33.096 | 889.467 | 14.361 | 1.3906
2020-07-19 17:45:00 | 5.394 | 276.16 | 5.757 | 271.267 | 5.711 | 277.5 | 5.5 | 275.633 | 33.096 | 889.333 | 14.869 | 13.672
2020-07-19 18:00:00 | 10.163 | 272.627 | 10.602 | 265.581 | 10.881 | 266.283 | 10.877 | 259.983 | 32.321 | 889.533 | 17.592 | 50.4936
2020-07-19 18:15:00 | 9.148 | 236.873 | 9.681 | 234.328 | 9.928 | 239.067 | 9.952 | 232.733 | 31.769 | 889.1 | 18.685 | 69.1474
2020-07-19 18:30:00 | 13.353 | 250.393 | 14.292 | 245.434 | 14.48 | 249.417 | 14.268 | 244.433 | 30.852 | 889.95 | 20.688 | 92.3566
2020-07-19 18:45:00 | 13.781 | 255.733 | 15.036 | 250.374 | 15.268 | 254.083 | 15.068 | 248.217 | 29.198 | 890.117 | 25.485 | 93.3152
2020-07-19 19:00:00 | 13.961 | 241.413 | 14.7 | 237.867 | 15.163 | 241.5 | 15.07 | 235.233 | 28.839 | 889.317 | 25.552 | 86.7971
2020-07-19 19:15:00 | 12.557 | 239 | 13.998 | 235.467 | 14.332 | 240.467 | 14.234 | 235.6 | 28.864 | 890.017 | 23.808 | 87.9411
2020-07-19 19:30:00 | 11.712 | 242.513 | 12.786 | 237.524 | 13.381 | 241.067 | 13.93 | 235.267 | 29.298 | 889.967 | 22.245 | 86.2784
2020-07-19 19:45:00 | 9.963 | 249.613 | 11.273 | 244.495 | 12.05 | 249.283 | 12.187 | 243.517 | 29.314 | 889.567 | 20.904 | 76.6254
2020-07-19 20:00:00 | 10.681 | 251.76 | 11.685 | 247.664 | 12.321 | 251.217 | 12.4 | 245.2 | 29.198 | 889.983 | 21.445 | 79.4598
2020-07-19 20:15:00 | 16.216 | 252 | 18.007 | 247.106 | 18.742 | 250.017 | 18.662 | 245.7 | 28.006 | 889.45 | 25.803 | 88.4549
2020-07-19 20:30:00 | 14.362 | 245.407 | 15.943 | 242.794 | 16.935 | 247.467 | 17.188 | 242.383 | 26.681 | 890 | 28.443 | 88.1835
2020-07-19 20:45:00 | 15.574 | 243.333 | 17.526 | 238.557 | 18.688 | 243.4 | 19.148 | 236.4 | 26.118 | 889.9 | 29.845 | 82.8819
2020-07-19 21:00:00 | 12.505 | 235.647 | 14.077 | 232.996 | 14.951 | 237.067 | 15.19 | 233 | 25.877 | 889.667 | 30.635 | 80.7779
2020-07-19 21:15:00 | 7.946 | 244.227 | 9.215 | 240.235 | 9.749 | 243.05 | 9.852 | 239 | 26.823 | 889.333 | 27.179 | 68.4062
2020-07-19 21:30:00 | 9.523 | 257.467 | 11.209 | 254.201 | 11.974 | 260.117 | 12.218 | 256.1 | 27.227 | 889.667 | 26.315 | 67.5486
2020-07-19 21:45:00 | 9.435 | 266.027 | 11.075 | 260.677 | 11.717 | 265.483 | 12.198 | 260.5 | 27.477 | 889.733 | 24.829 | 78.146
2020-07-19 22:00:00 | 10.034 | 243.147 | 11.62 | 237.315 | 12.657 | 242.8 | 12.924 | 238.133 | 26.577 | 889.883 | 27.685 | 88.1508
2020-07-19 22:15:00 | 8.861 | 245.46 | 10.395 | 238.928 | 11.622 | 243.467 | 11.804 | 238.267 | 26.927 | 889.867 | 26.821 | 83.0056
2020-07-19 22:30:00 | 7.98 | 243.807 | 9.401 | 240.773 | 10.308 | 244.167 | 10.748 | 239.167 | 27.139 | 889.883 | 25.989 | 64.01
2020-07-19 22:45:00 | 8.053 | 247.767 | 9.534 | 243.678 | 10.826 | 248.617 | 11.04 | 244.933 | 27.002 | 889.283 | 24.992 | 59.8674
2020-07-19 23:00:00 | 8.772 | 257.873 | 10.201 | 253.915 | 11.011 | 260.183 | 11.315 | 255.867 | 27.889 | 889.85 | 24.299 | 65.9051
2020-07-19 23:15:00 | 6.695 | 258.96 | 8.177 | 255.725 | 9.108 | 261.267 | 9.564 | 255.85 | 27.802 | 889.967 | 25.384 | 62.2264
2020-07-19 23:30:00 | 6.399 | 255.887 | 7.615 | 252.448 | 8.329 | 256.05 | 8.638 | 250.733 | 27.585 | 889.583 | 25.691 | 58.4477
2020-07-19 23:45:00 | 5.654 | 254.62 | 7.258 | 252.68 | 7.905 | 258.3 | 8.317 | 254.767 | 26.998 | 889.95 | 26.803 | 50.0978