## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-20 00:00:00 | 6.566 | 254.953 | 7.731 | 256.446 | 8.064 | 261.9 | 8.382 | 257.533 | 26.764 | 889.95 | 27.672 | 49.4974
2020-07-20 00:15:00 | 6.185 | 269.987 | 7.652 | 264.369 | 8.138 | 269.933 | 8.325 | 265.3 | 26.26 | 889.55 | 28.168 | 56.4957
2020-07-20 00:30:00 | 5.982 | 264.04 | 7.41 | 262.798 | 7.846 | 268.433 | 7.911 | 265.233 | 26.41 | 889.7 | 28.477 | 42.8834
2020-07-20 00:45:00 | 5.751 | 261.427 | 7.288 | 259.585 | 8.008 | 264.1 | 8.393 | 262.15 | 25.66 | 889.55 | 30.539 | 37.3055
2020-07-20 01:00:00 | 6.118 | 243.193 | 7.489 | 245.794 | 8.588 | 255.133 | 9.178 | 253.383 | 25.156 | 889.85 | 32.853 | 43.3794
2020-07-20 01:15:00 | 6.309 | 240.02 | 7.683 | 238.245 | 8.615 | 245.433 | 8.829 | 241.2 | 24.673 | 889.55 | 34.656 | 56.8539
2020-07-20 01:30:00 | 7.327 | 235.513 | 8.67 | 234.977 | 9.472 | 241.867 | 9.481 | 238.467 | 24.473 | 889.583 | 35.611 | 57.0272
2020-07-20 01:45:00 | 8.164 | 236.327 | 9.46 | 234.455 | 9.964 | 240.667 | 10.14 | 237.033 | 24.431 | 889.867 | 36.117 | 63.5033
2020-07-20 02:00:00 | 7.438 | 233.633 | 9.013 | 230.249 | 9.941 | 235.967 | 10.034 | 232.933 | 24.073 | 890.233 | 36.139 | 61.5763
2020-07-20 02:15:00 | 6.501 | 252.687 | 7.469 | 247.97 | 8.26 | 253.217 | 8.522 | 247.75 | 23.935 | 889.633 | 36.731 | 54.0258
2020-07-20 02:30:00 | 6.433 | 244.367 | 7.586 | 243.515 | 7.961 | 251.133 | 8.087 | 248.333 | 23.777 | 889.817 | 38.048 | 48.4869
2020-07-20 02:45:00 | 5.942 | 250.7 | 7.026 | 251.576 | 7.788 | 258.6 | 8.209 | 257.133 | 23.298 | 889.45 | 39.245 | 44.441
2020-07-20 03:00:00 | 5.693 | 238.167 | 6.644 | 241.292 | 7.295 | 250.733 | 7.739 | 251.417 | 23.094 | 889.767 | 39.397 | 38.2505
2020-07-20 03:15:00 | 6.618 | 218.693 | 7.659 | 221.173 | 7.984 | 227.9 | 7.711 | 226.633 | 22.464 | 889.7 | 41.227 | 43.2877
2020-07-20 03:30:00 | 6.299 | 230.127 | 7.575 | 231.355 | 8.253 | 239.433 | 8.49 | 236.967 | 22.777 | 890.067 | 41.909 | 55.3837
2020-07-20 03:45:00 | 6.779 | 232.88 | 7.979 | 233.546 | 8.878 | 241.633 | 9.147 | 238.167 | 22.948 | 890.342 | 43.381 | 61.9913
2020-07-20 04:00:00 | 6.578 | 236.1 | 7.763 | 235.581 | 8.514 | 242.833 | 8.671 | 239.467 | 22.381 | 889.65 | 44.789 | 57.1054
2020-07-20 04:15:00 | 7.047 | 233.4 | 8.411 | 233.646 | 9.081 | 241.433 | 9.403 | 241.167 | 22.631 | 889.892 | 44.779 | 50.6044
2020-07-20 04:30:00 | 6.736 | 230.433 | 7.859 | 232.803 | 8.54 | 240.667 | 8.519 | 239.833 | 22.348 | 889.883 | 44.395 | 42.7299
2020-07-20 04:45:00 | 7.035 | 225.393 | 7.878 | 226.674 | 8.31 | 234.6 | 8.372 | 232.9 | 22.214 | 889.825 | 43.616 | 38.0871
2020-07-20 05:00:00 | 6.373 | 219.133 | 7.726 | 219.181 | 8.16 | 225.967 | 8.074 | 224.433 | 22.498 | 890.183 | 43.061 | 39.4848
2020-07-20 05:15:00 | 7.045 | 227.3 | 8.027 | 227.053 | 8.72 | 232.8 | 8.932 | 227.933 | 22.564 | 890.133 | 42.571 | 39.1131
2020-07-20 05:30:00 | 6.392 | 230.8 | 7.739 | 232.176 | 8.274 | 239.033 | 8.311 | 235.167 | 22.531 | 890 | 42.837 | 34.1576
2020-07-20 05:45:00 | 6.902 | 238.367 | 8.403 | 237.621 | 9.072 | 244.633 | 9.13 | 241.783 | 22.581 | 889.7 | 44.544 | 41.1702
2020-07-20 06:00:00 | 6.924 | 234.6 | 8.086 | 232.661 | 8.604 | 240.533 | 8.858 | 236.433 | 22.194 | 889.858 | 47.456 | 49.1407
2020-07-20 06:15:00 | 7.439 | 231.353 | 8.426 | 229.272 | 8.901 | 234.6 | 9.17 | 231.3 | 21.539 | 889.8 | 48.288 | 47.1077
2020-07-20 06:30:00 | 6.511 | 234.613 | 7.562 | 234.837 | 8.235 | 243.033 | 8.315 | 238.5 | 21.677 | 889.858 | 47.499 | 43.2977
2020-07-20 06:45:00 | 6.858 | 236.88 | 7.862 | 236.462 | 8.572 | 244 | 8.98 | 237.9 | 21.794 | 889.8 | 45.984 | 53.9896
2020-07-20 07:00:00 | 7.254 | 242.993 | 8.678 | 241.273 | 9.72 | 248.7 | 10.106 | 243.717 | 22.298 | 889.708 | 44.917 | 54.477
2020-07-20 07:15:00 | 7.886 | 244.613 | 9.363 | 242.186 | 10.461 | 249.25 | 10.938 | 245.133 | 22.514 | 890.233 | 42.901 | 57.8266
2020-07-20 07:30:00 | 9.037 | 245.273 | 10.14 | 243.83 | 10.988 | 251.033 | 11.351 | 247.883 | 22.914 | 889.775 | 41.851 | 56.7743
2020-07-20 07:45:00 | 8.033 | 240.433 | 9.186 | 240.678 | 10.004 | 246.8 | 10.09 | 244.4 | 22.981 | 889.55 | 41.296 | 56.3998
2020-07-20 08:00:00 | 9.306 | 255.347 | 10.638 | 249.221 | 11.143 | 254.333 | 11.411 | 249.733 | 23.844 | 889.333 | 38.76 | 59.5384
2020-07-20 08:15:00 | 10.636 | 261.053 | 11.458 | 258.417 | 11.919 | 262.733 | 11.595 | 259.483 | 25.231 | 889.7 | 34.995 | 62.7096
2020-07-20 08:30:00 | 9.002 | 261.027 | 10.116 | 256.472 | 10.682 | 259.683 | 10.996 | 256.2 | 24.627 | 889.767 | 36.475 | 59.8837
2020-07-20 08:45:00 | 9.465 | 272.54 | 10.352 | 265.737 | 10.382 | 270.167 | 10.391 | 266.767 | 25.944 | 889.933 | 33.848 | 59.8588
2020-07-20 09:00:00 | 10.285 | 278.08 | 11.104 | 272.912 | 11.35 | 276.267 | 11.652 | 272.2 | 26.477 | 889.8 | 32.488 | 67.4669
2020-07-20 09:15:00 | 11.287 | 270.48 | 11.76 | 268.915 | 11.851 | 272.2 | 11.958 | 268.167 | 27.023 | 889.733 | 31.768 | 79.1273
2020-07-20 09:30:00 | 10.674 | 272.613 | 11.177 | 270.214 | 11.417 | 274.1 | 11.652 | 270.633 | 27.173 | 889.833 | 30.979 | 73.3688
2020-07-20 09:45:00 | 9.097 | 283.693 | 9.724 | 279.415 | 9.667 | 283.3 | 10.189 | 281.267 | 28.044 | 889.6 | 29.395 | 56.78
2020-07-20 10:00:00 | 9.237 | 287.067 | 9.516 | 279.503 | 9.388 | 285.167 | 9.801 | 283.267 | 28.335 | 889.65 | 27.677 | 43.9571
2020-07-20 10:15:00 | 8.486 | 296.827 | 9.008 | 291.416 | 9.196 | 296.7 | 9.567 | 294.033 | 28.902 | 889.667 | 26.749 | 36.0044
2020-07-20 10:30:00 | 7.93 | 307.027 | 8.309 | 305.724 | 8.586 | 309 | 8.983 | 305.5 | 29.131 | 889.567 | 25.803 | 36.7562
2020-07-20 10:45:00 | 7.692 | 285.2 | 8.062 | 283.531 | 8.306 | 288.7 | 8.449 | 286.233 | 28.948 | 889.9 | 25.507 | 34.9613
2020-07-20 11:00:00 | 6.214 | 284.613 | 6.364 | 280.755 | 6.604 | 287.3 | 6.873 | 287.4 | 28.602 | 889.833 | 26.171 | 24.0335
2020-07-20 11:15:00 | 6.497 | 289.827 | 6.675 | 284.737 | 6.877 | 290.233 | 7.264 | 287.4 | 29.031 | 889.917 | 25.813 | 19.7658
2020-07-20 11:30:00 | 6.281 | 295.84 | 6.568 | 288.089 | 6.745 | 292.1 | 6.806 | 290.7 | 29.798 | 889.583 | 23.813 | 17.9503
2020-07-20 11:45:00 | 6.093 | 294.827 | 6.421 | 288.052 | 6.455 | 292.7 | 6.756 | 287.133 | 29.714 | 889.483 | 24.221 | 19.0808
2020-07-20 12:00:00 | 7.533 | 301.78 | 7.708 | 290.618 | 7.892 | 296.05 | 8.031 | 293.6 | 29.914 | 889.317 | 23.888 | 19.1363
2020-07-20 12:15:00 | 6.496 | 309.973 | 6.729 | 300.89 | 7.149 | 305.167 | 7.372 | 299.933 | 30.048 | 889.417 | 24.056 | 18.3589
2020-07-20 12:30:00 | 6.195 | 266.313 | 6.377 | 265.7 | 6.625 | 269.433 | 6.656 | 265.367 | 30.923 | 889.633 | 23.139 | 14.2348
2020-07-20 12:45:00 | 5.779 | 260.527 | 6.042 | 257.31 | 6.008 | 259.867 | 5.863 | 253.55 | 31.302 | 889.517 | 21.947 | 7.5817
2020-07-20 13:00:00 | 5.871 | 258.76 | 5.947 | 256.205 | 6.038 | 258.933 | 6.359 | 257.717 | 31.448 | 889.617 | 21.856 | 6.5877
2020-07-20 13:15:00 | 2.166 | 295.947 | 1.842 | 305.394 | 2.102 | 296.633 | 2.487 | 294.167 | 30.698 | 889.883 | 21.912 | 6.0739
2020-07-20 13:30:00 | 5.195 | 312.133 | 5.462 | 303.907 | 5.797 | 305.1 | 5.929 | 301.267 | 30.523 | 889.55 | 23.024 | 3.1443
2020-07-20 13:45:00 | 3.546 | 267.847 | 3.897 | 257.258 | 4.108 | 256.067 | 4.273 | 252.783 | 31.462 | 889.633 | 20.752 | 10.0957
2020-07-20 14:00:00 | 3.173 | 269.213 | 3.374 | 254.844 | 3.603 | 250.717 | 4.264 | 243.033 | 32.665 | 889.3 | 19.129 | 13.5256
2020-07-20 14:15:00 | 3.726 | 239.587 | 3.477 | 236.793 | 3.699 | 240.1 | 3.932 | 233.6 | 32.659 | 889.467 | 19.072 | 15.0676
2020-07-20 14:30:00 | 3.342 | 254.313 | 3.344 | 253.593 | 4.129 | 262.417 | 4.404 | 264.767 | 32.299 | 889.367 | 20.072 | 8.2483
2020-07-20 14:45:00 | 7.233 | 312.187 | 7.361 | 303.618 | 7.462 | 308.8 | 7.52 | 306.267 | 31.774 | 889.933 | 20.639 | 11.8601
2020-07-20 15:00:00 | 4.371 | 293.653 | 4.794 | 287.046 | 5.087 | 289.433 | 5.216 | 285.983 | 31.336 | 889.917 | 20.709 | 15.4584
2020-07-20 15:15:00 | 5.939 | 260.5 | 6.174 | 259.32 | 6.178 | 265.967 | 6.37 | 261.933 | 32.488 | 889.2 | 19.331 | 12.4449
2020-07-20 15:30:00 | 5.409 | 286.227 | 6.104 | 273.359 | 6.487 | 278.033 | 6.742 | 269.267 | 31.879 | 889.733 | 19.365 | 10.2883
2020-07-20 15:45:00 | 5.76 | 312.373 | 5.953 | 309.294 | 5.936 | 313.833 | 6.138 | 316.6 | 32.19 | 889.4 | 19.12 | 14.1907
2020-07-20 16:00:00 | 5.117 | 299.813 | 5.432 | 292.649 | 5.995 | 296.4 | 6.163 | 294.833 | 32.067 | 889.367 | 19.681 | 24.0939
2020-07-20 16:15:00 | 5.914 | 291.813 | 5.846 | 290.583 | 5.957 | 293.233 | 6.321 | 292.5 | 32.145 | 889.633 | 19.796 | 14.0181
2020-07-20 16:30:00 | 4.448 | 264.535 | 4.465 | 292.919 | 4.749 | 305.1 | 5.252 | 298.467 | 32.448 | 889.333 | 19.176 | 11.3705
2020-07-20 16:45:00 | 7.404 | 323.56 | 7.563 | 315.883 | 7.601 | 315.6 | 7.903 | 314.9 | 32.746 | 889.7 | 19.117 | 14.4195
2020-07-20 17:00:00 | 6.021 | 296.413 | 6.43 | 334.904 | 6.532 | 339.533 | 6.558 | 337.3 | 32.079 | 889.2 | 20.044 | 18.7078
2020-07-20 17:15:00 | 3.456 | 296.66 | 3.477 | 291.419 | 4.019 | 281.167 | 4.543 | 300.567 | 32.133 | 889.883 | 20.239 | 21.7021
2020-07-20 17:30:00 | 5.276 | 297.427 | 5.55 | 292.627 | 5.639 | 294.867 | 6.08 | 290.1 | 32.741 | 889.667 | 18.48 | 5.6916
2020-07-20 17:45:00 | 5.946 | 321.28 | 6.158 | 312.723 | 6.382 | 314.2 | 6.765 | 309.533 | 32.514 | 889.467 | 19.551 | 16.4219
2020-07-20 18:00:00 | 5.006 | 265.86 | 5.146 | 262.439 | 5.273 | 266.867 | 5.364 | 262.467 | 32.377 | 889.2 | 19.387 | 14.3918
2020-07-20 18:15:00 | 5.658 | 287.84 | 5.816 | 284.908 | 5.957 | 290.733 | 5.926 | 288.2 | 32.564 | 889.767 | 18.321 | 14.1111
2020-07-20 18:30:00 | 6.999 | 315.867 | 7.189 | 310.313 | 7.376 | 313.433 | 7.676 | 310.767 | 32.394 | 889.6 | 18.441 | 16.3096
2020-07-20 18:45:00 | 5.054 | 305.413 | 5.371 | 299.128 | 5.555 | 303.333 | 5.684 | 300.933 | 32.752 | 889.7 | 18.213 | 11.5829
2020-07-20 19:00:00 | 5.637 | 275.747 | 5.878 | 270.91 | 5.971 | 275.9 | 6.018 | 271.8 | 32.564 | 889.667 | 18.969 | 18.6836
2020-07-20 19:15:00 | 5.21 | 328.987 | 5.55 | 323.513 | 5.428 | 329.367 | 5.674 | 326.533 | 33.03 | 889.267 | 17.896 | 4.7423
2020-07-20 19:30:00 | 3.143 | 258.237 | 3.172 | 246.886 | 3.156 | 236.402 | 3.42 | 242.15 | 32.93 | 889.7 | 18.217 | 7.0971
2020-07-20 19:45:00 | 4.191 | 263.248 | 4.464 | 264.231 | 4.537 | 270.6 | 4.712 | 265.767 | 32.846 | 889.533 | 18.276 | 8.9801
2020-07-20 20:00:00 | 5.614 | 330.973 | 5.915 | 338.489 | 6.1 | 345.233 | 6.262 | 346.167 | 31.693 | 889.3 | 20.091 | 15.5849
2020-07-20 20:15:00 | 6.193 | 338.707 | 6.284 | 343.197 | 6.522 | 335.133 | 6.7 | 345.9 | 31.907 | 889.567 | 20.781 | 17.2121
2020-07-20 20:30:00 | 5.796 | 340.24 | 6.129 | 332.586 | 6.255 | 335.9 | 6.423 | 335.133 | 31.467 | 889.983 | 21.509 | 14.1005
2020-07-20 20:45:00 | 5.269 | 322.493 | 5.647 | 341.648 | 5.69 | 345.9 | 5.891 | 345.167 | 31.878 | 890.267 | 21.637 | 11.7059
2020-07-20 21:00:00 | 4.559 | 335.32 | 4.629 | 330.658 | 4.705 | 334.7 | 4.927 | 334.433 | 31.286 | 889.5 | 22.323 | 8.6313
2020-07-20 21:15:00 | 4.981 | 334.92 | 5.684 | 328.097 | 5.886 | 333.967 | 6.108 | 332.6 | 31.185 | 890.067 | 22.656 | 11.4685
2020-07-20 21:30:00 | 3.981 | 324.88 | 4.728 | 318.995 | 5.276 | 322.8 | 5.743 | 323.567 | 30.756 | 889.817 | 22.928 | 11.3357
2020-07-20 21:45:00 | 3.675 | 322.76 | 4.364 | 317.601 | 4.542 | 322.2 | 4.792 | 321.767 | 30.244 | 889.617 | 23.469 | 6.1784
2020-07-20 22:00:00 | 2.299 | 322.907 | 2.666 | 323.023 | 2.82 | 328.2 | 3.186 | 329 | 30.014 | 889.983 | 23.725 | 2.6803
2020-07-20 22:15:00 | 0.193 | 315.12 | 0.3 | 317.025 | 0.872 | 327.467 | 1.854 | 326.333 | 29.798 | 889.717 | 24.253 | 0.29062
2020-07-20 22:30:00 | 3.109 | 186.093 | 1.989 | 240.545 | 1.257 | 235.333 | 1.379 | 286.233 | 29.731 | 889.567 | 24.976 | 3.9181
2020-07-20 22:45:00 | 3.961 | 173.573 | 4.282 | 168.071 | 4.429 | 172 | 4.836 | 169.367 | 28.618 | 889.383 | 26.651 | 2.5254
2020-07-20 23:00:00 | 4.08 | 164.06 | 4.058 | 160.782 | 4.094 | 167.033 | 4.007 | 162.267 | 28.831 | 889.817 | 26.747 | 10.7871
2020-07-20 23:15:00 | 4.104 | 176.007 | 4.382 | 172.592 | 4.493 | 175.767 | 4.858 | 171.6 | 28.198 | 889.817 | 27.355 | 7.068
2020-07-20 23:30:00 | 4.247 | 196.94 | 4.898 | 188.748 | 4.881 | 187.833 | 5.067 | 179.867 | 28.131 | 889.717 | 28.208 | 3.992
2020-07-20 23:45:00 | 3.122 | 217.827 | 3.611 | 208.749 | 4.063 | 206.567 | 4.427 | 200 | 27.231 | 890.15 | 28.923 | 7.8255