## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-21 00:00:00 | 2.482 | 227.553 | 3.346 | 235.55 | 4.032 | 238.367 | 4.174 | 226.533 | 26.931 | 890.05 | 29.525 | 5.158
2020-07-21 00:15:00 | 3.66 | 245.14 | 3.946 | 251.504 | 4.209 | 263.167 | 4.288 | 270.183 | 26.66 | 889.967 | 29.699 | 4.6812
2020-07-21 00:30:00 | 3.898 | 269.6 | 4.569 | 279.279 | 4.742 | 282.667 | 5.021 | 282.833 | 26.685 | 889.5 | 29.408 | 4.7103
2020-07-21 00:45:00 | 3.851 | 263.8 | 4.469 | 272.476 | 4.654 | 280.2 | 4.943 | 280.867 | 27.044 | 889.833 | 29.149 | 4.8532
2020-07-21 01:00:00 | 4.316 | 252.547 | 4.9 | 266.543 | 4.9 | 275.567 | 5.268 | 274.8 | 26.41 | 889.85 | 30.851 | 7.3601
2020-07-21 01:15:00 | 4.192 | 240.16 | 4.716 | 253.691 | 4.617 | 264 | 4.822 | 263.4 | 25.718 | 889.7 | 31.829 | 6.744
2020-07-21 01:30:00 | 5.361 | 246.573 | 6.608 | 250.396 | 6.664 | 257.967 | 6.75 | 254.617 | 25.527 | 889.933 | 33.024 | 23.2647
2020-07-21 01:45:00 | 5.253 | 261.173 | 6.282 | 260.505 | 6.512 | 267.367 | 6.772 | 263.567 | 25.264 | 890.033 | 33.459 | 23.5347
2020-07-21 02:00:00 | 4.418 | 262.02 | 5.414 | 265.417 | 5.78 | 272.933 | 6.041 | 271.233 | 25.298 | 890.033 | 34.115 | 19.2812
2020-07-21 02:15:00 | 4.925 | 254.02 | 5.763 | 255.744 | 6.254 | 260.8 | 6.643 | 256.767 | 25.073 | 889.883 | 35.792 | 23.1325
2020-07-21 02:30:00 | 5.818 | 261.053 | 6.631 | 257.012 | 7.054 | 259.4 | 7.501 | 254.283 | 25.089 | 889.85 | 36.077 | 26.755
2020-07-21 02:45:00 | 6.326 | 261.833 | 7.29 | 257.417 | 7.841 | 262.2 | 8.136 | 258.267 | 25.123 | 889.85 | 36.832 | 35.8687
2020-07-21 03:00:00 | 6.825 | 260.407 | 7.739 | 257.508 | 8.138 | 261.217 | 8.416 | 255.433 | 25.018 | 889.95 | 37.701 | 44.625
2020-07-21 03:15:00 | 8.556 | 265.72 | 10.109 | 260.252 | 10.342 | 266.2 | 10.435 | 261.45 | 24.481 | 889.8 | 38.899 | 54.2759
2020-07-21 03:30:00 | 9.727 | 265.107 | 11.024 | 259.818 | 11.442 | 264.333 | 11.814 | 260.083 | 24.114 | 889.8 | 39.893 | 67.8982
2020-07-21 03:45:00 | 9.811 | 270.827 | 11.045 | 265.517 | 11.755 | 270.867 | 12.626 | 265.6 | 23.948 | 889.733 | 40.483 | 78.1026
2020-07-21 04:00:00 | 9.849 | 275.56 | 11.234 | 267.37 | 11.981 | 271.967 | 12.5 | 267.933 | 23.673 | 889.6 | 40.523 | 87.7472
2020-07-21 04:15:00 | 12.655 | 272.88 | 14.394 | 265.618 | 14.77 | 271 | 15.276 | 265.2 | 23.131 | 890.058 | 42.533 | 89.6316
2020-07-21 04:30:00 | 11.386 | 276.92 | 12.892 | 270.843 | 13.266 | 275.1 | 13.769 | 272 | 22.564 | 890.108 | 43.915 | 87.6541
2020-07-21 04:45:00 | 10.895 | 272.233 | 12.466 | 266.21 | 13.204 | 271.9 | 13.739 | 267.567 | 22.548 | 889.958 | 45.381 | 86.881
2020-07-21 05:00:00 | 11.248 | 268.227 | 12.903 | 264.754 | 13.768 | 269.133 | 14.636 | 265.55 | 21.964 | 890.05 | 47.509 | 86.1363
2020-07-21 05:15:00 | 11.651 | 268.173 | 13.007 | 264.578 | 13.514 | 269.3 | 13.721 | 265.567 | 21.91 | 889.933 | 48.949 | 86.4056
2020-07-21 05:30:00 | 12.095 | 273.04 | 14.106 | 267.895 | 14.756 | 273.633 | 15.382 | 270.233 | 21.656 | 889.775 | 49.483 | 86.9449
2020-07-21 05:45:00 | 11.559 | 274.48 | 13.523 | 273.149 | 14.29 | 274.533 | 15.125 | 269.233 | 21.481 | 889.833 | 50.517 | 85.2559
2020-07-21 06:00:00 | 11.281 | 272.933 | 12.81 | 268.523 | 13.453 | 272.1 | 14.182 | 266.667 | 21.398 | 890.425 | 50.245 | 84.7329
2020-07-21 06:15:00 | 11.704 | 273.533 | 12.861 | 268.96 | 13.502 | 273.133 | 13.906 | 268.767 | 21.381 | 890.05 | 51.131 | 84.794
2020-07-21 06:30:00 | 11.995 | 280.8 | 13.186 | 275.705 | 13.894 | 279.367 | 14.377 | 274.267 | 21.277 | 889.975 | 50.187 | 84.8594
2020-07-21 06:45:00 | 11.672 | 281.027 | 13.247 | 275.111 | 13.636 | 279.067 | 13.995 | 276.7 | 21.389 | 889.967 | 49.237 | 85.0129
2020-07-21 07:00:00 | 9.413 | 285.76 | 10.85 | 277.74 | 11.263 | 283.433 | 11.712 | 279.267 | 21.527 | 889.742 | 49.525 | 84.0828
2020-07-21 07:15:00 | 7.878 | 274.547 | 9.152 | 269.449 | 9.525 | 272 | 9.968 | 268.85 | 21.664 | 889.925 | 49.115 | 65.8148
2020-07-21 07:30:00 | 8.314 | 292.413 | 9.323 | 286.777 | 9.586 | 288.767 | 9.741 | 284.8 | 21.768 | 889.967 | 48.165 | 59.1575
2020-07-21 07:45:00 | 6.366 | 281.387 | 7.08 | 275.659 | 7.453 | 280.233 | 7.765 | 277.6 | 21.298 | 890.242 | 47.893 | 31.984
2020-07-21 08:00:00 | 5.119 | 270.947 | 5.702 | 268.814 | 5.944 | 273.167 | 6.278 | 269.6 | 21.806 | 889.658 | 47.141 | 15.9103
2020-07-21 08:15:00 | 4.123 | 246.48 | 4.435 | 245.668 | 4.668 | 251.967 | 4.919 | 250.45 | 22.189 | 889.792 | 45.989 | 12.4335
2020-07-21 08:30:00 | 4.189 | 260.713 | 4.527 | 256.018 | 4.782 | 262.4 | 4.918 | 258.983 | 22.394 | 889.833 | 44.501 | 13.6734
2020-07-21 08:45:00 | 4.558 | 265.64 | 4.799 | 262.467 | 4.998 | 265.933 | 5.055 | 261.417 | 22.648 | 890.2 | 43.264 | 9.4058
2020-07-21 09:00:00 | 6.512 | 303.333 | 6.846 | 298.134 | 6.972 | 302.667 | 7.062 | 297.433 | 22.581 | 890.058 | 44.059 | 12.1514
2020-07-21 09:15:00 | 4.894 | 293.133 | 5.28 | 289.43 | 5.354 | 291.3 | 5.599 | 286.967 | 22.039 | 889.575 | 44.885 | 7.8859
2020-07-21 09:30:00 | 4.333 | 308.973 | 4.426 | 305.427 | 4.446 | 308.1 | 4.53 | 301.633 | 22.302 | 890.217 | 45.104 | 4.613
2020-07-21 09:45:00 | 4.187 | 323.467 | 4.289 | 315.985 | 4.401 | 317.933 | 4.466 | 315.3 | 22.089 | 889.775 | 45.616 | 5.3761
2020-07-21 10:00:00 | 3.689 | 296.187 | 3.681 | 291.43 | 3.801 | 294.267 | 3.968 | 288.9 | 22.148 | 889.925 | 45.861 | 2.5168
2020-07-21 10:15:00 | 3.88 | 260.433 | 3.868 | 254.83 | 3.953 | 258.583 | 3.795 | 253.567 | 22.514 | 890.1 | 44.992 | 2.4067
2020-07-21 10:30:00 | 3.749 | 268.313 | 3.823 | 261.746 | 4.098 | 264.25 | 4.095 | 256.8 | 22.948 | 889.917 | 43.061 | 1.6037
2020-07-21 10:45:00 | 2.919 | 253.653 | 3.15 | 249.74 | 3.178 | 255.967 | 3.253 | 251.1 | 24.227 | 889.617 | 40.099 | 0.94576
2020-07-21 11:00:00 | 2.437 | 254.393 | 2.447 | 250.863 | 2.577 | 255.283 | 2.79 | 249.167 | 25.889 | 889.85 | 34.971 | 2.0415
2020-07-21 11:15:00 | 4.329 | 242.64 | 4.592 | 239.247 | 4.74 | 245.7 | 4.626 | 242.8 | 25.989 | 889.95 | 33.872 | 5.7492
2020-07-21 11:30:00 | 5.697 | 244.053 | 5.835 | 237.4 | 5.966 | 237.667 | 5.915 | 231.3 | 25.889 | 889.6 | 34.928 | 17.1595
2020-07-21 11:45:00 | 8.09 | 227.86 | 8.337 | 223.928 | 8.804 | 227.067 | 8.636 | 221.033 | 26.344 | 889.6 | 35.179 | 38.4544
2020-07-21 12:00:00 | 8.027 | 236.92 | 8.612 | 232.53 | 8.81 | 234.3 | 8.922 | 228.367 | 25.739 | 889.567 | 37.269 | 54.5331
2020-07-21 12:15:00 | 11.225 | 213.227 | 11.721 | 210.335 | 12.253 | 212.233 | 12.673 | 207.9 | 23.839 | 890.1 | 45.579 | 85.1508
2020-07-21 12:30:00 | 7.723 | 219.893 | 8.346 | 216.588 | 8.787 | 218.3 | 9.056 | 213.4 | 21.227 | 890.017 | 58.464 | 38.4772
2020-07-21 12:45:00 | 4.058 | 221.453 | 4.019 | 219.19 | 4.373 | 221.367 | 4.666 | 215.6 | 20.768 | 889.875 | 65.109 | 12.128
2020-07-21 13:00:00 | 2.819 | 240.327 | 2.564 | 237.363 | 2.751 | 236.117 | 2.889 | 226.6 | 21.814 | 889.658 | 58.784 | 4.7111
2020-07-21 13:15:00 | 6.894 | 216.02 | 7.716 | 209.727 | 8.119 | 213.4 | 8.459 | 208.867 | 22.681 | 889.842 | 47.157 | 14.7414
2020-07-21 13:30:00 | 8.454 | 212.16 | 8.985 | 206.483 | 9.229 | 207.167 | 9.418 | 200.367 | 23.431 | 889.733 | 41.264 | 20.7628
2020-07-21 13:45:00 | 4.481 | 220.167 | 4.976 | 217.575 | 5.557 | 221.567 | 5.863 | 212.1 | 23.423 | 889.6 | 43.691 | 40.1811
2020-07-21 14:00:00 | 7.991 | 205.86 | 8.75 | 201.766 | 8.934 | 202.3 | 9.105 | 196.5 | 24.431 | 889.733 | 40.075 | 37.5343
2020-07-21 14:15:00 | 6.049 | 203.14 | 6.451 | 199.248 | 6.47 | 198.433 | 6.66 | 192.233 | 23.606 | 889.925 | 43.659 | 16.9598
2020-07-21 14:30:00 | 5.082 | 192.34 | 5.366 | 188.037 | 5.44 | 190.467 | 5.84 | 187.067 | 24.389 | 889.383 | 39.275 | 8.5716
2020-07-21 14:45:00 | 3.606 | 207.793 | 3.513 | 200.611 | 3.87 | 204.2 | 4.025 | 199.5 | 24.668 | 890.05 | 39.104 | 7.6947
2020-07-21 15:00:00 | 2.398 | 226.413 | 2.114 | 221.706 | 2.415 | 220.45 | 2.62 | 214.233 | 25.718 | 889.717 | 36.784 | 7.2549
2020-07-21 15:15:00 | 2.574 | 186.88 | 2.696 | 188.398 | 2.96 | 199.6 | 3.168 | 199 | 26.198 | 889.517 | 34.112 | 5.3349
2020-07-21 15:30:00 | 4.696 | 209.087 | 5.053 | 208.259 | 5.454 | 212.3 | 5.584 | 209 | 27.339 | 889.417 | 32.283 | 9.6069
2020-07-21 15:45:00 | 6.444 | 230.607 | 6.915 | 222.882 | 7.051 | 222.5 | 7.238 | 219.033 | 27.223 | 889.983 | 30.965 | 24.803
2020-07-21 16:00:00 | 5.503 | 220.58 | 5.834 | 222.213 | 6.271 | 226.3 | 6.452 | 220.067 | 26.935 | 890.133 | 31.781 | 19.1775
2020-07-21 16:15:00 | 5.268 | 203.3 | 5.596 | 199.649 | 5.759 | 203.933 | 5.942 | 200.733 | 27.485 | 889.65 | 30.192 | 8.4074
2020-07-21 16:30:00 | 3.266 | 215.187 | 3.09 | 213.399 | 3.188 | 204.3 | 3.465 | 201.017 | 28.348 | 890.283 | 29.363 | 6.0086
2020-07-21 16:45:00 | 2.932 | 258.913 | 3.299 | 252.835 | 3.442 | 253.783 | 3.35 | 246.717 | 28.423 | 889.833 | 29.485 | 3.5074
2020-07-21 17:00:00 | 2.83 | 256.873 | 3.061 | 255.198 | 3.209 | 259.017 | 3.234 | 253.2 | 28.356 | 889.767 | 29.008 | 0.81786
2020-07-21 17:15:00 | 5.028 | 294.96 | 5.229 | 297.827 | 5.245 | 301.8 | 5.296 | 303.733 | 28.027 | 889.9 | 30.44 | 3.3041
2020-07-21 17:30:00 | 4.064 | 316.067 | 4.149 | 311.701 | 4.235 | 312 | 4.525 | 309.733 | 27.981 | 889.9 | 29.581 | 8.0244
2020-07-21 17:45:00 | 6.264 | 163.76 | 7.02 | 279.776 | 7.28 | 243.7 | 7.613 | 279.567 | 26.656 | 889.9 | 34.811 | 18.6055
2020-07-21 18:00:00 | 6.381 | 321.84 | 6.456 | 319.431 | 6.589 | 314.033 | 6.935 | 323.933 | 26.814 | 889.883 | 34.773 | 24.4371
2020-07-21 18:15:00 | 10.215 | 299.707 | 10.923 | 292.662 | 11.129 | 297.033 | 11.629 | 295.1 | 26.248 | 889.667 | 39.36 | 62.7523
2020-07-21 18:30:00 | 11.219 | 259.453 | 12.17 | 254.93 | 12.591 | 259.933 | 12.865 | 256.283 | 22.564 | 889.983 | 45.771 | 68.0098
2020-07-21 18:45:00 | 7.144 | 253.26 | 7.957 | 248.705 | 8.572 | 253.033 | 8.951 | 247.917 | 19.139 | 889.817 | 68.821 | 50.4481
2020-07-21 19:00:00 | 5.345 | 252.72 | 6.175 | 250.22 | 6.626 | 255.083 | 7.046 | 248.35 | 19.056 | 889.95 | 74.016 | 17.8146
2020-07-21 19:15:00 | 5.156 | 257.547 | 6.085 | 254.216 | 6.531 | 258.7 | 7 | 253.683 | 19.852 | 890.067 | 68.619 | 7.0794
2020-07-21 19:30:00 | 1.164 | 252.813 | 1.244 | 246.451 | 1.675 | 246.95 | 2.126 | 247.917 | 20.852 | 889.7 | 58.827 | 1.92
2020-07-21 19:45:00 | 0.29 | 291.2 | 0.58 | 279.363 | 1.145 | 294.9 | 2.054 | 297.267 | 20.864 | 889.608 | 58.688 | 0.79157
2020-07-21 20:00:00 | 0.363 | 262.727 | 0.343 | 269.668 | 1.089 | 260 | 1.585 | 275.7 | 20.918 | 889.817 | 60.592 | 0.16201
2020-07-21 20:15:00 | 3.048 | 254.373 | 3.451 | 251.184 | 3.476 | 256.05 | 3.622 | 252.083 | 20.46 | 890.092 | 61.456 | 1.1739
2020-07-21 20:30:00 | 2.81 | 244.82 | 3.133 | 245.744 | 3.446 | 249.6 | 3.573 | 244.983 | 20.51 | 889.583 | 61.323 | 2.8046
2020-07-21 20:45:00 | 3.779 | 266.04 | 4.208 | 263.421 | 4.429 | 269.167 | 4.524 | 264.067 | 20.856 | 889.667 | 62.944 | 5.3165
2020-07-21 21:00:00 | 3.963 | 262.713 | 4.754 | 255.663 | 5.008 | 258.3 | 5.054 | 252.733 | 20.302 | 889.842 | 66.283 | 10.7722
2020-07-21 21:15:00 | 4.418 | 259.34 | 4.969 | 257.421 | 5.227 | 261.4 | 5.302 | 256.8 | 19.81 | 889.975 | 70.608 | 10.9576
2020-07-21 21:30:00 | 3.674 | 277.76 | 4.384 | 270.254 | 4.696 | 275.433 | 5.067 | 271.567 | 19.631 | 889.875 | 73.755 | 10.8674
2020-07-21 21:45:00 | 3.95 | 287.28 | 5.052 | 281.785 | 5.428 | 284.533 | 5.78 | 281.267 | 19.685 | 890.15 | 73.643 | 13.1483
2020-07-21 22:00:00 | 4.701 | 291.32 | 5.581 | 286.543 | 5.855 | 290.3 | 6.27 | 288.067 | 19.827 | 890.308 | 75.44 | 15.361
2020-07-21 22:15:00 | 5.485 | 291.387 | 6.234 | 286.625 | 6.591 | 289.133 | 6.907 | 286.167 | 19.639 | 889.725 | 77.035 | 15.7014
2020-07-21 22:30:00 | 6.602 | 292.307 | 7.522 | 286.234 | 7.805 | 288.933 | 8.114 | 285.667 | 19.339 | 889.808 | 74.859 | 19.4653
2020-07-21 22:45:00 | 6.959 | 285.68 | 7.977 | 280.169 | 8.102 | 284.8 | 8.51 | 281.5 | 19.314 | 890.175 | 74.485 | 34.9549
2020-07-21 23:00:00 | 5.678 | 294.013 | 6.899 | 286.55 | 7.241 | 288.6 | 7.576 | 285.133 | 18.973 | 890.133 | 78.357 | 29.8189
2020-07-21 23:15:00 | 7.617 | 271.713 | 8.689 | 267.797 | 8.961 | 272.233 | 9.148 | 267.867 | 18.556 | 890.008 | 75.899 | 40.7908
2020-07-21 23:30:00 | 7.263 | 272.667 | 8.259 | 267.324 | 8.544 | 271.933 | 8.818 | 266.867 | 18.489 | 889.967 | 76.437 | 50.3905
2020-07-21 23:45:00 | 7.746 | 275 | 8.898 | 269.396 | 9.474 | 273.8 | 9.738 | 269.867 | 18.539 | 889.925 | 75.547 | 57.0287