## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-22 00:00:00 | 7.318 | 282.52 | 8.666 | 276.723 | 9.244 | 279.967 | 9.706 | 276.567 | 18.539 | 890.225 | 74.939 | 49.5919
2020-07-22 00:15:00 | 6.65 | 281.56 | 7.716 | 273.853 | 8.036 | 278.4 | 8.448 | 275.8 | 18.398 | 890.342 | 77.371 | 42.1345
2020-07-22 00:30:00 | 6.287 | 276.88 | 7.48 | 271.917 | 7.814 | 275.633 | 8.334 | 270.6 | 17.689 | 890.292 | 84.384 | 47.976
2020-07-22 00:45:00 | 6.454 | 279.08 | 7.681 | 272.16 | 8.43 | 277.067 | 8.813 | 271.867 | 17.081 | 889.8 | 85.515 | 50.9043
2020-07-22 01:00:00 | 7.361 | 268.813 | 8.251 | 263.756 | 8.56 | 268.3 | 8.798 | 264.183 | 16.748 | 889.621 | 85.995 | 54.7342
2020-07-22 01:15:00 | 5.144 | 267.773 | 6.29 | 263.089 | 6.726 | 268.133 | 7.048 | 263.833 | 17.485 | 889.542 | 84.096 | 35.0203
2020-07-22 01:30:00 | 5.759 | 260.253 | 6.866 | 257.186 | 6.997 | 264.067 | 7.07 | 260.25 | 16.848 | 889.846 | 85.76 | 29.5041
2020-07-22 01:45:00 | 6.462 | 279.587 | 7.61 | 273.038 | 8.035 | 277.033 | 8.467 | 272.4 | 16.781 | 889.775 | 86.848 | 43.4654
2020-07-22 02:00:00 | 6.701 | 280.48 | 7.928 | 273.397 | 8.334 | 278.467 | 8.923 | 274.1 | 16.864 | 889.733 | 86.325 | 46.913
2020-07-22 02:15:00 | 6.636 | 273.107 | 7.898 | 268.934 | 8.437 | 271.833 | 8.937 | 268.267 | 16.714 | 889.725 | 86.549 | 55.4697
2020-07-22 02:30:00 | 7.228 | 276.293 | 8.518 | 271.984 | 9.201 | 278.533 | 9.557 | 276.167 | 16.598 | 890.288 | 87.008 | 44.3323
2020-07-22 02:45:00 | 5.836 | 269.093 | 6.675 | 264.599 | 6.984 | 271.233 | 7.243 | 269.433 | 16.948 | 889.567 | 84.32 | 32.129
2020-07-22 03:00:00 | 5.421 | 266.407 | 6.381 | 262.742 | 6.879 | 268.2 | 7.38 | 263.317 | 16.914 | 889.933 | 85.237 | 27.2168
2020-07-22 03:15:00 | 4.385 | 253.08 | 5.484 | 253.734 | 6.014 | 258.633 | 6.171 | 255.267 | 16.648 | 890.196 | 88.608 | 19.4816
2020-07-22 03:30:00 | 4.705 | 236.46 | 5.831 | 236.386 | 6.414 | 242.4 | 6.536 | 239.433 | 16.255 | 890.058 | 89.664 | 20.9717
2020-07-22 03:45:00 | 3.818 | 233.073 | 4.923 | 234.178 | 5.36 | 242.167 | 5.46 | 240.2 | 15.96 | 890.038 | 90.069 | 13.1235
2020-07-22 04:00:00 | 2.415 | 221.42 | 3.76 | 227.457 | 4.227 | 236.5 | 4.508 | 235 | 16.381 | 889.796 | 90.112 | 5.9588
2020-07-22 04:15:00 | 2.686 | 209.6 | 4.602 | 216.082 | 5.132 | 227.4 | 5.377 | 224.367 | 16.681 | 890.188 | 90.027 | 7.7672
2020-07-22 04:30:00 | 3.007 | 205.627 | 4.398 | 208.982 | 5.264 | 219.6 | 5.32 | 223.767 | 16.631 | 890.125 | 88.171 | 10.1853
2020-07-22 04:45:00 | 4.133 | 204.113 | 5.736 | 205.258 | 6.584 | 212.433 | 6.861 | 212.167 | 16.781 | 889.962 | 86.997 | 19.1313
2020-07-22 05:00:00 | 4.308 | 214.047 | 6.107 | 214.659 | 6.902 | 220.967 | 6.927 | 219.033 | 16.902 | 889.888 | 83.883 | 20.3336
2020-07-22 05:15:00 | 4.423 | 228.16 | 6.014 | 226.641 | 6.61 | 231.367 | 6.814 | 226.867 | 18.052 | 889.933 | 79.136 | 23.4068
2020-07-22 05:30:00 | 4.886 | 242.84 | 6.183 | 241.76 | 6.618 | 247 | 6.714 | 241.633 | 17.752 | 890.058 | 77.184 | 32.2384
2020-07-22 05:45:00 | 5.303 | 255.173 | 6.228 | 256.019 | 6.554 | 262.267 | 6.675 | 259.283 | 18.256 | 889.767 | 73.813 | 28.1178
2020-07-22 06:00:00 | 4.721 | 233.667 | 5.514 | 233.125 | 5.782 | 238.733 | 5.659 | 234.367 | 18.164 | 889.683 | 76.075 | 21.295
2020-07-22 06:15:00 | 4.385 | 230.093 | 5.032 | 234.525 | 5.338 | 244.767 | 5.158 | 243.367 | 17.71 | 889.667 | 76.608 | 22.0169
2020-07-22 06:30:00 | 3.436 | 237.18 | 4.671 | 241.833 | 5.102 | 252.3 | 5.233 | 248.833 | 18.056 | 890.042 | 77.504 | 18.0669
2020-07-22 06:45:00 | 4.158 | 231.3 | 5.023 | 235.482 | 5.34 | 244.133 | 5.444 | 241.1 | 17.402 | 889.833 | 77.248 | 19.4134
2020-07-22 07:00:00 | 5.209 | 234.573 | 6.101 | 236.551 | 6.413 | 243.733 | 6.562 | 238.967 | 18.06 | 889.608 | 75.019 | 26.3556
2020-07-22 07:15:00 | 4.651 | 221.627 | 6.065 | 224.202 | 6.791 | 232.067 | 6.996 | 228.9 | 17.827 | 889.7 | 73.493 | 22.5207
2020-07-22 07:30:00 | 4.982 | 232.4 | 6.239 | 231.936 | 6.946 | 239.2 | 7.099 | 234.933 | 18.235 | 889.417 | 72.363 | 20.5936
2020-07-22 07:45:00 | 5.363 | 242.393 | 6.475 | 240.441 | 7.229 | 244.733 | 7.516 | 240.9 | 19.831 | 889.967 | 62.955 | 22.9378
2020-07-22 08:00:00 | 6.97 | 246.467 | 8.21 | 241.22 | 9.308 | 244.067 | 9.623 | 239.9 | 20.081 | 889.85 | 59.083 | 35.9298
2020-07-22 08:15:00 | 5.541 | 247.533 | 6.07 | 242.354 | 6.435 | 248.033 | 6.579 | 240.033 | 21.114 | 889.9 | 56.107 | 27.2637
2020-07-22 08:30:00 | 5.57 | 264.307 | 6.103 | 261.638 | 6.392 | 266.033 | 6.386 | 261.017 | 21.652 | 890.3 | 53.44 | 29.1986
2020-07-22 08:45:00 | 5.08 | 257.66 | 5.437 | 253.853 | 5.388 | 257.667 | 5.331 | 251.633 | 21.714 | 890.392 | 51.435 | 18.0164
2020-07-22 09:00:00 | 5.175 | 251.733 | 5.569 | 245.607 | 5.655 | 249.083 | 5.611 | 241.683 | 22.098 | 889.95 | 49.813 | 17.4544
2020-07-22 09:15:00 | 6.335 | 237.78 | 6.68 | 234.404 | 6.889 | 239.25 | 6.793 | 232.333 | 22.948 | 889.808 | 51.957 | 18.8016
2020-07-22 09:30:00 | 6.39 | 234.347 | 6.612 | 231.963 | 6.854 | 233.433 | 6.876 | 227.5 | 22.748 | 890.05 | 51.883 | 23.1126
2020-07-22 09:45:00 | 6.655 | 262.353 | 7.429 | 258.002 | 7.685 | 262.333 | 7.557 | 257.8 | 23.331 | 890.283 | 47.947 | 32.8907
2020-07-22 10:00:00 | 7.565 | 276.107 | 8.131 | 269.477 | 8.317 | 272.533 | 8.436 | 266.25 | 23.314 | 890.225 | 47.995 | 43.5243
2020-07-22 10:15:00 | 6.836 | 282.68 | 7.146 | 276.318 | 7.434 | 279.733 | 7.527 | 276.583 | 22.698 | 890.083 | 47.936 | 36.715
2020-07-22 10:30:00 | 7.796 | 278.413 | 8.264 | 275.758 | 8.637 | 282.133 | 9.055 | 277.667 | 23.014 | 889.433 | 47.061 | 37.7766
2020-07-22 10:45:00 | 7.864 | 290.333 | 8.392 | 287.038 | 8.38 | 292.367 | 8.661 | 289.3 | 23.348 | 889.975 | 45.291 | 36.6972
2020-07-22 11:00:00 | 8.202 | 279.733 | 8.812 | 276.133 | 8.641 | 281.867 | 8.789 | 277.833 | 23.631 | 889.558 | 43.499 | 34.1221
2020-07-22 11:15:00 | 6.981 | 297.28 | 7.271 | 294.26 | 7.317 | 296.967 | 7.669 | 295.733 | 23.589 | 889.592 | 41.893 | 31.7971
2020-07-22 11:30:00 | 7.403 | 290.12 | 7.829 | 284.013 | 7.891 | 288.533 | 8.003 | 284.367 | 24.023 | 889.858 | 40.995 | 31.1029
2020-07-22 11:45:00 | 7.381 | 286.947 | 7.766 | 278.351 | 7.814 | 281.867 | 8.006 | 275.633 | 24.356 | 889.7 | 39.563 | 32.1112
2020-07-22 12:00:00 | 6.927 | 278.333 | 7.263 | 275.576 | 7.567 | 279.767 | 7.577 | 274.233 | 24.689 | 889.333 | 37.421 | 32.3699
2020-07-22 12:15:00 | 6.048 | 294.973 | 6.404 | 288.766 | 6.548 | 294.233 | 6.767 | 290.867 | 25.214 | 889.483 | 36.848 | 31.6614
2020-07-22 12:30:00 | 6.219 | 296.347 | 6.645 | 291.427 | 6.646 | 296.133 | 6.924 | 289.733 | 25.152 | 889.433 | 35.915 | 33.1337
2020-07-22 12:45:00 | 7.417 | 279.173 | 7.827 | 274.865 | 8.041 | 281.133 | 8.541 | 278.567 | 25.514 | 890.067 | 36.749 | 38.9938
2020-07-22 13:00:00 | 9.248 | 293.507 | 10.035 | 287.601 | 10.026 | 292.3 | 10.427 | 289.2 | 25.618 | 889.65 | 37.237 | 48.5296
2020-07-22 13:15:00 | 8.788 | 294.573 | 9.381 | 289.368 | 9.746 | 291.9 | 10.161 | 290.4 | 25.331 | 889.733 | 36.723 | 54.4735
2020-07-22 13:30:00 | 8.758 | 284.667 | 9.202 | 279.552 | 9.462 | 284.2 | 9.543 | 280.133 | 25.748 | 889.767 | 35.515 | 58.4278
2020-07-22 13:45:00 | 8.48 | 289.627 | 8.796 | 283.125 | 8.856 | 285.1 | 9.002 | 282.4 | 25.96 | 889.733 | 35.144 | 56.4495
2020-07-22 14:00:00 | 8.961 | 291.253 | 9.36 | 282.033 | 9.615 | 284.733 | 10.094 | 281.333 | 25.868 | 889.717 | 34.459 | 53.0545
2020-07-22 14:15:00 | 10.039 | 286.253 | 10.089 | 282.354 | 10.334 | 288.667 | 10.646 | 288.133 | 26.723 | 889.8 | 33.304 | 55.1918
2020-07-22 14:30:00 | 8.678 | 281.34 | 9.175 | 273.917 | 9.083 | 279.3 | 9.347 | 273.167 | 26.689 | 889.867 | 32.584 | 53.1987
2020-07-22 14:45:00 | 9.402 | 281.893 | 10.479 | 274.503 | 10.791 | 278.7 | 10.983 | 273.667 | 26.918 | 889.733 | 30.979 | 58.8676
2020-07-22 15:00:00 | 9.495 | 297.533 | 10.254 | 290.646 | 10.472 | 295.067 | 10.732 | 289.367 | 27.194 | 889.233 | 31.221 | 62.2151
2020-07-22 15:15:00 | 10.036 | 285.227 | 10.342 | 282.047 | 10.735 | 285.533 | 11.083 | 282.933 | 27.652 | 889.467 | 29.115 | 63.1616
2020-07-22 15:30:00 | 8.931 | 285.227 | 9.754 | 278.891 | 10.149 | 280.533 | 10.318 | 276.4 | 27.652 | 889.717 | 28.688 | 74.726
2020-07-22 15:45:00 | 10.946 | 276.133 | 11.838 | 269.163 | 12.059 | 274.3 | 12.09 | 270 | 27.314 | 889.9 | 29.139 | 76.1884
2020-07-22 16:00:00 | 10.315 | 276.84 | 10.854 | 271.542 | 11.199 | 274.233 | 11.214 | 269.867 | 27.577 | 889.633 | 28.987 | 77.1228
2020-07-22 16:15:00 | 9.713 | 286.987 | 10.538 | 280.176 | 10.989 | 283.967 | 11.505 | 282.367 | 28.394 | 889.517 | 27.632 | 72.9994
2020-07-22 16:30:00 | 10.168 | 283.453 | 11.279 | 279.998 | 11.33 | 283.8 | 11.372 | 277.9 | 28.594 | 889.717 | 26.995 | 74.3153
2020-07-22 16:45:00 | 9.197 | 274.273 | 9.9 | 269.54 | 10.182 | 272.433 | 10.082 | 269.8 | 28.189 | 890 | 27.795 | 72.8871
2020-07-22 17:00:00 | 10.192 | 267.96 | 11 | 264.129 | 11.331 | 266.7 | 11.515 | 264.267 | 28.464 | 889.467 | 26.771 | 71.7104
2020-07-22 17:15:00 | 9.627 | 283 | 10.503 | 283.243 | 10.806 | 285.967 | 11.231 | 283.383 | 29.131 | 889.65 | 25.747 | 72.2618
2020-07-22 17:30:00 | 10.515 | 256.66 | 11.253 | 255.404 | 11.219 | 261.867 | 11.485 | 257.117 | 28.573 | 889.967 | 26.339 | 72.8857
2020-07-22 17:45:00 | 10.019 | 292.507 | 10.709 | 287.748 | 11.103 | 288.7 | 11.23 | 284.167 | 28.294 | 889.883 | 27.829 | 62.807
2020-07-22 18:00:00 | 8.853 | 280.24 | 9.787 | 277.56 | 10.095 | 282.8 | 10.5 | 278.267 | 28.51 | 889.7 | 27.571 | 60.4152
2020-07-22 18:15:00 | 9.159 | 278.86 | 10.099 | 276.019 | 10.258 | 278.867 | 10.282 | 275.7 | 28.364 | 889.617 | 26.635 | 65.5377
2020-07-22 18:30:00 | 9.256 | 272.827 | 10.242 | 270.626 | 10.513 | 276.933 | 10.721 | 272.533 | 29.035 | 889.9 | 26.757 | 60.8558
2020-07-22 18:45:00 | 8.244 | 285.987 | 8.872 | 282.55 | 9.189 | 288.7 | 9.51 | 285.033 | 28.16 | 889.7 | 27.136 | 55.3503
2020-07-22 19:00:00 | 8.94 | 300.053 | 9.54 | 294.788 | 9.687 | 301.933 | 9.9 | 296.867 | 28.423 | 889.867 | 26.891 | 59.8503
2020-07-22 19:15:00 | 10.054 | 294.067 | 10.852 | 290.954 | 11.181 | 296.267 | 11.557 | 293.733 | 28.318 | 889.567 | 26.781 | 59.4034
2020-07-22 19:30:00 | 8.64 | 275.493 | 9.76 | 270.769 | 9.896 | 276.4 | 9.806 | 271.467 | 28.21 | 889.633 | 27.899 | 64.847
2020-07-22 19:45:00 | 8.619 | 292.067 | 9.399 | 286.055 | 9.882 | 290.133 | 10.44 | 287 | 28.285 | 889.967 | 27.445 | 64.8314
2020-07-22 20:00:00 | 10.011 | 292.733 | 10.72 | 288.558 | 10.852 | 291.8 | 11.033 | 287.733 | 28.252 | 889.917 | 27.989 | 66.0003
2020-07-22 20:15:00 | 8.544 | 286.587 | 9.686 | 281.047 | 10.252 | 285.7 | 10.646 | 282.633 | 27.985 | 889.983 | 28.704 | 71.5583
2020-07-22 20:30:00 | 8.65 | 293.693 | 10.084 | 286.47 | 10.455 | 289.6 | 11.009 | 288.533 | 27.735 | 889.95 | 29.224 | 66.654
2020-07-22 20:45:00 | 9.633 | 283.72 | 10.724 | 278.782 | 11.326 | 282.833 | 11.689 | 279.333 | 27.656 | 889.8 | 29.741 | 60.8686
2020-07-22 21:00:00 | 8.074 | 287.213 | 8.918 | 284.152 | 9.361 | 287.467 | 9.835 | 284.367 | 27.377 | 890.033 | 31.429 | 54.6163
2020-07-22 21:15:00 | 7.643 | 290.507 | 8.802 | 285.172 | 9.302 | 290.067 | 9.816 | 286.167 | 27.102 | 889.4 | 32.408 | 54.3043
2020-07-22 21:30:00 | 6.998 | 289.88 | 8.404 | 284.765 | 9.012 | 288.533 | 9.588 | 286.033 | 26.818 | 889.8 | 32.683 | 41.603
2020-07-22 21:45:00 | 6.682 | 288.2 | 7.91 | 284.45 | 8.535 | 289.633 | 9.172 | 287.067 | 26.531 | 889.717 | 32.709 | 43.8548
2020-07-22 22:00:00 | 6.648 | 293.64 | 7.647 | 288.172 | 8.133 | 293.933 | 8.676 | 290.7 | 26.11 | 889.3 | 33.181 | 44.9547
2020-07-22 22:15:00 | 6.124 | 286.947 | 7.369 | 281.88 | 7.899 | 286.5 | 8.167 | 283.4 | 26.218 | 890.3 | 32.84 | 39.9942
2020-07-22 22:30:00 | 4.983 | 325.093 | 5.916 | 319.562 | 6.337 | 321.867 | 6.574 | 319.667 | 25.114 | 889.45 | 36.685 | 24.037
2020-07-22 22:45:00 | 3.728 | 304.307 | 4.859 | 304.521 | 5.596 | 309.933 | 6.112 | 307.6 | 24.198 | 889.9 | 40.437 | 10.4581
2020-07-22 23:00:00 | 3.45 | 298.867 | 4.529 | 296.919 | 4.862 | 301.133 | 5.306 | 300.333 | 23.935 | 890.258 | 41.728 | 6.8364
2020-07-22 23:15:00 | 1.257 | 303.88 | 2.511 | 293.604 | 2.911 | 300 | 3.346 | 295.333 | 23.648 | 889.917 | 44.053 | 1.1945
2020-07-22 23:30:00 | 2.878 | 193.173 | 1.606 | 224.176 | 1.125 | 270.067 | 1.445 | 292 | 22.748 | 890.133 | 46.272 | 0.45831
2020-07-22 23:45:00 | 3.644 | 219.493 | 4.668 | 225.41 | 5.132 | 232.5 | 5.151 | 227.8 | 23.031 | 889.967 | 45.408 | 9.108