## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-23 00:00:00 | 4.565 | 235.987 | 5.492 | 239.397 | 5.63 | 246.6 | 5.699 | 242.967 | 22.698 | 889.783 | 45.888 | 18.6623
2020-07-23 00:15:00 | 4.917 | 247.46 | 5.661 | 254.1 | 6.02 | 264.833 | 6.395 | 264.05 | 22.731 | 890.042 | 46.491 | 20.0557
2020-07-23 00:30:00 | 4.902 | 244.367 | 5.926 | 252.275 | 6.338 | 261.833 | 6.598 | 258.1 | 22.731 | 889.492 | 48.352 | 19.8234
2020-07-23 00:45:00 | 5.247 | 249.5 | 6.638 | 252.12 | 7.213 | 260 | 7.716 | 255.767 | 22.814 | 889.767 | 48.987 | 23.2675
2020-07-23 01:00:00 | 4.9 | 241.253 | 6.166 | 246.361 | 6.74 | 254.6 | 7.112 | 253.283 | 22.285 | 889.708 | 49.856 | 25.3445
2020-07-23 01:15:00 | 4.804 | 253.92 | 6.33 | 256.748 | 6.757 | 264.317 | 7.311 | 260.65 | 22.039 | 889.85 | 49.115 | 28.5065
2020-07-23 01:30:00 | 4.983 | 256.8 | 5.999 | 258.006 | 6.525 | 263.333 | 7.125 | 260.7 | 22.431 | 890.208 | 46.667 | 27.3128
2020-07-23 01:45:00 | 4.904 | 244.7 | 5.975 | 248.776 | 6.827 | 256.233 | 7.068 | 254.067 | 22.448 | 890.05 | 46.976 | 29.8346
2020-07-23 02:00:00 | 5.292 | 250.58 | 6.878 | 253.208 | 7.504 | 260.15 | 7.805 | 256.8 | 22.189 | 889.808 | 48.309 | 32.6775
2020-07-23 02:15:00 | 5.784 | 259.433 | 7.325 | 261.426 | 7.882 | 266.7 | 8.166 | 263.133 | 22.398 | 889.958 | 47.451 | 34.4007
2020-07-23 02:30:00 | 5.002 | 259.12 | 6.504 | 262.114 | 6.986 | 269.8 | 7.631 | 267.133 | 22.327 | 890.058 | 46.432 | 31.1356
2020-07-23 02:45:00 | 5.744 | 243.093 | 7.17 | 245.49 | 7.534 | 253.767 | 7.789 | 251.217 | 21.877 | 889.758 | 48.853 | 36.4094
2020-07-23 03:00:00 | 5.668 | 250.833 | 7.219 | 253.872 | 7.699 | 258.8 | 7.945 | 256.417 | 21.352 | 889.492 | 50.459 | 40.6764
2020-07-23 03:15:00 | 6.558 | 257.347 | 7.932 | 256.289 | 8.458 | 262.133 | 8.652 | 257.3 | 21.594 | 889.675 | 49.355 | 43.0206
2020-07-23 03:30:00 | 6.193 | 255.153 | 7.632 | 253.999 | 8.197 | 260.267 | 8.612 | 255.933 | 21.781 | 889.717 | 47.909 | 46.1456
2020-07-23 03:45:00 | 6.545 | 246.427 | 8.14 | 244.752 | 8.653 | 251.967 | 8.778 | 247.617 | 21.639 | 889.625 | 49.547 | 47.1681
2020-07-23 04:00:00 | 7.189 | 243.94 | 8.516 | 243.948 | 9.011 | 250.333 | 9.094 | 245.667 | 21.394 | 890.025 | 49.013 | 53.9007
2020-07-23 04:15:00 | 6.277 | 234.4 | 7.707 | 234.368 | 8.102 | 242.267 | 8.033 | 240.2 | 21.614 | 890.142 | 50.229 | 53.8673
2020-07-23 04:30:00 | 6.583 | 232.367 | 8.06 | 232.815 | 8.502 | 238.667 | 8.576 | 234.733 | 20.577 | 889.508 | 51.712 | 50.5625
2020-07-23 04:45:00 | 6.367 | 228.747 | 7.896 | 229.447 | 8.369 | 236.033 | 8.49 | 232.933 | 20.689 | 889.708 | 53.259 | 43.7993
2020-07-23 05:00:00 | 4.944 | 235.947 | 6.438 | 237.113 | 7.292 | 244.667 | 7.468 | 241.333 | 20.789 | 890.042 | 52.907 | 32.6555
2020-07-23 05:15:00 | 4.5 | 238.073 | 5.737 | 239.422 | 6.312 | 246.867 | 6.508 | 243.933 | 20.302 | 889.917 | 53.685 | 25.665
2020-07-23 05:30:00 | 4.56 | 243.233 | 6.265 | 240.82 | 7.094 | 246.7 | 7.075 | 243.233 | 20.814 | 889.508 | 53.877 | 26.3457
2020-07-23 05:45:00 | 4.858 | 248.207 | 6.489 | 244.011 | 7.281 | 249.283 | 7.481 | 245.1 | 20.881 | 890.458 | 52.299 | 31.6671
2020-07-23 06:00:00 | 5.51 | 241.767 | 6.801 | 238.819 | 7.293 | 246.6 | 7.395 | 244.067 | 20.881 | 889.783 | 52.715 | 33.6048
2020-07-23 06:15:00 | 5.668 | 241.64 | 6.678 | 240.486 | 7.01 | 246.8 | 7.086 | 243.833 | 20.86 | 889.892 | 53.653 | 34.3026
2020-07-23 06:30:00 | 5.052 | 231.887 | 5.916 | 234.614 | 6.421 | 243.167 | 6.444 | 240.767 | 20.398 | 889.958 | 53.461 | 33.7988
2020-07-23 06:45:00 | 5.17 | 236.527 | 6.318 | 238.407 | 7.012 | 248.633 | 7.262 | 246.717 | 20.156 | 889.958 | 53.728 | 37.9585
2020-07-23 07:00:00 | 6.138 | 248.34 | 7.365 | 248.195 | 8.075 | 252.75 | 8.623 | 249.7 | 20.456 | 889.958 | 52.187 | 41.7259
2020-07-23 07:15:00 | 6.269 | 253.033 | 7.54 | 251.199 | 8.11 | 257.3 | 8.18 | 252.333 | 20.689 | 890.025 | 51.616 | 47.4801
2020-07-23 07:30:00 | 7.142 | 252.813 | 8.054 | 249.873 | 8.639 | 253.067 | 8.674 | 248.817 | 21.039 | 889.958 | 51.269 | 53.9142
2020-07-23 07:45:00 | 6.817 | 253.02 | 7.937 | 252.888 | 8.366 | 259.133 | 8.713 | 255.967 | 21.073 | 889.825 | 50.699 | 44.9867
2020-07-23 08:00:00 | 7.229 | 247.107 | 7.91 | 246.184 | 8.643 | 250.217 | 8.621 | 244.3 | 21.006 | 889.467 | 50.48 | 45.3263
2020-07-23 08:15:00 | 7.216 | 252.787 | 7.99 | 250.626 | 8.55 | 255.5 | 8.612 | 250.8 | 21.377 | 890.092 | 50.389 | 49.4434
2020-07-23 08:30:00 | 7.734 | 259.847 | 8.724 | 256.756 | 9.247 | 260.917 | 9.471 | 254.717 | 21.785 | 890.117 | 50.608 | 54.6753
2020-07-23 08:45:00 | 8.319 | 265.84 | 8.814 | 262.026 | 8.967 | 268.367 | 9.053 | 263.433 | 22.014 | 890.4 | 50.443 | 60.6966
2020-07-23 09:00:00 | 10.609 | 277.88 | 11.415 | 273.045 | 11.732 | 277.267 | 11.998 | 273.233 | 21.968 | 889.692 | 50.405 | 64.0888
2020-07-23 09:15:00 | 10.584 | 273.973 | 11.21 | 269.894 | 11.736 | 272.333 | 11.679 | 266.267 | 21.739 | 890.233 | 52.475 | 68.4283
2020-07-23 09:30:00 | 10.03 | 271.24 | 10.784 | 265.839 | 10.933 | 268.433 | 11.054 | 264.167 | 21.131 | 889.975 | 54.501 | 76.2232
2020-07-23 09:45:00 | 8.752 | 263.553 | 9.719 | 260.727 | 9.883 | 265.9 | 10.049 | 259.367 | 21.26 | 889.825 | 55.381 | 67.6168
2020-07-23 10:00:00 | 9.207 | 255.887 | 10.188 | 253.308 | 10.656 | 258.5 | 10.581 | 254.2 | 21.114 | 890.042 | 56.837 | 62.8191
2020-07-23 10:15:00 | 8.336 | 247.787 | 9.053 | 244.636 | 9.488 | 250.05 | 9.564 | 246.1 | 20.639 | 889.942 | 58.107 | 57.4877
2020-07-23 10:30:00 | 8.409 | 233.173 | 8.956 | 231.176 | 9.456 | 235 | 9.751 | 228.1 | 20.402 | 890.217 | 58.805 | 58.7987
2020-07-23 10:45:00 | 7.734 | 249.24 | 8.385 | 245.536 | 8.662 | 249.767 | 8.498 | 244.533 | 20.302 | 890.325 | 60.491 | 60.9844
2020-07-23 11:00:00 | 8.589 | 257.52 | 9.253 | 253.051 | 9.226 | 258.133 | 9.202 | 253.083 | 20.368 | 889.683 | 56.864 | 53.2797
2020-07-23 11:15:00 | 8.723 | 258.753 | 9.381 | 256.009 | 9.618 | 261.8 | 9.686 | 255.733 | 20.931 | 889.85 | 54.853 | 52.2046
2020-07-23 11:30:00 | 7.387 | 262.353 | 8.149 | 258.209 | 8.747 | 263.283 | 8.785 | 259.467 | 20.498 | 889.733 | 58.005 | 49.2352
2020-07-23 11:45:00 | 8.496 | 263.507 | 9.034 | 257.847 | 9.214 | 262.867 | 9.417 | 257.7 | 20.748 | 889.7 | 59.472 | 44.7664
2020-07-23 12:00:00 | 6.7 | 264.513 | 7.342 | 259.097 | 7.494 | 263.3 | 7.537 | 257.05 | 20.218 | 889.783 | 62.032 | 36.7697
2020-07-23 12:15:00 | 5.664 | 255.46 | 5.958 | 253.568 | 6.138 | 257.633 | 6.31 | 252.833 | 19.456 | 889.833 | 69.211 | 22.5079
2020-07-23 12:30:00 | 6.266 | 259.44 | 6.832 | 256.577 | 6.991 | 260.617 | 6.878 | 256.9 | 19.552 | 889.7 | 64.581 | 23.6555
2020-07-23 12:45:00 | 5.618 | 270.973 | 5.974 | 265.34 | 5.987 | 268.333 | 6.017 | 262.833 | 20.194 | 889.917 | 56.965 | 19.4731
2020-07-23 13:00:00 | 4.834 | 252.073 | 5.07 | 247.323 | 5.312 | 252.2 | 5.418 | 246.25 | 20.164 | 889.892 | 63.461 | 17.6007
2020-07-23 13:15:00 | 5.498 | 229.433 | 5.783 | 225.764 | 5.923 | 229.833 | 5.778 | 225.6 | 20.081 | 889.85 | 64.789 | 14.6789
2020-07-23 13:30:00 | 4.816 | 241.86 | 4.9 | 236.271 | 4.926 | 240.3 | 5.038 | 233.867 | 19.573 | 890 | 61.461 | 10.4603
2020-07-23 13:45:00 | 4.715 | 249.927 | 4.835 | 248.023 | 4.868 | 251.15 | 5.021 | 245.45 | 20.677 | 889.925 | 57.84 | 10.036
2020-07-23 14:00:00 | 5.01 | 243.48 | 5.073 | 237.76 | 5.146 | 239.767 | 5.212 | 231.733 | 20.673 | 889.817 | 61.312 | 10.0893
2020-07-23 14:15:00 | 4.97 | 223.273 | 5.313 | 221.304 | 5.45 | 223.533 | 5.636 | 218.1 | 21.052 | 889.633 | 58.411 | 9.8463
2020-07-23 14:30:00 | 4.152 | 213.253 | 4.47 | 215.532 | 4.421 | 218.5 | 4.678 | 214.2 | 21.402 | 889.967 | 56.032 | 5.487
2020-07-23 14:45:00 | 4.386 | 225.08 | 4.394 | 222.198 | 4.357 | 226.3 | 4.511 | 221.1 | 22.068 | 889.75 | 50.421 | 4.3387
2020-07-23 15:00:00 | 3.872 | 229.267 | 4.026 | 225.995 | 4.1 | 229.967 | 4.142 | 223.867 | 22.531 | 889.692 | 47.371 | 2.2205
2020-07-23 15:15:00 | 2.758 | 257.12 | 2.828 | 248.097 | 2.819 | 248.167 | 3.196 | 241.05 | 22.898 | 889.467 | 45.904 | 0.81218
2020-07-23 15:30:00 | 3.707 | 253.88 | 3.83 | 255.274 | 3.736 | 263.3 | 3.859 | 257.333 | 23.868 | 889.775 | 42.101 | 1.046
2020-07-23 15:45:00 | 4.126 | 281.12 | 4.194 | 270.746 | 4.198 | 271.8 | 4.241 | 263.217 | 23.677 | 889.917 | 43.163 | 1.046
2020-07-23 16:00:00 | 3.365 | 260.34 | 3.584 | 257.132 | 3.618 | 260.1 | 3.96 | 253.083 | 22.914 | 889.783 | 47.835 | 3.0434
2020-07-23 16:15:00 | 4.277 | 252.26 | 4.214 | 252.806 | 4.241 | 255.767 | 4.365 | 252.233 | 22.914 | 889.883 | 54.117 | 5.1125
2020-07-23 16:30:00 | 4.052 | 289.693 | 4.202 | 282.706 | 4.197 | 283.5 | 4.529 | 280.2 | 22.648 | 889.883 | 50.549 | 5.4586
2020-07-23 16:45:00 | 3.963 | 285.407 | 4.283 | 282.234 | 4.498 | 285.9 | 4.558 | 281 | 23.314 | 890.325 | 45.44 | 5.0315
2020-07-23 17:00:00 | 3.101 | 268.34 | 3.166 | 265.415 | 3.19 | 266.933 | 3.518 | 262.683 | 23.914 | 889.975 | 43.243 | 5.3726
2020-07-23 17:15:00 | 2.36 | 283.547 | 2.721 | 273.559 | 2.9 | 272.333 | 3.301 | 269.3 | 23.881 | 889.875 | 42.469 | 4.5959
2020-07-23 17:30:00 | 4.056 | 253.113 | 4.385 | 253.078 | 4.394 | 254.85 | 4.581 | 247.6 | 24.864 | 889.3 | 38.016 | 4.0147
2020-07-23 17:45:00 | 3.794 | 246.92 | 4.034 | 238.766 | 4.213 | 242.883 | 4.265 | 233.483 | 25.331 | 889.983 | 36.496 | 3.275
2020-07-23 18:00:00 | 3.209 | 288.353 | 3.442 | 285.771 | 3.29 | 294.8 | 3.422 | 293.6 | 25.468 | 890.017 | 36.08 | 4.0154
2020-07-23 18:15:00 | 2.913 | 206.357 | 2.861 | 285.89 | 2.756 | 318.533 | 3.283 | 300.633 | 24.385 | 889.55 | 38.123 | 4.4929
2020-07-23 18:30:00 | 4.511 | 291.52 | 4.621 | 288.935 | 4.584 | 292.667 | 4.795 | 289.133 | 25.16 | 889.4 | 38.248 | 3.1357
2020-07-23 18:45:00 | 2.792 | 328.227 | 2.956 | 319.015 | 3.084 | 320.467 | 3.488 | 315.7 | 24.523 | 889.783 | 39.325 | 3.3411
2020-07-23 19:00:00 | 4.779 | 291.227 | 5.033 | 285.558 | 4.9 | 288.7 | 5.299 | 287.8 | 24.523 | 890.133 | 39.765 | 3.7937
2020-07-23 19:15:00 | 3.892 | 310 | 4.261 | 301.449 | 4.512 | 305.433 | 4.823 | 301.8 | 24.26 | 890.208 | 42.843 | 8.0095
2020-07-23 19:30:00 | 5.347 | 303.92 | 5.367 | 297.419 | 5.302 | 303.333 | 5.488 | 301.433 | 24.248 | 889.817 | 44.512 | 8.8515
2020-07-23 19:45:00 | 4.655 | 311.667 | 4.583 | 306.222 | 4.885 | 313.067 | 5.114 | 311.133 | 23.852 | 889.792 | 44.971 | 9.3866
2020-07-23 20:00:00 | 5.148 | 314.92 | 5.204 | 309.738 | 5.527 | 314.6 | 5.758 | 314 | 23.768 | 889.917 | 45.285 | 10.2876
2020-07-23 20:15:00 | 4.51 | 305.573 | 4.519 | 300.155 | 4.885 | 304.267 | 5.307 | 301.633 | 23.994 | 889.742 | 45.883 | 11.73
2020-07-23 20:30:00 | 6.453 | 316.853 | 6.994 | 312.474 | 7.294 | 317.733 | 7.646 | 314.933 | 23.764 | 889.817 | 47.328 | 18.474
2020-07-23 20:45:00 | 6.336 | 319.227 | 6.99 | 312.103 | 7.204 | 314.767 | 7.402 | 311.333 | 23.548 | 889.683 | 48.085 | 27.862
2020-07-23 21:00:00 | 5.9 | 313.587 | 6.313 | 307.427 | 6.492 | 310.467 | 6.876 | 307.967 | 22.998 | 889.608 | 48.933 | 20.7571
2020-07-23 21:15:00 | 6.283 | 307.88 | 6.749 | 302.492 | 6.996 | 307.6 | 7.233 | 305.767 | 23.031 | 889.975 | 50.219 | 20.3997
2020-07-23 21:30:00 | 4.69 | 293.333 | 5.354 | 285.98 | 5.496 | 290.667 | 5.963 | 289.133 | 22.864 | 889.85 | 51.691 | 17.1353
2020-07-23 21:45:00 | 5.042 | 292.933 | 5.83 | 289.187 | 6.157 | 293.267 | 6.568 | 290.167 | 22.648 | 889.883 | 53.04 | 17.0287
2020-07-23 22:00:00 | 5.528 | 295.08 | 6.184 | 290.244 | 6.268 | 294.9 | 6.695 | 292.9 | 22.494 | 889.85 | 53.419 | 16.2364
2020-07-23 22:15:00 | 4.608 | 284.467 | 5.307 | 281.402 | 5.466 | 285.9 | 5.89 | 284.767 | 21.802 | 889.717 | 53.387 | 13.8404
2020-07-23 22:30:00 | 5.113 | 290.213 | 6.037 | 285.461 | 6.41 | 290.467 | 6.758 | 287.167 | 22.239 | 890.3 | 53.008 | 14.4025
2020-07-23 22:45:00 | 6.048 | 295.307 | 6.983 | 292.01 | 7.344 | 294.367 | 7.924 | 290.733 | 22.048 | 889.767 | 52.24 | 24.7434
2020-07-23 23:00:00 | 4.985 | 282.72 | 5.985 | 279.653 | 6.474 | 284.333 | 6.977 | 282.833 | 22.01 | 889.508 | 51.621 | 25.9961
2020-07-23 23:15:00 | 4.99 | 280.547 | 5.845 | 278.073 | 6.152 | 280.5 | 6.753 | 277.967 | 21.968 | 890.008 | 52.16 | 21.8457
2020-07-23 23:30:00 | 4.952 | 278.2 | 5.647 | 273.129 | 5.836 | 276.7 | 6.194 | 272.267 | 21.277 | 889.992 | 53.28 | 18.0761
2020-07-23 23:45:00 | 4.667 | 274.227 | 5.459 | 271.087 | 5.747 | 275.967 | 5.907 | 272.8 | 21.594 | 889.417 | 54.821 | 17.0309