## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-24 00:00:00 | 4.959 | 268.04 | 5.929 | 265.282 | 6.261 | 270.233 | 6.561 | 265.817 | 21.235 | 890.025 | 56.208 | 18.5124
2020-07-24 00:15:00 | 5.199 | 270.36 | 6.146 | 265.618 | 6.506 | 269.533 | 6.789 | 264.333 | 21.218 | 889.95 | 58.011 | 19.2372
2020-07-24 00:30:00 | 5.425 | 264.347 | 6.21 | 263.31 | 6.564 | 266.8 | 7.13 | 261.1 | 21.202 | 889.908 | 58.427 | 18.6247
2020-07-24 00:45:00 | 4.968 | 260.42 | 5.931 | 258.505 | 6.254 | 262.15 | 6.684 | 258.75 | 20.898 | 889.708 | 58.821 | 19.4162
2020-07-24 01:00:00 | 4.716 | 264.853 | 5.548 | 261.789 | 5.98 | 266.667 | 6.311 | 262.333 | 21.006 | 889.892 | 58.843 | 16.1249
2020-07-24 01:15:00 | 4.534 | 268.473 | 5.498 | 266.382 | 5.793 | 273.533 | 6.165 | 269.3 | 20.81 | 889.575 | 58.955 | 12.4989
2020-07-24 01:30:00 | 4.164 | 252.933 | 5.248 | 253.137 | 5.358 | 259.067 | 5.568 | 256.267 | 20.273 | 889.908 | 59.547 | 12.781
2020-07-24 01:45:00 | 3.896 | 249.333 | 4.729 | 253.054 | 5.179 | 260.967 | 5.597 | 258.033 | 20.389 | 889.542 | 61.899 | 14.3861
2020-07-24 02:00:00 | 4.49 | 250.227 | 5.395 | 252.423 | 5.784 | 260.367 | 6.244 | 258.95 | 19.477 | 890.192 | 63.008 | 16.8042
2020-07-24 02:15:00 | 4.16 | 251.76 | 5.278 | 256.745 | 5.823 | 262.4 | 6.344 | 258.933 | 19.66 | 889.7 | 62.064 | 16.024
2020-07-24 02:30:00 | 4.893 | 257.013 | 5.762 | 255.267 | 6.111 | 260.85 | 6.414 | 257.317 | 20.081 | 889.8 | 61.349 | 18.9721
2020-07-24 02:45:00 | 4.892 | 275.32 | 5.726 | 272.442 | 6.168 | 275.267 | 6.52 | 271.5 | 20.327 | 889.642 | 59.963 | 19.1519
2020-07-24 03:00:00 | 4.926 | 273.653 | 6.145 | 268.282 | 6.472 | 272.5 | 6.842 | 268.667 | 20.514 | 890.025 | 59.776 | 19.7644
2020-07-24 03:15:00 | 4.834 | 275.24 | 5.69 | 271.648 | 6.023 | 275.967 | 6.287 | 273.267 | 20.685 | 889.908 | 59.472 | 17.2149
2020-07-24 03:30:00 | 5.231 | 272.453 | 5.913 | 264.385 | 6.256 | 270.133 | 6.892 | 265.15 | 20.344 | 890.083 | 59.328 | 17.0401
2020-07-24 03:45:00 | 5.08 | 277.933 | 5.916 | 273.697 | 6.216 | 277.3 | 6.804 | 273.767 | 20.698 | 889.958 | 61.035 | 21.6801
2020-07-24 04:00:00 | 5.756 | 278.787 | 6.786 | 273.78 | 7.179 | 277.733 | 7.574 | 274.967 | 20.36 | 890.042 | 62.405 | 27.2431
2020-07-24 04:15:00 | 5.757 | 280.987 | 6.625 | 276.857 | 6.843 | 280.833 | 7.392 | 277.4 | 19.914 | 890.05 | 63.829 | 27.7455
2020-07-24 04:30:00 | 6.397 | 277.173 | 7.347 | 274.221 | 7.63 | 279.067 | 7.966 | 276.733 | 20.023 | 890.208 | 64.715 | 29.88
2020-07-24 04:45:00 | 5.754 | 284.347 | 6.454 | 277.465 | 6.673 | 279.7 | 7.218 | 277.233 | 19.514 | 889.95 | 67.328 | 29.5176
2020-07-24 05:00:00 | 5.188 | 279.467 | 5.929 | 275.755 | 6.514 | 279.667 | 6.964 | 276.7 | 19.231 | 889.625 | 67.205 | 26.0636
2020-07-24 05:15:00 | 6.592 | 279.573 | 7.329 | 275.85 | 7.492 | 280.833 | 8.023 | 277.667 | 19.594 | 889.883 | 65.765 | 27.5579
2020-07-24 05:30:00 | 6.739 | 280.053 | 7.577 | 275.444 | 8.002 | 280.267 | 8.367 | 276.7 | 19.573 | 889.658 | 64.789 | 30.9153
2020-07-24 05:45:00 | 5.668 | 271.333 | 6.683 | 267.575 | 6.962 | 271.933 | 7.337 | 267.1 | 19.618 | 889.983 | 64.091 | 29.3009
2020-07-24 06:00:00 | 6.573 | 275.48 | 7.451 | 270.898 | 7.919 | 275.233 | 8.247 | 272.333 | 19.377 | 889.858 | 62.667 | 28.5754
2020-07-24 06:15:00 | 6.542 | 284.973 | 7.758 | 280.357 | 7.971 | 282.533 | 8.332 | 279.8 | 19.356 | 889.675 | 62.16 | 32.3798
2020-07-24 06:30:00 | 7.04 | 281.093 | 7.82 | 277.245 | 7.957 | 280.433 | 8.156 | 276.633 | 19.327 | 889.625 | 64.251 | 39.1231
2020-07-24 06:45:00 | 9.345 | 267.84 | 10.568 | 263.864 | 10.973 | 267.733 | 11.202 | 262.3 | 18.914 | 890.008 | 71.115 | 53.8403
2020-07-24 07:00:00 | 8.977 | 255.953 | 10.166 | 252.14 | 10.669 | 256.05 | 10.726 | 251.55 | 18.11 | 889.85 | 74.059 | 65.338
2020-07-24 07:15:00 | 8.952 | 255.74 | 10.066 | 252.287 | 10.667 | 256.117 | 10.565 | 252.417 | 17.756 | 890.333 | 79.467 | 72.4757
2020-07-24 07:30:00 | 7.525 | 252.14 | 8.732 | 248.645 | 9.385 | 251.4 | 9.559 | 246.417 | 16.598 | 889.804 | 86.251 | 69.3208
2020-07-24 07:45:00 | 6.605 | 258.987 | 7.444 | 255.817 | 7.953 | 259.85 | 7.999 | 253.367 | 15.994 | 890.029 | 90.475 | 44.6826
2020-07-24 08:00:00 | 5.526 | 268.12 | 6.831 | 262.565 | 7.184 | 266.2 | 7.596 | 259.95 | 16.082 | 890.133 | 90.091 | 29.3514
2020-07-24 08:15:00 | 5.589 | 268.427 | 6.688 | 264.862 | 7.16 | 270.033 | 7.602 | 264.333 | 16.331 | 889.825 | 89.845 | 27.3014
2020-07-24 08:30:00 | 4.479 | 270.547 | 5.17 | 265.757 | 5.613 | 270.6 | 5.888 | 263.667 | 16.564 | 889.708 | 87.755 | 16.2173
2020-07-24 08:45:00 | 4.084 | 262.573 | 5.221 | 259.39 | 5.786 | 264.517 | 5.941 | 258.2 | 16.548 | 890.012 | 88.405 | 13.721
2020-07-24 09:00:00 | 4.259 | 265.7 | 5.359 | 260.643 | 5.671 | 266.6 | 5.859 | 262.433 | 16.748 | 889.746 | 88.661 | 12.6005
2020-07-24 09:15:00 | 3.919 | 269.28 | 4.948 | 264.922 | 5.342 | 269.7 | 5.586 | 265.367 | 16.814 | 890.021 | 87.659 | 11.2476
2020-07-24 09:30:00 | 4.174 | 264.433 | 5.089 | 263.015 | 5.408 | 267.733 | 5.507 | 263.767 | 16.998 | 889.475 | 86.539 | 8.9489
2020-07-24 09:45:00 | 2.987 | 274.693 | 3.704 | 267.542 | 4.002 | 270.933 | 4.201 | 265.9 | 17.377 | 889.712 | 87.072 | 5.86
2020-07-24 10:00:00 | 2.912 | 279.88 | 3.597 | 275.15 | 4.039 | 276.6 | 4.175 | 273.033 | 17.348 | 889.508 | 84.384 | 5.4898
2020-07-24 10:15:00 | 4.577 | 281.547 | 4.815 | 275.556 | 5.055 | 281.767 | 5.3 | 276.7 | 17.785 | 889.583 | 78.395 | 11.2447
2020-07-24 10:30:00 | 4.92 | 296.56 | 5.347 | 289.362 | 5.504 | 291.867 | 5.599 | 287.867 | 18.248 | 889.942 | 74.581 | 12.69
2020-07-24 10:45:00 | 6.79 | 295.667 | 7.368 | 293.276 | 7.66 | 297.667 | 7.986 | 295.067 | 18.589 | 889.658 | 67.168 | 26.0181
2020-07-24 11:00:00 | 5.983 | 306.067 | 6.555 | 301.433 | 6.699 | 307.4 | 6.83 | 302.267 | 18.523 | 889.675 | 66.608 | 24.1351
2020-07-24 11:15:00 | 4.82 | 309.307 | 5.424 | 299.65 | 5.517 | 303.4 | 5.71 | 300.3 | 18.964 | 889.775 | 64.133 | 17.2952
2020-07-24 11:30:00 | 6.383 | 304 | 6.972 | 303.45 | 7.048 | 309.033 | 7.524 | 309.133 | 19.673 | 890.117 | 62.165 | 18.4328
2020-07-24 11:45:00 | 7.004 | 311.067 | 7.622 | 304.018 | 7.727 | 308.533 | 7.786 | 305.8 | 19.348 | 889.825 | 60.251 | 34.2372
2020-07-24 12:00:00 | 7.512 | 324.893 | 7.98 | 318.28 | 8.097 | 321.8 | 8.081 | 320.033 | 19.527 | 890.05 | 59.68 | 35.367
2020-07-24 12:15:00 | 5.455 | 319.72 | 6.083 | 315.084 | 6.381 | 317.2 | 6.576 | 317.3 | 19.573 | 889.842 | 59.963 | 28.8106
2020-07-24 12:30:00 | 6.602 | 327 | 7.257 | 321.722 | 7.324 | 327.5 | 7.721 | 326.6 | 20.202 | 889.858 | 59.717 | 24.7966
2020-07-24 12:45:00 | 5.054 | 226.334 | 5.699 | 318.162 | 5.86 | 317.367 | 5.977 | 316.933 | 20.464 | 889.375 | 56.533 | 19.1142
2020-07-24 13:00:00 | 7.356 | 318.747 | 7.782 | 314.182 | 8.037 | 315.967 | 8.42 | 313.533 | 20.606 | 889.992 | 57.221 | 20.2227
2020-07-24 13:15:00 | 6.046 | 312.333 | 6.703 | 301.498 | 6.84 | 302.9 | 6.811 | 301.633 | 21.294 | 889.958 | 52.352 | 20.9724
2020-07-24 13:30:00 | 5.643 | 319.76 | 5.986 | 316.266 | 6.551 | 323.933 | 6.933 | 321.667 | 22.068 | 890.033 | 51.013 | 20.7322
2020-07-24 13:45:00 | 5.8 | 307.187 | 6.124 | 304.516 | 6.602 | 308.233 | 6.963 | 306.967 | 22.181 | 889.308 | 50.229 | 18.6389
2020-07-24 14:00:00 | 5.307 | 301.493 | 5.846 | 297.606 | 5.993 | 300.367 | 6.317 | 300.367 | 22.764 | 889.767 | 48.395 | 20.0621
2020-07-24 14:15:00 | 5.873 | 318.36 | 6.415 | 313.223 | 6.723 | 316.767 | 6.629 | 316.233 | 23.331 | 890.092 | 46.155 | 16.2102
2020-07-24 14:30:00 | 5.33 | 304.88 | 5.666 | 299.128 | 5.861 | 304.033 | 6.184 | 302.3 | 23.331 | 889.992 | 44.763 | 16.2386
2020-07-24 14:45:00 | 5.425 | 289.427 | 5.769 | 287.654 | 5.881 | 292.967 | 6.041 | 293.3 | 23.498 | 889.85 | 43.36 | 16.7985
2020-07-24 15:00:00 | 5.625 | 295.16 | 6.123 | 293.628 | 6.375 | 297.633 | 6.568 | 293.6 | 22.931 | 889.558 | 46.373 | 18.0214
2020-07-24 15:15:00 | 4.467 | 286.8 | 5.022 | 287.186 | 5.395 | 293.933 | 5.488 | 290.8 | 23.114 | 889.883 | 45.835 | 13.3359
2020-07-24 15:30:00 | 2.858 | 285.44 | 3.526 | 280.85 | 3.565 | 286.667 | 3.871 | 286.95 | 23.352 | 889.967 | 43.968 | 7.9946
2020-07-24 15:45:00 | 6.553 | 310.427 | 6.76 | 305.882 | 7.124 | 310 | 7.315 | 308.667 | 23.818 | 889.875 | 40.896 | 8.6355
2020-07-24 16:00:00 | 5.554 | 299.587 | 6.146 | 295.18 | 6.258 | 300.167 | 6.678 | 298.967 | 23.531 | 889.858 | 40.203 | 13.2784
2020-07-24 16:15:00 | 3.029 | 298.84 | 3.359 | 291.278 | 3.606 | 297.467 | 3.843 | 296.567 | 23.431 | 889.717 | 39.496 | 8.4103
2020-07-24 16:30:00 | 5.408 | 280.56 | 5.89 | 277.07 | 5.85 | 280 | 5.814 | 275.433 | 24.202 | 889.85 | 36.392 | 7.0573
2020-07-24 16:45:00 | 4.821 | 257.187 | 5.509 | 255.056 | 5.79 | 260.867 | 5.743 | 256.217 | 24.806 | 890.017 | 33.269 | 6.2615
2020-07-24 17:00:00 | 6.161 | 286.893 | 6.484 | 280.618 | 6.544 | 283.767 | 6.852 | 280.7 | 25.402 | 889.65 | 30.952 | 13.8696
2020-07-24 17:15:00 | 6.902 | 273.847 | 7.107 | 268.426 | 7.158 | 272.733 | 7.263 | 268.467 | 25.431 | 889.333 | 30.579 | 32.5766
2020-07-24 17:30:00 | 6.804 | 274.267 | 7.164 | 268.29 | 7.19 | 272.067 | 7.091 | 266.7 | 25.006 | 889.817 | 32.491 | 36.2218
2020-07-24 17:45:00 | 5.865 | 254.1 | 6.453 | 250.762 | 6.521 | 255.967 | 6.351 | 251.933 | 24.723 | 889.617 | 34.651 | 25.1804
2020-07-24 18:00:00 | 7.179 | 266.04 | 7.596 | 259.03 | 7.729 | 262.05 | 7.583 | 256.25 | 25.66 | 889.267 | 30.309 | 16.9101
2020-07-24 18:15:00 | 4.401 | 296.473 | 4.71 | 287.34 | 4.839 | 290.25 | 5.073 | 286.667 | 25.102 | 889.733 | 30.08 | 14.4941
2020-07-24 18:30:00 | 4.799 | 289.667 | 5.115 | 282.815 | 5.326 | 287.667 | 5.248 | 286.067 | 26.531 | 889.75 | 30.683 | 11.9297
2020-07-24 18:45:00 | 4.044 | 273.8 | 4.277 | 269.834 | 4.48 | 273.633 | 4.745 | 271.333 | 25.377 | 889.783 | 34.176 | 18.6623
2020-07-24 19:00:00 | 6.963 | 295.547 | 7.387 | 287.327 | 7.458 | 289.7 | 7.602 | 286.667 | 25.594 | 889.95 | 31.709 | 24.4115
2020-07-24 19:15:00 | 6.322 | 295.587 | 6.636 | 292.625 | 6.852 | 296.433 | 7.14 | 294.767 | 25.668 | 889.7 | 33.203 | 22.925
2020-07-24 19:30:00 | 4.91 | 295 | 5.343 | 289.171 | 5.476 | 292.033 | 5.766 | 289.1 | 25.681 | 889.733 | 32.464 | 14.6817
2020-07-24 19:45:00 | 4.486 | 308.293 | 4.724 | 301.155 | 4.834 | 303.733 | 4.908 | 301.533 | 25.931 | 890.067 | 32.573 | 15.1976
2020-07-24 20:00:00 | 5.478 | 312.4 | 5.747 | 303.089 | 5.855 | 305.5 | 6.146 | 304.467 | 25.648 | 890.233 | 34.237 | 18.9721
2020-07-24 20:15:00 | 4.279 | 309.547 | 4.463 | 305.185 | 5.02 | 310.633 | 5.299 | 309.2 | 25.289 | 889.6 | 34.56 | 10.8617
2020-07-24 20:30:00 | 3.846 | 283.88 | 4.554 | 284.661 | 4.966 | 290.767 | 5.143 | 289.8 | 25.423 | 889.267 | 34.987 | 6.9884
2020-07-24 20:45:00 | 3.753 | 272.733 | 4.231 | 270.233 | 4.664 | 276.833 | 4.962 | 273.4 | 24.923 | 889.667 | 36.595 | 5.0777
2020-07-24 21:00:00 | 3.617 | 278.587 | 4.418 | 278.782 | 4.803 | 287.733 | 5.334 | 284.6 | 25.006 | 889.5 | 38.357 | 5.1083
2020-07-24 21:15:00 | 3.241 | 262.967 | 4.024 | 264.49 | 4.209 | 271.967 | 4.459 | 271.367 | 24.677 | 889.8 | 41.251 | 7.078
2020-07-24 21:30:00 | 3.543 | 262.393 | 4.405 | 271.602 | 4.559 | 280.167 | 4.818 | 280.333 | 23.877 | 889.942 | 41.797 | 6.0718
2020-07-24 21:45:00 | 3.859 | 276.627 | 4.618 | 276.224 | 5.09 | 282.033 | 5.507 | 281 | 23.827 | 889.617 | 40.427 | 6.4065
2020-07-24 22:00:00 | 3.6 | 254.04 | 4.916 | 259.248 | 5.166 | 263.867 | 5.307 | 262 | 23.364 | 889.742 | 43.435 | 7.7189
2020-07-24 22:15:00 | 4.077 | 247.007 | 4.945 | 253.289 | 5.232 | 259.8 | 5.341 | 257.867 | 23.214 | 890.242 | 44.4 | 10.4077
2020-07-24 22:30:00 | 4.551 | 232.353 | 5.385 | 239.047 | 5.291 | 248.733 | 5.32 | 247.8 | 22.981 | 889.858 | 47.147 | 13.5505
2020-07-24 22:45:00 | 4.935 | 231.2 | 5.426 | 237.892 | 5.702 | 245.133 | 5.709 | 242.433 | 22.564 | 889.758 | 49.013 | 15.0995
2020-07-24 23:00:00 | 4.913 | 222.9 | 6.308 | 230.449 | 6.271 | 238.933 | 6.127 | 234.7 | 22.089 | 890.083 | 50.699 | 17.0834
2020-07-24 23:15:00 | 5.129 | 219.853 | 6.513 | 223.65 | 7.045 | 232.333 | 6.867 | 230.4 | 21.644 | 889.917 | 53.632 | 21.0733
2020-07-24 23:30:00 | 5.411 | 225.327 | 7.12 | 227.464 | 7.632 | 234.5 | 7.562 | 230.8 | 21.673 | 889.817 | 52.405 | 27.9622
2020-07-24 23:45:00 | 5.686 | 212.487 | 7.73 | 212.857 | 7.938 | 221.267 | 7.483 | 220.9 | 21.573 | 889.842 | 54.805 | 30.4137