## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-25 00:00:00 | 5.658 | 209.76 | 7.391 | 208.779 | 8.006 | 215.6 | 7.908 | 214.8 | 21.106 | 890.092 | 57.323 | 32.7244
2020-07-25 00:15:00 | 5.838 | 211.38 | 7.876 | 211.439 | 8.187 | 216.033 | 8.107 | 213.967 | 21.264 | 890.025 | 57.333 | 33.8251
2020-07-25 00:30:00 | 5.99 | 212.067 | 7.919 | 210.731 | 8.588 | 216.767 | 8.412 | 215.1 | 20.698 | 890.333 | 56.651 | 35.7529
2020-07-25 00:45:00 | 6.175 | 209.473 | 8.006 | 211.049 | 8.323 | 216.3 | 8.294 | 214.967 | 20.164 | 889.792 | 55.456 | 35.0302
2020-07-25 01:00:00 | 5.997 | 216.46 | 7.355 | 221.458 | 7.57 | 229.2 | 7.606 | 228.133 | 20.068 | 889.892 | 54.603 | 33.6261
2020-07-25 01:15:00 | 5.761 | 216.153 | 7.069 | 221.448 | 7.654 | 229.833 | 7.688 | 229.033 | 19.864 | 890.192 | 54.677 | 34.4383
2020-07-25 01:30:00 | 5.284 | 224.113 | 7.342 | 227.287 | 8.259 | 234.8 | 8.197 | 232.567 | 19.46 | 889.975 | 52.992 | 35.4978
2020-07-25 01:45:00 | 5.171 | 227.447 | 6.878 | 231.135 | 7.427 | 241.567 | 7.379 | 238.567 | 19.544 | 889.775 | 52.661 | 31.4532
2020-07-25 02:00:00 | 5.327 | 231.92 | 6.864 | 234.278 | 7.433 | 242.733 | 7.361 | 240.633 | 19.814 | 889.883 | 52.139 | 31.3729
2020-07-25 02:15:00 | 5.465 | 229.547 | 6.684 | 233.938 | 7.113 | 242.633 | 6.958 | 239.433 | 19.631 | 890.175 | 52.512 | 28.8959
2020-07-25 02:30:00 | 5.147 | 235.567 | 6.767 | 240.048 | 6.972 | 248.2 | 6.711 | 246.1 | 19.214 | 890.125 | 52.224 | 25.2052
2020-07-25 02:45:00 | 5.336 | 239.233 | 6.468 | 244.338 | 6.281 | 254.133 | 6.189 | 255.467 | 19.91 | 889.692 | 51.435 | 21.6865
2020-07-25 03:00:00 | 5.667 | 227.453 | 6.628 | 234.342 | 6.641 | 244.067 | 6.395 | 244.5 | 19.206 | 889.983 | 53.269 | 24.5707
2020-07-25 03:15:00 | 5.945 | 224.633 | 7.352 | 231.314 | 7.148 | 240.467 | 6.848 | 238.367 | 18.689 | 889.717 | 54.517 | 28.1136
2020-07-25 03:30:00 | 5.773 | 229.3 | 6.867 | 236.465 | 6.933 | 247.567 | 6.788 | 247.467 | 18.773 | 889.783 | 54.112 | 25.3253
2020-07-25 03:45:00 | 5.521 | 229.367 | 6.484 | 236.026 | 6.662 | 246.767 | 6.245 | 247.267 | 18.673 | 889.8 | 54.176 | 21.8258
2020-07-25 04:00:00 | 5.216 | 224.467 | 6.986 | 230.914 | 6.99 | 240.5 | 6.772 | 238.467 | 18.335 | 890.15 | 55.552 | 25.4106
2020-07-25 04:15:00 | 5.805 | 226.127 | 7.544 | 230.852 | 7.548 | 239.2 | 7.307 | 236 | 18.389 | 889.783 | 55.445 | 29.6726
2020-07-25 04:30:00 | 5.593 | 230.02 | 7.478 | 234.686 | 7.718 | 243.833 | 7.349 | 241.167 | 18.068 | 890.058 | 55.04 | 31.2806
2020-07-25 04:45:00 | 5.873 | 235.7 | 7.582 | 239.33 | 7.557 | 246.567 | 7.232 | 243.933 | 18.456 | 889.4 | 53.792 | 31.0361
2020-07-25 05:00:00 | 5.76 | 228.107 | 7.257 | 233.618 | 7.269 | 242.233 | 6.885 | 240.733 | 18.044 | 889.625 | 54.848 | 30.2481
2020-07-25 05:15:00 | 5.805 | 217.293 | 7.386 | 222.152 | 8.215 | 234.333 | 7.705 | 234.067 | 17.66 | 889.55 | 56.715 | 35.0629
2020-07-25 05:30:00 | 5.704 | 213.953 | 7.4 | 220.31 | 7.396 | 231.5 | 6.987 | 232.133 | 17.648 | 890.05 | 59.307 | 29.3819
2020-07-25 05:45:00 | 6.2 | 215.52 | 7.512 | 221.329 | 7.243 | 232.933 | 6.915 | 233.1 | 17.106 | 889.767 | 59.84 | 25.7495
2020-07-25 06:00:00 | 5.948 | 218.627 | 7.778 | 221.307 | 7.336 | 232.833 | 6.826 | 233.4 | 17.181 | 889.992 | 60.939 | 26.5965
2020-07-25 06:15:00 | 6.003 | 215.98 | 7.41 | 222.732 | 7.155 | 234.933 | 6.702 | 234.3 | 16.781 | 889.658 | 61.493 | 23.3535
2020-07-25 06:30:00 | 6.368 | 215.913 | 7.595 | 221.945 | 7.154 | 236 | 6.659 | 235.667 | 16.864 | 889.7 | 61.867 | 22.7566
2020-07-25 06:45:00 | 6.677 | 218.407 | 7.619 | 224.191 | 7.251 | 234.667 | 6.753 | 233.767 | 16.864 | 890.033 | 60.619 | 24.1266
2020-07-25 07:00:00 | 6.876 | 218.98 | 8.718 | 220.872 | 8.008 | 228.633 | 7.556 | 227.867 | 17.448 | 889.808 | 59.392 | 29.7678
2020-07-25 07:15:00 | 7.161 | 217.553 | 8.764 | 218.16 | 8.361 | 224.867 | 7.65 | 224.667 | 18.089 | 889.592 | 54.923 | 33.6716
2020-07-25 07:30:00 | 6.529 | 216.593 | 8.476 | 214.584 | 8.389 | 221 | 7.976 | 220.5 | 19.098 | 889.9 | 50.901 | 34.6984
2020-07-25 07:45:00 | 6.5 | 212.373 | 8.393 | 210.903 | 8.742 | 213.733 | 8.334 | 213.333 | 20.148 | 890.158 | 48.171 | 37.3708
2020-07-25 08:00:00 | 6.719 | 214.56 | 7.986 | 213.189 | 8.922 | 217.867 | 8.652 | 216.6 | 21.244 | 890.008 | 45.323 | 37.8981
2020-07-25 08:15:00 | 6.643 | 220.993 | 7.651 | 218.376 | 8.346 | 224.533 | 8.226 | 222.267 | 22.114 | 889.908 | 42.037 | 34.5762
2020-07-25 08:30:00 | 6.108 | 218.807 | 6.376 | 218.313 | 6.856 | 224.833 | 7.065 | 222.167 | 23.014 | 889.917 | 38.917 | 26.3272
2020-07-25 08:45:00 | 5.875 | 227.207 | 6.207 | 225.436 | 6.594 | 229.533 | 6.734 | 226.2 | 23.831 | 889.383 | 37.003 | 21.6829
2020-07-25 09:00:00 | 6.236 | 232.96 | 6.285 | 229.026 | 6.561 | 234.6 | 6.463 | 230.667 | 24.481 | 889.817 | 35.44 | 16.9662
2020-07-25 09:15:00 | 5.394 | 247.86 | 5.406 | 245.262 | 5.682 | 249.983 | 5.569 | 245.283 | 25.573 | 889.7 | 33.432 | 12.9465
2020-07-25 09:30:00 | 6.268 | 260.433 | 6.692 | 257.68 | 6.743 | 261.933 | 6.75 | 255.933 | 26.331 | 889.85 | 30.595 | 14.4536
2020-07-25 09:45:00 | 6.037 | 273.187 | 6.668 | 268.597 | 6.907 | 270.083 | 6.811 | 265.65 | 26.398 | 890.067 | 29.195 | 17.4323
2020-07-25 10:00:00 | 5.725 | 277.047 | 6.397 | 272.846 | 6.478 | 277.2 | 6.668 | 273.9 | 26.277 | 889.85 | 29.651 | 22.073
2020-07-25 10:15:00 | 6.95 | 297.653 | 7.575 | 292.876 | 7.74 | 297.233 | 8.061 | 294.867 | 26.31 | 889.883 | 28.464 | 28.2486
2020-07-25 10:30:00 | 6.938 | 292.2 | 7.527 | 283.129 | 7.87 | 287.7 | 8.168 | 286.067 | 26.102 | 889.817 | 27.981 | 31.3779
2020-07-25 10:45:00 | 6.302 | 302.733 | 6.745 | 296.678 | 6.95 | 302.3 | 7.422 | 298.667 | 26.481 | 889.7 | 28.459 | 26.8168
2020-07-25 11:00:00 | 6.143 | 287.547 | 6.604 | 283.269 | 6.839 | 288.033 | 7.486 | 285.067 | 27.123 | 889.85 | 27.304 | 21.8656
2020-07-25 11:15:00 | 6.934 | 282.68 | 7.283 | 278.399 | 7.396 | 281.033 | 7.414 | 279.6 | 27.023 | 889.95 | 26.533 | 27.0001
2020-07-25 11:30:00 | 6.385 | 286.24 | 6.888 | 283.606 | 7.063 | 285.867 | 7.416 | 284.233 | 27.218 | 889.817 | 25.856 | 28.6486
2020-07-25 11:45:00 | 6.091 | 292.68 | 6.355 | 290.887 | 6.571 | 292.2 | 6.71 | 290.533 | 28.318 | 889.467 | 24.861 | 27.2282
2020-07-25 12:00:00 | 7.702 | 307.733 | 8.004 | 300.416 | 8.41 | 303.2 | 8.438 | 299.9 | 28.118 | 890.05 | 23.717 | 29.7379
2020-07-25 12:15:00 | 6.874 | 289.827 | 7.22 | 287.406 | 7.601 | 292.6 | 7.88 | 291.2 | 28.127 | 889.417 | 23.045 | 28.9648
2020-07-25 12:30:00 | 5.339 | 276.367 | 5.822 | 273.356 | 6.047 | 279.883 | 6.104 | 275.767 | 28.681 | 889.617 | 23.069 | 23.2163
2020-07-25 12:45:00 | 7.127 | 297.52 | 7.352 | 292.705 | 7.607 | 294.267 | 7.636 | 289.767 | 28.764 | 889.917 | 22.736 | 25.3274
2020-07-25 13:00:00 | 6.76 | 270.413 | 7.033 | 270.888 | 6.992 | 277.4 | 7.147 | 274.867 | 29.014 | 889.433 | 22.384 | 33.9857
2020-07-25 13:15:00 | 8.133 | 278.92 | 8.633 | 274.792 | 8.771 | 277.133 | 8.95 | 273.933 | 29.064 | 889.75 | 22.144 | 30.1628
2020-07-25 13:30:00 | 6.13 | 271.9 | 6.628 | 267.145 | 6.816 | 268.383 | 7.124 | 264.317 | 29.398 | 889.467 | 21.613 | 30.5224
2020-07-25 13:45:00 | 9.048 | 285.86 | 9.587 | 277.578 | 9.559 | 280.467 | 9.861 | 275.1 | 29.381 | 889.667 | 19.811 | 37.5414
2020-07-25 14:00:00 | 7.787 | 270.28 | 8.271 | 265.479 | 8.574 | 269.583 | 8.78 | 264.75 | 29.598 | 889.567 | 19.793 | 34.8455
2020-07-25 14:15:00 | 9.783 | 299.533 | 10.079 | 290.776 | 10.342 | 295.3 | 10.938 | 292.8 | 29.764 | 889.833 | 18.429 | 38.7053
2020-07-25 14:30:00 | 9.702 | 279.76 | 10.283 | 272.067 | 10.371 | 278.767 | 10.52 | 277.3 | 30.235 | 889.567 | 18.5 | 38.22
2020-07-25 14:45:00 | 8.076 | 282.4 | 8.54 | 273.95 | 8.881 | 276.2 | 9.217 | 273.7 | 30.518 | 889.767 | 18.668 | 38.9007
2020-07-25 15:00:00 | 7.046 | 286.067 | 7.521 | 280.992 | 7.871 | 283.9 | 7.862 | 282.6 | 30.514 | 889.433 | 18.293 | 39.747
2020-07-25 15:15:00 | 9.743 | 310.013 | 10.267 | 302.187 | 10.596 | 305.2 | 10.981 | 302.967 | 31.495 | 889.7 | 17.608 | 41.8424
2020-07-25 15:30:00 | 9.659 | 275.327 | 10.398 | 272.146 | 10.675 | 275.7 | 10.93 | 272.2 | 30.594 | 889.433 | 18.811 | 44.4729
2020-07-25 15:45:00 | 7.916 | 299.2 | 8.301 | 290.713 | 8.604 | 294.567 | 8.986 | 289.5 | 30.944 | 889.6 | 17.26 | 44.0189
2020-07-25 16:00:00 | 8.752 | 290.987 | 9.33 | 285.937 | 9.509 | 289.067 | 9.722 | 288.967 | 30.998 | 889.867 | 17.296 | 43.135
2020-07-25 16:15:00 | 8.325 | 328.093 | 8.871 | 319.329 | 8.997 | 323.433 | 9.305 | 320.433 | 30.785 | 889.433 | 17.241 | 44.6989
2020-07-25 16:30:00 | 8.547 | 310.387 | 9.045 | 302.375 | 9.323 | 304.8 | 9.372 | 304.4 | 31.578 | 889.7 | 17.347 | 43.9279
2020-07-25 16:45:00 | 8.59 | 291.133 | 8.914 | 285.255 | 9.194 | 290.633 | 9.548 | 288.6 | 31.042 | 889.2 | 16.244 | 48.2269
2020-07-25 17:00:00 | 9.408 | 289.96 | 10.235 | 284.887 | 10.383 | 291.067 | 10.593 | 289.133 | 31.991 | 889.733 | 16.379 | 52.0078
2020-07-25 17:15:00 | 7.72 | 286.52 | 8.479 | 282.662 | 8.358 | 286.533 | 8.567 | 285.033 | 31.941 | 889.167 | 15.708 | 54.3278
2020-07-25 17:30:00 | 9.988 | 307.627 | 10.368 | 299.547 | 10.434 | 303.767 | 10.913 | 301.7 | 31.996 | 889.633 | 15.087 | 56.2911
2020-07-25 17:45:00 | 9.512 | 295.107 | 10.438 | 290.086 | 10.518 | 293.533 | 10.859 | 291.5 | 31.588 | 889.467 | 14.805 | 52.1023
2020-07-25 18:00:00 | 8.743 | 291.507 | 9.095 | 284.951 | 9.272 | 290.333 | 9.594 | 286.833 | 31.973 | 889.3 | 14.188 | 55.788
2020-07-25 18:15:00 | 9.379 | 295.067 | 10.21 | 290.854 | 10.593 | 296.5 | 11.425 | 292.9 | 31.808 | 889.567 | 15.025 | 55.5237
2020-07-25 18:30:00 | 9.021 | 292.24 | 9.405 | 286.47 | 9.665 | 290.6 | 10.028 | 287.3 | 32.178 | 889.367 | 15.941 | 57.6291
2020-07-25 18:45:00 | 7.771 | 306.547 | 8.412 | 299.876 | 8.618 | 305.567 | 9.153 | 302.933 | 31.919 | 889.667 | 16.388 | 63.168
2020-07-25 19:00:00 | 10.134 | 315.933 | 10.86 | 309.15 | 11.233 | 312.267 | 11.986 | 308.7 | 31.616 | 889.4 | 17.633 | 60.7428
2020-07-25 19:15:00 | 9.795 | 300.107 | 10.679 | 294.251 | 10.862 | 296.1 | 11.433 | 294.833 | 31.73 | 889.5 | 18.183 | 65.8425
2020-07-25 19:30:00 | 9.491 | 298.787 | 10.402 | 291.756 | 10.714 | 294.867 | 11.257 | 290.8 | 31.74 | 889.433 | 18.984 | 71.6358
2020-07-25 19:45:00 | 9.774 | 285.453 | 10.843 | 279.848 | 11.374 | 284.1 | 11.69 | 281.833 | 31.197 | 889.733 | 19.729 | 69.4416
2020-07-25 20:00:00 | 9.686 | 284.027 | 10.793 | 279.233 | 11.104 | 281.933 | 11.284 | 280 | 31.19 | 889.533 | 20.161 | 72.8622
2020-07-25 20:15:00 | 9.087 | 305.32 | 9.629 | 295.81 | 9.847 | 299.833 | 10.269 | 295.467 | 30.981 | 889.633 | 19.491 | 59.5696
2020-07-25 20:30:00 | 8.826 | 301.973 | 9.742 | 296.605 | 9.945 | 300.533 | 10.281 | 299.167 | 30.731 | 889.533 | 19.115 | 58.7916
2020-07-25 20:45:00 | 7.604 | 296.693 | 8.404 | 291.698 | 8.583 | 295.733 | 8.97 | 293.033 | 30.718 | 889.4 | 19.529 | 51.5985
2020-07-25 21:00:00 | 8.485 | 293.16 | 9.315 | 287.49 | 10.113 | 292.333 | 10.8 | 289.067 | 30.173 | 890 | 20.864 | 58.049
2020-07-25 21:15:00 | 7.848 | 294.693 | 9.234 | 288.576 | 9.75 | 293.5 | 10.388 | 290.233 | 29.481 | 889.683 | 21.232 | 54.9161
2020-07-25 21:30:00 | 7.547 | 291.653 | 8.441 | 287.26 | 8.997 | 291.233 | 9.529 | 288.433 | 29.548 | 889.233 | 21.976 | 56.0239
2020-07-25 21:45:00 | 8.643 | 289.587 | 9.677 | 286.845 | 10.067 | 290.3 | 10.402 | 288.6 | 28.998 | 889.717 | 22.648 | 61.9692
2020-07-25 22:00:00 | 8.428 | 291.68 | 10.037 | 287.618 | 10.558 | 292.033 | 11.159 | 290.733 | 28.839 | 889.717 | 23.992 | 66.9446
2020-07-25 22:15:00 | 8.478 | 315.347 | 9.616 | 309.85 | 10.53 | 315.5 | 11.116 | 314.433 | 28.264 | 889.933 | 28.048 | 74.4027
2020-07-25 22:30:00 | 7.121 | 317.907 | 8.28 | 313.21 | 8.976 | 318.833 | 9.633 | 318.367 | 27.268 | 889.583 | 31.403 | 69.3797
2020-07-25 22:45:00 | 7.881 | 302.48 | 8.914 | 299.199 | 9.494 | 304.533 | 10 | 302.8 | 26.752 | 890.083 | 32.008 | 57.7684
2020-07-25 23:00:00 | 6.847 | 300.707 | 8.203 | 297.567 | 8.789 | 302.733 | 9.571 | 300.467 | 26.194 | 890.267 | 32.301 | 48.332
2020-07-25 23:15:00 | 7.3 | 297.653 | 8.428 | 291.81 | 8.874 | 297.767 | 9.616 | 296.233 | 26.127 | 889.9 | 32.459 | 43.3765
2020-07-25 23:30:00 | 6.953 | 288.227 | 8.096 | 283.864 | 8.606 | 289.3 | 9.289 | 289.767 | 25.489 | 889.95 | 32.813 | 44.5071
2020-07-25 23:45:00 | 6.074 | 284.8 | 7.108 | 280.459 | 7.593 | 285.167 | 7.864 | 283.867 | 25.289 | 889.75 | 33.483 | 39.4343