## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-26 00:00:00 | 5.85 | 290.067 | 6.972 | 286.351 | 7.443 | 290.533 | 8.086 | 290.033 | 25.256 | 889.95 | 33.627 | 35.355
2020-07-26 00:15:00 | 6.434 | 284.6 | 7.621 | 281.392 | 7.933 | 285.6 | 8.519 | 283.733 | 25.039 | 889.417 | 33.824 | 35.6889
2020-07-26 00:30:00 | 5.602 | 272.893 | 6.877 | 270.177 | 7.049 | 276.733 | 7.154 | 273.567 | 24.66 | 889.833 | 34.157 | 29.3791
2020-07-26 00:45:00 | 4.672 | 254.647 | 5.635 | 256.079 | 5.952 | 263.433 | 6.237 | 261.833 | 24.364 | 889.883 | 35.413 | 23.6278
2020-07-26 01:00:00 | 4.957 | 247.08 | 5.615 | 249.27 | 5.666 | 258.733 | 5.725 | 258.4 | 23.614 | 889.8 | 38.064 | 17.7699
2020-07-26 01:15:00 | 4.517 | 251.087 | 4.88 | 257.665 | 5.066 | 269.067 | 5.207 | 271.2 | 23.314 | 889.567 | 38.931 | 12.1272
2020-07-26 01:30:00 | 4.706 | 233.853 | 5.136 | 237.862 | 4.948 | 248 | 4.901 | 248.717 | 23.231 | 889.817 | 40.363 | 11.6043
2020-07-26 01:45:00 | 4.595 | 233.38 | 5.205 | 239.575 | 5.324 | 246.833 | 5.451 | 243.467 | 22.831 | 890.075 | 41.376 | 14.6256
2020-07-26 02:00:00 | 5.025 | 233.867 | 6.831 | 238.538 | 7.663 | 247.167 | 7.865 | 244.667 | 22.448 | 889.758 | 43.349 | 25.7318
2020-07-26 02:15:00 | 6.145 | 249.093 | 7.16 | 246.73 | 7.623 | 254 | 7.659 | 252.55 | 23.064 | 889.592 | 41.339 | 41.1006
2020-07-26 02:30:00 | 6.683 | 268.2 | 8.066 | 266.614 | 8.745 | 271.4 | 8.982 | 266.8 | 23.502 | 889.667 | 39.376 | 42.2958
2020-07-26 02:45:00 | 6.405 | 267.7 | 7.386 | 265.918 | 7.731 | 272.467 | 8.057 | 270.233 | 24.106 | 889.433 | 37.965 | 43.6331
2020-07-26 03:00:00 | 7.361 | 273.553 | 8.675 | 267.501 | 9.012 | 274.3 | 9.579 | 271.8 | 23.96 | 889.767 | 37.336 | 51.278
2020-07-26 03:15:00 | 5.837 | 255.9 | 7.018 | 254.392 | 7.434 | 259.833 | 7.819 | 257.733 | 23.973 | 889.783 | 37.531 | 50.8716
2020-07-26 03:30:00 | 5.55 | 247.173 | 6.523 | 247.294 | 7.003 | 253.433 | 7.341 | 249.55 | 23.648 | 889.917 | 38.28 | 43.6814
2020-07-26 03:45:00 | 7.607 | 260.413 | 8.874 | 257.857 | 9.626 | 263.967 | 10.063 | 259.583 | 22.948 | 889.917 | 39.24 | 40.9762
2020-07-26 04:00:00 | 7.95 | 264.28 | 9.19 | 261.237 | 10.168 | 265.7 | 10.546 | 262.417 | 22.998 | 890.067 | 38.987 | 69.6654
2020-07-26 04:15:00 | 7.602 | 252.853 | 9.169 | 250.54 | 9.835 | 255.783 | 9.874 | 252.283 | 23.214 | 889.967 | 39.624 | 72.0685
2020-07-26 04:30:00 | 6.999 | 233.8 | 8.231 | 237.118 | 9.292 | 243.133 | 9.41 | 240.017 | 22.614 | 890.058 | 41.365 | 62.4752
2020-07-26 04:45:00 | 8.326 | 251.6 | 9.94 | 251.581 | 10.597 | 256.033 | 10.772 | 251.7 | 22.094 | 889.625 | 42.667 | 62.2321
2020-07-26 05:00:00 | 7.322 | 254.693 | 8.843 | 252.864 | 9.553 | 258.017 | 9.574 | 253.917 | 21.981 | 889.917 | 43.552 | 66.0259
2020-07-26 05:15:00 | 7.858 | 243.3 | 9.391 | 240.314 | 10.236 | 246.433 | 10.39 | 241.967 | 21.481 | 889.533 | 45.792 | 70.4754
2020-07-26 05:30:00 | 8.855 | 241.947 | 9.773 | 239.619 | 10.325 | 245.5 | 10.302 | 240.433 | 21.51 | 890.2 | 46.347 | 81.1488
2020-07-26 05:45:00 | 8.143 | 238.38 | 9.78 | 238.607 | 10.338 | 244.667 | 10.559 | 240.767 | 21.389 | 889.758 | 46.741 | 83.4276
2020-07-26 06:00:00 | 8.161 | 238.627 | 9.567 | 235.986 | 10.468 | 242.367 | 10.502 | 237.133 | 21.023 | 889.483 | 45.984 | 81.1467
2020-07-26 06:15:00 | 7.772 | 239.453 | 8.932 | 237.277 | 9.826 | 243.567 | 10.138 | 240.367 | 21.385 | 889.583 | 46.123 | 81.5979
2020-07-26 06:30:00 | 8.992 | 238.013 | 10.167 | 235.983 | 11.029 | 241.733 | 11.295 | 236.233 | 21.081 | 890.05 | 45.931 | 88.5352
2020-07-26 06:45:00 | 8.856 | 241.547 | 10.389 | 238.069 | 11.11 | 244.3 | 11.303 | 239.767 | 21.51 | 889.467 | 44.725 | 89.967
2020-07-26 07:00:00 | 8.005 | 240.827 | 9.362 | 240.479 | 10.393 | 246.2 | 10.605 | 241.917 | 21.856 | 890.083 | 43.083 | 83.439
2020-07-26 07:15:00 | 7.633 | 244.573 | 8.66 | 244.266 | 9.396 | 251.5 | 9.859 | 246.85 | 22.239 | 889.375 | 41.016 | 70.5245
2020-07-26 07:30:00 | 5.784 | 244.333 | 6.489 | 243.816 | 7.173 | 251.067 | 7.389 | 247.967 | 22.598 | 889.633 | 38.501 | 55.0092
2020-07-26 07:45:00 | 6.499 | 253.413 | 6.973 | 253.242 | 7.157 | 258.3 | 7.501 | 253.6 | 23.81 | 889.733 | 34.941 | 56.7167
2020-07-26 08:00:00 | 8.407 | 261.313 | 9.269 | 257.883 | 9.46 | 262.767 | 9.447 | 257.983 | 24.002 | 889.767 | 33.68 | 65.1227
2020-07-26 08:15:00 | 9.195 | 263.52 | 9.626 | 259.63 | 10.026 | 263.067 | 10.015 | 258.133 | 24.381 | 889.933 | 31.677 | 70.4584
2020-07-26 08:30:00 | 8.862 | 271.36 | 9.86 | 266.392 | 10.015 | 271.367 | 10.059 | 266.533 | 24.268 | 889.483 | 30.872 | 66.8785
2020-07-26 08:45:00 | 10.624 | 277.28 | 11.174 | 271.132 | 11.412 | 275.8 | 11.391 | 271.767 | 24.781 | 889.6 | 28.963 | 74.3914
2020-07-26 09:00:00 | 10.165 | 276.2 | 10.726 | 268.757 | 11.207 | 273.133 | 11.38 | 269.067 | 24.631 | 889.633 | 29.333 | 79.9053
2020-07-26 09:15:00 | 10.186 | 282.6 | 10.583 | 274.448 | 11.055 | 279.767 | 11.332 | 276.8 | 24.681 | 889.983 | 29.64 | 77.9378
2020-07-26 09:30:00 | 10.203 | 286.693 | 10.794 | 277.701 | 10.834 | 282.467 | 10.811 | 280.3 | 24.539 | 889.867 | 27.904 | 73.7909
2020-07-26 09:45:00 | 9.248 | 273.853 | 10.087 | 267.828 | 10.135 | 274.533 | 10.284 | 271.283 | 24.889 | 889.917 | 27.256 | 71.1092
2020-07-26 10:00:00 | 9.519 | 272.92 | 10.31 | 270.012 | 10.635 | 273.7 | 11.005 | 270.367 | 25.431 | 889.567 | 26.579 | 67.312
2020-07-26 10:15:00 | 9.642 | 277.267 | 9.876 | 269.718 | 9.944 | 272.867 | 10.078 | 267.183 | 25.835 | 889.533 | 25.629 | 62.3437
2020-07-26 10:30:00 | 9.141 | 271.7 | 9.699 | 267.933 | 9.85 | 273.35 | 10.012 | 268.4 | 25.873 | 889.9 | 24.365 | 52.6168
2020-07-26 10:45:00 | 8.857 | 290.6 | 8.977 | 285.926 | 9.209 | 291.767 | 9.566 | 290.433 | 26.256 | 889.6 | 23.765 | 51.9801
2020-07-26 11:00:00 | 8.519 | 281.347 | 9.364 | 274.985 | 9.538 | 279.433 | 9.47 | 277.7 | 26.185 | 889.967 | 23.971 | 53.7188
2020-07-26 11:15:00 | 8.122 | 292.707 | 8.874 | 286.738 | 9.08 | 289.8 | 9.519 | 287.4 | 26.127 | 889.883 | 23.651 | 56.0673
2020-07-26 11:30:00 | 9.257 | 288.413 | 9.853 | 283.012 | 9.875 | 288.933 | 10.264 | 286.033 | 26.852 | 889.883 | 23.432 | 57.5523
2020-07-26 11:45:00 | 9.282 | 284.56 | 10.088 | 281.542 | 10.128 | 284.833 | 10.28 | 284.2 | 27.068 | 889.883 | 23.011 | 53.6648
2020-07-26 12:00:00 | 7.754 | 293.093 | 8.245 | 288.193 | 8.514 | 293.367 | 8.826 | 289.6 | 27.494 | 889.717 | 22.192 | 49.26
2020-07-26 12:15:00 | 9.962 | 312.267 | 10.159 | 305.122 | 10.553 | 308.233 | 11.333 | 305.533 | 27.689 | 890.05 | 21.317 | 51.9112
2020-07-26 12:30:00 | 7.952 | 275.007 | 8.527 | 269.468 | 8.785 | 274.7 | 9.068 | 271.7 | 27.977 | 889.733 | 19.485 | 54.3512
2020-07-26 12:45:00 | 9.017 | 299.827 | 9.455 | 293.64 | 9.587 | 297.167 | 10.091 | 292.8 | 28.81 | 889.7 | 17.823 | 59.2662
2020-07-26 13:00:00 | 9.835 | 290.667 | 10.731 | 288.039 | 10.887 | 290.433 | 11.531 | 287.133 | 28.456 | 889.567 | 17.332 | 63.4152
2020-07-26 13:15:00 | 8.559 | 301.533 | 9.206 | 295.447 | 9.193 | 298.3 | 9.566 | 295.267 | 28.71 | 889.4 | 17.268 | 59.2783
2020-07-26 13:30:00 | 9.018 | 291.72 | 9.414 | 287.865 | 9.835 | 291.067 | 10.288 | 287.167 | 28.781 | 889.567 | 17.429 | 61.4079
2020-07-26 13:45:00 | 10.698 | 291.093 | 11.614 | 286.935 | 11.915 | 292.067 | 11.979 | 289.367 | 29.081 | 889.567 | 17.2 | 58.3553
2020-07-26 14:00:00 | 9.82 | 287.907 | 10.331 | 281.054 | 10.874 | 286.967 | 11.3 | 282.9 | 29.244 | 889.4 | 17.092 | 55.8839
2020-07-26 14:15:00 | 10.6 | 280.487 | 11.349 | 275.175 | 11.608 | 278.067 | 11.717 | 274.65 | 30.131 | 889.8 | 17.393 | 54.5133
2020-07-26 14:30:00 | 10.055 | 300.333 | 10.902 | 292.463 | 11.125 | 295 | 11.511 | 294.967 | 29.631 | 889.7 | 17.837 | 53.9299
2020-07-26 14:45:00 | 10.148 | 309.92 | 10.75 | 303.452 | 11.407 | 307.367 | 11.701 | 303.9 | 29.248 | 889.533 | 16.944 | 53.1106
2020-07-26 15:00:00 | 11.396 | 312.893 | 12.138 | 308.74 | 12.272 | 313.633 | 13.016 | 311.133 | 29.614 | 889.6 | 17.029 | 45.8856
2020-07-26 15:15:00 | 11.586 | 299.413 | 12.259 | 295.082 | 12.799 | 299 | 13.192 | 296.7 | 29.514 | 889.3 | 18.115 | 42.8763
2020-07-26 15:30:00 | 10.436 | 299.24 | 11.097 | 293.878 | 11.534 | 299 | 11.728 | 297.667 | 29.781 | 889.133 | 17.779 | 41.6413
2020-07-26 15:45:00 | 12.446 | 283.893 | 13.379 | 279.595 | 13.314 | 283.067 | 13.557 | 280.167 | 29.752 | 889.7 | 16.447 | 44.0644
2020-07-26 16:00:00 | 12.828 | 289.667 | 13.499 | 286.521 | 13.336 | 289.633 | 13.768 | 288.833 | 30.085 | 889.333 | 15.409 | 45.6873
2020-07-26 16:15:00 | 10.248 | 292.72 | 10.998 | 284.673 | 11.853 | 288.233 | 12.265 | 288.033 | 30.056 | 889.633 | 15.425 | 44.2392
2020-07-26 16:30:00 | 9.201 | 302.093 | 9.322 | 295.727 | 9.883 | 295.7 | 10.346 | 292.333 | 30.385 | 889.367 | 15.344 | 44.1234
2020-07-26 16:45:00 | 11.83 | 267.813 | 12.69 | 264.616 | 12.959 | 270.533 | 12.995 | 264.95 | 30.485 | 889.233 | 15.229 | 43.8747
2020-07-26 17:00:00 | 12.536 | 282.813 | 13.473 | 278.791 | 13.512 | 283.933 | 13.795 | 281.333 | 30.839 | 889.567 | 14.96 | 44.716
2020-07-26 17:15:00 | 10.477 | 283.007 | 11.092 | 277.789 | 11.633 | 281.133 | 11.879 | 276.75 | 30.589 | 889.6 | 15.296 | 58.1464
2020-07-26 17:30:00 | 10.669 | 303.653 | 11.423 | 299.367 | 11.532 | 304.2 | 11.916 | 302.567 | 30.294 | 889.7 | 14.909 | 75.1239
2020-07-26 17:45:00 | 10.473 | 285.573 | 11.393 | 280.01 | 11.952 | 282.967 | 12.255 | 280.733 | 30.544 | 889.467 | 16.835 | 76.7938
2020-07-26 18:00:00 | 11.464 | 285.493 | 12.238 | 280.158 | 12.355 | 284.9 | 12.65 | 281.9 | 30.548 | 889.5 | 16.345 | 80.8206
2020-07-26 18:15:00 | 10.702 | 287.427 | 11.505 | 283.296 | 11.739 | 285.6 | 12.15 | 282.733 | 29.968 | 889.467 | 17.683 | 79.6076
2020-07-26 18:30:00 | 12.132 | 286.573 | 12.918 | 281.328 | 13.339 | 287.133 | 14.152 | 283.8 | 30.506 | 889.867 | 17.747 | 79.7895
2020-07-26 18:45:00 | 11.422 | 281.933 | 12.263 | 276.376 | 12.532 | 279.833 | 12.971 | 276.933 | 30.231 | 889.4 | 18.444 | 81.5397
2020-07-26 19:00:00 | 11.659 | 297.88 | 12.893 | 291.363 | 13.338 | 296.033 | 13.789 | 293 | 29.881 | 889.667 | 18.232 | 83.0802
2020-07-26 19:15:00 | 11.066 | 286.533 | 12.215 | 277.619 | 12.825 | 282.5 | 13.366 | 280.2 | 30.389 | 889.967 | 18.18 | 81.8182
2020-07-26 19:30:00 | 10.142 | 302.44 | 10.733 | 294.807 | 11.138 | 300.733 | 11.559 | 297.3 | 30.081 | 889.8 | 18.816 | 75.9077
2020-07-26 19:45:00 | 11.114 | 293.813 | 12.224 | 289.211 | 12.759 | 291.267 | 13.194 | 288.967 | 29.652 | 889.4 | 19.147 | 76.1081
2020-07-26 20:00:00 | 10.144 | 286.24 | 11.151 | 280.875 | 11.412 | 284.833 | 11.742 | 283.833 | 29.431 | 889.667 | 19.04 | 83.8859
2020-07-26 20:15:00 | 8.61 | 289.973 | 9.818 | 282.624 | 9.981 | 286.8 | 10.006 | 283.467 | 29.748 | 889.667 | 19.059 | 75.2455
2020-07-26 20:30:00 | 9.699 | 295.973 | 11.159 | 290.462 | 11.339 | 294.5 | 11.786 | 293.233 | 29.531 | 889.333 | 19.191 | 70.3688
2020-07-26 20:45:00 | 8.982 | 283.493 | 10.106 | 280.283 | 10.389 | 282.9 | 10.904 | 279.9 | 28.773 | 889.7 | 19.551 | 72.5645
2020-07-26 21:00:00 | 9.958 | 297.8 | 11.225 | 290.818 | 11.743 | 294.367 | 12.024 | 290.7 | 28.81 | 889.3 | 20.208 | 64.5038
2020-07-26 21:15:00 | 6.504 | 294.133 | 8.022 | 290.541 | 8.6 | 294.967 | 9.189 | 292.9 | 28.406 | 889.867 | 20.589 | 60.2816
2020-07-26 21:30:00 | 7.08 | 295.347 | 8.541 | 291.063 | 9.09 | 296.3 | 9.813 | 295.2 | 27.96 | 889.85 | 21.267 | 47.4744
2020-07-26 21:45:00 | 5.709 | 297.613 | 6.978 | 292.963 | 7.392 | 299.9 | 8.053 | 297.733 | 27.806 | 889.667 | 22.365 | 42.4052
2020-07-26 22:00:00 | 5.85 | 290.667 | 7.065 | 288.217 | 7.66 | 292.833 | 8.339 | 290.533 | 27.281 | 889.983 | 23.744 | 35.5326
2020-07-26 22:15:00 | 6.176 | 293.587 | 7.224 | 289.941 | 7.925 | 295.833 | 8.622 | 294.833 | 27.318 | 889.5 | 24.288 | 32.6498
2020-07-26 22:30:00 | 5.689 | 290.213 | 6.986 | 287.29 | 7.499 | 290.6 | 8.006 | 291.467 | 26.818 | 889.483 | 24.661 | 29.8523
2020-07-26 22:45:00 | 5.204 | 281.96 | 6.451 | 279.354 | 6.988 | 286.6 | 7.589 | 284.767 | 26.368 | 889.617 | 25.325 | 25.2642
2020-07-26 23:00:00 | 4.902 | 281.507 | 6.108 | 280.794 | 6.718 | 286.3 | 7.206 | 285.333 | 26.485 | 889.5 | 25.715 | 20.5524
2020-07-26 23:15:00 | 4.34 | 270.027 | 5.44 | 270.413 | 5.83 | 276.8 | 6.063 | 276.6 | 25.285 | 889.9 | 26.267 | 13.8802
2020-07-26 23:30:00 | 3.954 | 267.72 | 5.162 | 271.223 | 5.502 | 278.6 | 5.806 | 276.733 | 25.094 | 889.867 | 27.128 | 11.5801
2020-07-26 23:45:00 | 4.153 | 253.007 | 4.994 | 261.541 | 5.29 | 271.267 | 5.566 | 269.767 | 24.548 | 889.55 | 28.371 | 10.3061