## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-27 00:00:00 | 4.861 | 242.487 | 5.044 | 248.977 | 5.213 | 258.467 | 5.353 | 258.867 | 23.777 | 889.95 | 30.149 | 10.6642
2020-07-27 00:15:00 | 4.341 | 233.667 | 4.635 | 241.477 | 4.498 | 249.933 | 4.49 | 250.433 | 23.848 | 889.7 | 31.099 | 10.9235
2020-07-27 00:30:00 | 4.842 | 227.667 | 5.494 | 233.962 | 5.15 | 242.7 | 5.087 | 241.3 | 22.981 | 889.55 | 32.267 | 11.5446
2020-07-27 00:45:00 | 5.093 | 230.953 | 4.853 | 237.999 | 4.443 | 249.133 | 4.312 | 250.1 | 22.614 | 889.9 | 32.747 | 11.0117
2020-07-27 01:00:00 | 5.269 | 235.44 | 5.081 | 239.921 | 4.968 | 249.167 | 5.052 | 247.6 | 22.914 | 890.05 | 32.379 | 14.136
2020-07-27 01:15:00 | 5.267 | 238.533 | 6.092 | 242.716 | 5.993 | 251.833 | 5.911 | 249.783 | 22.681 | 889.4 | 32.832 | 17.3798
2020-07-27 01:30:00 | 5.495 | 240.073 | 6.263 | 244.789 | 6.168 | 252.033 | 6.322 | 249.683 | 22.339 | 889.75 | 32.864 | 19.8952
2020-07-27 01:45:00 | 5.37 | 240.753 | 7.116 | 244.265 | 7.174 | 251.7 | 7.2 | 248.55 | 21.96 | 889.9 | 32.88 | 28.1384
2020-07-27 02:00:00 | 5.091 | 234.753 | 6.056 | 241.548 | 6.438 | 249.367 | 6.727 | 246.667 | 21.789 | 889.467 | 33.189 | 25.3637
2020-07-27 02:15:00 | 4.658 | 230.913 | 5.974 | 239.87 | 6.37 | 250.1 | 6.511 | 247.5 | 21.998 | 889.8 | 33.349 | 24.2353
2020-07-27 02:30:00 | 4.77 | 232.187 | 5.482 | 244.293 | 5.65 | 253.633 | 5.996 | 253.633 | 21.81 | 889.817 | 33.979 | 22.1981
2020-07-27 02:45:00 | 4.688 | 242.4 | 6.367 | 251.985 | 6.784 | 261.933 | 7.19 | 259.417 | 21.602 | 889.5 | 34.72 | 25.4937
2020-07-27 03:00:00 | 5.028 | 240.587 | 6.576 | 249.324 | 6.95 | 260.767 | 7.337 | 262.733 | 21.402 | 889.7 | 35.093 | 27.0264
2020-07-27 03:15:00 | 4.766 | 240.747 | 6.319 | 252.076 | 6.823 | 264 | 7.323 | 265.567 | 21.494 | 890.217 | 34.987 | 23.4899
2020-07-27 03:30:00 | 5.062 | 223.8 | 5.918 | 237.66 | 6.321 | 255.333 | 6.559 | 258.667 | 21.068 | 889.9 | 35.797 | 21.668
2020-07-27 03:45:00 | 5.787 | 212.713 | 6.158 | 220.697 | 5.862 | 234.8 | 5.692 | 241.667 | 20.06 | 889.45 | 37.381 | 20.7102
2020-07-27 04:00:00 | 5.957 | 213.46 | 6.942 | 216.915 | 6.574 | 225.7 | 5.971 | 227.367 | 20.394 | 889.7 | 36.939 | 22.7715
2020-07-27 04:15:00 | 5.311 | 217.327 | 6.732 | 220.088 | 6.568 | 227.167 | 6.241 | 225.767 | 20.377 | 889.95 | 37.456 | 23.1709
2020-07-27 04:30:00 | 5.938 | 222.787 | 7.324 | 224.405 | 7.163 | 230.5 | 6.974 | 227.067 | 20.227 | 889.933 | 38.288 | 26.2377
2020-07-27 04:45:00 | 6.585 | 223.273 | 7.918 | 220.969 | 7.712 | 226.367 | 7.338 | 223.667 | 20.406 | 889.833 | 39.024 | 31.3218
2020-07-27 05:00:00 | 6.151 | 220.16 | 7.714 | 219.437 | 7.9 | 223.3 | 7.604 | 219.667 | 19.76 | 889.683 | 39.509 | 31.12
2020-07-27 05:15:00 | 5.693 | 220.233 | 7.223 | 219.034 | 7.431 | 223.2 | 7.18 | 219.233 | 19.789 | 889.983 | 39.749 | 28.417
2020-07-27 05:30:00 | 5.767 | 220.18 | 7.963 | 217.862 | 8.154 | 220.833 | 8.216 | 216.6 | 19.548 | 889.867 | 40.309 | 32.3748
2020-07-27 05:45:00 | 6.279 | 218.573 | 8.036 | 219.224 | 8.221 | 223.4 | 8.037 | 219.2 | 19.564 | 889.7 | 39.701 | 35.1411
2020-07-27 06:00:00 | 6.522 | 221.967 | 8.118 | 223.185 | 8.388 | 229.2 | 8.297 | 225.633 | 19.181 | 889.683 | 40.224 | 38.49
2020-07-27 06:15:00 | 5.043 | 226.907 | 7.272 | 229.747 | 7.494 | 236.933 | 7.27 | 234.367 | 19.127 | 889.817 | 39.216 | 28.7815
2020-07-27 06:30:00 | 5.301 | 225.373 | 7.041 | 229.321 | 7.135 | 236.767 | 6.826 | 233.767 | 19.144 | 889.733 | 38.677 | 27.7469
2020-07-27 06:45:00 | 5.761 | 225.307 | 6.701 | 228.034 | 6.935 | 235.633 | 6.664 | 232.633 | 19.498 | 889.467 | 36.885 | 25.1725
2020-07-27 07:00:00 | 5.229 | 224.933 | 6.058 | 231.612 | 6.081 | 239.8 | 5.97 | 236.267 | 20.389 | 889.683 | 34.976 | 20.1474
2020-07-27 07:15:00 | 5.195 | 220.947 | 5.807 | 229.22 | 5.565 | 240.6 | 5.46 | 243.633 | 20.668 | 890.017 | 33.003 | 16.385
2020-07-27 07:30:00 | 4.896 | 217.587 | 6.146 | 223.633 | 5.914 | 233.633 | 5.484 | 234.467 | 21.418 | 889.417 | 30.443 | 15.6445
2020-07-27 07:45:00 | 4.287 | 222.06 | 5.399 | 228.62 | 5.416 | 242.333 | 5.415 | 246.2 | 22.631 | 889.533 | 28.368 | 11.6163
2020-07-27 08:00:00 | 3.206 | 256.653 | 4.259 | 263.162 | 4.829 | 274.3 | 5.558 | 272.867 | 24.444 | 889.617 | 24.608 | 6.9429
2020-07-27 08:15:00 | 3.614 | 275.507 | 4.11 | 273.274 | 4.603 | 279.6 | 5.444 | 279.333 | 24.96 | 889.483 | 21.984 | 7.068
2020-07-27 08:30:00 | 3.81 | 257.087 | 3.894 | 254.504 | 4.175 | 258.633 | 4.44 | 257.767 | 26.844 | 889.15 | 20.133 | 9.9046
2020-07-27 08:45:00 | 4.428 | 259.98 | 4.595 | 257.541 | 4.566 | 264.317 | 4.908 | 260.867 | 27.289 | 889.367 | 19.236 | 8.6604
2020-07-27 09:00:00 | 4.857 | 276.22 | 5.612 | 274.021 | 5.694 | 276.6 | 5.945 | 270.117 | 27.039 | 889.467 | 19.881 | 8.5588
2020-07-27 09:15:00 | 4.64 | 276.033 | 5.129 | 266.5 | 5.198 | 268.667 | 5.18 | 262.433 | 27.098 | 889.7 | 19.967 | 8.2483
2020-07-27 09:30:00 | 4.864 | 285.147 | 5.129 | 279.193 | 5.285 | 285.9 | 5.527 | 283.433 | 26.973 | 889.25 | 20.38 | 6.9522
2020-07-27 09:45:00 | 3.731 | 294.747 | 3.807 | 289.921 | 3.946 | 297.033 | 4.21 | 295.433 | 27.377 | 889.617 | 20.068 | 5.5502
2020-07-27 10:00:00 | 4.061 | 275.267 | 4.434 | 272.633 | 4.301 | 279.7 | 4.552 | 278.9 | 27.231 | 889.35 | 20.209 | 7.7025
2020-07-27 10:15:00 | 4.545 | 306.947 | 4.817 | 304.63 | 4.783 | 306.867 | 4.89 | 301.467 | 27.91 | 889.7 | 19.681 | 7.952
2020-07-27 10:30:00 | 5.383 | 311.533 | 5.666 | 308.138 | 5.914 | 315.1 | 6.004 | 315.033 | 27.914 | 889.233 | 19.179 | 10.9825
2020-07-27 10:45:00 | 4.009 | 282.807 | 4.05 | 279.814 | 4.25 | 278.433 | 4.544 | 275.267 | 27.927 | 889.5 | 18.685 | 13.8852
2020-07-27 11:00:00 | 4.569 | 312.16 | 4.987 | 310.543 | 5.257 | 314.767 | 5.435 | 314.3 | 28.448 | 889.567 | 18.187 | 14.335
2020-07-27 11:15:00 | 5.164 | 288.253 | 5.086 | 286.175 | 5.29 | 292.767 | 5.779 | 291.4 | 28.118 | 889.567 | 17.961 | 13.1192
2020-07-27 11:30:00 | 4.154 | 318.733 | 4.254 | 310.536 | 4.27 | 317.8 | 4.564 | 312.133 | 28.71 | 889.633 | 17.704 | 14.3655
2020-07-27 11:45:00 | 4.931 | 270.76 | 5.196 | 271.736 | 5.122 | 277.55 | 5.409 | 275.667 | 28.839 | 889.367 | 17.109 | 12.5571
2020-07-27 12:00:00 | 5.978 | 287.933 | 6.254 | 279.196 | 6.305 | 285.267 | 6.5 | 282.533 | 29.331 | 889.467 | 15.863 | 10.9086
2020-07-27 12:15:00 | 5.624 | 312.173 | 6.109 | 301.155 | 6.441 | 304.367 | 6.509 | 301.567 | 29.881 | 889.067 | 15.68 | 12.9451
2020-07-27 12:30:00 | 4.954 | 307.733 | 5.252 | 301.304 | 5.139 | 303.2 | 5.209 | 301.867 | 29.281 | 889.767 | 15.757 | 14.9077
2020-07-27 12:45:00 | 5.536 | 303.947 | 6.123 | 296.856 | 6.218 | 300.167 | 6.388 | 285.7 | 29.781 | 889.467 | 15.223 | 15.3852
2020-07-27 13:00:00 | 4.757 | 264.213 | 5.051 | 260.234 | 5.388 | 262.583 | 5.724 | 261.383 | 30.839 | 889.767 | 14.812 | 12.2033
2020-07-27 13:15:00 | 5.936 | 298.353 | 6.526 | 291.047 | 6.478 | 291.233 | 6.768 | 288.167 | 30.456 | 889.167 | 15.517 | 10.0467
2020-07-27 13:30:00 | 3.558 | 274.687 | 3.473 | 268.36 | 3.481 | 274.85 | 3.873 | 275.133 | 30.489 | 889.3 | 15.645 | 10.6507
2020-07-27 13:45:00 | 4.455 | 278.253 | 4.824 | 274.856 | 4.969 | 276.833 | 5.28 | 273.517 | 31.023 | 889.533 | 14.708 | 8.3598
2020-07-27 14:00:00 | 3.492 | 268.92 | 3.793 | 271.79 | 4.326 | 282.4 | 4.543 | 285.3 | 30.602 | 889.733 | 14.633 | 7.8162
2020-07-27 14:15:00 | 4.373 | 303.08 | 4.766 | 297.494 | 4.737 | 300.133 | 4.821 | 292.9 | 31.007 | 889.533 | 14.319 | 6.5585
2020-07-27 14:30:00 | 2.654 | 281.287 | 3.316 | 298.526 | 3.74 | 301.567 | 4.266 | 297.7 | 31.963 | 889.633 | 13.725 | 3.1116
2020-07-27 14:45:00 | 2.638 | 234.325 | 3.378 | 250.157 | 3.9 | 278.917 | 4.786 | 297.233 | 31.071 | 889.567 | 13.673 | 2.0564
2020-07-27 15:00:00 | 2.197 | 168.448 | 2.18 | 212.855 | 2.244 | 231.035 | 2.604 | 224.1 | 31.278 | 889.467 | 13.995 | 3.8527
2020-07-27 15:15:00 | 3.544 | 260.25 | 3.46 | 271.546 | 3.722 | 264.967 | 4.069 | 267.433 | 32.007 | 889.7 | 13.22 | 6.469
2020-07-27 15:30:00 | 4.32 | 225.913 | 4.138 | 227.932 | 4.181 | 235.367 | 4.45 | 232.633 | 31.953 | 889.267 | 13.089 | 5.384
2020-07-27 15:45:00 | 3.348 | 209.688 | 3.526 | 227.227 | 3.916 | 237.767 | 4.291 | 229.817 | 33.063 | 889.733 | 11.728 | 2.1672
2020-07-27 16:00:00 | 4.753 | 281.7 | 5.254 | 279.298 | 5.038 | 281.433 | 4.859 | 270.15 | 32.196 | 889.467 | 11.973 | 3.5223
2020-07-27 16:15:00 | 3.478 | 204.435 | 3.498 | 307.83 | 3.417 | 288.142 | 3.414 | 270.433 | 32.674 | 889.067 | 12.704 | 4.2733
2020-07-27 16:30:00 | 3.576 | 264.407 | 3.643 | 254.288 | 3.777 | 252.217 | 4.211 | 245.067 | 33.08 | 889.467 | 12.293 | 3.6942
2020-07-27 16:45:00 | 3.957 | 220.96 | 3.953 | 214.584 | 4.131 | 219.167 | 4.382 | 216.933 | 33.48 | 889.633 | 11.888 | 4.046
2020-07-27 17:00:00 | 5.311 | 122.828 | 5.03 | 191.124 | 5.453 | 229.2 | 6.084 | 288.7 | 32.614 | 889.567 | 12.165 | 3.9607
2020-07-27 17:15:00 | 2.193 | 215.702 | 2.069 | 207.393 | 2.652 | 241.917 | 3.304 | 230.75 | 33.13 | 889.333 | 11.789 | 2.8799
2020-07-27 17:30:00 | 3.417 | 293.407 | 3.528 | 286.507 | 3.816 | 293.6 | 4.019 | 293.367 | 32.813 | 889.367 | 11.779 | 5.4856
2020-07-27 17:45:00 | 5.963 | 252.8 | 6.264 | 248.293 | 6.334 | 254.667 | 6.108 | 252.4 | 34.121 | 889.533 | 10.785 | 5.487
2020-07-27 18:00:00 | 5.128 | 302.68 | 5.364 | 294.346 | 5.296 | 294.8 | 5.808 | 292.133 | 33.98 | 889.7 | 10.646 | 6.8378
2020-07-27 18:15:00 | 3.453 | 281.76 | 3.338 | 288.35 | 3.551 | 288.3 | 4.102 | 285.267 | 33.396 | 889.467 | 11.181 | 4.9704
2020-07-27 18:30:00 | 5.454 | 303.787 | 5.806 | 302.967 | 6.097 | 307.933 | 6.237 | 309.433 | 33.596 | 889.4 | 11.197 | 3.1023
2020-07-27 18:45:00 | 4.012 | 337.373 | 3.99 | 326.852 | 4.236 | 326.433 | 4.452 | 322.967 | 33.23 | 889.467 | 11.865 | 8.5886
2020-07-27 19:00:00 | 2.829 | 300.4 | 3.084 | 300.728 | 2.941 | 300.667 | 3.253 | 298.967 | 32.996 | 889.5 | 11.575 | 6.6061
2020-07-27 19:15:00 | 3.296 | 231.533 | 3.303 | 340.686 | 3.185 | 335 | 3.489 | 333.8 | 33.013 | 889.033 | 12.1 | 2.0557
2020-07-27 19:30:00 | 2.275 | 135.749 | 1.844 | 191.158 | 2.053 | 181.667 | 2.485 | 191 | 34.205 | 889.767 | 11.291 | 0.25651
2020-07-27 19:45:00 | 5.753 | 337.107 | 6.038 | 332.832 | 6.178 | 338.1 | 6.22 | 335.133 | 33.33 | 889.167 | 11.463 | 3.9586
2020-07-27 20:00:00 | 4.454 | 319.133 | 4.544 | 317.512 | 4.882 | 324.933 | 5.052 | 325.233 | 33.246 | 889.933 | 11.989 | 11.0607
2020-07-27 20:15:00 | 2.466 | 199.427 | 2.567 | 315.293 | 2.321 | 324.933 | 2.783 | 329.933 | 33.146 | 889.633 | 12.356 | 7.8226
2020-07-27 20:30:00 | 4.528 | 333.053 | 5.125 | 325.616 | 5.582 | 329.367 | 5.752 | 327.433 | 32.602 | 889.267 | 13.084 | 4.893
2020-07-27 20:45:00 | 4.578 | 334.227 | 4.974 | 323.87 | 5.372 | 326.767 | 5.767 | 327.833 | 31.996 | 889.5 | 13.533 | 8.8515
2020-07-27 21:00:00 | 3.841 | 340.333 | 4.587 | 335.836 | 4.852 | 340.4 | 5.264 | 339.933 | 31.44 | 889.233 | 14.181 | 7.2009
2020-07-27 21:15:00 | 3.533 | 305.72 | 4.103 | 349.923 | 3.813 | 189.8 | 4.381 | 200.7 | 31.006 | 889.267 | 14.883 | 4.36
2020-07-27 21:30:00 | 3.012 | 347.76 | 3.767 | 340.162 | 4.348 | 345.2 | 4.9 | 343.833 | 30.702 | 889.533 | 15.519 | 5.7101
2020-07-27 21:45:00 | 3.508 | 342.8 | 5.009 | 345.369 | 5.429 | 351 | 5.801 | 350.833 | 30.014 | 889.767 | 16.04 | 9.0938
2020-07-27 22:00:00 | 3.241 | 342.093 | 4.685 | 344.729 | 4.829 | 350.767 | 5.051 | 349.367 | 29.698 | 889.1 | 16.196 | 11.0799
2020-07-27 22:15:00 | 2.374 | 325.787 | 3.306 | 334.735 | 3.616 | 340.5 | 4.021 | 339.867 | 29.564 | 889.7 | 16.575 | 7.2002
2020-07-27 22:30:00 | 2.474 | 325.133 | 3.061 | 331.723 | 3.242 | 339.167 | 3.735 | 338.833 | 29.698 | 889.567 | 16.355 | 5.5616
2020-07-27 22:45:00 | 1.749 | 327.44 | 2.115 | 342.88 | 2.41 | 348.533 | 3.018 | 346.333 | 30.048 | 889.2 | 16.113 | 6.4996
2020-07-27 23:00:00 | 2.346 | 278.987 | 1.575 | 311.852 | 1.589 | 325.467 | 2.308 | 333.067 | 29.214 | 889.033 | 16.716 | 2.3101
2020-07-27 23:15:00 | 2.388 | 242.28 | 1.672 | 286.942 | 1.536 | 289.267 | 2.258 | 296.8 | 29.498 | 889.6 | 17.197 | 0.46258
2020-07-27 23:30:00 | 3.734 | 229.14 | 2.961 | 233.075 | 2.579 | 244.233 | 2.713 | 248.9 | 28.298 | 889.5 | 18.333 | 0.35813
2020-07-27 23:45:00 | 3.949 | 238.067 | 3.802 | 246.843 | 3.705 | 254.367 | 3.726 | 251.85 | 28.91 | 889.467 | 18.704 | 1.6109