## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-28 00:00:00 | 3.603 | 231.507 | 3.74 | 242.229 | 3.564 | 250.667 | 3.562 | 248.933 | 27.789 | 889.733 | 20.456 | 5.7591
2020-07-28 00:15:00 | 3.683 | 258.433 | 4.775 | 266.175 | 5.301 | 275.7 | 5.914 | 275.233 | 27.381 | 890.383 | 21.515 | 14.7428
2020-07-28 00:30:00 | 10.781 | 276 | 12.948 | 269.61 | 13.501 | 274.033 | 14.284 | 268.4 | 27.298 | 889.983 | 28.315 | 54.391
2020-07-28 00:45:00 | 11.642 | 271.407 | 13.177 | 263.952 | 13.305 | 268.133 | 13.571 | 263.583 | 25.202 | 889.833 | 36.088 | 84.011
2020-07-28 01:00:00 | 12.793 | 263.06 | 14.046 | 258.521 | 14.786 | 263.8 | 15.157 | 260.5 | 24.418 | 889.7 | 37.365 | 92.3374
2020-07-28 01:15:00 | 14.65 | 264.107 | 16.636 | 260.901 | 17.067 | 264 | 16.93 | 258.567 | 23.785 | 889.75 | 40.243 | 80.5676
2020-07-28 01:30:00 | 16.657 | 261.513 | 18.648 | 255.626 | 19.419 | 260.917 | 19.737 | 256.817 | 23.131 | 889.95 | 42.267 | 52.7006
2020-07-28 01:45:00 | 15.052 | 259.233 | 17.038 | 257.041 | 17.923 | 260.183 | 18.203 | 255.883 | 22.481 | 889.742 | 43.819 | 56.9306
2020-07-28 02:00:00 | 16.507 | 264.46 | 18.293 | 258.033 | 19.349 | 262.3 | 19.434 | 258.2 | 21.998 | 890.192 | 45.189 | 74.4347
2020-07-28 02:15:00 | 16.607 | 261.64 | 18.38 | 256.351 | 19.17 | 260.817 | 19.477 | 257.433 | 21.335 | 889.792 | 48.587 | 78.8722
2020-07-28 02:30:00 | 18.431 | 260.053 | 20.583 | 256.526 | 20.926 | 260.367 | 21.776 | 256.25 | 20.698 | 890.158 | 50.912 | 85.0975
2020-07-28 02:45:00 | 17.277 | 257.227 | 19.586 | 254.76 | 20.233 | 259.133 | 21.124 | 255.217 | 20.539 | 889.417 | 51.947 | 84.3343
2020-07-28 03:00:00 | 17.755 | 259.213 | 19.768 | 257.224 | 20.388 | 261.183 | 20.741 | 256.117 | 19.998 | 889.717 | 54.043 | 82.1593
2020-07-28 03:15:00 | 16.83 | 271.207 | 19.235 | 265.139 | 19.653 | 268.133 | 20.36 | 263.65 | 19.573 | 889.608 | 55.579 | 85.1834
2020-07-28 03:30:00 | 16.914 | 265.753 | 18.671 | 260.558 | 19.016 | 264.533 | 19.506 | 261.367 | 19.623 | 890.525 | 55.328 | 86.6849
2020-07-28 03:45:00 | 16.003 | 264.973 | 18.049 | 260.172 | 18.902 | 264.467 | 19.442 | 260.433 | 19.577 | 889.85 | 55.957 | 86.8341
2020-07-28 04:00:00 | 15.688 | 267.207 | 17.455 | 262.972 | 18.298 | 267.3 | 19.614 | 262.917 | 19.502 | 889.467 | 55.333 | 87.404
2020-07-28 04:15:00 | 15.862 | 266.367 | 17.735 | 261.285 | 18.563 | 266.367 | 19.255 | 262.65 | 19.852 | 889.542 | 55.051 | 87.1844
2020-07-28 04:30:00 | 15.869 | 269.08 | 17.844 | 263.127 | 18.443 | 268.567 | 19.219 | 263.083 | 19.21 | 889.333 | 56.533 | 86.7872
2020-07-28 04:45:00 | 15.268 | 269.36 | 17.3 | 265.099 | 17.641 | 268.167 | 17.949 | 265.25 | 19.26 | 889.958 | 57.035 | 89.6856
2020-07-28 05:00:00 | 15.147 | 271.507 | 17.171 | 267.817 | 18.07 | 271.667 | 18.548 | 266.167 | 19.344 | 889.842 | 57.307 | 89.8689
2020-07-28 05:15:00 | 15.56 | 273.867 | 17.901 | 266.931 | 18.945 | 272.967 | 19.314 | 267.067 | 19.094 | 889.85 | 60.363 | 90.647
2020-07-28 05:30:00 | 15.312 | 271.127 | 17.451 | 266.374 | 18.219 | 269.833 | 18.407 | 265.767 | 18.652 | 890.092 | 62.773 | 90.1901
2020-07-28 05:45:00 | 13.075 | 278.373 | 14.85 | 271.673 | 15.753 | 275.233 | 16.255 | 272.3 | 18.089 | 889.933 | 63.355 | 89.4909
2020-07-28 06:00:00 | 12.028 | 273.213 | 13.119 | 268.216 | 13.562 | 270.4 | 14.434 | 267.067 | 18.264 | 889.825 | 62.987 | 85.7952
2020-07-28 06:15:00 | 11.665 | 288.627 | 13.076 | 282.073 | 13.479 | 286.267 | 13.852 | 283.867 | 18.16 | 889.558 | 64.427 | 86.8114
2020-07-28 06:30:00 | 12.215 | 279.733 | 13.618 | 274.534 | 14.132 | 276.633 | 14.469 | 273.567 | 17.91 | 889.683 | 66.784 | 87.782
2020-07-28 06:45:00 | 10.029 | 280.493 | 11.395 | 274.113 | 11.798 | 277.733 | 11.971 | 271.6 | 17.564 | 889.767 | 67.712 | 86.7339
2020-07-28 07:00:00 | 9.2 | 281.32 | 10.417 | 274.288 | 10.928 | 277.383 | 11.211 | 274.1 | 17.781 | 889.683 | 68.203 | 82.6339
2020-07-28 07:15:00 | 10.685 | 284.573 | 11.935 | 278.227 | 12.414 | 281.2 | 12.662 | 278.7 | 17.239 | 890.358 | 68.624 | 87.6974
2020-07-28 07:30:00 | 9.734 | 286.72 | 10.891 | 281.452 | 11.608 | 283.233 | 11.836 | 280.567 | 17.456 | 889.883 | 69.083 | 81.3052
2020-07-28 07:45:00 | 9.685 | 277.08 | 10.716 | 271.07 | 10.777 | 274.867 | 11.154 | 270.367 | 17.364 | 889.883 | 68.779 | 79.5458
2020-07-28 08:00:00 | 8.89 | 276.027 | 9.77 | 270.901 | 10.307 | 273.833 | 10.372 | 268.567 | 17.923 | 890.033 | 68.213 | 73.906
2020-07-28 08:15:00 | 10.887 | 265.68 | 12.247 | 261.023 | 12.448 | 264.317 | 12.527 | 259.35 | 18.156 | 890.233 | 65.211 | 69.7357
2020-07-28 08:30:00 | 11.524 | 276.293 | 12.628 | 269.137 | 12.841 | 272.4 | 13.199 | 266.883 | 18.548 | 889.95 | 65.115 | 68.3295
2020-07-28 08:45:00 | 11.192 | 271.933 | 12.449 | 265.401 | 12.715 | 268.3 | 12.875 | 262.367 | 18.706 | 889.9 | 62.715 | 73.2751
2020-07-28 09:00:00 | 11.065 | 267.113 | 11.853 | 261.714 | 12.017 | 266.65 | 12.132 | 262.583 | 18.739 | 889.742 | 61.653 | 75.5794
2020-07-28 09:15:00 | 11.894 | 274.58 | 12.8 | 268.343 | 12.887 | 272.567 | 13.254 | 268.333 | 18.523 | 889.883 | 61.317 | 74.7097
2020-07-28 09:30:00 | 11.167 | 278.587 | 12.19 | 272.364 | 12.629 | 276.1 | 12.783 | 272.65 | 18.91 | 889.975 | 60.992 | 60.7009
2020-07-28 09:45:00 | 12.233 | 284.28 | 13.258 | 277.682 | 13.725 | 281.167 | 14.103 | 278.4 | 18.906 | 889.667 | 60.987 | 42.6169
2020-07-28 10:00:00 | 12.637 | 280.267 | 13.913 | 274.097 | 14.38 | 277.767 | 14.712 | 275.233 | 19.027 | 890.525 | 60.373 | 41.7366
2020-07-28 10:15:00 | 11.693 | 272.52 | 12.592 | 266.605 | 12.733 | 271.367 | 12.713 | 266.333 | 19.202 | 889.95 | 60.133 | 51.5779
2020-07-28 10:30:00 | 11.47 | 288.267 | 12.503 | 282.181 | 12.657 | 285.267 | 12.983 | 282.467 | 19.248 | 889.483 | 58.987 | 65.4624
2020-07-28 10:45:00 | 10.936 | 278.213 | 11.782 | 271.821 | 12.096 | 275.667 | 12.326 | 273.267 | 18.989 | 889.733 | 58.405 | 62.5384
2020-07-28 11:00:00 | 12.478 | 282.307 | 13.423 | 276.296 | 13.541 | 277.967 | 13.963 | 276.833 | 19.239 | 889.983 | 58.288 | 52.8846
2020-07-28 11:15:00 | 11.904 | 289.333 | 13.036 | 283.774 | 13.224 | 288 | 13.793 | 285.067 | 19.623 | 889.9 | 57.552 | 49.7141
2020-07-28 11:30:00 | 12.538 | 290.707 | 13.363 | 283.921 | 13.237 | 287.267 | 13.342 | 284.6 | 19.506 | 890.425 | 55.291 | 46.8583
2020-07-28 11:45:00 | 13.767 | 290.387 | 15.025 | 284.677 | 15.281 | 288.3 | 15.848 | 286.767 | 19.689 | 889.95 | 56.325 | 45.6994
2020-07-28 12:00:00 | 12.482 | 288.027 | 13.761 | 282.547 | 13.545 | 288.1 | 13.79 | 285.333 | 19.748 | 889.6 | 55.531 | 46.2415
2020-07-28 12:15:00 | 11.392 | 271.747 | 12.274 | 268.306 | 12.276 | 273.2 | 12.384 | 268.467 | 20.431 | 889.533 | 54.491 | 46.589
2020-07-28 12:30:00 | 11.655 | 281.56 | 12.543 | 276.735 | 12.478 | 278.067 | 12.651 | 276.167 | 19.648 | 889.75 | 56.373 | 46.7453
2020-07-28 12:45:00 | 10.801 | 293.373 | 11.371 | 292.62 | 11.286 | 295.867 | 11.661 | 294.033 | 19.952 | 889.958 | 54.827 | 45.9765
2020-07-28 13:00:00 | 11.15 | 299.293 | 11.685 | 294.142 | 11.958 | 299.633 | 12.464 | 296.9 | 19.581 | 890.025 | 56.053 | 47.4701
2020-07-28 13:15:00 | 11.002 | 306.96 | 11.37 | 300.907 | 11.591 | 305.167 | 11.964 | 302.467 | 19.227 | 889.717 | 57.483 | 48.563
2020-07-28 13:30:00 | 10.892 | 303.133 | 11.415 | 296.861 | 11.558 | 301.4 | 11.9 | 298.367 | 18.773 | 890.225 | 62.816 | 49.761
2020-07-28 13:45:00 | 11.891 | 301 | 12.457 | 298.208 | 12.692 | 300.933 | 13.294 | 298.6 | 18.656 | 889.475 | 62.821 | 50.112
2020-07-28 14:00:00 | 11.1 | 302.107 | 11.754 | 294.219 | 11.937 | 299.233 | 12.158 | 297.267 | 18.377 | 889.733 | 64.459 | 50.1376
2020-07-28 14:15:00 | 11.437 | 297.36 | 12.205 | 290.363 | 12.655 | 295.067 | 12.876 | 293.3 | 17.885 | 890.033 | 62.848 | 50.8496
2020-07-28 14:30:00 | 9.798 | 299.013 | 10.457 | 293.004 | 10.774 | 295.867 | 11.411 | 292.267 | 17.552 | 889.408 | 70.517 | 50.7053
2020-07-28 14:45:00 | 8.788 | 296.333 | 9.895 | 289.492 | 10.13 | 296.6 | 10.332 | 292.433 | 17.014 | 890.25 | 73.765 | 51.6937
2020-07-28 15:00:00 | 6.74 | 298.48 | 7.227 | 291.848 | 7.37 | 295.633 | 7.635 | 291.667 | 17.048 | 890.2 | 72.475 | 36.9708
2020-07-28 15:15:00 | 7.111 | 282.427 | 7.783 | 274.771 | 8.096 | 278.833 | 8.451 | 274.233 | 16.781 | 889.892 | 77.84 | 35.9213
2020-07-28 15:30:00 | 6.973 | 292.76 | 7.34 | 285.803 | 7.869 | 288.067 | 8.273 | 283.567 | 16.564 | 890.033 | 78.197 | 30.6695
2020-07-28 15:45:00 | 6.182 | 283.947 | 6.762 | 277.236 | 6.9 | 279.733 | 7.164 | 275.2 | 16.981 | 889.792 | 72.283 | 25.24
2020-07-28 16:00:00 | 7.008 | 287.587 | 7.535 | 282.477 | 7.783 | 287.233 | 7.829 | 284.633 | 18.052 | 889.492 | 66.059 | 22.989
2020-07-28 16:15:00 | 8.578 | 283.4 | 9.225 | 277.751 | 9.107 | 282.5 | 9.217 | 278.867 | 19.364 | 889.958 | 56.917 | 40.3033
2020-07-28 16:30:00 | 10.092 | 297.387 | 11.169 | 291.867 | 11.531 | 295.233 | 11.926 | 292.867 | 20.631 | 889.467 | 51.445 | 61.1926
2020-07-28 16:45:00 | 10.488 | 289.96 | 10.952 | 285.606 | 11.293 | 288.267 | 11.792 | 286.667 | 20.689 | 889.5 | 48.987 | 75.5482
2020-07-28 17:00:00 | 10.281 | 298.107 | 10.8 | 290.269 | 11.142 | 296.1 | 11.466 | 290.933 | 20.973 | 889.583 | 43.632 | 82.2403
2020-07-28 17:15:00 | 10.739 | 302.773 | 11.53 | 297.5 | 11.515 | 300.333 | 12.041 | 298.033 | 21.506 | 889.775 | 41.312 | 84.1986
2020-07-28 17:30:00 | 10.495 | 308.227 | 10.987 | 303.221 | 11.29 | 306.767 | 11.516 | 302.933 | 21.594 | 890.1 | 41.077 | 83.7303
2020-07-28 17:45:00 | 10.66 | 296.653 | 11.238 | 294.521 | 11.466 | 299.933 | 11.586 | 295.733 | 21.194 | 889.692 | 41.077 | 84.3592
2020-07-28 18:00:00 | 9.39 | 301.147 | 10.068 | 296.597 | 10.211 | 300.233 | 10.663 | 298.433 | 21.885 | 889.6 | 41.944 | 77.6095
2020-07-28 18:15:00 | 10.836 | 305.147 | 11.598 | 299.086 | 12.028 | 304.667 | 12.27 | 301.633 | 21.835 | 889.533 | 39.661 | 84.9518
2020-07-28 18:30:00 | 10.284 | 301.307 | 10.793 | 295.418 | 11.121 | 298.533 | 11.502 | 296.167 | 21.285 | 889.533 | 37.875 | 82.8322
2020-07-28 18:45:00 | 9.497 | 296.707 | 10.228 | 291.7 | 10.625 | 295.333 | 11.08 | 292.7 | 21.368 | 889.608 | 42.136 | 74.2237
2020-07-28 19:00:00 | 9.221 | 301.133 | 9.46 | 295.84 | 9.61 | 297.633 | 10.094 | 295.6 | 21.123 | 889.942 | 43.264 | 71.2805
2020-07-28 19:15:00 | 8.179 | 288.147 | 8.688 | 284.098 | 9.049 | 287.233 | 9.172 | 283.1 | 21.714 | 889.558 | 40.997 | 65.8773
2020-07-28 19:30:00 | 8.019 | 296.6 | 8.344 | 291.704 | 8.431 | 294.7 | 8.946 | 290.2 | 21.481 | 889.933 | 40.688 | 56.8766
2020-07-28 19:45:00 | 7.65 | 280.867 | 8.556 | 276.781 | 8.861 | 280.133 | 8.826 | 277.233 | 21.189 | 890.292 | 42.421 | 47.6343
2020-07-28 20:00:00 | 8.663 | 295.773 | 9.633 | 290.162 | 9.842 | 294.433 | 10.205 | 291.9 | 20.802 | 889.633 | 45.904 | 44.7629
2020-07-28 20:15:00 | 8.086 | 286.493 | 8.569 | 281.749 | 8.782 | 285.133 | 9.107 | 283.9 | 20.723 | 889.858 | 46.72 | 43.0632
2020-07-28 20:30:00 | 6.996 | 285.187 | 7.626 | 279.069 | 7.682 | 281.067 | 7.872 | 275.167 | 20.173 | 889.642 | 48.683 | 36.1671
2020-07-28 20:45:00 | 6.485 | 280.627 | 7.357 | 273.707 | 7.763 | 278.667 | 8.071 | 276.733 | 20.589 | 889.742 | 50.16 | 30.0335
2020-07-28 21:00:00 | 5.844 | 289.053 | 6.496 | 285.265 | 6.601 | 290.2 | 7.168 | 286.6 | 19.76 | 889.858 | 52.832 | 26.723
2020-07-28 21:15:00 | 6.676 | 287.947 | 7.254 | 282.736 | 7.602 | 286.367 | 8.047 | 283.567 | 19.718 | 890.333 | 54.965 | 24.9253
2020-07-28 21:30:00 | 5.147 | 289.907 | 5.783 | 286.587 | 6.065 | 292.1 | 6.46 | 290.133 | 19.135 | 889.042 | 56.197 | 15.5863
2020-07-28 21:45:00 | 3.868 | 294.107 | 4.544 | 289.49 | 4.836 | 291.967 | 5.123 | 289.1 | 19.223 | 889.917 | 58.155 | 11.519
2020-07-28 22:00:00 | 4.024 | 302.053 | 4.561 | 296.213 | 4.841 | 300.033 | 5.239 | 295.633 | 18.56 | 889.892 | 60.581 | 9.9032
2020-07-28 22:15:00 | 4.776 | 290 | 5.814 | 284.794 | 6.125 | 287.1 | 6.656 | 285.767 | 18.523 | 889.542 | 61.557 | 13.5846
2020-07-28 22:30:00 | 4.803 | 285.267 | 5.588 | 282.248 | 5.89 | 287.033 | 6.245 | 284.2 | 18.656 | 889.517 | 62.389 | 16.8603
2020-07-28 22:45:00 | 4.736 | 270.693 | 5.76 | 268.092 | 6.134 | 273.2 | 6.566 | 269.9 | 18.194 | 889.817 | 63.317 | 18.2957
2020-07-28 23:00:00 | 5.838 | 268.4 | 6.745 | 266.203 | 6.977 | 270.133 | 7.024 | 266.6 | 17.96 | 889.817 | 63.861 | 21.9352
2020-07-28 23:15:00 | 5.571 | 254.7 | 6.69 | 254.746 | 7.062 | 259.883 | 7.173 | 255.4 | 17.823 | 889.6 | 64.752 | 27.948
2020-07-28 23:30:00 | 6.064 | 252.187 | 7.311 | 250.582 | 7.607 | 256.133 | 7.624 | 252.733 | 17.502 | 890.017 | 65.717 | 31.4923
2020-07-28 23:45:00 | 5.255 | 261.333 | 6.499 | 257.778 | 6.725 | 263.133 | 6.862 | 258.867 | 17.406 | 889.517 | 67.024 | 26.6988