## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-29 00:00:00 | 5.18 | 261.02 | 6.214 | 257.225 | 6.588 | 261.7 | 6.712 | 257.633 | 17.073 | 889.808 | 68.107 | 22.4454
2020-07-29 00:15:00 | 4.752 | 247.753 | 5.758 | 247.917 | 6.072 | 252.8 | 6.273 | 247.433 | 17.214 | 890.008 | 68.405 | 20.3705
2020-07-29 00:30:00 | 4.539 | 240.507 | 5.6 | 239.539 | 6.023 | 244.533 | 5.954 | 241.7 | 16.781 | 889.433 | 68.267 | 19.3224
2020-07-29 00:45:00 | 4.807 | 233.593 | 5.904 | 234.789 | 6.154 | 242.067 | 6.123 | 239.167 | 16.531 | 889.692 | 70.315 | 18.1472
2020-07-29 01:00:00 | 5.082 | 228.847 | 6.065 | 227.104 | 6.54 | 231.1 | 6.632 | 226.8 | 16.431 | 890.2 | 70.219 | 18.128
2020-07-29 01:15:00 | 4.763 | 226.36 | 6.285 | 226.126 | 6.725 | 231.533 | 6.82 | 227.467 | 16.398 | 889.792 | 69.845 | 20.2263
2020-07-29 01:30:00 | 5.193 | 231.367 | 6.189 | 228.706 | 6.562 | 234.9 | 6.663 | 230.833 | 15.984 | 890.225 | 69.429 | 17.8217
2020-07-29 01:45:00 | 4.586 | 224.113 | 5.77 | 224.138 | 6.187 | 229.3 | 6.409 | 224.533 | 16.17 | 889.958 | 69.301 | 20.8089
2020-07-29 02:00:00 | 4.671 | 232.813 | 6.119 | 232.619 | 6.513 | 237.6 | 6.449 | 231.933 | 15.706 | 890.217 | 70.144 | 22.105
2020-07-29 02:15:00 | 5.425 | 233.167 | 6.54 | 231.49 | 6.725 | 237.033 | 6.69 | 232.8 | 15.861 | 890.083 | 69.963 | 23.0366
2020-07-29 02:30:00 | 5.28 | 235.78 | 6.412 | 234.124 | 6.608 | 240.1 | 6.49 | 235.767 | 15.88 | 890.175 | 70.251 | 21.285
2020-07-29 02:45:00 | 5.456 | 235.827 | 6.53 | 234.337 | 6.535 | 240.267 | 6.265 | 236.633 | 15.502 | 890.342 | 70.923 | 20.5546
2020-07-29 03:00:00 | 5.281 | 230.2 | 6.284 | 231.882 | 6.266 | 237.533 | 6.208 | 234.1 | 15.421 | 889.733 | 71.029 | 18.9494
2020-07-29 03:15:00 | 4.733 | 233.427 | 5.773 | 235.455 | 5.919 | 242.967 | 5.744 | 238.767 | 15.535 | 889.542 | 71.552 | 16.8809
2020-07-29 03:30:00 | 4.928 | 241.367 | 6.026 | 242.01 | 6.153 | 249.833 | 5.895 | 245.6 | 15.158 | 889.967 | 71.627 | 15.9572
2020-07-29 03:45:00 | 5.247 | 249.633 | 5.764 | 252.929 | 5.796 | 258.9 | 5.826 | 256.883 | 14.941 | 889.775 | 71.429 | 15.7284
2020-07-29 04:00:00 | 4.806 | 252.8 | 5.347 | 258.828 | 5.495 | 266.267 | 5.64 | 264.433 | 14.758 | 890.017 | 71.68 | 12.0754
2020-07-29 04:15:00 | 4.279 | 253.267 | 4.559 | 262.446 | 4.543 | 270.067 | 4.816 | 268.433 | 14.658 | 890.275 | 71.285 | 8.7691
2020-07-29 04:30:00 | 3.389 | 233.2 | 4.53 | 255.952 | 4.635 | 269 | 4.912 | 270.067 | 14.637 | 890.058 | 71.776 | 7.2897
2020-07-29 04:45:00 | 4.879 | 233.673 | 5.214 | 248.851 | 5.063 | 260.8 | 5.166 | 262.133 | 13.895 | 889.883 | 72.064 | 8.5531
2020-07-29 05:00:00 | 4.874 | 235.64 | 5.244 | 246.876 | 4.895 | 258.133 | 5.004 | 258.5 | 13.728 | 889.9 | 72.939 | 9.6253
2020-07-29 05:15:00 | 4.448 | 223.567 | 5.138 | 242.002 | 4.872 | 254.3 | 4.945 | 255.35 | 13.791 | 889.933 | 72.971 | 9.4989
2020-07-29 05:30:00 | 4.597 | 216.72 | 5.343 | 231.994 | 5.164 | 250 | 4.935 | 253.7 | 13.495 | 889.758 | 73.397 | 8.6732
2020-07-29 05:45:00 | 5.164 | 225.06 | 5.568 | 231.404 | 5.227 | 244.667 | 4.938 | 246.8 | 13.312 | 889.817 | 73.131 | 8.8672
2020-07-29 06:00:00 | 4.554 | 216.273 | 5.864 | 227.325 | 5.726 | 238.733 | 5.335 | 238.7 | 13.678 | 890.2 | 71.744 | 11.0891
2020-07-29 06:15:00 | 4.716 | 220.387 | 6.056 | 228.443 | 6.063 | 236.167 | 5.676 | 234.433 | 13.059 | 889.667 | 72.907 | 13.0083
2020-07-29 06:30:00 | 5.069 | 220.067 | 5.96 | 226.547 | 5.825 | 237.033 | 5.425 | 237.667 | 13.145 | 889.867 | 72.821 | 12.5479
2020-07-29 06:45:00 | 5.181 | 221.96 | 6.264 | 227.385 | 6.202 | 237.533 | 5.736 | 236.267 | 13.645 | 889.533 | 69.749 | 14.109
2020-07-29 07:00:00 | 5.521 | 220.5 | 6.711 | 225.122 | 6.409 | 235.367 | 5.985 | 234.9 | 13.974 | 889.892 | 67.189 | 17.7386
2020-07-29 07:15:00 | 4.818 | 223.367 | 6.259 | 226.29 | 6.677 | 238.933 | 6.124 | 237.8 | 14.724 | 890.183 | 63.275 | 19.4241
2020-07-29 07:30:00 | 4.5 | 223.867 | 6.168 | 224.048 | 6.708 | 233.9 | 6.317 | 232.833 | 15.851 | 889.5 | 58.987 | 18.8748
2020-07-29 07:45:00 | 4.895 | 224.533 | 5.574 | 224.208 | 6.095 | 231.367 | 6.124 | 230.367 | 17.023 | 889.692 | 54.443 | 16.8582
2020-07-29 08:00:00 | 4.788 | 231.32 | 5.184 | 229.035 | 5.531 | 231.9 | 5.634 | 226.867 | 18.023 | 889.758 | 50.336 | 14.8366
2020-07-29 08:15:00 | 4.388 | 226.427 | 4.683 | 223.341 | 4.88 | 227.767 | 5.044 | 223.333 | 18.794 | 889.975 | 47.669 | 12.479
2020-07-29 08:30:00 | 4.971 | 234.86 | 4.976 | 231.066 | 5.069 | 235.167 | 5.045 | 231.067 | 19.556 | 889.717 | 45.504 | 11.7123
2020-07-29 08:45:00 | 5.164 | 232.9 | 5.434 | 230.294 | 5.537 | 236.533 | 5.477 | 232.5 | 20.185 | 890.042 | 44.448 | 12.4143
2020-07-29 09:00:00 | 5.007 | 240.727 | 5.211 | 238.816 | 5.342 | 242.267 | 5.254 | 233.467 | 20.594 | 889.983 | 42.672 | 9.582
2020-07-29 09:15:00 | 4.293 | 257.913 | 4.362 | 251.424 | 4.423 | 255.3 | 4.365 | 249.617 | 21.494 | 889.75 | 38.571 | 6.7348
2020-07-29 09:30:00 | 3.888 | 256.547 | 4.297 | 257.932 | 4.509 | 261.2 | 4.511 | 256.333 | 21.41 | 889.783 | 37.235 | 6.1706
2020-07-29 09:45:00 | 4.498 | 265.213 | 4.729 | 257.787 | 4.848 | 261.217 | 4.917 | 253.233 | 21.085 | 889.567 | 37.408 | 5.9013
2020-07-29 10:00:00 | 5.061 | 258.3 | 5.217 | 254.492 | 5.403 | 260.417 | 5.157 | 254.25 | 22.198 | 889.75 | 35.829 | 7.3281
2020-07-29 10:15:00 | 4.279 | 278.027 | 4.598 | 274.344 | 4.717 | 280.233 | 5.151 | 274.517 | 21.81 | 889.617 | 35.675 | 7.9967
2020-07-29 10:30:00 | 4.41 | 244.92 | 4.599 | 245.715 | 4.764 | 252.367 | 4.66 | 251.517 | 22.152 | 889.567 | 35.589 | 7.1433
2020-07-29 10:45:00 | 3.539 | 256.193 | 4.142 | 257.914 | 4.336 | 263.867 | 4.413 | 257.017 | 23.281 | 889.967 | 33.04 | 8.2184
2020-07-29 11:00:00 | 4.376 | 275.42 | 4.822 | 273.601 | 4.768 | 278.25 | 4.805 | 278.65 | 23.298 | 889.617 | 31.885 | 8.3193
2020-07-29 11:15:00 | 4.233 | 259.78 | 4.398 | 258.361 | 4.505 | 260.367 | 4.55 | 261.2 | 22.764 | 890.233 | 31.696 | 8.2198
2020-07-29 11:30:00 | 5.275 | 260.567 | 5.618 | 263.511 | 5.765 | 266.133 | 5.751 | 264.2 | 23.848 | 889.567 | 29.997 | 9.8655
2020-07-29 11:45:00 | 5.057 | 283.573 | 5.13 | 284.119 | 5.691 | 285.733 | 5.947 | 285.333 | 23.848 | 889.5 | 28.245 | 11.9084
2020-07-29 12:00:00 | 5.732 | 303.78 | 5.938 | 297.34 | 6.169 | 301.567 | 6.726 | 297.233 | 24.06 | 889.8 | 27.888 | 12.5053
2020-07-29 12:15:00 | 5.255 | 287.293 | 5.451 | 281.495 | 5.804 | 282.933 | 6.068 | 278.3 | 23.348 | 889.333 | 28.245 | 14.2732
2020-07-29 12:30:00 | 4.85 | 312.58 | 5.075 | 311.992 | 5.307 | 320.067 | 5.394 | 314 | 24.764 | 889.667 | 26.821 | 12.5514
2020-07-29 12:45:00 | 6.433 | 312.893 | 6.708 | 304.794 | 6.809 | 310.867 | 7.162 | 304.3 | 24.539 | 889.7 | 26.08 | 11.0671
2020-07-29 13:00:00 | 4.041 | 269.247 | 4.474 | 266.062 | 4.571 | 268.95 | 4.686 | 264.1 | 25.464 | 889.617 | 26.307 | 14.9468
2020-07-29 13:15:00 | 4.754 | 274.993 | 4.685 | 267.976 | 5.079 | 274.667 | 5.48 | 272.583 | 24.973 | 889.967 | 23.56 | 16.3238
2020-07-29 13:30:00 | 4.651 | 282.96 | 5.038 | 281.5 | 4.807 | 286.633 | 5.072 | 284.867 | 25.264 | 890.1 | 25.157 | 12.7028
2020-07-29 13:45:00 | 4.59 | 299.173 | 4.813 | 288.205 | 4.831 | 291.667 | 5.054 | 291.633 | 26.164 | 889.683 | 21.495 | 13.2194
2020-07-29 14:00:00 | 6.205 | 318.867 | 6.19 | 310.584 | 6.255 | 312.433 | 6.272 | 304.4 | 25.885 | 889.583 | 21.848 | 13.429
2020-07-29 14:15:00 | 6.205 | 298.053 | 6.684 | 293.484 | 6.848 | 299.1 | 7.229 | 296.267 | 26.31 | 889.617 | 21.528 | 10.4659
2020-07-29 14:30:00 | 5.59 | 247.227 | 5.96 | 244.16 | 6.155 | 249.983 | 6.167 | 247.067 | 26.648 | 889.283 | 19.839 | 15.8023
2020-07-29 14:45:00 | 5.961 | 304.193 | 6.358 | 295.353 | 6.519 | 299.883 | 6.735 | 293.833 | 26.96 | 889.867 | 20.976 | 15.4527
2020-07-29 15:00:00 | 4.71 | 299.693 | 4.722 | 296.866 | 4.962 | 296.2 | 5.21 | 289.233 | 26.814 | 889.65 | 20.848 | 13.0517
2020-07-29 15:15:00 | 5.445 | 274.56 | 6.087 | 269.756 | 6.319 | 272.1 | 6.303 | 270.933 | 27.144 | 889.633 | 18.459 | 8.4167
2020-07-29 15:30:00 | 3.051 | 282.347 | 3.239 | 272.052 | 3.497 | 266.733 | 3.98 | 253.117 | 28.598 | 889.5 | 17.281 | 12.8932
2020-07-29 15:45:00 | 6.912 | 309.667 | 7.047 | 301.527 | 7.331 | 304.667 | 7.683 | 302.733 | 27.518 | 889.733 | 16.211 | 14.4849
2020-07-29 16:00:00 | 5.224 | 263.76 | 5.806 | 261.665 | 5.931 | 266.7 | 6.176 | 260.317 | 28.535 | 889.333 | 16.631 | 19.4269
2020-07-29 16:15:00 | 5.956 | 295.413 | 6.379 | 290.125 | 6.466 | 294.633 | 6.868 | 291.1 | 28.402 | 889.6 | 14.06 | 14.2987
2020-07-29 16:30:00 | 5.157 | 262.173 | 5.418 | 259.004 | 5.536 | 261.383 | 5.668 | 257 | 28.481 | 889.067 | 15.493 | 21.5032
2020-07-29 16:45:00 | 6.544 | 286.9 | 7.187 | 283.582 | 7.164 | 289.583 | 7.509 | 288.183 | 29.031 | 889.633 | 14.856 | 14.5936
2020-07-29 17:00:00 | 6.912 | 309.133 | 7.126 | 304.097 | 7.132 | 306.367 | 7.271 | 303.433 | 28.148 | 889.133 | 16.693 | 20.4224
2020-07-29 17:15:00 | 7.44 | 315.467 | 7.761 | 308.735 | 8.265 | 315.2 | 8.804 | 314.467 | 28.627 | 889.567 | 15.715 | 30.3497
2020-07-29 17:30:00 | 7.244 | 311.147 | 7.66 | 307.558 | 7.918 | 310.967 | 8.232 | 307.6 | 28.706 | 889.833 | 14.745 | 33.364
2020-07-29 17:45:00 | 6.236 | 299.093 | 6.423 | 294.04 | 6.491 | 297.567 | 6.976 | 291.267 | 28.585 | 889.633 | 15.004 | 30.2687
2020-07-29 18:00:00 | 7.812 | 307.48 | 7.955 | 301.009 | 7.685 | 305.7 | 7.858 | 299.933 | 28.398 | 889.4 | 15.371 | 35.7514
2020-07-29 18:15:00 | 7.386 | 293.733 | 7.956 | 289.254 | 8.204 | 291.567 | 8.574 | 289.033 | 28.964 | 889.567 | 15.639 | 30.349
2020-07-29 18:30:00 | 8.181 | 293.12 | 8.634 | 288.347 | 8.651 | 291.3 | 8.859 | 291.533 | 28.289 | 889.367 | 15.387 | 36.4627
2020-07-29 18:45:00 | 7.73 | 302.133 | 8.18 | 297.135 | 8.32 | 303.133 | 8.824 | 301.633 | 28.202 | 889.6 | 17.268 | 41.1994
2020-07-29 19:00:00 | 6.942 | 304.827 | 7.148 | 300.266 | 7.247 | 307.1 | 7.315 | 306.167 | 27.718 | 889.8 | 17.693 | 41.1127
2020-07-29 19:15:00 | 7.397 | 299.427 | 7.934 | 293.835 | 8.013 | 298.2 | 8.348 | 293.967 | 28.077 | 889.567 | 17.993 | 33.2957
2020-07-29 19:30:00 | 6.797 | 298.427 | 7.204 | 290.199 | 7.207 | 295.2 | 7.597 | 293.333 | 27.944 | 889.967 | 18.261 | 30.0378
2020-07-29 19:45:00 | 7.633 | 294.293 | 8.196 | 289.23 | 8.266 | 293.733 | 8.692 | 291.633 | 27.477 | 889.233 | 19.132 | 37.3836
2020-07-29 20:00:00 | 7.307 | 298.107 | 8.254 | 295.26 | 8.462 | 299.133 | 8.588 | 297.833 | 27.714 | 889.5 | 19.095 | 41.0175
2020-07-29 20:15:00 | 7.386 | 303.52 | 7.846 | 301.604 | 8.058 | 306.867 | 8.337 | 304.233 | 27.231 | 889.5 | 18.173 | 43.5762
2020-07-29 20:30:00 | 6.753 | 299.027 | 7.375 | 294.665 | 7.618 | 298.9 | 7.968 | 295.367 | 27.085 | 889.633 | 18.713 | 39.6653
2020-07-29 20:45:00 | 7.773 | 299.28 | 8.311 | 294.072 | 8.58 | 297.667 | 8.871 | 296.167 | 26.768 | 889.467 | 19.455 | 39.1941
2020-07-29 21:00:00 | 6.545 | 296.96 | 7.255 | 292.618 | 7.584 | 295.5 | 8.153 | 293.267 | 26.352 | 889.583 | 20.904 | 38.3258
2020-07-29 21:15:00 | 6.217 | 296.72 | 7.009 | 289.956 | 7.603 | 295.2 | 8.044 | 292.3 | 25.718 | 889.933 | 20.989 | 39.0613
2020-07-29 21:30:00 | 6.258 | 291.613 | 7.499 | 288.384 | 7.835 | 291.833 | 8.289 | 289.7 | 25.356 | 890.05 | 22.408 | 35.6207
2020-07-29 21:45:00 | 6.437 | 292.133 | 7.601 | 285.216 | 7.784 | 289.333 | 8.365 | 287.5 | 25.123 | 889.233 | 23.557 | 35.6555
2020-07-29 22:00:00 | 6.349 | 288.413 | 7.446 | 282.954 | 7.794 | 286.133 | 8.214 | 283.333 | 24.61 | 889.767 | 24.384 | 32.4558
2020-07-29 22:15:00 | 5.369 | 283.693 | 6.697 | 278.524 | 7.151 | 283.833 | 7.606 | 282.767 | 24.406 | 889.683 | 25.413 | 24.8371
2020-07-29 22:30:00 | 5.194 | 283.587 | 6.198 | 277.393 | 6.542 | 281.933 | 6.888 | 278.767 | 23.956 | 889.617 | 26.549 | 20.3833
2020-07-29 22:45:00 | 4.28 | 278.813 | 5.761 | 277.015 | 6.153 | 280.7 | 6.449 | 276.867 | 23.598 | 889.583 | 27.811 | 17.448
2020-07-29 23:00:00 | 4.756 | 277.08 | 5.826 | 272.83 | 5.962 | 278.5 | 6.368 | 275.8 | 23.481 | 889.55 | 29.133 | 20.06
2020-07-29 23:15:00 | 5.107 | 273.533 | 6.099 | 270.366 | 6.536 | 276.667 | 6.977 | 274.567 | 22.981 | 889.683 | 29.917 | 22.8923
2020-07-29 23:30:00 | 4.544 | 259.813 | 5.326 | 263.993 | 5.636 | 270.333 | 6.013 | 267.9 | 22.548 | 889.933 | 30.563 | 18.6787
2020-07-29 23:45:00 | 5.117 | 245.667 | 5.969 | 252.797 | 6.134 | 259.4 | 6.362 | 257.533 | 22.039 | 889.7 | 32.379 | 18.3049