## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-30 00:00:00 | 5.247 | 243.22 | 6.499 | 246.818 | 6.539 | 255.3 | 6.634 | 253 | 21.864 | 889.933 | 33.605 | 23.7635
2020-07-30 00:15:00 | 5.691 | 257.287 | 7 | 258.139 | 7.304 | 264 | 7.681 | 258.95 | 21.514 | 889.383 | 34.205 | 24.926
2020-07-30 00:30:00 | 5.307 | 250.253 | 6.28 | 254.693 | 6.373 | 261.867 | 6.824 | 258.317 | 20.973 | 889.683 | 35.019 | 22.272
2020-07-30 00:45:00 | 5.538 | 246.02 | 5.963 | 250.437 | 6.114 | 258.067 | 6.43 | 256.367 | 21.077 | 889.767 | 35.285 | 19.2215
2020-07-30 01:00:00 | 5.059 | 239.627 | 5.466 | 245.356 | 5.399 | 255.267 | 5.541 | 255.167 | 20.781 | 889.883 | 35.579 | 17.0635
2020-07-30 01:15:00 | 4.502 | 236.56 | 4.667 | 246.09 | 4.704 | 256.133 | 5.044 | 256.267 | 20.544 | 889.75 | 35.771 | 15.0612
2020-07-30 01:30:00 | 4.33 | 242.733 | 4.511 | 251.414 | 4.774 | 264.033 | 5.157 | 267.333 | 20.118 | 889.8 | 36.104 | 13.8958
2020-07-30 01:45:00 | 3.993 | 238.793 | 4.814 | 247.576 | 5.061 | 259.733 | 5.368 | 265.033 | 19.76 | 889.933 | 36.707 | 12.9302
2020-07-30 02:00:00 | 4.698 | 234.773 | 5.232 | 243.072 | 5.355 | 257.767 | 6.528 | 270.767 | 20.01 | 889.85 | 37.067 | 14.2952
2020-07-30 02:15:00 | 4.745 | 233.207 | 4.916 | 245.748 | 5.801 | 264.8 | 6.612 | 269.133 | 20.268 | 890.333 | 36.269 | 15.1031
2020-07-30 02:30:00 | 4.066 | 249.847 | 6.482 | 263.028 | 7.226 | 270.833 | 7.713 | 269.033 | 19.394 | 889.483 | 36.987 | 16.2613
2020-07-30 02:45:00 | 5.351 | 244.78 | 6.394 | 250.423 | 7.198 | 262.9 | 7.49 | 263.1 | 19.739 | 889.8 | 36.613 | 22.4042
2020-07-30 03:00:00 | 5.387 | 245.22 | 6.182 | 254.93 | 6.408 | 262.133 | 6.64 | 260.5 | 19.764 | 889.65 | 36.872 | 21.9402
2020-07-30 03:15:00 | 5.225 | 231.393 | 5.206 | 245.533 | 5.116 | 256.167 | 5.416 | 258.383 | 19.285 | 889.75 | 37.627 | 18.3895
2020-07-30 03:30:00 | 5.241 | 221.5 | 5.366 | 236.821 | 6.224 | 260.867 | 6.802 | 265.633 | 18.689 | 889.383 | 38.523 | 17.5489
2020-07-30 03:45:00 | 4.681 | 241.533 | 6.498 | 254.302 | 6.773 | 264.4 | 7.157 | 260.883 | 18.623 | 889.367 | 39.701 | 20.9198
2020-07-30 04:00:00 | 5.485 | 241.06 | 6.618 | 251.551 | 6.838 | 260.667 | 7.253 | 258.683 | 19.064 | 889.583 | 39.573 | 24.3056
2020-07-30 04:15:00 | 5.071 | 227.66 | 6.29 | 241.51 | 7.092 | 256.467 | 7.239 | 255.8 | 18.977 | 889.567 | 39.317 | 27.4847
2020-07-30 04:30:00 | 5.626 | 238.333 | 6.704 | 245.967 | 7.074 | 255.833 | 7.482 | 253.983 | 18.573 | 889.817 | 39.168 | 31.8206
2020-07-30 04:45:00 | 5.744 | 247.053 | 7.054 | 252.867 | 7.358 | 260.733 | 7.648 | 259.683 | 18.814 | 889.583 | 38.797 | 33.818
2020-07-30 05:00:00 | 5.881 | 246.047 | 7.41 | 254.481 | 7.938 | 262.733 | 8.268 | 259.483 | 19.294 | 890.333 | 38.904 | 36.8244
2020-07-30 05:15:00 | 5.994 | 243.773 | 7.368 | 250.444 | 7.75 | 259.3 | 8.073 | 255.733 | 19.348 | 890.283 | 38.885 | 39.7626
2020-07-30 05:30:00 | 5.93 | 243.427 | 7.247 | 250.366 | 7.527 | 258.5 | 7.677 | 256.333 | 19.373 | 889.6 | 38.872 | 36.0392
2020-07-30 05:45:00 | 5.446 | 243.253 | 6.728 | 249.814 | 6.94 | 257.6 | 7.336 | 256.817 | 18.581 | 889.667 | 39.344 | 32.5688
2020-07-30 06:00:00 | 5.547 | 233.767 | 6.649 | 247.08 | 6.982 | 258.4 | 7.076 | 256.75 | 18.689 | 889.467 | 39.963 | 30.0285
2020-07-30 06:15:00 | 5.732 | 231.767 | 6.467 | 244.2 | 6.633 | 255.4 | 6.861 | 254.1 | 18.423 | 889.3 | 40.805 | 25.7744
2020-07-30 06:30:00 | 5.756 | 236.633 | 7.139 | 243.418 | 7.088 | 253.2 | 7.021 | 252.883 | 18.164 | 889.733 | 41.301 | 27.2396
2020-07-30 06:45:00 | 5.469 | 245.427 | 6.766 | 252.779 | 7.209 | 262.767 | 7.744 | 262.217 | 18.71 | 889.817 | 40.381 | 29.6967
2020-07-30 07:00:00 | 4.874 | 235.607 | 5.906 | 244.396 | 6.375 | 254.2 | 6.721 | 252.1 | 19.923 | 889.717 | 38.635 | 29.1553
2020-07-30 07:15:00 | 5.169 | 245.007 | 6.469 | 249.037 | 7.117 | 254.9 | 7.702 | 252.083 | 20.198 | 889.517 | 37.232 | 33.4087
2020-07-30 07:30:00 | 6.719 | 251.993 | 7.831 | 252.117 | 8.84 | 257 | 9.113 | 252.483 | 21.131 | 889.983 | 35.808 | 48.2631
2020-07-30 07:45:00 | 8.375 | 251.52 | 9.091 | 250.144 | 9.676 | 253.75 | 9.921 | 247.733 | 22.073 | 889.933 | 39.088 | 66.3037
2020-07-30 08:00:00 | 10.794 | 258.973 | 11.69 | 254.83 | 11.849 | 259.717 | 11.741 | 253.883 | 21.998 | 889.533 | 41.269 | 83.3068
2020-07-30 08:15:00 | 10.375 | 258.133 | 11.176 | 251.727 | 11.503 | 254.9 | 11.4 | 248.167 | 22.027 | 889.733 | 41.797 | 83.0837
2020-07-30 08:30:00 | 10.941 | 253.193 | 11.988 | 251.45 | 12.118 | 255.45 | 11.851 | 251.25 | 21.894 | 890.108 | 42.875 | 72.848
2020-07-30 08:45:00 | 12.156 | 254.993 | 12.961 | 254.612 | 13.183 | 258.65 | 13.117 | 253.567 | 22.089 | 889.542 | 42.523 | 55.1876
2020-07-30 09:00:00 | 13.628 | 259.267 | 15.26 | 253.799 | 15.495 | 258.317 | 15.522 | 253.05 | 22.631 | 889.65 | 41.952 | 49.7539
2020-07-30 09:15:00 | 12.531 | 263.54 | 14.061 | 260.02 | 14.311 | 263.75 | 14.216 | 258 | 22.764 | 889.875 | 42.075 | 49.4952
2020-07-30 09:30:00 | 13.414 | 270.28 | 14.255 | 264.534 | 14.497 | 267.767 | 14.751 | 263.133 | 22.56 | 889.892 | 42.416 | 51.2518
2020-07-30 09:45:00 | 15.165 | 268.847 | 16.192 | 262.249 | 16.442 | 267.633 | 16.105 | 262.15 | 22.931 | 889.858 | 42.821 | 50.144
2020-07-30 10:00:00 | 14.369 | 267.553 | 15.136 | 261.968 | 15.413 | 265.933 | 15.273 | 260.583 | 23.064 | 889.75 | 41.952 | 48.7001
2020-07-30 10:15:00 | 14.366 | 271.613 | 15.045 | 265.467 | 15.52 | 269.267 | 15.636 | 264.267 | 23.431 | 889.958 | 39.947 | 48.5559
2020-07-30 10:30:00 | 14.388 | 272.22 | 15.365 | 267.875 | 15.319 | 270.767 | 15.58 | 266.417 | 23.798 | 890.125 | 39.968 | 52.6146
2020-07-30 10:45:00 | 15.463 | 286.173 | 16.466 | 278.424 | 16.708 | 282.933 | 17.126 | 280 | 23.248 | 889.642 | 41.184 | 58.1101
2020-07-30 11:00:00 | 15.501 | 286.733 | 17.002 | 280.936 | 17.221 | 284.067 | 17.276 | 282.1 | 23.081 | 889.883 | 41.845 | 55.6303
2020-07-30 11:15:00 | 15.046 | 289.84 | 16.283 | 283.407 | 17.204 | 285.4 | 17.883 | 285 | 22.948 | 890.175 | 40.869 | 54.6866
2020-07-30 11:30:00 | 15.121 | 294.467 | 15.87 | 288.681 | 15.949 | 292.6 | 16.687 | 290.4 | 23.61 | 889.583 | 39.683 | 56.5341
2020-07-30 11:45:00 | 16.218 | 289.133 | 17.4 | 283.863 | 17.715 | 287.9 | 18.377 | 284.333 | 22.964 | 889.883 | 41.92 | 62.4659
2020-07-30 12:00:00 | 15.993 | 288.8 | 17.262 | 283.17 | 17.785 | 288.067 | 18.527 | 285.433 | 21.652 | 889.758 | 47.12 | 70.0491
2020-07-30 12:15:00 | 14.845 | 293.093 | 15.62 | 288.649 | 15.995 | 291.3 | 16.528 | 288.433 | 21.373 | 890.208 | 48.229 | 80.2443
2020-07-30 12:30:00 | 15.364 | 292.187 | 16.254 | 284.592 | 16.825 | 287.9 | 16.963 | 284.8 | 20.614 | 890.175 | 51.44 | 81.5539
2020-07-30 12:45:00 | 15.163 | 296.8 | 16.566 | 292.655 | 17.002 | 295.867 | 17.46 | 292.067 | 20.152 | 889.967 | 51.163 | 81.1368
2020-07-30 13:00:00 | 15.208 | 296.573 | 16.143 | 290.546 | 16.402 | 293.033 | 17.199 | 292.533 | 20.089 | 889.675 | 52.613 | 81.3542
2020-07-30 13:15:00 | 16.512 | 290.88 | 17.833 | 283.563 | 18.724 | 288.133 | 19.102 | 286.733 | 19.514 | 889.517 | 54.651 | 81.5873
2020-07-30 13:30:00 | 14.938 | 284.44 | 16.144 | 277.521 | 16.445 | 282.8 | 16.876 | 279.867 | 20.514 | 889.933 | 52.16 | 81.5297
2020-07-30 13:45:00 | 15.378 | 289.84 | 16.497 | 284.387 | 17.04 | 287.567 | 17.33 | 284.9 | 19.439 | 889.892 | 52.768 | 81.2526
2020-07-30 14:00:00 | 13.842 | 285.467 | 15.048 | 278.389 | 15.305 | 281.733 | 15.764 | 279.267 | 19.689 | 890.15 | 52.107 | 81.1972
2020-07-30 14:15:00 | 13.49 | 286.867 | 14.204 | 280.787 | 14.364 | 284.6 | 14.832 | 282.067 | 19.844 | 889.75 | 51.776 | 81.5716
2020-07-30 14:30:00 | 14.838 | 293.2 | 15.898 | 285.726 | 16.152 | 289.4 | 16.804 | 285.933 | 18.944 | 890.358 | 55.397 | 82.0356
2020-07-30 14:45:00 | 12.784 | 294.72 | 14.109 | 289.47 | 14.307 | 293.767 | 14.816 | 289.433 | 18.694 | 889.908 | 56.512 | 82.9416
2020-07-30 15:00:00 | 12.722 | 284.547 | 13.598 | 278.835 | 13.939 | 282.267 | 14.27 | 279.333 | 18.568 | 890.025 | 56.597 | 83.169
2020-07-30 15:15:00 | 12.075 | 281 | 12.695 | 273.132 | 12.79 | 276.7 | 13.023 | 272.433 | 18.606 | 889.75 | 56.235 | 83.8447
2020-07-30 15:30:00 | 12.266 | 284.24 | 13.219 | 278.642 | 13.432 | 281.433 | 14.05 | 278.6 | 19.544 | 889.758 | 53.755 | 84.1943
2020-07-30 15:45:00 | 11.664 | 287.187 | 12.549 | 281.354 | 13.115 | 284.333 | 13.276 | 282.717 | 19.302 | 889.775 | 54.523 | 79.268
2020-07-30 16:00:00 | 11.764 | 291.867 | 12.728 | 283.527 | 13.308 | 287.6 | 13.797 | 284.267 | 18.789 | 889.692 | 56.912 | 64.4413
2020-07-30 16:15:00 | 11.85 | 289.48 | 13.374 | 283.077 | 13.892 | 286.633 | 14.22 | 283.867 | 18.352 | 889.467 | 65.189 | 58.4342
2020-07-30 16:30:00 | 11.342 | 278.76 | 12.172 | 272.46 | 12.195 | 276.1 | 12.408 | 274.167 | 16.718 | 889.65 | 74.32 | 58.3517
2020-07-30 16:45:00 | 10.203 | 274.333 | 11.253 | 269.369 | 11.539 | 273.767 | 11.858 | 268.233 | 15.728 | 890.15 | 80.949 | 55.1535
2020-07-30 17:00:00 | 9.78 | 283.987 | 10.716 | 277.907 | 10.998 | 280.033 | 11.301 | 276.133 | 15.535 | 889.7 | 84.469 | 58.8918
2020-07-30 17:15:00 | 8.756 | 280.867 | 9.539 | 276.869 | 9.89 | 280.167 | 10.095 | 276.833 | 15.214 | 889.85 | 87.275 | 66.6916
2020-07-30 17:30:00 | 9.04 | 284.4 | 9.769 | 278.793 | 10.122 | 281.067 | 10.277 | 280.067 | 15.801 | 889.829 | 85.152 | 65.8113
2020-07-30 17:45:00 | 8.598 | 296.613 | 9.233 | 291.478 | 9.636 | 294.533 | 10.068 | 292 | 15.647 | 890.254 | 85.504 | 53.058
2020-07-30 18:00:00 | 8.874 | 287.227 | 9.755 | 282.313 | 10.289 | 285.867 | 10.781 | 284.267 | 15.963 | 889.788 | 83.701 | 56.5838
2020-07-30 18:15:00 | 8.244 | 283.813 | 9.578 | 277.523 | 10.031 | 280.967 | 10.284 | 277.233 | 15.457 | 889.817 | 84.96 | 60.0386
2020-07-30 18:30:00 | 11.292 | 283.093 | 12.428 | 274.197 | 13.053 | 277.633 | 13.396 | 275.833 | 16.443 | 889.6 | 75.781 | 58.0256
2020-07-30 18:45:00 | 10.721 | 288.693 | 12.303 | 284.426 | 12.826 | 289.067 | 13.15 | 285.8 | 15.79 | 890.125 | 79.909 | 56.1305
2020-07-30 19:00:00 | 11.145 | 287.987 | 12.424 | 282.649 | 12.442 | 286.767 | 12.665 | 283.767 | 16.229 | 889.825 | 79.435 | 58.9742
2020-07-30 19:15:00 | 10.554 | 287.907 | 11.405 | 283.094 | 11.685 | 286.633 | 11.853 | 283.5 | 16.231 | 890.175 | 78.24 | 63.4053
2020-07-30 19:30:00 | 11.905 | 286.48 | 13.127 | 282.129 | 13.643 | 286.133 | 14.216 | 283.967 | 16.481 | 890.15 | 76.475 | 67.5131
2020-07-30 19:45:00 | 11.172 | 282.493 | 12.35 | 276.185 | 12.534 | 279.7 | 13.043 | 277.133 | 16.548 | 889.75 | 74.768 | 69.7641
2020-07-30 20:00:00 | 10.713 | 279.253 | 12.318 | 274.697 | 12.806 | 278.933 | 13.073 | 276.667 | 15.908 | 889.892 | 75.115 | 64.6701
2020-07-30 20:15:00 | 11.793 | 280.453 | 13.635 | 276.555 | 13.819 | 279.933 | 14.195 | 277.2 | 16.11 | 890.167 | 75.872 | 59.397
2020-07-30 20:30:00 | 10.605 | 285.493 | 12.1 | 281.698 | 12.733 | 283.567 | 13.566 | 281.433 | 15.5 | 889.654 | 79.76 | 59.7381
2020-07-30 20:45:00 | 9.128 | 280.28 | 10.268 | 273.169 | 10.592 | 277.633 | 10.748 | 274.167 | 15.54 | 889.917 | 78.347 | 61.2004
2020-07-30 21:00:00 | 9.188 | 279.96 | 10.131 | 274.986 | 10.725 | 279.667 | 11.28 | 276.8 | 15.633 | 889.95 | 76.389 | 63.3456
2020-07-30 21:15:00 | 9.372 | 279.947 | 10.407 | 277.22 | 10.961 | 281.667 | 11.305 | 278.033 | 15.804 | 889.8 | 74.507 | 65.8084
2020-07-30 21:30:00 | 7.437 | 266.753 | 8.989 | 263.633 | 9.288 | 268.533 | 9.365 | 263.233 | 15.248 | 890.075 | 77.44 | 63.2546
2020-07-30 21:45:00 | 7.955 | 263.44 | 8.823 | 259.65 | 9.395 | 264.883 | 9.531 | 260.3 | 15.248 | 890.05 | 75.275 | 55.1947
2020-07-30 22:00:00 | 8.584 | 261.187 | 9.6 | 259.773 | 10.052 | 264.067 | 9.956 | 260.117 | 15.547 | 889.942 | 74.741 | 55.1442
2020-07-30 22:15:00 | 8.526 | 253.88 | 9.74 | 250.701 | 10.136 | 254.6 | 10.09 | 249.833 | 15.352 | 890.333 | 73.397 | 73.2999
2020-07-30 22:30:00 | 7.949 | 243.647 | 9.127 | 240.617 | 9.726 | 245.55 | 9.868 | 240.167 | 15.433 | 890.2 | 72.971 | 72.0394
2020-07-30 22:45:00 | 8.373 | 243.793 | 9.957 | 240.048 | 11.019 | 243.8 | 11.028 | 239.6 | 15.78 | 889.983 | 72.843 | 76.6026
2020-07-30 23:00:00 | 8.305 | 246.953 | 9.47 | 244.697 | 10.065 | 250.133 | 10.034 | 245.667 | 15.286 | 889.892 | 70.496 | 88.3817
2020-07-30 23:15:00 | 8.526 | 257.633 | 9.37 | 252.204 | 10.106 | 257.05 | 10.318 | 253.183 | 15.509 | 889.65 | 66.949 | 79.8911
2020-07-30 23:30:00 | 8.046 | 245.647 | 9.38 | 243.004 | 9.955 | 248.767 | 10.112 | 244.667 | 15.302 | 890.475 | 67.749 | 74.5392
2020-07-30 23:45:00 | 8.231 | 243.653 | 9.869 | 240.607 | 10.355 | 245.5 | 10.516 | 240.267 | 15.269 | 890.158 | 68.235 | 82.0264