## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-01 00:00:00 | 5.233 | 230.56 | 5.369 | 242.189 | 5.382 | 254.867 | 5.552 | 256.683 | 17.798 | 890.092 | 40.773 | 14.9084
2020-08-01 00:15:00 | 4.786 | 223.613 | 5.509 | 232.473 | 5.337 | 243.9 | 5.235 | 244.9 | 17.398 | 889.7 | 41.856 | 12.884
2020-08-01 00:30:00 | 4.303 | 223.44 | 5.572 | 229.773 | 5.449 | 239.167 | 5.261 | 236.367 | 17.231 | 889.908 | 42.464 | 13.1732
2020-08-01 00:45:00 | 4.882 | 216.353 | 5.858 | 223.438 | 5.93 | 231.767 | 5.764 | 229.633 | 17.148 | 889.975 | 42.944 | 16.9129
2020-08-01 01:00:00 | 4.851 | 221.42 | 5.667 | 226.5 | 6.091 | 234.6 | 6.005 | 232.067 | 16.798 | 889.875 | 44.352 | 18.9309
2020-08-01 01:15:00 | 5.903 | 222.993 | 6.624 | 223.986 | 6.706 | 227.633 | 6.816 | 222.967 | 16.881 | 889.842 | 47.403 | 23.8232
2020-08-01 01:30:00 | 5.842 | 221.113 | 6.846 | 225.074 | 7.235 | 230.033 | 7.168 | 226.367 | 16.614 | 889.867 | 48.235 | 25.7012
2020-08-01 01:45:00 | 5.479 | 219.62 | 6.682 | 223.438 | 7.027 | 229.9 | 6.988 | 226.767 | 16.308 | 890.008 | 49.035 | 24.1387
2020-08-01 02:00:00 | 5.981 | 226.127 | 7.27 | 229.342 | 7.601 | 235.667 | 7.598 | 231.767 | 15.775 | 889.575 | 49.408 | 25.9556
2020-08-01 02:15:00 | 5.381 | 224.413 | 6.564 | 229.564 | 6.96 | 236.7 | 6.962 | 232.267 | 15.93 | 889.367 | 49.739 | 20.6434
2020-08-01 02:30:00 | 5.18 | 226.013 | 6.629 | 231.594 | 7.002 | 238.833 | 7.082 | 233.833 | 15.673 | 889.925 | 49.739 | 23.7372
2020-08-01 02:45:00 | 5.057 | 223.607 | 6.673 | 228.256 | 7.06 | 236.067 | 7.072 | 233.467 | 15.374 | 889.833 | 49.589 | 22.7808
2020-08-01 03:00:00 | 5.106 | 223.12 | 6.335 | 232.016 | 6.545 | 238.7 | 6.584 | 234.7 | 15.436 | 889.8 | 49.664 | 18.6254
2020-08-01 03:15:00 | 5.108 | 214.753 | 6.442 | 222.592 | 6.522 | 231.333 | 6.565 | 228.5 | 14.996 | 889.908 | 51.733 | 18.2154
2020-08-01 03:30:00 | 5.658 | 214.413 | 6.246 | 218 | 6.06 | 223.8 | 6.092 | 221.067 | 14.67 | 889.983 | 53.131 | 18.803
2020-08-01 03:45:00 | 6.055 | 218.78 | 6.094 | 220.836 | 6.049 | 226.633 | 6.128 | 224.1 | 14.228 | 889.908 | 53.717 | 19.2777
2020-08-01 04:00:00 | 5.822 | 223.68 | 5.983 | 224.838 | 6.082 | 229.767 | 6.194 | 226.8 | 14.77 | 889.783 | 53.547 | 17.6775
2020-08-01 04:15:00 | 5.378 | 219.713 | 5.799 | 222.16 | 5.82 | 226.967 | 5.891 | 221.533 | 14.349 | 889.958 | 54.997 | 12.6175
2020-08-01 04:30:00 | 4.409 | 223.34 | 5.715 | 221.948 | 5.65 | 227.4 | 5.624 | 222.733 | 14.054 | 889.492 | 56.597 | 12.5571
2020-08-01 04:45:00 | 5.437 | 225.24 | 6.02 | 225.115 | 6.174 | 231.033 | 6.296 | 229.167 | 13.949 | 889.85 | 56.928 | 17.3734
2020-08-01 05:00:00 | 5.504 | 223.193 | 6.744 | 220.73 | 6.232 | 225.8 | 6.124 | 224.467 | 13.933 | 890.158 | 56.8 | 17.8786
2020-08-01 05:15:00 | 5.744 | 222.307 | 5.698 | 222.811 | 5.702 | 228.567 | 5.713 | 225.367 | 14.237 | 889.533 | 57.536 | 15.4591
2020-08-01 05:30:00 | 5.319 | 223.153 | 5.82 | 221.41 | 5.494 | 227.867 | 5.21 | 227.733 | 14.304 | 889.792 | 58.389 | 12.7987
2020-08-01 05:45:00 | 5.306 | 228.607 | 5.325 | 227.576 | 5.469 | 235.267 | 5.348 | 234.433 | 13.778 | 889.825 | 58.443 | 12.496
2020-08-01 06:00:00 | 5.432 | 225.24 | 5.422 | 231.599 | 5.235 | 239.267 | 5.107 | 236.867 | 13.728 | 889.792 | 57.483 | 11.9638
2020-08-01 06:15:00 | 5.756 | 221.207 | 5.707 | 228.205 | 5.628 | 235.367 | 5.355 | 231.2 | 13.712 | 889.908 | 57.653 | 13.4134
2020-08-01 06:30:00 | 5.71 | 223.967 | 5.814 | 232.02 | 5.929 | 238.133 | 5.795 | 233.233 | 13.245 | 889.825 | 56.907 | 14.8871
2020-08-01 06:45:00 | 5.508 | 223.753 | 6.071 | 230.042 | 6.163 | 235.9 | 6.096 | 231.6 | 13.612 | 889.983 | 54.112 | 16.4304
2020-08-01 07:00:00 | 5.858 | 224.7 | 6.456 | 228.751 | 6.791 | 235.5 | 6.851 | 231.633 | 14.941 | 889.917 | 46.923 | 22.5939
2020-08-01 07:15:00 | 4.63 | 221.44 | 5.586 | 223.038 | 5.509 | 228.467 | 5.257 | 225.233 | 14.967 | 889.775 | 46.72 | 15.1599
2020-08-01 07:30:00 | 4.966 | 223.16 | 6.809 | 221.609 | 7.195 | 228.7 | 7.292 | 224.833 | 15.222 | 890.075 | 44.917 | 27.3284
2020-08-01 07:45:00 | 5.042 | 223.12 | 6.418 | 223.176 | 6.838 | 229.567 | 6.875 | 226.733 | 16.631 | 889.933 | 38.88 | 28.277
2020-08-01 08:00:00 | 4.682 | 217.92 | 5.3 | 220.383 | 5.731 | 227.833 | 5.822 | 226.8 | 17.544 | 889.6 | 35.579 | 23.5297
2020-08-01 08:15:00 | 5.479 | 237.633 | 6.095 | 235.968 | 6.421 | 240.767 | 6.418 | 236.733 | 18.389 | 889.567 | 29.616 | 30.5544
2020-08-01 08:30:00 | 6.832 | 255.533 | 7.42 | 253.121 | 7.572 | 257.05 | 7.467 | 253.55 | 19.56 | 889.433 | 28.125 | 33.4201
2020-08-01 08:45:00 | 6.964 | 256.02 | 7.123 | 251.882 | 7.405 | 255.55 | 7.328 | 249.95 | 19.66 | 889.95 | 27.005 | 32.9014
2020-08-01 09:00:00 | 6.492 | 251.713 | 6.765 | 245.403 | 6.911 | 252.133 | 7.025 | 249.067 | 20.168 | 889.9 | 24.715 | 28.0148
2020-08-01 09:15:00 | 5.96 | 267.033 | 6.188 | 260.739 | 6.462 | 265.15 | 6.49 | 260.767 | 20.468 | 889.717 | 23.264 | 25.8447
2020-08-01 09:30:00 | 6.292 | 285.627 | 6.673 | 278.328 | 6.731 | 281 | 7.282 | 274.467 | 20.706 | 889.517 | 20.82 | 17.1325
2020-08-01 09:45:00 | 6.423 | 285.593 | 6.845 | 279.465 | 7.169 | 284.333 | 7.369 | 280.767 | 20.514 | 889.633 | 19.665 | 19.6187
2020-08-01 10:00:00 | 6.733 | 289.987 | 7.188 | 284.979 | 7.04 | 285.667 | 7.453 | 284.433 | 21.348 | 889.267 | 18.344 | 23.826
2020-08-01 10:15:00 | 5.417 | 299.467 | 5.626 | 292.64 | 5.708 | 296.767 | 6.139 | 293.967 | 21.123 | 889.6 | 17.905 | 29.7699
2020-08-01 10:30:00 | 7.204 | 290.373 | 7.695 | 284.844 | 7.946 | 287.2 | 8.138 | 288.167 | 21.881 | 889.233 | 16.867 | 29.0302
2020-08-01 10:45:00 | 7.001 | 293.347 | 7.589 | 289.642 | 7.67 | 291.333 | 7.743 | 286.833 | 22.189 | 889.6 | 16.531 | 28.4525
2020-08-01 11:00:00 | 6.719 | 288.733 | 7.08 | 286.866 | 7.317 | 289.533 | 7.554 | 285.133 | 22.364 | 889.367 | 16.525 | 27.7007
2020-08-01 11:15:00 | 6.81 | 289.293 | 7.502 | 286.019 | 7.811 | 291.1 | 8.097 | 289.433 | 22.531 | 889.4 | 16.416 | 32.3237
2020-08-01 11:30:00 | 7.319 | 303.293 | 7.854 | 296.271 | 8.005 | 297.533 | 8.674 | 292.967 | 22.964 | 889.433 | 16.033 | 39.909
2020-08-01 11:45:00 | 7.933 | 302.68 | 8.449 | 298.705 | 8.86 | 302.533 | 9.294 | 300.233 | 23.181 | 889.5 | 16.521 | 49.7127
2020-08-01 12:00:00 | 8.364 | 302.2 | 8.65 | 294.989 | 8.965 | 300.8 | 9.266 | 296 | 23.91 | 889.333 | 15.951 | 44.4218
2020-08-01 12:15:00 | 7.03 | 280.1 | 7.253 | 277.372 | 7.496 | 282.2 | 7.82 | 280.35 | 23.877 | 889.567 | 15.747 | 34.9606
2020-08-01 12:30:00 | 6.554 | 296.96 | 6.849 | 290.156 | 6.772 | 296.467 | 6.982 | 291.8 | 23.823 | 889.933 | 15.835 | 32.0295
2020-08-01 12:45:00 | 6.645 | 307.827 | 6.878 | 301.309 | 7.064 | 304.833 | 7.64 | 304 | 24.506 | 889.933 | 15.665 | 32.6534
2020-08-01 13:00:00 | 6.522 | 302.267 | 6.78 | 298.618 | 6.653 | 303.2 | 7.169 | 301.6 | 24.598 | 889.933 | 14.765 | 26.1815
2020-08-01 13:15:00 | 5.682 | 284.767 | 5.988 | 280.191 | 5.768 | 284.4 | 5.934 | 284.567 | 24.673 | 889.167 | 14.821 | 26.1417
2020-08-01 13:30:00 | 6.453 | 293.467 | 6.584 | 286.565 | 6.642 | 291.467 | 6.947 | 289.9 | 25.344 | 889.667 | 14.517 | 23.7592
2020-08-01 13:45:00 | 5.398 | 303.333 | 5.812 | 298.41 | 5.928 | 301.5 | 6.078 | 296.8 | 25.527 | 889.833 | 14.225 | 22.9293
2020-08-01 14:00:00 | 7.518 | 283.013 | 8.112 | 276.833 | 7.979 | 282.033 | 8.252 | 279.3 | 25.848 | 889.5 | 13.659 | 28.5115
2020-08-01 14:15:00 | 5.443 | 305.747 | 5.861 | 292.89 | 6.15 | 292.367 | 6.832 | 290.4 | 25.781 | 889.433 | 14.231 | 31.0574
2020-08-01 14:30:00 | 8.915 | 295.6 | 9.304 | 292.372 | 9.442 | 297.567 | 9.604 | 293.5 | 26.206 | 889.467 | 13.308 | 46.098
2020-08-01 14:45:00 | 6.908 | 312.173 | 7.134 | 301.952 | 7.629 | 305.267 | 7.979 | 303.567 | 26.039 | 889.333 | 13.961 | 44.134
2020-08-01 15:00:00 | 9.01 | 294.493 | 9.922 | 292.105 | 10.153 | 294.433 | 10.496 | 291.367 | 26.61 | 889.133 | 13.927 | 53.7039
2020-08-01 15:15:00 | 8.321 | 305 | 9.053 | 301.555 | 9.364 | 305.033 | 9.2 | 303.533 | 26.668 | 889.333 | 13.787 | 55.7937
2020-08-01 15:30:00 | 8.11 | 304.44 | 8.858 | 295.722 | 9.158 | 297.767 | 9.482 | 292.1 | 26.368 | 889.4 | 13.483 | 59.6968
2020-08-01 15:45:00 | 8.8 | 300.093 | 9.243 | 294.537 | 9.298 | 297.967 | 9.499 | 296.3 | 26.439 | 889.367 | 13.444 | 54.5133
2020-08-01 16:00:00 | 8.141 | 304 | 8.328 | 298.076 | 8.514 | 300.2 | 8.705 | 296.967 | 26.464 | 889.433 | 14.115 | 49.405
2020-08-01 16:15:00 | 8.501 | 293.52 | 9.293 | 287.302 | 9.36 | 290 | 9.51 | 287.667 | 26.623 | 889.333 | 13.517 | 55.8207
2020-08-01 16:30:00 | 9.83 | 316.2 | 10.348 | 309.94 | 10.696 | 312.767 | 11.374 | 311.1 | 26.923 | 889.467 | 13.303 | 63.1246
2020-08-01 16:45:00 | 7.701 | 315.667 | 8.257 | 308.772 | 8.676 | 311.1 | 8.922 | 310.333 | 27.094 | 889.2 | 13.877 | 55.3553
2020-08-01 17:00:00 | 8.66 | 324.36 | 9.091 | 313.086 | 9.224 | 317.567 | 9.701 | 315 | 27.41 | 889.2 | 12.975 | 57.1388
2020-08-01 17:15:00 | 8.154 | 290.113 | 8.976 | 284.018 | 9.245 | 289.833 | 9.547 | 288.033 | 27.394 | 889 | 13.088 | 56.6165
2020-08-01 17:30:00 | 8.346 | 310.533 | 8.682 | 303.148 | 9.038 | 307.467 | 9.512 | 305.233 | 27.16 | 889.533 | 13.033 | 54.3385
2020-08-01 17:45:00 | 8.383 | 306.307 | 8.787 | 302.622 | 8.853 | 307.1 | 9.219 | 306.633 | 27.489 | 889.533 | 12.352 | 47.4794
2020-08-01 18:00:00 | 8.569 | 320.493 | 9.015 | 316.828 | 9.137 | 321.7 | 9.496 | 318.833 | 27.598 | 889.533 | 11.577 | 46.1947
2020-08-01 18:15:00 | 7.497 | 308.667 | 8.039 | 303.933 | 8.104 | 307.833 | 8.57 | 307.667 | 27.844 | 889.367 | 11.595 | 47.9242
2020-08-01 18:30:00 | 7.401 | 299.68 | 8.071 | 295.223 | 8.337 | 301.133 | 8.712 | 297.133 | 27.618 | 889.267 | 12.519 | 37.3609
2020-08-01 18:45:00 | 7.133 | 322.973 | 7.407 | 317.331 | 7.397 | 321.067 | 8.093 | 320.967 | 27.439 | 889.7 | 12.976 | 34.4717
2020-08-01 19:00:00 | 8.339 | 322.573 | 8.642 | 315.781 | 8.854 | 321 | 8.977 | 319.133 | 27.423 | 889.667 | 13.184 | 32.4985
2020-08-01 19:15:00 | 7.26 | 313.333 | 7.449 | 309.234 | 7.573 | 315.333 | 7.707 | 312.733 | 27.414 | 889.367 | 13.489 | 34.8917
2020-08-01 19:30:00 | 6.613 | 301.6 | 7.334 | 297.505 | 7.495 | 303.667 | 7.707 | 304.633 | 27.177 | 889.467 | 13.631 | 31.039
2020-08-01 19:45:00 | 6.475 | 329.093 | 6.948 | 319.501 | 7.121 | 323.7 | 7.344 | 323.367 | 27.373 | 889.8 | 14.149 | 32.1716
2020-08-01 20:00:00 | 6.433 | 321.627 | 6.75 | 316.438 | 6.807 | 320.867 | 7.077 | 320.3 | 26.848 | 889.567 | 14.397 | 27.8293
2020-08-01 20:15:00 | 5.486 | 332.107 | 5.912 | 328.817 | 6.201 | 331.2 | 6.525 | 330.233 | 27.068 | 889.667 | 14.427 | 23.4316
2020-08-01 20:30:00 | 6.632 | 303.96 | 7.041 | 298.475 | 7.132 | 304.267 | 7.488 | 301.6 | 26.781 | 889.533 | 14.997 | 23.6327
2020-08-01 20:45:00 | 5.734 | 303.467 | 6.307 | 300.387 | 6.356 | 306.7 | 6.873 | 305.3 | 26.306 | 889.8 | 15.493 | 16.7743
2020-08-01 21:00:00 | 3.997 | 321.933 | 4.748 | 315.861 | 5.144 | 320 | 5.512 | 320.3 | 25.681 | 889.5 | 16.164 | 17.7976
2020-08-01 21:15:00 | 3.809 | 320.893 | 4.658 | 319.105 | 5.001 | 322.933 | 5.437 | 319.467 | 25.523 | 889.467 | 16.764 | 12.344
2020-08-01 21:30:00 | 3.76 | 301.507 | 4.295 | 300.846 | 4.326 | 303.7 | 4.773 | 303.167 | 24.91 | 889.633 | 17.413 | 7.2066
2020-08-01 21:45:00 | 3.474 | 292.813 | 4.409 | 292.966 | 4.666 | 299.633 | 5.185 | 298.267 | 24.56 | 889.1 | 18.221 | 5.5183
2020-08-01 22:00:00 | 3.235 | 283.133 | 4.085 | 288.522 | 4.21 | 294.3 | 4.736 | 291.733 | 23.931 | 889.5 | 19.341 | 5.1054
2020-08-01 22:15:00 | 3.506 | 254.333 | 4.309 | 266.92 | 4.53 | 277.1 | 4.925 | 277.3 | 23.398 | 889.5 | 20.425 | 4.9292
2020-08-01 22:30:00 | 3.985 | 252.253 | 4.445 | 263.251 | 4.345 | 271.033 | 4.723 | 269.1 | 22.552 | 889.45 | 21.928 | 6.9195
2020-08-01 22:45:00 | 4.322 | 255.693 | 4.956 | 266.61 | 5.089 | 274.8 | 5.342 | 272.533 | 21.968 | 890.067 | 22.867 | 9.1073
2020-08-01 23:00:00 | 4.374 | 261.813 | 5.118 | 273.918 | 5.202 | 281.467 | 5.674 | 280.833 | 21.814 | 889.317 | 23.069 | 10.8887
2020-08-01 23:15:00 | 4.219 | 255.233 | 4.65 | 268.515 | 4.872 | 276.4 | 5.258 | 273.933 | 21.881 | 889.55 | 23.472 | 8.7819
2020-08-01 23:30:00 | 4.284 | 248.14 | 4.892 | 268.949 | 5.07 | 278.1 | 5.414 | 277.967 | 20.935 | 889.783 | 24.267 | 8.7627
2020-08-01 23:45:00 | 4.4 | 241.52 | 4.842 | 261.461 | 4.966 | 274.667 | 5.459 | 276.533 | 20.514 | 889.983 | 24.744 | 8.1495