## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-02 00:00:00 | 4.568 | 240.14 | 5.278 | 258.918 | 5.082 | 273.667 | 5.482 | 277.433 | 20.044 | 889.567 | 25.763 | 9.3411
2020-08-02 00:15:00 | 4.561 | 236.62 | 5.24 | 255.571 | 4.99 | 271.6 | 5.318 | 275.567 | 19.664 | 890.067 | 26.531 | 10.0034
2020-08-02 00:30:00 | 4.819 | 241.047 | 5.236 | 258.285 | 5.065 | 269.267 | 5.375 | 268.967 | 19.156 | 889.983 | 27.059 | 8.9517
2020-08-02 00:45:00 | 5.192 | 256.207 | 5.596 | 270.608 | 5.379 | 278.367 | 5.817 | 277.433 | 19.439 | 889.417 | 26.904 | 9.8833
2020-08-02 01:00:00 | 5.291 | 244.027 | 5.516 | 260.23 | 5.381 | 272.333 | 5.648 | 273.133 | 19.031 | 889.833 | 28.107 | 9.8676
2020-08-02 01:15:00 | 4.925 | 244.727 | 5.349 | 260.028 | 5.055 | 269.8 | 5.286 | 270.433 | 18.727 | 889.617 | 28.931 | 8.8736
2020-08-02 01:30:00 | 5.187 | 244.633 | 5.169 | 264.026 | 4.949 | 274.4 | 5.212 | 276.567 | 18.473 | 889.517 | 29.755 | 6.7248
2020-08-02 01:45:00 | 4.793 | 237.707 | 4.613 | 258.192 | 4.238 | 273.667 | 4.447 | 274.233 | 18.331 | 890.3 | 30.544 | 3.7866
2020-08-02 02:00:00 | 4.583 | 234.707 | 4.824 | 257.589 | 4.265 | 272.733 | 4.238 | 277.333 | 17.706 | 890.217 | 31.573 | 2.3932
2020-08-02 02:15:00 | 4.976 | 241.847 | 4.107 | 261.117 | 3.766 | 276.067 | 3.969 | 278 | 17.614 | 889.967 | 31.944 | 1.9306
2020-08-02 02:30:00 | 5.413 | 227.333 | 3.98 | 251.807 | 3.303 | 268 | 3.624 | 275 | 17.098 | 889.883 | 33.035 | 1.2634
2020-08-02 02:45:00 | 5.309 | 222.187 | 4.591 | 236.918 | 3.494 | 256 | 2.979 | 275 | 16.748 | 889.733 | 34.027 | 0.5848
2020-08-02 03:00:00 | 5.306 | 217.66 | 4.586 | 231.82 | 3.375 | 248.433 | 2.446 | 258.867 | 16.231 | 889.817 | 34.357 | 0.38726
2020-08-02 03:15:00 | 2.913 | 130.963 | 3.022 | 114.56 | 3.058 | 115.833 | 3.297 | 110.633 | 17.918 | 889.533 | 32.288 | 1.1888
2020-08-02 03:30:00 | 2.385 | 138.833 | 1.855 | 126.699 | 1.71 | 128.433 | 2.009 | 117.5 | 19.618 | 889.833 | 28.752 | 0.25154
2020-08-02 03:45:00 | 2.18 | 175.78 | 0.113 | 141.541 | 0.376 | 137.3 | 1.374 | 117 | 19.427 | 889.7 | 28.197 | 0.2487
2020-08-02 04:00:00 | 4.102 | 197.727 | 2.531 | 176.305 | 1.811 | 180.467 | 1.804 | 134.3 | 19.064 | 889.333 | 29.099 | 0.30412
2020-08-02 04:15:00 | 4.748 | 219.46 | 3.685 | 191.214 | 3.174 | 190.067 | 2.921 | 183 | 16.698 | 889.933 | 33.184 | 0.66012
2020-08-02 04:30:00 | 3.554 | 213.493 | 2.451 | 191.551 | 1.941 | 177.2 | 2.128 | 162.9 | 17.068 | 889.933 | 32.48 | 0.20109
2020-08-02 04:45:00 | 4.065 | 219.32 | 2.583 | 201.288 | 2.044 | 183.067 | 2.151 | 161.8 | 17.264 | 889.917 | 33.76 | 0.17125
2020-08-02 05:00:00 | 4.094 | 217.787 | 1.741 | 208.724 | 0.816 | 167.267 | 1.854 | 132.533 | 17.748 | 889.683 | 33.243 | 0.17551
2020-08-02 05:15:00 | 4.711 | 225.62 | 2.004 | 217.621 | 0.337 | 182.067 | 1.293 | 136.033 | 15.956 | 889.9 | 36.677 | 0.19043
2020-08-02 05:30:00 | 5.634 | 225.267 | 3.095 | 224.916 | 1.437 | 213.5 | 1.395 | 162 | 15.414 | 889.833 | 38.181 | 0.16201
2020-08-02 05:45:00 | 5.91 | 224.033 | 3.944 | 224.136 | 2.591 | 226.467 | 1.441 | 182.633 | 15.224 | 889.8 | 39.467 | 0.16627
2020-08-02 06:00:00 | 6.024 | 217.733 | 4.393 | 220.334 | 2.788 | 217.9 | 1.92 | 206 | 14.824 | 889.867 | 39.845 | 0.1748
2020-08-02 06:15:00 | 6.317 | 217.693 | 4.241 | 219.718 | 2.553 | 214.8 | 1.944 | 203.567 | 14.649 | 889.942 | 40.992 | 0.11867
2020-08-02 06:30:00 | 6.379 | 218.027 | 5.168 | 219.576 | 3.321 | 214.667 | 2.458 | 196.033 | 14.258 | 889.675 | 41.909 | 0.12577
2020-08-02 06:45:00 | 6.956 | 218.567 | 5.496 | 221.514 | 3.75 | 218.5 | 2.847 | 205.2 | 14.691 | 890.142 | 40.592 | 1.0779
2020-08-02 07:00:00 | 5.813 | 217.507 | 5.816 | 219.525 | 4.519 | 220.3 | 3.438 | 206.867 | 15.117 | 889.8 | 38.944 | 2.2596
2020-08-02 07:15:00 | 5.117 | 221 | 5.192 | 225.17 | 3.582 | 227.167 | 2.831 | 210.533 | 15.884 | 889.75 | 36.725 | 1.4019
2020-08-02 07:30:00 | 4.559 | 226.32 | 5.525 | 220.058 | 4.693 | 225.567 | 3.252 | 218.433 | 16.964 | 889.367 | 34.677 | 1.5618
2020-08-02 07:45:00 | 2.899 | 206.693 | 4.056 | 213.883 | 3.919 | 221.533 | 2.959 | 221.467 | 18.239 | 889.517 | 31.973 | 0.22028
2020-08-02 08:00:00 | 2.437 | 203.6 | 2.807 | 203.989 | 3.179 | 210.433 | 2.916 | 207.733 | 19.568 | 889.583 | 29.275 | 0.17835
2020-08-02 08:15:00 | 1.988 | 198.153 | 1.9 | 195.914 | 2.19 | 202.4 | 2.081 | 197.967 | 21.198 | 889.733 | 26.411 | 0.19185
2020-08-02 08:30:00 | 1.222 | 185.26 | 0.763 | 192.786 | 0.803 | 188.1 | 1.653 | 176 | 22.198 | 889.583 | 23.787 | 0.16201
2020-08-02 08:45:00 | 1.664 | 129.56 | 1.38 | 124.417 | 1.277 | 131.867 | 1.726 | 141.867 | 21.964 | 890.017 | 23.195 | 0.29489
2020-08-02 09:00:00 | 1.769 | 136.7 | 1.915 | 129.244 | 2.017 | 135.967 | 2.403 | 131.567 | 21.989 | 889.4 | 23.339 | 2.3037
2020-08-02 09:15:00 | 3.335 | 117.667 | 3.393 | 114.132 | 3.348 | 122 | 3.355 | 122.767 | 22.398 | 889.533 | 23.301 | 8.1296
2020-08-02 09:30:00 | 5.323 | 137.967 | 5.712 | 134.078 | 5.488 | 138.033 | 5.516 | 135.433 | 22.348 | 889.617 | 23.685 | 16.903
2020-08-02 09:45:00 | 4.976 | 125.687 | 5.51 | 122.061 | 5.218 | 126.367 | 5.649 | 124.367 | 23.031 | 889.65 | 24.789 | 19.8241
2020-08-02 10:00:00 | 5.322 | 126.64 | 5.678 | 122.97 | 5.824 | 127.733 | 6.035 | 124.7 | 23.148 | 889.6 | 24.955 | 20.0245
2020-08-02 10:15:00 | 5.255 | 121.447 | 5.462 | 117.041 | 5.672 | 122.467 | 5.895 | 120.3 | 23.181 | 889.817 | 24.144 | 16.5413
2020-08-02 10:30:00 | 5.204 | 118.713 | 5.684 | 116.966 | 5.756 | 124.067 | 5.962 | 122.8 | 24.089 | 889.967 | 23.355 | 14.9532
2020-08-02 10:45:00 | 5.849 | 119.717 | 6.228 | 116.401 | 6.179 | 126 | 6.213 | 123.667 | 24.573 | 889.4 | 22.4 | 13.7559
2020-08-02 11:00:00 | 4.319 | 136.433 | 4.72 | 130.708 | 4.951 | 135.3 | 5.236 | 130.6 | 24.464 | 890.017 | 21.579 | 11.1587
2020-08-02 11:15:00 | 3.409 | 137.967 | 3.65 | 132.829 | 3.59 | 133.9 | 3.992 | 128.133 | 24.714 | 889.367 | 20.571 | 9.2978
2020-08-02 11:30:00 | 5.187 | 88.097 | 5.364 | 87.913 | 5.279 | 93.333 | 5.639 | 94.067 | 24.977 | 889.583 | 20.488 | 7.4688
2020-08-02 11:45:00 | 3.225 | 145.133 | 3.145 | 133.291 | 3.216 | 136.633 | 3.852 | 130.867 | 25.26 | 889.5 | 19.579 | 7.9335
2020-08-02 12:00:00 | 3.925 | 94.903 | 4.061 | 91.532 | 4.327 | 95.033 | 4.7 | 96.1 | 25.494 | 889.633 | 19.349 | 6.663
2020-08-02 12:15:00 | 3.419 | 159.753 | 3.421 | 161.306 | 3.74 | 160.933 | 4.122 | 157.433 | 26.173 | 889.7 | 18.445 | 4.4787
2020-08-02 12:30:00 | 3.797 | 80.358 | 4.033 | 76.722 | 4.336 | 77.9 | 4.698 | 73.533 | 26.285 | 889.6 | 18.075 | 3.8186
2020-08-02 12:45:00 | 3.921 | 111.217 | 4.106 | 106.966 | 4.268 | 110.4 | 4.415 | 106.067 | 26.031 | 889.333 | 18.008 | 3.4413
2020-08-02 13:00:00 | 3.73 | 53.257 | 3.839 | 48.914 | 3.856 | 51.8 | 3.828 | 52.233 | 26.377 | 889.167 | 16.563 | 2.5587
2020-08-02 13:15:00 | 2.254 | 38.647 | 2.253 | 110.958 | 2.589 | 114.371 | 2.963 | 55.368 | 26.91 | 889.5 | 16.441 | 1.9015
2020-08-02 13:30:00 | 1.494 | 112.53 | 0.79 | 94.016 | 0.99 | 66.667 | 1.758 | 75.9 | 27.506 | 889.767 | 15.368 | 1.6073
2020-08-02 13:45:00 | 4.37 | 145.207 | 4.485 | 143.528 | 4.438 | 144.533 | 4.61 | 139.133 | 27.589 | 889.233 | 15.707 | 0.82142
2020-08-02 14:00:00 | 3.658 | 82.058 | 3.338 | 73.175 | 3.068 | 85.333 | 2.702 | 86.3 | 28.356 | 889.367 | 15.379 | 0.99692
2020-08-02 14:15:00 | 3.277 | 97.18 | 3.541 | 87.614 | 3.26 | 82.9 | 3.378 | 82.133 | 28.156 | 889.4 | 15.424 | 0.98129
2020-08-02 14:30:00 | 2.825 | 139.09 | 3.044 | 136.662 | 2.88 | 136.767 | 3.493 | 130.2 | 27.918 | 889.567 | 14.341 | 0.57556
2020-08-02 14:45:00 | 2.116 | 173.188 | 1.41 | 218.225 | 1.355 | 170.534 | 1.66 | 180.468 | 28.16 | 889.5 | 13.991 | 0.61322
2020-08-02 15:00:00 | 3.241 | 116.067 | 3.373 | 108.48 | 3.15 | 105.067 | 3.235 | 96.267 | 28.185 | 889.233 | 14.147 | 1.6883
2020-08-02 15:15:00 | 3.64 | 85.327 | 4.072 | 73.827 | 3.967 | 77.633 | 4.186 | 73.267 | 29.348 | 889.767 | 13.603 | 1.738
2020-08-02 15:30:00 | 2.31 | 160.68 | 2.452 | 148.585 | 2.342 | 146.933 | 2.349 | 137.567 | 28.702 | 889.5 | 13.72 | 1.2556
2020-08-02 15:45:00 | 4.869 | 106.773 | 5.118 | 106.827 | 5.122 | 108.867 | 5.244 | 108.333 | 29.681 | 889.533 | 13.304 | 0.95074
2020-08-02 16:00:00 | 3.968 | 72.767 | 3.988 | 68.242 | 4.278 | 69.833 | 4.517 | 65.3 | 28.848 | 889.533 | 13.339 | 0.69209
2020-08-02 16:15:00 | 3.169 | 52.061 | 3.263 | 47.272 | 3.13 | 45 | 3.516 | 55.4 | 29.481 | 889.333 | 13.097 | 0.55993
2020-08-02 16:30:00 | 3.965 | 44.693 | 3.979 | 39.538 | 3.968 | 45.4 | 3.896 | 51.367 | 29.481 | 889.2 | 12.907 | 0.74609
2020-08-02 16:45:00 | 3.226 | 88.407 | 2.979 | 86.068 | 3.473 | 91.7 | 3.714 | 80.533 | 29.764 | 889.2 | 12.472 | 0.6928
2020-08-02 17:00:00 | 2.952 | 71.595 | 3.321 | 75.196 | 3.558 | 80.8 | 4.062 | 73.867 | 29.906 | 889.7 | 11.421 | 0.17054
2020-08-02 17:15:00 | 3.631 | 76.613 | 3.757 | 70.221 | 3.487 | 76.167 | 3.583 | 69.5 | 30.377 | 889.533 | 10.917 | 0.15064
2020-08-02 17:30:00 | 1.147 | 218.66 | 0.478 | 111.044 | 0.544 | 115.523 | 1.273 | 107.133 | 30.244 | 889.367 | 10.56 | 0.17622
2020-08-02 17:45:00 | 3.129 | 118.177 | 3.1 | 111.167 | 2.798 | 114 | 3.072 | 102.933 | 30.91 | 889.133 | 9.875 | 0.1613
2020-08-02 18:00:00 | 2.281 | 88.16 | 2.04 | 85.488 | 1.919 | 87.833 | 2.21 | 69.033 | 30.214 | 889.6 | 10.587 | 0.10658
2020-08-02 18:15:00 | 2.561 | 59.536 | 2.462 | 64.412 | 2.585 | 46 | 2.912 | 50.733 | 30.764 | 889 | 9.793 | 0.14638
2020-08-02 18:30:00 | 2.367 | 62.662 | 2.106 | 118.407 | 1.886 | 27.733 | 2.261 | 16.433 | 30.327 | 889.233 | 10.329 | 0.16627
2020-08-02 18:45:00 | 4.358 | 35.947 | 4.508 | 33.31 | 4.939 | 38.5 | 5.159 | 36.067 | 30.239 | 889.433 | 10.571 | 0.56916
2020-08-02 19:00:00 | 2.961 | 66.223 | 2.737 | 55.098 | 2.556 | 54.8 | 2.473 | 52.9 | 30.256 | 889.667 | 10.584 | 0.2288
2020-08-02 19:15:00 | 0.153 | 71.965 | 0.057 | 202.993 | 0.093 | 29.067 | 0.856 | 51.1 | 30.731 | 889.6 | 10.441 | 0.26859
2020-08-02 19:30:00 | 0.43 | 15.715 | 0.15 | 33.642 | 0.263 | 27.2 | 1.222 | 42.633 | 31.052 | 888.867 | 9.913 | 0.26717
2020-08-02 19:45:00 | 1.552 | 107.593 | 1.184 | 106.097 | 1.271 | 109.767 | 1.851 | 100.067 | 29.989 | 889.633 | 10.555 | 0.2217
2020-08-02 20:00:00 | 1.214 | 175.241 | 1.242 | 152.72 | 1.137 | 123.4 | 1.848 | 222.067 | 30.581 | 889.5 | 10.397 | 0.18048
2020-08-02 20:15:00 | 2.791 | 19.427 | 2.606 | 18.857 | 2.614 | 24.4 | 2.996 | 21.4 | 29.598 | 889.533 | 11.293 | 0.3297
2020-08-02 20:30:00 | 3.461 | 51.64 | 3.293 | 46.903 | 3.143 | 51.067 | 3.596 | 47.167 | 29.381 | 889.567 | 11.877 | 0.81005
2020-08-02 20:45:00 | 3.394 | 71.147 | 3.447 | 66.161 | 3.397 | 67.9 | 3.686 | 63.2 | 29.064 | 889.467 | 12.392 | 0.98484
2020-08-02 21:00:00 | 3.043 | 58.487 | 2.889 | 49.947 | 3.238 | 50.6 | 3.804 | 46.4 | 28.502 | 889.833 | 13.315 | 1.9882
2020-08-02 21:15:00 | 2.9 | 62.562 | 2.573 | 57.399 | 2.424 | 56.633 | 2.671 | 55.967 | 28.244 | 889.967 | 14.064 | 3.145
2020-08-02 21:30:00 | 3.217 | 61.752 | 3.566 | 58.029 | 3.042 | 56.867 | 3.12 | 55.433 | 27.485 | 889.367 | 14.437 | 3.3318
2020-08-02 21:45:00 | 2.696 | 57.278 | 3.128 | 51.152 | 3.285 | 51.667 | 3.804 | 47.2 | 26.968 | 889.467 | 14.781 | 2.563
2020-08-02 22:00:00 | 2.167 | 49.175 | 3.734 | 43.918 | 3.864 | 47.767 | 3.955 | 45.767 | 26.394 | 889.567 | 15.392 | 2.595
2020-08-02 22:15:00 | 1.997 | 61.082 | 3.608 | 45.265 | 4.166 | 45.633 | 4.342 | 41.067 | 26.318 | 889.667 | 15.691 | 2.067
2020-08-02 22:30:00 | 1.769 | 58.25 | 2.134 | 47.243 | 1.798 | 56 | 2.122 | 48.533 | 26.206 | 889.4 | 15.792 | 1.4552
2020-08-02 22:45:00 | 1.143 | 51.062 | 2.952 | 42.516 | 3.306 | 47.933 | 3.797 | 45.067 | 25.81 | 889.233 | 15.888 | 0.46613
2020-08-02 23:00:00 | 0.18 | 55.128 | 1.23 | 41.701 | 2.578 | 47.367 | 3.11 | 44.333 | 25.794 | 888.933 | 16.219 | 0.21814
2020-08-02 23:15:00 | 1.074 | 173.98 | 0.027 | 35.124 | 1.29 | 36.133 | 2.505 | 42.2 | 24.752 | 889.667 | 17.053 | 0.3226
2020-08-02 23:30:00 | 1.393 | 234.887 | 0 | 34.104 | 0 | 30 | 1.553 | 23.933 | 24.381 | 889.4 | 17.187 | 0.22596
2020-08-02 23:45:00 | 1.936 | 228.18 | 0 | 34.123 | 0 | 30 | 1.701 | 24 | 24.589 | 889.667 | 17.4 | 0.19185