## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-03 00:00:00 | 3.94 | 228.78 | 1.797 | 224.58 | 0 | 163.467 | 0 | 24.029 | 23.818 | 889.75 | 19.613 | 0.17196
2020-08-03 00:15:00 | 3.719 | 235.16 | 2.104 | 231.494 | 0.62 | 292.333 | 0 | 24.059 | 22.398 | 889.767 | 19.885 | 0.17338
2020-08-03 00:30:00 | 4.919 | 261.36 | 5.079 | 276.196 | 4.831 | 290.733 | 5.085 | 297.667 | 23.623 | 889.5 | 19.62 | 0.49882
2020-08-03 00:45:00 | 3.952 | 251.993 | 3.277 | 285.646 | 2.597 | 314 | 2.983 | 322 | 21.452 | 889.533 | 22.072 | 0.60611
2020-08-03 01:00:00 | 4.46 | 241.5 | 3.318 | 268.4 | 2.659 | 288.067 | 2.685 | 306.4 | 21.31 | 889.75 | 23.011 | 0.2558
2020-08-03 01:15:00 | 5.419 | 221.853 | 3.709 | 250.535 | 2.597 | 273.533 | 2.816 | 288.633 | 20.568 | 889.617 | 24.907 | 0.15988
2020-08-03 01:30:00 | 5.375 | 225.38 | 3.854 | 247.465 | 2.706 | 260 | 2.868 | 279 | 20.248 | 889.767 | 25.467 | 0.2558
2020-08-03 01:45:00 | 5.42 | 226.647 | 4.457 | 246.42 | 3.515 | 260.133 | 3.3 | 278.3 | 20.006 | 889.583 | 26.112 | 1.1795
2020-08-03 02:00:00 | 5.757 | 230.94 | 4.825 | 247.45 | 4.193 | 257.9 | 3.888 | 266.133 | 19.702 | 889.717 | 26.955 | 2.6795
2020-08-03 02:15:00 | 4.949 | 221.14 | 4.816 | 244.227 | 3.818 | 256.033 | 3.626 | 264.933 | 19.398 | 889.917 | 27.781 | 2.4912
2020-08-03 02:30:00 | 5.007 | 223.187 | 4.508 | 243.55 | 3.776 | 255.8 | 3.539 | 260.933 | 19.189 | 889.817 | 28.448 | 2.244
2020-08-03 02:45:00 | 5.292 | 223.267 | 4.552 | 240.027 | 3.728 | 251 | 3.401 | 256.067 | 18.977 | 889.767 | 29.088 | 2.5602
2020-08-03 03:00:00 | 5.507 | 214.887 | 5.162 | 230.779 | 4.078 | 242.4 | 3.505 | 247.5 | 19.035 | 889.917 | 29.296 | 3.037
2020-08-03 03:15:00 | 5.447 | 216.82 | 5.364 | 227.109 | 4.523 | 235.433 | 3.452 | 230.4 | 18.881 | 889.55 | 29.947 | 3.0156
2020-08-03 03:30:00 | 4.915 | 216.24 | 4.792 | 231.745 | 4.216 | 237.967 | 3.798 | 231.6 | 19.077 | 890.15 | 30.235 | 3.1734
2020-08-03 03:45:00 | 5.526 | 218.447 | 4.928 | 230.862 | 4.382 | 238 | 3.905 | 234.633 | 18.835 | 889.7 | 30.843 | 3.3709
2020-08-03 04:00:00 | 5.462 | 216.053 | 5.612 | 230.845 | 4.771 | 239.967 | 4.15 | 234.567 | 18.344 | 890 | 31.845 | 3.9998
2020-08-03 04:15:00 | 5.65 | 222.587 | 5.486 | 237.77 | 4.773 | 244.7 | 4.218 | 242.167 | 18.068 | 890.017 | 32.405 | 4.9725
2020-08-03 04:30:00 | 6.246 | 216.733 | 6.701 | 222.739 | 6.163 | 232.867 | 5.456 | 231.867 | 17.96 | 889.617 | 32.741 | 7.429
2020-08-03 04:45:00 | 5.665 | 220.833 | 5.597 | 227.703 | 5.13 | 234.633 | 4.614 | 232.967 | 18.639 | 889.617 | 32.096 | 5.5524
2020-08-03 05:00:00 | 6.006 | 217.147 | 6.468 | 221.01 | 5.704 | 230.3 | 5.118 | 228.633 | 18.448 | 889.617 | 32.331 | 6.7475
2020-08-03 05:15:00 | 5.732 | 218.133 | 6.242 | 224.08 | 5.876 | 232.433 | 5.49 | 230.5 | 18.556 | 889.617 | 32.027 | 8.5225
2020-08-03 05:30:00 | 4.628 | 209.107 | 6.752 | 219.314 | 5.952 | 227.067 | 5.374 | 227.267 | 18.198 | 889.917 | 31.872 | 8.141
2020-08-03 05:45:00 | 4.591 | 188.447 | 4.919 | 197.483 | 6.561 | 221.133 | 5.615 | 224.5 | 17.818 | 889.65 | 32.315 | 6.4328
2020-08-03 06:00:00 | 5.054 | 186.6 | 5.558 | 195.711 | 6.242 | 211.3 | 5.529 | 214.467 | 18.352 | 889.917 | 31.909 | 7.2627
2020-08-03 06:15:00 | 5.926 | 198.153 | 5.828 | 202.937 | 5.912 | 208.733 | 5.718 | 206.033 | 18.139 | 889.55 | 32.16 | 7.3139
2020-08-03 06:30:00 | 5.554 | 203.533 | 5.898 | 206.534 | 5.772 | 211.3 | 5.561 | 208.467 | 17.977 | 890 | 31.968 | 6.005
2020-08-03 06:45:00 | 3.778 | 211.9 | 6.03 | 213.364 | 5.231 | 224.033 | 4.786 | 220 | 17.881 | 889.5 | 32.581 | 5.4294
2020-08-03 07:00:00 | 4.658 | 213.707 | 5.485 | 221.118 | 5.132 | 230.333 | 4.996 | 227.967 | 18.06 | 889.8 | 31.371 | 6.5138
2020-08-03 07:15:00 | 4.405 | 216.493 | 5.583 | 227.096 | 5.211 | 237.767 | 4.893 | 234.767 | 18.777 | 889.383 | 30.261 | 7.9754
2020-08-03 07:30:00 | 3.548 | 220.073 | 5.278 | 229.443 | 5.218 | 239.467 | 4.871 | 235.833 | 19.618 | 890.05 | 28.32 | 9.6417
2020-08-03 07:45:00 | 3.984 | 225.28 | 5.225 | 229.81 | 4.937 | 241.567 | 4.56 | 239.067 | 21.114 | 889.367 | 25.947 | 9.3241
2020-08-03 08:00:00 | 3.958 | 221.46 | 4.93 | 226.341 | 5.001 | 237.567 | 4.725 | 235.9 | 21.652 | 889.6 | 24.779 | 9.0476
2020-08-03 08:15:00 | 4.1 | 228.86 | 4.899 | 228.092 | 4.991 | 236.8 | 4.759 | 235.9 | 22.914 | 889.833 | 22.896 | 10.7956
2020-08-03 08:30:00 | 4.236 | 222.46 | 4.204 | 221.399 | 4.576 | 227.7 | 4.773 | 225.4 | 24.194 | 889.65 | 20.848 | 9.663
2020-08-03 08:45:00 | 3.756 | 232.693 | 3.834 | 230.626 | 4.069 | 234.933 | 4.12 | 228.033 | 25.26 | 889.467 | 20.056 | 6.761
2020-08-03 09:00:00 | 3.793 | 240.22 | 3.72 | 234.648 | 3.761 | 237.633 | 4.001 | 231.233 | 25.723 | 889.2 | 19.504 | 4.4965
2020-08-03 09:15:00 | 3.494 | 216.207 | 3.48 | 214.316 | 3.664 | 215.867 | 3.775 | 214.6 | 26.202 | 889.533 | 19.085 | 4.5675
2020-08-03 09:30:00 | 3.111 | 218.453 | 3.177 | 217.15 | 3.351 | 223.533 | 3.626 | 218.8 | 26.814 | 889.167 | 18.608 | 3.0753
2020-08-03 09:45:00 | 2.586 | 235.847 | 2.545 | 231.218 | 2.556 | 239.067 | 3.034 | 235.633 | 27.21 | 889.533 | 17.653 | 0.8875
2020-08-03 10:00:00 | 2.467 | 261.227 | 2.008 | 256.624 | 2.036 | 267.467 | 2.327 | 265.917 | 28.114 | 889.5 | 16.535 | 0.16911
2020-08-03 10:15:00 | 1.322 | 242.22 | 1.32 | 242.358 | 1.596 | 251.967 | 2.142 | 247.967 | 28.164 | 889.6 | 16.132 | 0.29418
2020-08-03 10:30:00 | 2.539 | 317.84 | 2.598 | 309.587 | 2.49 | 309.2 | 2.876 | 305.433 | 28.618 | 889.767 | 14.951 | 0.22028
2020-08-03 10:45:00 | 1.42 | 296.093 | 1.102 | 295.34 | 1.367 | 291.933 | 2.23 | 283.833 | 28.964 | 889.567 | 14.223 | 0.18191
2020-08-03 11:00:00 | 2.137 | 275.327 | 1.873 | 292.849 | 2.01 | 298.733 | 2.457 | 300.3 | 28.827 | 889.367 | 13.725 | 0.13643
2020-08-03 11:15:00 | 1.512 | 258.107 | 0.593 | 264.764 | 0.679 | 251.667 | 1.296 | 227.533 | 30.252 | 889.367 | 13.421 | 0.098058
2020-08-03 11:30:00 | 1.959 | 195.475 | 1.908 | 166.628 | 2.142 | 177.033 | 2.638 | 207.233 | 28.86 | 889.367 | 13.556 | 0.20109
2020-08-03 11:45:00 | 0.862 | 39.517 | 0.583 | 33.747 | 0.462 | 28.267 | 0.863 | 10.467 | 28.618 | 889.733 | 13.784 | 0.081715
2020-08-03 12:00:00 | 1.42 | 226.467 | 0.863 | 238.599 | 0.95 | 239.85 | 1.808 | 245.383 | 29.881 | 889.633 | 13.507 | 0.10374
2020-08-03 12:15:00 | 2.104 | 144.2 | 2.077 | 117.416 | 1.913 | 108.4 | 2.648 | 132.233 | 29.064 | 889.7 | 13.497 | 0.11653
2020-08-03 12:30:00 | 2.682 | 43.867 | 2.899 | 33.459 | 3.112 | 37.267 | 3.394 | 35.6 | 28.344 | 889.733 | 14.259 | 0.11014
2020-08-03 12:45:00 | 2.476 | 37.467 | 2.148 | 23.925 | 1.963 | 28.167 | 2.209 | 30.567 | 29.048 | 890.067 | 14.061 | 0.14353
2020-08-03 13:00:00 | 2.31 | 64.325 | 2.253 | 59.175 | 2.642 | 54.967 | 2.94 | 55.9 | 28.523 | 889.833 | 13.875 | 0.11227
2020-08-03 13:15:00 | 2.753 | 41.48 | 2.757 | 35.239 | 2.832 | 36.767 | 3.414 | 36.567 | 29.031 | 889.5 | 13.944 | 0.14496
2020-08-03 13:30:00 | 3.592 | 43.667 | 3.699 | 41.339 | 3.603 | 46.167 | 3.787 | 42.833 | 29.148 | 889.333 | 15.589 | 0.60114
2020-08-03 13:45:00 | 3.626 | 56.732 | 3.639 | 45.216 | 3.641 | 27.2 | 3.796 | 17.167 | 28.581 | 889.033 | 15.824 | 0.5045
2020-08-03 14:00:00 | 3.99 | 128.527 | 4.53 | 138.613 | 4.641 | 60.567 | 4.725 | 70.567 | 28.727 | 889.2 | 15.628 | 4.8532
2020-08-03 14:15:00 | 4.358 | 91.368 | 4.541 | 108.433 | 4.548 | 38.968 | 4.875 | 37.067 | 28.639 | 889.333 | 15.669 | 5.9169
2020-08-03 14:30:00 | 4.168 | 32.238 | 4.089 | 19.583 | 4.455 | 25.567 | 5.073 | 29.3 | 29.381 | 889.6 | 15.019 | 7.8567
2020-08-03 14:45:00 | 4.528 | 37.507 | 4.504 | 31.186 | 4.725 | 37.4 | 4.772 | 34.133 | 29.264 | 889.9 | 14.891 | 4.1028
2020-08-03 15:00:00 | 4.044 | 212.867 | 3.941 | 279.64 | 3.964 | 214.867 | 3.986 | 238.733 | 29.273 | 889.4 | 15.26 | 4.23
2020-08-03 15:15:00 | 5.035 | 91.367 | 5.204 | 128.586 | 5.355 | 23.367 | 5.703 | 9.733 | 29.098 | 889.367 | 15.457 | 8.1239
2020-08-03 15:30:00 | 6.162 | 31.074 | 5.787 | 23.41 | 6.006 | 24.467 | 6.037 | 19.567 | 28.806 | 889.8 | 15.477 | 9.9366
2020-08-03 15:45:00 | 4.142 | 63.167 | 4.203 | 33.048 | 4.284 | 35.933 | 4.528 | 32 | 29.164 | 889.6 | 15.803 | 11.7847
2020-08-03 16:00:00 | 6.342 | 143.174 | 6.467 | 177.571 | 6.759 | 99.301 | 6.543 | 120.933 | 28.798 | 889.533 | 16.612 | 13.5128
2020-08-03 16:15:00 | 5.798 | 300.107 | 6.141 | 333.006 | 6.32 | 302.867 | 6.514 | 316.833 | 28.348 | 889.8 | 17.115 | 9.1372
2020-08-03 16:30:00 | 4.801 | 80.86 | 5.26 | 211.306 | 5.385 | 131.1 | 5.284 | 116.9 | 28.448 | 889.3 | 17.157 | 8.6511
2020-08-03 16:45:00 | 3.942 | 28.452 | 4.168 | 62.82 | 4.296 | 34.533 | 4.54 | 30.433 | 28.256 | 889.3 | 16.737 | 8.5971
2020-08-03 17:00:00 | 4.628 | 175.6 | 4.984 | 246.288 | 4.764 | 128.234 | 4.965 | 176.934 | 28.823 | 889.333 | 15.211 | 6.3155
2020-08-03 17:15:00 | 3.907 | 32.58 | 4.238 | 107.501 | 4.741 | 49.467 | 4.798 | 60.9 | 28.964 | 889.467 | 14.811 | 4.7558
2020-08-03 17:30:00 | 4.613 | 163.3 | 4.712 | 174.728 | 4.924 | 83.134 | 5.082 | 72.301 | 28.981 | 889.933 | 14.673 | 5.3342
2020-08-03 17:45:00 | 5.175 | 91.56 | 5.27 | 224.824 | 5.116 | 106.233 | 4.938 | 61.933 | 28.464 | 889.733 | 15.105 | 6.5926
2020-08-03 18:00:00 | 4.56 | 35.774 | 4.911 | 30.54 | 5.011 | 28 | 5.246 | 24.8 | 28.606 | 889.567 | 15.021 | 7.4347
2020-08-03 18:15:00 | 5.088 | 25.947 | 4.946 | 21.702 | 4.885 | 26.567 | 5.434 | 20.633 | 28.46 | 889.4 | 15.171 | 6.5969
2020-08-03 18:30:00 | 4.706 | 20.177 | 4.574 | 16.478 | 4.68 | 22.133 | 4.769 | 19.233 | 28.327 | 889.8 | 15.952 | 6.8015
2020-08-03 18:45:00 | 4.78 | 12.745 | 4.637 | 8.426 | 4.785 | 12.467 | 4.812 | 9.7 | 27.877 | 889.367 | 16.603 | 9.8925
2020-08-03 19:00:00 | 5.224 | 11.944 | 4.912 | 7.827 | 5.224 | 9.7 | 5.114 | 8.333 | 27.873 | 889.333 | 17.072 | 9.9096
2020-08-03 19:15:00 | 4.471 | 51.511 | 5.047 | 117.884 | 4.97 | 59.4 | 5.016 | 36.9 | 27.973 | 889.567 | 17.311 | 8.9382
2020-08-03 19:30:00 | 6.81 | 32.261 | 6.934 | 28.567 | 7.201 | 31.333 | 7.479 | 28.2 | 27.944 | 889.367 | 17.317 | 23.8125
2020-08-03 19:45:00 | 5.14 | 4.905 | 5.619 | 37.265 | 5.67 | 5.067 | 5.509 | 4.367 | 27.66 | 889.333 | 17.661 | 15.6104
2020-08-03 20:00:00 | 4.695 | 13.411 | 4.624 | 9.197 | 4.677 | 14.733 | 4.978 | 14 | 27.844 | 889.333 | 17.499 | 6.0789
2020-08-03 20:15:00 | 4.059 | 89.347 | 4.406 | 272.098 | 4.164 | 82.667 | 4.364 | 59.633 | 27.573 | 889.667 | 17.493 | 2.1353
2020-08-03 20:30:00 | 3.281 | 129.987 | 3.62 | 331.897 | 3.627 | 59.1 | 3.889 | 47.8 | 27.918 | 889.7 | 17.817 | 1.3991
2020-08-03 20:45:00 | 2.669 | 0.801 | 3.276 | 11.814 | 2.986 | 0 | 3.598 | 0 | 27.323 | 889.667 | 18.103 | 0.44339
2020-08-03 21:00:00 | 2.671 | 352.2 | 3.66 | 348.986 | 3.443 | 355.6 | 3.779 | 356.6 | 27.06 | 889.5 | 18.971 | 0.14851
2020-08-03 21:15:00 | 2.03 | 352.28 | 2.713 | 350.809 | 3.083 | 355.5 | 3.531 | 356.533 | 26.581 | 889.467 | 19.373 | 1.9683
2020-08-03 21:30:00 | 3.047 | 347.627 | 3.981 | 348.351 | 4.117 | 342.533 | 4.362 | 356.133 | 26.164 | 889.267 | 19.805 | 4.1433
2020-08-03 21:45:00 | 2.623 | 332.44 | 3.778 | 333.202 | 3.958 | 339.8 | 4.377 | 343.667 | 26.16 | 889.1 | 20.315 | 4.7722
2020-08-03 22:00:00 | 2.189 | 348.973 | 3.463 | 345.606 | 3.559 | 352.567 | 4.032 | 353.733 | 25.739 | 889.933 | 21.275 | 2.4635
2020-08-03 22:15:00 | 2.16 | 335.307 | 2.93 | 338.996 | 3.28 | 349.6 | 3.798 | 350.767 | 25.773 | 889.75 | 22.077 | 0.93439
2020-08-03 22:30:00 | 0.607 | 305.013 | 1.559 | 332.258 | 1.96 | 343.267 | 2.798 | 344.6 | 25.814 | 889.8 | 22.061 | 0.19256
2020-08-03 22:45:00 | 0 | 305.2 | 0.468 | 356.951 | 1.498 | 356.733 | 2.36 | 352.133 | 25.089 | 889.65 | 22.757 | 0.31265
2020-08-03 23:00:00 | 1.37 | 303.093 | 1.753 | 341.817 | 2.19 | 348.2 | 2.772 | 352.033 | 24.573 | 889.6 | 23.229 | 0.21672
2020-08-03 23:15:00 | 2.384 | 289.2 | 2.395 | 327.062 | 2.293 | 330.067 | 2.908 | 340.833 | 24.873 | 889.717 | 22.901 | 0.18759
2020-08-03 23:30:00 | 1.65 | 289.213 | 1.45 | 327.055 | 1.683 | 330.133 | 2.249 | 341 | 25.052 | 889.75 | 23.12 | 0.22738
2020-08-03 23:45:00 | 1.152 | 278.733 | 0 | 327.168 | 0.204 | 340.433 | 2.041 | 355.033 | 25.023 | 890.183 | 23.365 | 0.18333