## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-04 00:00:00 | 1.271 | 255.673 | 0 | 327.126 | 0 | 340.067 | 1.708 | 354.967 | 24.577 | 889.533 | 23.733 | 0.17338
2020-08-04 00:15:00 | 2.63 | 194.847 | 0.213 | 326.978 | 0 | 357.933 | 1.509 | 0 | 24.864 | 890.05 | 23.691 | 0.17764
2020-08-04 00:30:00 | 4.046 | 178.34 | 4.097 | 167.293 | 3.12 | 168.8 | 2.771 | 153.567 | 23.918 | 889.583 | 25.941 | 0.1883
2020-08-04 00:45:00 | 3.005 | 176.34 | 2.618 | 159.342 | 2.152 | 156.467 | 2.1 | 142.767 | 23.864 | 889.75 | 25.605 | 0.078873
2020-08-04 01:00:00 | 3.489 | 189.42 | 2.299 | 164.49 | 1.737 | 164.367 | 2.062 | 157.8 | 23.464 | 889.55 | 26.192 | 0.38726
2020-08-04 01:15:00 | 3.284 | 185.02 | 2.57 | 160.661 | 2.059 | 159.8 | 2.408 | 148.1 | 24.098 | 889.833 | 26.005 | 0.35813
2020-08-04 01:30:00 | 2.997 | 174.613 | 3.249 | 151.363 | 2.651 | 144.1 | 2.469 | 142.467 | 24.035 | 890.183 | 26.267 | 0.16059
2020-08-04 01:45:00 | 3.068 | 184.767 | 2.256 | 161.303 | 1.338 | 162.267 | 1.552 | 161 | 23.348 | 889.533 | 27.136 | 0.14353
2020-08-04 02:00:00 | 3.236 | 159.9 | 2.918 | 138.826 | 2.72 | 131.667 | 3.018 | 130.667 | 23.856 | 889.617 | 27.045 | 0.17196
2020-08-04 02:15:00 | 3.055 | 201.6 | 2.119 | 168.424 | 1.423 | 165.8 | 1.68 | 150.2 | 24.139 | 889.85 | 26.693 | 0.13785
2020-08-04 02:30:00 | 4.241 | 222.873 | 3.425 | 191.221 | 2.925 | 189.333 | 2.831 | 176.6 | 22.881 | 889.683 | 28.715 | 0.12151
2020-08-04 02:45:00 | 3.335 | 242 | 3.368 | 209.963 | 2.426 | 208.267 | 2.464 | 191.6 | 21.752 | 889.833 | 30.405 | 0.20677
2020-08-04 03:00:00 | 4.292 | 236.34 | 3.431 | 224.795 | 2.182 | 212.967 | 2.033 | 197 | 21.323 | 889.717 | 30.944 | 0.19896
2020-08-04 03:15:00 | 3.813 | 238.4 | 2.781 | 228.659 | 1.669 | 219.95 | 1.263 | 198.9 | 21.402 | 889.783 | 31.317 | 0.17196
2020-08-04 03:30:00 | 4.954 | 246.42 | 4.671 | 253.223 | 3.687 | 255.567 | 3.186 | 250.05 | 20.364 | 889.633 | 32.528 | 0.29489
2020-08-04 03:45:00 | 4.191 | 275.64 | 4.5 | 282.292 | 4.476 | 290.3 | 4.778 | 289.5 | 21.027 | 889.767 | 30.979 | 3.4981
2020-08-04 04:00:00 | 4.261 | 268.32 | 3.826 | 288.448 | 3.62 | 300.433 | 3.762 | 298 | 21.673 | 889.883 | 29.6 | 3.2061
2020-08-04 04:15:00 | 3.978 | 259.813 | 3.201 | 280.831 | 2.794 | 304.367 | 3.34 | 306.433 | 21.239 | 889.95 | 29.995 | 0.82639
2020-08-04 04:30:00 | 4.292 | 250.06 | 3.635 | 272.935 | 3.358 | 282.733 | 3.726 | 289.1 | 20.918 | 889.517 | 30.341 | 0.89034
2020-08-04 04:45:00 | 4.015 | 250.273 | 3.727 | 271.285 | 3.622 | 282 | 3.919 | 289 | 20.86 | 889.983 | 31.317 | 1.7309
2020-08-04 05:00:00 | 4.433 | 252.827 | 3.911 | 272.836 | 3.772 | 283.667 | 4.055 | 289.033 | 20.764 | 889.917 | 31.389 | 3.2246
2020-08-04 05:15:00 | 4.432 | 251.847 | 3.825 | 269.566 | 3.56 | 282.067 | 3.805 | 288.1 | 21.064 | 889.717 | 31.504 | 1.8411
2020-08-04 05:30:00 | 4.217 | 245.653 | 3.369 | 263.192 | 3.129 | 278 | 3.34 | 288.3 | 20.923 | 889.767 | 31.541 | 0.55851
2020-08-04 05:45:00 | 4.361 | 219.92 | 2.937 | 247.811 | 2.045 | 270.733 | 2.177 | 288.5 | 20.344 | 889.533 | 32.613 | 0.22312
2020-08-04 06:00:00 | 5.144 | 229.5 | 5.438 | 242.28 | 4.61 | 253.4 | 3.96 | 262.533 | 19.364 | 890.083 | 33.776 | 2.698
2020-08-04 06:15:00 | 4.95 | 229.92 | 4.629 | 236.636 | 4.214 | 244.567 | 3.864 | 245.033 | 19.439 | 889.5 | 33.797 | 2.9879
2020-08-04 06:30:00 | 4.832 | 215.733 | 4.424 | 227.144 | 4.075 | 233.6 | 3.649 | 230.667 | 19.435 | 889.95 | 34.08 | 2.2696
2020-08-04 06:45:00 | 5.532 | 217.713 | 5.233 | 223.33 | 4.67 | 229.9 | 4.16 | 229.4 | 19.41 | 889.533 | 35.077 | 4.2037
2020-08-04 07:00:00 | 5.276 | 221.68 | 5.694 | 223.727 | 5.053 | 231.267 | 4.63 | 229.233 | 19.294 | 889.533 | 35.019 | 6.0945
2020-08-04 07:15:00 | 4.792 | 222.26 | 5.284 | 221.779 | 4.698 | 228.367 | 4.269 | 228 | 19.744 | 889.683 | 34.091 | 5.438
2020-08-04 07:30:00 | 4.956 | 221.853 | 5.966 | 222.261 | 5.278 | 228.8 | 4.757 | 228.8 | 19.698 | 889.733 | 32.96 | 7.9434
2020-08-04 07:45:00 | 4.901 | 224.207 | 6.202 | 224.258 | 5.84 | 230.133 | 5.572 | 228.533 | 20.252 | 889.717 | 32.053 | 9.4804
2020-08-04 08:00:00 | 4.401 | 222.233 | 5.661 | 224.048 | 5.474 | 231.5 | 5.313 | 229.667 | 20.831 | 889.85 | 30.747 | 7.6393
2020-08-04 08:15:00 | 4.347 | 217.887 | 5.473 | 218.372 | 5.778 | 223.733 | 5.06 | 222.9 | 21.556 | 889.883 | 29.072 | 6.6424
2020-08-04 08:30:00 | 4.195 | 222.313 | 4.699 | 218.846 | 5.594 | 221.6 | 5.31 | 219.267 | 22.531 | 889.65 | 27.349 | 5.9524
2020-08-04 08:45:00 | 3.849 | 228.627 | 3.928 | 225.452 | 4.294 | 227.967 | 4.542 | 223.7 | 23.314 | 889.85 | 26.496 | 4.6841
2020-08-04 09:00:00 | 3.683 | 231.967 | 3.689 | 225.757 | 3.898 | 229.967 | 4.293 | 225.533 | 23.673 | 890 | 25.237 | 4.6791
2020-08-04 09:15:00 | 3.694 | 226.133 | 3.664 | 223.251 | 3.704 | 228.4 | 3.854 | 226 | 24.173 | 889.867 | 24.288 | 3.4555
2020-08-04 09:30:00 | 3.496 | 243.427 | 3.479 | 242.307 | 3.706 | 244.65 | 3.876 | 240.733 | 26.585 | 889.817 | 21.987 | 2.148
2020-08-04 09:45:00 | 2.903 | 267.22 | 2.954 | 264.653 | 3.017 | 267.133 | 3.406 | 264.633 | 25.873 | 889.7 | 22.077 | 1.0651
2020-08-04 10:00:00 | 3.073 | 279.627 | 2.954 | 277.3 | 2.801 | 275.467 | 2.977 | 273.467 | 25.91 | 889.817 | 21.867 | 0.41568
2020-08-04 10:15:00 | 2.28 | 256.513 | 2.293 | 259.968 | 2.358 | 266.867 | 2.794 | 257.65 | 27.018 | 890.083 | 21.069 | 0.18688
2020-08-04 10:30:00 | 1.325 | 261.033 | 1.256 | 261.527 | 1.24 | 266.4 | 1.91 | 265.583 | 28.727 | 889.267 | 19.248 | 0.28494
2020-08-04 10:45:00 | 1.383 | 271.614 | 1.003 | 300.245 | 1.173 | 289.267 | 1.825 | 291.9 | 27.781 | 889.333 | 19.255 | 0.21175
2020-08-04 11:00:00 | 2.492 | 153.322 | 2.571 | 221.821 | 1.996 | 190.5 | 2.042 | 178.567 | 28.464 | 889.467 | 18.968 | 0.18972
2020-08-04 11:15:00 | 1.624 | 64.6 | 0.343 | 65.275 | 0.113 | 141.2 | 0.823 | 121.171 | 28.848 | 889.667 | 18.397 | 0.17338
2020-08-04 11:30:00 | 1.56 | 52.538 | 0.973 | 145.724 | 0.61 | 124.233 | 1.021 | 13.6 | 29.531 | 889.5 | 17.48 | 0.16201
2020-08-04 11:45:00 | 2.623 | 47.311 | 2.557 | 51.799 | 2.57 | 58.767 | 2.61 | 52.7 | 29.685 | 889.6 | 17.515 | 0.088821
2020-08-04 12:00:00 | 2.799 | 149.953 | 2.801 | 129.584 | 2.592 | 127.767 | 2.689 | 118.4 | 29.464 | 889.8 | 17.272 | 0.14709
2020-08-04 12:15:00 | 1.552 | 164.513 | 0.716 | 147.74 | 0.133 | 184.633 | 1.247 | 139.2 | 30.777 | 889.1 | 16.955 | 0.12577
2020-08-04 12:30:00 | 1.92 | 79.453 | 2.026 | 76.575 | 2.002 | 80.867 | 2.52 | 72 | 30.164 | 889.9 | 16.248 | 0.095216
2020-08-04 12:45:00 | 3.667 | 107.2 | 3.66 | 108.873 | 3.408 | 114.6 | 3.646 | 100.633 | 31.015 | 890.133 | 15.968 | 0.10161
2020-08-04 13:00:00 | 1.556 | 93.189 | 1.657 | 100.582 | 1.84 | 67.967 | 2.274 | 62.967 | 30.545 | 889.533 | 15.868 | 0.17338
2020-08-04 13:15:00 | 1.399 | 157.82 | 1.71 | 121.131 | 1.697 | 124.8 | 2.018 | 104.8 | 31.764 | 889.4 | 15.139 | 0.24159
2020-08-04 13:30:00 | 1.664 | 187.29 | 1.494 | 167.5 | 1.515 | 178.938 | 2.173 | 169.5 | 31.725 | 889.667 | 14.62 | 0.25509
2020-08-04 13:45:00 | 2.033 | 178.803 | 1.69 | 175.352 | 1.306 | 135.1 | 1.788 | 152.067 | 31.813 | 889.4 | 14.561 | 0.39223
2020-08-04 14:00:00 | 2.831 | 316.734 | 3.022 | 318.336 | 2.791 | 306.233 | 3.259 | 317.033 | 32.119 | 889.7 | 14.309 | 0.15064
2020-08-04 14:15:00 | 1.7 | 284.773 | 1.707 | 292.877 | 1.563 | 270.317 | 1.896 | 283.9 | 32.57 | 889.467 | 13.983 | 0.11867
2020-08-04 14:30:00 | 3.085 | 39.762 | 2.958 | 26.871 | 2.948 | 38.767 | 3.691 | 36.067 | 32.554 | 889.433 | 13.501 | 0.1208
2020-08-04 14:45:00 | 3.678 | 107.21 | 3.701 | 101.531 | 3.552 | 103.5 | 3.92 | 102.467 | 32.283 | 889.533 | 13.933 | 0.13643
2020-08-04 15:00:00 | 1.75 | 41.042 | 1.515 | 93.816 | 1.137 | 74.067 | 0.938 | 73.1 | 31.742 | 889.533 | 14.525 | 0.13074
2020-08-04 15:15:00 | 2.436 | 168.94 | 2.36 | 159.906 | 2.252 | 164 | 2.537 | 168.433 | 32.669 | 889.333 | 13.747 | 0.21459
2020-08-04 15:30:00 | 1.83 | 122.793 | 1.447 | 121.56 | 1.456 | 134.667 | 2.374 | 126.833 | 32.532 | 889.333 | 13.227 | 0.17196
2020-08-04 15:45:00 | 2.736 | 79.058 | 2.359 | 234.465 | 1.53 | 83.133 | 2.073 | 204.367 | 32.813 | 889.633 | 13.04 | 0.17196
2020-08-04 16:00:00 | 3.09 | 102.82 | 3.076 | 96.003 | 2.967 | 93.2 | 3.267 | 84.567 | 33.546 | 889.2 | 12.869 | 0.20322
2020-08-04 16:15:00 | 2.054 | 134.795 | 1.404 | 187.372 | 1.573 | 182.3 | 2.789 | 199.033 | 34.138 | 889.367 | 12.245 | 0.12719
2020-08-04 16:30:00 | 1.24 | 75.884 | 0.936 | 183.155 | 1.133 | 178.133 | 2.197 | 154.525 | 34.83 | 889.367 | 11.728 | 0.10658
2020-08-04 16:45:00 | 2.835 | 89.857 | 2.513 | 102.413 | 2.354 | 110.033 | 2.64 | 101.933 | 33.921 | 889.3 | 12.197 | 0.35457
2020-08-04 17:00:00 | 1.828 | 99.427 | 1.648 | 118.828 | 1.507 | 121.133 | 1.752 | 103.633 | 33.721 | 889.433 | 12.336 | 0.20322
2020-08-04 17:15:00 | 0.972 | 48.315 | 0.566 | 128.437 | 0.027 | 91.3 | 0.426 | 89.5 | 33.871 | 889.3 | 11.824 | 0.1073
2020-08-04 17:30:00 | 4.283 | 79.79 | 4.195 | 76.263 | 4.113 | 82.133 | 3.921 | 81.1 | 33.23 | 889.333 | 12.747 | 0.071057
2020-08-04 17:45:00 | 1.923 | 74.365 | 1.753 | 51.886 | 1.774 | 59.7 | 2.164 | 68.067 | 33.413 | 889.467 | 12.736 | 0.15561
2020-08-04 18:00:00 | 3.268 | 300.347 | 3.044 | 308.155 | 2.647 | 221.2 | 2.837 | 198 | 33.33 | 889.167 | 13.089 | 0.1343
2020-08-04 18:15:00 | 1.309 | 169.548 | 1.277 | 221.607 | 0.684 | 179.2 | 1.567 | 182.767 | 33.663 | 889.5 | 12.837 | 0.098769
2020-08-04 18:30:00 | 0.816 | 212.28 | 0.74 | 272.868 | 0.75 | 188.967 | 1.802 | 170.9 | 34.805 | 889.367 | 11.857 | 0.10516
2020-08-04 18:45:00 | 0.67 | 51.903 | 0.37 | 274.448 | 0.057 | 261.767 | 0.265 | 0 | 34.696 | 889.467 | 11.324 | 0.25509
2020-08-04 19:00:00 | 1.517 | 208.673 | 1.272 | 206.568 | 0.796 | 224.333 | 1.674 | 214.7 | 34.313 | 889.9 | 11.541 | 1.1994
2020-08-04 19:15:00 | 2.273 | 163.13 | 2.522 | 158.316 | 2.4 | 162.333 | 2.885 | 162.533 | 33.246 | 889.3 | 13.363 | 1.7473
2020-08-04 19:30:00 | 3.48 | 116.417 | 3.603 | 113.289 | 3.628 | 115.3 | 3.868 | 113.867 | 33.296 | 889.367 | 13.715 | 0.5514
2020-08-04 19:45:00 | 2.766 | 73.617 | 2.255 | 70.782 | 2.022 | 76.7 | 2.356 | 76.267 | 32.696 | 889.633 | 13.888 | 0.13643
2020-08-04 20:00:00 | 0.945 | 69.825 | 0.377 | 68.534 | 0.453 | 77.533 | 1.616 | 79.167 | 32.896 | 889.867 | 14.125 | 0.56135
2020-08-04 20:15:00 | 3.253 | 97.873 | 2.966 | 94.401 | 2.498 | 96.633 | 2.593 | 88.8 | 32.332 | 889.533 | 14.24 | 3.1379
2020-08-04 20:30:00 | 3.086 | 85.4 | 3.1 | 80.214 | 3.169 | 83.1 | 3.584 | 81.067 | 33.046 | 889.567 | 14.587 | 4.2847
2020-08-04 20:45:00 | 3.647 | 56.38 | 3.822 | 47.435 | 3.803 | 53.2 | 4.109 | 50.967 | 32.113 | 889.767 | 14.957 | 10.4944
2020-08-04 21:00:00 | 6.49 | 60.998 | 6.662 | 56.878 | 6.833 | 63.5 | 6.55 | 59.433 | 31.77 | 889.467 | 15.232 | 19.4432
2020-08-04 21:15:00 | 2.949 | 124.653 | 3.008 | 135.165 | 3.28 | 68.669 | 3.409 | 46.8 | 32.15 | 889.267 | 15.315 | 9.7078
2020-08-04 21:30:00 | 7.176 | 324.2 | 7.907 | 317.856 | 8.286 | 322.5 | 8.604 | 322.367 | 30.035 | 889.767 | 18.215 | 32.4686
2020-08-04 21:45:00 | 6.904 | 314.787 | 8.187 | 306.884 | 8.725 | 312.8 | 9.47 | 310.467 | 29.531 | 889.767 | 19.208 | 52.8399
2020-08-04 22:00:00 | 7.394 | 307.893 | 8.463 | 302.294 | 9.089 | 309.1 | 9.542 | 306.1 | 29.314 | 889.667 | 19.653 | 53.6158
2020-08-04 22:15:00 | 6.329 | 300.227 | 7.643 | 296.837 | 8.288 | 301.967 | 8.845 | 300 | 28.806 | 889.333 | 20.068 | 40.5876
2020-08-04 22:30:00 | 5.747 | 288.28 | 7.094 | 282.887 | 7.578 | 285.267 | 8.24 | 282.933 | 28.148 | 889.633 | 20.597 | 33.6901
2020-08-04 22:45:00 | 6.598 | 291.08 | 7.956 | 286.349 | 8.523 | 291.633 | 9.08 | 289.067 | 28.064 | 889.733 | 22.709 | 44.9263
2020-08-04 23:00:00 | 6.192 | 287.24 | 7.534 | 284.954 | 8.177 | 290.567 | 8.922 | 286.833 | 27.423 | 889.767 | 23.699 | 46.7951
2020-08-04 23:15:00 | 7.092 | 289.427 | 8.335 | 284.587 | 8.85 | 289 | 9.446 | 287.233 | 27.51 | 889.867 | 23.888 | 49.6309
2020-08-04 23:30:00 | 6.327 | 290.187 | 7.911 | 286.749 | 8.536 | 290.7 | 9.188 | 286.7 | 27.081 | 889.55 | 24.496 | 50.4623
2020-08-04 23:45:00 | 6.012 | 291.96 | 7.441 | 287.804 | 8.077 | 290.7 | 8.785 | 289.267 | 26.885 | 889.767 | 25.04 | 46.0753