## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-05 00:00:00 | 6.652 | 285.947 | 8.14 | 281.714 | 8.815 | 286.7 | 9.492 | 283.367 | 27.006 | 889.95 | 25.283 | 48.9211
2020-08-05 00:15:00 | 6.644 | 287.2 | 8.14 | 283.72 | 8.647 | 288.267 | 9.296 | 285.8 | 26.289 | 889.933 | 25.037 | 44.6612
2020-08-05 00:30:00 | 7.192 | 283.52 | 8.718 | 278.148 | 9.217 | 283.833 | 9.798 | 283.133 | 26.156 | 890.033 | 24.861 | 41.5582
2020-08-05 00:45:00 | 5.857 | 280.347 | 7.317 | 278.347 | 8.018 | 283.6 | 8.695 | 282.533 | 26.135 | 889.333 | 24.741 | 38.3464
2020-08-05 01:00:00 | 7.321 | 276.573 | 9.067 | 272.296 | 9.318 | 274.733 | 9.577 | 270.9 | 25.568 | 889.683 | 25.331 | 43.022
2020-08-05 01:15:00 | 6.823 | 261.12 | 8.109 | 260.669 | 8.449 | 266.933 | 8.711 | 261.867 | 24.898 | 889.7 | 28.141 | 51.8138
2020-08-05 01:30:00 | 7.736 | 259.393 | 8.974 | 255.296 | 9.393 | 260.433 | 9.561 | 257.417 | 24.664 | 889.517 | 31.091 | 57.3065
2020-08-05 01:45:00 | 7.731 | 255.607 | 8.874 | 252.771 | 9.564 | 258.083 | 9.784 | 254.8 | 24.218 | 889.633 | 32.352 | 56.7437
2020-08-05 02:00:00 | 7.551 | 254.927 | 8.838 | 253.332 | 9.606 | 257.583 | 9.76 | 253.35 | 23.985 | 889.85 | 32.949 | 59.9008
2020-08-05 02:15:00 | 6.064 | 253.04 | 7.25 | 254.416 | 7.993 | 258.467 | 8.516 | 256.783 | 23.568 | 889.683 | 33.269 | 51.9943
2020-08-05 02:30:00 | 5.71 | 247.153 | 6.883 | 250.17 | 7.701 | 256.167 | 7.99 | 255.2 | 23.431 | 889.833 | 34.088 | 46.3524
2020-08-05 02:45:00 | 5.883 | 242.26 | 7.078 | 241.911 | 7.413 | 250.2 | 7.557 | 248.983 | 22.898 | 889.35 | 34.688 | 45.5054
2020-08-05 03:00:00 | 5.858 | 246.5 | 7.034 | 247.81 | 7.421 | 256.1 | 7.582 | 255.2 | 22.964 | 889.517 | 34.907 | 46.4874
2020-08-05 03:15:00 | 6.588 | 238.2 | 7.568 | 238.142 | 7.988 | 245.667 | 8.015 | 243.867 | 22.864 | 889.833 | 35.179 | 47.9959
2020-08-05 03:30:00 | 5.536 | 242.92 | 7.067 | 242.633 | 7.625 | 250.267 | 7.616 | 248.6 | 22.998 | 889.75 | 35.587 | 49.4405
2020-08-05 03:45:00 | 6.286 | 249.033 | 7.481 | 250.679 | 8.321 | 257.867 | 8.688 | 254.617 | 22.764 | 889.633 | 35.469 | 51.089
2020-08-05 04:00:00 | 6.69 | 256.393 | 7.759 | 255.506 | 8.256 | 261.983 | 8.809 | 257.9 | 23.264 | 889.95 | 35.072 | 47.0217
2020-08-05 04:15:00 | 7.436 | 262.487 | 8.518 | 261.269 | 9.178 | 266.467 | 9.434 | 262.883 | 23.298 | 889.817 | 34.731 | 46.2501
2020-08-05 04:30:00 | 7.856 | 262.88 | 9.346 | 259.323 | 10.014 | 264.5 | 10.48 | 260.717 | 23.298 | 889.467 | 34.792 | 53.3522
2020-08-05 04:45:00 | 8.019 | 263.5 | 9.575 | 261.371 | 10.382 | 266.267 | 10.663 | 261.467 | 23.398 | 889.55 | 34.885 | 56.2655
2020-08-05 05:00:00 | 7.979 | 262.36 | 9.264 | 260.756 | 10.061 | 265.2 | 10.419 | 263.433 | 22.931 | 890.117 | 35.059 | 59.1213
2020-08-05 05:15:00 | 8.308 | 264.98 | 10.014 | 262.785 | 11.005 | 267.967 | 11.5 | 265.6 | 22.581 | 889.95 | 35.613 | 65.5761
2020-08-05 05:30:00 | 8.245 | 268.94 | 9.908 | 268.042 | 10.652 | 273.867 | 11.191 | 271.4 | 23.031 | 889.683 | 35.987 | 67.4953
2020-08-05 05:45:00 | 7.728 | 267.333 | 9.152 | 265.816 | 9.711 | 272.467 | 10.246 | 268.267 | 22.764 | 890 | 36.251 | 62.4439
2020-08-05 06:00:00 | 7.755 | 261.073 | 9.142 | 260.14 | 9.807 | 265.633 | 10.173 | 261.267 | 22.164 | 889.817 | 37.763 | 59.3479
2020-08-05 06:15:00 | 7.772 | 260.973 | 9.276 | 257.958 | 9.769 | 262.85 | 10.323 | 258.817 | 22.218 | 889.833 | 39.077 | 56.9676
2020-08-05 06:30:00 | 7.142 | 263.48 | 8.542 | 260.624 | 9.269 | 265.667 | 9.613 | 261.8 | 21.702 | 889.883 | 38.709 | 45.5964
2020-08-05 06:45:00 | 6.676 | 251.08 | 7.624 | 248.812 | 8.28 | 255.4 | 8.663 | 251.2 | 21.868 | 889.767 | 38.123 | 39.683
2020-08-05 07:00:00 | 4.68 | 236.473 | 5.798 | 241.889 | 6.65 | 252.267 | 6.863 | 251.883 | 21.952 | 889.483 | 37.941 | 30.7746
2020-08-05 07:15:00 | 4.91 | 236.747 | 5.809 | 240.944 | 6.289 | 248.7 | 6.662 | 245.633 | 22.189 | 889.15 | 37.28 | 33.4052
2020-08-05 07:30:00 | 5.958 | 240.947 | 6.38 | 238.149 | 6.856 | 244.8 | 7.083 | 241.567 | 23.098 | 889.533 | 34.8 | 42.769
2020-08-05 07:45:00 | 7.294 | 257.053 | 7.855 | 254.538 | 8.235 | 259.433 | 8.198 | 254.7 | 23.414 | 890.133 | 35.179 | 41.5788
2020-08-05 08:00:00 | 7.49 | 251.28 | 8.196 | 249.493 | 8.562 | 255.433 | 8.691 | 250.15 | 22.914 | 889.95 | 37.211 | 46.5556
2020-08-05 08:15:00 | 6.56 | 262.933 | 7.242 | 257.74 | 7.549 | 261.183 | 7.912 | 258.867 | 23.481 | 889.583 | 35.525 | 24.9601
2020-08-05 08:30:00 | 7.908 | 262.873 | 8.496 | 258.312 | 8.714 | 264.433 | 8.823 | 259.483 | 23.685 | 889.717 | 34.597 | 37.9897
2020-08-05 08:45:00 | 8.392 | 267.153 | 8.986 | 262.603 | 9.116 | 266.3 | 9.224 | 261.483 | 24.294 | 889.5 | 32 | 38.8552
2020-08-05 09:00:00 | 8.266 | 277.427 | 8.692 | 269.682 | 8.831 | 272.767 | 8.92 | 266.25 | 24.71 | 889.467 | 30.965 | 45.9218
2020-08-05 09:15:00 | 9.43 | 288.64 | 10.067 | 281.974 | 10.25 | 285.467 | 10.395 | 281.3 | 24.318 | 889.7 | 32.099 | 55.918
2020-08-05 09:30:00 | 9.567 | 275.14 | 10.388 | 269.657 | 10.706 | 273.067 | 11.005 | 268.933 | 24.302 | 889.9 | 31.883 | 59.1803
2020-08-05 09:45:00 | 8.23 | 274.573 | 8.433 | 268.38 | 8.737 | 272.683 | 8.786 | 264.983 | 25.168 | 889.617 | 29.925 | 53.1156
2020-08-05 10:00:00 | 8.468 | 286 | 8.688 | 278.794 | 8.984 | 283.767 | 9.051 | 275.8 | 25.006 | 889.7 | 29.371 | 51.4628
2020-08-05 10:15:00 | 9.83 | 289.84 | 10.377 | 286.15 | 10.622 | 289.067 | 11.199 | 286.6 | 25.585 | 890.383 | 28.28 | 50.0651
2020-08-05 10:30:00 | 10 | 289 | 10.462 | 282.434 | 10.856 | 285.833 | 11.049 | 281.233 | 26.36 | 890.083 | 28.419 | 50.7039
2020-08-05 10:45:00 | 9.471 | 287.013 | 9.967 | 281.312 | 10.098 | 284.067 | 10.236 | 281.2 | 25.218 | 889.583 | 30.125 | 48.8259
2020-08-05 11:00:00 | 9.876 | 280.52 | 10.402 | 274.677 | 10.38 | 280.067 | 10.501 | 275.967 | 25.923 | 889.45 | 29.624 | 46.7894
2020-08-05 11:15:00 | 10.824 | 288.88 | 11.284 | 286.113 | 11.366 | 289.733 | 11.331 | 288.967 | 26.373 | 889.9 | 28.208 | 43.1882
2020-08-05 11:30:00 | 9.691 | 293.173 | 10.411 | 289.404 | 10.455 | 293.833 | 10.849 | 291.333 | 26.881 | 889.95 | 27.528 | 43.972
2020-08-05 11:45:00 | 7.678 | 293.747 | 8.576 | 287.427 | 8.697 | 293.6 | 8.899 | 291.533 | 27.039 | 889.7 | 26.832 | 43.6721
2020-08-05 12:00:00 | 9.252 | 306.12 | 9.491 | 300.23 | 9.839 | 308.867 | 10.232 | 303.4 | 26.994 | 889.717 | 26.872 | 46.0611
2020-08-05 12:15:00 | 7.571 | 291.547 | 7.822 | 287.12 | 8.199 | 292.8 | 8.361 | 292.1 | 27.089 | 890.233 | 27.485 | 42.8052
2020-08-05 12:30:00 | 7.654 | 300.76 | 7.915 | 294.857 | 8.224 | 301.267 | 8.872 | 298.567 | 28.056 | 889.967 | 26.539 | 39.8877
2020-08-05 12:45:00 | 7.46 | 312.507 | 7.764 | 301.633 | 7.834 | 305 | 8.448 | 302.133 | 27.439 | 889.55 | 26.517 | 33.5494
2020-08-05 13:00:00 | 7.309 | 301.8 | 7.59 | 296.816 | 7.588 | 300.633 | 7.983 | 296.683 | 28.352 | 889.55 | 26.032 | 30.9594
2020-08-05 13:15:00 | 7.85 | 311.773 | 8.309 | 305.14 | 8.469 | 313 | 8.772 | 312.133 | 27.973 | 889.617 | 26.261 | 36.8521
2020-08-05 13:30:00 | 7.174 | 293.907 | 7.785 | 291.338 | 8.066 | 295.633 | 8.382 | 292.967 | 27.935 | 889.85 | 26.387 | 43.243
2020-08-05 13:45:00 | 8.084 | 295.733 | 8.593 | 292.33 | 8.69 | 296.7 | 9.004 | 295.433 | 28.606 | 889.983 | 25.328 | 47.662
2020-08-05 14:00:00 | 8.634 | 301.16 | 9.003 | 296.43 | 9.14 | 301.7 | 9.424 | 301.133 | 28.11 | 889.633 | 24.749 | 43.3531
2020-08-05 14:15:00 | 8.055 | 287.073 | 8.595 | 282.397 | 8.868 | 286.6 | 9.139 | 284.333 | 28.706 | 889.867 | 24.376 | 46.6771
2020-08-05 14:30:00 | 7.431 | 318.64 | 7.885 | 310.245 | 8.138 | 311.333 | 8.289 | 307.267 | 28.614 | 889.95 | 23.883 | 49.432
2020-08-05 14:45:00 | 8.827 | 296.187 | 9.46 | 290.237 | 9.828 | 295.167 | 10.05 | 293.733 | 28.544 | 889.733 | 23.891 | 51.823
2020-08-05 15:00:00 | 9.784 | 301.427 | 10.325 | 298.078 | 10.842 | 303.867 | 10.994 | 304.433 | 29.26 | 889.717 | 22.672 | 58.4889
2020-08-05 15:15:00 | 8.407 | 286.133 | 8.902 | 282.226 | 9.019 | 284.433 | 9.488 | 281.833 | 29.181 | 889.833 | 22.541 | 57.5104
2020-08-05 15:30:00 | 9.265 | 289.32 | 9.999 | 283.889 | 10.508 | 288.433 | 11.046 | 286.9 | 29.698 | 890.083 | 21.851 | 53.8261
2020-08-05 15:45:00 | 8.311 | 285.907 | 8.836 | 281.336 | 8.928 | 284.767 | 9.196 | 283.9 | 29.281 | 889.967 | 21.053 | 57.7748
2020-08-05 16:00:00 | 8.031 | 310.12 | 8.436 | 299.985 | 8.434 | 301.5 | 8.943 | 298.167 | 29.614 | 889.967 | 22.632 | 61.8278
2020-08-05 16:15:00 | 9.513 | 318.653 | 10.124 | 311.128 | 10.275 | 314.767 | 10.425 | 313.367 | 29.198 | 889.417 | 22.349 | 64.059
2020-08-05 16:30:00 | 9.642 | 311.507 | 9.985 | 306.932 | 10.104 | 309.4 | 10.408 | 306.133 | 29.831 | 889.483 | 21.728 | 62.4247
2020-08-05 16:45:00 | 10.596 | 293.56 | 11.226 | 287.727 | 11.427 | 290.267 | 11.791 | 287.167 | 29.464 | 889.883 | 21.283 | 68.7473
2020-08-05 17:00:00 | 12.344 | 303.827 | 13.434 | 299.31 | 13.291 | 303.867 | 14.11 | 300.133 | 29.831 | 889.633 | 20.2 | 71.6137
2020-08-05 17:15:00 | 10.338 | 299.693 | 10.629 | 295.109 | 11.078 | 298.9 | 11.316 | 296.133 | 29.598 | 889.567 | 19.547 | 75.4245
2020-08-05 17:30:00 | 11.303 | 299.067 | 11.965 | 293.015 | 12.087 | 297 | 12.314 | 293.7 | 30.164 | 889.733 | 20.053 | 66.7457
2020-08-05 17:45:00 | 9.368 | 299.973 | 10.223 | 294.506 | 10.606 | 299.4 | 11.092 | 301.167 | 29.614 | 889.667 | 21.747 | 64.5898
2020-08-05 18:00:00 | 8.914 | 288.587 | 9.521 | 283.422 | 10.052 | 285.867 | 10.412 | 284.833 | 29.814 | 889.867 | 20.364 | 61.8967
2020-08-05 18:15:00 | 10.859 | 295.053 | 11.737 | 289.154 | 12.139 | 293.633 | 12.514 | 290.667 | 29.698 | 889.2 | 20.181 | 59.2854
2020-08-05 18:30:00 | 11.361 | 289.267 | 12.308 | 286.073 | 12.469 | 288.733 | 12.866 | 286.933 | 29.198 | 889.85 | 21.069 | 61.0128
2020-08-05 18:45:00 | 11.562 | 291.093 | 12.278 | 285.182 | 13.104 | 288.367 | 13.587 | 286.633 | 29.514 | 889.95 | 21.963 | 64.2104
2020-08-05 19:00:00 | 12.026 | 294.4 | 13.135 | 286.645 | 13.348 | 291.4 | 14.17 | 290.3 | 29.281 | 889.683 | 22.307 | 64.5692
2020-08-05 19:15:00 | 11.449 | 299.133 | 12.513 | 295.27 | 12.671 | 297.1 | 12.868 | 295 | 29.098 | 889.65 | 22.997 | 65.7025
2020-08-05 19:30:00 | 11.426 | 300.6 | 12.15 | 295.771 | 12.406 | 299.1 | 12.532 | 296.767 | 28.964 | 889.833 | 22.651 | 69.3272
2020-08-05 19:45:00 | 10.859 | 305.747 | 11.662 | 299.961 | 12.194 | 304.433 | 12.309 | 300.367 | 28.706 | 889.617 | 23.192 | 77.4269
2020-08-05 20:00:00 | 10.296 | 293.587 | 11.023 | 289.419 | 11.334 | 294 | 11.526 | 292.433 | 28.864 | 889.767 | 22.389 | 85.2339
2020-08-05 20:15:00 | 9.838 | 291.973 | 10.978 | 287.663 | 11.219 | 291.633 | 11.475 | 290.567 | 28.46 | 890.05 | 22.907 | 81.2824
2020-08-05 20:30:00 | 8.2 | 284.693 | 8.884 | 279.254 | 9.17 | 283.233 | 9.224 | 280.933 | 28.11 | 889.733 | 24.541 | 68.6372
2020-08-05 20:45:00 | 8.508 | 283.787 | 9.445 | 278.38 | 10.106 | 282.733 | 10.484 | 281 | 28.106 | 889.883 | 24.371 | 67.6104
2020-08-05 21:00:00 | 7.458 | 294.507 | 8.396 | 290.486 | 9.054 | 293.933 | 9.77 | 292.1 | 27.114 | 889.367 | 24.549 | 61.874
2020-08-05 21:15:00 | 9.768 | 285.64 | 10.674 | 279.537 | 10.968 | 282.5 | 11.395 | 280 | 27.048 | 889.4 | 26.059 | 68.5761
2020-08-05 21:30:00 | 8.63 | 279.52 | 10.034 | 275.17 | 10.673 | 279.4 | 10.766 | 274.567 | 26.844 | 889.367 | 26.168 | 66.7158
2020-08-05 21:45:00 | 7.728 | 280.48 | 9.031 | 273.744 | 9.55 | 278.533 | 9.823 | 275.3 | 26.373 | 889.667 | 26.339 | 64.8769
2020-08-05 22:00:00 | 7.332 | 277.093 | 8.256 | 273.12 | 8.452 | 276.367 | 8.619 | 271.8 | 26.335 | 889.9 | 26.555 | 52.675
2020-08-05 22:15:00 | 6.35 | 285.72 | 7.463 | 279.937 | 7.966 | 284.133 | 8.41 | 280.367 | 26.018 | 889.867 | 26.72 | 44.2889
2020-08-05 22:30:00 | 5.692 | 278.547 | 6.839 | 272.36 | 7.202 | 276.433 | 7.586 | 273.267 | 25.777 | 889.567 | 27.096 | 33.3803
2020-08-05 22:45:00 | 5.828 | 272.147 | 7.171 | 268.74 | 7.545 | 275.167 | 7.986 | 269.433 | 25.881 | 889.517 | 27.797 | 35.2946
2020-08-05 23:00:00 | 5.791 | 263.56 | 7.012 | 264.022 | 7.298 | 270.267 | 7.432 | 266.217 | 25.66 | 889.633 | 28.061 | 31.8092
2020-08-05 23:15:00 | 5.732 | 254.373 | 7.013 | 256.481 | 7.494 | 262.917 | 7.806 | 259.217 | 25.173 | 889.9 | 28.832 | 33.71
2020-08-05 23:30:00 | 5.942 | 253.92 | 6.828 | 253.454 | 7.155 | 259.417 | 7.308 | 256.917 | 24.544 | 889.517 | 29.168 | 40.972
2020-08-05 23:45:00 | 5.309 | 267.247 | 6.567 | 263.905 | 6.96 | 270.867 | 7.28 | 267.133 | 24.952 | 889.317 | 29.347 | 31.9656