## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-06 00:00:00 | 5.025 | 276.087 | 6.36 | 270.941 | 6.784 | 273.9 | 7.446 | 269.267 | 25.21 | 889.633 | 28.96 | 32.2903
2020-08-06 00:15:00 | 6.747 | 276.12 | 8.326 | 272.25 | 8.779 | 276.6 | 9.277 | 274.433 | 24.702 | 889.883 | 28.883 | 40.6224
2020-08-06 00:30:00 | 5.221 | 267.68 | 6.488 | 264.409 | 6.953 | 270 | 7.476 | 265.133 | 24.881 | 889.9 | 28.816 | 42.1998
2020-08-06 00:45:00 | 5.157 | 268.2 | 6.606 | 266.313 | 6.824 | 271.667 | 7.548 | 268.3 | 24.227 | 890.017 | 30.68 | 37.8746
2020-08-06 01:00:00 | 6.219 | 265.96 | 7.4 | 259.866 | 7.814 | 268.033 | 8.042 | 264.717 | 23.735 | 889.7 | 32.123 | 43.1328
2020-08-06 01:15:00 | 5.989 | 278.52 | 6.989 | 272.523 | 7.353 | 276.6 | 7.845 | 272.067 | 23.744 | 889.4 | 33.187 | 34.4966
2020-08-06 01:30:00 | 3.253 | 319.467 | 4.114 | 315.017 | 4.35 | 316.3 | 4.798 | 309.767 | 23.048 | 889.783 | 33.272 | 15.1344
2020-08-06 01:45:00 | 1.323 | 324.587 | 1.421 | 316.386 | 1.431 | 306.733 | 2.033 | 307.8 | 22.948 | 889.917 | 33.888 | 2.7144
2020-08-06 02:00:00 | 1.286 | 270.107 | 2.519 | 270.311 | 3.765 | 275.267 | 4.655 | 272.533 | 22.131 | 889.95 | 36.619 | 5.2681
2020-08-06 02:15:00 | 3.312 | 255.487 | 3.907 | 267.114 | 4.568 | 276.867 | 5.19 | 275.3 | 21.527 | 890.033 | 38.128 | 8.7862
2020-08-06 02:30:00 | 3.931 | 250.707 | 5.527 | 259.562 | 6.261 | 268.133 | 6.82 | 267.6 | 21.364 | 889.933 | 39.133 | 6.5763
2020-08-06 02:45:00 | 5.556 | 272.853 | 7.398 | 270.454 | 7.754 | 275.6 | 7.856 | 272.7 | 21.552 | 889.567 | 39.019 | 14.1921
2020-08-06 03:00:00 | 5.984 | 259.187 | 6.935 | 260.817 | 7.031 | 266.767 | 7.142 | 262.617 | 22.044 | 890.083 | 38.043 | 21.9245
2020-08-06 03:15:00 | 5.321 | 243.433 | 6.146 | 246.833 | 6.229 | 253 | 6.242 | 249.9 | 21.652 | 890.133 | 38.859 | 20.6512
2020-08-06 03:30:00 | 5.157 | 232.033 | 5.313 | 238.928 | 5.406 | 246.7 | 5.613 | 243.633 | 21.068 | 889.817 | 40.075 | 14.8018
2020-08-06 03:45:00 | 4.478 | 229.893 | 5.335 | 238.947 | 5.28 | 248.2 | 5.434 | 246.033 | 20.273 | 889.45 | 41.771 | 11.6213
2020-08-06 04:00:00 | 4.262 | 221.013 | 5.561 | 231.235 | 5.754 | 242.6 | 5.65 | 240.867 | 19.802 | 889.675 | 42.848 | 14.8118
2020-08-06 04:15:00 | 5.003 | 222.6 | 6.624 | 229.25 | 6.615 | 237.6 | 6.616 | 234.367 | 19.602 | 890.292 | 42.987 | 21.3063
2020-08-06 04:30:00 | 5.868 | 228.507 | 7.542 | 230.606 | 7.438 | 237.767 | 7.287 | 234.633 | 20.081 | 889.617 | 41.867 | 30.1437
2020-08-06 04:45:00 | 6.043 | 230.08 | 7.723 | 229.261 | 8.288 | 234.2 | 8.29 | 228.7 | 20.231 | 889.75 | 40.96 | 39.2936
2020-08-06 05:00:00 | 6.064 | 225.88 | 7.517 | 228.272 | 7.86 | 234.333 | 7.835 | 230.9 | 20.248 | 889.808 | 41.045 | 35.9618
2020-08-06 05:15:00 | 5.794 | 223.833 | 7.219 | 227.269 | 7.838 | 235.167 | 7.97 | 231.533 | 19.927 | 889.933 | 42.229 | 34.0639
2020-08-06 05:30:00 | 5.309 | 223.64 | 6.597 | 225.387 | 6.865 | 233.3 | 6.641 | 232.667 | 19.144 | 890.475 | 43.019 | 27.2396
2020-08-06 05:45:00 | 5.23 | 223.507 | 6.128 | 233.726 | 7.051 | 253.767 | 7.939 | 261.9 | 18.989 | 889.833 | 43.797 | 27.926
2020-08-06 06:00:00 | 6.209 | 262.707 | 8.468 | 262.223 | 8.399 | 268.7 | 8.476 | 264.867 | 19.56 | 889.933 | 42.912 | 24.8379
2020-08-06 06:15:00 | 7.006 | 256.933 | 8.674 | 261.647 | 8.849 | 269.9 | 8.954 | 266.633 | 20.027 | 889.917 | 41.157 | 31.6827
2020-08-06 06:30:00 | 7.209 | 253.053 | 8.48 | 258.162 | 8.524 | 267.2 | 8.782 | 265.133 | 19.285 | 890.242 | 42.565 | 39.1487
2020-08-06 06:45:00 | 6.577 | 264.333 | 8.382 | 266.64 | 8.435 | 275.2 | 8.82 | 271.733 | 19.552 | 889.925 | 41.989 | 42.6894
2020-08-06 07:00:00 | 7.011 | 270.84 | 8.421 | 273.092 | 8.555 | 277.3 | 9.101 | 273.6 | 20.344 | 889.75 | 39.597 | 37.2607
2020-08-06 07:15:00 | 6.163 | 265.853 | 8.156 | 267.476 | 8.467 | 273.867 | 8.728 | 269.3 | 21.281 | 889.733 | 37.333 | 29.2739
2020-08-06 07:30:00 | 5.608 | 263.8 | 7.321 | 264.931 | 7.744 | 272.5 | 8.335 | 268.7 | 22.514 | 889.633 | 35.096 | 24.8514
2020-08-06 07:45:00 | 5.012 | 249.82 | 6.133 | 253.698 | 6.696 | 261.533 | 6.966 | 260.317 | 23.602 | 889.883 | 32.656 | 18.0264
2020-08-06 08:00:00 | 4.202 | 250.287 | 4.632 | 245.925 | 5.036 | 252.95 | 5.556 | 250.567 | 24.123 | 889.317 | 31.584 | 14.5574
2020-08-06 08:15:00 | 5.576 | 240.033 | 5.678 | 239.798 | 5.765 | 247.667 | 5.996 | 243.8 | 25.056 | 889.833 | 30.315 | 16.8539
2020-08-06 08:30:00 | 5.776 | 251.647 | 6.174 | 247.189 | 6.318 | 250.85 | 6.31 | 243.933 | 25.435 | 889.75 | 29.405 | 17.9915
2020-08-06 08:45:00 | 6.444 | 275.06 | 7.126 | 268.697 | 6.962 | 273.267 | 6.989 | 269.533 | 25.398 | 890.2 | 29.648 | 23.5659
2020-08-06 09:00:00 | 6.679 | 271.74 | 7.242 | 269.102 | 7.366 | 274.4 | 7.531 | 272.167 | 25.052 | 889.867 | 31.877 | 29.2306
2020-08-06 09:15:00 | 6.86 | 282.96 | 7.253 | 275.718 | 7.281 | 280.3 | 7.597 | 276.617 | 25.098 | 889.833 | 31.971 | 31.7005
2020-08-06 09:30:00 | 7.11 | 286.453 | 7.749 | 278.001 | 7.865 | 281.867 | 8.105 | 278.467 | 24.481 | 889.917 | 32.707 | 36.4897
2020-08-06 09:45:00 | 6.616 | 294 | 7.049 | 282.272 | 7.184 | 283.983 | 7.494 | 280.833 | 25.223 | 889.733 | 31.435 | 40.5073
2020-08-06 10:00:00 | 7.052 | 296.853 | 7.687 | 292.093 | 7.84 | 297.2 | 8.386 | 292.133 | 25.564 | 889.467 | 30.992 | 45.833
2020-08-06 10:15:00 | 8.476 | 292.093 | 9.233 | 286.398 | 9.341 | 289.567 | 9.904 | 287.667 | 25.573 | 889.567 | 29.787 | 47.679
2020-08-06 10:30:00 | 6.754 | 303.313 | 6.899 | 298.6 | 7.265 | 301.333 | 7.926 | 295.6 | 25.56 | 890.033 | 29.776 | 45.5793
2020-08-06 10:45:00 | 7.155 | 288.707 | 7.552 | 282.616 | 7.484 | 288.367 | 7.833 | 283.367 | 25.789 | 889.517 | 29.344 | 49.8981
2020-08-06 11:00:00 | 7.507 | 312.907 | 8.11 | 308.196 | 8.33 | 311.767 | 8.561 | 309.1 | 26.848 | 889.883 | 27.84 | 51.8124
2020-08-06 11:15:00 | 9.793 | 313.88 | 9.953 | 306.375 | 9.81 | 310.633 | 9.988 | 307.267 | 26.477 | 889.483 | 27.131 | 55.1741
2020-08-06 11:30:00 | 8.261 | 286.613 | 8.613 | 281.7 | 8.944 | 289.533 | 9.114 | 285.533 | 26.344 | 889.75 | 28.88 | 48.779
2020-08-06 11:45:00 | 7.088 | 274.36 | 7.731 | 269.942 | 7.899 | 271.933 | 8.083 | 267.417 | 26.935 | 890.05 | 27.611 | 42.3484
2020-08-06 12:00:00 | 9.545 | 291.253 | 10.26 | 287.699 | 10.242 | 292.667 | 10.144 | 289.033 | 26.348 | 889.333 | 28.043 | 48.2688
2020-08-06 12:15:00 | 8.737 | 295.933 | 9.022 | 288.609 | 9.369 | 292.1 | 9.637 | 289.7 | 27.148 | 889.9 | 27.405 | 46.2174
2020-08-06 12:30:00 | 8.465 | 295.187 | 8.781 | 289.058 | 8.588 | 290.167 | 8.793 | 287.2 | 27.352 | 889.917 | 26.435 | 50.0246
2020-08-06 12:45:00 | 8.574 | 298.36 | 9.135 | 293.042 | 9.229 | 296.867 | 9.636 | 295.6 | 26.798 | 890.05 | 26.445 | 55.6949
2020-08-06 13:00:00 | 7.799 | 292.573 | 8.131 | 285.692 | 8.25 | 287.667 | 8.448 | 284.617 | 27.168 | 889.817 | 25.699 | 66.455
2020-08-06 13:15:00 | 9.492 | 288.933 | 10.03 | 283.638 | 10.515 | 287.933 | 10.427 | 285.967 | 28.373 | 889.817 | 24.339 | 57.4358
2020-08-06 13:30:00 | 11.113 | 302.24 | 11.454 | 296.978 | 11.759 | 302.2 | 12.165 | 301 | 28.277 | 890.183 | 24.123 | 67.0853
2020-08-06 13:45:00 | 9.86 | 299.693 | 10.638 | 291.963 | 10.474 | 296.933 | 11.135 | 294.433 | 27.873 | 889.417 | 24.888 | 79.3469
2020-08-06 14:00:00 | 9.962 | 297.453 | 10.401 | 290.894 | 10.802 | 292.567 | 11.342 | 290.033 | 28.002 | 889.683 | 23.925 | 69.1609
2020-08-06 14:15:00 | 9.884 | 296.453 | 10.525 | 292.157 | 10.853 | 293.8 | 11.028 | 290.467 | 28.135 | 889.883 | 24.061 | 66.3399
2020-08-06 14:30:00 | 11.045 | 315.52 | 11.52 | 310.72 | 11.694 | 313.533 | 12.24 | 312.167 | 28.848 | 889.733 | 23.352 | 71.979
2020-08-06 14:45:00 | 9.625 | 286.467 | 9.894 | 283.872 | 10.117 | 287.033 | 10.168 | 287.033 | 28.352 | 889.95 | 22.955 | 63.9482
2020-08-06 15:00:00 | 8.602 | 298.093 | 9.585 | 292.802 | 10.254 | 296.367 | 10.619 | 293.1 | 28.835 | 890.017 | 22.819 | 48.9758
2020-08-06 15:15:00 | 9.504 | 312.573 | 9.724 | 308.208 | 9.976 | 312.933 | 10.112 | 312.5 | 29.148 | 889.317 | 21.987 | 57.1644
2020-08-06 15:30:00 | 7.343 | 302.467 | 7.913 | 296.17 | 8.122 | 302.767 | 8.477 | 302.6 | 29.048 | 889.633 | 22.032 | 52.3716
2020-08-06 15:45:00 | 9.494 | 294.96 | 10.074 | 289.79 | 10.254 | 292.133 | 10.512 | 289.467 | 29.248 | 890.033 | 21.68 | 51.3512
2020-08-06 16:00:00 | 6.23 | 291.267 | 6.769 | 287.758 | 6.969 | 294.1 | 7.616 | 287.067 | 28.898 | 889.933 | 21.768 | 49.4732
2020-08-06 16:15:00 | 10.406 | 284.607 | 10.904 | 281.997 | 11.198 | 286.2 | 11.468 | 284.1 | 29.894 | 889.75 | 20.489 | 56.5348
2020-08-06 16:30:00 | 8.693 | 286.513 | 9.335 | 281.107 | 9.441 | 284.933 | 9.93 | 278.85 | 29.648 | 889.583 | 20.701 | 50.6414
2020-08-06 16:45:00 | 8.903 | 291.193 | 9.445 | 284.682 | 9.609 | 285.833 | 9.458 | 284.05 | 29.498 | 889.6 | 19.619 | 55.9081
2020-08-06 17:00:00 | 10.491 | 306.973 | 11.188 | 300.364 | 11.366 | 303.067 | 11.48 | 302.167 | 29.581 | 889.467 | 18.711 | 51.9552
2020-08-06 17:15:00 | 8.406 | 278.227 | 9.175 | 274.332 | 9.451 | 278.5 | 9.543 | 271.733 | 29.981 | 889.433 | 18.905 | 59.9704
2020-08-06 17:30:00 | 7.688 | 282.813 | 8.282 | 280.392 | 8.872 | 283.567 | 9.167 | 277.8 | 30.248 | 889.467 | 18.511 | 55.7155
2020-08-06 17:45:00 | 9.65 | 280.16 | 10.446 | 275.783 | 10.312 | 279.4 | 10.638 | 273.5 | 29.498 | 889.433 | 19.119 | 52.4299
2020-08-06 18:00:00 | 11.351 | 282.613 | 12.178 | 277.443 | 12.207 | 280.367 | 12.667 | 277.733 | 30.36 | 889.433 | 18.224 | 68.8788
2020-08-06 18:15:00 | 11.495 | 289.773 | 12.393 | 281.725 | 12.47 | 285.067 | 12.803 | 283.5 | 29.798 | 889.567 | 18.111 | 69.5922
2020-08-06 18:30:00 | 10.432 | 278.627 | 11.079 | 271.016 | 11.185 | 276 | 11.104 | 273.1 | 30.244 | 889.267 | 17.601 | 71.1732
2020-08-06 18:45:00 | 8.227 | 278.753 | 9.085 | 274.603 | 9.213 | 280.267 | 9.568 | 275.817 | 29.298 | 888.933 | 19.597 | 68.2243
2020-08-06 19:00:00 | 9.088 | 313.36 | 9.602 | 304.611 | 9.781 | 307.567 | 10.003 | 303.867 | 29.464 | 889.917 | 19.849 | 72.136
2020-08-06 19:15:00 | 10.83 | 300.387 | 11.956 | 297.029 | 12.252 | 301.467 | 12.66 | 299.2 | 29.331 | 889.4 | 20.492 | 77.7225
2020-08-06 19:30:00 | 9.163 | 302.44 | 9.685 | 298.181 | 9.865 | 303.067 | 10.229 | 298.867 | 29.081 | 890.083 | 21.36 | 59.6471
2020-08-06 19:45:00 | 8.289 | 292.053 | 9.038 | 285.78 | 9.26 | 289.967 | 9.524 | 285.767 | 28.964 | 889.25 | 21.987 | 60.4877
2020-08-06 20:00:00 | 9.326 | 281.52 | 10.521 | 276.433 | 10.913 | 280.5 | 11.102 | 277.7 | 28.781 | 889.817 | 22.763 | 64.3738
2020-08-06 20:15:00 | 8.912 | 294.933 | 9.702 | 289.441 | 10.127 | 294.3 | 10.102 | 291.133 | 28.964 | 889.867 | 21.813 | 63.2703
2020-08-06 20:30:00 | 9.394 | 288.173 | 10.406 | 285.604 | 10.86 | 291.233 | 11.09 | 288.3 | 28.852 | 889.833 | 22.701 | 59.6123
2020-08-06 20:45:00 | 8.494 | 297.6 | 9.219 | 291.648 | 9.805 | 297.133 | 9.945 | 294.367 | 29.048 | 889.95 | 22.536 | 56.3835
2020-08-06 21:00:00 | 8.986 | 302.293 | 9.917 | 295.756 | 10.437 | 302.2 | 10.798 | 299.433 | 28.431 | 889.783 | 22.373 | 57.4436
2020-08-06 21:15:00 | 8.186 | 301.773 | 9.28 | 296.515 | 9.781 | 301.633 | 10.106 | 299.867 | 28.498 | 889.7 | 23.208 | 54.5488
2020-08-06 21:30:00 | 6.031 | 298.293 | 6.978 | 295.147 | 7.549 | 301.567 | 8.065 | 301 | 28.027 | 889.5 | 23.565 | 43.1513
2020-08-06 21:45:00 | 5.828 | 297.333 | 6.396 | 292.114 | 6.973 | 296.633 | 7.529 | 295.833 | 27.589 | 889.967 | 23.739 | 34.5165
2020-08-06 22:00:00 | 6.842 | 289.707 | 7.819 | 284.686 | 8.011 | 291.267 | 8.349 | 289.767 | 27.477 | 889.817 | 24.112 | 33.7832
2020-08-06 22:15:00 | 6.041 | 292.613 | 6.904 | 288.343 | 7.111 | 293.267 | 7.59 | 292.567 | 27.206 | 889.667 | 24.096 | 31.1569
2020-08-06 22:30:00 | 5.452 | 281.093 | 6.33 | 279.788 | 6.722 | 284.233 | 7.305 | 284.5 | 27.239 | 889.933 | 24.112 | 28.8355
2020-08-06 22:45:00 | 5.873 | 277.6 | 6.692 | 274.378 | 7.021 | 279.533 | 7.3 | 276.567 | 26.635 | 889.8 | 24.251 | 24.4705
2020-08-06 23:00:00 | 5.412 | 269.707 | 6.444 | 268.892 | 6.806 | 275.033 | 7.272 | 271.333 | 26.86 | 890.2 | 24.549 | 25.8021
2020-08-06 23:15:00 | 5.603 | 266.907 | 6.634 | 264.237 | 6.968 | 268.3 | 7.195 | 266.6 | 26.523 | 889.667 | 24.88 | 27.7462
2020-08-06 23:30:00 | 5.528 | 257.753 | 6.505 | 258.238 | 6.949 | 264.133 | 7.184 | 260.333 | 26.327 | 889.917 | 25.237 | 25.3551
2020-08-06 23:45:00 | 5.263 | 262.153 | 6.445 | 261.622 | 6.702 | 267.767 | 6.769 | 264.25 | 25.964 | 889.55 | 25.347 | 25.3729