## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-07 00:00:00 | 5.31 | 266.64 | 6.461 | 263.777 | 6.571 | 270.067 | 6.881 | 267.367 | 25.518 | 889.967 | 25.501 | 25.785
2020-08-07 00:15:00 | 5.552 | 264.867 | 6.716 | 263.826 | 7.003 | 271.667 | 7.367 | 268.467 | 25.01 | 889.783 | 25.733 | 28.6977
2020-08-07 00:30:00 | 5.286 | 267.38 | 6.665 | 268.546 | 7.019 | 275.267 | 7.22 | 272.667 | 25.127 | 889.517 | 26.043 | 26.0657
2020-08-07 00:45:00 | 5.11 | 263.547 | 6.646 | 265.912 | 7.088 | 272.733 | 7.352 | 269.533 | 24.577 | 889.933 | 26.747 | 24.5067
2020-08-07 01:00:00 | 5.371 | 274.16 | 6.684 | 272.706 | 7.306 | 281.2 | 7.609 | 279.267 | 24.302 | 889.417 | 26.627 | 25.6074
2020-08-07 01:15:00 | 5.097 | 259.607 | 6.264 | 263.431 | 6.315 | 271.067 | 6.663 | 269.3 | 24.31 | 889.867 | 26.912 | 22.0936
2020-08-07 01:30:00 | 4.443 | 256.707 | 6.05 | 262.699 | 6.386 | 272.4 | 6.669 | 269.2 | 23.281 | 889.55 | 28.395 | 17.9645
2020-08-07 01:45:00 | 4.379 | 271.36 | 5.732 | 274.156 | 6.156 | 282.067 | 6.66 | 281.267 | 23.648 | 889.683 | 28.448 | 14.8203
2020-08-07 02:00:00 | 4.036 | 262.553 | 5.058 | 272.376 | 5.577 | 282.167 | 6.185 | 284.633 | 23.098 | 889.667 | 29.309 | 11.7457
2020-08-07 02:15:00 | 3.849 | 245.867 | 3.967 | 265.3 | 4.784 | 282 | 5.457 | 285.6 | 21.885 | 889.833 | 30.955 | 8.5439
2020-08-07 02:30:00 | 3.954 | 246.773 | 3.989 | 269.797 | 4.482 | 285.6 | 5.123 | 288.133 | 21.56 | 889.783 | 31.621 | 7.0112
2020-08-07 02:45:00 | 5.457 | 231.5 | 5.009 | 241.45 | 4.661 | 253.967 | 4.859 | 258.867 | 21.702 | 889.633 | 32.197 | 9.2537
2020-08-07 03:00:00 | 5.606 | 230.1 | 5.594 | 241.912 | 5.604 | 252.6 | 5.657 | 252.317 | 21.294 | 890.017 | 32.672 | 13.3452
2020-08-07 03:15:00 | 5.572 | 233.14 | 5.678 | 243.409 | 5.66 | 253.167 | 5.637 | 254.45 | 20.944 | 890.3 | 33.637 | 16.0908
2020-08-07 03:30:00 | 5.4 | 232.46 | 5.698 | 246.471 | 5.804 | 257.133 | 6.096 | 258.283 | 20.814 | 889.6 | 34.149 | 17.1851
2020-08-07 03:45:00 | 5.47 | 225.973 | 6.066 | 240.824 | 5.929 | 250.567 | 5.913 | 249.683 | 20.594 | 889.85 | 34.821 | 19.6081
2020-08-07 04:00:00 | 5.455 | 223.82 | 6.335 | 229.856 | 6.116 | 238.7 | 5.84 | 237.9 | 20.16 | 890.183 | 35.125 | 16.7736
2020-08-07 04:15:00 | 5.324 | 220.847 | 5.968 | 224.958 | 5.922 | 233.167 | 5.854 | 232.667 | 20.231 | 889.417 | 35.653 | 15.6453
2020-08-07 04:30:00 | 5.839 | 225.44 | 6.375 | 226.784 | 6.368 | 232.367 | 6.211 | 230.6 | 20.268 | 889.833 | 36.091 | 17.2234
2020-08-07 04:45:00 | 5.712 | 227.927 | 6.474 | 231.769 | 6.226 | 237.733 | 6.068 | 233.767 | 20.089 | 889.75 | 36.661 | 14.8572
2020-08-07 05:00:00 | 5.036 | 220.627 | 5.455 | 231.672 | 5.473 | 240.533 | 5.491 | 238.533 | 19.881 | 889.767 | 37.675 | 11.7037
2020-08-07 05:15:00 | 5.587 | 218.38 | 7.344 | 219.452 | 7.029 | 227.067 | 6.867 | 224.733 | 19.414 | 889.85 | 39.211 | 12.8605
2020-08-07 05:30:00 | 5.522 | 212.707 | 6.693 | 219.873 | 6.733 | 228.2 | 6.61 | 225.533 | 19.31 | 889.85 | 40.304 | 15.9039
2020-08-07 05:45:00 | 5.422 | 204.567 | 6.763 | 212.395 | 6.033 | 221.167 | 5.635 | 219.267 | 18.86 | 889.658 | 40.779 | 17.1993
2020-08-07 06:00:00 | 6.206 | 198.753 | 6.604 | 204.935 | 6.83 | 215.567 | 7.439 | 221.733 | 19.239 | 889.375 | 40.864 | 15.9956
2020-08-07 06:15:00 | 4.08 | 215.74 | 6.469 | 225.531 | 6.619 | 235.2 | 6.57 | 231.8 | 18.756 | 889.775 | 41.152 | 18.5579
2020-08-07 06:30:00 | 5.748 | 220.053 | 6.421 | 225.719 | 6.372 | 231.533 | 6.384 | 228.733 | 18.914 | 889.933 | 40.693 | 14.7727
2020-08-07 06:45:00 | 6.316 | 216.513 | 7.155 | 222.242 | 6.893 | 229.8 | 6.72 | 226.767 | 19.106 | 890.033 | 40.4 | 14.0188
2020-08-07 07:00:00 | 5.37 | 221.06 | 6.598 | 223.555 | 5.91 | 231.067 | 5.808 | 229.767 | 19.606 | 889.75 | 39.136 | 12.8996
2020-08-07 07:15:00 | 4.762 | 223.9 | 5.697 | 228.326 | 5.262 | 237.2 | 5.12 | 235.3 | 20.406 | 889.533 | 37.04 | 9.3084
2020-08-07 07:30:00 | 4.346 | 219.867 | 5.253 | 223.505 | 4.843 | 230.4 | 4.663 | 227 | 21.514 | 889.733 | 34.667 | 6.2523
2020-08-07 07:45:00 | 4.185 | 216.507 | 4.794 | 222.194 | 4.667 | 226.633 | 4.69 | 223.233 | 22.781 | 889.95 | 32.256 | 5.941
2020-08-07 08:00:00 | 3.89 | 230.087 | 4.009 | 229.406 | 4.359 | 235.9 | 4.711 | 231.533 | 24.01 | 890 | 29.6 | 7.6279
2020-08-07 08:15:00 | 5.02 | 240.167 | 5.415 | 238.186 | 5.706 | 242.733 | 5.921 | 237.333 | 25.023 | 889.617 | 28 | 10.3999
2020-08-07 08:30:00 | 4.929 | 245.28 | 4.951 | 241.455 | 5.021 | 246.467 | 5.027 | 242.533 | 25.335 | 889.567 | 27.152 | 10.7587
2020-08-07 08:45:00 | 4.848 | 244.26 | 4.999 | 239.082 | 5.002 | 246.75 | 5.064 | 243.933 | 26.198 | 889.967 | 25.963 | 10.5583
2020-08-07 09:00:00 | 6.459 | 264.147 | 6.869 | 257.247 | 7.117 | 259.7 | 7.234 | 254.65 | 26.41 | 890.033 | 25.832 | 17.2611
2020-08-07 09:15:00 | 5.705 | 260.387 | 6.125 | 257.688 | 6.008 | 262.4 | 6.092 | 260.133 | 26.081 | 890.217 | 25.824 | 17.8537
2020-08-07 09:30:00 | 6.105 | 269.847 | 6.431 | 268.756 | 6.55 | 274.333 | 6.678 | 273.55 | 26.094 | 889.467 | 25.475 | 18.3426
2020-08-07 09:45:00 | 6.181 | 284.947 | 6.722 | 274.788 | 6.867 | 277.583 | 6.934 | 274.9 | 26.227 | 889.9 | 24.936 | 21.2921
2020-08-07 10:00:00 | 5.568 | 275.793 | 5.73 | 274.182 | 5.695 | 278.317 | 5.949 | 275.367 | 26.635 | 889.55 | 24.523 | 20.6533
2020-08-07 10:15:00 | 5.196 | 280.273 | 5.16 | 274.603 | 5.471 | 274.067 | 5.775 | 267.767 | 26.489 | 889.833 | 24.379 | 19.1356
2020-08-07 10:30:00 | 5.442 | 287.013 | 5.539 | 282.236 | 5.485 | 285.033 | 5.821 | 282.4 | 27.006 | 889.783 | 24.429 | 18.0654
2020-08-07 10:45:00 | 5.58 | 286.74 | 5.975 | 281.887 | 6.02 | 285.517 | 6.233 | 285.233 | 27.523 | 889.683 | 24.384 | 17.3677
2020-08-07 11:00:00 | 6.076 | 278.293 | 6.465 | 274.16 | 6.386 | 276.6 | 6.358 | 272.5 | 26.648 | 889.567 | 25.163 | 25.4674
2020-08-07 11:15:00 | 7.014 | 299.267 | 7.217 | 293.489 | 7.305 | 293.967 | 7.708 | 292.467 | 26.823 | 889.55 | 24.904 | 30.5387
2020-08-07 11:30:00 | 6.544 | 311.507 | 6.731 | 302.3 | 6.893 | 304.7 | 7.385 | 300.967 | 26.981 | 889.133 | 24.725 | 36.1806
2020-08-07 11:45:00 | 6.392 | 276.4 | 6.756 | 271.416 | 6.566 | 276.483 | 7.038 | 273.7 | 27.827 | 889.967 | 24.643 | 33.3981
2020-08-07 12:00:00 | 7.156 | 282.507 | 7.449 | 278.31 | 7.673 | 282 | 7.762 | 279.667 | 27.389 | 889.283 | 24.995 | 37.4533
2020-08-07 12:15:00 | 5.823 | 292.253 | 5.724 | 285.578 | 5.844 | 285.133 | 6.144 | 280.5 | 28.139 | 889.633 | 24.008 | 27.8499
2020-08-07 12:30:00 | 8.748 | 307.56 | 8.941 | 301.246 | 8.986 | 307.633 | 9.018 | 304.167 | 28.094 | 889.5 | 23.739 | 34.5094
2020-08-07 12:45:00 | 8.109 | 299.68 | 8.333 | 292.363 | 8.55 | 296.1 | 8.983 | 293.367 | 27.706 | 889.483 | 23.56 | 45.4969
2020-08-07 13:00:00 | 10.162 | 306.8 | 10.473 | 300.843 | 10.611 | 304.7 | 10.401 | 301.367 | 28.185 | 890.15 | 23.68 | 44.9291
2020-08-07 13:15:00 | 7.7 | 273.913 | 7.821 | 265.818 | 7.966 | 268.1 | 8.428 | 262.583 | 28.385 | 889.65 | 23.424 | 39.1671
2020-08-07 13:30:00 | 7.558 | 309.48 | 8.026 | 298.097 | 8.321 | 299.567 | 8.474 | 295.333 | 28.518 | 889.567 | 22.379 | 36.3071
2020-08-07 13:45:00 | 6.281 | 292.773 | 6.696 | 287.475 | 6.844 | 287.4 | 7.459 | 285.7 | 29.114 | 889.383 | 21.176 | 33.2773
2020-08-07 14:00:00 | 9.075 | 268.1 | 9.815 | 263.125 | 10.198 | 266.9 | 10.074 | 261.883 | 29.598 | 889.2 | 19.097 | 42.0599
2020-08-07 14:15:00 | 8.709 | 315.267 | 8.805 | 307.844 | 8.853 | 313.1 | 8.825 | 310.533 | 29.631 | 889.367 | 19.357 | 37.5556
2020-08-07 14:30:00 | 6.379 | 274.84 | 6.867 | 269.776 | 6.312 | 276.033 | 6.579 | 269.067 | 30.131 | 889.333 | 18.612 | 40.9834
2020-08-07 14:45:00 | 8.246 | 310.733 | 8.917 | 307.77 | 9.397 | 316.867 | 9.793 | 312.467 | 29.823 | 889.7 | 18.252 | 51.2063
2020-08-07 15:00:00 | 7.479 | 258.44 | 8.003 | 250.738 | 8.219 | 256.933 | 8.411 | 250.583 | 30.456 | 889.7 | 16.916 | 41.8204
2020-08-07 15:15:00 | 6.986 | 286.693 | 7.159 | 281.088 | 7.249 | 284.8 | 7.644 | 283.667 | 30.473 | 889.067 | 17.163 | 46.0625
2020-08-07 15:30:00 | 9.874 | 293.227 | 10.434 | 288.944 | 10.584 | 294.1 | 10.729 | 290.767 | 30.756 | 889.533 | 16.744 | 42.6461
2020-08-07 15:45:00 | 8.89 | 295.573 | 9.016 | 293.702 | 9.028 | 298.133 | 9.144 | 296.8 | 30.085 | 889.5 | 17.251 | 46.8633
2020-08-07 16:00:00 | 6.816 | 296 | 6.92 | 289.369 | 6.706 | 292.8 | 7.077 | 289.467 | 30.206 | 889.567 | 17.823 | 42.3007
2020-08-07 16:15:00 | 7.142 | 322.56 | 7.4 | 315.927 | 7.223 | 323.9 | 7.555 | 322.067 | 30.031 | 889.433 | 17.96 | 34.3744
2020-08-07 16:30:00 | 7.285 | 326.187 | 7.397 | 314.723 | 7.525 | 314.667 | 8.048 | 310.733 | 30.068 | 889.4 | 18.399 | 45.0251
2020-08-07 16:45:00 | 7.718 | 293.427 | 8.624 | 287.942 | 8.954 | 293.7 | 9.248 | 291.267 | 30.252 | 889.333 | 16.977 | 31.7836
2020-08-07 17:00:00 | 8.196 | 315.307 | 8.577 | 306.46 | 8.996 | 310.5 | 9.133 | 309.333 | 30.918 | 889.433 | 16.867 | 53.107
2020-08-07 17:15:00 | 9.897 | 280.707 | 10.375 | 274.437 | 10.586 | 279.1 | 10.608 | 275.8 | 30.681 | 889.333 | 17.105 | 49.8711
2020-08-07 17:30:00 | 11.228 | 302.16 | 11.768 | 296.172 | 12.02 | 301.533 | 12.037 | 299.667 | 30.718 | 889.667 | 16.885 | 49.54
2020-08-07 17:45:00 | 8.133 | 284.387 | 8.965 | 277.067 | 9.073 | 282.567 | 9.722 | 278.733 | 30.644 | 889.667 | 17.831 | 45.3604
2020-08-07 18:00:00 | 10.784 | 293.92 | 11.415 | 288.472 | 11.496 | 292.2 | 11.671 | 290.3 | 30.831 | 889.333 | 16.995 | 45.7214
2020-08-07 18:15:00 | 10.023 | 298.92 | 10.69 | 291.055 | 10.988 | 295.433 | 11.223 | 294.1 | 30.798 | 889.667 | 17.281 | 46.9287
2020-08-07 18:30:00 | 7.721 | 333.76 | 8.126 | 327.631 | 8.576 | 334.433 | 8.672 | 332.8 | 30.202 | 890 | 17.541 | 47.3848
2020-08-07 18:45:00 | 14.96 | 340.56 | 15.565 | 334.978 | 15.684 | 339.8 | 15.633 | 339.133 | 29.414 | 889.7 | 21.473 | 49.9429
2020-08-07 19:00:00 | 13.346 | 338.52 | 14 | 335.093 | 14.475 | 338.833 | 14.749 | 339.2 | 29.114 | 889.75 | 20.893 | 61.0363
2020-08-07 19:15:00 | 11.194 | 333.067 | 11.724 | 329.3 | 12.06 | 333.933 | 12.22 | 331.833 | 29.164 | 889.7 | 20.976 | 66.9986
2020-08-07 19:30:00 | 8.671 | 336.227 | 8.875 | 332.379 | 9.018 | 335.567 | 9.406 | 333.033 | 28.464 | 890.117 | 21.115 | 68.1959
2020-08-07 19:45:00 | 8.941 | 322.733 | 9.309 | 316.972 | 9.88 | 323.1 | 10.129 | 323.133 | 29.264 | 889.867 | 20.749 | 61.0505
2020-08-07 20:00:00 | 7.847 | 331.347 | 8.47 | 324.552 | 8.56 | 328.233 | 8.654 | 328.467 | 28.618 | 889.5 | 20.491 | 51.1246
2020-08-07 20:15:00 | 7.132 | 335.173 | 7.484 | 335.062 | 7.701 | 329.467 | 8.287 | 341.067 | 28.852 | 888.883 | 20.587 | 40.8597
2020-08-07 20:30:00 | 6.291 | 334.253 | 6.829 | 327.63 | 7.024 | 332.2 | 7.29 | 329.733 | 28.185 | 889.583 | 21.123 | 28.3608
2020-08-07 20:45:00 | 3.728 | 330.52 | 4.235 | 324.136 | 4.488 | 326.6 | 4.919 | 324.667 | 28.018 | 889.5 | 22.515 | 12.7561
2020-08-07 21:00:00 | 3.525 | 347.853 | 4.174 | 344.502 | 4.568 | 349.333 | 5.104 | 348.733 | 27.402 | 889.633 | 23.075 | 6.2651
2020-08-07 21:15:00 | 2.925 | 339.44 | 3.591 | 339.262 | 3.696 | 344.567 | 4.04 | 343.867 | 27.156 | 889.883 | 23.523 | 5.0251
2020-08-07 21:30:00 | 1.249 | 327.4 | 1.054 | 325.021 | 1.281 | 322.1 | 2.117 | 328 | 26.839 | 889.417 | 23.944 | 0.63169
2020-08-07 21:45:00 | 1.33 | 250.48 | 0.23 | 294.283 | 0.344 | 298.033 | 1.661 | 308.067 | 26.514 | 889.867 | 24.563 | 0.36381
2020-08-07 22:00:00 | 2.269 | 230.74 | 1.163 | 270.156 | 0.803 | 268.4 | 1.668 | 288.933 | 25.644 | 889.817 | 25.424 | 0.29844
2020-08-07 22:15:00 | 2.718 | 220.853 | 1.854 | 228.848 | 1.635 | 239.8 | 1.835 | 257.6 | 25.806 | 889.833 | 25.669 | 0.23591
2020-08-07 22:30:00 | 2.906 | 217.4 | 1.853 | 229.963 | 1.718 | 234.867 | 2.059 | 250 | 26.023 | 889.417 | 25.728 | 0.2018
2020-08-07 22:45:00 | 3.401 | 213.88 | 2.042 | 224.428 | 1.834 | 234.067 | 2.094 | 248 | 25.435 | 889.817 | 25.829 | 0.17054
2020-08-07 23:00:00 | 4.046 | 219.1 | 2.678 | 227.466 | 2.54 | 240 | 2.64 | 241 | 25.239 | 889.25 | 26.341 | 0.20962
2020-08-07 23:15:00 | 5.12 | 219.64 | 4.03 | 223.59 | 3.603 | 240.333 | 3.716 | 244.633 | 23.264 | 889.233 | 28.272 | 1.4531
2020-08-07 23:30:00 | 4.997 | 220.613 | 4.81 | 221.178 | 4.27 | 231.633 | 4.122 | 233.133 | 23.064 | 889.917 | 28.992 | 2.514
2020-08-07 23:45:00 | 4.984 | 227.147 | 4.45 | 235.526 | 4.444 | 243.567 | 4.5 | 242.333 | 22.731 | 889.367 | 29.248 | 4.5462