## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-08 00:00:00 | 5.333 | 229.76 | 5.408 | 237.713 | 5.067 | 246.2 | 4.805 | 241.233 | 22.648 | 889.767 | 29.749 | 9.749
2020-08-08 00:15:00 | 5.225 | 233.6 | 6.017 | 239.511 | 5.787 | 243.533 | 5.446 | 236.9 | 22.948 | 889.417 | 30.507 | 13.5121
2020-08-08 00:30:00 | 5.142 | 236.647 | 5.709 | 244.751 | 5.537 | 250.067 | 5.66 | 243.867 | 22.414 | 889.667 | 31.376 | 13.532
2020-08-08 00:45:00 | 4.565 | 238.407 | 5.996 | 248.712 | 6.115 | 254.533 | 6.352 | 249.5 | 22.914 | 889.75 | 32.123 | 18.015
2020-08-08 01:00:00 | 5.058 | 235.567 | 5.496 | 244.485 | 5.453 | 252.467 | 5.642 | 248.817 | 22.781 | 890.017 | 32.885 | 16.8532
2020-08-08 01:15:00 | 4.782 | 233.7 | 5.572 | 244.238 | 5.494 | 251.2 | 5.643 | 247.9 | 22.564 | 890.167 | 33.573 | 13.7893
2020-08-08 01:30:00 | 4.902 | 226.387 | 6.05 | 233.085 | 5.821 | 243.833 | 5.728 | 243.7 | 21.489 | 889.25 | 34.747 | 12.5294
2020-08-08 01:45:00 | 4.166 | 225.887 | 5.379 | 236.107 | 5.418 | 246.5 | 5.376 | 244.767 | 21.627 | 889.8 | 35.243 | 11.1168
2020-08-08 02:00:00 | 4.894 | 226.76 | 6.271 | 239.258 | 6.008 | 250.9 | 5.671 | 249.8 | 21.077 | 890.367 | 35.909 | 15.1955
2020-08-08 02:15:00 | 5.003 | 234.147 | 6.233 | 241.22 | 5.956 | 250.6 | 5.437 | 250.067 | 21.289 | 889.75 | 35.803 | 15.523
2020-08-08 02:30:00 | 4.724 | 226.773 | 5.722 | 236.733 | 5.754 | 250.467 | 5.242 | 250.833 | 21.377 | 889.933 | 36.821 | 14.1943
2020-08-08 02:45:00 | 4.901 | 224.76 | 5.456 | 238.424 | 5.473 | 250.1 | 5.13 | 249.1 | 20.868 | 889.783 | 37.808 | 11.8338
2020-08-08 03:00:00 | 5.232 | 233.193 | 6.04 | 244.303 | 5.701 | 255.633 | 5.602 | 257.283 | 20.918 | 889.55 | 38.181 | 13.348
2020-08-08 03:15:00 | 5.068 | 239.1 | 6.282 | 249.305 | 5.887 | 263.267 | 5.814 | 268.1 | 20.831 | 889.5 | 38.459 | 16.4873
2020-08-08 03:30:00 | 5.235 | 250.42 | 5.562 | 264.635 | 5.597 | 276.667 | 5.83 | 279.2 | 20.718 | 889.7 | 38.453 | 12.6943
2020-08-08 03:45:00 | 5.072 | 248.207 | 5.309 | 264.379 | 5.417 | 279.733 | 5.996 | 285.4 | 21.031 | 889.567 | 38.512 | 11.924
2020-08-08 04:00:00 | 4.971 | 247.847 | 5.036 | 263.436 | 5.145 | 276.2 | 5.426 | 279.333 | 20.839 | 889.85 | 38.429 | 11.0664
2020-08-08 04:15:00 | 5.046 | 251.46 | 5.619 | 266.642 | 5.779 | 277.9 | 6.163 | 278.767 | 20.823 | 889.583 | 38.075 | 12.3902
2020-08-08 04:30:00 | 5.064 | 253.607 | 5.239 | 265.536 | 5.482 | 275.8 | 6.002 | 273.633 | 20.589 | 889.717 | 36.477 | 12.0739
2020-08-08 04:45:00 | 5.152 | 242.687 | 5.353 | 259.484 | 5.506 | 270.533 | 5.964 | 268.667 | 20.464 | 889.733 | 37.131 | 13.3679
2020-08-08 05:00:00 | 5.998 | 228.393 | 6.696 | 236.237 | 6.13 | 247.667 | 5.795 | 247.533 | 19.252 | 889.667 | 40.523 | 17.5027
2020-08-08 05:15:00 | 6.302 | 225.773 | 7.061 | 233.796 | 6.945 | 243.033 | 6.63 | 242.167 | 19.127 | 889.858 | 41.237 | 22.0325
2020-08-08 05:30:00 | 6.445 | 222.727 | 7.302 | 228.774 | 6.804 | 237.633 | 6.496 | 236.033 | 19.185 | 889.842 | 41.056 | 20.6746
2020-08-08 05:45:00 | 6.253 | 220.933 | 6.939 | 227.082 | 6.75 | 233.833 | 6.553 | 231.033 | 19.418 | 889.642 | 40.805 | 19.3466
2020-08-08 06:00:00 | 5.972 | 223.087 | 6.93 | 230.044 | 6.647 | 239.7 | 6.581 | 236 | 19.273 | 889.883 | 40.144 | 19.191
2020-08-08 06:15:00 | 6.151 | 222.727 | 7.06 | 232.73 | 6.762 | 241.8 | 6.605 | 239.433 | 19.268 | 890.142 | 41.291 | 21.0825
2020-08-08 06:30:00 | 5.798 | 225.767 | 7.432 | 229.834 | 7.134 | 238.1 | 6.641 | 236.533 | 18.973 | 889.758 | 42.677 | 23.0963
2020-08-08 06:45:00 | 5.864 | 225.347 | 7.212 | 230.634 | 6.865 | 239.933 | 6.299 | 239.1 | 18.635 | 889.525 | 42.827 | 19.9769
2020-08-08 07:00:00 | 5.809 | 221.4 | 6.9 | 227.083 | 6.521 | 238 | 5.952 | 237.4 | 18.656 | 890.025 | 43.115 | 16.3622
2020-08-08 07:15:00 | 5.143 | 221.34 | 6.169 | 227.069 | 5.625 | 240.567 | 5.276 | 240.833 | 18.956 | 889.992 | 42.229 | 12.1393
2020-08-08 07:30:00 | 4.736 | 216.76 | 6.533 | 219.003 | 5.814 | 227.6 | 5.305 | 229.467 | 19.777 | 889.717 | 40.48 | 12.253
2020-08-08 07:45:00 | 4.713 | 217.82 | 5.96 | 221.368 | 6.292 | 231.033 | 6.172 | 227.333 | 20.856 | 889.367 | 37.819 | 14.0571
2020-08-08 08:00:00 | 4.041 | 224.093 | 5.204 | 224.607 | 6.106 | 233.2 | 6.03 | 231.733 | 22.464 | 889.683 | 33.968 | 16.7083
2020-08-08 08:15:00 | 4.93 | 243.873 | 5.313 | 240.501 | 6.094 | 247.833 | 6.474 | 244.8 | 24.135 | 889.667 | 28.528 | 17.1176
2020-08-08 08:30:00 | 5.514 | 261.693 | 5.997 | 257.087 | 6.362 | 260.3 | 6.66 | 256.6 | 25.381 | 890 | 24.36 | 23.2234
2020-08-08 08:45:00 | 5.453 | 265.78 | 5.985 | 261.551 | 5.863 | 266.517 | 5.981 | 262.683 | 26.068 | 889.65 | 22.848 | 20.6647
2020-08-08 09:00:00 | 6.021 | 270.347 | 6.394 | 266.579 | 6.342 | 270.467 | 6.501 | 266.75 | 25.644 | 889.5 | 21.96 | 22.8142
2020-08-08 09:15:00 | 6.441 | 274.6 | 6.715 | 270.388 | 6.975 | 273.767 | 6.943 | 267.767 | 25.998 | 889.683 | 20.979 | 24.3881
2020-08-08 09:30:00 | 5.945 | 266.3 | 6.236 | 262.717 | 6.351 | 266.217 | 6.472 | 261.433 | 26.689 | 889.583 | 20.344 | 20.4331
2020-08-08 09:45:00 | 6.018 | 259.38 | 6.51 | 257.928 | 6.4 | 260.933 | 6.45 | 259.25 | 27.523 | 889.533 | 19.832 | 16.5065
2020-08-08 10:00:00 | 5.682 | 317.627 | 5.903 | 313.96 | 6.112 | 317.3 | 6.42 | 314.4 | 27.327 | 889.333 | 20.296 | 19.8731
2020-08-08 10:15:00 | 6.429 | 318.173 | 6.334 | 310.182 | 6.491 | 313.1 | 6.78 | 309.467 | 26.881 | 889.383 | 20.313 | 23.5198
2020-08-08 10:30:00 | 6.666 | 287.547 | 7 | 283.911 | 6.945 | 288.2 | 7.302 | 288.2 | 27.494 | 889.233 | 19.743 | 22.6763
2020-08-08 10:45:00 | 6.584 | 297.6 | 6.981 | 290.786 | 7.298 | 295.633 | 7.556 | 292.533 | 27.281 | 889.833 | 19.5 | 28.5754
2020-08-08 11:00:00 | 6.321 | 291.707 | 6.79 | 285.709 | 7.206 | 289.767 | 7.766 | 286.233 | 27.302 | 889.3 | 19.657 | 39.2972
2020-08-08 11:15:00 | 8.312 | 327.307 | 8.636 | 318.96 | 8.985 | 326.567 | 9.284 | 323.567 | 27.781 | 889.7 | 18.88 | 44.2647
2020-08-08 11:30:00 | 9 | 319.52 | 9.43 | 314.059 | 9.598 | 318 | 9.97 | 315.4 | 27.968 | 889.5 | 18.364 | 47.8389
2020-08-08 11:45:00 | 8.256 | 294.187 | 8.755 | 288.84 | 8.748 | 294.833 | 9.196 | 291.4 | 27.952 | 889.267 | 18.477 | 45.946
2020-08-08 12:00:00 | 7.502 | 305.04 | 7.916 | 300.432 | 8.109 | 303.633 | 8.464 | 300.067 | 28.002 | 889.433 | 17.621 | 39.5317
2020-08-08 12:15:00 | 8.87 | 286 | 9.257 | 281.519 | 9.451 | 286.1 | 9.795 | 282.167 | 28.91 | 889.233 | 15.863 | 40.9613
2020-08-08 12:30:00 | 8.974 | 297.867 | 9.448 | 294.057 | 9.794 | 297.3 | 10.242 | 295.933 | 28.881 | 889.4 | 14.443 | 48.0165
2020-08-08 12:45:00 | 8.416 | 289.053 | 9.013 | 285.046 | 9.259 | 289.733 | 9.631 | 285.133 | 29.064 | 889.533 | 15.515 | 44.0217
2020-08-08 13:00:00 | 7.145 | 285.733 | 7.584 | 282.232 | 7.663 | 287.067 | 7.748 | 284.467 | 28.881 | 889.533 | 16.927 | 47.8801
2020-08-08 13:15:00 | 11.513 | 307.573 | 11.746 | 300.784 | 12.038 | 306.633 | 12.414 | 301.567 | 29.398 | 889.667 | 14.352 | 41.3266
2020-08-08 13:30:00 | 8.372 | 274.947 | 9.269 | 269.344 | 9.234 | 274.367 | 9.344 | 270 | 29.764 | 889.567 | 13.975 | 52.9038
2020-08-08 13:45:00 | 8.333 | 294.893 | 8.78 | 291.265 | 9.116 | 294.1 | 9.773 | 291.2 | 29.781 | 889.533 | 14.791 | 51.7918
2020-08-08 14:00:00 | 9.16 | 271.967 | 9.87 | 269.036 | 10.232 | 273.767 | 10.291 | 271.383 | 30.123 | 889.1 | 14.4 | 41.7366
2020-08-08 14:15:00 | 9.449 | 300.813 | 10.205 | 293.587 | 10.517 | 297.867 | 10.704 | 295.733 | 30.135 | 889.4 | 14.328 | 55.7759
2020-08-08 14:30:00 | 8.52 | 288.22 | 9.221 | 282.349 | 9.449 | 285.567 | 9.804 | 282.5 | 29.952 | 889.433 | 14.443 | 57.7641
2020-08-08 14:45:00 | 9.665 | 289.147 | 10.382 | 280.061 | 10.402 | 285.067 | 10.872 | 282.8 | 30.756 | 889.333 | 13.417 | 54.7506
2020-08-08 15:00:00 | 7.949 | 311.293 | 8.259 | 301.993 | 8.414 | 304.433 | 8.798 | 300.467 | 30.373 | 889.433 | 13.895 | 59.6727
2020-08-08 15:15:00 | 7.359 | 300.347 | 7.804 | 297.437 | 7.88 | 301.8 | 8.258 | 298.2 | 30.444 | 889.7 | 14.259 | 46.3474
2020-08-08 15:30:00 | 8.513 | 290.48 | 9.276 | 290.514 | 9.578 | 297.7 | 9.925 | 294.467 | 31.24 | 889.1 | 13.679 | 53.9377
2020-08-08 15:45:00 | 9.129 | 288.473 | 9.407 | 285.761 | 9.499 | 289.367 | 9.699 | 288.867 | 30.523 | 889.633 | 13.915 | 51.4479
2020-08-08 16:00:00 | 9.712 | 308.813 | 9.979 | 298.76 | 10.34 | 303.1 | 10.402 | 299.967 | 31.027 | 889.667 | 13.9 | 44.4893
2020-08-08 16:15:00 | 8.721 | 291.194 | 9.32 | 284.941 | 9.582 | 288.333 | 10.148 | 281.933 | 31.329 | 889.7 | 13.765 | 49.5038
2020-08-08 16:30:00 | 7.056 | 297.333 | 7.894 | 290.434 | 8.258 | 295.367 | 8.226 | 292.917 | 30.827 | 889.567 | 13.324 | 54.4401
2020-08-08 16:45:00 | 8.928 | 275.92 | 9.555 | 267.726 | 10.056 | 275.433 | 10.529 | 274.667 | 31.303 | 889.433 | 13.089 | 64.5159
2020-08-08 17:00:00 | 8.561 | 297.88 | 8.73 | 291.566 | 8.724 | 293.867 | 9.012 | 289.6 | 31.566 | 889.2 | 12.3 | 55.2316
2020-08-08 17:15:00 | 9.164 | 323.533 | 9.56 | 314.142 | 9.622 | 317.3 | 9.593 | 314.567 | 30.827 | 889.467 | 13.752 | 55.0846
2020-08-08 17:30:00 | 8.617 | 310.827 | 9.197 | 302.777 | 9.705 | 307.733 | 10.11 | 305.4 | 31.63 | 889.567 | 12.931 | 52.8505
2020-08-08 17:45:00 | 8.117 | 305.067 | 8.623 | 299.107 | 8.929 | 302.633 | 9.1 | 298.933 | 31.344 | 889.6 | 13.001 | 54.7264
2020-08-08 18:00:00 | 11.826 | 288.707 | 12.569 | 280.6 | 12.588 | 281.533 | 12.993 | 279.767 | 31.747 | 889.767 | 13.944 | 57.2397
2020-08-08 18:15:00 | 9.965 | 309.04 | 10.517 | 302.691 | 10.679 | 305.367 | 10.821 | 303.5 | 30.929 | 889.433 | 14.531 | 60.8025
2020-08-08 18:30:00 | 12.064 | 312.667 | 12.841 | 303.742 | 13.457 | 307.5 | 13.819 | 305.833 | 31.657 | 889.3 | 15.781 | 65.1085
2020-08-08 18:45:00 | 8.817 | 286.733 | 9.708 | 280.46 | 9.804 | 285.667 | 9.822 | 281.333 | 31.181 | 889.533 | 16.147 | 62.5682
2020-08-08 19:00:00 | 10.761 | 291.987 | 11.608 | 284.418 | 11.909 | 289.467 | 12.168 | 286.933 | 30.418 | 889.767 | 17.405 | 62.3181
2020-08-08 19:15:00 | 9.244 | 302.573 | 10.092 | 297.412 | 10.506 | 302.1 | 10.602 | 300.733 | 30.664 | 889.867 | 16.959 | 63.9283
2020-08-08 19:30:00 | 9.909 | 303.827 | 10.73 | 299.121 | 11.029 | 305.133 | 11.092 | 302.367 | 30.006 | 889.3 | 18.321 | 66.1296
2020-08-08 19:45:00 | 8.116 | 318.827 | 8.833 | 314.148 | 9.151 | 317.267 | 9.596 | 315.267 | 30.102 | 890 | 17.699 | 44.9689
2020-08-08 20:00:00 | 8.096 | 293.547 | 8.745 | 288.346 | 9.059 | 292.2 | 9.365 | 289.9 | 30.031 | 889.933 | 19.429 | 52.5706
2020-08-08 20:15:00 | 7.967 | 311.667 | 8.49 | 306.498 | 8.926 | 311.1 | 9.038 | 309.9 | 29.931 | 889.7 | 19.376 | 37.5499
2020-08-08 20:30:00 | 6.026 | 311.213 | 6.565 | 306.454 | 6.893 | 309.967 | 7.232 | 308.1 | 30.164 | 889.067 | 19.868 | 35.5646
2020-08-08 20:45:00 | 5.534 | 309.8 | 6.162 | 304.496 | 6.286 | 307.167 | 6.524 | 304.467 | 29.498 | 889.6 | 20.055 | 23.2838
2020-08-08 21:00:00 | 5.674 | 297.24 | 6.529 | 291.055 | 6.822 | 296.067 | 7.302 | 293.167 | 29.564 | 889.85 | 21.312 | 23.6782
2020-08-08 21:15:00 | 5.187 | 295 | 6.356 | 289.944 | 6.801 | 294.567 | 7.397 | 292.3 | 29.031 | 889.25 | 21.8 | 24.1529
2020-08-08 21:30:00 | 4.532 | 314.587 | 5.474 | 312.005 | 5.761 | 317.533 | 6.227 | 315.4 | 28.814 | 889.7 | 21.976 | 22.4226
2020-08-08 21:45:00 | 4.776 | 308.867 | 5.654 | 305.806 | 6.104 | 309.767 | 6.599 | 308.633 | 28.031 | 889.85 | 21.205 | 16.2151
2020-08-08 22:00:00 | 3.792 | 300.573 | 4.662 | 301.435 | 4.977 | 308.767 | 5.463 | 308.733 | 28.21 | 889.833 | 21.531 | 11.9894
2020-08-08 22:15:00 | 3.417 | 293.987 | 4.101 | 297.5 | 4.344 | 306.133 | 4.881 | 305.367 | 27.385 | 889.45 | 22.339 | 7.9093
2020-08-08 22:30:00 | 3.235 | 282.347 | 3.786 | 293.466 | 3.93 | 303.333 | 4.306 | 302.8 | 27.023 | 890.133 | 22.896 | 5.0074
2020-08-08 22:45:00 | 3.384 | 275.32 | 3.814 | 285.912 | 3.984 | 294.567 | 4.389 | 295 | 26.794 | 889.4 | 23.245 | 3.9884
2020-08-08 23:00:00 | 2.876 | 279.853 | 3.096 | 298.252 | 3.401 | 308.033 | 4.002 | 309.633 | 26.723 | 889.95 | 23.573 | 3.9337
2020-08-08 23:15:00 | 2.747 | 253.607 | 2.601 | 285.608 | 3.092 | 307.9 | 3.922 | 312.633 | 25.889 | 889.783 | 24.557 | 2.5602
2020-08-08 23:30:00 | 3.423 | 251.773 | 2.961 | 266.905 | 2.65 | 280.133 | 3.041 | 293.2 | 24.914 | 889.517 | 26.096 | 1.3423
2020-08-08 23:45:00 | 3.128 | 250.413 | 3.154 | 275.201 | 3.367 | 289 | 4.053 | 291.5 | 24.739 | 890.167 | 27.173 | 1.726