## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-10 00:00:00 | 3.898 | 251.927 | 4.408 | 268.293 | 4.559 | 278.833 | 4.964 | 278.5 | 24.535 | 890 | 21.648 | 7.7132
2020-08-10 00:15:00 | 3.928 | 251.38 | 4.058 | 265.607 | 4.031 | 276.667 | 4.381 | 279.667 | 24.339 | 889.867 | 22.787 | 5.8032
2020-08-10 00:30:00 | 4.932 | 250.113 | 4.817 | 263.65 | 4.642 | 274.6 | 4.96 | 278.567 | 23.702 | 890.117 | 22.875 | 6.6019
2020-08-10 00:45:00 | 5.491 | 250.107 | 5.355 | 262.374 | 5.353 | 272.267 | 5.631 | 272.467 | 23.798 | 889.283 | 23.091 | 9.6872
2020-08-10 01:00:00 | 4.843 | 257.193 | 5.265 | 268.059 | 5.443 | 278 | 5.813 | 277.933 | 23.314 | 889.6 | 23.115 | 11.7208
2020-08-10 01:15:00 | 4.728 | 273.68 | 5.602 | 282.852 | 5.961 | 289.1 | 6.398 | 289.333 | 23.264 | 890.117 | 22.696 | 15.2857
2020-08-10 01:30:00 | 4.852 | 262.973 | 5.821 | 276.593 | 6.132 | 284.1 | 6.594 | 282.3 | 23.581 | 889.817 | 22.587 | 16.2592
2020-08-10 01:45:00 | 4.829 | 254.313 | 5.398 | 271.608 | 5.62 | 282.7 | 5.974 | 282.367 | 22.948 | 889.567 | 23.469 | 12.6616
2020-08-10 02:00:00 | 4.239 | 234.787 | 4.624 | 259.211 | 4.596 | 275.933 | 5.06 | 278.533 | 22.831 | 890.117 | 23.784 | 9.3454
2020-08-10 02:15:00 | 4.747 | 236.307 | 5.2 | 250.423 | 4.812 | 264.067 | 4.951 | 267.167 | 21.814 | 889.317 | 24.517 | 9.2374
2020-08-10 02:30:00 | 5.472 | 227.273 | 6.222 | 236.143 | 5.88 | 246.833 | 5.655 | 245.767 | 21.727 | 889.533 | 24.923 | 12.8087
2020-08-10 02:45:00 | 5.545 | 226.947 | 6.366 | 233.628 | 6.068 | 241.733 | 5.873 | 239.933 | 21.777 | 889.65 | 24.981 | 15.8179
2020-08-10 03:00:00 | 4.997 | 230.507 | 6.134 | 234.114 | 5.913 | 242.2 | 5.761 | 238.667 | 22.089 | 889.983 | 24.656 | 13.9527
2020-08-10 03:15:00 | 4.943 | 237.36 | 6.117 | 238.265 | 6.228 | 245.1 | 6.11 | 241.5 | 22.094 | 889.467 | 24.816 | 13.8461
2020-08-10 03:30:00 | 4.541 | 246.68 | 5.757 | 246.482 | 5.84 | 254.067 | 5.706 | 253.25 | 22.473 | 889.383 | 24.789 | 13.3309
2020-08-10 03:45:00 | 4.945 | 248.12 | 5.469 | 253.751 | 5.34 | 262.867 | 5.339 | 260.533 | 22.164 | 889.75 | 25.008 | 10.4851
2020-08-10 04:00:00 | 4.303 | 237.233 | 4.737 | 248.736 | 4.52 | 256.567 | 4.616 | 256.433 | 22.431 | 889.767 | 25.264 | 7.5832
2020-08-10 04:15:00 | 4.578 | 221.46 | 5.734 | 228.843 | 5.316 | 242.8 | 5.285 | 240.633 | 22.114 | 889.683 | 25.621 | 7.721
2020-08-10 04:30:00 | 4.564 | 220.767 | 5.867 | 229.71 | 5.72 | 240.267 | 5.709 | 238.867 | 21.431 | 890.05 | 26.389 | 10.9406
2020-08-10 04:45:00 | 4.473 | 237.02 | 6.277 | 241.976 | 6.399 | 253.533 | 6.344 | 250.967 | 21.573 | 889.567 | 26.363 | 17.055
2020-08-10 05:00:00 | 5.085 | 235.173 | 6.213 | 243.666 | 6.028 | 253.333 | 6.18 | 254.317 | 22.068 | 889.8 | 25.931 | 17.8089
2020-08-10 05:15:00 | 4.915 | 238.34 | 6.045 | 245.967 | 6.008 | 257.167 | 6.001 | 259.483 | 21.952 | 889.483 | 26.109 | 16.7225
2020-08-10 05:30:00 | 6.372 | 241.347 | 7.525 | 245.141 | 7.666 | 252.933 | 7.736 | 250.5 | 22.423 | 889.767 | 25.691 | 33.6396
2020-08-10 05:45:00 | 5.22 | 255.473 | 6.298 | 262.671 | 6.756 | 271.2 | 7.175 | 269.367 | 22.027 | 889.417 | 25.715 | 28.3488
2020-08-10 06:00:00 | 5 | 259.973 | 5.843 | 263.674 | 6.226 | 269.283 | 6.466 | 265.917 | 22.377 | 889.717 | 24.864 | 22.9037
2020-08-10 06:15:00 | 4.763 | 269.187 | 6.088 | 274.09 | 6.542 | 279.833 | 7.033 | 278.533 | 22.998 | 889.75 | 23.723 | 20.8729
2020-08-10 06:30:00 | 6.109 | 279.667 | 7.401 | 278.423 | 7.488 | 281.767 | 7.892 | 280.133 | 22.331 | 889.917 | 21.579 | 23.5809
2020-08-10 06:45:00 | 4.908 | 284.667 | 5.914 | 283.144 | 6.337 | 289.133 | 6.911 | 287.2 | 22.631 | 889.783 | 21.411 | 22.2002
2020-08-10 07:00:00 | 6.222 | 290.333 | 7.504 | 288.297 | 8.115 | 290.6 | 8.483 | 286.633 | 22.514 | 889.817 | 22.803 | 27.7142
2020-08-10 07:15:00 | 9.042 | 293.6 | 10.934 | 286.088 | 11.81 | 288.633 | 12.706 | 283.967 | 22.398 | 889.817 | 23.2 | 50.6805
2020-08-10 07:30:00 | 9.58 | 289.08 | 11.362 | 282.972 | 11.847 | 287.667 | 12.365 | 285.1 | 22.514 | 889.983 | 23.787 | 74.1355
2020-08-10 07:45:00 | 11.017 | 286.44 | 12.103 | 280.552 | 12.692 | 285.633 | 13.161 | 282.367 | 23.081 | 889.733 | 24.805 | 81.0828
2020-08-10 08:00:00 | 10.149 | 285.92 | 11.197 | 280.876 | 11.608 | 282.333 | 11.796 | 280.767 | 22.898 | 889.65 | 25.285 | 87.3066
2020-08-10 08:15:00 | 8.324 | 282.88 | 9.014 | 279.308 | 9.335 | 283.7 | 9.628 | 281.6 | 23.181 | 890.117 | 25.499 | 66.001
2020-08-10 08:30:00 | 9.183 | 289.933 | 9.971 | 284.509 | 10.539 | 288.767 | 11.075 | 286.6 | 23.381 | 890.017 | 25.456 | 60.9162
2020-08-10 08:45:00 | 9.215 | 281.933 | 10.258 | 274.895 | 10.342 | 279.2 | 10.201 | 276.3 | 23.598 | 889.733 | 26.955 | 66.4174
2020-08-10 09:00:00 | 11.155 | 287.587 | 12.202 | 283.5 | 12.8 | 285.333 | 13.025 | 283.4 | 23.523 | 889.95 | 30.491 | 73.1777
2020-08-10 09:15:00 | 11.179 | 282.787 | 12.128 | 276.57 | 12.299 | 280.233 | 12.276 | 277.567 | 23.564 | 889.8 | 31.707 | 66.762
2020-08-10 09:30:00 | 8.316 | 266.36 | 8.873 | 262.866 | 8.936 | 268.867 | 9.138 | 264.1 | 23.789 | 889.517 | 31.293 | 54.5673
2020-08-10 09:45:00 | 6.165 | 272.327 | 6.418 | 263.777 | 6.498 | 266.033 | 6.706 | 262.217 | 23.548 | 889.967 | 32.416 | 45.5409
2020-08-10 10:00:00 | 11.154 | 291.547 | 12.818 | 282.984 | 13.194 | 286.5 | 13.806 | 284.65 | 23.806 | 889.567 | 29.101 | 48.58
2020-08-10 10:15:00 | 14.912 | 280.36 | 15.785 | 275.466 | 15.454 | 277.433 | 15.293 | 277.3 | 23.898 | 889.75 | 27.248 | 69.3712
2020-08-10 10:30:00 | 13.49 | 266.313 | 14.751 | 262.166 | 14.936 | 264.233 | 14.987 | 262.217 | 23.281 | 889.667 | 31.781 | 80.6678
2020-08-10 10:45:00 | 11.85 | 258.6 | 12.469 | 252.367 | 12.796 | 257.867 | 12.745 | 251.383 | 23.968 | 889.883 | 29.368 | 79.1045
2020-08-10 11:00:00 | 12.728 | 250.073 | 13.705 | 245.492 | 13.841 | 249.017 | 13.624 | 243.2 | 23.556 | 890.117 | 30.424 | 78.2405
2020-08-10 11:15:00 | 11.92 | 242.78 | 12.422 | 237.429 | 13.048 | 241.867 | 12.966 | 235.133 | 23.498 | 889.533 | 31.504 | 80.2486
2020-08-10 11:30:00 | 9.11 | 234.513 | 9.41 | 232.119 | 9.974 | 235.633 | 9.916 | 229.5 | 23.464 | 889.833 | 33.413 | 77.4034
2020-08-10 11:45:00 | 9.56 | 249.573 | 9.977 | 245.876 | 10.321 | 250.217 | 10.07 | 243.517 | 24.06 | 889.283 | 29.915 | 72.6142
2020-08-10 12:00:00 | 8.668 | 239.64 | 8.948 | 236.306 | 9.366 | 239.467 | 9.235 | 234.833 | 24.239 | 889.683 | 31.696 | 70.5706
2020-08-10 12:15:00 | 7.817 | 262.067 | 8.604 | 257.242 | 9.07 | 259.333 | 9.01 | 253.533 | 24.581 | 889.833 | 30.133 | 61.6829
2020-08-10 12:30:00 | 9.051 | 270.827 | 9.429 | 265.884 | 9.635 | 269.167 | 9.74 | 265.483 | 25.202 | 889.883 | 28.832 | 49.3794
2020-08-10 12:45:00 | 7.873 | 264.653 | 8.443 | 256.208 | 8.528 | 262.783 | 9.072 | 260.683 | 25.531 | 889.617 | 28.003 | 43.8576
2020-08-10 13:00:00 | 7.741 | 272.233 | 8.167 | 265.559 | 8.435 | 271.217 | 8.726 | 268.283 | 25.818 | 889.933 | 26.709 | 33.4847
2020-08-10 13:15:00 | 7.486 | 300.347 | 7.82 | 295.479 | 8.112 | 300.533 | 8.655 | 295.933 | 26.218 | 889.767 | 25.608 | 33.3895
2020-08-10 13:30:00 | 7.128 | 274.28 | 7.387 | 271.533 | 7.724 | 277.167 | 7.838 | 273.1 | 27.085 | 889.617 | 25.181 | 25.2677
2020-08-10 13:45:00 | 8.113 | 271.6 | 8.345 | 266.051 | 8.469 | 273.233 | 8.902 | 269.217 | 26.398 | 889.817 | 25.016 | 25.9883
2020-08-10 14:00:00 | 6.823 | 284.207 | 7.226 | 278.567 | 7.545 | 282.233 | 7.637 | 280.583 | 27.331 | 889.717 | 24.083 | 27.3817
2020-08-10 14:15:00 | 7.826 | 288.96 | 8.319 | 283.241 | 8.254 | 286.533 | 8.571 | 283.933 | 26.714 | 889.717 | 23.768 | 24.1287
2020-08-10 14:30:00 | 6.165 | 327.533 | 6.41 | 320.262 | 6.357 | 324.2 | 6.617 | 320.767 | 26.668 | 889.733 | 23.419 | 20.529
2020-08-10 14:45:00 | 6.322 | 279.16 | 6.743 | 274.683 | 7.013 | 279.917 | 7.664 | 279.25 | 28.464 | 890.083 | 21.573 | 25.2315
2020-08-10 15:00:00 | 7.189 | 299.813 | 7.782 | 292.351 | 8.034 | 297.467 | 8.368 | 293.567 | 27.244 | 889.55 | 23.96 | 34.7858
2020-08-10 15:15:00 | 7.399 | 294.587 | 7.744 | 288.437 | 7.969 | 292.667 | 8.037 | 287.4 | 27.214 | 889.45 | 24.629 | 35.1468
2020-08-10 15:30:00 | 6.418 | 293.213 | 6.784 | 290.22 | 6.888 | 297.333 | 7.196 | 293.733 | 28.031 | 889.95 | 22.901 | 25.8511
2020-08-10 15:45:00 | 7.929 | 303 | 7.97 | 299.652 | 7.992 | 304.067 | 8.26 | 299.533 | 27.468 | 889.65 | 23.653 | 37.2003
2020-08-10 16:00:00 | 6.58 | 298.627 | 6.891 | 295.304 | 7.05 | 299.183 | 7.041 | 298.167 | 27.664 | 889.9 | 23.76 | 32.3549
2020-08-10 16:15:00 | 6.129 | 286.76 | 6.287 | 278.328 | 6.433 | 283.1 | 6.927 | 279.433 | 27.856 | 889.4 | 24.088 | 28.0269
2020-08-10 16:30:00 | 9.323 | 315.24 | 9.749 | 307.282 | 10.072 | 312.7 | 10.48 | 309.833 | 27.731 | 889.633 | 24.853 | 46.724
2020-08-10 16:45:00 | 8.42 | 298.787 | 8.648 | 294.022 | 9.009 | 299.9 | 9.58 | 298.667 | 27.781 | 889.683 | 25.024 | 52.3986
2020-08-10 17:00:00 | 8.436 | 308.747 | 8.654 | 302.623 | 8.982 | 306.8 | 9.244 | 306.6 | 28.148 | 889.75 | 24.48 | 47.2974
2020-08-10 17:15:00 | 8.007 | 290.28 | 8.799 | 283.47 | 8.938 | 289.067 | 9.215 | 286.4 | 27.706 | 889.567 | 24.056 | 41.8865
2020-08-10 17:30:00 | 6.916 | 292.267 | 7.475 | 286.174 | 7.344 | 291.767 | 7.817 | 289.45 | 28.252 | 889.983 | 23.349 | 36.9502
2020-08-10 17:45:00 | 6.802 | 292.213 | 6.926 | 291.135 | 7.096 | 294.2 | 7.465 | 291.633 | 28.435 | 889.667 | 23.16 | 39.0776
2020-08-10 18:00:00 | 7.064 | 290.613 | 7.214 | 285.293 | 7.548 | 290.267 | 7.81 | 287.433 | 28.348 | 889.633 | 22.792 | 34.3019
2020-08-10 18:15:00 | 8.063 | 295.893 | 8.615 | 289.487 | 9.08 | 293.533 | 9.449 | 288.167 | 28.227 | 889.017 | 22.92 | 34.9741
2020-08-10 18:30:00 | 7.619 | 314.32 | 8.096 | 307.01 | 8.218 | 312.4 | 8.488 | 309.133 | 28.106 | 889.867 | 23.184 | 41.7778
2020-08-10 18:45:00 | 8.762 | 303.6 | 9.245 | 297.142 | 9.553 | 302.333 | 9.885 | 299.067 | 27.998 | 889.483 | 24.069 | 35.2313
2020-08-10 19:00:00 | 8.418 | 308.96 | 9.092 | 303.868 | 9.345 | 308.767 | 9.904 | 306.2 | 27.923 | 889.3 | 24.851 | 53.2975
2020-08-10 19:15:00 | 8.265 | 296.267 | 8.856 | 294.079 | 9.069 | 297.667 | 9.44 | 296.7 | 27.677 | 889.5 | 24.717 | 54.6859
2020-08-10 19:30:00 | 7.644 | 297.573 | 8.296 | 293.084 | 8.404 | 295.333 | 8.803 | 294.733 | 27.544 | 889.317 | 24.755 | 52.7013
2020-08-10 19:45:00 | 8.597 | 299.587 | 9.385 | 295.787 | 9.812 | 303.1 | 10.498 | 299.767 | 27.727 | 889.683 | 24.576 | 56.6052
2020-08-10 20:00:00 | 8.682 | 298.733 | 9.583 | 294.15 | 9.89 | 299.2 | 10.558 | 297.267 | 27.364 | 889.917 | 24.397 | 56.3501
2020-08-10 20:15:00 | 8.07 | 294.92 | 9.24 | 289.019 | 9.57 | 292.133 | 10.118 | 289.567 | 27.248 | 889.667 | 25.931 | 58.1435
2020-08-10 20:30:00 | 7.583 | 294.92 | 8.341 | 290.386 | 8.676 | 298.3 | 9.205 | 293.967 | 26.877 | 889.7 | 27.16 | 62.1383
2020-08-10 20:45:00 | 8.617 | 285.44 | 9.631 | 281.402 | 10.04 | 284.367 | 10.34 | 281.8 | 26.506 | 889.917 | 28.083 | 62.8169
2020-08-10 21:00:00 | 8.348 | 290.693 | 9.358 | 284.492 | 9.733 | 288.133 | 9.986 | 287.5 | 26.714 | 889.2 | 28.56 | 62.3799
2020-08-10 21:15:00 | 8.351 | 288.853 | 9.6 | 284.645 | 10.111 | 288.5 | 10.511 | 286.533 | 26.123 | 889.8 | 29.443 | 61.6864
2020-08-10 21:30:00 | 8.105 | 288.173 | 9.29 | 283.784 | 9.708 | 288.8 | 10.008 | 286.3 | 26.298 | 889.85 | 29.715 | 64.5479
2020-08-10 21:45:00 | 6.506 | 288.08 | 7.574 | 283.11 | 7.937 | 287.433 | 8.398 | 285.2 | 25.981 | 889.65 | 29.741 | 48.9822
2020-08-10 22:00:00 | 6.834 | 287.173 | 7.583 | 281.187 | 7.704 | 285.567 | 7.973 | 283.233 | 25.618 | 889.7 | 29.824 | 36.5899
2020-08-10 22:15:00 | 5.612 | 284.24 | 6.617 | 278.438 | 7.002 | 281.667 | 7.415 | 278.8 | 25.418 | 889.8 | 29.997 | 29.2618
2020-08-10 22:30:00 | 6.925 | 286.227 | 7.826 | 279.989 | 8.359 | 284.1 | 8.9 | 279.7 | 25.252 | 889.817 | 29.395 | 31.1321
2020-08-10 22:45:00 | 5.998 | 276.12 | 7.05 | 270.95 | 7.442 | 274.567 | 7.734 | 272.467 | 24.994 | 889.483 | 28.8 | 35.1325
2020-08-10 23:00:00 | 6.963 | 268.993 | 8.072 | 261.33 | 8.432 | 266.967 | 8.645 | 262.75 | 25.139 | 889.9 | 28.464 | 44.0288
2020-08-10 23:15:00 | 6.933 | 268.56 | 8.525 | 263.776 | 8.855 | 268.467 | 9.305 | 264.85 | 24.931 | 889.65 | 33.517 | 50.4353
2020-08-10 23:30:00 | 7.458 | 262.827 | 8.512 | 257.692 | 9.083 | 265.083 | 9.561 | 258.917 | 24.844 | 889.817 | 34.475 | 47.8325
2020-08-10 23:45:00 | 7.821 | 261.713 | 9.053 | 257.926 | 9.538 | 263.817 | 9.688 | 258.583 | 24.381 | 889.417 | 34.317 | 56.63