## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-11 00:00:00 | 8.557 | 265.213 | 9.635 | 260.184 | 10.152 | 265.567 | 10.41 | 261.533 | 24.36 | 890.133 | 34.293 | 59.7196
2020-08-11 00:15:00 | 9.048 | 263.633 | 10.228 | 259.39 | 10.459 | 264.383 | 10.679 | 258.817 | 23.864 | 889.817 | 35.184 | 65.3515
2020-08-11 00:30:00 | 8.412 | 266.493 | 9.745 | 260.403 | 10.517 | 264.65 | 10.923 | 259.9 | 23.402 | 889.767 | 35.971 | 68.1746
2020-08-11 00:45:00 | 9.931 | 265.173 | 11.377 | 260.404 | 11.72 | 265.75 | 12.176 | 262.1 | 23.348 | 889.85 | 36.171 | 77.8227
2020-08-11 01:00:00 | 9.414 | 268.26 | 10.868 | 264.823 | 10.997 | 267.533 | 11.392 | 265.1 | 23.573 | 889.717 | 35.509 | 80.7893
2020-08-11 01:15:00 | 9.035 | 270.933 | 10.516 | 266.747 | 11 | 270.467 | 11.459 | 266.3 | 23.264 | 889.717 | 34.936 | 86.3189
2020-08-11 01:30:00 | 9.138 | 274.733 | 10.326 | 269.529 | 11.014 | 273.6 | 11.689 | 268.417 | 23.381 | 890.15 | 34.605 | 85.4144
2020-08-11 01:45:00 | 9.307 | 272.427 | 10.83 | 266.269 | 11.59 | 271.167 | 12.306 | 268.4 | 23.181 | 889.3 | 34.717 | 78.2703
2020-08-11 02:00:00 | 7.983 | 275.107 | 9.348 | 270.918 | 10.09 | 276.833 | 10.688 | 272.617 | 23.014 | 889.683 | 34.645 | 70.0782
2020-08-11 02:15:00 | 7.032 | 279.787 | 8.571 | 273.684 | 9.237 | 278.433 | 9.609 | 275.733 | 22.964 | 889.633 | 35.163 | 61.9827
2020-08-11 02:30:00 | 6.896 | 276.533 | 8.371 | 274.28 | 8.813 | 280.233 | 9.477 | 276.167 | 22.481 | 889.75 | 34.888 | 52.675
2020-08-11 02:45:00 | 6.364 | 274.067 | 7.466 | 268.887 | 8.047 | 276.167 | 8.391 | 272.6 | 22.431 | 889.733 | 35.277 | 46.3169
2020-08-11 03:00:00 | 5.533 | 265.68 | 6.91 | 263.576 | 7.39 | 270.267 | 7.664 | 268.967 | 22.26 | 889.733 | 35.787 | 43.0326
2020-08-11 03:15:00 | 5.456 | 255.627 | 6.459 | 256.65 | 6.88 | 264.333 | 7.269 | 261.317 | 21.585 | 890.067 | 36.467 | 36.5551
2020-08-11 03:30:00 | 6.022 | 250.033 | 7.222 | 248.975 | 7.632 | 255.067 | 7.904 | 253.567 | 21.956 | 890.033 | 36.411 | 35.1858
2020-08-11 03:45:00 | 5.352 | 245.38 | 6.657 | 248.671 | 7.408 | 257.267 | 8.122 | 251.833 | 21.898 | 890.05 | 36.357 | 33.8876
2020-08-11 04:00:00 | 4.941 | 234.693 | 5.948 | 238.778 | 6.605 | 248.733 | 6.85 | 245.867 | 21.552 | 889.433 | 37.307 | 32.8097
2020-08-11 04:15:00 | 5.5 | 240 | 6.471 | 242.507 | 6.829 | 250 | 7.212 | 246.35 | 21.448 | 889.583 | 37.573 | 38.1759
2020-08-11 04:30:00 | 5.904 | 242.513 | 7.311 | 241.832 | 8.044 | 247.867 | 8.23 | 244.45 | 20.91 | 890.117 | 37.632 | 47.8723
2020-08-11 04:45:00 | 6.675 | 242.067 | 8.059 | 240.252 | 8.642 | 246.7 | 8.618 | 241.933 | 20.694 | 889.3 | 38.416 | 59.1852
2020-08-11 05:00:00 | 6.814 | 240.087 | 8.194 | 240.44 | 8.806 | 246.2 | 8.814 | 242.033 | 20.448 | 889.7 | 38.619 | 59.4545
2020-08-11 05:15:00 | 6.816 | 243.047 | 8.24 | 242.141 | 8.7 | 249.233 | 8.816 | 245.867 | 20.468 | 889.8 | 38.112 | 59.3337
2020-08-11 05:30:00 | 6.412 | 246.033 | 7.754 | 245.011 | 8.264 | 251.8 | 8.196 | 248.933 | 20.527 | 889.7 | 37.493 | 57.0635
2020-08-11 05:45:00 | 7.093 | 243.04 | 8.287 | 242.46 | 8.844 | 249.433 | 8.955 | 245.55 | 20.523 | 889.617 | 37.429 | 59.5704
2020-08-11 06:00:00 | 6.785 | 242.64 | 7.934 | 243.684 | 8.535 | 251.7 | 8.907 | 246.617 | 20.302 | 889.75 | 37.723 | 57.1622
2020-08-11 06:15:00 | 5.312 | 240.627 | 6.397 | 243.492 | 6.894 | 251.1 | 7.251 | 248.117 | 20.256 | 889.883 | 38.155 | 46.383
2020-08-11 06:30:00 | 5.187 | 244.88 | 6.413 | 247.844 | 7.314 | 255.467 | 7.932 | 255.3 | 19.802 | 889.983 | 38.917 | 38.9938
2020-08-11 06:45:00 | 6.136 | 256.467 | 7.675 | 255.194 | 8.505 | 261.717 | 9.117 | 255.35 | 20.744 | 889.617 | 38.584 | 42.5438
2020-08-11 07:00:00 | 6.029 | 257.5 | 7.354 | 257.21 | 8.007 | 262.733 | 8.44 | 257.783 | 21.289 | 889.767 | 37.744 | 41.7565
2020-08-11 07:15:00 | 6.268 | 257.58 | 7.535 | 256.541 | 8.198 | 262.833 | 8.573 | 258.317 | 21.435 | 889.85 | 36.317 | 38.4694
2020-08-11 07:30:00 | 7.484 | 262.173 | 8.898 | 260.394 | 9.564 | 263.233 | 10.173 | 261.567 | 22.16 | 889.367 | 34.715 | 50.2207
2020-08-11 07:45:00 | 6.848 | 258.1 | 7.905 | 256.718 | 8.543 | 261.35 | 8.969 | 259.317 | 22.498 | 889.667 | 33.267 | 44.1539
2020-08-11 08:00:00 | 6.534 | 257.913 | 7.3 | 255.847 | 7.594 | 258.65 | 7.821 | 256.783 | 22.781 | 889.85 | 32.293 | 32.2441
2020-08-11 08:15:00 | 5.786 | 267.5 | 6.278 | 262.346 | 6.524 | 266.533 | 6.859 | 261.667 | 23.431 | 889.417 | 31.048 | 26.3002
2020-08-11 08:30:00 | 6.96 | 260.28 | 7.555 | 258.574 | 7.934 | 263.933 | 8.235 | 259.25 | 23.348 | 889.4 | 31.069 | 33.0698
2020-08-11 08:45:00 | 6.964 | 270.287 | 7.606 | 265.904 | 7.782 | 270.667 | 7.748 | 265.067 | 24.089 | 889.717 | 30.08 | 40.9372
2020-08-11 09:00:00 | 7.272 | 271.82 | 7.821 | 267.599 | 7.896 | 270.5 | 8.092 | 265.633 | 23.91 | 889.517 | 29.376 | 44.0871
2020-08-11 09:15:00 | 8.646 | 266.473 | 9.137 | 262.146 | 9.215 | 267.433 | 9.169 | 263.083 | 24.139 | 889.667 | 29.253 | 49.9912
2020-08-11 09:30:00 | 8.679 | 271.053 | 9.413 | 266.667 | 9.4 | 272.8 | 9.319 | 266.917 | 24.039 | 890 | 29.885 | 54.7762
2020-08-11 09:45:00 | 8.136 | 278.52 | 8.301 | 272.714 | 8.41 | 275.667 | 8.582 | 271.767 | 24.077 | 889.8 | 29.355 | 54.4564
2020-08-11 10:00:00 | 7.909 | 276.833 | 8.544 | 272.102 | 8.998 | 277.267 | 9.251 | 272.7 | 24.944 | 889.717 | 28.101 | 51.509
2020-08-11 10:15:00 | 9.398 | 281.333 | 9.778 | 276.28 | 9.81 | 277.967 | 9.779 | 274.8 | 24.952 | 889.9 | 26.291 | 52.1357
2020-08-11 10:30:00 | 8.408 | 288.6 | 8.761 | 282.677 | 8.911 | 284.767 | 9.458 | 282.867 | 25.173 | 889.65 | 25.08 | 49.103
2020-08-11 10:45:00 | 9.605 | 291.52 | 10.152 | 284.473 | 10.562 | 286.7 | 11.175 | 283.767 | 25.481 | 889.467 | 25.173 | 52.7482
2020-08-11 11:00:00 | 9.765 | 294.84 | 10.224 | 287.833 | 10.501 | 294.567 | 10.972 | 294 | 25.994 | 889.75 | 23.733 | 58.9124
2020-08-11 11:15:00 | 10.859 | 292.307 | 11.224 | 285.944 | 11.449 | 289.6 | 11.716 | 285.233 | 25.735 | 889.9 | 23.067 | 65.3842
2020-08-11 11:30:00 | 10.876 | 290.44 | 11.545 | 286.53 | 12.168 | 291.833 | 12.42 | 289 | 26.348 | 889.483 | 23.4 | 70.5983
2020-08-11 11:45:00 | 10.466 | 292.253 | 11.096 | 288.886 | 11.244 | 295.167 | 11.987 | 292.167 | 26.568 | 889.617 | 22.821 | 75.5567
2020-08-11 12:00:00 | 10.758 | 295.547 | 11.683 | 288.344 | 12.25 | 291.233 | 12.486 | 287.367 | 26.218 | 889.55 | 23.083 | 83.6891
2020-08-11 12:15:00 | 11.269 | 291.187 | 12.047 | 288.312 | 12.495 | 292.033 | 12.774 | 290.667 | 26.518 | 890 | 22.923 | 83.5029
2020-08-11 12:30:00 | 12.378 | 284.32 | 13.361 | 277.923 | 13.596 | 283 | 13.828 | 279.1 | 26.398 | 889.717 | 23.829 | 84.0586
2020-08-11 12:45:00 | 12.531 | 284.92 | 13.367 | 279.811 | 13.945 | 284.1 | 14.213 | 280.717 | 26.673 | 890.05 | 23.189 | 83.7488
2020-08-11 13:00:00 | 13.172 | 283.613 | 14.214 | 276.447 | 14.548 | 281.233 | 14.811 | 276.867 | 26.973 | 889.517 | 23.539 | 83.1512
2020-08-11 13:15:00 | 13.211 | 283.28 | 14.449 | 278.996 | 14.767 | 283.6 | 14.843 | 280.733 | 27.514 | 889.833 | 22.499 | 81.7152
2020-08-11 13:30:00 | 12.989 | 286.667 | 14.017 | 284.085 | 13.904 | 286.467 | 14.521 | 283.667 | 27.435 | 889.783 | 22.408 | 81.9262
2020-08-11 13:45:00 | 11.697 | 293.013 | 12.643 | 284.977 | 12.75 | 287.733 | 12.88 | 284.3 | 27.21 | 889.533 | 21.312 | 82.0633
2020-08-11 14:00:00 | 12.029 | 296.12 | 12.631 | 289.341 | 13.102 | 294.333 | 13.55 | 291.067 | 27.644 | 889.517 | 21.045 | 83.5022
2020-08-11 14:15:00 | 11.767 | 294.72 | 12.789 | 289.364 | 13.155 | 291.967 | 13.542 | 291.3 | 27.318 | 889.517 | 20.809 | 83.6529
2020-08-11 14:30:00 | 12.02 | 279.087 | 12.66 | 274.696 | 12.794 | 279.267 | 13.094 | 275.633 | 27.802 | 889.367 | 20.836 | 80.7204
2020-08-11 14:45:00 | 12.511 | 282.92 | 13.152 | 276.773 | 13.512 | 279.2 | 13.586 | 277.133 | 28.068 | 889.4 | 19.805 | 80.2038
2020-08-11 15:00:00 | 11.559 | 285.36 | 12.136 | 281.07 | 12.48 | 284.7 | 12.789 | 281.967 | 28.398 | 889.933 | 20.072 | 79.7817
2020-08-11 15:15:00 | 11.588 | 282.053 | 12.555 | 274.964 | 12.812 | 281.233 | 13.013 | 276.5 | 28.094 | 889.867 | 19.967 | 83.4006
2020-08-11 15:30:00 | 11.212 | 292.987 | 12.407 | 288.294 | 12.536 | 294 | 12.654 | 291.367 | 28.277 | 889.3 | 20.633 | 83.9414
2020-08-11 15:45:00 | 11.249 | 291.547 | 11.725 | 289.087 | 12.068 | 292.933 | 12.341 | 291.567 | 28.331 | 889.6 | 19.495 | 81.9845
2020-08-11 16:00:00 | 12.157 | 287.16 | 13.203 | 279.998 | 13.342 | 286.133 | 13.497 | 284.05 | 28.573 | 889.467 | 19.932 | 82.9473
2020-08-11 16:15:00 | 12.584 | 267.947 | 13.588 | 262.801 | 13.652 | 268.467 | 13.802 | 264.917 | 28.306 | 889.217 | 20.111 | 84.0778
2020-08-11 16:30:00 | 11.981 | 300.72 | 12.959 | 294.725 | 13.377 | 296.367 | 13.781 | 293.867 | 28.135 | 889.883 | 20.837 | 79.3739
2020-08-11 16:45:00 | 12 | 297.453 | 12.55 | 291.847 | 12.526 | 295.633 | 13.147 | 291.133 | 29.114 | 889.933 | 17.891 | 81.8928
2020-08-11 17:00:00 | 12.368 | 284.587 | 13.245 | 277.941 | 13.459 | 282.133 | 13.731 | 277.633 | 29.031 | 889.7 | 17.009 | 81.9525
2020-08-11 17:15:00 | 10.982 | 283 | 12.238 | 276.727 | 12.418 | 279.7 | 12.832 | 279.333 | 28.848 | 889.7 | 17.523 | 84.06
2020-08-11 17:30:00 | 11.651 | 292.253 | 12.113 | 286.175 | 12.712 | 288.8 | 13.117 | 286.433 | 28.268 | 889.767 | 18.161 | 81.9809
2020-08-11 17:45:00 | 10.788 | 277.227 | 11.727 | 273.356 | 11.986 | 278.4 | 12.19 | 274.6 | 28.481 | 889.5 | 18.656 | 83.65
2020-08-11 18:00:00 | 11.886 | 305.507 | 12.62 | 300.575 | 12.894 | 305.3 | 13.378 | 301 | 28.698 | 889.167 | 18.735 | 83.4283
2020-08-11 18:15:00 | 12.72 | 285.907 | 14.012 | 281.829 | 14.492 | 284.233 | 14.651 | 281 | 28.323 | 889.3 | 18.452 | 80.7047
2020-08-11 18:30:00 | 13.216 | 287.84 | 14.538 | 281.524 | 14.87 | 284.333 | 15.299 | 281.5 | 28.731 | 889.567 | 18.341 | 83.5818
2020-08-11 18:45:00 | 13.25 | 290.893 | 14.608 | 285.29 | 15.141 | 290.067 | 15.668 | 287.533 | 28.906 | 889.467 | 16.592 | 82.42
2020-08-11 19:00:00 | 11.656 | 294.253 | 12.598 | 288.706 | 13.487 | 293.733 | 14.387 | 289.833 | 28.339 | 889.9 | 18.105 | 81.9809
2020-08-11 19:15:00 | 12.369 | 285.613 | 13.398 | 278.28 | 13.628 | 283.533 | 13.876 | 281.267 | 28.452 | 889.467 | 19.02 | 79.1223
2020-08-11 19:30:00 | 10.754 | 288.507 | 11.933 | 282.28 | 12.323 | 285.2 | 12.76 | 282.467 | 28.394 | 889.233 | 19.195 | 78.6889
2020-08-11 19:45:00 | 10.374 | 291.84 | 11.449 | 286.569 | 11.957 | 290.2 | 12.54 | 287 | 27.768 | 889.4 | 19.929 | 81.6406
2020-08-11 20:00:00 | 11.392 | 283.893 | 12.566 | 280.138 | 12.923 | 284 | 13.29 | 281.567 | 27.668 | 889.55 | 20.949 | 82.6481
2020-08-11 20:15:00 | 11.11 | 297.2 | 12.29 | 292.595 | 12.859 | 296.133 | 13.218 | 293.133 | 27.381 | 889.817 | 22.549 | 82.6418
2020-08-11 20:30:00 | 8.348 | 289.32 | 9.199 | 285.873 | 9.526 | 289.633 | 10.293 | 288.1 | 27.248 | 889.95 | 23.083 | 81.0089
2020-08-11 20:45:00 | 10.208 | 293.8 | 11.242 | 287.695 | 11.681 | 291.233 | 11.983 | 289.867 | 26.889 | 889.983 | 23.555 | 75.9802
2020-08-11 21:00:00 | 9.024 | 294.28 | 10.315 | 288.023 | 10.772 | 291.3 | 11.12 | 288.7 | 26.735 | 889.517 | 24.037 | 64.5969
2020-08-11 21:15:00 | 8.523 | 292.827 | 9.397 | 287.038 | 9.825 | 291.267 | 10.272 | 288.4 | 26.473 | 889.85 | 23.504 | 67.4463
2020-08-11 21:30:00 | 7.944 | 285.227 | 9.034 | 280.06 | 9.592 | 283.233 | 10.452 | 281.167 | 26.198 | 889.667 | 23.936 | 58.8058
2020-08-11 21:45:00 | 7.361 | 288.693 | 8.659 | 283.085 | 9.069 | 287.5 | 9.798 | 283.3 | 26.385 | 889.5 | 23.832 | 57.7549
2020-08-11 22:00:00 | 6.924 | 281.813 | 8.261 | 277.964 | 8.793 | 283.133 | 9.306 | 281.467 | 25.831 | 889.567 | 24.227 | 46.2863
2020-08-11 22:15:00 | 6.124 | 278.3 | 7.42 | 274.102 | 8.014 | 278.4 | 8.504 | 275.5 | 25.581 | 890.033 | 24.581 | 39.3689
2020-08-11 22:30:00 | 6.474 | 278.347 | 7.658 | 274.07 | 8.248 | 278.133 | 8.768 | 273.7 | 25.677 | 889.35 | 24.803 | 41.6314
2020-08-11 22:45:00 | 6.154 | 275 | 7.484 | 269.779 | 8.014 | 275.333 | 8.458 | 272.3 | 25.156 | 890.033 | 25.309 | 39.9537
2020-08-11 23:00:00 | 6.353 | 275.093 | 7.661 | 269.179 | 8.239 | 275.433 | 8.726 | 272.7 | 24.744 | 889.6 | 25.512 | 42.725
2020-08-11 23:15:00 | 6.2 | 273.613 | 7.784 | 269.709 | 8.374 | 275.2 | 8.809 | 271.333 | 24.968 | 889.55 | 25.341 | 46.7738
2020-08-11 23:30:00 | 5.46 | 265.547 | 6.882 | 262.697 | 7.334 | 268.7 | 7.684 | 264 | 23.86 | 889.683 | 26.643 | 35.6037
2020-08-11 23:45:00 | 6.386 | 265.12 | 7.75 | 261.653 | 8.415 | 267.7 | 8.77 | 264.367 | 23.631 | 889.7 | 28.685 | 38.4793