## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-12 00:00:00 | 6.205 | 256.793 | 7.388 | 255.322 | 7.806 | 260.333 | 8.292 | 256.85 | 23.677 | 889.85 | 30.387 | 41.8737
2020-08-12 00:15:00 | 5.533 | 244.08 | 6.977 | 249.382 | 7.595 | 256.267 | 7.675 | 252.333 | 23.181 | 889.3 | 31.893 | 40.719
2020-08-12 00:30:00 | 6.235 | 255.047 | 7.738 | 254.111 | 8.467 | 261.333 | 8.695 | 258.617 | 22.898 | 889.9 | 33.133 | 41.8666
2020-08-12 00:45:00 | 6.819 | 252.547 | 8.204 | 252.917 | 8.731 | 259.083 | 9.062 | 255.6 | 22.948 | 889.65 | 33.037 | 41.1908
2020-08-12 01:00:00 | 4.949 | 240.393 | 6.286 | 244.11 | 6.934 | 252.267 | 7.469 | 251.317 | 22.564 | 889.65 | 33.467 | 35.9042
2020-08-12 01:15:00 | 5.65 | 237.647 | 6.918 | 241.493 | 7.477 | 250.267 | 7.638 | 247.783 | 21.881 | 890.2 | 34.251 | 40.5591
2020-08-12 01:30:00 | 6.306 | 243.587 | 7.699 | 244.216 | 8.177 | 252.7 | 8.218 | 247.783 | 21.894 | 889.767 | 34.224 | 48.6731
2020-08-12 01:45:00 | 5.923 | 243.007 | 7.312 | 245.085 | 7.833 | 252.7 | 7.895 | 250.133 | 22.123 | 889.867 | 33.92 | 46.1243
2020-08-12 02:00:00 | 5.548 | 247.533 | 7.005 | 251.37 | 7.424 | 257.1 | 7.772 | 254.333 | 21.631 | 889.583 | 34.475 | 37.6849
2020-08-12 02:15:00 | 5.27 | 241.733 | 6.776 | 247.523 | 7.146 | 255.767 | 7.399 | 253.85 | 21.652 | 889.583 | 34.629 | 33.1444
2020-08-12 02:30:00 | 5.6 | 240.987 | 6.933 | 244.261 | 7.213 | 254.1 | 7.383 | 251.65 | 20.785 | 889.967 | 35.365 | 36.3718
2020-08-12 02:45:00 | 5.272 | 243.24 | 6.545 | 248.28 | 6.717 | 256.067 | 6.922 | 254.867 | 20.723 | 889.5 | 35.819 | 33.656
2020-08-12 03:00:00 | 5.308 | 232.34 | 6.424 | 239.03 | 6.605 | 248.5 | 6.686 | 247.333 | 20.473 | 889.85 | 36.224 | 30.2218
2020-08-12 03:15:00 | 6.156 | 231.873 | 7.294 | 233.926 | 7.277 | 240.9 | 7.033 | 239.167 | 20.235 | 890.067 | 36.821 | 32.1048
2020-08-12 03:30:00 | 5.459 | 240.993 | 7.109 | 237.607 | 7.575 | 244.767 | 7.455 | 241.1 | 20.277 | 889.933 | 36.8 | 32.8609
2020-08-12 03:45:00 | 5.496 | 235.14 | 7.216 | 234.023 | 7.554 | 241.2 | 7.498 | 237.867 | 20.402 | 889.667 | 36.939 | 32.5184
2020-08-12 04:00:00 | 5.855 | 232.527 | 7.281 | 233.843 | 7.533 | 240.233 | 7.696 | 237.333 | 19.952 | 889.567 | 37.211 | 33.1138
2020-08-12 04:15:00 | 6.016 | 230.287 | 7.276 | 232.393 | 7.503 | 240.167 | 7.457 | 236.533 | 19.835 | 889.367 | 37.269 | 32.4949
2020-08-12 04:30:00 | 5.517 | 228.513 | 6.77 | 231.82 | 6.836 | 239.7 | 6.726 | 236.233 | 19.852 | 889.95 | 37.819 | 28.1377
2020-08-12 04:45:00 | 5.411 | 228.06 | 6.51 | 232.058 | 6.59 | 239.3 | 6.497 | 235.867 | 19.352 | 889.85 | 38.544 | 25.5598
2020-08-12 05:00:00 | 5.616 | 228.747 | 6.602 | 232.616 | 6.641 | 240.733 | 6.711 | 237.033 | 19.123 | 889.767 | 39.179 | 28.9648
2020-08-12 05:15:00 | 5.272 | 224.227 | 7.236 | 226.14 | 7.292 | 235.3 | 6.963 | 232.967 | 18.881 | 889.633 | 39.659 | 29.4068
2020-08-12 05:30:00 | 5.187 | 228.2 | 6.977 | 231.908 | 7.143 | 240.467 | 7.017 | 238.067 | 18.623 | 889.567 | 40.453 | 28.1043
2020-08-12 05:45:00 | 5.413 | 230.267 | 7.141 | 234.74 | 7.168 | 243.267 | 7.159 | 239.533 | 18.723 | 889.758 | 40.747 | 26.254
2020-08-12 06:00:00 | 5.621 | 234.64 | 7.337 | 237.575 | 7.406 | 243.967 | 7.249 | 240.533 | 18.602 | 890 | 41.248 | 27.3355
2020-08-12 06:15:00 | 5.853 | 225.3 | 6.765 | 233.465 | 6.685 | 244.267 | 6.521 | 242.867 | 18.302 | 890.033 | 41.312 | 20.8601
2020-08-12 06:30:00 | 5.426 | 220.693 | 6.495 | 223.9 | 6.345 | 234.033 | 6.182 | 232.433 | 17.289 | 890.075 | 42.528 | 16.3231
2020-08-12 06:45:00 | 4.964 | 214.367 | 6.188 | 219.503 | 6.818 | 230.6 | 6.432 | 228.767 | 17.335 | 889.8 | 42.763 | 17.2092
2020-08-12 07:00:00 | 1.786 | 208.113 | 3.839 | 215.067 | 5.805 | 223.533 | 6.601 | 223.533 | 18.073 | 889.842 | 41.429 | 21.5629
2020-08-12 07:15:00 | 5.144 | 217.5 | 7.138 | 219.618 | 7.345 | 227.633 | 7.224 | 226.3 | 18.456 | 889.867 | 39.68 | 25.2514
2020-08-12 07:30:00 | 5.684 | 215.56 | 7.104 | 217.833 | 7.03 | 225.933 | 7.033 | 225.133 | 19.727 | 890.017 | 37.461 | 27.192
2020-08-12 07:45:00 | 5.478 | 217.84 | 7.036 | 215.969 | 7.7 | 224.167 | 7.389 | 223.567 | 20.639 | 889.533 | 35.552 | 30.4592
2020-08-12 08:00:00 | 5.882 | 214.78 | 6.934 | 213.823 | 7.815 | 218.433 | 7.86 | 218.367 | 21.744 | 890.167 | 33.765 | 30.4897
2020-08-12 08:15:00 | 6.451 | 216.1 | 6.56 | 215.485 | 6.592 | 219.2 | 6.927 | 216.833 | 22.614 | 890.05 | 31.92 | 25.1889
2020-08-12 08:30:00 | 5.728 | 219.713 | 5.683 | 217.524 | 5.784 | 222.867 | 5.848 | 219.033 | 23.714 | 889.933 | 30.587 | 16.5256
2020-08-12 08:45:00 | 5.115 | 219.247 | 5.218 | 218.777 | 5.361 | 222.833 | 5.709 | 221.5 | 23.964 | 889.25 | 29.787 | 15.2495
2020-08-12 09:00:00 | 4.102 | 239.26 | 4.494 | 234.393 | 4.643 | 238.417 | 4.883 | 233.4 | 24.952 | 889.65 | 28.373 | 10.0595
2020-08-12 09:15:00 | 4.011 | 288.067 | 4.379 | 282.627 | 4.391 | 284.333 | 4.59 | 277.583 | 25.123 | 889.533 | 27.469 | 7.3856
2020-08-12 09:30:00 | 4.205 | 264.26 | 4.753 | 266.762 | 5.098 | 275.567 | 5.516 | 273.833 | 25.644 | 889.733 | 26.411 | 6.2445
2020-08-12 09:45:00 | 6.275 | 312.547 | 6.642 | 306.182 | 6.473 | 308.333 | 6.488 | 306.2 | 25.731 | 889.883 | 25.251 | 15.5458
2020-08-12 10:00:00 | 5.838 | 302.24 | 6.011 | 295.822 | 6.075 | 297.433 | 6.752 | 293.967 | 26.248 | 889.967 | 24.293 | 26.6164
2020-08-12 10:15:00 | 5.888 | 305.413 | 6.313 | 299.105 | 6.431 | 301.333 | 7.05 | 298.767 | 26.46 | 889.817 | 23.144 | 21.3959
2020-08-12 10:30:00 | 7.233 | 293.093 | 7.866 | 290.703 | 8.264 | 297.833 | 8.651 | 296.067 | 26.235 | 890.117 | 22.403 | 29.8047
2020-08-12 10:45:00 | 6.572 | 305.853 | 6.851 | 299.379 | 7.14 | 303.567 | 7.651 | 301.567 | 26.277 | 889.733 | 23.92 | 37.1697
2020-08-12 11:00:00 | 7.693 | 298.293 | 8.369 | 293.603 | 8.723 | 297.4 | 9.055 | 293.333 | 26.781 | 890 | 23.341 | 35.6761
2020-08-12 11:15:00 | 6.032 | 289.32 | 6.361 | 288.276 | 6.295 | 293.833 | 6.587 | 290.033 | 26.606 | 889.717 | 23.568 | 29.7187
2020-08-12 11:30:00 | 8.619 | 309.2 | 8.834 | 304.074 | 8.79 | 309.067 | 9.136 | 307.5 | 27.281 | 889.2 | 22.832 | 27.7249
2020-08-12 11:45:00 | 8.048 | 297.973 | 8.602 | 292.852 | 8.533 | 296.733 | 8.81 | 294.333 | 27.014 | 889.5 | 23.584 | 40.1193
2020-08-12 12:00:00 | 8.1 | 300.68 | 8.874 | 295.819 | 8.971 | 299.333 | 9.369 | 299.967 | 27.239 | 889.467 | 23.08 | 43.3019
2020-08-12 12:15:00 | 8.115 | 314.44 | 8.627 | 305.157 | 8.892 | 307.867 | 9.383 | 308.967 | 27.494 | 889.867 | 22.259 | 41.1596
2020-08-12 12:30:00 | 7.394 | 318.16 | 7.639 | 315.33 | 8.035 | 319.633 | 8.619 | 314.667 | 27.444 | 889.633 | 22.253 | 42.9658
2020-08-12 12:45:00 | 7.18 | 310.2 | 7.9 | 304.202 | 8.164 | 305.667 | 8.184 | 305.6 | 27.981 | 889.433 | 22.064 | 42.9111
2020-08-12 13:00:00 | 5.472 | 286.627 | 6.083 | 284.81 | 6.415 | 290.2 | 6.621 | 285.133 | 27.818 | 889.833 | 21.771 | 37.9137
2020-08-12 13:15:00 | 8.721 | 305.253 | 8.989 | 296.785 | 9.229 | 301.367 | 9.213 | 298.2 | 28.373 | 890.083 | 21.205 | 39.7782
2020-08-12 13:30:00 | 7.715 | 304.16 | 7.894 | 297.835 | 8.048 | 301.8 | 8.424 | 303.8 | 28.127 | 889.583 | 22.963 | 35.1162
2020-08-12 13:45:00 | 6.859 | 327.653 | 7.392 | 316.956 | 7.926 | 323.333 | 8.409 | 320.933 | 28.423 | 890.017 | 22.355 | 35.6434
2020-08-12 14:00:00 | 8.29 | 290.267 | 8.658 | 285.585 | 8.626 | 290.533 | 9.085 | 289.033 | 28.385 | 889.567 | 21.336 | 37.2635
2020-08-12 14:15:00 | 7.278 | 317.773 | 7.713 | 316.132 | 7.807 | 319.4 | 7.856 | 315.6 | 28.648 | 889.733 | 21.141 | 35.1461
2020-08-12 14:30:00 | 9.329 | 322.573 | 9.527 | 316.67 | 9.544 | 320.233 | 9.684 | 316.3 | 28.835 | 890 | 19.877 | 41.9455
2020-08-12 14:45:00 | 7.245 | 305.4 | 7.482 | 301.21 | 7.732 | 302.5 | 7.973 | 299.1 | 29.214 | 889.567 | 19.661 | 33.2495
2020-08-12 15:00:00 | 8.226 | 289.24 | 9.131 | 284.828 | 9.32 | 289.1 | 9.41 | 285.333 | 28.994 | 889.567 | 20.572 | 33.1266
2020-08-12 15:15:00 | 7.668 | 304.333 | 7.894 | 299.176 | 7.762 | 303.267 | 7.935 | 302.6 | 29.031 | 889.65 | 20.387 | 34.4945
2020-08-12 15:30:00 | 8.135 | 299.92 | 8.45 | 292.471 | 8.538 | 295.867 | 8.909 | 294.433 | 29.498 | 889.483 | 20.405 | 34.125
2020-08-12 15:45:00 | 7.82 | 319.693 | 7.626 | 314.192 | 7.829 | 312.633 | 8.272 | 308.033 | 29.298 | 889.05 | 20.385 | 38.0551
2020-08-12 16:00:00 | 9.51 | 307.787 | 10.07 | 301.552 | 9.996 | 305.533 | 10.052 | 303.667 | 29.614 | 889.267 | 19.563 | 42.7896
2020-08-12 16:15:00 | 8.286 | 282.733 | 8.714 | 278.76 | 8.536 | 284.167 | 8.678 | 283.367 | 29.698 | 889.467 | 18.353 | 54.6049
2020-08-12 16:30:00 | 9.004 | 315.013 | 9.481 | 312.509 | 9.59 | 316.433 | 9.834 | 315.033 | 29.631 | 889.433 | 19.62 | 40.3104
2020-08-12 16:45:00 | 7.664 | 324.813 | 8.089 | 317.479 | 8.185 | 323.767 | 8.476 | 322.033 | 29.031 | 889.367 | 19.289 | 37.1783
2020-08-12 17:00:00 | 8.49 | 333.88 | 8.486 | 327.656 | 8.46 | 331 | 8.402 | 328.667 | 29.281 | 889.65 | 21.131 | 48.9168
2020-08-12 17:15:00 | 9.635 | 313.267 | 10.43 | 308.75 | 10.615 | 314.1 | 10.858 | 310.667 | 28.623 | 889.783 | 21.925 | 46.7254
2020-08-12 17:30:00 | 6.361 | 316.067 | 6.935 | 310.364 | 7.3 | 314.667 | 7.589 | 312.767 | 28.898 | 889.883 | 21.837 | 39.4137
2020-08-12 17:45:00 | 10.085 | 285.76 | 10.762 | 280.154 | 11.318 | 284.767 | 11.754 | 281.3 | 28.873 | 889.717 | 20.707 | 48.752
2020-08-12 18:00:00 | 12.831 | 272.88 | 13.511 | 266.438 | 13.687 | 272.533 | 13.634 | 267.717 | 28.689 | 889.8 | 21.933 | 54.5616
2020-08-12 18:15:00 | 14.135 | 257.707 | 15.496 | 252.464 | 15.743 | 257.983 | 15.783 | 252.533 | 26.389 | 889.383 | 27.328 | 57.3306
2020-08-12 18:30:00 | 12.425 | 256.46 | 13.304 | 253.211 | 13.445 | 257.767 | 13.236 | 251.85 | 26.968 | 889.85 | 27.488 | 64.1485
2020-08-12 18:45:00 | 10.855 | 264.947 | 11.956 | 259.959 | 12.245 | 263.733 | 12.175 | 258.4 | 26.573 | 890.067 | 26.587 | 67.4832
2020-08-12 19:00:00 | 10.587 | 252.18 | 11.504 | 249.275 | 11.672 | 253.733 | 11.513 | 247.65 | 27.181 | 889.85 | 25.101 | 83.7246
2020-08-12 19:15:00 | 9.124 | 248.74 | 9.68 | 242.241 | 10.16 | 247.017 | 10.214 | 241.15 | 27.085 | 889.9 | 25.712 | 80.1043
2020-08-12 19:30:00 | 8.096 | 251.88 | 8.779 | 245.604 | 9.265 | 250.283 | 9.55 | 245.75 | 26.473 | 890.017 | 26.429 | 57.7826
2020-08-12 19:45:00 | 7.445 | 260.913 | 8.322 | 257.556 | 8.447 | 263.017 | 8.477 | 257.617 | 26.877 | 889.95 | 26.173 | 39.6489
2020-08-12 20:00:00 | 9.332 | 286.52 | 10.609 | 279.374 | 10.795 | 282.2 | 11.054 | 278.8 | 26.794 | 889.733 | 26.344 | 49.5947
2020-08-12 20:15:00 | 10.333 | 279.96 | 11.286 | 274.041 | 11.543 | 277.4 | 11.619 | 273.7 | 26.318 | 890.25 | 30.421 | 72.6071
2020-08-12 20:30:00 | 8.987 | 276.267 | 9.92 | 270.892 | 10.158 | 274.067 | 10.326 | 267.033 | 25.373 | 889.9 | 31.765 | 70.0221
2020-08-12 20:45:00 | 7.666 | 270.147 | 8.508 | 265.795 | 8.65 | 270.467 | 9.222 | 265.6 | 24.848 | 889.567 | 31.499 | 51.4678
2020-08-12 21:00:00 | 7.195 | 261.493 | 8.143 | 258.044 | 8.652 | 262.8 | 8.85 | 259.217 | 24.789 | 889.583 | 32.173 | 38.0985
2020-08-12 21:15:00 | 6.847 | 258.68 | 7.613 | 254.417 | 8.005 | 259.617 | 8.075 | 255.533 | 24.644 | 890.05 | 32.728 | 36.8663
2020-08-12 21:30:00 | 6.399 | 254.067 | 7.277 | 250.264 | 7.808 | 254.933 | 7.955 | 249.183 | 24.26 | 889.517 | 33.232 | 36.8741
2020-08-12 21:45:00 | 5.404 | 252.313 | 6.256 | 248.565 | 6.802 | 252.983 | 7.193 | 248.633 | 24.189 | 890.05 | 33.608 | 33.2723
2020-08-12 22:00:00 | 5.939 | 265.96 | 6.738 | 260.966 | 7.181 | 266.067 | 7.494 | 262.567 | 24.014 | 890.083 | 33.709 | 27.71
2020-08-12 22:15:00 | 5.94 | 264.393 | 7.077 | 261.722 | 7.622 | 267.067 | 7.9 | 261.217 | 23.927 | 889.417 | 33.528 | 26.728
2020-08-12 22:30:00 | 5.666 | 266.013 | 6.398 | 262.342 | 6.786 | 268.9 | 7.264 | 263.05 | 23.673 | 889.7 | 33.467 | 26.0948
2020-08-12 22:45:00 | 5.754 | 250.953 | 6.486 | 251.041 | 6.687 | 256.483 | 6.922 | 250.867 | 23.598 | 890 | 33.805 | 23.033
2020-08-12 23:00:00 | 5.253 | 242.387 | 6.137 | 242.97 | 6.584 | 249.467 | 6.767 | 246.867 | 23.581 | 890.067 | 34.029 | 26.475
2020-08-12 23:15:00 | 4.583 | 230.113 | 5.529 | 232.043 | 5.99 | 242.1 | 6.183 | 241.333 | 22.564 | 889.933 | 35.221 | 28.1256
2020-08-12 23:30:00 | 5.005 | 239.433 | 6.016 | 241.059 | 6.349 | 250.333 | 6.64 | 249.5 | 22.764 | 889.733 | 35.632 | 29.6775
2020-08-12 23:45:00 | 5.252 | 245.9 | 6.333 | 250.051 | 6.911 | 255.333 | 7.159 | 254.083 | 22.348 | 889.583 | 35.525 | 30.9956