## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-14 00:00:00 | 4.969 | 299.027 | 6.112 | 295.667 | 6.32 | 303.567 | 6.79 | 301.867 | 23.639 | 889.433 | 19.529 | 24.3639
2020-08-14 00:15:00 | 5.055 | 281.787 | 6.103 | 281.927 | 6.278 | 287.5 | 6.708 | 286.433 | 23.656 | 889.433 | 20.007 | 18.619
2020-08-14 00:30:00 | 4.931 | 285.587 | 6.09 | 287.054 | 6.464 | 294.633 | 6.916 | 292.767 | 23.631 | 889.317 | 20.913 | 23.6057
2020-08-14 00:45:00 | 5.07 | 282.827 | 5.966 | 283.863 | 6.184 | 288.867 | 6.848 | 289.533 | 22.881 | 890.017 | 22.328 | 25.0979
2020-08-14 01:00:00 | 4.624 | 284.347 | 5.839 | 286.678 | 6.206 | 292.967 | 6.736 | 294 | 22.764 | 889.65 | 23.021 | 20.1666
2020-08-14 01:15:00 | 4.596 | 288.44 | 5.858 | 289.771 | 6.103 | 297.033 | 6.651 | 296.9 | 22.864 | 889.85 | 23.432 | 18.9977
2020-08-14 01:30:00 | 4.308 | 285.6 | 5.481 | 289.768 | 5.866 | 297.933 | 6.597 | 298.767 | 22.548 | 889.733 | 23.563 | 18.6765
2020-08-14 01:45:00 | 4.321 | 280.533 | 5.394 | 283.796 | 5.632 | 290.333 | 5.974 | 290.933 | 22.514 | 890.067 | 23.611 | 18.5785
2020-08-14 02:00:00 | 4.926 | 280.107 | 5.952 | 282.827 | 6.084 | 290.167 | 6.587 | 289.733 | 22.048 | 889.55 | 23.68 | 17.5467
2020-08-14 02:15:00 | 4.595 | 270.2 | 5.598 | 274.952 | 5.804 | 281.733 | 6.381 | 282.367 | 22.431 | 889.833 | 23.867 | 16.4965
2020-08-14 02:30:00 | 5.111 | 257.3 | 6.268 | 262.208 | 6.336 | 268.6 | 6.47 | 264.933 | 21.768 | 889.65 | 24.341 | 17.011
2020-08-14 02:45:00 | 5.117 | 259.5 | 6.436 | 263.464 | 6.672 | 271.333 | 6.971 | 269.6 | 21.464 | 889.433 | 24.925 | 19.5527
2020-08-14 03:00:00 | 4.359 | 263.92 | 5.617 | 268.571 | 5.842 | 277.267 | 6.228 | 276.467 | 21.144 | 890 | 25.12 | 17.8942
2020-08-14 03:15:00 | 4.898 | 264.68 | 6.03 | 269.746 | 6.294 | 277.533 | 6.673 | 275.333 | 20.639 | 889.567 | 25.515 | 18.8975
2020-08-14 03:30:00 | 4.309 | 258.747 | 5.705 | 268.034 | 5.8 | 276.333 | 6.292 | 273.033 | 20.01 | 889.767 | 25.525 | 18.6957
2020-08-14 03:45:00 | 4.815 | 251 | 5.658 | 259.724 | 5.669 | 268.2 | 5.914 | 266.067 | 20.527 | 889.317 | 26.123 | 16.7239
2020-08-14 04:00:00 | 4.896 | 244.8 | 5.676 | 254.931 | 5.822 | 262.6 | 6.131 | 260.633 | 19.86 | 890.317 | 26.211 | 16.3914
2020-08-14 04:15:00 | 5.38 | 244.48 | 5.921 | 250.493 | 5.855 | 256.8 | 6.027 | 255.25 | 19.731 | 889.783 | 26.459 | 17.3655
2020-08-14 04:30:00 | 5.414 | 235.487 | 6.405 | 241.66 | 5.96 | 248.733 | 5.997 | 245.467 | 19.273 | 889.85 | 26.507 | 18.6375
2020-08-14 04:45:00 | 5.789 | 240.027 | 6.722 | 243.508 | 6.331 | 250.667 | 6.378 | 247.133 | 18.948 | 889.633 | 26.464 | 18.852
2020-08-14 05:00:00 | 4.982 | 239.447 | 6.03 | 246.666 | 5.797 | 255.367 | 5.834 | 254.283 | 18.818 | 890.15 | 26.763 | 16.0766
2020-08-14 05:15:00 | 4.499 | 234.533 | 5.732 | 247.483 | 5.509 | 259.533 | 5.527 | 258.7 | 18.285 | 890.233 | 27.584 | 13.9314
2020-08-14 05:30:00 | 4.84 | 224.987 | 5.653 | 235.937 | 5.264 | 249.7 | 5.18 | 251.767 | 18.135 | 889.733 | 28.336 | 11.7336
2020-08-14 05:45:00 | 5.186 | 223.887 | 5.937 | 234.981 | 5.524 | 247.4 | 5.291 | 247.9 | 17.798 | 889.717 | 28.315 | 12.258
2020-08-14 06:00:00 | 5.718 | 226.827 | 6.584 | 235.965 | 6.244 | 245.533 | 5.766 | 244 | 17.931 | 889.517 | 28.544 | 15.0335
2020-08-14 06:15:00 | 5.591 | 220.78 | 6.35 | 233.796 | 6.049 | 243.367 | 5.855 | 240.6 | 17.581 | 889.733 | 29.035 | 15.074
2020-08-14 06:30:00 | 5.224 | 223.5 | 5.97 | 239 | 5.919 | 249.233 | 5.749 | 245.5 | 17.014 | 889.75 | 29.611 | 14.3179
2020-08-14 06:45:00 | 5.783 | 223.387 | 6.513 | 234.89 | 6.088 | 246 | 5.891 | 243.767 | 16.564 | 890.017 | 29.979 | 16.2372
2020-08-14 07:00:00 | 6.101 | 214.347 | 7.258 | 222.96 | 6.748 | 235.133 | 6.279 | 234.167 | 17.048 | 889.5 | 29.664 | 19.1007
2020-08-14 07:15:00 | 6.234 | 218.86 | 7.938 | 212.018 | 7.85 | 215.333 | 7.784 | 215.333 | 17.727 | 889.85 | 29.013 | 23.7336
2020-08-14 07:30:00 | 5.822 | 223.88 | 7.285 | 222.412 | 6.904 | 229.067 | 6.491 | 228.467 | 19.156 | 890.083 | 29.675 | 20.1048
2020-08-14 07:45:00 | 5.249 | 224.853 | 6.879 | 222.246 | 6.352 | 229.367 | 6.197 | 229.767 | 20.052 | 889.433 | 31.035 | 17.3115
2020-08-14 08:00:00 | 5.228 | 219.933 | 6.752 | 217.338 | 6.778 | 224.867 | 6.471 | 224.8 | 19.86 | 889.633 | 32.453 | 18.8336
2020-08-14 08:15:00 | 5.305 | 213.687 | 6.84 | 213.546 | 7.086 | 222.033 | 6.662 | 221.633 | 20.735 | 890.25 | 31.797 | 22.2542
2020-08-14 08:30:00 | 4.862 | 211.133 | 5.607 | 210.008 | 6.519 | 213.033 | 6.869 | 212.7 | 21.648 | 889.833 | 27.019 | 19.861
2020-08-14 08:45:00 | 5.076 | 216.027 | 5.557 | 215.394 | 6.264 | 217.933 | 6.73 | 215.633 | 22.148 | 889.883 | 27.093 | 14.6064
2020-08-14 09:00:00 | 5.912 | 220.287 | 6.044 | 218.136 | 6.253 | 221.933 | 6.36 | 218.3 | 23.148 | 889.683 | 25.771 | 14.5879
2020-08-14 09:15:00 | 6.382 | 227.46 | 6.334 | 224.608 | 6.459 | 227.6 | 6.834 | 224.967 | 23.898 | 889.917 | 23.472 | 16.8767
2020-08-14 09:30:00 | 5.326 | 248.733 | 5.614 | 244.472 | 5.474 | 249.633 | 5.464 | 246.5 | 24.764 | 889.867 | 21.28 | 13.2848
2020-08-14 09:45:00 | 6.007 | 248.147 | 6.292 | 245.245 | 6.414 | 251.967 | 6.278 | 249.317 | 25.044 | 889.333 | 19.175 | 13.601
2020-08-14 10:00:00 | 5.006 | 278.193 | 5.338 | 272.299 | 5.439 | 277.183 | 5.825 | 275.1 | 25.156 | 889.267 | 18.919 | 13.1441
2020-08-14 10:15:00 | 4.845 | 293.253 | 5.254 | 284.807 | 5.257 | 282.1 | 5.525 | 277.05 | 24.635 | 889.267 | 19.421 | 11.3534
2020-08-14 10:30:00 | 5.714 | 304.307 | 5.995 | 298.95 | 6.22 | 305.567 | 6.507 | 306.6 | 25.01 | 889.233 | 18.724 | 11.9048
2020-08-14 10:45:00 | 5.653 | 309.533 | 5.662 | 302.742 | 5.46 | 305.9 | 5.636 | 303.2 | 25.056 | 889.467 | 18.487 | 11.3684
2020-08-14 11:00:00 | 5.022 | 301.32 | 5.077 | 298.283 | 5.501 | 304.267 | 5.594 | 306.8 | 25.21 | 889.333 | 18.499 | 10.1966
2020-08-14 11:15:00 | 5.527 | 311.48 | 5.645 | 304.284 | 5.912 | 309.133 | 5.881 | 306.8 | 25.339 | 889.467 | 17.367 | 10.0765
2020-08-14 11:30:00 | 4.227 | 303.667 | 4.702 | 291.538 | 4.889 | 295.367 | 5.136 | 294.667 | 26.085 | 889.667 | 16.551 | 10.3657
2020-08-14 11:45:00 | 4.478 | 304.533 | 4.594 | 318.321 | 4.698 | 320.633 | 4.974 | 313.433 | 25.781 | 889.467 | 17.3 | 11.3207
2020-08-14 12:00:00 | 4.498 | 291.16 | 4.775 | 287.42 | 4.733 | 294.433 | 5.135 | 290.4 | 26.881 | 889.367 | 15.988 | 11.2476
2020-08-14 12:15:00 | 4.124 | 301.107 | 4.468 | 298.036 | 4.704 | 304.467 | 4.931 | 302.733 | 26.16 | 889.4 | 16.021 | 18.1507
2020-08-14 12:30:00 | 4.894 | 275.007 | 5.398 | 271.162 | 5.758 | 274.467 | 5.876 | 273.533 | 26.773 | 889.367 | 15.639 | 14.5517
2020-08-14 12:45:00 | 6.06 | 315.04 | 6.296 | 305.949 | 6.293 | 310.9 | 6.78 | 309.3 | 27.218 | 889.1 | 15.444 | 17.5439
2020-08-14 13:00:00 | 4.437 | 309.413 | 4.931 | 307.509 | 5.588 | 315.033 | 6.004 | 315.233 | 26.735 | 889.233 | 15.907 | 13.2578
2020-08-14 13:15:00 | 5.833 | 313.547 | 6.059 | 307.213 | 6.339 | 310.2 | 6.768 | 308.1 | 27.039 | 889.267 | 15.48 | 16.8724
2020-08-14 13:30:00 | 6.944 | 281.46 | 7.481 | 274.502 | 7.672 | 280 | 7.734 | 277.817 | 27.381 | 889.833 | 15.141 | 14.2923
2020-08-14 13:45:00 | 6.032 | 322.787 | 6.056 | 318.461 | 6.23 | 320.267 | 6.591 | 312.533 | 27.352 | 889.267 | 15.423 | 18.786
2020-08-14 14:00:00 | 5.431 | 307.813 | 5.524 | 299.868 | 5.762 | 305.333 | 5.957 | 303.233 | 27.481 | 889.267 | 15.513 | 12.3624
2020-08-14 14:15:00 | 4.985 | 285.867 | 4.98 | 282.533 | 5.073 | 284.967 | 5.349 | 275.083 | 27.523 | 889.433 | 15.512 | 13.6152
2020-08-14 14:30:00 | 6.565 | 304.467 | 6.602 | 299.782 | 6.567 | 305.9 | 7.057 | 304.433 | 27.364 | 889.5 | 15.572 | 21.4271
2020-08-14 14:45:00 | 4.337 | 293.187 | 4.577 | 294.128 | 4.754 | 301.7 | 4.976 | 294.633 | 27.539 | 889.367 | 15.635 | 22.7559
2020-08-14 15:00:00 | 6.081 | 283.493 | 6.365 | 278.351 | 6.393 | 282.5 | 6.84 | 279.933 | 27.477 | 889.8 | 15.911 | 18.6836
2020-08-14 15:15:00 | 6.64 | 320.16 | 6.946 | 318.129 | 6.933 | 322.067 | 7.059 | 321.367 | 27.564 | 889.633 | 15.679 | 23.4693
2020-08-14 15:30:00 | 4.918 | 270.873 | 5.42 | 267.715 | 5.163 | 274.667 | 5.415 | 270.533 | 28.852 | 889.667 | 15.251 | 11.8508
2020-08-14 15:45:00 | 5.001 | 282.233 | 5.551 | 275.138 | 5.549 | 280.233 | 6.177 | 280.067 | 27.818 | 889.367 | 15.812 | 14.1133
2020-08-14 16:00:00 | 2.933 | 239.513 | 2.948 | 236.139 | 3.356 | 240.9 | 3.892 | 243.233 | 27.918 | 889 | 16.611 | 13.8184
2020-08-14 16:15:00 | 5.606 | 291.067 | 5.932 | 287.97 | 6.015 | 293.233 | 6.411 | 289.433 | 27.964 | 889.767 | 16.515 | 6.7603
2020-08-14 16:30:00 | 5.344 | 305.293 | 5.615 | 301.647 | 5.791 | 307.467 | 6.286 | 304.9 | 27.802 | 889.6 | 16.671 | 8.5652
2020-08-14 16:45:00 | 4.196 | 300.027 | 4.674 | 292.959 | 4.896 | 297.733 | 5.412 | 287.267 | 28.094 | 889.7 | 16.264 | 8.077
2020-08-14 17:00:00 | 6.418 | 317.907 | 6.481 | 310.346 | 6.719 | 315.233 | 7.023 | 308.4 | 28.123 | 889.367 | 15.895 | 16.6351
2020-08-14 17:15:00 | 7.051 | 270.32 | 7.53 | 267.087 | 7.719 | 270.383 | 7.826 | 266.583 | 28.764 | 889.667 | 15.76 | 18.9771
2020-08-14 17:30:00 | 6.419 | 302.36 | 7.073 | 295.941 | 7.251 | 301.8 | 7.491 | 299.9 | 28.327 | 889.233 | 15.02 | 18.3731
2020-08-14 17:45:00 | 5.922 | 274.507 | 6.31 | 269.366 | 6.559 | 276.167 | 6.763 | 271.583 | 28.614 | 889.733 | 14.612 | 31.5442
2020-08-14 18:00:00 | 7.312 | 287.453 | 8.128 | 282.308 | 8.636 | 287.5 | 9.142 | 285.7 | 28.931 | 889.4 | 15.505 | 19.2471
2020-08-14 18:15:00 | 8.128 | 288.867 | 8.466 | 283.173 | 8.509 | 283.967 | 8.785 | 282.533 | 28.539 | 889.267 | 17.044 | 48.2588
2020-08-14 18:30:00 | 10.078 | 297.32 | 10.743 | 292.002 | 11.11 | 295.467 | 11.351 | 293.867 | 28.239 | 889.633 | 19.803 | 75.0046
2020-08-14 18:45:00 | 10.909 | 302.133 | 11.69 | 295.876 | 12.015 | 301.167 | 12.16 | 298.467 | 27.794 | 889.667 | 20.013 | 81.2412
2020-08-14 19:00:00 | 11.172 | 300.627 | 12.516 | 295.96 | 12.778 | 299.7 | 13.293 | 296.367 | 27.185 | 889.717 | 21.832 | 85.656
2020-08-14 19:15:00 | 11.632 | 294.027 | 12.538 | 290.865 | 12.963 | 293.9 | 13.27 | 291.833 | 26.985 | 889.917 | 23.104 | 91.9452
2020-08-14 19:30:00 | 13.144 | 295.413 | 13.815 | 288.704 | 14.288 | 292.667 | 14.725 | 289.333 | 26.152 | 889.75 | 25.653 | 90.2086
2020-08-14 19:45:00 | 14.662 | 285.253 | 15.933 | 276.767 | 16.158 | 281.233 | 16.362 | 278.5 | 25.548 | 889.417 | 28.347 | 85.4705
2020-08-14 20:00:00 | 15.499 | 292.827 | 17.194 | 285.789 | 17.873 | 289.3 | 18.506 | 287.533 | 24.406 | 889.9 | 31.664 | 83.4184
2020-08-14 20:15:00 | 16.042 | 292.48 | 17.979 | 286.135 | 18.249 | 288.167 | 19.519 | 287 | 22.964 | 889.567 | 35.659 | 82.3419
2020-08-14 20:30:00 | 15.575 | 288.8 | 17.528 | 285.98 | 18.601 | 288.433 | 19.681 | 286.033 | 21.939 | 889.583 | 39.203 | 83.0119
2020-08-14 20:45:00 | 15.471 | 285.773 | 17.618 | 279.05 | 18.145 | 282.133 | 18.868 | 279.833 | 20.873 | 889.9 | 43.328 | 83.3701
2020-08-14 21:00:00 | 16.963 | 279.347 | 18.893 | 271.508 | 19.739 | 275.067 | 20.305 | 271.867 | 19.481 | 889.817 | 50.389 | 81.8459
2020-08-14 21:15:00 | 17.903 | 276.027 | 20.192 | 269.552 | 20.562 | 272.933 | 21.229 | 269 | 18.498 | 889.783 | 55.568 | 81.3805
2020-08-14 21:30:00 | 17.513 | 276.493 | 19.619 | 268.252 | 19.93 | 272.567 | 20.629 | 266.55 | 17.652 | 889.458 | 58.085 | 82.403
2020-08-14 21:45:00 | 16.618 | 272.113 | 18.969 | 265.604 | 19.537 | 272 | 19.707 | 265.3 | 17.231 | 890.025 | 60.448 | 82.7263
2020-08-14 22:00:00 | 15.97 | 267.607 | 17.962 | 261.273 | 18.81 | 266 | 18.646 | 261.217 | 16.781 | 889.558 | 61.813 | 84.4118
2020-08-14 22:15:00 | 16.001 | 261.34 | 18.03 | 256.766 | 18.736 | 261.8 | 18.678 | 256.317 | 16.464 | 889.95 | 63.307 | 84.9696
2020-08-14 22:30:00 | 14.218 | 259.613 | 16.535 | 257.12 | 17.299 | 260.4 | 17.49 | 255.9 | 16.398 | 889.958 | 64.699 | 85.43
2020-08-14 22:45:00 | 16.464 | 260.833 | 18.27 | 256.753 | 18.632 | 262.067 | 18.613 | 256.183 | 16.091 | 889.933 | 65.131 | 84.1247
2020-08-14 23:00:00 | 12.854 | 256.133 | 14.641 | 254.188 | 15.256 | 257.033 | 15.373 | 252.167 | 16.027 | 889.65 | 65.029 | 83.5996
2020-08-14 23:15:00 | 13.111 | 257.54 | 14.679 | 254.124 | 15.439 | 259.233 | 15.398 | 253.5 | 15.922 | 890.217 | 65.323 | 84.5851
2020-08-14 23:30:00 | 12.97 | 257.873 | 14.135 | 255.003 | 14.962 | 258.733 | 14.835 | 254.45 | 15.842 | 890.1 | 65.92 | 84.6569
2020-08-14 23:45:00 | 14.035 | 254.14 | 15.515 | 250.713 | 16.284 | 255.217 | 16.86 | 251.95 | 15.535 | 889.958 | 67.28 | 84.8125