## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-15 00:00:00 | 12.044 | 259.627 | 13.96 | 255.5 | 14.565 | 260.983 | 14.762 | 255.183 | 15.426 | 889.292 | 68.325 | 85.2964
2020-08-15 00:15:00 | 14.536 | 267.273 | 16.834 | 262.385 | 17.386 | 267.9 | 18.24 | 262.433 | 15.141 | 889.867 | 70.181 | 84.9809
2020-08-15 00:30:00 | 14.948 | 272.067 | 16.662 | 267.659 | 17.372 | 271.2 | 17.531 | 264.767 | 14.691 | 889.725 | 73.035 | 85.651
2020-08-15 00:45:00 | 12.166 | 274.307 | 13.993 | 270.336 | 14.371 | 272.55 | 14.88 | 268.9 | 14.574 | 890.275 | 72.811 | 85.7768
2020-08-15 01:00:00 | 12.24 | 276.4 | 13.964 | 271.802 | 14.25 | 274.8 | 14.755 | 270.567 | 14.791 | 890.4 | 72.651 | 85.5188
2020-08-15 01:15:00 | 11.355 | 279.027 | 12.589 | 274.972 | 12.954 | 278.967 | 13.511 | 275.167 | 14.57 | 889.858 | 72.811 | 85.5217
2020-08-15 01:30:00 | 10.229 | 280.8 | 11.512 | 274.549 | 11.958 | 279.267 | 12.478 | 277.633 | 14.658 | 889.942 | 72.075 | 85.3575
2020-08-15 01:45:00 | 10.547 | 279.467 | 11.628 | 276.363 | 12.134 | 280.2 | 12.81 | 276.4 | 14.741 | 889.9 | 71.456 | 84.9347
2020-08-15 02:00:00 | 8.811 | 278.067 | 9.854 | 272.747 | 10.431 | 275.3 | 11.083 | 271.967 | 14.641 | 889.85 | 71.093 | 84.88
2020-08-15 02:15:00 | 10.837 | 274.133 | 11.844 | 269.154 | 12.71 | 272.733 | 12.958 | 269.6 | 14.533 | 889.767 | 72.469 | 84.497
2020-08-15 02:30:00 | 9.628 | 274.44 | 11.043 | 271.006 | 11.568 | 275.033 | 11.89 | 270.4 | 14.199 | 890.2 | 74.304 | 84.0352
2020-08-15 02:45:00 | 10.402 | 275.48 | 11.562 | 270.048 | 11.993 | 273.667 | 12.25 | 271.433 | 14.358 | 890.008 | 72.549 | 79.285
2020-08-15 03:00:00 | 13.327 | 271.587 | 14.686 | 267.472 | 15.27 | 271.833 | 15.771 | 267.133 | 14.458 | 889.608 | 73.589 | 84.7599
2020-08-15 03:15:00 | 9.11 | 273.507 | 10.134 | 268.473 | 10.354 | 271.667 | 10.804 | 267.617 | 13.778 | 890.25 | 77.979 | 76.015
2020-08-15 03:30:00 | 9.038 | 257.867 | 10.088 | 253.181 | 10.839 | 256.783 | 11.093 | 254.4 | 13.791 | 889.725 | 73.616 | 70.1095
2020-08-15 03:45:00 | 9.496 | 264.127 | 10.423 | 261.918 | 10.935 | 264.683 | 11.162 | 259.433 | 14.016 | 890.033 | 70.747 | 79.3675
2020-08-15 04:00:00 | 8.649 | 268.187 | 9.737 | 261.581 | 10.244 | 267.083 | 10.481 | 263.417 | 13.724 | 890.042 | 77.845 | 78.8409
2020-08-15 04:15:00 | 7.54 | 263.26 | 8.391 | 258.17 | 8.874 | 264.983 | 9.14 | 260.283 | 13.034 | 889.925 | 80.741 | 60.9126
2020-08-15 04:30:00 | 6.33 | 265.447 | 7.187 | 260.058 | 7.45 | 263.217 | 7.556 | 258.35 | 13.791 | 889.75 | 75.893 | 49.6686
2020-08-15 04:45:00 | 7.031 | 276.867 | 8.112 | 270.839 | 8.442 | 275.367 | 8.826 | 270.433 | 13.654 | 889.875 | 72.715 | 51.8145
2020-08-15 05:00:00 | 6.658 | 274.893 | 7.414 | 268.266 | 7.963 | 273.667 | 8.122 | 269.1 | 14.041 | 889.9 | 71.499 | 55.2231
2020-08-15 05:15:00 | 6.932 | 278.627 | 7.871 | 273.027 | 8.074 | 276.267 | 8.525 | 273.833 | 13.566 | 889.925 | 73.6 | 51.1096
2020-08-15 05:30:00 | 6.405 | 274.98 | 7.247 | 268.155 | 7.601 | 271.767 | 7.874 | 266.917 | 13.433 | 889.958 | 71.141 | 32.6242
2020-08-15 05:45:00 | 7.334 | 266.207 | 8.32 | 262.574 | 8.679 | 266.217 | 8.939 | 262.5 | 13.654 | 889.925 | 68.629 | 38.4537
2020-08-15 06:00:00 | 9.158 | 276.12 | 10.34 | 270.777 | 10.82 | 274.867 | 11.165 | 269.867 | 14.141 | 890.233 | 67.856 | 59.6094
2020-08-15 06:15:00 | 8.228 | 272.72 | 9.09 | 265.839 | 9.422 | 269.1 | 9.475 | 265.2 | 13.999 | 889.808 | 69.296 | 68.8738
2020-08-15 06:30:00 | 6.495 | 275.76 | 7.653 | 269.335 | 8.26 | 272.5 | 8.566 | 267.7 | 13.37 | 889.617 | 78.955 | 57.4834
2020-08-15 06:45:00 | 6.778 | 261.92 | 8.069 | 259.175 | 8.75 | 262.717 | 8.841 | 258.85 | 13.264 | 889.838 | 81.189 | 45.2695
2020-08-15 07:00:00 | 7.32 | 264.833 | 8.705 | 261.17 | 9.226 | 263.533 | 9.514 | 259.8 | 13.549 | 889.808 | 81.051 | 51.6781
2020-08-15 07:15:00 | 6.421 | 261.327 | 7.332 | 257.935 | 7.867 | 262.05 | 8.034 | 258.3 | 13.954 | 889.5 | 78.576 | 54.0272
2020-08-15 07:30:00 | 7.848 | 265.533 | 8.957 | 258.633 | 9.505 | 263.3 | 9.691 | 258.133 | 13.628 | 890.142 | 75.627 | 56.2897
2020-08-15 07:45:00 | 8.302 | 262.82 | 9.332 | 257.139 | 9.688 | 260.917 | 9.687 | 256.65 | 14.287 | 890.158 | 73.493 | 72.6732
2020-08-15 08:00:00 | 6.762 | 261.787 | 8.07 | 254.894 | 8.379 | 261.067 | 8.61 | 255.95 | 14.341 | 889.858 | 73.579 | 61.6353
2020-08-15 08:15:00 | 7.516 | 258.507 | 8.254 | 256.894 | 8.708 | 260.517 | 8.872 | 255.667 | 14.17 | 889.617 | 73.461 | 49.5713
2020-08-15 08:30:00 | 5.568 | 271.173 | 6.044 | 266.412 | 6.125 | 271.383 | 6.264 | 266.967 | 15.972 | 890.325 | 67.104 | 42.6411
2020-08-15 08:45:00 | 7.17 | 277.587 | 7.951 | 270.216 | 8.112 | 272.617 | 8.269 | 268.4 | 15.644 | 889.858 | 66.645 | 53.0125
2020-08-15 09:00:00 | 8.487 | 280.64 | 9.105 | 275.816 | 9.416 | 278.717 | 9.61 | 276.067 | 15.526 | 889.592 | 67.589 | 62.1327
2020-08-15 09:15:00 | 9.174 | 280.12 | 10.014 | 274.912 | 10.375 | 277.2 | 10.441 | 274.433 | 15.735 | 889.858 | 62.848 | 74.3842
2020-08-15 09:30:00 | 10.402 | 270.68 | 11.272 | 261.277 | 11.715 | 266.133 | 11.417 | 261.45 | 16.514 | 889.9 | 58.816 | 86.2756
2020-08-15 09:45:00 | 9.721 | 279.56 | 10.504 | 271.032 | 10.601 | 275.733 | 10.53 | 270.3 | 16.314 | 890.117 | 57.259 | 85.9807
2020-08-15 10:00:00 | 10.021 | 276.24 | 10.723 | 271.304 | 11.126 | 275.967 | 11.508 | 272.3 | 15.735 | 889.65 | 60.059 | 81.8153
2020-08-15 10:15:00 | 10.15 | 279.347 | 11.03 | 276.425 | 11.284 | 280.2 | 11.448 | 274.733 | 16.631 | 890.158 | 56.629 | 70.1237
2020-08-15 10:30:00 | 9.46 | 280.173 | 10.158 | 275.694 | 10.623 | 278.333 | 10.932 | 274.833 | 17.164 | 890.092 | 55.227 | 67.8101
2020-08-15 10:45:00 | 10.287 | 276.573 | 11.024 | 269.516 | 11.385 | 273.1 | 11.637 | 270.967 | 16.914 | 890.167 | 53.701 | 73.6971
2020-08-15 11:00:00 | 10.293 | 276.733 | 10.86 | 271.447 | 11.093 | 276.233 | 11.138 | 272.367 | 17.131 | 890.067 | 50.992 | 73.0221
2020-08-15 11:15:00 | 10.042 | 284.48 | 10.903 | 276.002 | 11.135 | 279.833 | 11.718 | 275.933 | 18.127 | 889.767 | 48.347 | 73.0711
2020-08-15 11:30:00 | 9.973 | 283.533 | 10.838 | 278.086 | 11.006 | 281.4 | 11.442 | 277.867 | 18.639 | 889.342 | 45.995 | 73.1415
2020-08-15 11:45:00 | 10.81 | 281.733 | 11.789 | 274.379 | 12.192 | 278.033 | 12.449 | 273.133 | 18.523 | 889.367 | 44.315 | 75.1175
2020-08-15 12:00:00 | 10.099 | 297.4 | 10.737 | 290.876 | 10.894 | 294.867 | 11.212 | 290.5 | 18.489 | 889.792 | 44.021 | 74.5335
2020-08-15 12:15:00 | 11.031 | 294.067 | 11.834 | 286.792 | 11.952 | 290.933 | 12.446 | 288.367 | 18.606 | 889.817 | 43.605 | 76.8577
2020-08-15 12:30:00 | 11.328 | 305.453 | 12.467 | 298.411 | 12.798 | 303.467 | 13.128 | 297.8 | 18.627 | 889.683 | 42.827 | 68.2627
2020-08-15 12:45:00 | 11.622 | 293.147 | 12.483 | 289.19 | 12.905 | 292.967 | 13.055 | 289.767 | 18.989 | 889.567 | 39.968 | 0.23591
2020-08-15 13:00:00 | 10.535 | 310.947 | 11.338 | 306.168 | 12.055 | 309.9 | 12.558 | 305.367 | 19.023 | 889.475 | 41.184 | 0.34249
2020-08-15 13:15:00 | 9.83 | 301.587 | 10.564 | 293.713 | 10.859 | 299.7 | 11.27 | 297.867 | 18.998 | 889.992 | 42.224 | 0.25012
2020-08-15 13:30:00 | 10.967 | 302.04 | 11.49 | 295.832 | 11.853 | 299.133 | 12.315 | 299.967 | 19.118 | 889.908 | 40.851 | 0.1947
2020-08-15 13:45:00 | 10.006 | 301.253 | 10.493 | 297.456 | 10.68 | 302.1 | 11.186 | 299.867 | 19.418 | 889.867 | 38.688 | 0.18333
2020-08-15 14:00:00 | 9.272 | 294.933 | 9.932 | 289.549 | 10.11 | 293.767 | 10.419 | 293.7 | 20.135 | 889.833 | 36.608 | 0.19896
2020-08-15 14:15:00 | 8.533 | 283.893 | 8.909 | 279.769 | 9.132 | 280.367 | 9.368 | 278.867 | 20.518 | 889.95 | 36.381 | 0.18191
2020-08-15 14:30:00 | 8.344 | 292.28 | 8.912 | 285.192 | 9.102 | 291.4 | 9.592 | 286.833 | 20.235 | 889.85 | 36.528 | 0.17764
2020-08-15 14:45:00 | 9.26 | 304.133 | 9.492 | 295.49 | 9.702 | 300.567 | 10.257 | 296.2 | 20.527 | 889.6 | 37.069 | 0.20322
2020-08-15 15:00:00 | 9.376 | 297.427 | 9.682 | 291.093 | 10.082 | 295.5 | 10.242 | 293.133 | 21.081 | 889.233 | 35.605 | 0.19754
2020-08-15 15:15:00 | 9.36 | 298.133 | 10.099 | 291.705 | 10.281 | 295.567 | 10.643 | 291.9 | 20.848 | 889.65 | 36.12 | 0.19185
2020-08-15 15:30:00 | 8.756 | 291.387 | 9.191 | 284.519 | 9.468 | 288.467 | 10.199 | 286.333 | 21.431 | 889.467 | 33.872 | 0.18333
2020-08-15 15:45:00 | 9.022 | 287.093 | 9.961 | 284.929 | 10.171 | 288.567 | 10.414 | 286.7 | 21.594 | 890 | 32.485 | 0.18759
2020-08-15 16:00:00 | 8.94 | 268.787 | 9.746 | 263.007 | 9.986 | 267.467 | 10.057 | 262.867 | 21.639 | 890.017 | 30.707 | 0.18048
2020-08-15 16:15:00 | 9.96 | 281.733 | 10.579 | 278.416 | 10.836 | 282.033 | 10.965 | 280 | 22.431 | 889.25 | 29.133 | 0.18759
2020-08-15 16:30:00 | 9.257 | 286.773 | 10.011 | 281.349 | 10.079 | 286.567 | 10.197 | 283.333 | 22.114 | 889.783 | 28.24 | 0.18048
2020-08-15 16:45:00 | 9.706 | 284.32 | 10.259 | 282.966 | 10.67 | 288.833 | 11.18 | 286.083 | 22.564 | 889.533 | 27.645 | 0.26007
2020-08-15 17:00:00 | 9.307 | 295.387 | 9.652 | 291.306 | 10.146 | 293.833 | 10.451 | 289.967 | 22.781 | 889.617 | 27.027 | 0.26859
2020-08-15 17:15:00 | 10.197 | 294.307 | 10.519 | 288.686 | 10.821 | 293.067 | 11.407 | 290.933 | 22.752 | 889.683 | 26.987 | 0.25722
2020-08-15 17:30:00 | 10.351 | 295.173 | 11.315 | 288.292 | 11.822 | 293.1 | 11.894 | 289.167 | 23.298 | 889.967 | 25.731 | 0.25722
2020-08-15 17:45:00 | 11.283 | 286.027 | 12.042 | 282.02 | 12.136 | 284.533 | 12.304 | 281.133 | 23.198 | 889.833 | 24.307 | 0.19327
2020-08-15 18:00:00 | 7.97 | 331.267 | 8.383 | 325.571 | 8.595 | 331.433 | 8.823 | 328.2 | 22.498 | 889.833 | 30.936 | 0.20749
2020-08-15 18:15:00 | 9.892 | 330.267 | 10.407 | 324.677 | 10.773 | 327.7 | 11.035 | 326.9 | 21.768 | 889.817 | 35.245 | 0.19327
2020-08-15 18:30:00 | 9.344 | 329.347 | 9.365 | 323.406 | 9.803 | 325.9 | 10.058 | 323 | 21.477 | 890.117 | 38.141 | 0.18048
2020-08-15 18:45:00 | 8.1 | 321.813 | 8.516 | 318.478 | 9.137 | 322.633 | 9.409 | 321.5 | 20.981 | 889.933 | 40.12 | 0.1748
2020-08-15 19:00:00 | 7.889 | 328.76 | 8.482 | 322.52 | 8.668 | 325.7 | 8.937 | 325.667 | 20.806 | 889.933 | 40.851 | 0.1748
2020-08-15 19:15:00 | 8.54 | 334.613 | 9.361 | 329.773 | 9.518 | 333.2 | 9.65 | 330.167 | 20.998 | 889.633 | 37.76 | 0.18333
2020-08-15 19:30:00 | 9.524 | 294.827 | 10.303 | 291.809 | 10.397 | 295.9 | 10.711 | 293.5 | 21.373 | 889.7 | 34.109 | 0.1947
2020-08-15 19:45:00 | 9.041 | 327.76 | 9.528 | 320.52 | 9.95 | 324.067 | 10.101 | 322.767 | 20.623 | 889.633 | 37.235 | 0.19896
2020-08-15 20:00:00 | 8.223 | 318.307 | 8.902 | 309.357 | 9.434 | 313.733 | 10.025 | 310.567 | 20.227 | 889.9 | 38.336 | 0.1748
2020-08-15 20:15:00 | 10.383 | 304.08 | 11.401 | 298.456 | 12.136 | 303.033 | 12.936 | 299.667 | 20.914 | 889.733 | 36.869 | 0.18475
2020-08-15 20:30:00 | 9.471 | 303.04 | 10.644 | 297.219 | 11.028 | 300.8 | 11.39 | 297.7 | 20.535 | 889.567 | 39.251 | 0.17764
2020-08-15 20:45:00 | 8.053 | 293.333 | 9.248 | 288.425 | 9.55 | 293.7 | 9.992 | 290.8 | 20.031 | 889.833 | 40.309 | 0.17196
2020-08-15 21:00:00 | 5.666 | 310.667 | 6.415 | 305.677 | 6.716 | 311.233 | 7.106 | 310.333 | 19.402 | 889.758 | 42.107 | 0.17906
2020-08-15 21:15:00 | 5.42 | 311.533 | 6.278 | 308.429 | 6.654 | 311.1 | 7.164 | 309.2 | 18.823 | 889.808 | 44.731 | 0.16911
2020-08-15 21:30:00 | 5.613 | 309.08 | 6.745 | 304.322 | 7.323 | 307.9 | 7.82 | 304.333 | 18.452 | 889.633 | 46.08 | 0.17622
2020-08-15 21:45:00 | 6.293 | 291.933 | 7.057 | 287.315 | 7.323 | 291.567 | 7.845 | 288.967 | 18.456 | 889.633 | 47.067 | 0.24159
2020-08-15 22:00:00 | 4.79 | 280.947 | 5.955 | 276.421 | 6.252 | 279.767 | 6.61 | 276 | 18.231 | 889.458 | 47.184 | 0.23733
2020-08-15 22:15:00 | 4.662 | 278.467 | 5.69 | 274.307 | 5.915 | 276.833 | 6.162 | 273.567 | 18.098 | 889.975 | 48.245 | 0.23591
2020-08-15 22:30:00 | 4.415 | 258.38 | 5.452 | 255.705 | 5.78 | 259.783 | 5.942 | 254.917 | 17.556 | 889.575 | 49.445 | 0.23449
2020-08-15 22:45:00 | 4.163 | 250.553 | 5.081 | 249.142 | 5.447 | 255.267 | 5.618 | 251 | 17.035 | 889.825 | 50.731 | 0.1748
2020-08-15 23:00:00 | 5.235 | 246.093 | 6.29 | 246.638 | 6.513 | 253.4 | 6.666 | 250.35 | 16.798 | 890.092 | 51.691 | 0.17196
2020-08-15 23:15:00 | 5.186 | 247.213 | 6.306 | 247.381 | 6.754 | 252.933 | 6.783 | 249.183 | 16.798 | 890.458 | 52.107 | 0.16911
2020-08-15 23:30:00 | 5.9 | 247.687 | 7.132 | 246.564 | 7.336 | 252.6 | 7.475 | 248.483 | 16.464 | 889.992 | 52.928 | 0.17054
2020-08-15 23:45:00 | 5.795 | 240.613 | 6.886 | 238.969 | 7.375 | 245.833 | 7.344 | 242.4 | 16.664 | 890.092 | 52.789 | 0.17054