## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-16 00:00:00 | 5.236 | 245.547 | 6.311 | 244.947 | 6.455 | 251.267 | 6.394 | 247.1 | 16.631 | 890.158 | 53.685 | 0.16911
2020-08-16 00:15:00 | 4.64 | 247.547 | 5.61 | 246.914 | 5.747 | 251.933 | 5.744 | 247.367 | 16.431 | 889.725 | 54.571 | 0.16911
2020-08-16 00:30:00 | 3.716 | 257.707 | 4.322 | 244.354 | 4.583 | 246.567 | 4.572 | 240.2 | 15.811 | 890.008 | 55.136 | 0.17196
2020-08-16 00:45:00 | 3.828 | 238.5 | 5.798 | 229.15 | 6.894 | 232.3 | 7.315 | 226.6 | 14.808 | 890.05 | 55.659 | 0.16627
2020-08-16 01:00:00 | 4.26 | 242.96 | 5.761 | 227.135 | 7.375 | 227.267 | 7.815 | 221.4 | 15.272 | 889.825 | 55.125 | 0.16911
2020-08-16 01:15:00 | 5.916 | 217.86 | 7.95 | 218.323 | 8.264 | 222.067 | 8.277 | 218 | 15.305 | 889.867 | 54.485 | 0.16769
2020-08-16 01:30:00 | 6.084 | 221.1 | 7.678 | 223.01 | 8.26 | 228.667 | 8.376 | 224.667 | 15.538 | 889.725 | 53.387 | 0.16911
2020-08-16 01:45:00 | 6.157 | 228.2 | 7.319 | 229.556 | 7.836 | 235.9 | 7.784 | 232.1 | 15.414 | 889.933 | 52.373 | 0.16911
2020-08-16 02:00:00 | 5.094 | 232.713 | 6.672 | 230.508 | 7.088 | 236.633 | 7.316 | 231.467 | 15.556 | 889.792 | 52.213 | 0.16911
2020-08-16 02:15:00 | 5.476 | 234.973 | 6.848 | 233.702 | 7.136 | 239.967 | 7.169 | 235.667 | 15.407 | 890.3 | 51.883 | 0.17054
2020-08-16 02:30:00 | 4.664 | 250.773 | 5.728 | 243.378 | 6.492 | 249.633 | 6.426 | 246.317 | 15.45 | 889.8 | 51.968 | 0.17054
2020-08-16 02:45:00 | 4.871 | 239.067 | 6.158 | 238.333 | 6.68 | 246.267 | 6.565 | 242.567 | 15.694 | 889.9 | 52.117 | 0.23733
2020-08-16 03:00:00 | 5.996 | 230.967 | 7.21 | 232.914 | 7.284 | 239.433 | 7.293 | 234.667 | 15.058 | 890.083 | 53.035 | 0.23449
2020-08-16 03:15:00 | 5.098 | 235.867 | 6.997 | 233.819 | 7.403 | 240.133 | 7.386 | 236.4 | 14.958 | 890.017 | 52.981 | 0.23307
2020-08-16 03:30:00 | 5.264 | 234.7 | 7.243 | 232.767 | 7.661 | 240.033 | 7.769 | 235 | 14.741 | 889.892 | 52.757 | 0.22596
2020-08-16 03:45:00 | 6.334 | 232.067 | 8.109 | 229.972 | 8.725 | 236.033 | 8.614 | 232.767 | 14.641 | 889.633 | 52.384 | 0.16627
2020-08-16 04:00:00 | 6.402 | 230.907 | 7.986 | 230.884 | 8.79 | 236.833 | 8.69 | 232.467 | 15.134 | 889.533 | 51.595 | 0.16769
2020-08-16 04:15:00 | 6.445 | 228 | 8.109 | 227.472 | 8.749 | 234.5 | 8.823 | 230.767 | 15.388 | 889.667 | 51.381 | 0.16911
2020-08-16 04:30:00 | 5.852 | 224.167 | 7.829 | 224.323 | 8.777 | 230.433 | 9.155 | 226.933 | 15.058 | 889.6 | 51.893 | 0.16769
2020-08-16 04:45:00 | 5.997 | 225.933 | 7.915 | 226.772 | 8.972 | 233.267 | 8.98 | 230.567 | 15.008 | 889.733 | 52.192 | 0.16343
2020-08-16 05:00:00 | 6.777 | 226.54 | 8.507 | 226.964 | 9.399 | 232.867 | 9.283 | 228.7 | 14.497 | 889.85 | 51.872 | 0.16343
2020-08-16 05:15:00 | 6.381 | 227.9 | 8.19 | 226.957 | 8.837 | 233.333 | 8.945 | 229.267 | 15.091 | 889.75 | 51.339 | 0.16911
2020-08-16 05:30:00 | 6.948 | 227.587 | 8.486 | 227.397 | 8.938 | 233.1 | 8.888 | 229.067 | 15.112 | 889.708 | 50.848 | 0.16769
2020-08-16 05:45:00 | 6.17 | 229.7 | 7.86 | 229.894 | 8.174 | 237.733 | 8.044 | 234.467 | 15.091 | 890.242 | 51.147 | 0.16343
2020-08-16 06:00:00 | 6.399 | 223.82 | 8.136 | 224.625 | 8.65 | 231.433 | 8.516 | 228.167 | 14.458 | 889.725 | 52.075 | 0.16911
2020-08-16 06:15:00 | 6.159 | 220.02 | 7.784 | 223.792 | 8.757 | 231 | 8.778 | 228.233 | 14.591 | 890.033 | 52.693 | 0.16911
2020-08-16 06:30:00 | 6.332 | 229.933 | 8.057 | 231.122 | 8.437 | 239.567 | 8.371 | 236.167 | 14.758 | 890.1 | 52.843 | 0.16769
2020-08-16 06:45:00 | 5.863 | 231.3 | 7.693 | 232.223 | 7.984 | 240.333 | 8.07 | 236.467 | 15.141 | 889.383 | 52.576 | 0.16485
2020-08-16 07:00:00 | 5.913 | 228.233 | 7.481 | 232.785 | 7.979 | 241.133 | 7.963 | 236.8 | 14.824 | 889.958 | 51.808 | 0.16627
2020-08-16 07:15:00 | 6.134 | 226.773 | 7.668 | 228.591 | 8.013 | 237.067 | 8.005 | 234.5 | 15.664 | 889.583 | 48.672 | 0.16343
2020-08-16 07:30:00 | 5.317 | 220.56 | 6.727 | 223.478 | 7.513 | 232.333 | 7.493 | 231.5 | 16.317 | 889.983 | 46.837 | 0.16911
2020-08-16 07:45:00 | 5.098 | 215.793 | 6.365 | 219.758 | 6.925 | 228.567 | 7.132 | 228.2 | 16.631 | 889.867 | 44.757 | 0.22596
2020-08-16 08:00:00 | 4.584 | 222.2 | 5.501 | 223.865 | 6.577 | 231.933 | 6.875 | 230.733 | 17.485 | 889.817 | 42.016 | 0.23449
2020-08-16 08:15:00 | 5.43 | 231.767 | 6.087 | 229.702 | 6.609 | 235.8 | 6.785 | 233.867 | 18.689 | 889.5 | 38.443 | 0.23591
2020-08-16 08:30:00 | 5.661 | 226.2 | 6.017 | 223.902 | 6.284 | 226.6 | 6.562 | 223.1 | 19.623 | 889.867 | 36.208 | 0.23164
2020-08-16 08:45:00 | 5.009 | 235.887 | 5.342 | 233.673 | 5.653 | 240.5 | 5.699 | 237 | 19.61 | 889.833 | 35.627 | 0.16627
2020-08-16 09:00:00 | 4.479 | 247.047 | 4.596 | 244.22 | 4.72 | 249.067 | 4.908 | 243.667 | 21.11 | 889.9 | 33.285 | 0.16769
2020-08-16 09:15:00 | 4.564 | 252.127 | 4.673 | 250.687 | 4.73 | 257.117 | 4.866 | 254.033 | 21.885 | 889.567 | 30.528 | 0.17054
2020-08-16 09:30:00 | 5.283 | 272.52 | 5.587 | 266.361 | 5.924 | 271.067 | 5.977 | 267.833 | 21.423 | 889.75 | 29.875 | 0.17622
2020-08-16 09:45:00 | 6.254 | 284.027 | 6.793 | 277.663 | 6.835 | 282.2 | 7.035 | 277.667 | 21.914 | 889.583 | 29.035 | 0.18759
2020-08-16 10:00:00 | 5.676 | 298.76 | 5.992 | 291.695 | 6.265 | 291.1 | 6.716 | 285.533 | 21.539 | 889.733 | 29.027 | 0.18759
2020-08-16 10:15:00 | 4.702 | 282.867 | 5.088 | 272.628 | 5.04 | 279.683 | 5.478 | 273.233 | 22.264 | 889.617 | 28.72 | 0.19612
2020-08-16 10:30:00 | 6.237 | 289.4 | 7.013 | 285.325 | 7.299 | 289.367 | 7.508 | 289.2 | 22.348 | 889.75 | 28.227 | 0.19185
2020-08-16 10:45:00 | 8.979 | 272.907 | 9.492 | 266.348 | 9.763 | 271.25 | 10.05 | 266.05 | 22.664 | 890.033 | 27.571 | 0.20464
2020-08-16 11:00:00 | 7.079 | 292.933 | 7.754 | 289.31 | 8.125 | 293.167 | 8.5 | 289.2 | 22.481 | 889.667 | 27.528 | 0.1947
2020-08-16 11:15:00 | 8.714 | 297.107 | 9.176 | 294.354 | 9.387 | 296.4 | 9.593 | 294.233 | 22.448 | 889.783 | 26.576 | 0.21175
2020-08-16 11:30:00 | 7.708 | 287.467 | 8.169 | 283.905 | 8.455 | 287 | 8.733 | 283.833 | 23.031 | 889.5 | 25.368 | 0.2018
2020-08-16 11:45:00 | 8.602 | 289.653 | 8.903 | 282.888 | 9.185 | 285.567 | 9.692 | 283.4 | 22.764 | 889.9 | 25 | 0.20322
2020-08-16 12:00:00 | 10.331 | 290.147 | 11.242 | 282.773 | 11.312 | 285.3 | 11.604 | 281.117 | 23.648 | 889.45 | 23.411 | 0.19896
2020-08-16 12:15:00 | 7.373 | 283.68 | 7.985 | 279.012 | 8.094 | 282.367 | 8.367 | 274.483 | 23.564 | 889.85 | 23.461 | 8.8352
2020-08-16 12:30:00 | 7.578 | 275.547 | 7.787 | 268.147 | 7.802 | 269.667 | 8.104 | 263.367 | 23.764 | 889.833 | 23.272 | 55.5684
2020-08-16 12:45:00 | 9.06 | 289.847 | 9.61 | 283.08 | 9.803 | 289.017 | 10.487 | 285.6 | 24.548 | 889.95 | 21.571 | 57.3363
2020-08-16 13:00:00 | 8.467 | 285.173 | 8.982 | 277.332 | 9.165 | 278.7 | 9.223 | 275.933 | 23.994 | 889.767 | 22.237 | 59.8745
2020-08-16 13:15:00 | 10.133 | 263.8 | 10.806 | 258.643 | 10.918 | 262.167 | 11 | 258.8 | 24.927 | 889.55 | 20.459 | 58.5862
2020-08-16 13:30:00 | 10.095 | 291.52 | 10.842 | 284.567 | 11.258 | 287.233 | 11.427 | 285.2 | 24.298 | 889.8 | 20.812 | 65.1099
2020-08-16 13:45:00 | 8.189 | 285.733 | 8.501 | 279.538 | 8.428 | 283.6 | 8.81 | 280.5 | 24.56 | 889.033 | 20.075 | 56.1014
2020-08-16 14:00:00 | 9.277 | 298.747 | 9.57 | 292.395 | 9.612 | 295.267 | 10.044 | 293.6 | 24.952 | 889.2 | 20.419 | 66.6959
2020-08-16 14:15:00 | 10.012 | 281.667 | 10.466 | 274.099 | 10.928 | 276.067 | 10.966 | 273.433 | 25.094 | 889.733 | 19.429 | 61.5173
2020-08-16 14:30:00 | 12.235 | 292.347 | 13.36 | 284.239 | 13.442 | 285.167 | 13.653 | 281.8 | 25.085 | 889.733 | 18.564 | 55.6644
2020-08-16 14:45:00 | 8.447 | 299.08 | 9.346 | 290.287 | 9.616 | 292.133 | 10.017 | 289.567 | 24.66 | 889.4 | 19.291 | 54.9161
2020-08-16 15:00:00 | 10.128 | 290.187 | 10.812 | 282.94 | 11.08 | 286.533 | 11.103 | 280.533 | 25.414 | 889.133 | 18.667 | 54.3925
2020-08-16 15:15:00 | 12.213 | 291.32 | 12.628 | 282.647 | 13.037 | 286 | 13.438 | 282.933 | 25.768 | 889.7 | 17.9 | 55.6224
2020-08-16 15:30:00 | 11.252 | 298.853 | 11.769 | 294.139 | 11.996 | 296.067 | 12.209 | 293.5 | 26.127 | 889.633 | 17.917 | 53.7004
2020-08-16 15:45:00 | 11.737 | 288.127 | 12.749 | 280.74 | 12.989 | 285.5 | 13.113 | 281.267 | 25.777 | 889.667 | 17.501 | 52.5187
2020-08-16 16:00:00 | 9.544 | 291.627 | 10.113 | 284.542 | 10.406 | 289.1 | 10.659 | 283.7 | 26.402 | 889.167 | 16.857 | 52.1975
2020-08-16 16:15:00 | 14.25 | 290.147 | 15.24 | 285.91 | 15.432 | 289.533 | 15.754 | 287.067 | 26.168 | 889.467 | 17.392 | 52.4704
2020-08-16 16:30:00 | 11.178 | 290.92 | 11.864 | 286.53 | 12.066 | 291.2 | 12.671 | 288.533 | 25.631 | 889.7 | 17.513 | 53.3444
2020-08-16 16:45:00 | 12.964 | 283.747 | 13.973 | 275.562 | 14.334 | 280.867 | 14.782 | 276.867 | 26.081 | 889.3 | 16.101 | 57.5261
2020-08-16 17:00:00 | 12.232 | 266.473 | 13.3 | 264.359 | 13.533 | 269.267 | 13.588 | 266.467 | 26.168 | 889.933 | 14.623 | 60.7662
2020-08-16 17:15:00 | 10.612 | 285.613 | 11.672 | 279.917 | 11.968 | 284.233 | 12.018 | 279.633 | 26.031 | 889.533 | 14.424 | 64.5685
2020-08-16 17:30:00 | 10.786 | 278.693 | 11.8 | 272.197 | 12.045 | 277.033 | 12.274 | 271.433 | 26.285 | 889.7 | 15.244 | 75.5226
2020-08-16 17:45:00 | 10.629 | 290.253 | 11.539 | 285.667 | 11.944 | 289.967 | 12.018 | 286.833 | 26.16 | 889.267 | 14.773 | 78.2213
2020-08-16 18:00:00 | 11.182 | 271.72 | 11.911 | 266.335 | 12.283 | 272.733 | 12.388 | 268.133 | 26.344 | 889.5 | 15.467 | 80.6465
2020-08-16 18:15:00 | 10.877 | 292.453 | 11.401 | 284.999 | 11.62 | 287.967 | 11.836 | 282.067 | 25.902 | 889.367 | 16.251 | 81.4984
2020-08-16 18:30:00 | 11.249 | 290.413 | 12.251 | 281.984 | 12.196 | 286.467 | 12.501 | 284.4 | 26.218 | 889.533 | 16.333 | 72.5027
2020-08-16 18:45:00 | 8.693 | 281.427 | 9.52 | 274.754 | 9.755 | 279.967 | 10.29 | 274.5 | 26.102 | 889.233 | 16.623 | 68.1469
2020-08-16 19:00:00 | 9.966 | 283.787 | 10.902 | 277.882 | 11.078 | 281.733 | 11.268 | 279.417 | 26.177 | 889.933 | 17.301 | 74.5065
2020-08-16 19:15:00 | 8.375 | 287.64 | 9.101 | 280.929 | 9.395 | 286.267 | 9.795 | 283.1 | 25.889 | 889.4 | 18.393 | 75.5538
2020-08-16 19:30:00 | 8.594 | 298.867 | 9.322 | 289.96 | 9.65 | 293.533 | 9.988 | 290.633 | 25.581 | 889.6 | 18.881 | 69.8572
2020-08-16 19:45:00 | 8.995 | 296.093 | 9.508 | 294.779 | 9.857 | 297.833 | 10.205 | 293.967 | 25.256 | 889.333 | 17.851 | 77.2386
2020-08-16 20:00:00 | 9.664 | 284.6 | 10.528 | 279.388 | 10.891 | 283.133 | 11.055 | 281.4 | 25.223 | 889.567 | 16.416 | 79.0448
2020-08-16 20:15:00 | 9.721 | 286.28 | 11.318 | 281.654 | 11.966 | 283.9 | 12.046 | 282 | 25.052 | 889.633 | 18.071 | 81.5837
2020-08-16 20:30:00 | 8.221 | 298.027 | 9.222 | 292.641 | 9.803 | 296.067 | 10.086 | 292.933 | 24.539 | 889.983 | 21.091 | 60.5197
2020-08-16 20:45:00 | 6.981 | 296.467 | 7.889 | 291.237 | 8.281 | 294.2 | 8.674 | 291.9 | 24.006 | 889.517 | 21.843 | 49.6125
2020-08-16 21:00:00 | 7.114 | 292.84 | 7.788 | 287.975 | 8.145 | 290.3 | 8.526 | 287.833 | 23.564 | 890.233 | 21.621 | 43.2167
2020-08-16 21:15:00 | 6.665 | 286.64 | 7.7 | 281.124 | 8.069 | 285.033 | 8.564 | 282.067 | 23.748 | 889.75 | 22.091 | 39.5082
2020-08-16 21:30:00 | 5.365 | 276.04 | 6.421 | 273.728 | 6.672 | 278.633 | 7.016 | 275.767 | 22.814 | 889.867 | 22.923 | 27.8173
2020-08-16 21:45:00 | 5.011 | 263.227 | 6.244 | 265.688 | 6.608 | 270.433 | 7.143 | 267.5 | 22.831 | 889.7 | 22.896 | 27.6695
2020-08-16 22:00:00 | 5.178 | 260.367 | 6.418 | 259.861 | 6.854 | 265.1 | 7.191 | 263.1 | 22.614 | 889.6 | 24.035 | 29.237
2020-08-16 22:15:00 | 4.796 | 263.293 | 6.005 | 263.995 | 6.411 | 269.9 | 6.681 | 266.7 | 22.039 | 889.7 | 25.117 | 27.5536
2020-08-16 22:30:00 | 5.139 | 251.373 | 6.478 | 252.374 | 6.823 | 258.417 | 7.188 | 255.933 | 21.935 | 889.367 | 25.883 | 29.1773
2020-08-16 22:45:00 | 5.365 | 265.267 | 6.85 | 264.96 | 7.272 | 271.8 | 7.509 | 268.733 | 21.327 | 889.8 | 26.499 | 29.9362
2020-08-16 23:00:00 | 4.648 | 270.427 | 5.977 | 273.321 | 6.423 | 280.633 | 7.113 | 281 | 21.339 | 889.917 | 27.176 | 22.1171
2020-08-16 23:15:00 | 4.52 | 273.773 | 5.725 | 276.899 | 5.977 | 281.1 | 6.534 | 280.567 | 20.802 | 889.483 | 28.123 | 16.1526
2020-08-16 23:30:00 | 4.234 | 266.68 | 5.207 | 272.858 | 5.337 | 278.8 | 5.664 | 277.333 | 20.777 | 889.717 | 28.971 | 12.6239
2020-08-16 23:45:00 | 3.924 | 248.973 | 4.583 | 267.848 | 4.8 | 276.8 | 5.157 | 277.567 | 19.906 | 890.133 | 30.344 | 9.1805