## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-17 00:00:00 | 4.611 | 235.42 | 4.509 | 249.938 | 4.29 | 262.333 | 4.642 | 264.4 | 19.085 | 889.783 | 31.701 | 7.5263
2020-08-17 00:15:00 | 5.03 | 238.827 | 5.106 | 246.605 | 4.948 | 256.233 | 5.076 | 256.083 | 18.727 | 890 | 32.565 | 9.0548
2020-08-17 00:30:00 | 3.781 | 274.187 | 3.832 | 268.518 | 3.978 | 269.65 | 4.506 | 264.017 | 19.206 | 889.767 | 33.088 | 10.5654
2020-08-17 00:45:00 | 3.62 | 289.733 | 4.222 | 281.295 | 4.266 | 283.7 | 4.63 | 279.633 | 18.285 | 889.233 | 33.472 | 11.487
2020-08-17 01:00:00 | 3.529 | 254.2 | 3.233 | 258.279 | 3.207 | 265.267 | 3.604 | 258.8 | 18.773 | 889.533 | 33.669 | 9.0988
2020-08-17 01:15:00 | 3.337 | 260.393 | 4.777 | 249.922 | 5.22 | 256.667 | 5.287 | 253.75 | 17.66 | 890 | 33.968 | 13.407
2020-08-17 01:30:00 | 4.857 | 239.727 | 6.032 | 247.134 | 5.778 | 254.6 | 5.855 | 251.933 | 16.914 | 889.95 | 35.36 | 18.236
2020-08-17 01:45:00 | 5.55 | 231.46 | 6.383 | 237.105 | 6.346 | 247.3 | 6.183 | 245.267 | 17.352 | 890.033 | 35.189 | 21.3888
2020-08-17 02:00:00 | 5.279 | 229.287 | 6.467 | 234.759 | 6.453 | 243.2 | 6.281 | 241.033 | 17.273 | 889.783 | 34.987 | 22.5335
2020-08-17 02:15:00 | 5.337 | 229.807 | 6.757 | 237.732 | 7.061 | 246.333 | 7.16 | 243.1 | 16.731 | 889.95 | 35.659 | 27.0072
2020-08-17 02:30:00 | 4.835 | 229.407 | 6.582 | 235.638 | 6.804 | 245.4 | 6.928 | 242.8 | 16.881 | 889.8 | 36.251 | 27.6211
2020-08-17 02:45:00 | 5.292 | 233.793 | 6.89 | 241.585 | 7.06 | 250.533 | 7.01 | 246.633 | 16.414 | 889.833 | 36.816 | 26.5496
2020-08-17 03:00:00 | 5.509 | 230.653 | 6.644 | 239.287 | 6.667 | 247.8 | 6.616 | 244 | 16.548 | 890.05 | 36.453 | 24.3234
2020-08-17 03:15:00 | 5.923 | 220.273 | 6.898 | 226.21 | 6.947 | 235.7 | 6.85 | 234.567 | 15.574 | 890.067 | 37.813 | 23.2149
2020-08-17 03:30:00 | 5.393 | 222.287 | 6.805 | 224.575 | 6.806 | 232.567 | 6.81 | 230.4 | 16.146 | 889.4 | 38.395 | 23.2099
2020-08-17 03:45:00 | 5.72 | 218.88 | 7.44 | 220.377 | 6.991 | 227.567 | 6.905 | 226.267 | 15.616 | 889.95 | 38.459 | 24.7902
2020-08-17 04:00:00 | 6.699 | 212.307 | 8.696 | 214.228 | 8.762 | 219.233 | 8.323 | 217.2 | 15.357 | 889.467 | 38.72 | 37.4199
2020-08-17 04:15:00 | 5.89 | 218.733 | 8.077 | 220.701 | 8.046 | 229.733 | 8.191 | 227.067 | 15.828 | 889.35 | 38.523 | 43.9358
2020-08-17 04:30:00 | 5.727 | 222.253 | 8.032 | 220.63 | 8.164 | 228.1 | 8.237 | 226.133 | 16.006 | 889.783 | 38.123 | 45.575
2020-08-17 04:45:00 | 5.764 | 225.387 | 8.006 | 222.081 | 8.62 | 227.9 | 8.875 | 224.267 | 16.162 | 889.733 | 38.267 | 49.6032
2020-08-17 05:00:00 | 5.068 | 263.853 | 5.794 | 249.337 | 6.566 | 244.2 | 7.64 | 234.517 | 15.74 | 889.883 | 38.819 | 47.0452
2020-08-17 05:15:00 | 6.582 | 248.22 | 7.69 | 241.795 | 8.362 | 243.417 | 8.91 | 235.9 | 16.162 | 889.667 | 38.672 | 49.5244
2020-08-17 05:30:00 | 6.414 | 244.473 | 7.997 | 240.771 | 8.839 | 244.4 | 9.266 | 237.633 | 15.34 | 889.633 | 38.933 | 47.0523
2020-08-17 05:45:00 | 7.197 | 247.787 | 8.044 | 246.129 | 7.922 | 252 | 7.761 | 247.733 | 15.426 | 890.083 | 38.757 | 37.8029
2020-08-17 06:00:00 | 6.77 | 242.36 | 6.949 | 243.018 | 6.7 | 250.733 | 6.66 | 248.367 | 15.238 | 889.617 | 38.32 | 38.4026
2020-08-17 06:15:00 | 6.968 | 239.813 | 7.417 | 243.918 | 7.43 | 252.433 | 7.975 | 251.233 | 15.59 | 889.683 | 37.488 | 42.0314
2020-08-17 06:30:00 | 7.04 | 229.893 | 8.194 | 237.987 | 8.963 | 248.567 | 9.346 | 245.033 | 15.238 | 889.633 | 37.029 | 53.4232
2020-08-17 06:45:00 | 7.51 | 227.713 | 9.153 | 233.005 | 9.638 | 240.633 | 9.906 | 237.333 | 15.226 | 889.733 | 37.728 | 70.5458
2020-08-17 07:00:00 | 6.952 | 225.933 | 8.973 | 228.296 | 9.718 | 235.7 | 9.972 | 233.4 | 15.454 | 889.567 | 37.675 | 71.682
2020-08-17 07:15:00 | 6.539 | 228.56 | 8.419 | 231.133 | 9.14 | 238.9 | 9.334 | 235.9 | 16.664 | 889.5 | 33.723 | 57.8337
2020-08-17 07:30:00 | 5.734 | 235.447 | 6.853 | 235.362 | 7.625 | 244.8 | 8.001 | 241.733 | 17.377 | 889.65 | 30.048 | 40.8476
2020-08-17 07:45:00 | 5.2 | 248.44 | 6.108 | 246.039 | 6.709 | 253.533 | 6.945 | 251.9 | 18.439 | 890.233 | 27.867 | 33.5345
2020-08-17 08:00:00 | 6.494 | 269.093 | 7.298 | 266.014 | 7.78 | 270.1 | 8.097 | 266.05 | 19.31 | 889.567 | 30.315 | 24.5082
2020-08-17 08:15:00 | 6.296 | 268.08 | 7.155 | 263.547 | 7.397 | 269.867 | 7.753 | 266.633 | 20.023 | 889.817 | 30.237 | 30.2623
2020-08-17 08:30:00 | 6.092 | 261.093 | 6.228 | 259.08 | 6.593 | 263.917 | 6.832 | 259.483 | 21.36 | 890.05 | 28.4 | 25.3218
2020-08-17 08:45:00 | 5.987 | 263.527 | 6.359 | 257.906 | 6.408 | 262.383 | 6.3 | 256.617 | 21.744 | 889.6 | 26.317 | 23.0245
2020-08-17 09:00:00 | 5.766 | 265.52 | 6.225 | 261.273 | 6.129 | 264.033 | 6.042 | 258.017 | 21.81 | 889.45 | 23.661 | 16.6791
2020-08-17 09:15:00 | 5.614 | 262.64 | 5.845 | 258.103 | 5.864 | 261.317 | 5.915 | 256.867 | 21.756 | 890 | 23.587 | 17.2433
2020-08-17 09:30:00 | 5.591 | 277.807 | 5.798 | 270.792 | 5.885 | 273.6 | 6.209 | 267.683 | 22.206 | 889.717 | 21.512 | 13.2414
2020-08-17 09:45:00 | 4.652 | 301.76 | 5.11 | 293.164 | 5.166 | 295.6 | 5.452 | 290.2 | 21.644 | 889.433 | 28.325 | 15.5792
2020-08-17 10:00:00 | 6.455 | 302.12 | 6.866 | 295.435 | 6.68 | 296.5 | 6.94 | 292.7 | 21.806 | 889.35 | 29.603 | 26.7024
2020-08-17 10:15:00 | 5.026 | 291.36 | 5.113 | 289.92 | 5.332 | 296.667 | 5.776 | 293.167 | 21.814 | 889.783 | 29.133 | 21.5543
2020-08-17 10:30:00 | 5.792 | 298.8 | 5.871 | 293.156 | 6.059 | 300.867 | 6.306 | 298.2 | 22.314 | 889.917 | 27.749 | 15.6474
2020-08-17 10:45:00 | 5.676 | 311.467 | 5.98 | 308.388 | 6.073 | 312.5 | 6.372 | 310.833 | 22.448 | 889.683 | 27.011 | 22.7523
2020-08-17 11:00:00 | 6.44 | 322.627 | 6.869 | 311.732 | 6.894 | 314.567 | 7.296 | 314.3 | 23.435 | 890.2 | 24.136 | 24.0051
2020-08-17 11:15:00 | 7.819 | 286.64 | 8.659 | 281.764 | 8.571 | 284.933 | 8.625 | 283.1 | 23.668 | 889.667 | 21.888 | 34.0141
2020-08-17 11:30:00 | 8.379 | 297.44 | 9.14 | 291.689 | 9.678 | 292.433 | 9.775 | 290.267 | 23.618 | 889.5 | 19.899 | 40.9244
2020-08-17 11:45:00 | 9.462 | 319.667 | 9.801 | 310.101 | 10.199 | 315.533 | 10.247 | 313.867 | 24.156 | 889.45 | 19.977 | 50.5987
2020-08-17 12:00:00 | 7.951 | 310.827 | 8.746 | 304.176 | 8.651 | 307.533 | 8.83 | 306.433 | 24.402 | 889.433 | 20.064 | 43.0966
2020-08-17 12:15:00 | 7.49 | 307.387 | 7.731 | 297.992 | 7.733 | 302.333 | 7.877 | 296.867 | 24.652 | 889.667 | 19.644 | 46.8811
2020-08-17 12:30:00 | 8.68 | 314.44 | 9.026 | 308.677 | 9.1 | 314.4 | 9.36 | 313.367 | 24.756 | 889.383 | 20.456 | 49.6082
2020-08-17 12:45:00 | 8.382 | 297.987 | 8.693 | 293.592 | 8.435 | 298.983 | 8.597 | 298.567 | 24.789 | 889.567 | 20.5 | 44.2818
2020-08-17 13:00:00 | 6.178 | 307.533 | 6.412 | 303.328 | 6.459 | 307.6 | 6.681 | 304.567 | 25.006 | 889.75 | 20.923 | 38.684
2020-08-17 13:15:00 | 6.376 | 287.733 | 6.842 | 283.929 | 7.03 | 285.6 | 7.261 | 280.767 | 25.123 | 889.433 | 20.445 | 44.3955
2020-08-17 13:30:00 | 8.219 | 322.267 | 8.863 | 317.53 | 9.138 | 322.5 | 9.178 | 320.6 | 25.123 | 889.6 | 20.388 | 37.7901
2020-08-17 13:45:00 | 7.537 | 286.72 | 8.158 | 283.896 | 8.168 | 289.4 | 8.289 | 285.733 | 25.885 | 889.833 | 19.657 | 41.3912
2020-08-17 14:00:00 | 7.89 | 304.733 | 8.172 | 297.268 | 8.385 | 299.767 | 8.309 | 296.033 | 25.31 | 889.833 | 20.372 | 41.6406
2020-08-17 14:15:00 | 8.063 | 290.853 | 8.901 | 286.58 | 9.232 | 289.167 | 9.403 | 287.933 | 26.044 | 889.567 | 18.695 | 45.4706
2020-08-17 14:30:00 | 9.591 | 309.893 | 10.58 | 303.048 | 11.068 | 307.667 | 11.237 | 303.6 | 26.677 | 889.6 | 18.928 | 36.2837
2020-08-17 14:45:00 | 6.796 | 305.8 | 7.418 | 298.463 | 7.588 | 301 | 7.841 | 299.633 | 26.581 | 889.5 | 18.505 | 42.288
2020-08-17 15:00:00 | 9.353 | 316.88 | 10.034 | 311.79 | 10.058 | 317.367 | 10.245 | 315.267 | 26.289 | 889.8 | 17.537 | 47.6371
2020-08-17 15:15:00 | 3.695 | 304.847 | 3.662 | 296.756 | 3.663 | 295.4 | 4.205 | 284.55 | 26.168 | 889.1 | 19.684 | 41.1503
2020-08-17 15:30:00 | 6.838 | 312.08 | 7.268 | 301.174 | 7.787 | 307.4 | 8.44 | 305.467 | 26.939 | 889.3 | 17.935 | 43.3026
2020-08-17 15:45:00 | 6.874 | 334.053 | 6.945 | 326.861 | 7.361 | 330.8 | 7.826 | 329.5 | 26.81 | 889.533 | 19.207 | 33.8152
2020-08-17 16:00:00 | 4.51 | 292.2 | 5.112 | 289.385 | 5.271 | 297.9 | 5.578 | 297.4 | 27.264 | 889.5 | 17.632 | 33.3782
2020-08-17 16:15:00 | 5.289 | 310.84 | 5.406 | 302.494 | 5.338 | 303.433 | 5.806 | 301.1 | 26.881 | 889.567 | 17.648 | 32.1041
2020-08-17 16:30:00 | 6.922 | 285.587 | 7.136 | 282.692 | 7.426 | 283.867 | 8.314 | 280.517 | 27.031 | 889.433 | 16.352 | 37.3922
2020-08-17 16:45:00 | 6.834 | 295.293 | 6.804 | 286.252 | 6.862 | 290.267 | 6.89 | 287.4 | 27.427 | 889.367 | 16.627 | 41.5049
2020-08-17 17:00:00 | 7.49 | 286.107 | 7.955 | 280.201 | 8.312 | 285.233 | 8.732 | 284.033 | 27.489 | 889.033 | 15.388 | 35.2434
2020-08-17 17:15:00 | 7.283 | 297.893 | 7.634 | 293.504 | 7.489 | 297.767 | 7.826 | 295.367 | 27.564 | 889.9 | 14.401 | 40.4867
2020-08-17 17:30:00 | 8.961 | 302.547 | 9.498 | 296.411 | 9.662 | 300.867 | 10.027 | 298.167 | 27.789 | 889.7 | 14.184 | 38.7465
2020-08-17 17:45:00 | 8.378 | 312.72 | 8.713 | 308.205 | 9.02 | 313.567 | 9.384 | 312.167 | 27.368 | 889.267 | 14.596 | 36.4364
2020-08-17 18:00:00 | 5.198 | 321.88 | 5.258 | 316.366 | 5.334 | 315.267 | 5.648 | 314.6 | 27.344 | 890.067 | 14.92 | 40.0632
2020-08-17 18:15:00 | 7.128 | 293.547 | 7.719 | 286.979 | 7.943 | 290.6 | 8.309 | 288.833 | 27.481 | 889.7 | 14.696 | 39.3121
2020-08-17 18:30:00 | 6.925 | 312.68 | 7.253 | 303.589 | 7.544 | 305.067 | 7.811 | 301.3 | 27.96 | 889.5 | 14.581 | 40.1022
2020-08-17 18:45:00 | 8.696 | 302.333 | 9.452 | 297.768 | 9.491 | 299.833 | 9.461 | 295.533 | 27.485 | 889.3 | 14.571 | 38.7216
2020-08-17 19:00:00 | 6.221 | 319.093 | 6.807 | 310.7 | 6.987 | 313.433 | 7.279 | 312.7 | 27.752 | 889.6 | 14.653 | 38.2555
2020-08-17 19:15:00 | 6.232 | 282.207 | 6.865 | 277.992 | 6.772 | 282.267 | 6.908 | 279.7 | 27.839 | 889.7 | 14.561 | 36.2993
2020-08-17 19:30:00 | 7.656 | 319.28 | 8.078 | 312.755 | 8.219 | 317.133 | 8.58 | 314.833 | 27.498 | 889.8 | 14.512 | 29.7536
2020-08-17 19:45:00 | 5.974 | 296.48 | 6.413 | 292.086 | 6.46 | 299.167 | 6.985 | 301.467 | 27.36 | 889.833 | 15.301 | 27.0939
2020-08-17 20:00:00 | 6.735 | 307.107 | 7.316 | 301.387 | 7.374 | 306.267 | 7.743 | 304.467 | 27.235 | 889.533 | 15.241 | 29.0316
2020-08-17 20:15:00 | 5.876 | 305.747 | 6.289 | 298.972 | 6.407 | 302 | 6.948 | 299.967 | 26.768 | 889.333 | 14.98 | 28.9734
2020-08-17 20:30:00 | 5.519 | 311.627 | 6.196 | 307.369 | 6.347 | 309.7 | 6.613 | 307.8 | 26.556 | 889.767 | 16.364 | 25.8845
2020-08-17 20:45:00 | 5.589 | 314.733 | 6.728 | 311.008 | 7.025 | 314.1 | 7.495 | 311.8 | 26.068 | 889.8 | 17.469 | 14.7897
2020-08-17 21:00:00 | 4.484 | 300.72 | 5.235 | 298.372 | 5.546 | 304.533 | 6.244 | 302.2 | 25.973 | 889.6 | 18.057 | 15.4221
2020-08-17 21:15:00 | 3.985 | 295.867 | 5.027 | 294.414 | 5.446 | 298.867 | 5.937 | 297.267 | 25.473 | 889.4 | 18.668 | 12.739
2020-08-17 21:30:00 | 4.134 | 280.133 | 5.317 | 278.318 | 5.686 | 284.033 | 6.198 | 281.733 | 25.139 | 889.433 | 18.848 | 12.7923
2020-08-17 21:45:00 | 4.292 | 270.173 | 4.817 | 275.958 | 5.313 | 281.633 | 5.834 | 280.867 | 24.589 | 889.233 | 18.401 | 12.6779
2020-08-17 22:00:00 | 4.005 | 262.947 | 4.668 | 274.044 | 5.018 | 281.6 | 5.416 | 281.8 | 23.756 | 889.3 | 18.527 | 9.4463
2020-08-17 22:15:00 | 4.037 | 245.747 | 4.107 | 263.531 | 4.236 | 274 | 4.662 | 274.467 | 22.864 | 889.8 | 19.367 | 7.051
2020-08-17 22:30:00 | 4.535 | 235.013 | 4.553 | 252.926 | 4.396 | 265.667 | 4.541 | 265.533 | 21.998 | 889.3 | 20.549 | 6.7802
2020-08-17 22:45:00 | 4.622 | 240.947 | 4.644 | 255.08 | 4.483 | 266.8 | 4.978 | 269.4 | 21.423 | 889.95 | 21.285 | 6.5798
2020-08-17 23:00:00 | 4.444 | 252.34 | 4.556 | 266.935 | 4.53 | 276.333 | 4.879 | 276.3 | 21.085 | 889.967 | 21.877 | 7.0268
2020-08-17 23:15:00 | 5.183 | 254.387 | 4.962 | 268.99 | 4.812 | 278.6 | 5.147 | 279.067 | 20.906 | 889.883 | 22.269 | 6.8108
2020-08-17 23:30:00 | 5.082 | 235.76 | 4.996 | 247.812 | 4.238 | 259.733 | 4.105 | 265.367 | 21.023 | 889.717 | 22.565 | 4.6031
2020-08-17 23:45:00 | 5.496 | 231.193 | 5.039 | 245.226 | 4.293 | 254.033 | 4.071 | 253.317 | 20.118 | 889.967 | 23.755 | 4.9896