## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-18 00:00:00 | 5.5 | 231.127 | 5.874 | 244.408 | 5.38 | 250.533 | 5.249 | 245.233 | 19.385 | 889.783 | 24.544 | 11.3868
2020-08-18 00:15:00 | 6.064 | 228.373 | 5.879 | 239.533 | 5.554 | 248.433 | 5.344 | 244.833 | 19.314 | 889.8 | 25.312 | 11.5005
2020-08-18 00:30:00 | 5.594 | 229.74 | 6.756 | 234.07 | 6.28 | 242.1 | 5.799 | 238.7 | 19.177 | 889.983 | 25.685 | 12.8435
2020-08-18 00:45:00 | 5.634 | 219.753 | 5.571 | 230.097 | 5.006 | 238.9 | 4.771 | 237.033 | 19.235 | 889.467 | 25.472 | 8.3925
2020-08-18 01:00:00 | 5.607 | 221.727 | 5.583 | 226.281 | 4.937 | 238.533 | 4.798 | 237.067 | 18.677 | 889.4 | 25.664 | 6.2459
2020-08-18 01:15:00 | 5.542 | 220.307 | 5.629 | 221.547 | 4.852 | 228.233 | 4.261 | 230 | 18.248 | 890.033 | 25.739 | 3.6665
2020-08-18 01:30:00 | 5.761 | 219.373 | 6.279 | 220.836 | 5.397 | 224.367 | 4.74 | 224.133 | 18.06 | 889.733 | 25.648 | 3.7831
2020-08-18 01:45:00 | 6.12 | 219.367 | 6.214 | 220.16 | 5.352 | 222.867 | 4.811 | 221 | 17.927 | 889.8 | 25.552 | 5.8899
2020-08-18 02:00:00 | 6.332 | 219.14 | 7.602 | 217.348 | 6.784 | 223.733 | 6.093 | 220.967 | 17.468 | 889.65 | 25.883 | 11.6647
2020-08-18 02:15:00 | 6.45 | 218.753 | 6.745 | 217.273 | 6.374 | 222.9 | 6.008 | 220.333 | 17.544 | 889.883 | 25.477 | 12.2829
2020-08-18 02:30:00 | 6.271 | 220.813 | 6.749 | 219.788 | 5.875 | 226.367 | 5.372 | 222.933 | 17.531 | 890.017 | 25.28 | 11.2092
2020-08-18 02:45:00 | 6.396 | 215.833 | 7.14 | 216.851 | 6.082 | 219 | 5.537 | 218.933 | 17.589 | 889.617 | 25.451 | 10.8162
2020-08-18 03:00:00 | 5.152 | 212.727 | 7.298 | 213.375 | 6.701 | 219.367 | 6.304 | 216.667 | 17.764 | 889.55 | 25.467 | 13.1682
2020-08-18 03:15:00 | 5.93 | 214.44 | 7.776 | 216.569 | 7.07 | 224.267 | 5.918 | 220.267 | 17.139 | 889.283 | 25.867 | 13.7999
2020-08-18 03:30:00 | 6.272 | 213.84 | 8.343 | 214.341 | 7.321 | 222.867 | 6.062 | 220.933 | 17.148 | 889.767 | 26.352 | 16.0567
2020-08-18 03:45:00 | 6.516 | 214.3 | 7.869 | 212.558 | 7.176 | 213.233 | 6.773 | 211.933 | 17.085 | 890.1 | 26.416 | 16.3459
2020-08-18 04:00:00 | 6.015 | 214.44 | 7.971 | 212.467 | 7.493 | 214.267 | 7.196 | 212.033 | 17.552 | 890.45 | 26.491 | 18.3603
2020-08-18 04:15:00 | 6.245 | 215.687 | 7.704 | 213.193 | 7.407 | 215.5 | 7.062 | 212.367 | 17.306 | 889.583 | 26.843 | 17.4743
2020-08-18 04:30:00 | 6.345 | 215.167 | 7.872 | 212.758 | 7.488 | 215.533 | 7.169 | 212.4 | 17.048 | 890 | 27.179 | 17.8409
2020-08-18 04:45:00 | 3.577 | 199.84 | 6.948 | 208.624 | 7.91 | 212.267 | 7.696 | 212 | 17.114 | 889.733 | 27.92 | 16.1903
2020-08-18 05:00:00 | 4.375 | 193.62 | 6.12 | 206.91 | 7.609 | 211.6 | 7.289 | 212 | 16.006 | 889.517 | 29.749 | 14.0976
2020-08-18 05:15:00 | 4.881 | 211.607 | 7.467 | 205.2 | 8.072 | 203.9 | 7.531 | 200.4 | 16.543 | 889.883 | 29.728 | 15.5742
2020-08-18 05:30:00 | 5 | 209.433 | 7.623 | 208.149 | 7.383 | 208.6 | 7.047 | 205.667 | 16.481 | 889.417 | 29.659 | 15.1862
2020-08-18 05:45:00 | 5.466 | 211.447 | 6.31 | 204.464 | 7.041 | 205.2 | 6.716 | 202 | 16.448 | 890.233 | 28.997 | 13.1512
2020-08-18 06:00:00 | 5.219 | 213.367 | 6.233 | 206.682 | 6.948 | 205.367 | 6.798 | 202 | 16.231 | 889.75 | 29.147 | 14.1232
2020-08-18 06:15:00 | 4.787 | 215.293 | 6.691 | 212.297 | 6.536 | 208.633 | 6.507 | 205.2 | 16.331 | 889.6 | 28.992 | 15.7881
2020-08-18 06:30:00 | 6.017 | 213.067 | 7.719 | 211.434 | 7.722 | 211.6 | 7.362 | 207 | 16.414 | 889.183 | 29.029 | 19.4965
2020-08-18 06:45:00 | 5.807 | 211.86 | 7.942 | 211.527 | 7.547 | 210.6 | 7.562 | 203.167 | 16.364 | 889.9 | 28.576 | 22.9946
2020-08-18 07:00:00 | 5.092 | 207.073 | 7.282 | 205.836 | 7.738 | 206.7 | 7.684 | 202.167 | 16.548 | 889.783 | 28.56 | 23.5546
2020-08-18 07:15:00 | 5.624 | 207.187 | 7.238 | 203.282 | 8.025 | 204.133 | 8.454 | 199 | 17.594 | 889.517 | 26.965 | 23.8956
2020-08-18 07:30:00 | 5.618 | 210.313 | 8.015 | 202.816 | 8.575 | 203.267 | 8.528 | 196.667 | 18.314 | 889.417 | 25.397 | 21.6623
2020-08-18 07:45:00 | 5.542 | 205.38 | 7.451 | 200.732 | 8.374 | 201.2 | 8.462 | 196.7 | 19.46 | 889.45 | 23.787 | 19.1462
2020-08-18 08:00:00 | 5.448 | 206.72 | 6.774 | 202.072 | 7.922 | 201.8 | 8.486 | 194.933 | 20.718 | 889.85 | 21.963 | 17.762
2020-08-18 08:15:00 | 5.895 | 208.473 | 7.054 | 204.502 | 8.05 | 203.8 | 9.06 | 196.033 | 22.073 | 889.75 | 20.784 | 17.2533
2020-08-18 08:30:00 | 6.34 | 208.8 | 7.033 | 204.774 | 7.657 | 205.567 | 8.378 | 198.333 | 23.081 | 889.633 | 19.541 | 14.2177
2020-08-18 08:45:00 | 6.365 | 204.847 | 6.829 | 200.35 | 7.209 | 200.9 | 7.753 | 194.2 | 23.914 | 889.833 | 18.509 | 10.8781
2020-08-18 09:00:00 | 6.301 | 204.807 | 6.587 | 200.877 | 6.824 | 202.1 | 7.107 | 195.633 | 24.423 | 889.7 | 17.792 | 10.8603
2020-08-18 09:15:00 | 5.931 | 197.747 | 6.154 | 194.139 | 6.252 | 196.433 | 6.4 | 192.367 | 25.335 | 889.833 | 17.091 | 10.5924
2020-08-18 09:30:00 | 5.964 | 207.42 | 6.051 | 207.167 | 6.288 | 209.533 | 6.489 | 204.5 | 26.264 | 889.533 | 16.68 | 10.1071
2020-08-18 09:45:00 | 6.291 | 208.173 | 6.336 | 205.292 | 6.512 | 207.2 | 6.767 | 201.367 | 26.081 | 889.433 | 16.541 | 10.2243
2020-08-18 10:00:00 | 5.711 | 205.687 | 5.84 | 202.532 | 6.174 | 203.667 | 6.522 | 199.533 | 27.389 | 889.467 | 16.464 | 9.6772
2020-08-18 10:15:00 | 4.86 | 205.773 | 5.067 | 206.824 | 5.027 | 212 | 5.417 | 205.333 | 27.431 | 889.7 | 16.392 | 7.7153
2020-08-18 10:30:00 | 3.461 | 245.067 | 3.47 | 244.262 | 3.292 | 248.933 | 3.206 | 236.967 | 28.135 | 889.7 | 16.449 | 5.1985
2020-08-18 10:45:00 | 0.773 | 159.357 | 1.223 | 152.427 | 1.239 | 196.467 | 2.217 | 197.2 | 28.489 | 889.633 | 16.355 | 1.9271
2020-08-18 11:00:00 | 2.1 | 194.993 | 2.03 | 177.069 | 1.737 | 189.933 | 1.914 | 188.283 | 28.56 | 889.767 | 15.909 | 0.21388
2020-08-18 11:15:00 | 2.689 | 285.993 | 2.767 | 279.044 | 2.738 | 282.933 | 3.15 | 270.1 | 28.689 | 889.467 | 17.28 | 0.13927
2020-08-18 11:30:00 | 3.333 | 296.107 | 3.458 | 298.98 | 3.125 | 290.4 | 3.426 | 298.8 | 27.798 | 889.233 | 19.245 | 0.1883
2020-08-18 11:45:00 | 3.891 | 255.567 | 3.832 | 244.593 | 3.852 | 246.317 | 4.128 | 248.75 | 28.127 | 889.4 | 18.991 | 0.15988
2020-08-18 12:00:00 | 2.071 | 258.4 | 2.049 | 252.602 | 1.56 | 252.733 | 1.646 | 241.15 | 28.964 | 889.1 | 17.333 | 0.15561
2020-08-18 12:15:00 | 2.607 | 309.84 | 2.607 | 299.887 | 2.113 | 267.054 | 2.319 | 289.633 | 28.577 | 889.3 | 17.619 | 0.13145
2020-08-18 12:30:00 | 2.041 | 52.774 | 1.601 | 29.586 | 0.947 | 43.969 | 1.091 | 57.633 | 29.998 | 889.367 | 16.883 | 0.21033
2020-08-18 12:45:00 | 1.676 | 226.327 | 1.763 | 209.301 | 1.678 | 218.417 | 2.168 | 205.433 | 29.481 | 889.4 | 16.553 | 0.36168
2020-08-18 13:00:00 | 3.687 | 300.293 | 4.004 | 298.792 | 3.78 | 304.533 | 4.192 | 293.533 | 28.635 | 889.8 | 17.071 | 0.92089
2020-08-18 13:15:00 | 1.246 | 241.95 | 1.159 | 263.4 | 1.03 | 247.817 | 1.288 | 273.717 | 29.11 | 889.167 | 17.408 | 0.50877
2020-08-18 13:30:00 | 2.51 | 244.987 | 2.273 | 242.302 | 2.002 | 239.85 | 2.134 | 232.517 | 30.339 | 889.467 | 16.456 | 0.2288
2020-08-18 13:45:00 | 4.43 | 274.453 | 4.727 | 271.644 | 4.48 | 278.283 | 4.634 | 276.9 | 29.798 | 889.133 | 15.849 | 0.90739
2020-08-18 14:00:00 | 2.62 | 214.963 | 2.492 | 223.176 | 2.538 | 226.883 | 3.322 | 213.6 | 30.427 | 889.567 | 16.013 | 0.53648
2020-08-18 14:15:00 | 4.336 | 315.173 | 4.111 | 309.674 | 4.049 | 315.1 | 4.41 | 306.833 | 30.435 | 889.7 | 15.124 | 0.8136
2020-08-18 14:30:00 | 4.03 | 270.627 | 4.07 | 293.779 | 3.87 | 302.067 | 4.369 | 293.933 | 29.944 | 889.633 | 15.427 | 1.8169
2020-08-18 14:45:00 | 5.038 | 288.693 | 4.64 | 332.009 | 4.408 | 311.8 | 4.33 | 310.667 | 29.948 | 889.467 | 15.975 | 0.72052
2020-08-18 15:00:00 | 3.187 | 48.375 | 2.832 | 44.737 | 2.791 | 48.171 | 2.727 | 28.867 | 30.381 | 889.267 | 15.497 | 1.473
2020-08-18 15:15:00 | 2.14 | 75.918 | 2.188 | 80.299 | 2.373 | 163.836 | 3.201 | 119.036 | 31.089 | 889.567 | 14.632 | 0.22596
2020-08-18 15:30:00 | 3.298 | 214.967 | 3.378 | 202.894 | 2.912 | 189.883 | 3.08 | 159.9 | 30.599 | 889.4 | 14.723 | 0.51161
2020-08-18 15:45:00 | 2.673 | 125.024 | 2.647 | 127.959 | 2.823 | 156.6 | 3.573 | 165.5 | 30.914 | 889.767 | 14.448 | 0.1144
2020-08-18 16:00:00 | 0.928 | 89.099 | 0.409 | 83.857 | 0.24 | 127.267 | 0.86 | 96.167 | 30.852 | 889.4 | 13.907 | 0.16769
2020-08-18 16:15:00 | 2.523 | 205.401 | 2.266 | 255.551 | 2.314 | 273.867 | 3.033 | 324.6 | 30.992 | 889.467 | 13.969 | 0.21033
2020-08-18 16:30:00 | 4.111 | 11.074 | 4.058 | 64.988 | 4.202 | 32.133 | 4.305 | 90.567 | 31.182 | 889.033 | 13.937 | 0.38015
2020-08-18 16:45:00 | 2.732 | 75.08 | 2.603 | 42.11 | 2.408 | 36.038 | 2.862 | 35.8 | 30.873 | 889.6 | 14.299 | 0.14993
2020-08-18 17:00:00 | 3.364 | 56.144 | 3.264 | 49.738 | 2.828 | 62 | 2.996 | 64.9 | 31.307 | 889.333 | 13.635 | 0.10161
2020-08-18 17:15:00 | 2.281 | 274.013 | 1.754 | 258.896 | 1.548 | 261.9 | 1.889 | 254.117 | 31.402 | 889.367 | 13.039 | 1.4538
2020-08-18 17:30:00 | 1.826 | 285.096 | 1.023 | 286.803 | 0.562 | 284.367 | 0.884 | 266.817 | 31.819 | 889.267 | 12.54 | 2.3562
2020-08-18 17:45:00 | 2.309 | 312.4 | 2.399 | 313.609 | 2.058 | 306.967 | 2.617 | 296.483 | 31.825 | 889.433 | 12.205 | 1.1106
2020-08-18 18:00:00 | 2.367 | 118.887 | 1.966 | 137.3 | 2.22 | 89.167 | 2.798 | 91.6 | 31.946 | 889.633 | 12.769 | 4.0403
2020-08-18 18:15:00 | 2.442 | 127.103 | 2.66 | 122.478 | 2.508 | 108.833 | 2.916 | 95.6 | 31.568 | 889.4 | 13.643 | 8.8359
2020-08-18 18:30:00 | 4.454 | 67.902 | 4.57 | 64.649 | 4.568 | 69.4 | 4.874 | 69 | 31.675 | 889.633 | 13.429 | 11.9318
2020-08-18 18:45:00 | 6.122 | 79.702 | 6.047 | 71.84 | 6.405 | 75.933 | 6.794 | 70.633 | 31.16 | 889.4 | 14.109 | 9.2175
2020-08-18 19:00:00 | 3.302 | 57.292 | 3.288 | 53.757 | 3.555 | 61.833 | 4.196 | 60.4 | 31.351 | 889.367 | 13.504 | 5.9723
2020-08-18 19:15:00 | 4.69 | 65.91 | 4.812 | 61.115 | 5.065 | 64.767 | 5.045 | 60.7 | 31.488 | 889.567 | 13.179 | 8.6561
2020-08-18 19:30:00 | 4.316 | 91.34 | 4.209 | 90.647 | 4.241 | 97.2 | 4.464 | 93.067 | 31.378 | 889.367 | 13.917 | 17.271
2020-08-18 19:45:00 | 5.453 | 91.85 | 5.339 | 85.754 | 5.188 | 88.567 | 5.559 | 83.6 | 30.844 | 889.533 | 14.539 | 25.9257
2020-08-18 20:00:00 | 6.055 | 85.317 | 6.381 | 81.128 | 6.457 | 82.833 | 6.787 | 78.267 | 30.477 | 889.367 | 15.075 | 21.5806
2020-08-18 20:15:00 | 6.314 | 74.18 | 6.98 | 72.56 | 7.423 | 75.2 | 7.919 | 71.033 | 29.931 | 889.633 | 15.827 | 26.2476
2020-08-18 20:30:00 | 6.08 | 74.18 | 6.489 | 69.955 | 6.931 | 74.333 | 6.94 | 71.367 | 29.698 | 889.5 | 16.52 | 23.3137
2020-08-18 20:45:00 | 4.956 | 78.9 | 5.31 | 74.041 | 5.977 | 77.533 | 6.494 | 73.9 | 29.531 | 889.6 | 16.773 | 21.5302
2020-08-18 21:00:00 | 4.887 | 73.533 | 5.685 | 68.796 | 6.239 | 74.367 | 6.57 | 69.867 | 28.489 | 889.233 | 17.24 | 17.9688
2020-08-18 21:15:00 | 4.682 | 78.6 | 5.257 | 74.295 | 5.764 | 79.5 | 6.017 | 74.833 | 28.506 | 889.3 | 17.501 | 20.7386
2020-08-18 21:30:00 | 4.775 | 84.423 | 5.651 | 80.053 | 6.02 | 83.067 | 6.41 | 79.1 | 28.402 | 889.7 | 17.805 | 16.0673
2020-08-18 21:45:00 | 4.29 | 87.773 | 4.791 | 83.391 | 4.699 | 88.367 | 4.726 | 82.667 | 27.939 | 889.2 | 18.075 | 15.4925
2020-08-18 22:00:00 | 3.826 | 94.92 | 4.805 | 90.424 | 3.872 | 96.133 | 3.877 | 86.467 | 27.056 | 889.133 | 18.688 | 15.113
2020-08-18 22:15:00 | 3.891 | 97.863 | 4.115 | 97.416 | 3.647 | 104.033 | 4.026 | 94.467 | 26.794 | 889.2 | 19.536 | 16.5669
2020-08-18 22:30:00 | 4.568 | 114.773 | 5.127 | 107.373 | 5.336 | 110.1 | 5.56 | 106.7 | 26.748 | 889.9 | 20.205 | 20.7088
2020-08-18 22:45:00 | 4.461 | 118.75 | 5.549 | 113.651 | 6.079 | 117.133 | 6.653 | 113.6 | 26.694 | 889.267 | 20.4 | 22.5982
2020-08-18 23:00:00 | 4.223 | 123.683 | 5.478 | 114.537 | 6.164 | 117.567 | 6.767 | 113.233 | 26.464 | 889.433 | 20.4 | 22.3679
2020-08-18 23:15:00 | 4.738 | 125.437 | 5.915 | 116.638 | 6.391 | 120.2 | 7.009 | 114.9 | 26.794 | 889.6 | 20.256 | 26.1339
2020-08-18 23:30:00 | 4.571 | 123.497 | 5.694 | 115.268 | 6.204 | 119.467 | 6.851 | 114.5 | 26.094 | 889.55 | 20.384 | 27.1891
2020-08-18 23:45:00 | 3.583 | 138.593 | 4.123 | 127.004 | 4.052 | 130.1 | 4.667 | 123.833 | 26.006 | 889.667 | 20.563 | 18.8229