## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-19 00:00:00 | 3.23 | 150.02 | 4.181 | 135.307 | 3.827 | 133.1 | 4.012 | 126.467 | 25.414 | 890.033 | 21.024 | 13.257
2020-08-19 00:15:00 | 2.964 | 148.223 | 3.794 | 134.045 | 3.86 | 133.933 | 4.081 | 131.133 | 25.173 | 889.767 | 21.28 | 8.7748
2020-08-19 00:30:00 | 2.652 | 134.23 | 3.416 | 121.691 | 3.415 | 126.967 | 3.88 | 121.933 | 25.823 | 889.783 | 20.656 | 3.631
2020-08-19 00:45:00 | 0.779 | 160.067 | 1.766 | 116.222 | 1.709 | 104.867 | 2.272 | 103.833 | 24.531 | 890.1 | 21.744 | 0.47821
2020-08-19 01:00:00 | 2.903 | 203.213 | 2.201 | 168.703 | 1.504 | 146.8 | 2.136 | 118.467 | 24.677 | 889.917 | 22.576 | 0.17409
2020-08-19 01:15:00 | 3.924 | 236.22 | 1.942 | 214.531 | 0.273 | 197.2 | 1.331 | 158 | 23.031 | 889.917 | 23.739 | 0.31123
2020-08-19 01:30:00 | 4.321 | 231.58 | 5.37 | 240.914 | 4.463 | 241.333 | 3.801 | 230.767 | 21.148 | 890.083 | 25.301 | 1.3401
2020-08-19 01:45:00 | 5.354 | 235.433 | 5.728 | 240.431 | 5.139 | 246.8 | 4.616 | 238.633 | 20.66 | 889.917 | 26.528 | 3.2615
2020-08-19 02:00:00 | 3.82 | 223.307 | 5.9 | 225.366 | 5.223 | 228.567 | 4.794 | 223.033 | 21.014 | 889.867 | 26.315 | 6.9508
2020-08-19 02:15:00 | 5.295 | 228.12 | 5.201 | 220.496 | 4.844 | 220.967 | 5.073 | 213.133 | 21.877 | 889.833 | 26.229 | 7.2897
2020-08-19 02:30:00 | 5.344 | 218.893 | 5.364 | 216.232 | 5.336 | 218.133 | 5.236 | 212.8 | 22.481 | 889.4 | 25.691 | 4.9043
2020-08-19 02:45:00 | 3.125 | 221.347 | 3.655 | 225.281 | 4.471 | 228.7 | 4.441 | 217 | 21.881 | 889.6 | 26.187 | 1.8915
2020-08-19 03:00:00 | 3.624 | 209.52 | 4.545 | 207.126 | 4.084 | 204.933 | 4.138 | 194.9 | 20.923 | 889.717 | 27.072 | 0.86476
2020-08-19 03:15:00 | 4.534 | 196.56 | 4.716 | 199.464 | 4.64 | 197.333 | 4.562 | 190.033 | 20.785 | 889.517 | 27.093 | 0.22241
2020-08-19 03:30:00 | 3.554 | 216.54 | 4.847 | 212.995 | 4.679 | 211.467 | 4.768 | 204.7 | 20.181 | 889.6 | 26.725 | 0.83563
2020-08-19 03:45:00 | 3.964 | 213.26 | 5.065 | 207.423 | 4.418 | 205.2 | 4.51 | 193.967 | 19.406 | 889.867 | 27.173 | 1.4439
2020-08-19 04:00:00 | 4.557 | 221.453 | 4.694 | 209.839 | 3.898 | 210.8 | 3.868 | 200.767 | 20.144 | 889.733 | 25.989 | 0.49029
2020-08-19 04:15:00 | 3.907 | 227.973 | 4.443 | 215.918 | 5.213 | 211.2 | 4.858 | 196.6 | 20.077 | 889.567 | 26.384 | 0.34747
2020-08-19 04:30:00 | 5.592 | 227.213 | 5.709 | 220.342 | 5.873 | 216.833 | 5.686 | 207.3 | 19.802 | 889.7 | 26.171 | 2.5879
2020-08-19 04:45:00 | 10.463 | 265.193 | 12.722 | 261.802 | 13.803 | 265.95 | 14.526 | 262.25 | 20.535 | 889.733 | 36.883 | 43.6004
2020-08-19 05:00:00 | 9.546 | 273.613 | 10.892 | 267.588 | 11.483 | 270.567 | 12.257 | 265.683 | 20.444 | 889.558 | 47.307 | 85.9317
2020-08-19 05:15:00 | 10.935 | 275 | 12.546 | 269.437 | 13.316 | 272.867 | 13.531 | 268.233 | 20.731 | 889.85 | 48.587 | 86.6124
2020-08-19 05:30:00 | 8.74 | 254.567 | 9.731 | 253.363 | 10.515 | 259.2 | 10.633 | 256.067 | 19.773 | 889.708 | 50.027 | 82.0328
2020-08-19 05:45:00 | 11.018 | 261.507 | 12.027 | 258.354 | 13.164 | 263.867 | 13.348 | 259.917 | 19.873 | 889.717 | 51.323 | 84.2753
2020-08-19 06:00:00 | 10.971 | 265.953 | 12.568 | 261.425 | 13.437 | 265.4 | 13.648 | 261.533 | 19.994 | 889.817 | 52.309 | 85.0335
2020-08-19 06:15:00 | 9.367 | 271.347 | 11.222 | 265.916 | 11.917 | 269.967 | 12.268 | 264.033 | 19.856 | 889.767 | 53.365 | 82.3454
2020-08-19 06:30:00 | 8.733 | 274.96 | 9.947 | 270.447 | 11.063 | 273.767 | 11.476 | 269.333 | 19.581 | 890.075 | 54.155 | 77.6465
2020-08-19 06:45:00 | 9.816 | 271.387 | 11.044 | 265.542 | 11.496 | 268.633 | 11.86 | 264.067 | 19.081 | 890.217 | 55.317 | 65.9669
2020-08-19 07:00:00 | 9.578 | 262.84 | 10.838 | 259.838 | 11.683 | 263.083 | 12.027 | 258.067 | 19.056 | 889.875 | 56.048 | 74.7985
2020-08-19 07:15:00 | 10.678 | 258.927 | 11.691 | 256.586 | 12.455 | 260.183 | 12.906 | 257.3 | 19.223 | 890.067 | 56.16 | 87.9319
2020-08-19 07:30:00 | 12.445 | 256.233 | 13.816 | 252.881 | 14.129 | 256.8 | 14.084 | 253 | 19.135 | 889.975 | 55.963 | 86.805
2020-08-19 07:45:00 | 12.831 | 259.707 | 14.107 | 255.521 | 14.76 | 259.033 | 14.548 | 252.75 | 19.66 | 889.692 | 54.549 | 86.2088
2020-08-19 08:00:00 | 10.92 | 264.167 | 11.902 | 257.121 | 12.549 | 260.5 | 12.732 | 254.933 | 19.531 | 889.817 | 54.219 | 86.5293
2020-08-19 08:15:00 | 14.275 | 255.553 | 15.175 | 251.88 | 15.778 | 255.817 | 15.557 | 250.283 | 19.781 | 889.775 | 53.28 | 86.9876
2020-08-19 08:30:00 | 9.682 | 264.627 | 10.813 | 258.891 | 11.437 | 263.633 | 11.418 | 258.067 | 19.131 | 890.358 | 54.981 | 84.3627
2020-08-19 08:45:00 | 8.816 | 263.033 | 9.985 | 258.328 | 10.616 | 263.383 | 10.886 | 258.083 | 19.206 | 889.8 | 54.304 | 84.4878
2020-08-19 09:00:00 | 11.981 | 273.187 | 12.95 | 267.832 | 12.938 | 271.167 | 13.045 | 266.667 | 20.664 | 889.683 | 50.811 | 87.0025
2020-08-19 09:15:00 | 12.889 | 277.16 | 13.802 | 269.136 | 13.903 | 272.033 | 14.2 | 267.75 | 20.248 | 889.842 | 52.139 | 85.2652
2020-08-19 09:30:00 | 12.456 | 274.947 | 13.813 | 267.446 | 14.317 | 272.333 | 14.747 | 265.8 | 20.318 | 889.733 | 51.301 | 84.782
2020-08-19 09:45:00 | 11 | 274 | 12.238 | 269.208 | 12.507 | 272.267 | 12.543 | 266.35 | 20.777 | 889.55 | 49.643 | 85.2531
2020-08-19 10:00:00 | 12.479 | 279.653 | 13.154 | 275.234 | 13.33 | 278.367 | 13.697 | 274.867 | 21.468 | 890.042 | 47.269 | 84.88
2020-08-19 10:15:00 | 13.682 | 274.847 | 14.528 | 269.489 | 14.621 | 273.933 | 14.91 | 270.467 | 21.348 | 889.608 | 47.088 | 83.4752
2020-08-19 10:30:00 | 13.397 | 275.733 | 14.979 | 271.132 | 15.145 | 274.867 | 15.315 | 272.067 | 21.827 | 890.267 | 46.587 | 84.0956
2020-08-19 10:45:00 | 11.319 | 276.78 | 12.417 | 272.3 | 12.69 | 275.133 | 12.849 | 273.667 | 21.252 | 889.933 | 48.331 | 84.6001
2020-08-19 11:00:00 | 11.906 | 275.24 | 12.749 | 269.49 | 12.901 | 274.3 | 13.202 | 271.9 | 22.368 | 890.208 | 45.035 | 85.0818
2020-08-19 11:15:00 | 11.29 | 271.373 | 12.213 | 265.235 | 12.256 | 270.667 | 12.221 | 266.733 | 21.694 | 890.117 | 47.248 | 83.6778
2020-08-19 11:30:00 | 11.3 | 275.587 | 12.096 | 270.135 | 12.122 | 275.367 | 12.292 | 272.167 | 22.298 | 889.842 | 44.245 | 73.258
2020-08-19 11:45:00 | 11.47 | 288.053 | 12.196 | 281.944 | 12.324 | 285.767 | 12.538 | 282.867 | 22.564 | 890.125 | 42.848 | 74.6962
2020-08-19 12:00:00 | 10.602 | 289.387 | 11.316 | 284.365 | 11.808 | 287.467 | 11.986 | 284.867 | 22.931 | 890.067 | 42.688 | 84.5453
2020-08-19 12:15:00 | 12.099 | 295.147 | 13.187 | 291.13 | 13.524 | 292.667 | 13.845 | 289.9 | 23.014 | 889.742 | 42.341 | 83.1143
2020-08-19 12:30:00 | 11.549 | 276.573 | 12.14 | 275.464 | 12.559 | 279.2 | 12.612 | 277.7 | 22.914 | 889.417 | 41.755 | 82.1081
2020-08-19 12:45:00 | 12.703 | 286.467 | 14.139 | 278.842 | 14.102 | 283.5 | 14.233 | 279.5 | 22.931 | 889.592 | 41.624 | 74.3501
2020-08-19 13:00:00 | 13.284 | 284.813 | 14.246 | 277.844 | 14.512 | 283.6 | 14.811 | 279.633 | 23.048 | 889.95 | 40.704 | 65.4069
2020-08-19 13:15:00 | 13.808 | 279.92 | 14.82 | 274.011 | 14.842 | 277.833 | 15.236 | 275.167 | 23.231 | 889.717 | 40.12 | 61.0576
2020-08-19 13:30:00 | 12.37 | 287.533 | 12.919 | 279.226 | 13.066 | 283.9 | 13.124 | 278.5 | 23.489 | 890.05 | 38.053 | 58.9429
2020-08-19 13:45:00 | 12.507 | 290.507 | 12.831 | 282.7 | 13.207 | 285.5 | 13.22 | 283.133 | 23.885 | 889.85 | 37.296 | 54.671
2020-08-19 14:00:00 | 11.888 | 286.133 | 12.612 | 279.744 | 12.91 | 285.467 | 13.202 | 283.6 | 24.494 | 889.85 | 36.96 | 52.5727
2020-08-19 14:15:00 | 10.221 | 304.573 | 10.87 | 294.502 | 11.069 | 298.4 | 11.728 | 296.1 | 24.639 | 889.817 | 35.141 | 52.2401
2020-08-19 14:30:00 | 9.835 | 292.82 | 10.479 | 283.981 | 10.893 | 287.967 | 11.356 | 288.867 | 24.289 | 889.8 | 36.277 | 50.6755
2020-08-19 14:45:00 | 10.81 | 305.52 | 11.513 | 298.928 | 11.578 | 303.533 | 12.017 | 300.733 | 24.006 | 889.65 | 36.269 | 46.4554
2020-08-19 15:00:00 | 9.575 | 305.92 | 9.908 | 299.343 | 10.111 | 304.1 | 10.365 | 303.333 | 23.664 | 889.967 | 36.723 | 45.6482
2020-08-19 15:15:00 | 10.284 | 310.333 | 10.712 | 302.63 | 10.714 | 306.533 | 11.094 | 304.4 | 24.139 | 889.883 | 35.245 | 44.4978
2020-08-19 15:30:00 | 10.157 | 298.88 | 10.796 | 290.908 | 10.91 | 296.533 | 11.167 | 294.767 | 24.273 | 889.867 | 35.432 | 44.1567
2020-08-19 15:45:00 | 10.512 | 301.76 | 11.032 | 295.031 | 11.12 | 300.3 | 11.601 | 300.033 | 23.794 | 889.65 | 35.16 | 43.8285
2020-08-19 16:00:00 | 10.245 | 320.173 | 10.761 | 312.594 | 11.37 | 316.367 | 11.474 | 313.333 | 24.402 | 889.95 | 35.261 | 43.8477
2020-08-19 16:15:00 | 10.086 | 318.107 | 10.669 | 310.791 | 11.174 | 315.833 | 11.586 | 309.733 | 24.518 | 889.633 | 34.955 | 43.6153
2020-08-19 16:30:00 | 10.194 | 311.147 | 10.714 | 303.769 | 11.225 | 306.2 | 11.412 | 304.867 | 24.439 | 889.633 | 35.787 | 42.8941
2020-08-19 16:45:00 | 10.933 | 308.373 | 11.604 | 302.317 | 12.051 | 307.633 | 12.478 | 305.033 | 24.077 | 889.85 | 37.341 | 43.115
2020-08-19 17:00:00 | 10.381 | 308.573 | 11.032 | 301.55 | 11.562 | 305 | 11.822 | 302.633 | 23.564 | 889.683 | 37.984 | 42.7932
2020-08-19 17:15:00 | 10.362 | 305.52 | 10.973 | 299.54 | 11.6 | 304.4 | 11.538 | 300.6 | 23.498 | 889.367 | 38.277 | 43.2344
2020-08-19 17:30:00 | 10.326 | 306.547 | 10.915 | 301.548 | 11.226 | 305.333 | 11.384 | 299 | 23.181 | 889.683 | 40.192 | 43.7467
2020-08-19 17:45:00 | 9.692 | 305.867 | 10.23 | 298.784 | 10.46 | 304.3 | 10.821 | 301.5 | 23.398 | 889.683 | 38.963 | 44.8318
2020-08-19 18:00:00 | 9.484 | 303.333 | 10.378 | 299.502 | 10.613 | 303.367 | 10.916 | 301.367 | 23.531 | 889.7 | 38.963 | 46.9109
2020-08-19 18:15:00 | 10.072 | 306.053 | 10.568 | 298.44 | 10.745 | 303.167 | 11.183 | 301.367 | 23.681 | 889.65 | 40.147 | 46.8619
2020-08-19 18:30:00 | 8.811 | 304.613 | 9.11 | 300.286 | 9.231 | 306.367 | 9.779 | 305.667 | 23.614 | 889.783 | 38.483 | 49.4071
2020-08-19 18:45:00 | 8.969 | 309.867 | 9.378 | 303.375 | 9.642 | 306.467 | 10.094 | 303.3 | 24.006 | 889.883 | 38.488 | 53.1625
2020-08-19 19:00:00 | 7.53 | 297.133 | 8.29 | 293.653 | 8.559 | 298.267 | 9.21 | 297.3 | 23.181 | 889.45 | 40.384 | 51.1103
2020-08-19 19:15:00 | 8.386 | 299.387 | 8.985 | 293.44 | 9.036 | 298.267 | 9.421 | 296.433 | 23.164 | 889.9 | 41.461 | 48.143
2020-08-19 19:30:00 | 8.307 | 305.44 | 8.824 | 299.831 | 8.832 | 303.233 | 9.529 | 301.267 | 23.031 | 889.933 | 41.835 | 43.5115
2020-08-19 19:45:00 | 7.746 | 291.24 | 8.339 | 286.528 | 8.763 | 292.033 | 9.037 | 290.4 | 22.798 | 890.108 | 45.349 | 46.8541
2020-08-19 20:00:00 | 7.376 | 294.947 | 7.915 | 292.211 | 8.373 | 296.9 | 8.955 | 293.433 | 22.135 | 889.7 | 47.573 | 44.3706
2020-08-19 20:15:00 | 8.081 | 295.16 | 8.91 | 289.761 | 9.258 | 295.267 | 9.765 | 292.767 | 21.964 | 889.817 | 48.464 | 45.5367
2020-08-19 20:30:00 | 7.754 | 296.92 | 8.554 | 290.596 | 8.73 | 293.6 | 9.11 | 289.8 | 21.839 | 889.892 | 49.264 | 45.3739
2020-08-19 20:45:00 | 7.871 | 288.653 | 8.528 | 282.704 | 8.73 | 285.433 | 9.021 | 282.4 | 21.773 | 890.183 | 50.24 | 42.2794
2020-08-19 21:00:00 | 7.058 | 282.907 | 7.898 | 277.465 | 8.098 | 282.367 | 8.407 | 279.567 | 21.318 | 890.483 | 50.181 | 35.286
2020-08-19 21:15:00 | 6.192 | 280.693 | 6.833 | 274.778 | 7.027 | 278.867 | 7.372 | 276.967 | 21.544 | 890.117 | 50.133 | 26.745
2020-08-19 21:30:00 | 5.66 | 275.4 | 6.379 | 272.056 | 6.709 | 276.1 | 6.752 | 270.867 | 21.531 | 889.867 | 50.56 | 20.7286
2020-08-19 21:45:00 | 5.104 | 264.413 | 5.782 | 260.074 | 6.195 | 266.3 | 6.302 | 262.233 | 20.989 | 889.8 | 50.821 | 18.916
2020-08-19 22:00:00 | 4.665 | 254.233 | 5.513 | 255.18 | 5.922 | 260.017 | 6.115 | 257.25 | 20.723 | 890.417 | 51.403 | 16.7438
2020-08-19 22:15:00 | 4.565 | 256.773 | 5.27 | 257.256 | 5.538 | 260.967 | 5.781 | 256.433 | 20.323 | 889.917 | 52.496 | 16.4247
2020-08-19 22:30:00 | 4.741 | 254.147 | 5.421 | 253.927 | 5.698 | 258.6 | 5.862 | 255.783 | 19.702 | 889.792 | 53.205 | 17.0209
2020-08-19 22:45:00 | 5.039 | 253.04 | 5.746 | 252.631 | 6.126 | 258.467 | 6.326 | 254.3 | 19.568 | 890.217 | 53.595 | 18.8208
2020-08-19 23:00:00 | 4.81 | 255.487 | 5.759 | 254.56 | 6.309 | 260.35 | 6.535 | 256.917 | 20.318 | 889.533 | 53.243 | 24.0186
2020-08-19 23:15:00 | 5.264 | 252.447 | 6.078 | 250.248 | 6.446 | 255.633 | 6.607 | 252.617 | 20.068 | 890.067 | 52.88 | 23.4473
2020-08-19 23:30:00 | 5.645 | 263.747 | 6.683 | 263.216 | 7.058 | 268.067 | 7.289 | 263.4 | 20.31 | 889.75 | 52.597 | 24.8201
2020-08-19 23:45:00 | 5.703 | 263.847 | 6.486 | 260.544 | 6.836 | 264.967 | 7.189 | 260.667 | 20.556 | 889.983 | 52.059 | 21.3518