## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-20 00:00:00 | 5.569 | 261.147 | 6.373 | 257.936 | 6.784 | 261.65 | 7.058 | 256.6 | 20.694 | 890.2 | 52.517 | 23.6526
2020-08-20 00:15:00 | 6.591 | 265.827 | 7.359 | 262.088 | 7.8 | 266.167 | 7.799 | 260.433 | 20.077 | 890.033 | 52.795 | 28.0397
2020-08-20 00:30:00 | 6.263 | 267.267 | 7.293 | 262.845 | 7.635 | 266.333 | 7.905 | 262.267 | 20.231 | 890.008 | 52.912 | 30.1124
2020-08-20 00:45:00 | 6.408 | 267.373 | 6.936 | 263.251 | 7.127 | 268.067 | 7.576 | 264.083 | 20.331 | 890.342 | 53.115 | 31.6351
2020-08-20 01:00:00 | 5.595 | 274.053 | 6.614 | 269.391 | 7.156 | 273.7 | 7.614 | 270.567 | 20.581 | 890.1 | 53.525 | 31.1939
2020-08-20 01:15:00 | 5.202 | 274.427 | 6.353 | 271.124 | 6.912 | 276.367 | 7.247 | 271.633 | 20.231 | 889.392 | 54.069 | 29.7266
2020-08-20 01:30:00 | 5.802 | 273.213 | 6.836 | 269.012 | 7.175 | 273.233 | 7.519 | 270.433 | 19.548 | 889.925 | 54.48 | 35.2299
2020-08-20 01:45:00 | 6.405 | 267.853 | 7.338 | 264.876 | 7.814 | 271.233 | 8.25 | 264.717 | 19.998 | 889.783 | 55.008 | 41.5824
2020-08-20 02:00:00 | 6.95 | 272 | 8.037 | 266.352 | 8.382 | 271.7 | 8.789 | 268.267 | 19.552 | 890.175 | 55.445 | 50.8268
2020-08-20 02:15:00 | 6.614 | 272.36 | 7.597 | 267.61 | 7.959 | 270.3 | 8.664 | 267.533 | 19.748 | 889.642 | 55.573 | 48.3747
2020-08-20 02:30:00 | 6.087 | 268.32 | 7.141 | 266.02 | 7.68 | 270.6 | 7.986 | 267.8 | 19.964 | 889.95 | 55.205 | 41.468
2020-08-20 02:45:00 | 6.487 | 262.74 | 7.216 | 260.342 | 7.58 | 266.067 | 7.807 | 262.267 | 19.623 | 889.783 | 54.96 | 34.3765
2020-08-20 03:00:00 | 5.6 | 266.047 | 6.599 | 264.633 | 7.071 | 270.133 | 7.462 | 264.9 | 20.089 | 890 | 54.757 | 32.4196
2020-08-20 03:15:00 | 6.158 | 268.2 | 7.068 | 265.333 | 7.426 | 269.967 | 7.726 | 265.833 | 19.773 | 889.5 | 54.549 | 35.9191
2020-08-20 03:30:00 | 7.15 | 273.653 | 7.966 | 269.287 | 8.574 | 274.067 | 8.638 | 269.833 | 20.223 | 889.775 | 53.819 | 45.4791
2020-08-20 03:45:00 | 7.131 | 274.56 | 8.168 | 269.717 | 8.927 | 274.267 | 9.316 | 269.067 | 19.698 | 890.05 | 52.768 | 48.5409
2020-08-20 04:00:00 | 7.14 | 271.667 | 8.071 | 267.456 | 8.696 | 271.7 | 9.146 | 266.367 | 20.389 | 889.742 | 51.893 | 51.5488
2020-08-20 04:15:00 | 7.079 | 271.373 | 8.153 | 266.943 | 8.742 | 272.033 | 9.065 | 267.55 | 19.748 | 889.767 | 51.173 | 47.7103
2020-08-20 04:30:00 | 6.615 | 266.307 | 7.502 | 261.556 | 7.998 | 267.133 | 8.455 | 261.9 | 19.618 | 889.942 | 50.917 | 39.1266
2020-08-20 04:45:00 | 6.47 | 255.667 | 7.368 | 254.891 | 7.749 | 258.667 | 7.83 | 256.15 | 19.844 | 890.042 | 50.571 | 41.9959
2020-08-20 05:00:00 | 7.475 | 257.407 | 8.344 | 253.882 | 8.813 | 258.667 | 8.993 | 254.083 | 19.456 | 889.85 | 50.315 | 50.2648
2020-08-20 05:15:00 | 7.186 | 264.807 | 8.595 | 258.755 | 9.027 | 264.733 | 9.153 | 260.633 | 19.485 | 889.533 | 49.568 | 48.0101
2020-08-20 05:30:00 | 6.773 | 270.033 | 7.801 | 263.519 | 8.287 | 267.383 | 8.635 | 263.067 | 19.548 | 890.05 | 48.539 | 43.39
2020-08-20 05:45:00 | 6.91 | 256.707 | 7.973 | 253.451 | 8.251 | 259.3 | 8.384 | 253.867 | 19.702 | 890.05 | 48.117 | 46.8192
2020-08-20 06:00:00 | 6.226 | 251.32 | 7.238 | 250.273 | 7.839 | 255.2 | 7.806 | 250.483 | 19.423 | 889.983 | 48.037 | 44.6463
2020-08-20 06:15:00 | 4.834 | 251.047 | 5.646 | 250.884 | 6.164 | 255.783 | 6.524 | 252.433 | 19.248 | 889.875 | 47.861 | 29.9575
2020-08-20 06:30:00 | 4.267 | 244.933 | 4.85 | 246.498 | 5.064 | 253.2 | 5.252 | 251.117 | 18.994 | 890.4 | 48.427 | 23.2966
2020-08-20 06:45:00 | 4.948 | 236.467 | 5.612 | 239.195 | 5.803 | 247.3 | 5.888 | 244.067 | 18.556 | 889.425 | 49.099 | 24.0577
2020-08-20 07:00:00 | 5.463 | 238.927 | 6.458 | 239.47 | 6.69 | 247.4 | 6.627 | 244.45 | 18.71 | 889.883 | 49.024 | 27.6346
2020-08-20 07:15:00 | 5.803 | 240.107 | 6.766 | 239.294 | 7.261 | 246.367 | 7.339 | 243.933 | 18.639 | 889.967 | 48.053 | 34.5207
2020-08-20 07:30:00 | 6.583 | 237.593 | 7.755 | 235.368 | 8.13 | 241.633 | 8.065 | 237.9 | 19.252 | 889.683 | 46.944 | 45.4415
2020-08-20 07:45:00 | 6.42 | 239 | 7.27 | 237.611 | 7.755 | 244.5 | 7.831 | 239.067 | 19.164 | 889.758 | 45.024 | 42.3235
2020-08-20 08:00:00 | 5.725 | 240.647 | 6.36 | 239.798 | 6.843 | 243.933 | 7.077 | 239.333 | 19.239 | 889.608 | 43.787 | 32.9973
2020-08-20 08:15:00 | 6.163 | 238.113 | 6.782 | 234.875 | 7.533 | 240.4 | 7.805 | 235.3 | 19.598 | 889.708 | 42.677 | 38.9874
2020-08-20 08:30:00 | 6.475 | 242.633 | 7.067 | 237.613 | 7.785 | 243.9 | 8.132 | 238.5 | 20.477 | 889.767 | 40.597 | 43.2174
2020-08-20 08:45:00 | 7.648 | 245.9 | 8.366 | 242.076 | 8.64 | 246.333 | 8.529 | 242.4 | 20.248 | 889.95 | 38.832 | 46.459
2020-08-20 09:00:00 | 6.764 | 248.073 | 7.519 | 244.183 | 8.125 | 249.267 | 8.198 | 242.883 | 20.594 | 889.45 | 37.251 | 49.3524
2020-08-20 09:15:00 | 6.873 | 254.727 | 7.658 | 251.72 | 7.85 | 256.517 | 7.941 | 252.05 | 20.764 | 889.7 | 35.749 | 43.5883
2020-08-20 09:30:00 | 6.844 | 273.84 | 7.448 | 267.151 | 7.731 | 269.983 | 7.804 | 264.783 | 20.673 | 889.55 | 33.616 | 33.499
2020-08-20 09:45:00 | 7.567 | 285.693 | 7.961 | 280.452 | 7.969 | 283.833 | 8.183 | 281.133 | 20.806 | 889.6 | 32.419 | 36.2375
2020-08-20 10:00:00 | 7.287 | 294.293 | 7.799 | 289.819 | 7.745 | 293.4 | 8.065 | 292.4 | 20.685 | 889.75 | 32.304 | 40.2195
2020-08-20 10:15:00 | 8.015 | 295.533 | 8.798 | 288.318 | 8.925 | 291.233 | 9.229 | 289.233 | 20.864 | 890.15 | 31.603 | 49.0462
2020-08-20 10:30:00 | 9.043 | 273.613 | 10.067 | 268.118 | 10.115 | 271.233 | 10.465 | 268.233 | 20.385 | 889.717 | 32.507 | 60.9744
2020-08-20 10:45:00 | 9.355 | 282.84 | 10.322 | 276.098 | 10.652 | 280.233 | 10.889 | 276.433 | 20.585 | 889.333 | 35.571 | 64.6651
2020-08-20 11:00:00 | 9.533 | 270.76 | 10.243 | 264.13 | 10.582 | 268.567 | 10.443 | 263.283 | 19.818 | 889.767 | 37.056 | 69.438
2020-08-20 11:15:00 | 9.465 | 261.86 | 10.555 | 257.923 | 10.619 | 263.567 | 10.315 | 258.783 | 19.764 | 889.608 | 43.931 | 57.5168
2020-08-20 11:30:00 | 8.782 | 276.707 | 9.419 | 270.107 | 9.61 | 273.067 | 9.813 | 268.433 | 18.814 | 889.9 | 46.656 | 47.7813
2020-08-20 11:45:00 | 8.611 | 264.56 | 8.953 | 259.382 | 9.026 | 263.2 | 8.947 | 259.117 | 18.973 | 889.617 | 47.131 | 46.7418
2020-08-20 12:00:00 | 7.449 | 271.833 | 8.055 | 266.715 | 8.404 | 271.633 | 8.372 | 268.1 | 19.556 | 889.992 | 43.237 | 41.3813
2020-08-20 12:15:00 | 6.865 | 287.987 | 7.641 | 280.195 | 7.626 | 283.967 | 7.729 | 279.267 | 19.76 | 889.917 | 42.309 | 27.8556
2020-08-20 12:30:00 | 6.718 | 286.733 | 7.104 | 282.822 | 7.353 | 286.567 | 7.66 | 284.7 | 19.756 | 889.892 | 43.733 | 31.8909
2020-08-20 12:45:00 | 8.08 | 303.867 | 9.022 | 298.648 | 9.426 | 303.5 | 9.722 | 300.367 | 18.994 | 889.8 | 49.595 | 43.0511
2020-08-20 13:00:00 | 6.65 | 319.587 | 7.078 | 310.763 | 7.538 | 313.867 | 7.894 | 312.3 | 18.085 | 890.167 | 56.432 | 43.5954
2020-08-20 13:15:00 | 6.753 | 307.28 | 6.936 | 301.881 | 7.275 | 307.7 | 7.697 | 306.1 | 17.181 | 889.792 | 62.912 | 39.7065
2020-08-20 13:30:00 | 6.404 | 299.493 | 7.01 | 294.2 | 7.339 | 299.4 | 7.789 | 297.433 | 17.194 | 889.558 | 62.741 | 30.1572
2020-08-20 13:45:00 | 8.106 | 289.6 | 8.954 | 283.845 | 9.278 | 287.767 | 9.474 | 286.6 | 17.168 | 889.833 | 66.133 | 42.2801
2020-08-20 14:00:00 | 7.39 | 291.64 | 8.482 | 287.774 | 9.001 | 292.067 | 9.579 | 290.367 | 16.398 | 889.817 | 69.819 | 53.8318
2020-08-20 14:15:00 | 6.719 | 292.613 | 7.12 | 286.246 | 7.352 | 289.467 | 7.68 | 284.533 | 16.514 | 889.883 | 62.491 | 33.6801
2020-08-20 14:30:00 | 5.837 | 286.387 | 6.229 | 282.132 | 6.579 | 285.967 | 7.187 | 283.7 | 16.614 | 889.767 | 64.592 | 29.7393
2020-08-20 14:45:00 | 5.952 | 294.28 | 6.638 | 291.096 | 6.678 | 294.767 | 6.98 | 293.567 | 16.381 | 889.792 | 63.504 | 17.46
2020-08-20 15:00:00 | 5.948 | 303.68 | 6.389 | 298.184 | 6.593 | 305.467 | 6.858 | 303.233 | 16.831 | 889.825 | 59.915 | 17.664
2020-08-20 15:15:00 | 5.146 | 318.907 | 5.082 | 312.624 | 5.552 | 315.267 | 5.993 | 311.833 | 16.564 | 889.583 | 60.907 | 17.4942
2020-08-20 15:30:00 | 4.46 | 316.547 | 4.54 | 313.709 | 4.542 | 316.433 | 4.89 | 314.6 | 16.464 | 889.95 | 60.144 | 13.2471
2020-08-20 15:45:00 | 5.073 | 324.12 | 5.004 | 316.91 | 5.299 | 317.933 | 5.504 | 316.933 | 16.981 | 889.875 | 59.568 | 18.2921
2020-08-20 16:00:00 | 6.899 | 312.453 | 7.193 | 306.631 | 7.278 | 311.667 | 7.462 | 310.267 | 16.898 | 890.092 | 61.696 | 25.5733
2020-08-20 16:15:00 | 4.6 | 323.187 | 4.889 | 318.339 | 4.932 | 321.733 | 5.246 | 322.1 | 16.581 | 889.85 | 66.059 | 10.8262
2020-08-20 16:30:00 | 4.212 | 326.013 | 4.435 | 318.692 | 4.117 | 318.967 | 4.497 | 314.867 | 16.381 | 889.983 | 66.256 | 8.0529
2020-08-20 16:45:00 | 5.299 | 309.16 | 5.74 | 303.515 | 5.966 | 306.967 | 6.526 | 306.367 | 16.464 | 890.042 | 64.171 | 12.6246
2020-08-20 17:00:00 | 4.949 | 317.6 | 5.212 | 311.999 | 5.219 | 316.767 | 5.532 | 316.767 | 16.864 | 889.675 | 63.168 | 13.2109
2020-08-20 17:15:00 | 3.668 | 310.8 | 3.885 | 305.678 | 3.955 | 307.433 | 4.293 | 305.7 | 16.931 | 889.658 | 62.72 | 10.6841
2020-08-20 17:30:00 | 4.53 | 319.16 | 4.884 | 310.413 | 4.845 | 312.6 | 4.944 | 308.567 | 17.223 | 889.842 | 59.995 | 7.8901
2020-08-20 17:45:00 | 5.401 | 302.107 | 5.88 | 297.705 | 5.757 | 301.833 | 6.063 | 297.667 | 17.627 | 889.825 | 55.403 | 13.6962
2020-08-20 18:00:00 | 5.905 | 298.507 | 6.381 | 295.008 | 6.247 | 299.4 | 6.625 | 297.7 | 18.002 | 890.175 | 52.901 | 18.0612
2020-08-20 18:15:00 | 5.135 | 301.973 | 5.699 | 298.134 | 5.762 | 301.4 | 5.923 | 299.833 | 18.073 | 890.225 | 52.603 | 13.4397
2020-08-20 18:30:00 | 5.672 | 319.267 | 6.033 | 309.816 | 6.078 | 315.067 | 6.573 | 313.033 | 18.706 | 889.883 | 50.923 | 13.4397
2020-08-20 18:45:00 | 5.089 | 315.253 | 5.624 | 310.383 | 5.713 | 313.767 | 6.005 | 313.1 | 19.218 | 890.192 | 50.347 | 15.0043
2020-08-20 19:00:00 | 4.432 | 319.813 | 4.709 | 311.244 | 4.863 | 316.233 | 5.205 | 310.667 | 18.856 | 889.958 | 50.56 | 11.1531
2020-08-20 19:15:00 | 3.948 | 285.293 | 4.095 | 279.856 | 4.17 | 284.833 | 4.446 | 285.333 | 19.26 | 889.808 | 50.096 | 5.8373
2020-08-20 19:30:00 | 3.91 | 280.947 | 4.131 | 276.105 | 4.049 | 279.933 | 4.221 | 279.433 | 19.294 | 889.767 | 49.173 | 5.4856
2020-08-20 19:45:00 | 3.66 | 279.107 | 3.949 | 276.479 | 4.105 | 279.2 | 4.493 | 278.933 | 19.835 | 890.108 | 47.013 | 4.6805
2020-08-20 20:00:00 | 6.366 | 289.573 | 7.086 | 285.042 | 7.379 | 288.833 | 7.623 | 285.733 | 20.381 | 889.692 | 44.448 | 12.0136
2020-08-20 20:15:00 | 6.716 | 294.08 | 7.29 | 289.15 | 7.321 | 293.667 | 7.629 | 290.6 | 20.373 | 889.492 | 44.123 | 24.3909
2020-08-20 20:30:00 | 5.081 | 290.387 | 5.922 | 285.365 | 6.205 | 291.033 | 6.723 | 287.9 | 19.931 | 889.508 | 44.891 | 21.695
2020-08-20 20:45:00 | 4.432 | 294.773 | 5.41 | 291.093 | 5.691 | 296.567 | 6.195 | 293.333 | 19.781 | 889.925 | 46.251 | 18.0953
2020-08-20 21:00:00 | 4.525 | 290.6 | 5.606 | 286.423 | 5.764 | 289.833 | 6.086 | 287.233 | 19.352 | 889.85 | 45.936 | 18.4087
2020-08-20 21:15:00 | 3.78 | 284.107 | 4.464 | 284.388 | 4.89 | 288.867 | 5.355 | 286.6 | 19.031 | 889.692 | 46.171 | 11.2156
2020-08-20 21:30:00 | 4.225 | 263.193 | 4.977 | 263.384 | 5.184 | 268.733 | 5.373 | 262.567 | 18.589 | 889.55 | 47.051 | 10.5654
2020-08-20 21:45:00 | 3.954 | 250.18 | 4.54 | 255.216 | 4.649 | 260.867 | 4.803 | 258.233 | 17.939 | 889.675 | 48.88 | 10.9363
2020-08-20 22:00:00 | 4.002 | 236.647 | 4.882 | 247.025 | 5.095 | 258.2 | 5.516 | 258.5 | 17.148 | 889.942 | 50.981 | 12.7362
2020-08-20 22:15:00 | 4.502 | 242.66 | 5.62 | 248.919 | 6.137 | 256.3 | 6.476 | 254.517 | 16.681 | 889.75 | 51.84 | 20.5574
2020-08-20 22:30:00 | 5.04 | 249.76 | 6.237 | 252.018 | 6.505 | 258.267 | 6.924 | 255.65 | 16.881 | 889.967 | 50.72 | 27.8556
2020-08-20 22:45:00 | 5.314 | 246.34 | 6.661 | 247.296 | 7.379 | 254.567 | 7.447 | 252.05 | 17.148 | 890.1 | 50.933 | 37.5286
2020-08-20 23:00:00 | 4.072 | 237.12 | 5.338 | 243.074 | 6.099 | 251.333 | 6.501 | 248.333 | 16.664 | 889.642 | 51.371 | 34.3566
2020-08-20 23:15:00 | 4.954 | 237.78 | 6.688 | 241.652 | 7.287 | 250.767 | 7.53 | 248.1 | 16.598 | 889.567 | 51.989 | 39.5871
2020-08-20 23:30:00 | 6.247 | 240.713 | 8.428 | 242.094 | 8.639 | 249.467 | 8.728 | 245.7 | 16.364 | 890.167 | 51.787 | 47.6684
2020-08-20 23:45:00 | 7.056 | 244.687 | 8.723 | 243.835 | 8.813 | 250.533 | 8.797 | 247.633 | 16.096 | 890.1 | 51.019 | 52.8249