## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-22 00:00:00 | 5.482 | 231.327 | 4.449 | 253.846 | 3.621 | 272.8 | 3.62 | 284.533 | 18.202 | 890.1 | 27.704 | 4.3167
2020-08-22 00:15:00 | 5.853 | 227.973 | 4.432 | 252.802 | 3.391 | 274.2 | 3.519 | 285.9 | 18.044 | 889.333 | 27.739 | 2.6817
2020-08-22 00:30:00 | 5.733 | 224.553 | 4.552 | 238.287 | 3.1 | 259.367 | 2.705 | 284.567 | 17.868 | 889.567 | 28.107 | 1.7487
2020-08-22 00:45:00 | 6.026 | 222.133 | 4.927 | 235.077 | 3.729 | 247.6 | 2.658 | 262.667 | 17.294 | 889.95 | 28.501 | 2.1097
2020-08-22 01:00:00 | 6.004 | 222.64 | 5.925 | 232.896 | 4.675 | 242 | 3.546 | 244 | 17.231 | 889.967 | 29.072 | 4.3266
2020-08-22 01:15:00 | 6.379 | 222.753 | 6.093 | 231.137 | 5.417 | 239.4 | 4.634 | 237.6 | 17.131 | 889.817 | 29.157 | 7.2599
2020-08-22 01:30:00 | 6.404 | 221.547 | 6.703 | 224.164 | 5.95 | 233.433 | 5.115 | 232.633 | 16.714 | 889.517 | 29.301 | 8.7513
2020-08-22 01:45:00 | 6.203 | 221.187 | 6.23 | 222.121 | 5.382 | 229.6 | 4.467 | 232.7 | 16.964 | 889.567 | 29.141 | 6.5173
2020-08-22 02:00:00 | 6.255 | 217.847 | 6.424 | 218.635 | 5.349 | 225.067 | 4.395 | 228.133 | 16.681 | 889.65 | 29.173 | 4.9143
2020-08-22 02:15:00 | 6.217 | 219.86 | 7.076 | 218.852 | 6.288 | 225.733 | 5.18 | 221.567 | 16.431 | 889.633 | 29.136 | 5.6874
2020-08-22 02:30:00 | 6.481 | 225.653 | 6.259 | 225.624 | 5.468 | 234.733 | 4.938 | 238.1 | 16.848 | 889.95 | 28.731 | 6.7596
2020-08-22 02:45:00 | 6.674 | 237.48 | 7.203 | 237.997 | 6.77 | 246.633 | 6.523 | 243.667 | 16.288 | 890.017 | 29.659 | 11.7364
2020-08-22 03:00:00 | 6.065 | 223.233 | 5.504 | 236.43 | 4.934 | 247.633 | 4.421 | 253.1 | 16.074 | 889.983 | 29.755 | 12.4633
2020-08-22 03:15:00 | 7.109 | 220.527 | 6.779 | 230.352 | 5.778 | 243.2 | 4.876 | 244.9 | 16.148 | 889.917 | 30.224 | 9.4548
2020-08-22 03:30:00 | 6.948 | 220.227 | 7.236 | 229.484 | 6.564 | 235.7 | 5.742 | 233.3 | 16.048 | 889.683 | 29.899 | 15.3724
2020-08-22 03:45:00 | 6.423 | 222.913 | 7.048 | 225.826 | 6.784 | 233.5 | 6.38 | 231.1 | 15.846 | 889.967 | 30.101 | 16.3523
2020-08-22 04:00:00 | 6.39 | 226.58 | 6.216 | 233.23 | 5.729 | 241.267 | 5.169 | 243.367 | 15.966 | 890.1 | 30.667 | 12.0008
2020-08-22 04:15:00 | 6.234 | 219.38 | 7.133 | 230.408 | 6.284 | 239.533 | 5.315 | 240.8 | 15.913 | 889.25 | 32.043 | 14.0273
2020-08-22 04:30:00 | 6.335 | 218.267 | 7.188 | 226.892 | 6.67 | 233.633 | 5.99 | 228.867 | 15.471 | 889.933 | 33.808 | 15.7184
2020-08-22 04:45:00 | 7.199 | 215.867 | 7.465 | 222.647 | 7.159 | 229.233 | 6.657 | 226.867 | 15.281 | 889.967 | 33.557 | 19.2151
2020-08-22 05:00:00 | 6.303 | 221.46 | 7.672 | 225.888 | 7.416 | 234.333 | 7.086 | 231.767 | 15.428 | 889.8 | 33.595 | 20.1723
2020-08-22 05:15:00 | 6.121 | 228.24 | 7.327 | 235.295 | 7.093 | 244.333 | 6.64 | 241.633 | 15.497 | 889.917 | 34.187 | 22.5733
2020-08-22 05:30:00 | 5.747 | 230.787 | 6.613 | 238.918 | 6.226 | 249.967 | 5.683 | 250.8 | 15.559 | 889.733 | 34.176 | 21.199
2020-08-22 05:45:00 | 6.051 | 219.113 | 6.791 | 230.296 | 6.09 | 245 | 5.346 | 246.933 | 15.416 | 889.367 | 34.651 | 19.4233
2020-08-22 06:00:00 | 5.74 | 219.58 | 6.96 | 229.644 | 6.092 | 244.3 | 5.354 | 248.733 | 14.654 | 890.4 | 35.269 | 18.8272
2020-08-22 06:15:00 | 5.804 | 224.613 | 7.226 | 236.174 | 6.797 | 253.8 | 6.522 | 257.633 | 15.193 | 889.667 | 34.779 | 19.6386
2020-08-22 06:30:00 | 5.815 | 230.053 | 7.052 | 250.342 | 6.963 | 262.933 | 7.055 | 263.167 | 15.286 | 890.033 | 35.013 | 22.3615
2020-08-22 06:45:00 | 6.365 | 231.967 | 6.72 | 240.91 | 6.072 | 252.433 | 5.823 | 251.767 | 15.364 | 890.15 | 35.093 | 23.2128
2020-08-22 07:00:00 | 6.381 | 253.213 | 8.704 | 258.135 | 9.113 | 267.867 | 9.654 | 266.833 | 15.918 | 889.733 | 34.584 | 41.868
2020-08-22 07:15:00 | 8.105 | 258.9 | 9.704 | 255.518 | 10.2 | 259.25 | 10.215 | 254.883 | 17.831 | 890.033 | 31.085 | 70.4307
2020-08-22 07:30:00 | 11.812 | 265.733 | 14.12 | 259.504 | 14.779 | 264.733 | 15.226 | 258.1 | 18.485 | 889.817 | 37.077 | 90.2107
2020-08-22 07:45:00 | 13.665 | 261.98 | 15.465 | 255.74 | 16.792 | 260.783 | 16.74 | 255.917 | 18.206 | 889.892 | 42.133 | 88.8791
2020-08-22 08:00:00 | 13.865 | 261.453 | 15.539 | 253.812 | 16.429 | 258.5 | 16.624 | 253.667 | 18.164 | 889.958 | 43.509 | 86.0617
2020-08-22 08:15:00 | 14.064 | 262.873 | 15.714 | 254.814 | 16.438 | 261.083 | 16.485 | 254.983 | 18.406 | 889.733 | 43.632 | 85.1252
2020-08-22 08:30:00 | 14.902 | 262.993 | 16.338 | 259.262 | 16.855 | 261.433 | 17.289 | 255.783 | 19.085 | 890.083 | 42.704 | 83.682
2020-08-22 08:45:00 | 13.68 | 264.047 | 14.91 | 258.513 | 15.362 | 260.967 | 15.584 | 255.317 | 19.518 | 889.658 | 40.827 | 83.8881
2020-08-22 09:00:00 | 11.579 | 259.04 | 12.756 | 254.484 | 13.208 | 258.183 | 13.344 | 254.233 | 20.256 | 890.017 | 38.891 | 82.6837
2020-08-22 09:15:00 | 11.849 | 260.047 | 13.254 | 255.784 | 13.803 | 261.367 | 13.663 | 257.183 | 20.848 | 889.517 | 36.752 | 81.7592
2020-08-22 09:30:00 | 14.02 | 264.133 | 14.584 | 258.52 | 15.191 | 264.467 | 15.143 | 259.833 | 21.264 | 890.05 | 36.272 | 83.0603
2020-08-22 09:45:00 | 15.708 | 262.407 | 16.923 | 258.619 | 17.242 | 262.233 | 17.207 | 257.4 | 20.739 | 889.933 | 36.403 | 82.1976
2020-08-22 10:00:00 | 15 | 259.793 | 16.257 | 256.672 | 16.709 | 261.633 | 16.787 | 256.567 | 20.248 | 889.75 | 38.709 | 82.4264
2020-08-22 10:15:00 | 15.207 | 272.52 | 16.862 | 265.694 | 17.349 | 269.833 | 17.384 | 267.433 | 20.739 | 889.417 | 38.581 | 81.2334
2020-08-22 10:30:00 | 16.619 | 273.027 | 18.428 | 266.392 | 18.815 | 270.833 | 19.053 | 267.333 | 20.994 | 889.617 | 38.781 | 82.0307
2020-08-22 10:45:00 | 15.963 | 276.92 | 17.329 | 269.633 | 17.504 | 274.6 | 17.717 | 270.367 | 21.485 | 889.883 | 36.48 | 82.8734
2020-08-22 11:00:00 | 15.528 | 281.36 | 16.848 | 275.56 | 17.12 | 278.433 | 17.257 | 276.067 | 21.627 | 890.017 | 36.149 | 82.9757
2020-08-22 11:15:00 | 13.942 | 281.8 | 15.552 | 276.278 | 15.636 | 278.8 | 15.978 | 276.4 | 22.006 | 889.65 | 35.835 | 82.8705
2020-08-22 11:30:00 | 13.84 | 288.12 | 14.872 | 283.532 | 15.446 | 287.167 | 15.987 | 282.967 | 22.598 | 890.067 | 33.789 | 80.6728
2020-08-22 11:45:00 | 14.393 | 288 | 15.613 | 283.559 | 15.876 | 285.933 | 16.31 | 283.567 | 22.631 | 889.717 | 32.669 | 78.2107
2020-08-22 12:00:00 | 13.076 | 299.107 | 13.79 | 292.836 | 14.344 | 295.7 | 14.624 | 294.867 | 22.631 | 889.467 | 31.568 | 83.7048
2020-08-22 12:15:00 | 13.42 | 291.867 | 14.433 | 286.439 | 14.687 | 289.067 | 15.196 | 287.367 | 23.268 | 889.317 | 30.792 | 81.8381
2020-08-22 12:30:00 | 13.176 | 296.187 | 13.732 | 293.784 | 14.311 | 298.6 | 14.943 | 297.4 | 23.464 | 890.017 | 29.928 | 81.5368
2020-08-22 12:45:00 | 12.925 | 308.92 | 13.849 | 301.577 | 14.26 | 306.567 | 14.865 | 303.2 | 23.856 | 889.6 | 29.131 | 82.7334
2020-08-22 13:00:00 | 12.936 | 287.413 | 13.51 | 280.88 | 14.314 | 284.3 | 14.855 | 283.7 | 23.764 | 889.583 | 30.579 | 83.7843
2020-08-22 13:15:00 | 11.438 | 293.067 | 12.023 | 287.199 | 12.258 | 290.6 | 12.594 | 285.333 | 22.648 | 889.867 | 32.637 | 84.5411
2020-08-22 13:30:00 | 11.874 | 307.28 | 12.769 | 302.382 | 13.274 | 306.9 | 13.636 | 303.133 | 22.814 | 889.867 | 31.243 | 84.4466
2020-08-22 13:45:00 | 11.931 | 292.347 | 12.782 | 288.884 | 12.813 | 292.7 | 13.384 | 290.533 | 23.414 | 889.983 | 30.213 | 85.9459
2020-08-22 14:00:00 | 10.706 | 292.093 | 11.66 | 287.6 | 11.67 | 291.233 | 11.911 | 289.433 | 22.714 | 889.883 | 32.453 | 82.7057
2020-08-22 14:15:00 | 9.906 | 303.133 | 10.296 | 297.147 | 10.42 | 301.933 | 10.993 | 296.067 | 23.718 | 889.65 | 30.123 | 55.7255
2020-08-22 14:30:00 | 10.738 | 300.413 | 11.227 | 295.282 | 11.062 | 298.633 | 11.374 | 296.133 | 23.931 | 890.033 | 28.792 | 35.0842
2020-08-22 14:45:00 | 10.015 | 299.48 | 10.488 | 296.362 | 11.295 | 302.233 | 11.769 | 298.967 | 24.51 | 889.817 | 28.12 | 0.39792
2020-08-22 15:00:00 | 9.297 | 304.24 | 9.755 | 296.938 | 9.965 | 301.767 | 10.557 | 300.233 | 23.96 | 889.683 | 29.037 | 0.36097
2020-08-22 15:15:00 | 10.505 | 304.453 | 10.864 | 298.368 | 10.778 | 302.2 | 11.176 | 298.1 | 24.194 | 889.817 | 28.363 | 0.32118
2020-08-22 15:30:00 | 9.918 | 296.44 | 10.218 | 289.939 | 10.421 | 291.567 | 10.756 | 287.233 | 25.094 | 889.767 | 27.213 | 0.17622
2020-08-22 15:45:00 | 9.589 | 295.44 | 9.977 | 288.869 | 10.114 | 293.9 | 10.45 | 293.467 | 24.827 | 889.583 | 26.616 | 0
2020-08-22 16:00:00 | 10.002 | 288.053 | 10.756 | 283.814 | 10.956 | 287.367 | 10.834 | 285.367 | 25.077 | 889.617 | 26.163 | 0
2020-08-22 16:15:00 | 9.963 | 301.04 | 10.286 | 292.566 | 10.733 | 296.5 | 11.417 | 294.767 | 25.585 | 889.65 | 26.024 | 0
2020-08-22 16:30:00 | 11.092 | 304.533 | 11.539 | 298.119 | 11.815 | 301.433 | 12.126 | 298.267 | 25.173 | 889.617 | 26.963 | 0
2020-08-22 16:45:00 | 10.98 | 288.867 | 11.793 | 283.574 | 12.071 | 286.633 | 12.346 | 285.5 | 25.223 | 889.9 | 26.768 | 0
2020-08-22 17:00:00 | 10.137 | 300.173 | 10.534 | 293.967 | 10.856 | 296.4 | 11.422 | 294.733 | 25.148 | 889.717 | 26.805 | 0
2020-08-22 17:15:00 | 11.672 | 304.52 | 11.807 | 296.75 | 12.439 | 302.467 | 12.689 | 301.433 | 25.21 | 889.567 | 26.016 | 0
2020-08-22 17:30:00 | 11.705 | 294.267 | 12.461 | 287.548 | 12.825 | 291.967 | 13.278 | 290.267 | 25.289 | 889.683 | 24.803 | 0
2020-08-22 17:45:00 | 11.697 | 300.787 | 12.09 | 295.784 | 12.498 | 299.067 | 12.962 | 296.867 | 25.685 | 889.85 | 21.363 | 0
2020-08-22 18:00:00 | 11.458 | 304.347 | 11.918 | 297.762 | 12.333 | 301.633 | 12.706 | 297.3 | 25.439 | 889.467 | 19.544 | 0
2020-08-22 18:15:00 | 11.263 | 297.867 | 11.898 | 288.986 | 12.281 | 293.8 | 12.154 | 289.8 | 25.239 | 889.75 | 20.367 | 0
2020-08-22 18:30:00 | 10.355 | 298.227 | 11.119 | 292.422 | 11.524 | 296.467 | 11.59 | 294.5 | 25.556 | 889.633 | 18.873 | 0
2020-08-22 18:45:00 | 9.322 | 298.667 | 9.676 | 292.395 | 9.944 | 297 | 10.401 | 293.4 | 25.123 | 889.45 | 20.613 | 0
2020-08-22 19:00:00 | 10.371 | 292.4 | 11.458 | 284.446 | 11.403 | 287.767 | 11.709 | 285.067 | 25.356 | 889.4 | 19.016 | 0
2020-08-22 19:15:00 | 10.29 | 303 | 11.207 | 296.03 | 11.588 | 300.6 | 12.049 | 297.967 | 25.006 | 889.333 | 19.425 | 0
2020-08-22 19:30:00 | 10.597 | 309.827 | 11.558 | 300.556 | 12.184 | 304.333 | 12.584 | 302.4 | 24.452 | 889.567 | 18.907 | 0
2020-08-22 19:45:00 | 10.587 | 305.027 | 11.454 | 297.986 | 11.991 | 302.867 | 12.6 | 301.067 | 24.335 | 889.283 | 20.359 | 0
2020-08-22 20:00:00 | 10.396 | 298.987 | 11.608 | 292.745 | 12.059 | 297.767 | 12.221 | 294.333 | 23.881 | 889.433 | 19.444 | 0
2020-08-22 20:15:00 | 8.3 | 288.493 | 9.611 | 282.549 | 10.029 | 285.6 | 10.235 | 283.667 | 23.752 | 889.367 | 20.691 | 0
2020-08-22 20:30:00 | 8.672 | 284.507 | 10.015 | 277.591 | 10.521 | 281.4 | 11.006 | 279.233 | 23.481 | 889.5 | 20.625 | 0
2020-08-22 20:45:00 | 7.809 | 279.773 | 8.743 | 274.172 | 8.837 | 277.633 | 9.009 | 274.4 | 23.214 | 890.233 | 21.763 | 0
2020-08-22 21:00:00 | 6.654 | 278.467 | 8.205 | 273.578 | 8.555 | 276.867 | 8.629 | 272.733 | 22.481 | 889.417 | 22.445 | 0
2020-08-22 21:15:00 | 6.288 | 266.327 | 7.827 | 264.05 | 8.048 | 268.9 | 8.369 | 266.983 | 22.202 | 889.4 | 23.48 | 0
2020-08-22 21:30:00 | 6.451 | 260.76 | 7.705 | 262.396 | 8.15 | 267.7 | 8.494 | 264.9 | 21.46 | 889.717 | 24.067 | 0
2020-08-22 21:45:00 | 5.18 | 258.653 | 6.334 | 259.231 | 6.924 | 265.633 | 7.119 | 260.4 | 21.502 | 889.567 | 24.744 | 0
2020-08-22 22:00:00 | 5.211 | 241.84 | 6.157 | 245.209 | 6.55 | 253.367 | 6.766 | 248.783 | 21.014 | 889.55 | 25.536 | 0
2020-08-22 22:15:00 | 5.377 | 238.26 | 6.413 | 244.282 | 6.721 | 254.967 | 6.92 | 253.283 | 20.36 | 889.85 | 26.251 | 0
2020-08-22 22:30:00 | 5.753 | 241.153 | 6.608 | 244.003 | 6.768 | 252.3 | 7.135 | 250.15 | 20.006 | 890.117 | 26.469 | 0.11582
2020-08-22 22:45:00 | 5.097 | 240.747 | 6.633 | 244.149 | 6.881 | 251.8 | 7.004 | 249.717 | 19.46 | 889.833 | 26.885 | 24.0541
2020-08-22 23:00:00 | 5.805 | 244.307 | 7.164 | 244.41 | 7.263 | 252.3 | 7.335 | 249.533 | 19.839 | 889.883 | 26.859 | 34.2195
2020-08-22 23:15:00 | 5.895 | 246.353 | 6.798 | 249.061 | 6.849 | 254.633 | 6.953 | 252.3 | 19.018 | 889.433 | 26.869 | 31.9471
2020-08-22 23:30:00 | 5.779 | 240.767 | 6.803 | 245.92 | 6.792 | 253.767 | 6.97 | 251.65 | 18.823 | 889.683 | 27.413 | 26.794
2020-08-22 23:45:00 | 4.357 | 234.007 | 6.165 | 243.82 | 6.562 | 253.833 | 6.76 | 252.15 | 18.535 | 890.133 | 27.925 | 23.8125