## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-23 00:00:00 | 4.871 | 223.26 | 5.985 | 234.953 | 6.654 | 249.967 | 6.785 | 249.1 | 18.168 | 889.917 | 28.747 | 23.5411
2020-08-23 00:15:00 | 5.475 | 225.8 | 6.561 | 236.633 | 6.766 | 250.567 | 6.832 | 250.4 | 17.589 | 889.783 | 29.536 | 24.5032
2020-08-23 00:30:00 | 5.395 | 228.96 | 6.768 | 236.758 | 6.814 | 246.867 | 6.856 | 244.633 | 16.898 | 890 | 30.101 | 24.4961
2020-08-23 00:45:00 | 5.258 | 225.167 | 6.811 | 233.781 | 6.855 | 243.6 | 6.65 | 240.867 | 17.314 | 889.933 | 30.235 | 23.5496
2020-08-23 01:00:00 | 4.89 | 224.393 | 6.794 | 230.297 | 6.788 | 242.2 | 6.659 | 239.933 | 16.931 | 889.8 | 30.736 | 23.782
2020-08-23 01:15:00 | 5.827 | 218.82 | 6.975 | 227.215 | 6.872 | 239.3 | 6.756 | 238.667 | 16.355 | 889.767 | 32.373 | 24.9572
2020-08-23 01:30:00 | 5.868 | 219.847 | 7.15 | 229.169 | 7.002 | 239.8 | 6.886 | 238.733 | 16.12 | 889.65 | 33.045 | 25.4781
2020-08-23 01:45:00 | 5.329 | 222.1 | 7.004 | 231.906 | 7.023 | 243.567 | 6.931 | 241.433 | 15.778 | 889.967 | 33.36 | 26.615
2020-08-23 02:00:00 | 5.544 | 223.553 | 7.457 | 229.044 | 7.275 | 237.433 | 6.949 | 236.3 | 15.436 | 889.633 | 34.064 | 25.5314
2020-08-23 02:15:00 | 5.863 | 224.74 | 7.785 | 228.237 | 7.764 | 237.4 | 7.424 | 235.433 | 15.39 | 889.683 | 34.384 | 30.0072
2020-08-23 02:30:00 | 6.385 | 223.96 | 8.173 | 226.451 | 8.126 | 235.9 | 7.67 | 234.433 | 15.965 | 889.667 | 34.288 | 33.2282
2020-08-23 02:45:00 | 6.061 | 218.733 | 7.39 | 223.967 | 7.537 | 236.3 | 7.146 | 236.7 | 15.454 | 889.567 | 35.013 | 29.7315
2020-08-23 03:00:00 | 6.293 | 217.833 | 7.434 | 224.991 | 7.594 | 237.967 | 7.338 | 238.467 | 14.974 | 890.017 | 35.787 | 28.746
2020-08-23 03:15:00 | 5.693 | 220.22 | 7.615 | 229.222 | 7.44 | 240.2 | 7.183 | 238.7 | 15.112 | 889.717 | 35.904 | 30.0698
2020-08-23 03:30:00 | 6.191 | 218.06 | 7.679 | 224.027 | 7.515 | 238.567 | 7.164 | 238.733 | 14.566 | 890.017 | 36.096 | 29.2526
2020-08-23 03:45:00 | 6.12 | 218.667 | 7.75 | 223.245 | 7.667 | 234.3 | 7.256 | 232.8 | 14.841 | 889.883 | 36.811 | 27.9295
2020-08-23 04:00:00 | 6.456 | 216.407 | 8.847 | 219.734 | 8.057 | 227.233 | 7.588 | 226.233 | 14.17 | 889.517 | 37.317 | 29.777
2020-08-23 04:15:00 | 6.199 | 220.8 | 8.247 | 221.872 | 7.652 | 229.367 | 7.497 | 227.433 | 14.095 | 889.367 | 37.499 | 25.7438
2020-08-23 04:30:00 | 7.122 | 215.533 | 8.564 | 216.87 | 8.011 | 222.833 | 7.274 | 222.433 | 14.078 | 889.95 | 37.771 | 23.8246
2020-08-23 04:45:00 | 7.023 | 215.053 | 8.102 | 216.653 | 7.359 | 222.133 | 6.728 | 223.267 | 14.099 | 889.767 | 38.053 | 20.7827
2020-08-23 05:00:00 | 6.947 | 216.407 | 8.447 | 216.148 | 8.112 | 219.633 | 7.795 | 219.033 | 13.762 | 889.933 | 37.931 | 25.6443
2020-08-23 05:15:00 | 6.574 | 218.533 | 8.51 | 218.751 | 7.949 | 223.5 | 7.006 | 221.467 | 13.941 | 889.333 | 37.872 | 24.177
2020-08-23 05:30:00 | 6.663 | 218.627 | 8.36 | 215.355 | 7.653 | 218 | 7.473 | 217.067 | 13.649 | 889.9 | 37.947 | 23.0437
2020-08-23 05:45:00 | 6.451 | 216.74 | 8.064 | 212.56 | 7.623 | 213.867 | 7.333 | 212 | 13.764 | 889.9 | 37.925 | 22.461
2020-08-23 06:00:00 | 6.641 | 216.333 | 8.166 | 213.604 | 8.058 | 217.133 | 7.682 | 213.667 | 13.439 | 889.75 | 38.763 | 21.1351
2020-08-23 06:15:00 | 6.41 | 218.02 | 7.987 | 215.313 | 7.282 | 218.833 | 6.88 | 217.433 | 13.491 | 889.767 | 39.883 | 16.122
2020-08-23 06:30:00 | 6.367 | 217.093 | 8.005 | 212.15 | 7.533 | 214.533 | 7.651 | 212.367 | 13.301 | 889.725 | 40.779 | 20.3009
2020-08-23 06:45:00 | 7.001 | 215.7 | 8.473 | 212.496 | 8.127 | 215.433 | 7.888 | 212.9 | 13.128 | 889.783 | 41.083 | 20.826
2020-08-23 07:00:00 | 7.608 | 219.887 | 8.778 | 214.532 | 8.063 | 219.033 | 7.863 | 214.733 | 13.52 | 889.608 | 40.704 | 21.0754
2020-08-23 07:15:00 | 6.426 | 222.567 | 8.36 | 215.365 | 7.795 | 217.633 | 7.376 | 213.933 | 13.974 | 889.783 | 39.477 | 19.1817
2020-08-23 07:30:00 | 6.562 | 228.14 | 7.724 | 218.922 | 6.688 | 219.833 | 6.26 | 214.9 | 14.528 | 889.917 | 37.835 | 14.7904
2020-08-23 07:45:00 | 6.207 | 230.433 | 7.84 | 222.907 | 7.31 | 221.7 | 6.628 | 215.733 | 15.224 | 889.75 | 35.557 | 14.4124
2020-08-23 08:00:00 | 5.698 | 234.66 | 7.201 | 226.701 | 7.055 | 226.167 | 6.43 | 217.7 | 16.381 | 889.883 | 33.381 | 13.4965
2020-08-23 08:15:00 | 5.394 | 234.873 | 6.861 | 226.304 | 7.273 | 225.4 | 6.879 | 217.7 | 17.306 | 889.333 | 31.664 | 13.4482
2020-08-23 08:30:00 | 4.504 | 231.94 | 4.972 | 225.453 | 5.795 | 227.067 | 6.234 | 219.6 | 18.989 | 889.633 | 28.997 | 11.2632
2020-08-23 08:45:00 | 4.924 | 235.94 | 4.824 | 228.288 | 4.871 | 230.333 | 5.142 | 223.8 | 20.248 | 889.5 | 26.757 | 7.3153
2020-08-23 09:00:00 | 4.277 | 228.613 | 4.206 | 223.497 | 4.502 | 225.7 | 4.89 | 222.8 | 21.235 | 889.617 | 25.2 | 5.5794
2020-08-23 09:15:00 | 4.883 | 225.673 | 4.716 | 225.347 | 4.818 | 230.267 | 4.855 | 226.267 | 22.41 | 889.65 | 23.979 | 6.1009
2020-08-23 09:30:00 | 4.579 | 236.28 | 4.82 | 234.452 | 5.021 | 239.7 | 4.985 | 233.9 | 22.964 | 890.1 | 22.901 | 5.0919
2020-08-23 09:45:00 | 3.796 | 234.387 | 3.78 | 232.854 | 3.918 | 236.483 | 4.166 | 234.333 | 23.264 | 889.633 | 22.04 | 3.7795
2020-08-23 10:00:00 | 2.646 | 239.653 | 2.603 | 232.872 | 2.914 | 234.533 | 3.3 | 232.517 | 24.144 | 889.8 | 21.517 | 1.4737
2020-08-23 10:15:00 | 2.943 | 238.933 | 2.947 | 237.354 | 2.968 | 240.65 | 3.183 | 240.6 | 23.902 | 889.583 | 21.859 | 0.92303
2020-08-23 10:30:00 | 2.342 | 213.527 | 2.21 | 216.34 | 2.324 | 224.9 | 2.569 | 228.6 | 24.652 | 889.9 | 21.365 | 1.5831
2020-08-23 10:45:00 | 1.122 | 296.254 | 1.289 | 275.994 | 1.796 | 285.767 | 2.466 | 279.667 | 23.806 | 889.717 | 21.205 | 1.7302
2020-08-23 11:00:00 | 2.184 | 281.647 | 2.196 | 283.916 | 2.419 | 287.433 | 3.225 | 281.45 | 23.927 | 889.867 | 21.437 | 1.0815
2020-08-23 11:15:00 | 2.741 | 280.827 | 2.942 | 310.463 | 3.114 | 311.2 | 3.901 | 309.967 | 23.956 | 889.433 | 20.369 | 1.2961
2020-08-23 11:30:00 | 3.922 | 306.427 | 3.734 | 294.658 | 3.564 | 296 | 3.907 | 297.067 | 24.606 | 889.567 | 19.493 | 2.5794
2020-08-23 11:45:00 | 3.306 | 297.813 | 3.501 | 291.964 | 3.688 | 299.683 | 4.204 | 291.6 | 25.368 | 889.433 | 18.539 | 3.1613
2020-08-23 12:00:00 | 3.718 | 301.72 | 3.819 | 302.524 | 3.627 | 305.767 | 3.784 | 309.367 | 25.973 | 889.4 | 18.265 | 4.0389
2020-08-23 12:15:00 | 3.71 | 292.42 | 4.211 | 285.167 | 4.794 | 285.083 | 5.05 | 280.717 | 25.989 | 889.567 | 18.249 | 4.1732
2020-08-23 12:30:00 | 3.769 | 164.408 | 4.012 | 186.64 | 3.974 | 166.235 | 4.069 | 198.402 | 26.064 | 889.4 | 17.492 | 6.3098
2020-08-23 12:45:00 | 2.441 | 274.436 | 2.831 | 280.39 | 2.805 | 196.876 | 2.973 | 217.6 | 25.835 | 889.3 | 17.524 | 5.3435
2020-08-23 13:00:00 | 4.407 | 287.007 | 4.696 | 294.133 | 4.639 | 303.833 | 4.861 | 298.017 | 26.881 | 889.167 | 16.752 | 3.7482
2020-08-23 13:15:00 | 2.535 | 250.196 | 2.88 | 252.183 | 3.149 | 259.734 | 3.367 | 298.117 | 26.773 | 889.333 | 16.156 | 2.8792
2020-08-23 13:30:00 | 2.814 | 295.814 | 2.828 | 290.805 | 2.482 | 292.602 | 2.76 | 261.638 | 27.614 | 889.333 | 15.688 | 3.3205
2020-08-23 13:45:00 | 3.304 | 296.6 | 3.588 | 292.094 | 3.566 | 295.767 | 3.984 | 296.333 | 27.706 | 888.9 | 15.56 | 5.0692
2020-08-23 14:00:00 | 3.353 | 129.949 | 3.759 | 256.88 | 3.724 | 278.234 | 3.907 | 299 | 27.739 | 889.633 | 15.137 | 6.1841
2020-08-23 14:15:00 | 3.898 | 132.617 | 4.175 | 164.474 | 4.445 | 164.733 | 4.709 | 210.833 | 28.335 | 889.533 | 14.121 | 3.7383
2020-08-23 14:30:00 | 4.745 | 231.441 | 4.904 | 254.259 | 5.02 | 291.267 | 5.739 | 290.433 | 27.935 | 889.567 | 14.472 | 3.7184
2020-08-23 14:45:00 | 6.038 | 211.213 | 6.485 | 288.413 | 6.376 | 266.133 | 6.6 | 296.8 | 28.756 | 889.7 | 13.973 | 4.9789
2020-08-23 15:00:00 | 6.082 | 311.533 | 6.455 | 308.146 | 6.566 | 312.6 | 6.506 | 308.1 | 28.202 | 889.867 | 13.985 | 8.2205
2020-08-23 15:15:00 | 3.244 | 299.367 | 3.332 | 241.278 | 3.646 | 213.336 | 4.15 | 257.467 | 28.568 | 889.867 | 13.765 | 10.0922
2020-08-23 15:30:00 | 2.77 | 307.827 | 3.072 | 311.018 | 3.168 | 314.367 | 3.58 | 300.267 | 28.327 | 889.4 | 13.459 | 6.4143
2020-08-23 15:45:00 | 4.144 | 305.96 | 4.5 | 299.994 | 4.828 | 300.733 | 5.242 | 295.467 | 29.081 | 889.6 | 12.887 | 4.2087
2020-08-23 16:00:00 | 7.107 | 331.64 | 7.362 | 326.818 | 7.259 | 333.333 | 7.377 | 332.833 | 29.531 | 889.233 | 12.224 | 18.1216
2020-08-23 16:15:00 | 6.237 | 312.2 | 6.496 | 310.243 | 6.651 | 315.067 | 7.076 | 300.167 | 29.148 | 889.233 | 12.524 | 15.5273
2020-08-23 16:30:00 | 6.268 | 262.753 | 6.532 | 308.12 | 6.377 | 278.1 | 6.651 | 291.367 | 29.498 | 889.567 | 12.287 | 12.0604
2020-08-23 16:45:00 | 5.592 | 31.236 | 5.212 | 26.711 | 5.466 | 28.967 | 5.558 | 24.567 | 28.873 | 889.733 | 12.651 | 9.506
2020-08-23 17:00:00 | 4.537 | 61.057 | 4.967 | 49.84 | 5.066 | 51.467 | 5.207 | 47.9 | 28.56 | 889.4 | 12.347 | 5.0294
2020-08-23 17:15:00 | 2.92 | 62.122 | 3.004 | 53.479 | 3.252 | 55.033 | 3.746 | 52 | 28.523 | 889.133 | 12.227 | 3.6004
2020-08-23 17:30:00 | 3.144 | 265.793 | 3.273 | 261.483 | 3.525 | 268.3 | 4.059 | 274.267 | 29.131 | 889.667 | 13.08 | 3.0078
2020-08-23 17:45:00 | 4.44 | 235.08 | 4.676 | 331.447 | 4.953 | 274.633 | 5.245 | 331.833 | 29.198 | 889.467 | 13.796 | 7.0723
2020-08-23 18:00:00 | 6.98 | 296.653 | 7.473 | 294.011 | 7.673 | 298.2 | 8.207 | 295.367 | 29.314 | 889.3 | 13.969 | 12.0903
2020-08-23 18:15:00 | 7.86 | 331.76 | 8.148 | 322.592 | 8.314 | 325.5 | 8.516 | 323.633 | 29.314 | 889.167 | 13.524 | 15.3383
2020-08-23 18:30:00 | 7.468 | 322.747 | 8.098 | 315.367 | 8.252 | 318.267 | 8.483 | 314.5 | 28.877 | 889.467 | 13.763 | 32.8367
2020-08-23 18:45:00 | 6.829 | 320.2 | 7.352 | 311.814 | 7.566 | 315.3 | 7.806 | 315.2 | 29.014 | 889.1 | 13.523 | 36.7796
2020-08-23 19:00:00 | 6.334 | 319.8 | 6.95 | 314.921 | 7.18 | 319.733 | 7.46 | 319.233 | 28.998 | 889.6 | 13.188 | 26.0529
2020-08-23 19:15:00 | 8.283 | 313.587 | 8.954 | 310.57 | 9.067 | 315.667 | 9.447 | 314.167 | 28.677 | 889.3 | 13.152 | 33.4876
2020-08-23 19:30:00 | 7.26 | 317.36 | 8.16 | 311.57 | 8.47 | 315.833 | 8.778 | 314.6 | 28.823 | 889.1 | 13.096 | 54.0905
2020-08-23 19:45:00 | 7.637 | 321.573 | 7.949 | 316.795 | 8.186 | 320.567 | 8.558 | 319.367 | 28.514 | 889.333 | 13.131 | 44.5056
2020-08-23 20:00:00 | 7.466 | 319.933 | 8.01 | 313.608 | 8.321 | 316.7 | 8.777 | 315.633 | 27.864 | 889.8 | 13.384 | 41.9042
2020-08-23 20:15:00 | 6.285 | 318.52 | 6.884 | 316.142 | 7.095 | 318.467 | 7.43 | 316.9 | 27.523 | 889.567 | 13.496 | 37.3154
2020-08-23 20:30:00 | 6.277 | 320.107 | 7.125 | 311.587 | 7.411 | 315.567 | 7.824 | 316.233 | 27.439 | 889.8 | 13.905 | 29.0579
2020-08-23 20:45:00 | 5.349 | 320.507 | 6.381 | 312.452 | 6.726 | 316.267 | 7.251 | 315.967 | 27.068 | 889.667 | 13.656 | 28.2372
2020-08-23 21:00:00 | 4.934 | 322.547 | 5.612 | 320.433 | 6.295 | 327.567 | 6.644 | 327.367 | 26.664 | 889.433 | 13.804 | 26.9369
2020-08-23 21:15:00 | 3.925 | 323.747 | 4.73 | 319.008 | 5.038 | 324.3 | 5.502 | 324.367 | 26.185 | 889.733 | 14.265 | 17.5027
2020-08-23 21:30:00 | 4.048 | 314.12 | 4.764 | 314.407 | 5.331 | 321.233 | 5.806 | 323.167 | 25.144 | 889.6 | 14.832 | 13.2968
2020-08-23 21:45:00 | 4.051 | 314.667 | 4.85 | 312.614 | 5.636 | 318.4 | 6.083 | 317.233 | 25.156 | 889.633 | 16.005 | 15.7483
2020-08-23 22:00:00 | 3.166 | 336.44 | 4.344 | 335.87 | 4.921 | 342.3 | 5.298 | 345.267 | 24.318 | 889.467 | 16.819 | 12.0526
2020-08-23 22:15:00 | 2.938 | 304.347 | 4.06 | 323.255 | 4.495 | 333.833 | 5.14 | 337.933 | 23.514 | 889.667 | 17.036 | 6.1031
2020-08-23 22:30:00 | 2.977 | 301.973 | 3.246 | 321.998 | 3.497 | 333.2 | 4.1 | 338.9 | 23.448 | 890.333 | 17.007 | 2.7705
2020-08-23 22:45:00 | 3.544 | 270.773 | 2.965 | 284.66 | 2.59 | 294.967 | 3.024 | 300.767 | 23.331 | 889.167 | 17.196 | 0.25367
2020-08-23 23:00:00 | 3.783 | 249.52 | 3.316 | 264.576 | 3.021 | 271.533 | 3.106 | 274.1 | 22.848 | 889.567 | 17.931 | 0.20962
2020-08-23 23:15:00 | 5.661 | 226.133 | 4.004 | 243.665 | 3.381 | 257.833 | 3.419 | 260.033 | 21.018 | 889.767 | 19.163 | 1.2556
2020-08-23 23:30:00 | 5.584 | 224.647 | 5.949 | 234.251 | 4.994 | 235 | 4.27 | 234.333 | 20.452 | 889.233 | 20.299 | 5.1864
2020-08-23 23:45:00 | 5.588 | 222.193 | 5.711 | 230.375 | 5.117 | 235.9 | 4.609 | 228.867 | 20.564 | 889.7 | 20.315 | 9.344