## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-24 00:00:00 | 6.134 | 227.013 | 7.977 | 229.557 | 7.732 | 235.433 | 7.267 | 231.5 | 20.552 | 889.333 | 20.293 | 19.1889
2020-08-24 00:15:00 | 5.419 | 228.32 | 6.353 | 237.593 | 6.528 | 247.4 | 6.613 | 244.417 | 21.402 | 889.6 | 19.507 | 24.4769
2020-08-24 00:30:00 | 6.371 | 228.913 | 7.585 | 229.844 | 7.717 | 236.033 | 7.462 | 233.667 | 21.998 | 889.7 | 19.243 | 33.3874
2020-08-24 00:45:00 | 5.622 | 263.453 | 6.898 | 262.949 | 7.212 | 269.733 | 7.828 | 267.5 | 22.398 | 889.767 | 19.121 | 25.5378
2020-08-24 01:00:00 | 5.24 | 294.613 | 6.45 | 291.307 | 7.034 | 294.5 | 7.895 | 292.633 | 23.331 | 889.9 | 19.107 | 30.6297
2020-08-24 01:15:00 | 5.172 | 243.3 | 6.237 | 249.761 | 6.259 | 258.633 | 6.526 | 257.517 | 23.031 | 889.333 | 19.639 | 22.0922
2020-08-24 01:30:00 | 5.081 | 254.893 | 6.111 | 256.803 | 6.575 | 261.533 | 7.162 | 256.667 | 22.314 | 890.033 | 21.435 | 22.6401
2020-08-24 01:45:00 | 5.089 | 241.28 | 5.789 | 246.36 | 5.764 | 255.733 | 5.857 | 252.5 | 22.506 | 889.967 | 22.768 | 19.5818
2020-08-24 02:00:00 | 5.125 | 227.48 | 5.9 | 233.72 | 5.678 | 241.2 | 5.472 | 240.333 | 20.944 | 889.8 | 24.864 | 15.5323
2020-08-24 02:15:00 | 3.602 | 260.047 | 4.078 | 272.599 | 4.674 | 278.367 | 5.407 | 277.2 | 21.302 | 889.75 | 25.133 | 9.835
2020-08-24 02:30:00 | 4.405 | 276.427 | 5.036 | 282.884 | 5.276 | 289.3 | 6.113 | 287.867 | 20.86 | 889.85 | 25.365 | 10.478
2020-08-24 02:45:00 | 4.669 | 262.44 | 6.32 | 280.851 | 6.312 | 287.633 | 6.962 | 287.3 | 20.839 | 889.617 | 25.416 | 15.5017
2020-08-24 03:00:00 | 4.985 | 247.613 | 5.599 | 269.015 | 5.739 | 279.2 | 6.347 | 279.8 | 20.01 | 889.917 | 25.851 | 12.3958
2020-08-24 03:15:00 | 6.029 | 218.58 | 6.027 | 225.404 | 5.722 | 246 | 5.682 | 257.633 | 19.581 | 889.85 | 26.528 | 15.6481
2020-08-24 03:30:00 | 6.085 | 217.213 | 7.005 | 219.268 | 6.722 | 226.033 | 6.452 | 222.267 | 20.006 | 889.783 | 26.475 | 19.4198
2020-08-24 03:45:00 | 6.166 | 217.493 | 6.504 | 220.791 | 6.414 | 225.9 | 6.288 | 223.033 | 19.556 | 889.867 | 28.368 | 19.2528
2020-08-24 04:00:00 | 6.038 | 217.36 | 7.773 | 220.059 | 7.467 | 225.233 | 7.175 | 222.667 | 19.185 | 889.383 | 27.984 | 26.1524
2020-08-24 04:15:00 | 5.286 | 226.953 | 6.573 | 231.071 | 6.491 | 239.167 | 6.349 | 237.233 | 19.206 | 890.15 | 27.328 | 22.9705
2020-08-24 04:30:00 | 5.353 | 223.88 | 6.844 | 231.355 | 6.92 | 240.567 | 6.814 | 237.233 | 19.118 | 889.933 | 27.531 | 24.98
2020-08-24 04:45:00 | 5.387 | 219.4 | 6.894 | 228.684 | 6.918 | 237.167 | 6.741 | 233.9 | 18.773 | 889.5 | 28.245 | 25.3068
2020-08-24 05:00:00 | 5.155 | 221.547 | 6.412 | 227.791 | 6.288 | 236.8 | 6.154 | 235.433 | 18.294 | 889.717 | 29.301 | 20.9859
2020-08-24 05:15:00 | 4.619 | 228.147 | 6.056 | 236.117 | 6.066 | 245.267 | 6.041 | 242.367 | 18.348 | 889.9 | 29.067 | 18.1614
2020-08-24 05:30:00 | 4.528 | 235.867 | 5.898 | 240.202 | 6.172 | 249.333 | 5.982 | 246.267 | 18.489 | 889.917 | 29.051 | 14.9112
2020-08-24 05:45:00 | 4.626 | 232.667 | 5.966 | 239.376 | 6.206 | 246.933 | 6.064 | 243.8 | 18.323 | 890.017 | 28.923 | 15.1791
2020-08-24 06:00:00 | 5.37 | 220.44 | 6.424 | 229.322 | 6.102 | 237.167 | 5.825 | 233.6 | 18.248 | 889.75 | 29.232 | 14.0948
2020-08-24 06:15:00 | 4.931 | 222.4 | 5.993 | 233.135 | 5.809 | 242.667 | 5.933 | 238.767 | 18.285 | 889.267 | 29.541 | 14.7691
2020-08-24 06:30:00 | 4.455 | 227.18 | 5.832 | 237.918 | 5.906 | 247.367 | 5.735 | 243.5 | 18.039 | 889.583 | 29.515 | 12.344
2020-08-24 06:45:00 | 6.26 | 225.533 | 6.156 | 235.64 | 5.98 | 243.6 | 5.704 | 241.3 | 18.148 | 889.483 | 29.109 | 12.1599
2020-08-24 07:00:00 | 5.45 | 222.827 | 6.655 | 232.988 | 6.319 | 240.767 | 6.081 | 235.933 | 17.848 | 890.333 | 30.048 | 13.9427
2020-08-24 07:15:00 | 5.436 | 220.647 | 6.576 | 225.93 | 6.234 | 236.933 | 5.817 | 233.333 | 17.106 | 889.633 | 30.891 | 13.0488
2020-08-24 07:30:00 | 5.107 | 220.84 | 5.941 | 229.362 | 5.575 | 240.767 | 5.375 | 236.733 | 17.502 | 889.817 | 30.8 | 10.7303
2020-08-24 07:45:00 | 4.713 | 223.66 | 5.773 | 233.425 | 5.46 | 244.933 | 5.338 | 243.267 | 18.577 | 889.767 | 28.981 | 10.3608
2020-08-24 08:00:00 | 4.948 | 213.007 | 6.823 | 210.63 | 7.315 | 216.367 | 6.858 | 216.667 | 19.277 | 889.933 | 27.675 | 16.7957
2020-08-24 08:15:00 | 4.702 | 214.273 | 6.46 | 212.443 | 7.07 | 215.733 | 7.233 | 212.267 | 21.152 | 890.183 | 25.397 | 17.3947
2020-08-24 08:30:00 | 5.349 | 215.5 | 5.783 | 211.937 | 5.942 | 216.067 | 6.05 | 215.7 | 22.381 | 889.65 | 24.181 | 10.0161
2020-08-24 08:45:00 | 3.859 | 229.753 | 4.286 | 224.668 | 4.89 | 225.967 | 5.227 | 220.867 | 23.552 | 889.5 | 23.227 | 6.4519
2020-08-24 09:00:00 | 4.784 | 228.727 | 4.78 | 224.668 | 4.826 | 226.833 | 4.886 | 221.967 | 24.802 | 889.617 | 22.064 | 3.8136
2020-08-24 09:15:00 | 3.707 | 226.587 | 3.826 | 224.159 | 3.981 | 228.267 | 4.182 | 223.233 | 25.518 | 889.767 | 21.04 | 3.2672
2020-08-24 09:30:00 | 3.908 | 223.453 | 3.923 | 218.592 | 4.048 | 222.067 | 4.246 | 217.067 | 25.994 | 889.733 | 20.664 | 2.0535
2020-08-24 09:45:00 | 2.657 | 237.673 | 2.831 | 225.64 | 2.946 | 221.75 | 3.234 | 215.567 | 26.368 | 890 | 19.896 | 1.4531
2020-08-24 10:00:00 | 4.079 | 270.16 | 4.202 | 265.323 | 4.394 | 267.7 | 4.492 | 260.567 | 26.456 | 889.7 | 18.593 | 0.75746
2020-08-24 10:15:00 | 3.186 | 275.833 | 3.188 | 263.283 | 2.839 | 267.483 | 3.167 | 271.117 | 26.252 | 889.667 | 19.027 | 0.48958
2020-08-24 10:30:00 | 1.992 | 284.873 | 2.12 | 268.212 | 2.206 | 266.667 | 2.616 | 270.133 | 26.614 | 889.433 | 19.251 | 0.5315
2020-08-24 10:45:00 | 4.344 | 279.967 | 4.4 | 285.939 | 4.826 | 293.667 | 5.315 | 297.367 | 26.323 | 889.5 | 19.528 | 0.67717
2020-08-24 11:00:00 | 5.162 | 305.24 | 5.154 | 296.814 | 5.451 | 298.967 | 5.718 | 294.067 | 26.01 | 889.233 | 19.297 | 3.8129
2020-08-24 11:15:00 | 3.545 | 324.44 | 3.812 | 308.804 | 3.871 | 308.767 | 4.039 | 303.867 | 26.11 | 889.233 | 19.685 | 5.2646
2020-08-24 11:30:00 | 0.674 | 122.578 | 1.19 | 136.672 | 1.312 | 90.873 | 1.844 | 153.4 | 27.627 | 889.4 | 18.661 | 4.9576
2020-08-24 11:45:00 | 4.533 | 318.387 | 4.696 | 312.119 | 4.521 | 315.267 | 4.607 | 315.467 | 26.464 | 889.533 | 18.685 | 2.6319
2020-08-24 12:00:00 | 3.485 | 177.206 | 3.517 | 211.183 | 3.561 | 152.4 | 3.691 | 141 | 26.823 | 889.533 | 18.301 | 0.81431
2020-08-24 12:15:00 | 1.919 | 270.113 | 1.702 | 211.912 | 1.565 | 243.015 | 2.445 | 301.467 | 27.431 | 889.767 | 17.873 | 2.0052
2020-08-24 12:30:00 | 0.894 | 137.055 | 1.509 | 126.292 | 1.515 | 136.808 | 1.649 | 97.267 | 28.298 | 889.2 | 16.971 | 1.2655
2020-08-24 12:45:00 | 4.108 | 302.973 | 4.686 | 312.654 | 4.844 | 246.301 | 5.146 | 268.2 | 28.048 | 889.267 | 16.441 | 1.3543
2020-08-24 13:00:00 | 2.734 | 316.36 | 2.747 | 304.423 | 2.958 | 307.933 | 3.208 | 294.667 | 27.46 | 889.633 | 16.868 | 3.6012
2020-08-24 13:15:00 | 4.381 | 295.46 | 4.839 | 298.409 | 4.957 | 306.067 | 5.048 | 304.467 | 28.202 | 889.367 | 16.707 | 3.604
2020-08-24 13:30:00 | 4.74 | 320.52 | 4.782 | 314.997 | 4.925 | 318.3 | 5.479 | 315.933 | 28.206 | 889.633 | 16.528 | 3.3745
2020-08-24 13:45:00 | 1.531 | 209.28 | 1.443 | 285.178 | 1.746 | 214.3 | 2.34 | 283.433 | 28.977 | 889.5 | 16.203 | 2.2504
2020-08-24 14:00:00 | 5.539 | 324.907 | 5.465 | 315.205 | 5.768 | 317.967 | 5.848 | 310.5 | 28.531 | 889.4 | 16.568 | 5.5488
2020-08-24 14:15:00 | 2.814 | 244.34 | 2.977 | 249.647 | 3.036 | 256.3 | 3.226 | 260.8 | 29.281 | 889.4 | 16.047 | 11.6419
2020-08-24 14:30:00 | 5.085 | 173.951 | 5.004 | 174.12 | 5.243 | 188.733 | 5.458 | 216.569 | 29.498 | 889.7 | 15.313 | 5.303
2020-08-24 14:45:00 | 4.883 | 325.067 | 4.85 | 321.184 | 5.192 | 310.4 | 5.709 | 324.4 | 29.281 | 889.233 | 15.684 | 9.7056
2020-08-24 15:00:00 | 4.372 | 290.033 | 4.637 | 286.157 | 4.7 | 286.017 | 5.014 | 278.967 | 29.598 | 889.8 | 15.548 | 16.7196
2020-08-24 15:15:00 | 6.764 | 324.533 | 7.26 | 315.682 | 7.509 | 321.467 | 7.657 | 316.867 | 30.406 | 889.667 | 14.701 | 5.0351
2020-08-24 15:30:00 | 7.023 | 319.24 | 7.611 | 314.759 | 7.92 | 319.8 | 8.094 | 317.667 | 30.01 | 889.833 | 14.993 | 13.9903
2020-08-24 15:45:00 | 6.397 | 266.374 | 6.61 | 300.213 | 6.831 | 316.567 | 7.081 | 325.867 | 29.598 | 889.033 | 15.616 | 17.2433
2020-08-24 16:00:00 | 4.895 | 321.34 | 5.198 | 316.384 | 5.704 | 324.4 | 5.831 | 321.7 | 29.918 | 889.367 | 15.655 | 15.2665
2020-08-24 16:15:00 | 2.681 | 233.435 | 3.02 | 288.797 | 3.18 | 246.2 | 3.751 | 263.134 | 30.36 | 889.567 | 15.213 | 7.4887
2020-08-24 16:30:00 | 2.82 | 121.773 | 2.767 | 116.95 | 2.646 | 112.3 | 2.897 | 96.4 | 29.998 | 889.667 | 15.411 | 3.2075
2020-08-24 16:45:00 | 6.818 | 313.373 | 7.222 | 310.526 | 7.643 | 317.567 | 7.732 | 315.633 | 30.714 | 889.433 | 14.848 | 10.8234
2020-08-24 17:00:00 | 4.238 | 302.013 | 4.487 | 297.57 | 4.384 | 286.283 | 4.878 | 281.733 | 30.106 | 889.5 | 15.453 | 30.9587
2020-08-24 17:15:00 | 11.125 | 322.68 | 11.737 | 313.946 | 12.098 | 316.6 | 11.986 | 314.133 | 30.685 | 889.433 | 14.867 | 23.0103
2020-08-24 17:30:00 | 10.776 | 298.56 | 11.255 | 291.358 | 11.423 | 293.1 | 11.297 | 290.967 | 31.166 | 889.533 | 14.009 | 56.959
2020-08-24 17:45:00 | 9.314 | 303.373 | 9.938 | 296.414 | 10.31 | 300.2 | 10.88 | 296.867 | 31.063 | 889.6 | 13.961 | 51.3555
2020-08-24 18:00:00 | 7.265 | 297.64 | 7.875 | 289.811 | 8.14 | 291.567 | 8.532 | 290.967 | 30.714 | 889.867 | 14.724 | 51.7996
2020-08-24 18:15:00 | 8.235 | 306.053 | 8.962 | 299.707 | 9.167 | 305.733 | 9.465 | 302.3 | 30.864 | 889.4 | 14.209 | 40.2117
2020-08-24 18:30:00 | 8.764 | 305.133 | 9.556 | 297.439 | 9.788 | 302.767 | 10.329 | 299.433 | 30.76 | 889.433 | 14.637 | 57.0343
2020-08-24 18:45:00 | 9.229 | 292.96 | 9.459 | 289.624 | 9.619 | 294.3 | 9.871 | 292.633 | 30.564 | 889.533 | 14.079 | 54.6802
2020-08-24 19:00:00 | 9.412 | 297.12 | 9.918 | 290.743 | 9.848 | 295.333 | 10.279 | 294.567 | 30.348 | 889.667 | 13.829 | 54.4386
2020-08-24 19:15:00 | 8.896 | 313.667 | 9.503 | 306.702 | 9.802 | 308.067 | 10.25 | 304.267 | 30.614 | 889.7 | 14.219 | 59.0268
2020-08-24 19:30:00 | 6.855 | 304.453 | 7.402 | 297.701 | 7.436 | 303.833 | 7.797 | 299.533 | 30.081 | 889.867 | 14.608 | 49.1264
2020-08-24 19:45:00 | 6.158 | 308.333 | 6.548 | 303.189 | 6.818 | 307.3 | 7.172 | 302.033 | 30.068 | 889.8 | 14.119 | 39.6212
2020-08-24 20:00:00 | 7.899 | 293.147 | 8.73 | 287.519 | 9.307 | 292.533 | 9.713 | 290.767 | 29.998 | 889.267 | 14.477 | 39.4627
2020-08-24 20:15:00 | 7.187 | 289.56 | 7.722 | 284.501 | 8.151 | 287.033 | 8.639 | 285.3 | 29.614 | 889.5 | 15.036 | 42.0158
2020-08-24 20:30:00 | 5.447 | 298.747 | 6.562 | 293.586 | 6.737 | 297.833 | 7.274 | 295.5 | 29.514 | 889.7 | 15.501 | 31.5826
2020-08-24 20:45:00 | 6.356 | 296.933 | 7.114 | 294.073 | 7.126 | 298.133 | 7.57 | 294.333 | 29.048 | 889.8 | 16.12 | 28.2315
2020-08-24 21:00:00 | 5.652 | 296.053 | 6.718 | 290.522 | 7.049 | 296.667 | 7.605 | 293.167 | 28.339 | 889.467 | 16.911 | 27.2055
2020-08-24 21:15:00 | 4.423 | 284.44 | 5.641 | 282.489 | 5.849 | 287.367 | 6.252 | 284.233 | 28.194 | 889.767 | 17.361 | 20.1026
2020-08-24 21:30:00 | 4.122 | 280.213 | 5.024 | 280.774 | 5.134 | 286.567 | 5.444 | 284.767 | 27.464 | 889.5 | 17.869 | 14.055
2020-08-24 21:45:00 | 4.066 | 271.427 | 4.845 | 271.188 | 4.984 | 275.867 | 5.238 | 272.1 | 26.798 | 889.267 | 18.335 | 14.7407
2020-08-24 22:00:00 | 4.604 | 276.36 | 5.868 | 275.811 | 6.223 | 281.633 | 6.785 | 279.067 | 27.227 | 889.467 | 18.463 | 17.136
2020-08-24 22:15:00 | 3.504 | 263.507 | 4.445 | 269.996 | 4.975 | 277.2 | 5.6 | 275.2 | 26.264 | 889.133 | 18.785 | 11.8416
2020-08-24 22:30:00 | 4.405 | 268.427 | 5.747 | 269.246 | 6.051 | 275.333 | 6.382 | 272.233 | 25.723 | 889.733 | 19.411 | 13.8887
2020-08-24 22:45:00 | 4.288 | 259.133 | 5.157 | 263.876 | 5.781 | 270.767 | 6.181 | 269.033 | 25.927 | 889.2 | 19.459 | 17.6817
2020-08-24 23:00:00 | 5.222 | 250.54 | 5.661 | 254.468 | 6.024 | 260.867 | 6.158 | 259.8 | 25.473 | 889.367 | 19.997 | 18.0363
2020-08-24 23:15:00 | 4.786 | 237.233 | 5.534 | 246.666 | 5.661 | 255.9 | 5.888 | 256.433 | 25.173 | 889.383 | 20.331 | 15.577
2020-08-24 23:30:00 | 4.668 | 249.84 | 5.113 | 257.602 | 5.552 | 268.7 | 6.015 | 266.9 | 25.106 | 889.367 | 20.997 | 14.7705
2020-08-24 23:45:00 | 4.35 | 254.067 | 4.951 | 266.196 | 5.4 | 276.033 | 5.774 | 275.767 | 24.456 | 889.9 | 21.32 | 12.6872