## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-25 00:00:00 | 4.803 | 253.013 | 5.436 | 265.823 | 6.049 | 276.867 | 6.461 | 279.067 | 24.206 | 889.2 | 22.051 | 13.6258
2020-08-25 00:15:00 | 5.652 | 245.047 | 6.52 | 253.7 | 6.409 | 262.533 | 6.592 | 263.333 | 23.681 | 889.75 | 22.501 | 20.1048
2020-08-25 00:30:00 | 5.41 | 247.733 | 6.214 | 258.704 | 6.448 | 266.4 | 6.683 | 265.8 | 23.098 | 889.7 | 22.845 | 19.8632
2020-08-25 00:45:00 | 4.903 | 251.08 | 5.902 | 262.598 | 6.085 | 272.267 | 6.399 | 272 | 23.164 | 889.867 | 23.059 | 19.3338
2020-08-25 01:00:00 | 5.248 | 254.54 | 5.896 | 265.538 | 6.036 | 275.667 | 6.465 | 274.733 | 23.148 | 889.417 | 23.165 | 16.375
2020-08-25 01:15:00 | 5.764 | 244.22 | 6.07 | 253.36 | 6.029 | 261.667 | 6.179 | 261.65 | 23.248 | 889.4 | 23.488 | 17.7031
2020-08-25 01:30:00 | 5.583 | 229.3 | 6.294 | 243.118 | 6.044 | 257.067 | 6.3 | 260.717 | 21.885 | 890.117 | 24.677 | 16.6521
2020-08-25 01:45:00 | 5.962 | 234.307 | 6.916 | 242.684 | 6.555 | 253.4 | 6.696 | 254.083 | 21.527 | 889.85 | 25.301 | 18.0896
2020-08-25 02:00:00 | 5.398 | 229.673 | 6.24 | 241.243 | 6.138 | 254.333 | 6.163 | 253.15 | 21.46 | 889.767 | 25.429 | 19.3445
2020-08-25 02:15:00 | 5.291 | 232.087 | 6.411 | 237.45 | 6.365 | 248.2 | 6.074 | 248.167 | 21.556 | 889.883 | 25.947 | 18.4072
2020-08-25 02:30:00 | 4.68 | 237.38 | 5.734 | 249.962 | 5.702 | 261 | 5.924 | 261.733 | 21.289 | 889.333 | 26.085 | 16.3118
2020-08-25 02:45:00 | 4.508 | 233.68 | 5.034 | 246.326 | 4.706 | 259.433 | 4.76 | 261.567 | 21.302 | 889.967 | 26.496 | 11.9659
2020-08-25 03:00:00 | 3.63 | 238.94 | 4.416 | 250.775 | 3.838 | 266.8 | 3.896 | 277.667 | 20.844 | 889.917 | 26.941 | 7.225
2020-08-25 03:15:00 | 3.292 | 239.287 | 3.063 | 264.807 | 3.006 | 289.133 | 3.694 | 296.233 | 20.564 | 889.783 | 27.344 | 3.2722
2020-08-25 03:30:00 | 4.899 | 225.493 | 4.511 | 236.278 | 3.742 | 247.167 | 3.391 | 267.8 | 20.548 | 889.65 | 27.344 | 3.6573
2020-08-25 03:45:00 | 5.511 | 227.513 | 4.946 | 234.516 | 3.952 | 250.4 | 4.068 | 264.467 | 20.403 | 889.167 | 27.568 | 2.9986
2020-08-25 04:00:00 | 5.699 | 227.08 | 5.189 | 236.314 | 4.579 | 251.167 | 4.303 | 262.633 | 20.264 | 890.05 | 27.547 | 4.5661
2020-08-25 04:15:00 | 5.362 | 227.52 | 5.39 | 239.165 | 4.667 | 251.167 | 4.309 | 257.033 | 19.627 | 889.417 | 28.256 | 4.9214
2020-08-25 04:30:00 | 5.368 | 226.76 | 4.913 | 236.588 | 4.157 | 249.133 | 4.153 | 254.367 | 19.489 | 889.783 | 28.661 | 4.7672
2020-08-25 04:45:00 | 4.811 | 223.48 | 4.161 | 239.006 | 3.633 | 253.7 | 3.534 | 260.833 | 19.548 | 890.033 | 28.843 | 3.0377
2020-08-25 05:00:00 | 4.913 | 224.627 | 4.172 | 237.237 | 3.458 | 252.033 | 3.441 | 259.4 | 19.048 | 889.717 | 29.136 | 2.04
2020-08-25 05:15:00 | 5.286 | 229.047 | 4.702 | 237.91 | 3.971 | 248.567 | 3.69 | 254.217 | 18.889 | 889.983 | 29.488 | 2.5431
2020-08-25 05:30:00 | 5.505 | 226.213 | 4.389 | 235.717 | 3.817 | 248.167 | 3.53 | 251.133 | 19.514 | 890 | 29.296 | 2.3015
2020-08-25 05:45:00 | 5.119 | 221.68 | 4.217 | 229.51 | 3.376 | 242.367 | 3.219 | 247.867 | 19.085 | 889.883 | 29.627 | 1.5746
2020-08-25 06:00:00 | 5.105 | 220.727 | 4.04 | 223.587 | 2.994 | 234.333 | 2.538 | 239.367 | 18.594 | 889.667 | 29.776 | 1.3636
2020-08-25 06:15:00 | 5.556 | 222.533 | 4.788 | 221.637 | 3.655 | 232.133 | 3.02 | 237.367 | 19.077 | 889.6 | 29.925 | 1.4005
2020-08-25 06:30:00 | 5.256 | 217.767 | 4.231 | 221.464 | 3.211 | 231.033 | 2.546 | 239.933 | 18.539 | 890.083 | 30.384 | 0.52511
2020-08-25 06:45:00 | 4.765 | 215.773 | 4.804 | 218.526 | 3.787 | 226.167 | 3.044 | 227 | 17.273 | 889.45 | 31.915 | 0.91166
2020-08-25 07:00:00 | 5.326 | 222.48 | 4.087 | 225.035 | 2.956 | 238.167 | 2.58 | 246.867 | 17.735 | 889.767 | 31.717 | 1.5974
2020-08-25 07:15:00 | 5.94 | 220.88 | 5.144 | 221.828 | 3.789 | 231.367 | 3.239 | 235 | 18.414 | 889.333 | 31.077 | 3.3496
2020-08-25 07:30:00 | 5.373 | 221.967 | 4.491 | 227.782 | 3.699 | 237.233 | 3.289 | 235.1 | 18.489 | 889.733 | 30.299 | 2.423
2020-08-25 07:45:00 | 5.04 | 221.36 | 4.278 | 227.588 | 3.328 | 235.2 | 3.091 | 238.4 | 19.235 | 889.467 | 29.163 | 2.0386
2020-08-25 08:00:00 | 4.937 | 222.073 | 4.66 | 228.252 | 3.796 | 237.067 | 3.394 | 240.167 | 20.285 | 890 | 28.128 | 2.7804
2020-08-25 08:15:00 | 4.028 | 219.96 | 4.721 | 227.112 | 3.962 | 234.367 | 3.293 | 233.3 | 21.568 | 890.267 | 26.603 | 2.9005
2020-08-25 08:30:00 | 3.672 | 219.793 | 4.276 | 222.889 | 4.152 | 228.333 | 3.69 | 227.6 | 23.248 | 889.783 | 24.581 | 3.0384
2020-08-25 08:45:00 | 2.762 | 221.9 | 2.679 | 219.852 | 2.684 | 224.9 | 2.949 | 226.233 | 23.635 | 889.817 | 23.365 | 0.71341
2020-08-25 09:00:00 | 3.434 | 228.68 | 3.372 | 223.915 | 3.356 | 226.333 | 3.613 | 221.467 | 24.589 | 889.75 | 22.491 | 1.2975
2020-08-25 09:15:00 | 3.641 | 235.493 | 3.695 | 230.568 | 3.738 | 235.533 | 3.8 | 233.967 | 24.702 | 889.517 | 21.92 | 1.3614
2020-08-25 09:30:00 | 3.805 | 243.527 | 3.712 | 242.329 | 3.584 | 250 | 3.736 | 247.483 | 26.073 | 889.7 | 20.477 | 1.8688
2020-08-25 09:45:00 | 2.916 | 270.2 | 3.063 | 262.808 | 3.076 | 265.083 | 3.411 | 259.4 | 26.452 | 889.433 | 19.711 | 1.3458
2020-08-25 10:00:00 | 3.68 | 272.633 | 3.599 | 269.582 | 3.548 | 273.833 | 3.713 | 271.217 | 26.61 | 889.467 | 19.86 | 1.3543
2020-08-25 10:15:00 | 3.627 | 282.253 | 3.583 | 278.328 | 3.618 | 282.133 | 3.893 | 282.533 | 26.023 | 889.7 | 20.169 | 2.5936
2020-08-25 10:30:00 | 3.514 | 285.84 | 3.532 | 277.843 | 3.59 | 279.067 | 3.831 | 274.7 | 26.418 | 889.3 | 19.963 | 2.0564
2020-08-25 10:45:00 | 2.379 | 281.053 | 2.543 | 275.187 | 2.671 | 276.05 | 3.01 | 276.05 | 26.877 | 889.433 | 19.375 | 1.5732
2020-08-25 11:00:00 | 2.838 | 313.16 | 2.766 | 309.912 | 2.518 | 308.333 | 3.367 | 295.567 | 27.51 | 889.4 | 19.065 | 2.6462
2020-08-25 11:15:00 | 2.492 | 294.06 | 2.527 | 289.566 | 2.535 | 296.783 | 3.009 | 299.767 | 27.456 | 889.4 | 18.923 | 3.3866
2020-08-25 11:30:00 | 4.403 | 310.347 | 4.431 | 301.564 | 4.389 | 306.2 | 4.742 | 304.4 | 28.081 | 889.533 | 18.045 | 5.9766
2020-08-25 11:45:00 | 4.059 | 270.12 | 4.273 | 272.71 | 4.377 | 275.033 | 4.563 | 270.017 | 29.514 | 889.067 | 17.005 | 6.7433
2020-08-25 12:00:00 | 3.708 | 296.947 | 3.624 | 299.388 | 3.682 | 305.867 | 4.304 | 311.933 | 28.706 | 889.333 | 16.897 | 7.2009
2020-08-25 12:15:00 | 4.371 | 291.22 | 4.747 | 301.889 | 4.502 | 305.1 | 4.996 | 302.767 | 29.081 | 889.2 | 17.169 | 9.7945
2020-08-25 12:30:00 | 4.018 | 326.907 | 4.086 | 320.447 | 4.137 | 311.567 | 4.486 | 320.267 | 28.46 | 889.367 | 17.508 | 6.9955
2020-08-25 12:45:00 | 4.52 | 292.78 | 4.741 | 289.156 | 4.646 | 290.233 | 4.67 | 282.35 | 29.398 | 889.433 | 16.985 | 3.9202
2020-08-25 13:00:00 | 2.246 | 245.227 | 2.208 | 228.342 | 2.056 | 233.917 | 2.691 | 232.067 | 30.602 | 889.6 | 15.932 | 3.6964
2020-08-25 13:15:00 | 4.261 | 304.84 | 4.707 | 295.385 | 5.021 | 301.567 | 5.448 | 298.6 | 30.435 | 889.167 | 15.605 | 3.172
2020-08-25 13:30:00 | 5.586 | 259.78 | 5.936 | 256.509 | 6.207 | 257.817 | 6.252 | 252.933 | 30.702 | 889.3 | 15.771 | 7.8376
2020-08-25 13:45:00 | 5.209 | 269.253 | 5.634 | 260.119 | 5.943 | 266.4 | 6.42 | 266.35 | 31.322 | 889.5 | 15.535 | 9.8037
2020-08-25 14:00:00 | 2.844 | 207.46 | 2.496 | 216.879 | 2.382 | 243.55 | 3.012 | 249.767 | 31.206 | 889.033 | 15.609 | 10.1263
2020-08-25 14:15:00 | 3.859 | 289.213 | 4.156 | 275.768 | 4.23 | 283.833 | 4.964 | 283.117 | 31.318 | 889.5 | 15.007 | 9.1208
2020-08-25 14:30:00 | 4.761 | 274.793 | 5.162 | 264.96 | 5.215 | 267.75 | 5.455 | 261.2 | 31.847 | 889.4 | 14.975 | 11.6803
2020-08-25 14:45:00 | 5.856 | 274.587 | 6.356 | 270.042 | 6.811 | 274.65 | 7.52 | 271.717 | 32.675 | 889.633 | 14.973 | 25.3573
2020-08-25 15:00:00 | 5.891 | 271.933 | 6.423 | 271.722 | 6.885 | 271.183 | 6.938 | 270.55 | 32.641 | 889.533 | 15.403 | 16.1711
2020-08-25 15:15:00 | 4.988 | 316.307 | 5.251 | 305.919 | 5.465 | 308.7 | 5.424 | 301.933 | 32.433 | 889.433 | 15.297 | 10.0538
2020-08-25 15:30:00 | 4.57 | 270.62 | 4.543 | 265.295 | 4.77 | 265.05 | 5.146 | 258.683 | 32.896 | 889.567 | 15.115 | 22.213
2020-08-25 15:45:00 | 6.715 | 302.427 | 6.996 | 297.592 | 7.136 | 303.5 | 7.69 | 301.5 | 32.758 | 888.967 | 15.593 | 22.2727
2020-08-25 16:00:00 | 4.718 | 319.307 | 4.893 | 311.179 | 4.716 | 314.8 | 5.054 | 311.3 | 32.399 | 889 | 15.573 | 17.1801
2020-08-25 16:15:00 | 7.231 | 321.8 | 7.746 | 311.204 | 8.192 | 313.533 | 8.283 | 310 | 32.151 | 889.433 | 15.844 | 22.3622
2020-08-25 16:30:00 | 6.814 | 319.04 | 6.917 | 309.884 | 6.954 | 314.367 | 7.278 | 313.1 | 32.156 | 889.7 | 15.753 | 19.9676
2020-08-25 16:45:00 | 7.86 | 329.733 | 7.884 | 323.456 | 8.305 | 325.233 | 8.689 | 322.9 | 32.78 | 889.633 | 15.395 | 26.669
2020-08-25 17:00:00 | 5.517 | 319.027 | 5.616 | 312.891 | 5.949 | 307.7 | 6.526 | 317.6 | 32.713 | 889.533 | 15.397 | 20.9475
2020-08-25 17:15:00 | 7.314 | 322.453 | 7.637 | 316.393 | 7.816 | 319.067 | 8.344 | 314.6 | 33.013 | 889.633 | 14.757 | 12.4264
2020-08-25 17:30:00 | 4.685 | 101.792 | 4.824 | 174.638 | 5.203 | 142.534 | 5.366 | 179.3 | 33.18 | 889.533 | 14.56 | 21.6382
2020-08-25 17:45:00 | 4.028 | 301.28 | 4.251 | 294.018 | 4.199 | 299.3 | 4.713 | 298.167 | 32.863 | 889.767 | 14.284 | 13.4951
2020-08-25 18:00:00 | 4.867 | 304.107 | 5.221 | 298.616 | 5.258 | 299.333 | 5.461 | 296 | 33.446 | 889.233 | 14.356 | 10.424
2020-08-25 18:15:00 | 7.08 | 303.04 | 7.219 | 296.012 | 7.399 | 300.033 | 7.577 | 296.567 | 33.346 | 889.067 | 13.781 | 14.8011
2020-08-25 18:30:00 | 5.873 | 290.547 | 6.305 | 285.054 | 6.163 | 291 | 6.395 | 287.767 | 32.996 | 889.433 | 14.211 | 19.4916
2020-08-25 18:45:00 | 4.275 | 310.747 | 4.566 | 305.463 | 4.819 | 308.267 | 4.855 | 304.867 | 33.196 | 890.2 | 13.811 | 16.321
2020-08-25 19:00:00 | 5.969 | 302.453 | 6.202 | 295.627 | 6.489 | 298.633 | 6.79 | 295.5 | 32.713 | 889.567 | 13.775 | 26.5588
2020-08-25 19:15:00 | 7.856 | 282.04 | 8.224 | 276.813 | 8.41 | 281.333 | 8.798 | 281.567 | 33.013 | 889.3 | 13.585 | 22.2905
2020-08-25 19:30:00 | 4.188 | 307.32 | 4.365 | 304.494 | 4.304 | 309.267 | 4.754 | 307.567 | 32.526 | 889.7 | 13.677 | 21.0974
2020-08-25 19:45:00 | 5.508 | 308.333 | 5.255 | 304.713 | 5.544 | 311.433 | 5.865 | 308.233 | 32.411 | 889.433 | 13.971 | 16.5583
2020-08-25 20:00:00 | 4.738 | 308.133 | 5.026 | 302.659 | 5.264 | 308.2 | 5.626 | 306.1 | 32.294 | 889.267 | 14.244 | 8.4927
2020-08-25 20:15:00 | 3.992 | 327.52 | 4.746 | 319.092 | 4.943 | 322.1 | 5.213 | 321.067 | 31.743 | 889.333 | 14.663 | 7.3167
2020-08-25 20:30:00 | 3.598 | 324.333 | 4.181 | 318.558 | 4.323 | 322.033 | 4.747 | 321.833 | 31.159 | 889.733 | 15.332 | 7.5839
2020-08-25 20:45:00 | 2.718 | 335.48 | 3.49 | 329.963 | 3.627 | 333.367 | 4.118 | 331.967 | 30.602 | 889.7 | 15.587 | 5.4529
2020-08-25 21:00:00 | 2.283 | 332.133 | 3.432 | 332.482 | 3.756 | 336.6 | 4.181 | 333.1 | 30.248 | 889.533 | 15.997 | 4.6407
2020-08-25 21:15:00 | 1.942 | 317.067 | 3.642 | 324.155 | 3.815 | 323.9 | 4.303 | 319.4 | 29.448 | 889.3 | 16.507 | 3.6942
2020-08-25 21:30:00 | 2.571 | 275.533 | 2.998 | 304.433 | 3.314 | 315 | 3.851 | 318.9 | 28.694 | 889.4 | 17.131 | 2.8728
2020-08-25 21:45:00 | 3.267 | 286.933 | 4.591 | 301.687 | 5.198 | 308.733 | 5.709 | 307.233 | 28.931 | 889.467 | 17.035 | 6.6914
2020-08-25 22:00:00 | 5.373 | 304.16 | 6.642 | 305.396 | 7.086 | 311.633 | 7.494 | 310.333 | 29.181 | 889.667 | 16.952 | 18.0406
2020-08-25 22:15:00 | 8.544 | 306.253 | 9.78 | 303.624 | 10.253 | 308.667 | 10.554 | 307.533 | 27.502 | 889.283 | 23.36 | 69.9169
2020-08-25 22:30:00 | 9.257 | 306.453 | 10.122 | 300.302 | 10.638 | 304.567 | 11.113 | 302 | 26.535 | 889.9 | 26.048 | 70.0974
2020-08-25 22:45:00 | 7.238 | 312.107 | 8.258 | 308.128 | 8.649 | 314.133 | 9.098 | 313.067 | 25.568 | 889.65 | 26.635 | 54.0365
2020-08-25 23:00:00 | 6.94 | 319.24 | 7.932 | 312.931 | 8.447 | 318.067 | 8.881 | 316.9 | 25.164 | 889.383 | 27.072 | 37.6849
2020-08-25 23:15:00 | 6.918 | 303.64 | 7.792 | 302.161 | 8.088 | 306.5 | 8.53 | 304.733 | 24.827 | 889.6 | 28.133 | 35.7316
2020-08-25 23:30:00 | 5.528 | 309.573 | 6.399 | 303.426 | 6.641 | 305.5 | 7.193 | 303.5 | 24.056 | 889.85 | 30.768 | 31.8185
2020-08-25 23:45:00 | 5.62 | 90.057 | 6.272 | 167.667 | 6.296 | 33.4 | 6.35 | 27.734 | 23.064 | 889.583 | 34.592 | 33.7938