## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-26 00:00:00 | 2.565 | 253.2 | 3.14 | 322.157 | 3.359 | 301.033 | 3.846 | 307.967 | 21.927 | 890.033 | 36.141 | 6.847
2020-08-26 00:15:00 | 1.046 | 216.333 | 1.293 | 230.257 | 2.165 | 242.433 | 2.711 | 243.883 | 21.923 | 889.733 | 36.869 | 0.18333
2020-08-26 00:30:00 | 3.119 | 255.9 | 3.611 | 261.974 | 4.064 | 266.5 | 4.306 | 261.65 | 22.448 | 889.783 | 37.624 | 0.23093
2020-08-26 00:45:00 | 6.806 | 276.8 | 8.078 | 271.963 | 8.654 | 278.3 | 9.007 | 275.6 | 21.973 | 889.683 | 38.208 | 15.8812
2020-08-26 01:00:00 | 6.644 | 263.793 | 7.527 | 261.625 | 7.835 | 266.633 | 7.895 | 262.55 | 21.431 | 889.8 | 38.723 | 45.7747
2020-08-26 01:15:00 | 7.054 | 267.96 | 7.847 | 263.932 | 8.205 | 271 | 8.418 | 266.533 | 20.994 | 889.5 | 38.933 | 40.9357
2020-08-26 01:30:00 | 10.214 | 285.64 | 11.724 | 280.73 | 12.365 | 285.267 | 12.605 | 283.467 | 20.768 | 889.467 | 39.507 | 75.465
2020-08-26 01:45:00 | 12.133 | 278.093 | 13.612 | 272.238 | 14.217 | 276.367 | 14.392 | 275.3 | 20.518 | 889.633 | 41.085 | 87.0593
2020-08-26 02:00:00 | 14.045 | 288.587 | 15.828 | 281.224 | 16.322 | 284.7 | 16.818 | 286.367 | 19.677 | 889.933 | 43.813 | 87.0643
2020-08-26 02:15:00 | 11.549 | 301.28 | 12.738 | 296.153 | 13.2 | 299.9 | 13.837 | 300.267 | 19.581 | 889.808 | 46.539 | 84.8992
2020-08-26 02:30:00 | 7.709 | 309.267 | 8.209 | 305.364 | 8.451 | 309.5 | 8.917 | 308.1 | 19.314 | 889.992 | 48.181 | 63.2454
2020-08-26 02:45:00 | 9.119 | 306.947 | 10.16 | 303.293 | 10.629 | 308.567 | 11.129 | 305.7 | 19.531 | 889.733 | 47.541 | 60.067
2020-08-26 03:00:00 | 8.702 | 295.64 | 9.484 | 290.056 | 9.808 | 292.133 | 10.354 | 289.933 | 19.848 | 889.508 | 47.403 | 63.7073
2020-08-26 03:15:00 | 5.646 | 283.053 | 6.405 | 278.093 | 6.82 | 281.367 | 7.31 | 278.333 | 19.623 | 889.942 | 48.123 | 36.85
2020-08-26 03:30:00 | 4.874 | 285.04 | 5.543 | 280.204 | 5.862 | 283.567 | 6.247 | 279.533 | 19.423 | 889.792 | 47.472 | 14.7862
2020-08-26 03:45:00 | 4.244 | 301.32 | 4.842 | 296.582 | 5.271 | 299.267 | 5.728 | 295.367 | 19.606 | 889.325 | 46.053 | 21.3838
2020-08-26 04:00:00 | 10.432 | 279.387 | 12.44 | 273.67 | 12.932 | 277.333 | 13.518 | 273.833 | 19.473 | 889.842 | 49.611 | 71.6443
2020-08-26 04:15:00 | 13.083 | 284.36 | 14.392 | 276.478 | 15.332 | 279.4 | 15.448 | 276.667 | 19.244 | 889.775 | 52.277 | 78.0948
2020-08-26 04:30:00 | 11.855 | 285.8 | 13.698 | 279.557 | 13.789 | 283.567 | 13.952 | 279.967 | 18.773 | 890.15 | 52.512 | 60.7741
2020-08-26 04:45:00 | 12.982 | 285.04 | 14.315 | 277.353 | 14.537 | 280.867 | 14.754 | 277.533 | 18.931 | 889.708 | 52.011 | 60.0152
2020-08-26 05:00:00 | 12.492 | 282.107 | 14.256 | 275.416 | 14.934 | 279.067 | 15.269 | 276.6 | 18.156 | 889.825 | 60.293 | 63.2951
2020-08-26 05:15:00 | 10.954 | 290.347 | 13.437 | 285.99 | 14.452 | 290.533 | 15.19 | 288.533 | 17.206 | 889.875 | 64.752 | 60.7371
2020-08-26 05:30:00 | 12.6 | 288.147 | 14.391 | 281.812 | 14.72 | 285.633 | 15.856 | 284.467 | 17.323 | 889.967 | 64.763 | 61.5202
2020-08-26 05:45:00 | 11.743 | 286.4 | 13.294 | 281.498 | 13.794 | 284 | 14.665 | 283.2 | 16.748 | 889.725 | 69.76 | 65.1469
2020-08-26 06:00:00 | 11.263 | 269.3 | 12.537 | 265.171 | 13.394 | 269.467 | 13.661 | 264.533 | 16.124 | 889.775 | 73.701 | 67.0604
2020-08-26 06:15:00 | 11.277 | 278.067 | 13.167 | 272.086 | 14.088 | 277.067 | 14.773 | 272.633 | 16.331 | 889.708 | 69.339 | 67.4669
2020-08-26 06:30:00 | 13.443 | 280.16 | 15.505 | 274.596 | 16.307 | 277.867 | 17.058 | 274.567 | 16.065 | 890.083 | 68.133 | 68.3785
2020-08-26 06:45:00 | 9.564 | 277.193 | 11.419 | 269.597 | 12.539 | 274.8 | 13.198 | 271.933 | 16.291 | 890.075 | 66.896 | 68.0922
2020-08-26 07:00:00 | 9.535 | 264.933 | 10.775 | 260.758 | 11.551 | 264.367 | 12.219 | 261.183 | 16.388 | 889.792 | 69.275 | 67.3603
2020-08-26 07:15:00 | 9.441 | 261.433 | 11.345 | 256.134 | 12.123 | 259.833 | 12.067 | 254.483 | 16.217 | 889.817 | 72.485 | 67.523
2020-08-26 07:30:00 | 9.839 | 256.913 | 11.317 | 253.896 | 12.012 | 258.767 | 12.103 | 254.25 | 15.996 | 889.825 | 69.152 | 72.0863
2020-08-26 07:45:00 | 9.644 | 257.273 | 10.952 | 253.746 | 11.757 | 257.767 | 11.741 | 253.317 | 16.129 | 889.992 | 67.387 | 71.5484
2020-08-26 08:00:00 | 9.363 | 247.287 | 10.629 | 244.454 | 11.493 | 248.9 | 11.63 | 244.2 | 16.431 | 889.575 | 65.888 | 69.6433
2020-08-26 08:15:00 | 8.613 | 260.04 | 10.206 | 255.346 | 11.108 | 259.5 | 11.612 | 254.65 | 16.564 | 890.267 | 63.584 | 59.2833
2020-08-26 08:30:00 | 10.429 | 268.74 | 11.846 | 264.156 | 12.573 | 266.633 | 12.887 | 261.85 | 16.898 | 890.117 | 60.603 | 55.8356
2020-08-26 08:45:00 | 11.196 | 273.827 | 12.774 | 266.327 | 13.176 | 269.033 | 13.186 | 264.5 | 16.881 | 889.742 | 60.421 | 56.8595
2020-08-26 09:00:00 | 11.18 | 282.787 | 12.711 | 277.474 | 13.22 | 281.667 | 13.751 | 278.967 | 16.931 | 889.617 | 62.395 | 55.2302
2020-08-26 09:15:00 | 11.342 | 278.427 | 12.529 | 271.159 | 12.973 | 276.367 | 13.118 | 272.6 | 16.814 | 889.783 | 62.997 | 53.8425
2020-08-26 09:30:00 | 12.663 | 282.573 | 13.872 | 281.075 | 14.274 | 283.7 | 14.983 | 280.733 | 16.343 | 889.775 | 64.805 | 52.7226
2020-08-26 09:45:00 | 12.403 | 286.947 | 14.101 | 279.782 | 14.618 | 284.267 | 15.246 | 281.033 | 16.698 | 889.942 | 63.541 | 48.2347
2020-08-26 10:00:00 | 11.387 | 287.187 | 12.578 | 283.294 | 13.055 | 287.033 | 13.413 | 285.3 | 16.731 | 890.458 | 63.552 | 44.4197
2020-08-26 10:15:00 | 11.829 | 290.693 | 12.966 | 285.266 | 13.5 | 289 | 13.987 | 285.867 | 16.481 | 889.9 | 61.728 | 44.2747
2020-08-26 10:30:00 | 12.315 | 277.16 | 13.566 | 272.822 | 14.06 | 277.6 | 14.536 | 273.933 | 16.564 | 890.367 | 60.432 | 44.4658
2020-08-26 10:45:00 | 9.527 | 277.013 | 10.568 | 269.997 | 10.913 | 274.433 | 10.825 | 271.5 | 16.564 | 890.158 | 58.448 | 44.3713
2020-08-26 11:00:00 | 11.041 | 289.093 | 11.975 | 282.666 | 12.343 | 285.167 | 12.667 | 282.9 | 17.498 | 889.633 | 51.616 | 43.6736
2020-08-26 11:15:00 | 11.952 | 288.693 | 12.995 | 283.142 | 13.358 | 286.2 | 13.722 | 283.333 | 17.752 | 889.975 | 49.723 | 42.8621
2020-08-26 11:30:00 | 12.671 | 288.253 | 13.779 | 285.23 | 14.054 | 287.733 | 14.358 | 286.3 | 17.694 | 889.525 | 45.205 | 42.5544
2020-08-26 11:45:00 | 12.94 | 283.747 | 14.154 | 275.831 | 14.668 | 279.133 | 14.945 | 275.433 | 17.494 | 889.825 | 47.856 | 42.5907
2020-08-26 12:00:00 | 10.875 | 273.4 | 11.467 | 266.466 | 11.932 | 269.5 | 12.092 | 264.967 | 17.231 | 889.967 | 49.264 | 42.4443
2020-08-26 12:15:00 | 12.389 | 279.447 | 13.841 | 274.065 | 14 | 277.2 | 14.033 | 274.867 | 18.098 | 889.692 | 44.88 | 42.224
2020-08-26 12:30:00 | 12.207 | 278.453 | 13.353 | 270.373 | 13.625 | 275.1 | 13.57 | 269.833 | 17.694 | 889.65 | 44.837 | 42.5565
2020-08-26 12:45:00 | 11.039 | 282.28 | 11.742 | 276.228 | 12.417 | 277.533 | 12.763 | 273.933 | 17.652 | 889.725 | 44.315 | 42.5615
2020-08-26 13:00:00 | 12.063 | 285.04 | 13.011 | 278.201 | 13.303 | 282.867 | 13.756 | 280.633 | 18.481 | 890.008 | 41.88 | 42.4734
2020-08-26 13:15:00 | 12.936 | 291.813 | 13.757 | 286.278 | 14.016 | 289.633 | 14.383 | 286.9 | 17.91 | 889.8 | 41.464 | 43.292
2020-08-26 13:30:00 | 13.273 | 280.467 | 14.295 | 272.951 | 14.517 | 275.833 | 14.504 | 273.433 | 17.573 | 890.108 | 44.245 | 43.1982
2020-08-26 13:45:00 | 13.484 | 268.427 | 14.88 | 263.894 | 15.05 | 268.633 | 14.973 | 264.05 | 17.802 | 890.208 | 44.379 | 43.1726
2020-08-26 14:00:00 | 12.017 | 288.48 | 12.901 | 280.035 | 13.306 | 280.7 | 13.813 | 278.267 | 17.381 | 890.042 | 44.037 | 42.7697
2020-08-26 14:15:00 | 11.959 | 293.387 | 13.117 | 287.12 | 13.48 | 288.033 | 13.774 | 286.333 | 17.444 | 889.683 | 42.603 | 42.7356
2020-08-26 14:30:00 | 10.094 | 280.64 | 10.874 | 272.972 | 11.177 | 275.6 | 11.34 | 272.733 | 17.252 | 890.333 | 43.723 | 42.8109
2020-08-26 14:45:00 | 10.02 | 287.173 | 10.901 | 280.885 | 11.105 | 283.5 | 11.347 | 278.1 | 17.731 | 889.883 | 42.875 | 43.4533
2020-08-26 15:00:00 | 10.493 | 285.24 | 11.17 | 276.963 | 11.5 | 281.167 | 12.124 | 277.833 | 18.273 | 889.6 | 42.064 | 46.5471
2020-08-26 15:15:00 | 12.073 | 303.88 | 13.554 | 296.661 | 13.869 | 300.8 | 14.262 | 296.867 | 18.635 | 889.925 | 40.68 | 44.1084
2020-08-26 15:30:00 | 11.84 | 287.253 | 12.842 | 282.25 | 13.084 | 283.6 | 13.46 | 282 | 19.014 | 890.25 | 39.424 | 43.6224
2020-08-26 15:45:00 | 12.733 | 288.267 | 14.136 | 282.686 | 14.562 | 286 | 14.926 | 282.3 | 18.556 | 889.85 | 38.312 | 43.8711
2020-08-26 16:00:00 | 13.511 | 288.547 | 14.759 | 284.293 | 15.352 | 287.933 | 15.511 | 285.233 | 19.177 | 889.833 | 34.691 | 43.9187
2020-08-26 16:15:00 | 13.074 | 297.987 | 14.362 | 293.277 | 14.909 | 295.933 | 15.858 | 294.7 | 19.168 | 889.767 | 34.309 | 43.9898
2020-08-26 16:30:00 | 13.879 | 299.333 | 15.032 | 293.265 | 15.13 | 296.633 | 15.678 | 294.967 | 19.248 | 889.433 | 33.205 | 44.0786
2020-08-26 16:45:00 | 13.731 | 292.133 | 15.148 | 286.423 | 15.31 | 289.133 | 15.568 | 287.567 | 18.689 | 889.417 | 33.16 | 46.1435
2020-08-26 17:00:00 | 14.418 | 293.587 | 15.712 | 287.491 | 16.008 | 291.2 | 16.003 | 288.367 | 19.01 | 889.483 | 34.325 | 45.9467
2020-08-26 17:15:00 | 13.575 | 288.413 | 15.026 | 280.993 | 15.434 | 283.467 | 15.626 | 277.833 | 19.194 | 889.7 | 32.912 | 47.9448
2020-08-26 17:30:00 | 11.676 | 288.867 | 12.971 | 279.62 | 13.685 | 284.1 | 14.479 | 281.8 | 19.077 | 889.617 | 32.776 | 49.3368
2020-08-26 17:45:00 | 11.887 | 297.8 | 13.125 | 292.967 | 13.741 | 297.267 | 14.056 | 297.533 | 19.348 | 889.717 | 29.587 | 56.5725
2020-08-26 18:00:00 | 14.872 | 294.133 | 16.15 | 288.609 | 16.639 | 293.933 | 16.993 | 292.233 | 19.468 | 889.6 | 30.003 | 59.8709
2020-08-26 18:15:00 | 11.805 | 302.853 | 12.537 | 294.865 | 13.176 | 298.267 | 14.137 | 294.6 | 19.318 | 889.75 | 29.331 | 54.2148
2020-08-26 18:30:00 | 13.5 | 293.827 | 14.717 | 286.197 | 15.627 | 289.633 | 16.19 | 288.367 | 19.394 | 889.85 | 29.712 | 49.4846
2020-08-26 18:45:00 | 12.16 | 288.133 | 13.271 | 282.27 | 13.692 | 286.433 | 13.975 | 284.3 | 18.994 | 889.833 | 30.811 | 53.3394
2020-08-26 19:00:00 | 12.645 | 291.32 | 13.952 | 284.202 | 14.407 | 287.633 | 14.848 | 285.7 | 19.218 | 889.617 | 31.36 | 62.1163
2020-08-26 19:15:00 | 12.026 | 288.507 | 13.339 | 280.619 | 13.947 | 284.133 | 14.282 | 281.233 | 19.014 | 889.75 | 31.416 | 63.8252
2020-08-26 19:30:00 | 12.5 | 291.133 | 13.98 | 281.433 | 14.486 | 284.6 | 14.961 | 283.267 | 18.673 | 890 | 32.869 | 67.6978
2020-08-26 19:45:00 | 10.37 | 292.867 | 11.806 | 286.194 | 12.457 | 290.5 | 12.833 | 289.433 | 18.623 | 889.683 | 32.067 | 69.0898
2020-08-26 20:00:00 | 9.968 | 281.56 | 10.826 | 274.362 | 11.256 | 280.067 | 11.327 | 277.333 | 18.414 | 889.283 | 33.083 | 69.3925
2020-08-26 20:15:00 | 9.961 | 280.32 | 10.963 | 275.54 | 11.173 | 279.733 | 11.842 | 277.267 | 17.694 | 890.017 | 35.088 | 68.154
2020-08-26 20:30:00 | 8.816 | 283.44 | 10.227 | 278.198 | 10.802 | 283.267 | 11.15 | 279.9 | 17.51 | 889.35 | 35.981 | 71.0858
2020-08-26 20:45:00 | 8.951 | 287.173 | 9.969 | 282.177 | 10.154 | 285.233 | 10.774 | 282.667 | 17.148 | 889.8 | 36.885 | 69.8189
2020-08-26 21:00:00 | 7.136 | 287.973 | 8.154 | 281.815 | 8.454 | 284.9 | 8.749 | 283 | 16.964 | 889.7 | 37.256 | 50.9725
2020-08-26 21:15:00 | 6.283 | 283.533 | 7.272 | 280.771 | 7.811 | 285.933 | 8.317 | 283.3 | 16.748 | 889.55 | 38.496 | 44.6229
2020-08-26 21:30:00 | 6.522 | 277 | 7.448 | 274.392 | 7.889 | 277.1 | 7.996 | 274.767 | 16.298 | 889.7 | 39.104 | 30.224
2020-08-26 21:45:00 | 6.153 | 273.24 | 7.252 | 269.918 | 7.735 | 275.367 | 8.055 | 271.133 | 16.288 | 889.533 | 38.248 | 39.5487
2020-08-26 22:00:00 | 6.252 | 276.987 | 7.797 | 272.7 | 8.301 | 277.933 | 8.732 | 276.033 | 15.925 | 889.517 | 38.437 | 45.6283
2020-08-26 22:15:00 | 6.242 | 274.64 | 7.401 | 273.316 | 8.004 | 277.733 | 8.313 | 274.433 | 15.749 | 889.833 | 39.144 | 37.9023
2020-08-26 22:30:00 | 6.453 | 275.193 | 7.853 | 269.989 | 8.621 | 275.533 | 9.055 | 272.8 | 15.459 | 890.317 | 38.837 | 42.5004
2020-08-26 22:45:00 | 6.875 | 275.373 | 7.954 | 270.238 | 8.404 | 275.533 | 8.572 | 272.467 | 15.526 | 889.883 | 38.976 | 43.3304
2020-08-26 23:00:00 | 5.741 | 265.253 | 6.808 | 264.296 | 7.375 | 271.133 | 7.974 | 265.833 | 14.908 | 890.117 | 39.744 | 30.2019
2020-08-26 23:15:00 | 4.642 | 264.68 | 6.136 | 264.398 | 6.803 | 270.833 | 7.394 | 268.667 | 14.841 | 889.633 | 40.427 | 26.5354
2020-08-26 23:30:00 | 5.587 | 255.033 | 6.635 | 256.51 | 7.128 | 264.433 | 7.304 | 261.45 | 14.391 | 890.1 | 41.781 | 29.3791
2020-08-26 23:45:00 | 5.918 | 254.42 | 6.936 | 255.248 | 7.496 | 262.1 | 7.868 | 258.517 | 14.108 | 890.05 | 42.672 | 32.517