## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-27 00:00:00 | 5.195 | 248.193 | 6.416 | 249.501 | 6.937 | 254.833 | 7.132 | 252.617 | 13.854 | 889.642 | 43.12 | 28.6088
2020-08-27 00:15:00 | 4.941 | 241.673 | 6.414 | 244.364 | 6.898 | 251.933 | 6.943 | 248.35 | 13.512 | 889.9 | 44.256 | 34.1243
2020-08-27 00:30:00 | 5.424 | 253.867 | 6.776 | 255.316 | 7.338 | 259.783 | 7.602 | 258.517 | 13.089 | 889.858 | 44.501 | 29.2789
2020-08-27 00:45:00 | 5.392 | 227.953 | 6.359 | 232.098 | 6.658 | 239.867 | 6.569 | 236.533 | 12.953 | 889.667 | 45.184 | 27.538
2020-08-27 01:00:00 | 5.387 | 227.467 | 6.596 | 229.208 | 6.906 | 235.8 | 6.782 | 233.167 | 12.386 | 889.708 | 46.101 | 28.4355
2020-08-27 01:15:00 | 5.092 | 234.613 | 6.438 | 235.59 | 7.001 | 243.833 | 6.856 | 240 | 12.511 | 889.533 | 46.496 | 32.3656
2020-08-27 01:30:00 | 5.524 | 239.267 | 6.543 | 240.593 | 7.18 | 247.433 | 6.958 | 243.267 | 12.52 | 889.667 | 46.784 | 29.173
2020-08-27 01:45:00 | 5.198 | 223.22 | 6.698 | 225.707 | 7.206 | 233.167 | 7.094 | 230.167 | 12.266 | 889.892 | 47.445 | 28.0091
2020-08-27 02:00:00 | 5.606 | 226.747 | 6.588 | 230.893 | 6.874 | 236.9 | 6.993 | 233.467 | 11.974 | 889.733 | 47.701 | 23.7216
2020-08-27 02:15:00 | 4.504 | 227.38 | 5.741 | 234.201 | 6.071 | 244.833 | 6.048 | 241.967 | 11.803 | 889.958 | 48.416 | 18.3937
2020-08-27 02:30:00 | 4.521 | 225.967 | 5.54 | 235.154 | 5.747 | 244.033 | 5.692 | 241.733 | 11.328 | 889.792 | 49.579 | 15.9124
2020-08-27 02:45:00 | 5.519 | 245.253 | 5.942 | 249.533 | 5.988 | 256.833 | 6.064 | 256.117 | 11.366 | 890.05 | 49.525 | 17.9041
2020-08-27 03:00:00 | 4.983 | 220.86 | 5.974 | 226.76 | 5.699 | 237.333 | 5.267 | 241.467 | 10.79 | 889.517 | 50.624 | 13.2862
2020-08-27 03:15:00 | 4.606 | 231.433 | 5.291 | 237.444 | 5.497 | 246.133 | 5.244 | 242.3 | 10.961 | 890.083 | 51.125 | 11.19
2020-08-27 03:30:00 | 5.047 | 233.307 | 6.524 | 237.284 | 6.421 | 245.267 | 6.125 | 241.6 | 10.358 | 889.733 | 52.117 | 17.4693
2020-08-27 03:45:00 | 5.617 | 231.6 | 7.068 | 233.324 | 7.047 | 240.733 | 6.681 | 236.867 | 10.364 | 889.85 | 52.427 | 20.7528
2020-08-27 04:00:00 | 4.094 | 216.96 | 5.817 | 226.636 | 6.181 | 237.8 | 5.871 | 234.2 | 10.26 | 890.142 | 52.469 | 17.9361
2020-08-27 04:15:00 | 5.467 | 235.447 | 6.477 | 239.085 | 6.489 | 247.467 | 6.157 | 244.3 | 10.168 | 889.758 | 52.715 | 21.2225
2020-08-27 04:30:00 | 4.633 | 224.053 | 5.679 | 233.055 | 5.341 | 242.9 | 4.802 | 241.333 | 10.174 | 889.867 | 52.672 | 11.0998
2020-08-27 04:45:00 | 4.515 | 226.067 | 4.743 | 238.06 | 4.268 | 250.733 | 3.9 | 256.2 | 9.633 | 889.967 | 53.323 | 6.4889
2020-08-27 05:00:00 | 5.185 | 221.227 | 6.044 | 230.077 | 5.539 | 238.333 | 4.778 | 240.733 | 9.433 | 889.967 | 54.165 | 8.2006
2020-08-27 05:15:00 | 5.263 | 225.347 | 6.362 | 230.614 | 6.106 | 237.967 | 5.468 | 234.567 | 8.941 | 889.792 | 54.773 | 10.699
2020-08-27 05:30:00 | 5.7 | 224.92 | 7.059 | 230.297 | 6.664 | 239.467 | 6.095 | 235.533 | 8.999 | 889.758 | 55.189 | 16.3501
2020-08-27 05:45:00 | 5.218 | 226.487 | 6.318 | 233.069 | 6.043 | 240.633 | 5.722 | 237.6 | 9.224 | 889.792 | 55.531 | 13.2357
2020-08-27 06:00:00 | 5.596 | 224.193 | 6.889 | 223.905 | 6.677 | 232.5 | 6.018 | 233.467 | 8.824 | 890.125 | 55.584 | 13.3345
2020-08-27 06:15:00 | 5.196 | 214.513 | 6.329 | 217.486 | 6.206 | 228.1 | 5.868 | 228.2 | 8.758 | 890.158 | 55.605 | 13.5235
2020-08-27 06:30:00 | 5.694 | 211.927 | 7.447 | 214.802 | 7.138 | 219.8 | 6.475 | 220.1 | 9.078 | 889.775 | 55.541 | 15.9835
2020-08-27 06:45:00 | 6.014 | 214.493 | 7.392 | 217.045 | 6.43 | 225.467 | 5.821 | 225.2 | 8.891 | 889.6 | 56.096 | 15.9309
2020-08-27 07:00:00 | 5.68 | 213.74 | 7.832 | 214.725 | 7.053 | 222.467 | 6.472 | 221 | 8.991 | 889.783 | 55.861 | 19.2251
2020-08-27 07:15:00 | 6.164 | 216.093 | 7.928 | 216.382 | 7.344 | 222.9 | 6.59 | 221 | 9.299 | 889.758 | 53.355 | 18.1585
2020-08-27 07:30:00 | 4.796 | 225.24 | 6.294 | 230.891 | 6.132 | 240.067 | 5.823 | 237.033 | 10.334 | 890.083 | 50.731 | 14.2433
2020-08-27 07:45:00 | 5.107 | 226.76 | 6.651 | 231.112 | 6.44 | 243.5 | 5.983 | 241.7 | 10.614 | 889.683 | 49.813 | 15.0924
2020-08-27 08:00:00 | 4.445 | 219.647 | 5.863 | 226.668 | 5.743 | 242.467 | 5.531 | 240.8 | 11.87 | 889.733 | 45.579 | 13.0524
2020-08-27 08:15:00 | 4.254 | 226.767 | 5.171 | 235.144 | 4.933 | 244.4 | 4.64 | 244.733 | 13.272 | 889.758 | 41.973 | 6.5543
2020-08-27 08:30:00 | 3.544 | 213.133 | 3.74 | 215.84 | 4.008 | 227.167 | 3.985 | 231.967 | 14.558 | 889.817 | 39.12 | 4.4908
2020-08-27 08:45:00 | 3.745 | 239.647 | 3.728 | 240.237 | 4.016 | 249.767 | 4.094 | 251.2 | 15.616 | 889.75 | 36.336 | 4.446
2020-08-27 09:00:00 | 3.91 | 270.84 | 4.041 | 267.31 | 4.22 | 273.533 | 4.472 | 272.233 | 15.839 | 889.583 | 35.096 | 6.0427
2020-08-27 09:15:00 | 4.076 | 250.84 | 4.076 | 250.911 | 4.424 | 254.7 | 4.429 | 252.867 | 16.964 | 889.783 | 33.856 | 5.8195
2020-08-27 09:30:00 | 3.425 | 255.1 | 3.304 | 249.488 | 3.493 | 254.767 | 3.472 | 251.15 | 17.494 | 889.933 | 32.773 | 4.1469
2020-08-27 09:45:00 | 3.368 | 297.533 | 3.214 | 290.49 | 3.284 | 296.833 | 3.631 | 291.183 | 17.464 | 889.667 | 32.08 | 1.7842
2020-08-27 10:00:00 | 2.724 | 304.107 | 2.68 | 300.669 | 2.743 | 301.433 | 3.056 | 296 | 17.048 | 889.8 | 32.213 | 0.30981
2020-08-27 10:15:00 | 2.022 | 295.28 | 1.664 | 295.375 | 1.988 | 300.033 | 2.134 | 293.333 | 18.094 | 889.883 | 30.547 | 0.29489
2020-08-27 10:30:00 | 1.51 | 300.367 | 1.17 | 316.139 | 1.64 | 301.967 | 2.199 | 311.233 | 19.044 | 889.967 | 29.128 | 0.23093
2020-08-27 10:45:00 | 2.583 | 175.668 | 2.748 | 266.609 | 2.857 | 229.9 | 3.07 | 274.433 | 18.644 | 889.85 | 28.928 | 0.18546
2020-08-27 11:00:00 | 1.887 | 174.021 | 2.222 | 218.032 | 2.356 | 212.033 | 2.749 | 321.733 | 19.127 | 890.15 | 28.101 | 0.18759
2020-08-27 11:15:00 | 2.138 | 70.577 | 1.84 | 26.294 | 2.026 | 30.704 | 2.147 | 30.167 | 19.827 | 890 | 26.544 | 0.17906
2020-08-27 11:30:00 | 1.852 | 293.46 | 1.53 | 290.73 | 1.852 | 306.867 | 2.17 | 295.833 | 20.098 | 889.983 | 25.304 | 0.19825
2020-08-27 11:45:00 | 2.433 | 318.667 | 2.466 | 328.728 | 2.469 | 320.633 | 2.499 | 324.867 | 20.252 | 889.983 | 24.163 | 0.14211
2020-08-27 12:00:00 | 1.81 | 58.638 | 1.657 | 71.693 | 1.634 | 44.967 | 1.894 | 64.2 | 20.51 | 890.167 | 23.557 | 0.40858
2020-08-27 12:15:00 | 2.675 | 109.795 | 2.13 | 129.42 | 2.382 | 186.7 | 2.703 | 130.906 | 20.844 | 889.933 | 22.128 | 0.35741
2020-08-27 12:30:00 | 3.037 | 63.82 | 2.87 | 66.326 | 2.783 | 24.038 | 2.788 | 55.167 | 20.748 | 889.467 | 21.941 | 0.57556
2020-08-27 12:45:00 | 4.285 | 31.34 | 3.989 | 13.532 | 4.164 | 12 | 4.439 | 9.567 | 21.052 | 889.667 | 20.499 | 1.0296
2020-08-27 13:00:00 | 3.71 | 58.242 | 3.862 | 27.883 | 3.848 | 36.3 | 4.208 | 34.9 | 21.023 | 890.05 | 21.109 | 1.5767
2020-08-27 13:15:00 | 5.438 | 160.463 | 5.344 | 145.635 | 5.486 | 160.7 | 5.329 | 148.8 | 21.31 | 889.467 | 20.264 | 2.4593
2020-08-27 13:30:00 | 2.37 | 100.78 | 2.412 | 55.254 | 2.641 | 19.576 | 2.788 | 23.667 | 21.11 | 889.85 | 20.944 | 5.3719
2020-08-27 13:45:00 | 3.788 | 43.881 | 3.746 | 27.709 | 3.832 | 17.801 | 4.136 | 28.4 | 21.185 | 889.6 | 19.643 | 4.3906
2020-08-27 14:00:00 | 2.755 | 20.842 | 2.693 | 29.954 | 2.631 | 25.067 | 3.123 | 22.467 | 21.989 | 889.267 | 19.256 | 4.2691
2020-08-27 14:15:00 | 4.081 | 90.081 | 4.106 | 66.888 | 4.004 | 44.2 | 3.844 | 54.067 | 21.648 | 889.633 | 18.219 | 3.0853
2020-08-27 14:30:00 | 4.179 | 44.422 | 4.127 | 52.122 | 4.071 | 18.1 | 4.074 | 28.1 | 21.423 | 889.2 | 18.931 | 2.3591
2020-08-27 14:45:00 | 3.553 | 34.371 | 3.557 | 12.945 | 3.718 | 17.667 | 4.2 | 18.967 | 22.231 | 889.667 | 17.352 | 3.4029
2020-08-27 15:00:00 | 4.391 | 59.267 | 4.159 | 149.748 | 4.766 | 77.2 | 4.725 | 43.3 | 22.898 | 889.533 | 15.963 | 6.4058
2020-08-27 15:15:00 | 2.37 | 91.533 | 2.67 | 191.741 | 2.979 | 143.533 | 3.502 | 165.933 | 22.714 | 889.433 | 16.908 | 4.6173
2020-08-27 15:30:00 | 3.216 | 301.867 | 3.37 | 279.522 | 3.525 | 306.1 | 3.802 | 314 | 22.464 | 889.533 | 16.104 | 3.1038
2020-08-27 15:45:00 | 2.675 | 317.04 | 2.616 | 313.878 | 2.66 | 307.5 | 2.494 | 299.333 | 22.998 | 889.367 | 15.495 | 0.60896
2020-08-27 16:00:00 | 3.927 | 307.293 | 3.77 | 307.508 | 3.771 | 308.533 | 4.04 | 304.333 | 23.214 | 889.467 | 14.903 | 0.28209
2020-08-27 16:15:00 | 2.834 | 314.213 | 2.888 | 327.85 | 2.576 | 305.133 | 2.794 | 319.733 | 23.352 | 889.2 | 14.541 | 0.10801
2020-08-27 16:30:00 | 1.17 | 278.56 | 0.95 | 289.178 | 0.786 | 301.967 | 1.912 | 304.8 | 23.606 | 889.5 | 14.125 | 0.15419
2020-08-27 16:45:00 | 2.598 | 213.472 | 2.749 | 218.87 | 2.98 | 206.467 | 3.154 | 243.667 | 24.014 | 889.433 | 13.3 | 0.61819
2020-08-27 17:00:00 | 0.902 | 23.26 | 0.557 | 41.136 | 0.732 | 79.067 | 1.34 | 75 | 23.877 | 889.5 | 14.193 | 0.70275
2020-08-27 17:15:00 | 3.616 | 298.147 | 3.693 | 290.088 | 3.664 | 294.567 | 3.876 | 292.533 | 24.052 | 889.6 | 13.212 | 1.2115
2020-08-27 17:30:00 | 3.569 | 194.139 | 3.873 | 233.037 | 4.143 | 240.9 | 4.543 | 254.233 | 24.164 | 889.433 | 13.165 | 2.7492
2020-08-27 17:45:00 | 4.154 | 332.573 | 4.396 | 323.479 | 4.634 | 326.6 | 4.882 | 327.267 | 23.935 | 889.833 | 12.585 | 4.1014
2020-08-27 18:00:00 | 2.653 | 52.176 | 3.105 | 199.182 | 3.2 | 185.267 | 3.28 | 267.2 | 24.131 | 889.233 | 12.955 | 3.6559
2020-08-27 18:15:00 | 4.585 | 205.611 | 4.797 | 229.164 | 5.062 | 232.267 | 5.047 | 278.101 | 24.673 | 889.467 | 12.256 | 2.9645
2020-08-27 18:30:00 | 4.298 | 47.206 | 4.254 | 61.564 | 4.04 | 91.533 | 4.078 | 129.167 | 24.431 | 889.9 | 12.773 | 3.3333
2020-08-27 18:45:00 | 2.551 | 280.76 | 2.728 | 273.518 | 2.78 | 311.733 | 2.906 | 333.1 | 24.723 | 889.5 | 13.125 | 2.5936
2020-08-27 19:00:00 | 3.116 | 333.493 | 3.232 | 311.757 | 3.043 | 300.367 | 3.509 | 323.433 | 24.252 | 889.3 | 12.893 | 2.7797
2020-08-27 19:15:00 | 3.568 | 334.507 | 3.742 | 327.242 | 3.872 | 330.833 | 4.143 | 328.067 | 24.573 | 889.467 | 12.961 | 2.1594
2020-08-27 19:30:00 | 4.106 | 337.813 | 4.055 | 331.239 | 4.084 | 336.167 | 4.329 | 337.3 | 24.344 | 889.3 | 12.397 | 3.1478
2020-08-27 19:45:00 | 4.183 | 348.467 | 4.325 | 343.563 | 4.386 | 347.433 | 4.621 | 346.8 | 23.66 | 890.033 | 13.455 | 5.0265
2020-08-27 20:00:00 | 4.154 | 200.188 | 4.208 | 283.058 | 4.435 | 112.033 | 4.861 | 214.033 | 23.514 | 889.567 | 13.945 | 5.2085
2020-08-27 20:15:00 | 2.632 | 302.88 | 3.282 | 329.961 | 3.429 | 331.8 | 3.77 | 328.933 | 23.264 | 889.733 | 14.729 | 2.941
2020-08-27 20:30:00 | 2.1 | 334.8 | 2.452 | 327.776 | 2.578 | 331.633 | 2.785 | 338.633 | 23.098 | 889.367 | 14.984 | 0.27002
2020-08-27 20:45:00 | 4.173 | 302.387 | 4.714 | 300.803 | 4.785 | 305.533 | 5.181 | 304.633 | 22.931 | 889.4 | 16.463 | 4.1462
2020-08-27 21:00:00 | 4.578 | 312.107 | 5.479 | 308.384 | 6.188 | 313.233 | 6.549 | 311 | 22.302 | 889.367 | 18.448 | 16.79
2020-08-27 21:15:00 | 5.337 | 305.533 | 6.258 | 302.003 | 7.052 | 306.667 | 7.456 | 305.7 | 22.194 | 889.6 | 18.893 | 25.2386
2020-08-27 21:30:00 | 6.993 | 301.04 | 8.26 | 297.839 | 8.739 | 304.5 | 9.289 | 303.433 | 21.91 | 889.267 | 18.905 | 31.7225
2020-08-27 21:45:00 | 6.184 | 306.467 | 7.159 | 303.184 | 7.746 | 309.933 | 8.353 | 307.733 | 21.652 | 889.567 | 19.535 | 41.2321
2020-08-27 22:00:00 | 5.024 | 300.44 | 6.241 | 299.004 | 6.794 | 304.967 | 7.491 | 304.233 | 21.06 | 889.533 | 20.393 | 27.5941
2020-08-27 22:15:00 | 6.562 | 297.16 | 8.153 | 294.189 | 8.69 | 299.8 | 9.342 | 296.267 | 20.806 | 889.95 | 20.869 | 33.8606
2020-08-27 22:30:00 | 8.189 | 294.507 | 9.39 | 289.087 | 10.002 | 293.133 | 10.015 | 289.933 | 20.856 | 889.767 | 26.384 | 63.5225
2020-08-27 22:45:00 | 8.66 | 288.493 | 9.939 | 285.009 | 10.451 | 287.333 | 11.105 | 285.333 | 20.06 | 889.633 | 26.045 | 71.6258
2020-08-27 23:00:00 | 8.938 | 287.147 | 10.185 | 280.993 | 10.451 | 286.667 | 10.821 | 284.5 | 19.564 | 889.7 | 25.533 | 73.43
2020-08-27 23:15:00 | 9.389 | 283.493 | 10.789 | 277.406 | 11.241 | 279.767 | 11.65 | 278.333 | 19.289 | 889.85 | 25.312 | 69.6263
2020-08-27 23:30:00 | 10.749 | 279.32 | 11.771 | 274.678 | 12.067 | 278.267 | 12.424 | 276.233 | 19.081 | 889.967 | 25.504 | 70.6225
2020-08-27 23:45:00 | 9.58 | 280.667 | 11.058 | 275.177 | 11.562 | 278.167 | 12.227 | 276.833 | 19.098 | 890.033 | 25.92 | 72.8565