## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-28 00:00:00 | 9.182 | 277.573 | 10.497 | 273.704 | 11.249 | 277 | 11.96 | 275.767 | 19.102 | 890.017 | 25.528 | 65.1135
2020-08-28 00:15:00 | 8.875 | 277.84 | 10.604 | 273.183 | 11.355 | 277.5 | 11.808 | 274.333 | 19.085 | 889.567 | 25.293 | 53.3543
2020-08-28 00:30:00 | 9.748 | 278.467 | 11.748 | 274.145 | 12.528 | 277.8 | 13.168 | 275.467 | 18.539 | 889.667 | 25.344 | 53.0708
2020-08-28 00:45:00 | 11.481 | 280.8 | 12.81 | 273.972 | 13.414 | 279.067 | 13.925 | 276.167 | 18.606 | 889.517 | 24.725 | 53.7281
2020-08-28 01:00:00 | 10.802 | 279.4 | 12.192 | 272.707 | 12.756 | 277.367 | 13.497 | 274.567 | 18.489 | 889.65 | 25.656 | 53.3188
2020-08-28 01:15:00 | 9.9 | 274.067 | 11.63 | 268.752 | 12.403 | 274.233 | 12.905 | 269.133 | 18.606 | 889.833 | 25.797 | 52.8093
2020-08-28 01:30:00 | 10.59 | 274.933 | 11.878 | 269.174 | 12.4 | 273.233 | 12.968 | 271.067 | 18.573 | 890.117 | 26.539 | 52.7262
2020-08-28 01:45:00 | 10.514 | 275.067 | 12.025 | 267.82 | 13.002 | 272.033 | 13.513 | 269.667 | 18.524 | 888.7 | 28.021 | 55.6566
2020-08-28 02:00:00 | 10.162 | 277.64 | 11.618 | 269.237 | 12.597 | 275.233 | 12.924 | 270.267 | 18.31 | 889.483 | 31.277 | 60.4394
2020-08-28 02:15:00 | 10.077 | 274.827 | 11.222 | 269.912 | 12.103 | 274.3 | 12.282 | 270.633 | 18.464 | 889.917 | 32.435 | 63.7464
2020-08-28 02:30:00 | 10.675 | 271.48 | 11.997 | 266.272 | 12.658 | 269.533 | 12.984 | 267.133 | 18.027 | 889.667 | 34.051 | 65.6258
2020-08-28 02:45:00 | 10.117 | 271.507 | 12.04 | 267.012 | 12.715 | 272.333 | 13.05 | 267.3 | 17.968 | 889.25 | 35.475 | 66.1964
2020-08-28 03:00:00 | 10.303 | 275.36 | 11.598 | 269.428 | 12.195 | 274.033 | 12.864 | 269.967 | 17.564 | 889.667 | 36.653 | 66.3264
2020-08-28 03:15:00 | 9.082 | 276.36 | 10.732 | 269.419 | 11.776 | 273.833 | 12.311 | 271.833 | 17.581 | 889.817 | 37.624 | 67.9643
2020-08-28 03:30:00 | 9.558 | 278.413 | 11.12 | 272.788 | 11.8 | 277.033 | 12.398 | 275 | 16.968 | 889.85 | 38.016 | 75.6697
2020-08-28 03:45:00 | 8.41 | 276.027 | 9.89 | 270.078 | 10.601 | 275.033 | 11.262 | 272.433 | 17.114 | 889.833 | 38.792 | 74.542
2020-08-28 04:00:00 | 9.248 | 271.553 | 10.208 | 270.82 | 11.012 | 274.7 | 11.488 | 270.367 | 17.031 | 889.85 | 39.187 | 75.6697
2020-08-28 04:15:00 | 9.438 | 266.78 | 10.49 | 262.289 | 11.053 | 266.567 | 11.218 | 263.167 | 16.964 | 889.95 | 39.136 | 67.6012
2020-08-28 04:30:00 | 10.339 | 261.253 | 11.679 | 259.351 | 12.323 | 262.9 | 12.755 | 259.117 | 16.514 | 889.783 | 42.048 | 79.0271
2020-08-28 04:45:00 | 10.226 | 256.307 | 10.842 | 253.46 | 11.532 | 255.833 | 11.642 | 252.717 | 16.338 | 889.817 | 43.584 | 77.7381
2020-08-28 05:00:00 | 9.343 | 254.36 | 11.06 | 252.336 | 11.425 | 257.767 | 11.698 | 251.467 | 15.782 | 890.3 | 46.864 | 75.146
2020-08-28 05:15:00 | 10.479 | 253.38 | 11.379 | 250.638 | 12.078 | 253.617 | 12.338 | 252.15 | 15.286 | 889.775 | 51.627 | 77.4745
2020-08-28 05:30:00 | 10.859 | 257.893 | 11.931 | 253.628 | 12.626 | 257.517 | 12.692 | 253.017 | 14.624 | 889.825 | 54.939 | 76.7583
2020-08-28 05:45:00 | 11.642 | 260.74 | 12.827 | 258.794 | 13.345 | 261.35 | 13.409 | 256.283 | 14.858 | 890.125 | 55.643 | 76.371
2020-08-28 06:00:00 | 11.611 | 259.4 | 12.716 | 255.188 | 13.189 | 260.917 | 13.429 | 256.483 | 14.599 | 889.542 | 55.531 | 74.5399
2020-08-28 06:15:00 | 12.101 | 259.587 | 13.367 | 254.105 | 14.259 | 259.433 | 14.437 | 255.067 | 14.478 | 890.05 | 55.904 | 75.3457
2020-08-28 06:30:00 | 11.755 | 254.94 | 13.038 | 251.828 | 13.91 | 254.9 | 14.02 | 250.117 | 14.316 | 889.958 | 57.163 | 73.0065
2020-08-28 06:45:00 | 10.303 | 259.16 | 11.508 | 253.501 | 12.288 | 257.983 | 12.707 | 253.567 | 14.108 | 890.033 | 57.664 | 69.9439
2020-08-28 07:00:00 | 12.283 | 264.56 | 13.871 | 256.501 | 14.58 | 261.233 | 14.781 | 257.183 | 13.954 | 889.458 | 59.664 | 69.6242
2020-08-28 07:15:00 | 11.072 | 256.953 | 12.73 | 252.832 | 13.751 | 258.8 | 14.01 | 254.35 | 13.387 | 890.15 | 61.781 | 67.9657
2020-08-28 07:30:00 | 10.098 | 251.127 | 11.313 | 246.368 | 12.031 | 252.1 | 12.057 | 247.017 | 13.612 | 890.075 | 60.576 | 65.7736
2020-08-28 07:45:00 | 12.353 | 260.96 | 13.651 | 254.442 | 14.288 | 259.7 | 14.27 | 254.3 | 13.895 | 890.142 | 60.88 | 66.5353
2020-08-28 08:00:00 | 12.637 | 259.127 | 14.078 | 254.963 | 14.91 | 259.9 | 14.967 | 254.733 | 13.433 | 889.892 | 61.712 | 68.8404
2020-08-28 08:15:00 | 11.106 | 257.82 | 12.47 | 251.914 | 12.808 | 257.367 | 12.772 | 251.983 | 13.774 | 889.65 | 60.219 | 68.0943
2020-08-28 08:30:00 | 10.063 | 271.333 | 11.087 | 265.706 | 11.378 | 268.733 | 11.429 | 265.4 | 14.012 | 889.758 | 58.768 | 66.0465
2020-08-28 08:45:00 | 12.389 | 268.387 | 13.667 | 261.974 | 14.211 | 266.4 | 14.335 | 261.3 | 14.028 | 890.392 | 58.144 | 71.537
2020-08-28 09:00:00 | 10.853 | 268.16 | 11.827 | 261.836 | 12.234 | 266.633 | 12.316 | 262.133 | 14.128 | 889.9 | 57.68 | 73.2331
2020-08-28 09:15:00 | 10.991 | 273.653 | 12.683 | 265.173 | 13.333 | 269.9 | 13.633 | 264.817 | 14.12 | 889.558 | 56.795 | 65.3991
2020-08-28 09:30:00 | 11.342 | 268.453 | 12.228 | 262.177 | 12.641 | 264.617 | 12.72 | 259.217 | 14.324 | 889.542 | 57.248 | 66.6057
2020-08-28 09:45:00 | 10.981 | 259.253 | 12.131 | 255.884 | 12.556 | 258.8 | 12.483 | 253.667 | 14.441 | 889.592 | 55.744 | 64.4008
2020-08-28 10:00:00 | 10.834 | 263.26 | 11.86 | 255.106 | 12.196 | 260.2 | 12.144 | 254.683 | 14.908 | 889.583 | 53.851 | 62.1909
2020-08-28 10:15:00 | 11.15 | 269.133 | 12.111 | 263.632 | 12.501 | 265.2 | 12.282 | 260.55 | 14.874 | 889.717 | 53.717 | 63.2959
2020-08-28 10:30:00 | 10.934 | 261.453 | 12.114 | 259.089 | 12.301 | 263.383 | 12.325 | 260.317 | 15.012 | 889.717 | 53.163 | 63.1935
2020-08-28 10:45:00 | 11.388 | 275.92 | 12.722 | 270.574 | 12.95 | 274.133 | 13.129 | 269.533 | 15.552 | 890.05 | 52.885 | 69.8181
2020-08-28 11:00:00 | 11.013 | 263.733 | 12.188 | 259.614 | 12.507 | 263.383 | 12.445 | 258.85 | 15.944 | 890.283 | 53.141 | 81.0451
2020-08-28 11:15:00 | 10.364 | 270.933 | 11.162 | 266.016 | 11.129 | 269.933 | 11.097 | 268.333 | 15.388 | 889.892 | 52.603 | 80.5648
2020-08-28 11:30:00 | 11.786 | 289.413 | 12.702 | 283.974 | 13.018 | 287.5 | 13.179 | 286.1 | 15.687 | 889.875 | 51.701 | 83.5626
2020-08-28 11:45:00 | 10.7 | 277.76 | 12.072 | 271.7 | 12.301 | 276.9 | 12.397 | 273.367 | 16.053 | 889.792 | 49.669 | 75.6874
2020-08-28 12:00:00 | 10.963 | 287.173 | 11.883 | 281.87 | 12.136 | 286.667 | 12.508 | 283.867 | 15.626 | 889.75 | 47.227 | 68.3949
2020-08-28 12:15:00 | 10.624 | 286.853 | 11.554 | 280.656 | 11.806 | 284.267 | 12.192 | 281.6 | 15.842 | 889.917 | 47.168 | 64.4967
2020-08-28 12:30:00 | 10.643 | 286.907 | 11.558 | 283.406 | 11.583 | 286.667 | 12.156 | 283.9 | 16.079 | 889.75 | 45.968 | 63.632
2020-08-28 12:45:00 | 10.689 | 292.547 | 11.531 | 288.071 | 11.878 | 292 | 12.108 | 289.133 | 15.72 | 890 | 47.787 | 67.5131
2020-08-28 13:00:00 | 10.212 | 269.047 | 11.162 | 263.825 | 11.528 | 267.567 | 11.789 | 263.783 | 15.74 | 889.9 | 48.283 | 63.3207
2020-08-28 13:15:00 | 11.546 | 282.707 | 12.336 | 276.212 | 12.344 | 280.033 | 12.431 | 276.9 | 15.749 | 890.058 | 48.955 | 64.8371
2020-08-28 13:30:00 | 11.796 | 280.307 | 12.129 | 275.188 | 12.366 | 276.467 | 12.571 | 272.2 | 15.492 | 889.317 | 49.728 | 60.1686
2020-08-28 13:45:00 | 10.504 | 272.24 | 11.287 | 267.687 | 11.483 | 271.5 | 11.774 | 266.383 | 15.428 | 890.15 | 50.096 | 58.3972
2020-08-28 14:00:00 | 10.613 | 273.88 | 11.136 | 268.556 | 11.391 | 270.783 | 11.374 | 265.867 | 16.027 | 889.458 | 49.435 | 57.8408
2020-08-28 14:15:00 | 10.091 | 279.113 | 10.72 | 273.271 | 10.909 | 277.233 | 11.313 | 273.467 | 16.06 | 889.858 | 49.163 | 55.054
2020-08-28 14:30:00 | 10.925 | 281.293 | 11.922 | 275.583 | 12.076 | 280.1 | 12.107 | 277.767 | 15.466 | 889.75 | 50.96 | 51.9687
2020-08-28 14:45:00 | 12.759 | 282.107 | 13.841 | 275.909 | 13.692 | 278.433 | 13.764 | 276.133 | 15.732 | 889.692 | 51.968 | 53.8418
2020-08-28 15:00:00 | 13.071 | 278.707 | 13.831 | 273.504 | 14.513 | 277.167 | 14.505 | 272.9 | 15.618 | 889.975 | 54.299 | 54.0343
2020-08-28 15:15:00 | 12.19 | 279.707 | 12.954 | 274.818 | 13.033 | 277.167 | 12.982 | 275.1 | 15.426 | 889.767 | 54.075 | 53.2989
2020-08-28 15:30:00 | 11.63 | 282.667 | 12.977 | 276.768 | 12.969 | 279.433 | 13.116 | 275.567 | 14.958 | 889.808 | 54.139 | 53.9626
2020-08-28 15:45:00 | 11.545 | 278.293 | 12.46 | 273.19 | 12.852 | 277.8 | 12.682 | 275.167 | 15.096 | 890.075 | 52.731 | 53.63
2020-08-28 16:00:00 | 11.974 | 280.947 | 13.112 | 275.905 | 13.356 | 279.833 | 13.464 | 276.267 | 15.497 | 889.608 | 53.744 | 57.0422
2020-08-28 16:15:00 | 12.611 | 283.267 | 13.58 | 275.625 | 13.768 | 280.6 | 13.987 | 278.067 | 15.024 | 889.8 | 57.04 | 57.973
2020-08-28 16:30:00 | 12.11 | 280.6 | 13.111 | 275.311 | 13.356 | 278.9 | 13.642 | 274.933 | 14.774 | 890.25 | 59.893 | 57.8991
2020-08-28 16:45:00 | 12.299 | 283.88 | 13.088 | 278.869 | 13.221 | 281.033 | 13.254 | 279.433 | 14.612 | 889.95 | 58.992 | 58.7234
2020-08-28 17:00:00 | 10.876 | 281.4 | 11.763 | 275.123 | 11.926 | 279.733 | 12.097 | 275.033 | 15.008 | 889.542 | 59.349 | 60.9048
2020-08-28 17:15:00 | 10.409 | 279.6 | 11.1 | 275.505 | 11.483 | 278.833 | 11.89 | 275.167 | 14.741 | 889.95 | 58.293 | 63.2497
2020-08-28 17:30:00 | 11.293 | 276.82 | 12.176 | 271.271 | 12.422 | 275.533 | 12.602 | 271.033 | 14.624 | 890.008 | 57.312 | 61.8996
2020-08-28 17:45:00 | 10.631 | 283.6 | 11.568 | 277.477 | 11.705 | 280.4 | 11.752 | 277.4 | 14.874 | 889.725 | 57.488 | 60.45
2020-08-28 18:00:00 | 8.444 | 281.467 | 9.266 | 273.976 | 9.375 | 278.733 | 9.698 | 273.9 | 14.741 | 889.55 | 58.661 | 60.6263
2020-08-28 18:15:00 | 10.073 | 278.133 | 10.735 | 271.451 | 10.996 | 275.833 | 11.129 | 271.133 | 14.708 | 890.142 | 57.445 | 67.695
2020-08-28 18:30:00 | 9.808 | 278.8 | 10.808 | 272.702 | 11.068 | 276 | 11.353 | 272.9 | 14.504 | 889.817 | 58.731 | 72.1488
2020-08-28 18:45:00 | 9.422 | 279.587 | 10.328 | 272.221 | 10.624 | 274.7 | 10.667 | 270.35 | 14.324 | 889.85 | 60.64 | 70.2267
2020-08-28 19:00:00 | 8.048 | 277.88 | 9.03 | 271.497 | 9.282 | 276.3 | 9.311 | 271.767 | 14.258 | 889.417 | 60.885 | 66.9269
2020-08-28 19:15:00 | 8.491 | 284.893 | 9.472 | 280.012 | 9.885 | 284.4 | 10.185 | 280.633 | 14.378 | 889.725 | 59.968 | 69.4714
2020-08-28 19:30:00 | 8.701 | 283 | 9.746 | 275.369 | 10.202 | 279.7 | 10.572 | 277.367 | 13.891 | 889.892 | 60.677 | 69.6277
2020-08-28 19:45:00 | 7.768 | 284.973 | 8.657 | 279.404 | 8.874 | 282.7 | 9.156 | 279.967 | 14.199 | 890.225 | 61.04 | 65.6826
2020-08-28 20:00:00 | 7.635 | 282.72 | 8.45 | 279.266 | 8.883 | 283.1 | 9.073 | 279.267 | 14.445 | 889.975 | 62.325 | 57.5253
2020-08-28 20:15:00 | 8.479 | 282.547 | 9.687 | 277.035 | 10.124 | 278.133 | 10.25 | 274.533 | 13.916 | 890.05 | 62.523 | 56.8368
2020-08-28 20:30:00 | 7.196 | 276.48 | 8.297 | 268.76 | 8.502 | 275.167 | 8.511 | 270.8 | 13.949 | 889.683 | 62.917 | 50.8368
2020-08-28 20:45:00 | 7.322 | 266.56 | 7.94 | 262.816 | 8.381 | 265.45 | 8.744 | 260.483 | 13.924 | 889.825 | 63.605 | 49.2572
2020-08-28 21:00:00 | 7.797 | 270 | 8.676 | 263.554 | 8.992 | 266.667 | 8.98 | 262.583 | 13.704 | 889.908 | 64.139 | 53.6435
2020-08-28 21:15:00 | 7.769 | 271.02 | 8.581 | 266.448 | 8.865 | 271.167 | 8.79 | 265.533 | 13.72 | 889.767 | 62.949 | 52.216
2020-08-28 21:30:00 | 7.897 | 263.367 | 8.913 | 259.259 | 9.005 | 264.467 | 9.191 | 258.9 | 13.937 | 890.2 | 62.576 | 52.0476
2020-08-28 21:45:00 | 6.828 | 256.3 | 7.551 | 250.759 | 7.912 | 253.95 | 8.097 | 248.55 | 13.631 | 890.258 | 62.651 | 49.8264
2020-08-28 22:00:00 | 6.469 | 259.547 | 7.272 | 253.863 | 7.524 | 258.667 | 7.689 | 252.767 | 13.899 | 889.433 | 62.789 | 43.4547
2020-08-28 22:15:00 | 6.306 | 260.227 | 7.08 | 255.276 | 7.596 | 260.95 | 7.679 | 256.3 | 13.887 | 890.1 | 62.725 | 35.9831
2020-08-28 22:30:00 | 6.295 | 257.68 | 7.025 | 250.196 | 7.524 | 254.483 | 7.635 | 249.083 | 13.841 | 890.133 | 62.96 | 44.522
2020-08-28 22:45:00 | 5.818 | 262.18 | 6.868 | 257.268 | 7.301 | 260.783 | 7.692 | 255.867 | 13.824 | 890.3 | 62.72 | 37.1726
2020-08-28 23:00:00 | 5.689 | 273.427 | 6.458 | 269.335 | 7.035 | 271.7 | 7.246 | 266.933 | 14.128 | 889.742 | 62.405 | 35.7557
2020-08-28 23:15:00 | 6.103 | 273.427 | 7.087 | 266.407 | 7.504 | 271.6 | 8.097 | 267.333 | 13.57 | 889.8 | 63.701 | 40.8462
2020-08-28 23:30:00 | 6.557 | 268.48 | 7.448 | 264.052 | 8.07 | 269.133 | 8.351 | 263.8 | 13.393 | 889.692 | 64.704 | 44.166
2020-08-28 23:45:00 | 7.073 | 270.96 | 7.857 | 264.765 | 8.485 | 269.367 | 8.784 | 265.867 | 13.23 | 890.017 | 65.445 | 53.5348