## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-29 00:00:00 | 7.266 | 271.853 | 8.289 | 266.581 | 8.765 | 272.267 | 8.99 | 266.133 | 13.041 | 889.4 | 65.792 | 55.9642
2020-08-29 00:15:00 | 7.042 | 276.68 | 8.106 | 269.302 | 8.704 | 274.267 | 9.057 | 269.667 | 13.189 | 890.092 | 65.691 | 47.3628
2020-08-29 00:30:00 | 5.935 | 273.587 | 7.168 | 267.246 | 7.737 | 272.733 | 7.958 | 269.433 | 13.335 | 889.7 | 66.139 | 33.7796
2020-08-29 00:45:00 | 6.901 | 275.04 | 8.043 | 269.19 | 8.397 | 273.767 | 8.861 | 268.467 | 13.103 | 889.942 | 66.08 | 30.8038
2020-08-29 01:00:00 | 6.964 | 278.307 | 8.342 | 271.83 | 8.81 | 276 | 9.254 | 272.3 | 13.247 | 890.1 | 65.936 | 39.6034
2020-08-29 01:15:00 | 6.425 | 273.04 | 7.835 | 268.045 | 8.19 | 271.3 | 8.72 | 267.9 | 13.12 | 889.758 | 66.608 | 41.0281
2020-08-29 01:30:00 | 6.192 | 268.4 | 7.61 | 266.182 | 8.179 | 271 | 8.515 | 267.333 | 12.772 | 890.217 | 67.701 | 37.5939
2020-08-29 01:45:00 | 6.517 | 260.66 | 7.832 | 259.015 | 8.432 | 263.383 | 8.742 | 258.917 | 12.77 | 889.625 | 67.771 | 40.5563
2020-08-29 02:00:00 | 6.179 | 252.307 | 7.42 | 250.322 | 7.749 | 255.267 | 7.79 | 250.833 | 12.934 | 889.85 | 68.341 | 44.9192
2020-08-29 02:15:00 | 5.962 | 241.807 | 6.702 | 242.506 | 7.119 | 250.167 | 7.318 | 245.75 | 12.274 | 889.7 | 70.016 | 55.6708
2020-08-29 02:30:00 | 5.762 | 242.413 | 6.8 | 243.46 | 7.172 | 250.367 | 7.091 | 244.8 | 12.107 | 890.375 | 71.275 | 49.5691
2020-08-29 02:45:00 | 5.767 | 245.787 | 6.994 | 247.457 | 7.566 | 254.867 | 7.828 | 251.617 | 11.803 | 889.642 | 72.592 | 48.5331
2020-08-29 03:00:00 | 5.651 | 240.2 | 6.764 | 239.774 | 7.284 | 247.433 | 7.438 | 243.767 | 11.686 | 889.958 | 73.28 | 49.3183
2020-08-29 03:15:00 | 5.671 | 229.887 | 6.612 | 232.183 | 7.095 | 238.633 | 7.08 | 235.467 | 11.299 | 889.975 | 73.664 | 53.532
2020-08-29 03:30:00 | 5.545 | 228.4 | 6.453 | 230.379 | 6.774 | 236.833 | 6.806 | 232.9 | 11.553 | 889.708 | 74.037 | 51.3477
2020-08-29 03:45:00 | 6.167 | 232.707 | 7.433 | 232.417 | 8.038 | 237.967 | 8.35 | 233.067 | 11.336 | 890.217 | 73.781 | 47.8488
2020-08-29 04:00:00 | 5.661 | 231.66 | 6.729 | 231.386 | 7.242 | 238.2 | 7.527 | 232.4 | 11.578 | 889.95 | 72.352 | 46.8697
2020-08-29 04:15:00 | 5.631 | 233.44 | 6.815 | 231.999 | 7.252 | 237.2 | 7.404 | 233.333 | 11.866 | 889.825 | 71.317 | 51.6426
2020-08-29 04:30:00 | 5.848 | 233.893 | 6.961 | 233.955 | 7.712 | 239.367 | 7.945 | 234.233 | 11.953 | 890.192 | 70.539 | 53.9945
2020-08-29 04:45:00 | 6.811 | 236.38 | 8.075 | 234.416 | 8.531 | 239.867 | 8.675 | 234.833 | 11.682 | 889.975 | 70.24 | 57.7073
2020-08-29 05:00:00 | 6.873 | 239.447 | 7.705 | 237.655 | 8.246 | 242.267 | 8.353 | 236.8 | 12.178 | 889.975 | 68.491 | 61.4363
2020-08-29 05:15:00 | 6.267 | 239.46 | 6.987 | 237.307 | 7.558 | 241.867 | 7.962 | 236.133 | 12.543 | 889.992 | 67.947 | 55.6061
2020-08-29 05:30:00 | 5.932 | 244.467 | 6.837 | 244.32 | 7.359 | 250.8 | 7.6 | 246.75 | 12.37 | 889.542 | 68.704 | 45.8287
2020-08-29 05:45:00 | 5.725 | 250.407 | 6.645 | 249.87 | 7.204 | 255.033 | 7.256 | 251.233 | 12.845 | 889.95 | 69.088 | 40.1513
2020-08-29 06:00:00 | 5.598 | 254.4 | 6.633 | 253.159 | 6.853 | 258.95 | 7.202 | 255.117 | 12.655 | 890.125 | 69.787 | 36.6745
2020-08-29 06:15:00 | 5.965 | 262.94 | 7.063 | 263.159 | 7.42 | 266.933 | 7.813 | 263.517 | 12.424 | 890.192 | 70.059 | 37.9833
2020-08-29 06:30:00 | 5.642 | 257.347 | 6.539 | 257.368 | 6.936 | 262.267 | 7.259 | 259.567 | 12.37 | 889.683 | 70.917 | 32.7742
2020-08-29 06:45:00 | 5.002 | 253.953 | 6.228 | 253.828 | 6.637 | 259.433 | 6.711 | 255.367 | 12.024 | 889.875 | 72.709 | 26.3066
2020-08-29 07:00:00 | 4.775 | 258.473 | 6.095 | 257.747 | 6.618 | 263.333 | 6.937 | 259 | 11.77 | 889.625 | 73.893 | 21.8471
2020-08-29 07:15:00 | 4.538 | 231.28 | 5.142 | 234.897 | 5.492 | 243.8 | 5.888 | 241.9 | 11.582 | 890.117 | 72.757 | 19.9207
2020-08-29 07:30:00 | 4.886 | 232.56 | 6.136 | 235.957 | 6.924 | 243.067 | 7.355 | 239.45 | 11.849 | 890.175 | 70.891 | 26.7315
2020-08-29 07:45:00 | 5.051 | 235.56 | 5.68 | 233.966 | 6.296 | 238.767 | 6.734 | 234.333 | 13.295 | 890.242 | 63.371 | 24.953
2020-08-29 08:00:00 | 5.193 | 231.473 | 5.891 | 227.833 | 6.6 | 232.6 | 6.848 | 229.167 | 13.745 | 889.958 | 60.341 | 23.4743
2020-08-29 08:15:00 | 5.393 | 236.18 | 5.699 | 234.392 | 6.071 | 237.5 | 6.432 | 232.4 | 14.345 | 889.883 | 57.547 | 19.9499
2020-08-29 08:30:00 | 6.13 | 234.74 | 6.535 | 230.112 | 7.13 | 235.633 | 7.295 | 232.133 | 15.2 | 890.025 | 52.8 | 21.8208
2020-08-29 08:45:00 | 6.954 | 243.607 | 7.377 | 241.525 | 7.783 | 245.3 | 7.846 | 241.433 | 15.837 | 889.35 | 49.653 | 33.6759
2020-08-29 09:00:00 | 7.467 | 269.213 | 8.04 | 265.513 | 8.08 | 270.367 | 8.166 | 264.25 | 16.013 | 890.117 | 48.752 | 46.4476
2020-08-29 09:15:00 | 7.608 | 283.493 | 7.891 | 280.149 | 7.976 | 282.233 | 8.069 | 278.167 | 15.606 | 889.917 | 50.597 | 42.3853
2020-08-29 09:30:00 | 8.001 | 274.02 | 8.454 | 269.543 | 8.483 | 275.167 | 8.112 | 271.267 | 15.87 | 889.808 | 49.301 | 43.6103
2020-08-29 09:45:00 | 8.618 | 276.6 | 9.264 | 269.829 | 9.3 | 272.3 | 9.231 | 267.45 | 15.744 | 890.092 | 49.307 | 48.1459
2020-08-29 10:00:00 | 7.302 | 276.413 | 7.434 | 273.228 | 7.473 | 276.9 | 7.71 | 273.567 | 16.079 | 889.775 | 49.509 | 38.9788
2020-08-29 10:15:00 | 6.911 | 267.427 | 7.548 | 262.71 | 7.568 | 269.033 | 7.764 | 267.25 | 16.364 | 890.275 | 47.611 | 43.5272
2020-08-29 10:30:00 | 7.88 | 285.4 | 8.386 | 281.266 | 8.593 | 287.1 | 8.977 | 284.633 | 16.814 | 889.842 | 45.131 | 42.3796
2020-08-29 10:45:00 | 6.932 | 282.707 | 7.619 | 274.921 | 7.793 | 279.7 | 8.49 | 278.067 | 16.981 | 889.617 | 44.709 | 45.1345
2020-08-29 11:00:00 | 7.881 | 283.213 | 8.408 | 278.81 | 8.211 | 284.4 | 8.399 | 282.1 | 17.548 | 890.042 | 43.307 | 44.8517
2020-08-29 11:15:00 | 8.524 | 301.947 | 9.015 | 294.964 | 9.406 | 301.033 | 9.53 | 299.667 | 17.276 | 890.042 | 42.325 | 51.3569
2020-08-29 11:30:00 | 8.337 | 296.733 | 8.798 | 290.239 | 9.055 | 295.533 | 9.485 | 292.7 | 17.081 | 890.142 | 43.365 | 53.6172
2020-08-29 11:45:00 | 8.199 | 289.973 | 8.568 | 285.928 | 8.828 | 291.7 | 9.387 | 289.933 | 17.202 | 890.217 | 42.747 | 52.0064
2020-08-29 12:00:00 | 6.09 | 293.08 | 6.463 | 287.232 | 6.749 | 294.267 | 7.045 | 293.033 | 18.164 | 889.558 | 40.773 | 45.4756
2020-08-29 12:15:00 | 6.433 | 304.413 | 6.613 | 297.461 | 6.783 | 299.367 | 7.294 | 294.7 | 17.823 | 889.442 | 41.984 | 49.4149
2020-08-29 12:30:00 | 8.242 | 294.747 | 9.047 | 285.959 | 9.159 | 291 | 9.768 | 290.333 | 18.027 | 889.925 | 40.459 | 45.369
2020-08-29 12:45:00 | 8.18 | 283.04 | 8.422 | 278.278 | 8.711 | 281.4 | 8.935 | 279.4 | 18.51 | 889.483 | 36.2 | 51.3484
2020-08-29 13:00:00 | 8.757 | 310.92 | 9.125 | 303.653 | 9.556 | 306.833 | 9.86 | 302.033 | 18.944 | 889.667 | 35.707 | 46.0078
2020-08-29 13:15:00 | 7.152 | 308.48 | 7.4 | 304.022 | 7.686 | 307.867 | 7.98 | 306.033 | 18.839 | 889.633 | 33.387 | 51.7094
2020-08-29 13:30:00 | 5.366 | 283.713 | 5.806 | 281.406 | 5.987 | 287.3 | 6.522 | 285.317 | 17.894 | 889.975 | 47.36 | 46.7212
2020-08-29 13:45:00 | 5.718 | 306.027 | 6.216 | 297.638 | 6.29 | 298.767 | 6.499 | 292.167 | 16.28 | 889.75 | 64.469 | 37.4106
2020-08-29 14:00:00 | 9.076 | 319.24 | 9.295 | 312.459 | 9.618 | 317.567 | 9.988 | 314.5 | 17.835 | 889.908 | 44.171 | 44.0608
2020-08-29 14:15:00 | 6.843 | 322.227 | 6.974 | 314.785 | 7.358 | 316.067 | 7.741 | 317.367 | 17.668 | 889.917 | 44.253 | 49.378
2020-08-29 14:30:00 | 7.087 | 302.2 | 7.354 | 293.109 | 7.654 | 297.9 | 8.115 | 296.033 | 18.723 | 889.575 | 39.307 | 37.6153
2020-08-29 14:45:00 | 9.94 | 264.867 | 10.474 | 260.402 | 10.366 | 267.2 | 9.991 | 264.317 | 19.556 | 889.55 | 36.027 | 64.8698
2020-08-29 15:00:00 | 8.22 | 265.86 | 8.899 | 259.866 | 9.305 | 263.7 | 9.362 | 258.833 | 19.052 | 889.95 | 37.859 | 73.9714
2020-08-29 15:15:00 | 10.378 | 274.613 | 11.269 | 268.365 | 11.325 | 272.367 | 11.539 | 265.717 | 20.423 | 889.75 | 34.747 | 74.8021
2020-08-29 15:30:00 | 10.234 | 280.147 | 10.995 | 273.828 | 11.11 | 279.233 | 11.513 | 276.433 | 18.923 | 889.733 | 36.872 | 90.512
2020-08-29 15:45:00 | 7.711 | 274.14 | 8.312 | 270.162 | 8.545 | 275.3 | 8.636 | 272.9 | 19.535 | 889.983 | 35.605 | 66.4209
2020-08-29 16:00:00 | 7.944 | 251.053 | 8.658 | 249.816 | 8.901 | 255.05 | 9.252 | 250.933 | 19.589 | 890.117 | 37.219 | 56.7984
2020-08-29 16:15:00 | 9.127 | 243.447 | 9.822 | 242.3 | 10.181 | 247.033 | 9.812 | 242.9 | 19.802 | 889.683 | 35.845 | 63.9077
2020-08-29 16:30:00 | 7.134 | 266.667 | 7.8 | 261.035 | 7.715 | 266.183 | 7.617 | 260.55 | 19.981 | 889.783 | 34.165 | 47.3031
2020-08-29 16:45:00 | 7.781 | 269.24 | 8.189 | 268.308 | 8.751 | 273.1 | 8.952 | 269.633 | 20.373 | 889.85 | 31.027 | 44.3642
2020-08-29 17:00:00 | 8.259 | 317.08 | 8.701 | 308.687 | 8.932 | 313.233 | 9.39 | 309.7 | 19.685 | 889.25 | 32.789 | 48.5488
2020-08-29 17:15:00 | 6.595 | 302.2 | 6.873 | 296.232 | 7.145 | 296.6 | 7.492 | 293.233 | 20.494 | 889.517 | 30.584 | 41.7294
2020-08-29 17:30:00 | 7.87 | 286.64 | 8.634 | 284.561 | 8.433 | 288.1 | 8.63 | 287.067 | 20.21 | 889.933 | 30.376 | 50.4779
2020-08-29 17:45:00 | 8.161 | 298.547 | 8.632 | 294.466 | 8.904 | 300.233 | 9.302 | 296.633 | 20.418 | 889.783 | 29.355 | 46.724
2020-08-29 18:00:00 | 6.996 | 295.187 | 7.414 | 288.336 | 7.816 | 290.767 | 8.537 | 288.7 | 20.36 | 889.8 | 31.12 | 49.4967
2020-08-29 18:15:00 | 8.356 | 318.227 | 8.9 | 310.767 | 9.218 | 312.367 | 9.302 | 307.967 | 20.927 | 889.35 | 29.371 | 46.2835
2020-08-29 18:30:00 | 8.013 | 311.32 | 8.568 | 304.348 | 8.835 | 311.233 | 9.006 | 309.567 | 20.173 | 889.85 | 30.619 | 43.8882
2020-08-29 18:45:00 | 6.916 | 310.187 | 7.761 | 304.15 | 7.839 | 309.9 | 8.147 | 306.1 | 20.377 | 889.75 | 30.403 | 41.2868
2020-08-29 19:00:00 | 6.831 | 309.507 | 7.366 | 301.83 | 7.478 | 305.333 | 7.883 | 302.6 | 20.348 | 889.7 | 30.789 | 34.822
2020-08-29 19:15:00 | 7.168 | 290.587 | 7.759 | 285.567 | 7.944 | 290.9 | 8.179 | 289 | 19.864 | 889.883 | 32.384 | 37.0966
2020-08-29 19:30:00 | 5.735 | 308.44 | 6.293 | 304.567 | 6.146 | 306.033 | 6.705 | 303.833 | 20.227 | 889.867 | 31.869 | 34.2365
2020-08-29 19:45:00 | 8.798 | 295.4 | 9.901 | 286.467 | 10.177 | 291.833 | 10.512 | 289.1 | 20.339 | 889.833 | 28.469 | 58.9735
2020-08-29 20:00:00 | 10.503 | 284.547 | 11.639 | 278.539 | 11.968 | 282.633 | 12.565 | 281.4 | 20.06 | 889.883 | 27.203 | 88.4542
2020-08-29 20:15:00 | 9.018 | 289.827 | 10.396 | 284.37 | 11.285 | 290.033 | 11.412 | 287.2 | 19.581 | 889.283 | 28.072 | 79.0882
2020-08-29 20:30:00 | 9.462 | 288.587 | 10.531 | 281.464 | 10.966 | 283.833 | 11.107 | 281.867 | 19.064 | 889.95 | 27.581 | 70.1976
2020-08-29 20:45:00 | 6.608 | 276.133 | 7.969 | 270.896 | 8.36 | 276.133 | 8.654 | 272.567 | 18.894 | 890.1 | 27.872 | 60.3733
2020-08-29 21:00:00 | 8.118 | 286.293 | 9.808 | 280.412 | 10.192 | 284.267 | 10.887 | 281.567 | 18.952 | 890.283 | 29.869 | 60.2219
2020-08-29 21:15:00 | 6.65 | 283.333 | 7.933 | 276.733 | 8.504 | 280.967 | 8.965 | 275.933 | 18.723 | 889.583 | 31.88 | 53.1674
2020-08-29 21:30:00 | 7.626 | 290.653 | 8.762 | 286.9 | 9.235 | 290.467 | 10.167 | 287.967 | 18.439 | 890.1 | 32.941 | 50.7046
2020-08-29 21:45:00 | 7.58 | 289.333 | 8.759 | 282.897 | 8.972 | 286.1 | 9.531 | 282.7 | 18.352 | 889.95 | 33.936 | 47.1788
2020-08-29 22:00:00 | 6.869 | 266.08 | 7.949 | 261.702 | 8.174 | 269.483 | 8.289 | 266.467 | 17.918 | 889.583 | 34.827 | 36.7413
2020-08-29 22:15:00 | 7.193 | 269.02 | 8.662 | 263.021 | 9.314 | 268.5 | 9.779 | 261.883 | 17.544 | 889.833 | 36.915 | 58.032
2020-08-29 22:30:00 | 6.158 | 261.447 | 7.135 | 256.537 | 7.422 | 262.433 | 7.77 | 257.017 | 17.285 | 890.233 | 36.453 | 53.009
2020-08-29 22:45:00 | 7.409 | 268.867 | 8.585 | 265.281 | 8.896 | 269.867 | 9.062 | 267.467 | 17.081 | 890.033 | 36.115 | 46.3019
2020-08-29 23:00:00 | 5.744 | 242.393 | 6.72 | 241.678 | 7.022 | 247.767 | 7.164 | 243.033 | 16.964 | 889.75 | 37.653 | 51.2198
2020-08-29 23:15:00 | 4.993 | 254.833 | 5.81 | 253.535 | 6.133 | 260.133 | 6.267 | 254.867 | 16.598 | 889.65 | 40 | 31.4255
2020-08-29 23:30:00 | 4.231 | 245.16 | 5.021 | 245.125 | 5.356 | 251.267 | 5.599 | 248.6 | 16.398 | 889.9 | 40.981 | 18.8968
2020-08-29 23:45:00 | 5.332 | 256.82 | 6.117 | 254.708 | 6.491 | 259.467 | 7.058 | 255.367 | 16.381 | 890.258 | 42.032 | 21.0214