## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-30 00:00:00 | 4.776 | 261.2 | 5.828 | 257.804 | 6.161 | 261.4 | 6.428 | 257 | 16.464 | 890.133 | 43.131 | 25.5875
2020-08-30 00:15:00 | 4.546 | 255.267 | 5.79 | 253.901 | 6.37 | 257.8 | 6.594 | 252.967 | 16.631 | 889.808 | 44.389 | 26.3769
2020-08-30 00:30:00 | 5.489 | 238.813 | 6.388 | 235.707 | 6.74 | 242.733 | 6.928 | 238.133 | 16.464 | 889.992 | 45.355 | 27.7981
2020-08-30 00:45:00 | 4.946 | 234.24 | 5.922 | 232.128 | 6.459 | 237.433 | 6.59 | 233.233 | 15.664 | 889.958 | 46.891 | 25.9996
2020-08-30 01:00:00 | 5.101 | 231.567 | 6.44 | 230.011 | 6.912 | 235.733 | 7.022 | 231.433 | 14.924 | 889.617 | 47.883 | 28.3282
2020-08-30 01:15:00 | 5.349 | 236.367 | 6.613 | 236.002 | 6.988 | 242.667 | 7.247 | 238.667 | 14.808 | 889.675 | 49.707 | 31.5804
2020-08-30 01:30:00 | 5.428 | 237.367 | 6.698 | 238.408 | 7.428 | 245.467 | 7.55 | 241.133 | 14.808 | 889.883 | 50.453 | 34.9748
2020-08-30 01:45:00 | 5.614 | 242.313 | 6.932 | 241.591 | 7.486 | 247.667 | 7.692 | 243.567 | 14.583 | 889.175 | 51.584 | 35.048
2020-08-30 02:00:00 | 5.688 | 244.087 | 6.919 | 244.912 | 7.168 | 250.9 | 7.408 | 246.567 | 13.824 | 890.067 | 52.363 | 34.2159
2020-08-30 02:15:00 | 4.721 | 232.3 | 5.854 | 237.05 | 6.336 | 244.567 | 6.539 | 241.133 | 13.808 | 890.033 | 52.949 | 29.1226
2020-08-30 02:30:00 | 4.974 | 229.88 | 5.858 | 235.222 | 6.248 | 244.467 | 6.668 | 241.667 | 13.649 | 889.858 | 54.048 | 27.3625
2020-08-30 02:45:00 | 5.012 | 232.613 | 6.201 | 236.365 | 6.634 | 243.533 | 6.726 | 238.433 | 13.353 | 890.15 | 54.944 | 26.6363
2020-08-30 03:00:00 | 4.808 | 223.713 | 6.196 | 230.505 | 6.829 | 237.533 | 6.947 | 232.367 | 12.822 | 889.758 | 56.021 | 23.0216
2020-08-30 03:15:00 | 4.846 | 221.04 | 6.647 | 226.909 | 7.372 | 234.2 | 7.404 | 231.3 | 12.584 | 890.208 | 56.821 | 25.8682
2020-08-30 03:30:00 | 4.655 | 214.193 | 6.585 | 218.566 | 7.214 | 227.033 | 7.416 | 226.267 | 12.328 | 889.883 | 57.621 | 28.7211
2020-08-30 03:45:00 | 4.749 | 216.373 | 6.858 | 217.836 | 7.244 | 225.233 | 7.324 | 222.9 | 11.961 | 889.783 | 58.283 | 29.3173
2020-08-30 04:00:00 | 5.425 | 224.033 | 6.868 | 223.977 | 7.543 | 230.5 | 7.967 | 227.133 | 12.128 | 890.125 | 58.475 | 37.2003
2020-08-30 04:15:00 | 5.978 | 219 | 7.622 | 222.528 | 8.697 | 229.533 | 9.182 | 226.3 | 11.876 | 889.625 | 58.763 | 45.7747
2020-08-30 04:30:00 | 5.822 | 224.187 | 7.634 | 225.365 | 8.657 | 233 | 8.913 | 230.9 | 12.438 | 889.983 | 58.112 | 47.3316
2020-08-30 04:45:00 | 5.552 | 232.287 | 7.106 | 230.293 | 8.14 | 235.833 | 8.323 | 231.267 | 12.714 | 889.608 | 57.344 | 43.2863
2020-08-30 05:00:00 | 5.507 | 232.227 | 7.046 | 231.27 | 7.848 | 235.867 | 8.181 | 232.667 | 12.903 | 889.725 | 56.875 | 40.0802
2020-08-30 05:15:00 | 3.887 | 259.493 | 5.255 | 248.097 | 6.362 | 247.85 | 6.885 | 241.8 | 13.097 | 889.817 | 56.827 | 33.6716
2020-08-30 05:30:00 | 4.472 | 258.42 | 4.783 | 247.897 | 5.558 | 249.083 | 6.077 | 241.883 | 12.928 | 889.842 | 56.64 | 28.3388
2020-08-30 05:45:00 | 3.924 | 257.773 | 4.909 | 247.917 | 5.73 | 250.4 | 6.093 | 244.85 | 12.914 | 889.958 | 57.397 | 26.0671
2020-08-30 06:00:00 | 3.815 | 258.447 | 4.862 | 250.938 | 5.471 | 254.033 | 5.736 | 250.033 | 12.707 | 889.983 | 57.792 | 21.5287
2020-08-30 06:15:00 | 4.38 | 257.507 | 4.772 | 255.005 | 4.659 | 260.767 | 4.72 | 260.633 | 12.584 | 890.183 | 57.536 | 12.7923
2020-08-30 06:30:00 | 4.533 | 251.88 | 4.876 | 250.654 | 4.766 | 256.7 | 4.623 | 252.783 | 12.597 | 890.25 | 57.589 | 10.0517
2020-08-30 06:45:00 | 4.976 | 244.24 | 4.619 | 246.79 | 4.298 | 256.133 | 4.421 | 256.433 | 11.982 | 889.933 | 58.581 | 9.3148
2020-08-30 07:00:00 | 4.472 | 243.027 | 5.181 | 240.764 | 5.004 | 247.267 | 4.689 | 244.5 | 12.274 | 890.25 | 58.304 | 9.0462
2020-08-30 07:15:00 | 4.265 | 241.88 | 5.013 | 241.734 | 4.97 | 247.767 | 4.789 | 244.233 | 11.97 | 889.817 | 58.784 | 7.7523
2020-08-30 07:30:00 | 4.215 | 243.833 | 4.982 | 245.322 | 4.481 | 251.367 | 4.417 | 248 | 12.251 | 889.625 | 57.291 | 9.469
2020-08-30 07:45:00 | 4.456 | 236.793 | 4.928 | 240.754 | 4.588 | 245.4 | 4.386 | 244.3 | 13.108 | 890.3 | 54.571 | 10.0538
2020-08-30 08:00:00 | 4.173 | 231.113 | 4.439 | 236.378 | 4.316 | 246.1 | 4.547 | 246.833 | 13.599 | 889.808 | 52.107 | 11.9595
2020-08-30 08:15:00 | 4.26 | 236.413 | 4.78 | 236.203 | 5.189 | 246.5 | 5.539 | 245.367 | 14.416 | 889.892 | 49.291 | 14.9347
2020-08-30 08:30:00 | 3.794 | 252.153 | 3.979 | 250.014 | 4.306 | 256.8 | 5.025 | 256.033 | 15.474 | 889.6 | 46.507 | 14.9397
2020-08-30 08:45:00 | 6.493 | 278.827 | 7.227 | 271.644 | 7.408 | 276.1 | 7.651 | 274.433 | 15.5 | 889.792 | 47.989 | 20.3719
2020-08-30 09:00:00 | 7.452 | 271.427 | 8.144 | 267.986 | 8.116 | 271.017 | 8.242 | 264.833 | 16.136 | 889.925 | 47.787 | 35.9099
2020-08-30 09:15:00 | 7.617 | 274.493 | 8.556 | 269.864 | 8.683 | 274.3 | 8.661 | 269.917 | 16.288 | 889.925 | 46.395 | 45.7328
2020-08-30 09:30:00 | 7.384 | 275.12 | 7.919 | 270.138 | 8.062 | 271.8 | 8.169 | 267.983 | 16.914 | 889.575 | 44.309 | 48.5381
2020-08-30 09:45:00 | 6.83 | 281.933 | 6.923 | 276.014 | 7.177 | 278.8 | 7.467 | 272.733 | 16.998 | 889.808 | 41.947 | 43.1477
2020-08-30 10:00:00 | 6.69 | 288.333 | 7.259 | 283.916 | 7.362 | 287.533 | 7.649 | 284.733 | 17.156 | 889.9 | 38.979 | 37.2436
2020-08-30 10:15:00 | 6.737 | 285.187 | 7.224 | 281.446 | 7.476 | 284.333 | 7.594 | 280.133 | 17.381 | 889.933 | 38.392 | 35.5148
2020-08-30 10:30:00 | 6.449 | 298.773 | 6.894 | 290.207 | 7.074 | 294.2 | 7.323 | 291.033 | 17.852 | 889.367 | 37.053 | 28.9186
2020-08-30 10:45:00 | 6.979 | 287.027 | 7.089 | 281.914 | 7.37 | 282.733 | 7.398 | 280.533 | 17.514 | 889.75 | 36.867 | 28.5129
2020-08-30 11:00:00 | 6.61 | 288.68 | 7.179 | 284.012 | 7.174 | 288.733 | 7.669 | 284.9 | 17.948 | 889.617 | 36.093 | 29.0458
2020-08-30 11:15:00 | 5.82 | 289.107 | 6.353 | 283.571 | 6.508 | 288.033 | 6.975 | 286.867 | 18.189 | 889.617 | 35.397 | 30.8706
2020-08-30 11:30:00 | 6.397 | 298.213 | 6.633 | 294.484 | 6.898 | 298.067 | 7.303 | 294.533 | 18.364 | 890.117 | 34.227 | 27.5437
2020-08-30 11:45:00 | 6.26 | 297.093 | 6.607 | 291.828 | 6.724 | 298 | 7.206 | 294.533 | 18.923 | 889.733 | 33.427 | 26.669
2020-08-30 12:00:00 | 6.129 | 315.6 | 6.036 | 311.676 | 6.374 | 316.533 | 6.852 | 313.267 | 18.706 | 889.783 | 32.763 | 29.6463
2020-08-30 12:15:00 | 6.026 | 315.213 | 6.237 | 304.363 | 6.416 | 305.367 | 6.939 | 300.4 | 18.723 | 889.85 | 31.227 | 25.6557
2020-08-30 12:30:00 | 6.27 | 301.747 | 6.365 | 295.204 | 6.572 | 299 | 6.737 | 291.283 | 19.248 | 889.717 | 30.147 | 25.7104
2020-08-30 12:45:00 | 5.872 | 302.907 | 6.537 | 296.469 | 6.567 | 299.433 | 6.632 | 299.067 | 19.56 | 889.75 | 29.653 | 25.9648
2020-08-30 13:00:00 | 7.092 | 290.453 | 7.481 | 287.623 | 7.494 | 290.1 | 8.162 | 288 | 19.76 | 889.933 | 29.501 | 25.2493
2020-08-30 13:15:00 | 5.976 | 288.68 | 6.198 | 280.478 | 6.07 | 287.633 | 6.144 | 287.133 | 19.823 | 889.5 | 28.957 | 22.5271
2020-08-30 13:30:00 | 5.159 | 298.973 | 5.583 | 294.169 | 5.725 | 299.467 | 6.494 | 295.267 | 19.989 | 889.467 | 28.68 | 20.61
2020-08-30 13:45:00 | 5.971 | 288.513 | 6.217 | 283.185 | 6.422 | 286.367 | 6.513 | 282.067 | 20.314 | 889.65 | 28.587 | 18.4541
2020-08-30 14:00:00 | 6.48 | 299.533 | 6.656 | 295.791 | 6.592 | 301.267 | 6.892 | 299.767 | 20.289 | 889.867 | 28.509 | 17.5226
2020-08-30 14:15:00 | 6.127 | 294.013 | 6.687 | 291.248 | 6.803 | 296.433 | 6.815 | 293.517 | 20.531 | 889.667 | 26.957 | 18.678
2020-08-30 14:30:00 | 7.587 | 307.36 | 8.224 | 298.929 | 8.379 | 300.3 | 8.827 | 298.433 | 21.098 | 889.9 | 26.336 | 20.8992
2020-08-30 14:45:00 | 6.978 | 307.893 | 6.864 | 303.258 | 6.894 | 308.1 | 7.444 | 306.367 | 21.456 | 890.1 | 25.424 | 25.1704
2020-08-30 15:00:00 | 4.82 | 278.46 | 5.23 | 289.519 | 5.3 | 295.333 | 5.679 | 293.267 | 21.214 | 889.65 | 25.531 | 29.772
2020-08-30 15:15:00 | 6.258 | 313.48 | 6.48 | 304.868 | 6.591 | 310.733 | 6.895 | 306.667 | 21.564 | 889.833 | 25.272 | 23.0501
2020-08-30 15:30:00 | 5.264 | 280.367 | 5.784 | 281.792 | 5.659 | 283.433 | 5.701 | 281.717 | 22.364 | 889.85 | 24.043 | 26.8637
2020-08-30 15:45:00 | 6.421 | 302.293 | 6.756 | 294.528 | 6.662 | 298.233 | 7.185 | 296.067 | 22.256 | 889.683 | 23.813 | 27.9125
2020-08-30 16:00:00 | 6.18 | 310.48 | 6.615 | 307.729 | 6.756 | 311.1 | 7.157 | 305.9 | 22.156 | 889.867 | 23.635 | 21.9053
2020-08-30 16:15:00 | 4.128 | 312.08 | 4.322 | 305.598 | 4.521 | 307.533 | 5.084 | 306.567 | 22.31 | 889.5 | 22.941 | 24.4868
2020-08-30 16:30:00 | 4.579 | 280.107 | 4.96 | 278.408 | 5.035 | 285.767 | 5.063 | 285.667 | 22.252 | 889.567 | 23.405 | 20.0493
2020-08-30 16:45:00 | 6.085 | 299.733 | 6.739 | 295.19 | 6.851 | 301.133 | 7.422 | 298.467 | 22.598 | 889.833 | 22.627 | 17.9944
2020-08-30 17:00:00 | 8.138 | 292.467 | 8.694 | 288.278 | 8.548 | 293.867 | 8.734 | 292.433 | 22.464 | 889.967 | 22.184 | 25.358
2020-08-30 17:15:00 | 7.696 | 317.533 | 7.653 | 311.605 | 7.823 | 316.5 | 7.926 | 313.733 | 22.26 | 889.833 | 22.517 | 22.5619
2020-08-30 17:30:00 | 7.245 | 315.893 | 7.719 | 313.091 | 8.237 | 316.967 | 8.562 | 315.967 | 22.564 | 889.65 | 21.835 | 29.0799
2020-08-30 17:45:00 | 7.781 | 298.56 | 8.118 | 295.316 | 8.204 | 300.6 | 8.27 | 298.167 | 22.898 | 889.367 | 20.781 | 29.8097
2020-08-30 18:00:00 | 5.845 | 311.973 | 6.077 | 304.971 | 6.126 | 307.333 | 6.534 | 304.167 | 22.631 | 889.517 | 21.277 | 32.2668
2020-08-30 18:15:00 | 5.833 | 319.293 | 6.024 | 313.463 | 6.25 | 316.433 | 6.548 | 311.7 | 22.814 | 889.767 | 20.583 | 23.9795
2020-08-30 18:30:00 | 6.178 | 305.68 | 6.321 | 299.431 | 6.686 | 304.333 | 7.122 | 304.067 | 22.648 | 889.8 | 21.056 | 28.3274
2020-08-30 18:45:00 | 6.582 | 308.88 | 7.05 | 303.7 | 7.401 | 309.633 | 7.794 | 307.6 | 22.714 | 889.617 | 21.083 | 27.2652
2020-08-30 19:00:00 | 6.833 | 305.227 | 7.172 | 296.061 | 7.435 | 300.8 | 7.803 | 298.067 | 22.931 | 889.9 | 21.616 | 22.4454
2020-08-30 19:15:00 | 6.547 | 307.867 | 6.702 | 301.336 | 6.919 | 304.933 | 7.302 | 303.833 | 22.364 | 889.583 | 21.939 | 26.4231
2020-08-30 19:30:00 | 6.363 | 300.133 | 6.668 | 293.646 | 6.98 | 299.367 | 7.271 | 296 | 22.481 | 889.767 | 21.944 | 26.2434
2020-08-30 19:45:00 | 5.563 | 305.787 | 5.711 | 302.238 | 6.197 | 306.1 | 6.665 | 304.8 | 22.348 | 889.367 | 21.984 | 27.5046
2020-08-30 20:00:00 | 5.235 | 303.693 | 5.543 | 298.493 | 6.085 | 304.633 | 6.472 | 302.467 | 22.031 | 889.517 | 22.861 | 21.4442
2020-08-30 20:15:00 | 4.936 | 301.373 | 5.67 | 299.026 | 5.777 | 305.6 | 6.272 | 302.767 | 21.71 | 889.65 | 24.616 | 16.7971
2020-08-30 20:30:00 | 5.558 | 295.213 | 6.692 | 290.599 | 6.827 | 294.3 | 7.307 | 291.4 | 21.168 | 889.417 | 25.613 | 19.1363
2020-08-30 20:45:00 | 4.064 | 293.533 | 5.129 | 289.583 | 5.573 | 295.133 | 6.005 | 293.433 | 20.798 | 889.85 | 26.416 | 14.7649
2020-08-30 21:00:00 | 4.238 | 295.52 | 5.402 | 296.499 | 5.718 | 300.767 | 6.153 | 296.133 | 20.718 | 889.633 | 26.939 | 12.7348
2020-08-30 21:15:00 | 3.726 | 285.16 | 4.44 | 285.304 | 4.682 | 289.2 | 5.082 | 287.533 | 20.264 | 889.733 | 28.019 | 10.8539
2020-08-30 21:30:00 | 4.004 | 284.64 | 5.091 | 284.134 | 5.251 | 289.533 | 5.644 | 288.933 | 19.952 | 889.917 | 29.043 | 12.0036
2020-08-30 21:45:00 | 4.103 | 282.2 | 5.132 | 283.097 | 5.389 | 288.3 | 5.833 | 287.833 | 19.164 | 889.6 | 29.192 | 12.7589
2020-08-30 22:00:00 | 4.133 | 273.027 | 5.203 | 278.009 | 5.367 | 284.067 | 5.738 | 283.067 | 18.852 | 889.817 | 29.741 | 12.2125
2020-08-30 22:15:00 | 4.184 | 255.447 | 4.713 | 268.04 | 4.988 | 276.4 | 5.488 | 275.8 | 18.368 | 889.417 | 31.171 | 8.7442
2020-08-30 22:30:00 | 3.877 | 259.18 | 4.487 | 269.277 | 4.783 | 276.067 | 5.084 | 273.867 | 18.085 | 889.7 | 32.347 | 8.8743
2020-08-30 22:45:00 | 4.112 | 256.633 | 4.414 | 267.35 | 4.438 | 274.633 | 4.861 | 273.867 | 17.577 | 889.667 | 33.173 | 8.0195
2020-08-30 23:00:00 | 4.274 | 243.487 | 4.323 | 261.497 | 4.331 | 271.467 | 4.681 | 272.233 | 17.323 | 889.883 | 33.827 | 7.9576
2020-08-30 23:15:00 | 5.117 | 237.927 | 4.864 | 250.568 | 4.61 | 259.867 | 4.733 | 259.833 | 16.731 | 889.4 | 35.157 | 7.9939
2020-08-30 23:30:00 | 4.93 | 236.02 | 5.178 | 248.442 | 4.903 | 257.533 | 4.978 | 256.967 | 16.448 | 889.55 | 35.819 | 9.6083
2020-08-30 23:45:00 | 4.981 | 230.347 | 5.528 | 243.001 | 5.008 | 254.933 | 4.936 | 255.433 | 15.913 | 890.167 | 36.229 | 10.0559