## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-08-31 00:00:00 | 4.856 | 232.567 | 5.552 | 243.959 | 5.002 | 254.033 | 4.858 | 255.3 | 15.024 | 889.75 | 36.651 | 10.6265
2020-08-31 00:15:00 | 5.116 | 240.3 | 5.579 | 249.931 | 5.458 | 257.233 | 5.529 | 256.95 | 15.354 | 889.6 | 37.488 | 12.6843
2020-08-31 00:30:00 | 4.877 | 233.46 | 5.54 | 247.38 | 5.327 | 257.2 | 5.406 | 257.983 | 15.412 | 889.9 | 37.424 | 12.6651
2020-08-31 00:45:00 | 5.207 | 228.333 | 5.54 | 242.978 | 5.298 | 254.733 | 5.406 | 254.483 | 14.892 | 889.75 | 38.336 | 13.2116
2020-08-31 01:00:00 | 5.116 | 226.327 | 5.807 | 237.864 | 5.315 | 249.233 | 5.062 | 250.633 | 14.516 | 889.733 | 38.677 | 12.7838
2020-08-31 01:15:00 | 5.282 | 231.5 | 5.774 | 241.543 | 5.16 | 251.467 | 5.119 | 252.45 | 14.841 | 889.55 | 39.056 | 12.8328
2020-08-31 01:30:00 | 5.424 | 234.2 | 6.336 | 240.318 | 6.144 | 249.033 | 5.7 | 248.267 | 14.691 | 889.8 | 39.52 | 15.5628
2020-08-31 01:45:00 | 5.205 | 233.76 | 6.234 | 241.414 | 5.896 | 250.433 | 5.63 | 250.8 | 14.683 | 889.85 | 39.845 | 16.3402
2020-08-31 02:00:00 | 5.191 | 244.333 | 5.634 | 252.311 | 5.526 | 259.8 | 5.765 | 258.783 | 14.354 | 889.4 | 40.821 | 14.2653
2020-08-31 02:15:00 | 5.697 | 220.3 | 7.037 | 224.458 | 6.493 | 238.167 | 5.757 | 243.167 | 14.228 | 889.808 | 41.077 | 16.6159
2020-08-31 02:30:00 | 5.572 | 233.427 | 6.193 | 236.029 | 6.027 | 243.2 | 5.758 | 241.733 | 14.054 | 890.308 | 41.259 | 17.3883
2020-08-31 02:45:00 | 5.548 | 221.16 | 6.88 | 224.587 | 6.805 | 233 | 6.357 | 229.733 | 13.799 | 889.542 | 41.227 | 17.0927
2020-08-31 03:00:00 | 5.058 | 223.293 | 6.158 | 231.177 | 5.755 | 240.267 | 5.478 | 239.4 | 13.849 | 890.442 | 41.515 | 14.2788
2020-08-31 03:15:00 | 6.005 | 224.087 | 6.761 | 227.977 | 6.399 | 236.267 | 5.89 | 234.467 | 13.23 | 889.517 | 42.037 | 15.8634
2020-08-31 03:30:00 | 5.854 | 222.7 | 6.926 | 227.182 | 6.765 | 234.833 | 6.209 | 231.6 | 13.151 | 889.875 | 42.613 | 18.1138
2020-08-31 03:45:00 | 5.767 | 222.553 | 6.926 | 226.664 | 6.802 | 233.9 | 6.382 | 230.433 | 12.943 | 889.883 | 43.296 | 18.0782
2020-08-31 04:00:00 | 5.283 | 225.84 | 6.149 | 232.711 | 5.797 | 240.133 | 5.386 | 239.4 | 13.316 | 889.608 | 43.947 | 12.8392
2020-08-31 04:15:00 | 5.529 | 225.627 | 5.843 | 234.406 | 5.462 | 244.2 | 4.987 | 244.733 | 12.847 | 889.558 | 44.864 | 10.0986
2020-08-31 04:30:00 | 5.377 | 229.607 | 5.119 | 245.931 | 4.407 | 259.6 | 4.475 | 265.067 | 13.005 | 889.633 | 45.643 | 8.6632
2020-08-31 04:45:00 | 5.867 | 219.047 | 6.898 | 223.455 | 6.44 | 231.367 | 5.671 | 230.033 | 12.278 | 889.933 | 46.635 | 13.8717
2020-08-31 05:00:00 | 5.778 | 221.067 | 6.301 | 225.565 | 5.91 | 234.467 | 5.437 | 233 | 12.332 | 890.292 | 46.901 | 12.0683
2020-08-31 05:15:00 | 6.123 | 219.887 | 7.146 | 221.756 | 6.456 | 229.633 | 5.941 | 229.033 | 12.299 | 890.158 | 47.189 | 14.0657
2020-08-31 05:30:00 | 6.228 | 220.127 | 7.674 | 222.278 | 6.869 | 229.133 | 6.367 | 228.133 | 12.107 | 889.725 | 47.2 | 16.8355
2020-08-31 05:45:00 | 6.008 | 220.927 | 7.56 | 221.01 | 6.992 | 227.867 | 6.362 | 228.367 | 12.24 | 889.7 | 47.509 | 18.7909
2020-08-31 06:00:00 | 5.692 | 220.2 | 7.018 | 222.743 | 6.362 | 232.333 | 6.04 | 234.5 | 12.145 | 889.883 | 47.701 | 15.6097
2020-08-31 06:15:00 | 5.535 | 221.987 | 6.819 | 224.631 | 6.402 | 234.133 | 6.192 | 233.9 | 12.066 | 890.275 | 47.531 | 15.1358
2020-08-31 06:30:00 | 5.622 | 222.367 | 7.331 | 221.678 | 6.733 | 228.5 | 6.309 | 228.1 | 12.095 | 890.392 | 47.637 | 16.6358
2020-08-31 06:45:00 | 5.914 | 221.267 | 7.483 | 223.805 | 7.007 | 229.967 | 6.896 | 227.467 | 12.095 | 889.733 | 47.456 | 19.5292
2020-08-31 07:00:00 | 5.993 | 223.533 | 7.473 | 221.924 | 7.346 | 227.633 | 6.96 | 226.133 | 12.349 | 889.642 | 46.901 | 21.2225
2020-08-31 07:15:00 | 6.004 | 219.52 | 7.914 | 218.08 | 7.594 | 226.067 | 7.113 | 224.567 | 12.909 | 889.983 | 44 | 22.7225
2020-08-31 07:30:00 | 6.216 | 217.387 | 7.847 | 218.832 | 7.39 | 227.6 | 7.154 | 224.967 | 13.214 | 889.625 | 41.707 | 22.9428
2020-08-31 07:45:00 | 6.106 | 219.527 | 7.072 | 221.976 | 6.978 | 230.367 | 6.546 | 230.967 | 14.191 | 889.65 | 38.661 | 19.8106
2020-08-31 08:00:00 | 5.849 | 223.793 | 6.575 | 224.936 | 6.528 | 233 | 6.308 | 235.233 | 15.388 | 889.617 | 37.211 | 15.4626
2020-08-31 08:15:00 | 4.615 | 234.747 | 6.226 | 223.537 | 6.748 | 227.167 | 6.557 | 227.267 | 16.464 | 889.967 | 34.347 | 13.3494
2020-08-31 08:30:00 | 5.573 | 220.447 | 6.556 | 220.712 | 6.773 | 226.767 | 6.465 | 224.5 | 16.898 | 889.983 | 33.28 | 14.2618
2020-08-31 08:45:00 | 5.647 | 225.093 | 5.999 | 224.257 | 6.481 | 231.533 | 6.271 | 231.667 | 18.085 | 889.767 | 32.373 | 13.0467
2020-08-31 09:00:00 | 5.306 | 229.927 | 5.51 | 227.398 | 5.742 | 232.633 | 5.812 | 228.6 | 19.064 | 889.817 | 31.76 | 10.5398
2020-08-31 09:15:00 | 5.093 | 228.147 | 5.094 | 226.041 | 5.198 | 231.833 | 5.154 | 226.2 | 19.768 | 889.533 | 32.208 | 9.0277
2020-08-31 09:30:00 | 3.772 | 246.173 | 4.027 | 244.144 | 4.41 | 248.55 | 4.469 | 245.717 | 20.698 | 889.7 | 31.715 | 6.2239
2020-08-31 09:45:00 | 3.283 | 252.18 | 3.466 | 245.886 | 3.58 | 248.883 | 3.736 | 246.45 | 21.435 | 889.717 | 31.507 | 3.5514
2020-08-31 10:00:00 | 3.604 | 287.807 | 3.77 | 278.451 | 3.995 | 283.767 | 3.966 | 279.917 | 20.489 | 889.683 | 31.885 | 2.8224
2020-08-31 10:15:00 | 3.009 | 280.76 | 3.132 | 277.398 | 3.416 | 282.2 | 3.694 | 279.767 | 20.735 | 889.783 | 31.803 | 1.9398
2020-08-31 10:30:00 | 3.174 | 319.427 | 3.28 | 305.437 | 3.378 | 306.8 | 3.667 | 301.567 | 20.331 | 889.733 | 32.192 | 0.78873
2020-08-31 10:45:00 | 1.424 | 243.941 | 1.296 | 250.309 | 1.44 | 280.633 | 1.795 | 323.267 | 20.873 | 889.833 | 31.76 | 0.33539
2020-08-31 11:00:00 | 4.318 | 263.107 | 4.312 | 257.719 | 4.172 | 265.617 | 4.451 | 263.25 | 21.398 | 890.183 | 31.083 | 0.51161
2020-08-31 11:15:00 | 2.231 | 290.333 | 2.36 | 293.769 | 2.53 | 300.967 | 3.254 | 292.5 | 22.31 | 889.75 | 28.912 | 0.86689
2020-08-31 11:30:00 | 2.874 | 223.72 | 2.398 | 223.168 | 2.266 | 230.117 | 2.616 | 224.583 | 21.76 | 889.5 | 29.168 | 0.64733
2020-08-31 11:45:00 | 0.629 | 253.7 | 0.43 | 245.485 | 0.463 | 254.4 | 0.964 | 233.4 | 22.464 | 889.7 | 28.661 | 0.9749
2020-08-31 12:00:00 | 2.924 | 270.533 | 3.534 | 315.724 | 4.051 | 318.9 | 4.437 | 322.033 | 22.731 | 889.567 | 27.824 | 0.88892
2020-08-31 12:15:00 | 2.176 | 270.313 | 2.342 | 274.304 | 1.856 | 275.133 | 2.133 | 281.9 | 22.139 | 889.367 | 28.037 | 2.2923
2020-08-31 12:30:00 | 4.032 | 304.853 | 4.103 | 289.379 | 4.043 | 294.867 | 4.193 | 280.383 | 22.831 | 889.767 | 25.389 | 1.8084
2020-08-31 12:45:00 | 3.331 | 264.32 | 3.355 | 260.038 | 3.241 | 258.417 | 3.247 | 256.333 | 23.314 | 890.183 | 24.232 | 2.4031
2020-08-31 13:00:00 | 3.993 | 303.52 | 3.963 | 305.305 | 4.133 | 308.433 | 4.483 | 303.233 | 23.394 | 890.117 | 22.757 | 2.396
2020-08-31 13:15:00 | 2.324 | 212.807 | 2.23 | 215.536 | 2.466 | 233.333 | 2.787 | 220.55 | 24.423 | 889.933 | 21.301 | 1.6805
2020-08-31 13:30:00 | 3.455 | 302.707 | 3.672 | 324.02 | 3.609 | 304.2 | 3.828 | 317.633 | 23.668 | 890.133 | 20.836 | 1.0708
2020-08-31 13:45:00 | 2.335 | 166.459 | 2.642 | 199.763 | 3.003 | 144.233 | 3.407 | 206.533 | 23.731 | 889.833 | 20.003 | 2.87
2020-08-31 14:00:00 | 4.814 | 276.58 | 5.096 | 268.471 | 5.454 | 270.533 | 5.575 | 261.15 | 24.031 | 889.667 | 17.709 | 2.5474
2020-08-31 14:15:00 | 4.609 | 218.433 | 4.36 | 218.042 | 4.421 | 225.767 | 4.587 | 225.667 | 25.106 | 889.5 | 17.443 | 4.9399
2020-08-31 14:30:00 | 4.326 | 295.753 | 4.086 | 290.981 | 4.217 | 296.55 | 4.489 | 296.3 | 24.352 | 889.533 | 17.723 | 4.8994
2020-08-31 14:45:00 | 2.783 | 94.585 | 3.145 | 171.57 | 3.087 | 121.433 | 3.668 | 203.533 | 24.427 | 889.8 | 18.047 | 4.8482
2020-08-31 15:00:00 | 4.584 | 312.113 | 4.874 | 309.532 | 4.879 | 314.567 | 5.246 | 316.667 | 24.852 | 889.467 | 18.549 | 5.9567
2020-08-31 15:15:00 | 3.11 | 275.993 | 2.88 | 279.088 | 3.122 | 289.5 | 3.106 | 290.5 | 24.91 | 889.3 | 18.733 | 9.5742
2020-08-31 15:30:00 | 5.316 | 309.16 | 5.188 | 297.745 | 5.559 | 303.6 | 5.842 | 301.967 | 24.735 | 889.5 | 18.143 | 5.5787
2020-08-31 15:45:00 | 5.292 | 304.027 | 5.797 | 299.949 | 6.131 | 302.467 | 6.23 | 301.967 | 24.989 | 889.8 | 17.571 | 12.9138
2020-08-31 16:00:00 | 5.366 | 321.267 | 5.093 | 315.874 | 5.39 | 319.7 | 5.66 | 322.533 | 25.106 | 889.3 | 17.7 | 13.9015
2020-08-31 16:15:00 | 6.896 | 320.24 | 7.225 | 316.292 | 7.578 | 323.033 | 7.713 | 320.6 | 25.414 | 889.367 | 16.463 | 11.6718
2020-08-31 16:30:00 | 7.657 | 309.6 | 7.697 | 302.719 | 7.738 | 305.567 | 8.103 | 301.767 | 25.139 | 889.467 | 16.568 | 17.9432
2020-08-31 16:45:00 | 4.46 | 285.293 | 4.491 | 273.298 | 4.851 | 276.433 | 5.211 | 272 | 24.748 | 889.333 | 17.505 | 23.6356
2020-08-31 17:00:00 | 7.73 | 316.96 | 8.14 | 320.738 | 8.206 | 325.633 | 8.358 | 324.533 | 25.356 | 889.5 | 16.861 | 24.8258
2020-08-31 17:15:00 | 3.777 | 288.813 | 3.937 | 287.527 | 4.173 | 281.102 | 4.577 | 282.767 | 25.448 | 889.367 | 17.235 | 13.1334
2020-08-31 17:30:00 | 4.673 | 326.44 | 4.665 | 329.033 | 4.899 | 332.533 | 5.684 | 326.467 | 24.764 | 889.467 | 16.595 | 23.6221
2020-08-31 17:45:00 | 7.331 | 322.773 | 7.576 | 315.43 | 7.86 | 319.3 | 8.211 | 317.933 | 25.414 | 889.567 | 16.395 | 26.988
2020-08-31 18:00:00 | 7.212 | 304.396 | 7.523 | 295.631 | 8.097 | 300.7 | 8.194 | 318.633 | 25.064 | 889.467 | 15.833 | 21.2403
2020-08-31 18:15:00 | 4.464 | 319.787 | 4.9 | 313.324 | 4.796 | 315.5 | 5.182 | 311.933 | 25.41 | 889.2 | 15.705 | 24.1294
2020-08-31 18:30:00 | 5.647 | 300.2 | 5.82 | 297.024 | 6.086 | 300.967 | 6.236 | 298.467 | 25.356 | 889.733 | 15.024 | 22.9513
2020-08-31 18:45:00 | 7.102 | 321.733 | 7.322 | 317.553 | 7.502 | 321.6 | 7.836 | 319.467 | 25.406 | 889.833 | 14.801 | 29.4558
2020-08-31 19:00:00 | 7.133 | 314.8 | 7.546 | 306.652 | 7.748 | 310.467 | 8.006 | 310.967 | 25.256 | 889.733 | 14.073 | 32.485
2020-08-31 19:15:00 | 7.289 | 315.28 | 7.802 | 306.06 | 8.105 | 309.767 | 8.35 | 305.933 | 24.677 | 889.6 | 14.411 | 26.5617
2020-08-31 19:30:00 | 5.608 | 317.027 | 5.943 | 308.517 | 6.454 | 312.333 | 6.748 | 309.767 | 24.744 | 890.067 | 15.545 | 24.4314
2020-08-31 19:45:00 | 5.866 | 312.4 | 6.061 | 305.798 | 6.567 | 311.167 | 7.1 | 310.967 | 24.631 | 889.567 | 14.832 | 21.5621
2020-08-31 20:00:00 | 5.092 | 314.72 | 5.303 | 309.717 | 5.662 | 312.933 | 5.789 | 310.3 | 24.11 | 889.667 | 14.731 | 21.8236
2020-08-31 20:15:00 | 5.994 | 312.093 | 6.673 | 306.459 | 7.118 | 311.1 | 7.316 | 308.833 | 23.894 | 889.6 | 15.36 | 20.9354
2020-08-31 20:30:00 | 4.997 | 322.027 | 5.712 | 315.861 | 6.124 | 320.133 | 6.471 | 320.3 | 23.364 | 889.367 | 15.501 | 21.2701
2020-08-31 20:45:00 | 4.413 | 316.533 | 5.281 | 311.839 | 5.952 | 316.867 | 6.424 | 317.633 | 22.764 | 889.267 | 16.296 | 18.6652
2020-08-31 21:00:00 | 3.889 | 313.067 | 4.715 | 313.424 | 5.347 | 318.267 | 5.824 | 318.8 | 22.344 | 889.533 | 16.732 | 14.924
2020-08-31 21:15:00 | 3.854 | 297.973 | 4.689 | 300.892 | 5.15 | 307.033 | 5.693 | 304.667 | 22.402 | 889.567 | 16.473 | 12.8613
2020-08-31 21:30:00 | 3.52 | 279.72 | 4.219 | 288.725 | 4.831 | 299.1 | 5.287 | 300.867 | 22.027 | 889.9 | 18.056 | 9.1869
2020-08-31 21:45:00 | 3.015 | 277.067 | 4.549 | 290.012 | 5.24 | 298.633 | 5.566 | 299.4 | 20.731 | 889.633 | 20.264 | 5.8643
2020-08-31 22:00:00 | 4.142 | 275.56 | 4.229 | 284.979 | 4.614 | 292.333 | 5.136 | 292.433 | 20.585 | 889.683 | 21.779 | 6.5194
2020-08-31 22:15:00 | 4.567 | 261.273 | 4.058 | 273.993 | 4.285 | 283.567 | 4.624 | 287.333 | 20.564 | 889.85 | 21.792 | 6.4534
2020-08-31 22:30:00 | 4.752 | 249.527 | 4.152 | 262.893 | 4.139 | 274.6 | 4.183 | 277 | 19.56 | 889.817 | 21.733 | 5.2802
2020-08-31 22:45:00 | 4.614 | 248.313 | 3.86 | 263.884 | 3.814 | 276.333 | 4.214 | 277.6 | 18.885 | 889.867 | 22.035 | 4.5249
2020-08-31 23:00:00 | 4.42 | 250.767 | 3.914 | 270.023 | 3.822 | 282 | 4.076 | 283.733 | 18.489 | 889.367 | 22.197 | 4.3671
2020-08-31 23:15:00 | 4.356 | 241.693 | 4.013 | 269.317 | 3.404 | 282 | 3.686 | 287.333 | 17.81 | 889.617 | 22.565 | 4.2492
2020-08-31 23:30:00 | 4.595 | 241.167 | 4.212 | 261.642 | 3.6 | 279.133 | 3.711 | 290.067 | 17.431 | 890.217 | 22.384 | 3.8285
2020-08-31 23:45:00 | 5.043 | 233.9 | 4.128 | 251.16 | 3.436 | 271.067 | 3.483 | 284.567 | 16.764 | 889.15 | 23.083 | 2.1914