## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-01 00:00:00 | 5.154 | 232.78 | 4.167 | 256.222 | 3.429 | 277.4 | 3.893 | 287.7 | 16.981 | 889.517 | 23.904 | 2.229
2020-09-01 00:15:00 | 4.425 | 231.393 | 3.598 | 262.228 | 3.323 | 285.333 | 3.737 | 293.933 | 16.598 | 889.967 | 24.68 | 1.7743
2020-09-01 00:30:00 | 4.272 | 238.6 | 4.309 | 269.324 | 3.941 | 284.533 | 4.115 | 291.167 | 16.448 | 889.733 | 25.317 | 1.7302
2020-09-01 00:45:00 | 4.511 | 243.1 | 4.295 | 270.009 | 3.935 | 281.533 | 4.078 | 284.767 | 16.398 | 889.617 | 25.04 | 2.0677
2020-09-01 01:00:00 | 4.421 | 239.467 | 5.016 | 264.354 | 4.605 | 275.067 | 4.545 | 274.5 | 15.958 | 889.617 | 25.339 | 3.7042
2020-09-01 01:15:00 | 4.783 | 227.247 | 4.442 | 255.03 | 4.014 | 267.467 | 3.989 | 272.633 | 15.573 | 889.967 | 25.293 | 4.1078
2020-09-01 01:30:00 | 4.946 | 226.793 | 4.472 | 255.033 | 3.813 | 273.2 | 3.981 | 278.8 | 15.272 | 889.817 | 25.44 | 2.6703
2020-09-01 01:45:00 | 5.704 | 224.6 | 5.19 | 247.9 | 4.452 | 264.2 | 4.097 | 267.533 | 14.991 | 889.75 | 26.064 | 3.1556
2020-09-01 02:00:00 | 5.974 | 228.567 | 5.194 | 245.982 | 4.41 | 255.733 | 4.291 | 259.333 | 14.708 | 889.717 | 26.155 | 4.5427
2020-09-01 02:15:00 | 5.57 | 228.8 | 5.604 | 244.535 | 4.932 | 253.6 | 4.671 | 252.333 | 14.908 | 889.683 | 26.581 | 6.5791
2020-09-01 02:30:00 | 4.678 | 238.567 | 5.664 | 247.447 | 5.254 | 256.1 | 4.956 | 254.167 | 14.958 | 889.6 | 26.576 | 9.3837
2020-09-01 02:45:00 | 5.31 | 238.42 | 5.42 | 249.37 | 4.91 | 258.133 | 4.67 | 260.067 | 15.336 | 889.833 | 26.48 | 9.5649
2020-09-01 03:00:00 | 5.549 | 234.933 | 5.38 | 251.631 | 4.697 | 264.733 | 4.616 | 267.167 | 15.091 | 889.917 | 26.864 | 7.144
2020-09-01 03:15:00 | 5.394 | 234.82 | 5.516 | 250.939 | 5.014 | 264.6 | 4.687 | 267.467 | 14.387 | 889.633 | 28.016 | 7.2179
2020-09-01 03:30:00 | 5.225 | 224.68 | 5.521 | 244.597 | 4.575 | 260.733 | 4.267 | 268.133 | 14.008 | 889.533 | 28.891 | 6.3745
2020-09-01 03:45:00 | 5.484 | 223.82 | 5.337 | 237.59 | 4.502 | 252.067 | 4.031 | 258 | 13.641 | 889.683 | 29.573 | 5.8899
2020-09-01 04:00:00 | 5.288 | 223.367 | 5.139 | 237.429 | 4.397 | 251.067 | 3.913 | 258 | 13.366 | 889.767 | 30.16 | 4.9683
2020-09-01 04:15:00 | 5.66 | 224.327 | 5.651 | 232.544 | 4.662 | 244.267 | 3.803 | 251.8 | 13.578 | 889.683 | 30.741 | 5.136
2020-09-01 04:30:00 | 5.144 | 223.553 | 5.777 | 233.644 | 4.926 | 240.733 | 4.02 | 242.2 | 13.658 | 889.667 | 31.253 | 4.7153
2020-09-01 04:45:00 | 4.834 | 215.353 | 5.495 | 231.417 | 4.75 | 238.2 | 4.121 | 234.533 | 13.147 | 889.483 | 32.309 | 4.8397
2020-09-01 05:00:00 | 5.399 | 214.84 | 5.291 | 232.047 | 4.515 | 241.7 | 3.81 | 241.033 | 12.845 | 889.833 | 32.949 | 3.4853
2020-09-01 05:15:00 | 5.731 | 215.613 | 5.314 | 229.009 | 4.495 | 237.3 | 3.319 | 237.433 | 12.474 | 889.717 | 33.547 | 3.0782
2020-09-01 05:30:00 | 5.983 | 215.767 | 5.193 | 224.11 | 4.251 | 232.9 | 3.303 | 234.7 | 12.32 | 889.867 | 33.712 | 2.2582
2020-09-01 05:45:00 | 5.3 | 214.847 | 4.928 | 220.739 | 3.616 | 228.7 | 2.572 | 228.633 | 12.682 | 889.95 | 33.819 | 1.7501
2020-09-01 06:00:00 | 6.147 | 214.167 | 5.801 | 218.24 | 4.497 | 222.633 | 3.34 | 222.967 | 12.297 | 889.583 | 34.341 | 4.4226
2020-09-01 06:15:00 | 6.371 | 213.627 | 5.964 | 215.874 | 4.502 | 220.867 | 3.355 | 216.433 | 12.395 | 889.683 | 34.768 | 4.1291
2020-09-01 06:30:00 | 5.406 | 212.873 | 6.134 | 209.522 | 5.177 | 212.1 | 4.51 | 208.367 | 12.24 | 889.867 | 35.152 | 3.3958
2020-09-01 06:45:00 | 4.61 | 208.633 | 6.162 | 212.253 | 5.316 | 212.933 | 4.092 | 206.1 | 12.484 | 889.683 | 35.381 | 3.4228
2020-09-01 07:00:00 | 4.26 | 205.367 | 5.983 | 204.566 | 5.383 | 209 | 4.508 | 204 | 11.69 | 889.633 | 36.72 | 2.6469
2020-09-01 07:15:00 | 5.035 | 212.933 | 6.092 | 210.474 | 5.189 | 211.233 | 4.468 | 201.867 | 12.182 | 889.833 | 35.029 | 2.9894
2020-09-01 07:30:00 | 4.966 | 214.287 | 5.743 | 212.481 | 5.065 | 215.6 | 4.088 | 205.433 | 12.976 | 889.95 | 33.445 | 3.8179
2020-09-01 07:45:00 | 4.686 | 218.4 | 6.478 | 213.927 | 5.395 | 216.267 | 4.299 | 211.167 | 13.941 | 889.567 | 32.027 | 3.7958
2020-09-01 08:00:00 | 3.93 | 215.1 | 5.631 | 212.174 | 4.598 | 216.8 | 3.552 | 212 | 14.974 | 889.633 | 30.064 | 1.9796
2020-09-01 08:15:00 | 3.268 | 206.153 | 4.783 | 206.511 | 4.78 | 209.967 | 4.236 | 203.1 | 16.381 | 889.733 | 28.096 | 1.2215
2020-09-01 08:30:00 | 3.397 | 201.04 | 3.502 | 200.618 | 3.986 | 204.867 | 4.935 | 204.133 | 18.027 | 889.433 | 25.979 | 0.79086
2020-09-01 08:45:00 | 3.183 | 198.053 | 3.084 | 193.756 | 3.01 | 198 | 3.558 | 194.133 | 19.235 | 889.883 | 24.203 | 1.2357
2020-09-01 09:00:00 | 2.41 | 170.093 | 2.252 | 165.988 | 1.994 | 173.7 | 2.537 | 171.767 | 20.594 | 889.733 | 22.219 | 0.18119
2020-09-01 09:15:00 | 2.115 | 80.587 | 2.079 | 87.902 | 1.79 | 97.733 | 1.996 | 92.967 | 20.523 | 889.817 | 22.379 | 0.97135
2020-09-01 09:30:00 | 2.609 | 102.513 | 2.417 | 98.592 | 2.191 | 103.8 | 2.321 | 94.867 | 20.531 | 889.95 | 22.043 | 1.1923
2020-09-01 09:45:00 | 1.319 | 119.747 | 1.217 | 118.806 | 1.253 | 122.933 | 1.972 | 110.033 | 21.056 | 889.8 | 21.355 | 3.5798
2020-09-01 10:00:00 | 4.661 | 117.357 | 4.806 | 113.682 | 4.914 | 116.867 | 4.92 | 116.867 | 21.531 | 889.55 | 20.299 | 8.2632
2020-09-01 10:15:00 | 4.713 | 120.253 | 4.949 | 116.202 | 5.209 | 121.3 | 5.616 | 118.8 | 21.427 | 889.817 | 20.661 | 10.1774
2020-09-01 10:30:00 | 4.659 | 124.607 | 4.569 | 123.274 | 4.539 | 132.767 | 4.684 | 129.1 | 21.914 | 889.45 | 20.68 | 8.4792
2020-09-01 10:45:00 | 4.893 | 116.6 | 4.969 | 114.38 | 5.172 | 117.967 | 5.425 | 114.367 | 22.023 | 890.083 | 21.088 | 6.6573
2020-09-01 11:00:00 | 3.989 | 140.213 | 4.375 | 138.27 | 4.539 | 145.2 | 4.812 | 141.967 | 22.168 | 889.433 | 20.432 | 5.5566
2020-09-01 11:15:00 | 3.122 | 118.767 | 3.183 | 114.892 | 3.171 | 122.4 | 3.843 | 122.433 | 22.664 | 889.85 | 20.867 | 4.0886
2020-09-01 11:30:00 | 3.068 | 147.847 | 3.194 | 136.724 | 3.141 | 138.5 | 3.423 | 132.567 | 22.764 | 889.833 | 20.8 | 3.9891
2020-09-01 11:45:00 | 2.284 | 126.54 | 2.202 | 130.461 | 2.389 | 127.5 | 3.098 | 134.7 | 23.331 | 889.5 | 21.296 | 3.513
2020-09-01 12:00:00 | 3.297 | 119.227 | 3.428 | 119.271 | 3.23 | 121.9 | 3.552 | 115.333 | 23.698 | 889.867 | 21.061 | 4.1163
2020-09-01 12:15:00 | 3.405 | 117.181 | 3.513 | 98.283 | 3.628 | 98.733 | 3.786 | 95.533 | 23.664 | 889.833 | 21.189 | 4.5014
2020-09-01 12:30:00 | 3.939 | 108.79 | 3.667 | 101.039 | 3.691 | 105.567 | 4.173 | 106.133 | 23.981 | 889.733 | 20.616 | 4.5569
2020-09-01 12:45:00 | 3.007 | 111.327 | 3.222 | 110.32 | 3.234 | 118 | 3.596 | 116.833 | 24.156 | 889.533 | 19.851 | 3.0839
2020-09-01 13:00:00 | 3.334 | 118.33 | 3.654 | 98.179 | 3.796 | 100.1 | 3.991 | 98.133 | 24.294 | 889.4 | 19.568 | 3.0093
2020-09-01 13:15:00 | 3.684 | 74.198 | 3.683 | 79.136 | 3.873 | 83.967 | 4.267 | 79.4 | 24.56 | 889.567 | 19.405 | 3.8719
2020-09-01 13:30:00 | 4.873 | 126.577 | 5.138 | 123.029 | 5.358 | 124.433 | 5.382 | 119.5 | 24.918 | 889.433 | 18.496 | 3.4356
2020-09-01 13:45:00 | 4.09 | 58.479 | 4.026 | 60.884 | 3.866 | 69.6 | 4.168 | 72.5 | 24.823 | 889.133 | 18.52 | 2.9531
2020-09-01 14:00:00 | 3.039 | 73.113 | 3.094 | 83.344 | 3.161 | 89.433 | 3.559 | 85.667 | 25.118 | 889.133 | 17.643 | 2.1274
2020-09-01 14:15:00 | 2.672 | 124.67 | 3.139 | 105.016 | 3.472 | 108.267 | 3.808 | 109.3 | 25.46 | 889.3 | 16.573 | 1.9541
2020-09-01 14:30:00 | 2.606 | 88.386 | 2.303 | 93.024 | 2.518 | 60.104 | 2.86 | 65.833 | 25.352 | 889.433 | 16.388 | 2.6604
2020-09-01 14:45:00 | 3.49 | 61.214 | 3.656 | 58.282 | 3.917 | 66.4 | 4.198 | 63.733 | 26.094 | 889.733 | 15.941 | 1.3664
2020-09-01 15:00:00 | 3.176 | 69.477 | 3.201 | 69.446 | 3.125 | 76.2 | 3.398 | 67.067 | 26.852 | 889.967 | 15.045 | 2.5779
2020-09-01 15:15:00 | 4.633 | 69.309 | 4.575 | 68.759 | 4.927 | 71.467 | 5.088 | 67.9 | 26.281 | 889.267 | 15.136 | 1.7217
2020-09-01 15:30:00 | 1.604 | 141.462 | 1.323 | 62.615 | 1.913 | 54.61 | 1.63 | 50.833 | 26.439 | 889.233 | 15.243 | 1.414
2020-09-01 15:45:00 | 4.03 | 50.482 | 4.154 | 45.802 | 4.402 | 54.533 | 4.932 | 48.867 | 26.635 | 889.067 | 14.349 | 1.6101
2020-09-01 16:00:00 | 2.759 | 63.235 | 2.866 | 66.825 | 2.88 | 76.367 | 3.354 | 67.767 | 27.356 | 889.967 | 14.213 | 0.80507
2020-09-01 16:15:00 | 2.711 | 70.628 | 3.014 | 63.914 | 3.19 | 63.333 | 3.773 | 58.167 | 27.568 | 889.8 | 13.669 | 2.384
2020-09-01 16:30:00 | 3.39 | 39.01 | 3.242 | 40.72 | 3.127 | 50.533 | 3.193 | 54.933 | 27.164 | 889.8 | 13.531 | 1.9072
2020-09-01 16:45:00 | 3.88 | 43.852 | 3.905 | 40.283 | 4.012 | 48 | 4.534 | 41.6 | 26.998 | 889.533 | 14.069 | 1.1987
2020-09-01 17:00:00 | 3.863 | 57.367 | 4.075 | 56.023 | 4.529 | 61.067 | 4.806 | 57.233 | 27.639 | 889.733 | 14.243 | 2.2639
2020-09-01 17:15:00 | 4.212 | 64.403 | 4.199 | 66.148 | 4.444 | 68.1 | 4.798 | 66.833 | 27.318 | 889.167 | 14.224 | 3.6601
2020-09-01 17:30:00 | 4.544 | 62.433 | 4.51 | 63.667 | 4.637 | 67.067 | 5.302 | 67 | 27.835 | 889.167 | 14.08 | 4.4304
2020-09-01 17:45:00 | 3.626 | 65.07 | 3.841 | 65.7 | 4.021 | 72.9 | 4.356 | 67.933 | 27.598 | 889.367 | 13.288 | 5.7449
2020-09-01 18:00:00 | 5.45 | 61.793 | 5.77 | 56.745 | 6.315 | 61.7 | 6.566 | 56.233 | 27.385 | 889.5 | 13.059 | 6.3582
2020-09-01 18:15:00 | 3.156 | 56.582 | 3.293 | 50.06 | 3.315 | 60.167 | 3.918 | 59.767 | 27.818 | 889.267 | 12.96 | 11.0053
2020-09-01 18:30:00 | 4.067 | 70.472 | 4.033 | 62.815 | 4.242 | 61.333 | 4.492 | 52.4 | 27.652 | 889.733 | 12.589 | 9.5486
2020-09-01 18:45:00 | 4.622 | 50.529 | 4.579 | 44.757 | 4.586 | 48.7 | 5.254 | 49.533 | 27.614 | 889.433 | 12.699 | 9.1869
2020-09-01 19:00:00 | 3.833 | 67.652 | 3.7 | 59.924 | 3.453 | 64.167 | 3.716 | 60.8 | 27.248 | 889.8 | 13.123 | 9.7134
2020-09-01 19:15:00 | 4.47 | 73.178 | 4.475 | 68.93 | 4.868 | 72.8 | 5.033 | 66.933 | 27.298 | 889.133 | 13.171 | 10.8837
2020-09-01 19:30:00 | 4.383 | 73.973 | 4.297 | 67.769 | 4.589 | 70.833 | 4.701 | 66.8 | 26.756 | 889.3 | 13.739 | 8.5524
2020-09-01 19:45:00 | 4.214 | 63.783 | 4.365 | 60.608 | 4.38 | 64.833 | 4.604 | 62.767 | 26.144 | 889.233 | 14.168 | 8.5595
2020-09-01 20:00:00 | 3.836 | 57.212 | 3.786 | 55.004 | 4.028 | 60.533 | 4.113 | 59.1 | 25.918 | 889.467 | 14.285 | 9.3056
2020-09-01 20:15:00 | 3.967 | 69.025 | 4.338 | 63.44 | 4.633 | 66.933 | 4.872 | 63.033 | 25.698 | 889.433 | 15.299 | 8.2127
2020-09-01 20:30:00 | 3.252 | 57.437 | 3.426 | 49.829 | 3.254 | 56.267 | 3.368 | 52.8 | 24.977 | 889.467 | 15.451 | 7.5277
2020-09-01 20:45:00 | 3.361 | 67.56 | 3.779 | 64.199 | 4.221 | 69.3 | 4.624 | 66.133 | 24.706 | 889.833 | 15.672 | 6.8108
2020-09-01 21:00:00 | 2.651 | 57.507 | 2.972 | 53.433 | 2.34 | 57.467 | 2.506 | 57.567 | 23.96 | 889.4 | 15.861 | 5.5048
2020-09-01 21:15:00 | 2.587 | 67.383 | 3.322 | 61.4 | 3.55 | 65.833 | 3.799 | 61.733 | 23.635 | 889.167 | 16.104 | 4.9455
2020-09-01 21:30:00 | 2.879 | 86.207 | 3.756 | 77.006 | 4.096 | 81.667 | 4.486 | 78.3 | 23.664 | 889.7 | 16.005 | 6.2331
2020-09-01 21:45:00 | 3.051 | 94.533 | 3.61 | 81.631 | 3.617 | 86.2 | 4.067 | 80.067 | 23.131 | 889.767 | 15.808 | 7.36
2020-09-01 22:00:00 | 3.006 | 103.4 | 3.6 | 88.468 | 2.788 | 95.6 | 2.899 | 84.867 | 23.181 | 889.5 | 15.517 | 6.5749
2020-09-01 22:15:00 | 2.817 | 110.933 | 2.984 | 91.939 | 2.404 | 94.4 | 2.535 | 82.533 | 23.014 | 889.233 | 16.12 | 5.4707
2020-09-01 22:30:00 | 2.517 | 112.273 | 2.835 | 93.297 | 2.223 | 95.333 | 2.168 | 86.9 | 22.781 | 889.833 | 16.373 | 4.8503
2020-09-01 22:45:00 | 0.906 | 145.58 | 2.073 | 102.266 | 1.964 | 95 | 2.338 | 87.8 | 22.239 | 889.5 | 16.88 | 1.2584
2020-09-01 23:00:00 | 1.293 | 154.487 | 1.544 | 113.105 | 2.093 | 107.467 | 2.346 | 99.433 | 21.739 | 889.467 | 17.667 | 0.54856
2020-09-01 23:15:00 | 1.657 | 175.7 | 1.35 | 135.425 | 1.788 | 123.133 | 2.461 | 118.733 | 21.923 | 889 | 18.693 | 0.16627
2020-09-01 23:30:00 | 2.713 | 199.827 | 1.785 | 144.686 | 1.773 | 139.8 | 2.268 | 122.6 | 21.16 | 889.3 | 19.139 | 0.20535
2020-09-01 23:45:00 | 3.724 | 220.34 | 2.18 | 185.29 | 1.929 | 149.8 | 2.636 | 137.1 | 21.41 | 889.567 | 19.104 | 0.13501