## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-02 00:00:00 | 4.608 | 226.32 | 2.972 | 206.552 | 2.117 | 183.433 | 2.527 | 155.4 | 20.139 | 889.4 | 19.629 | 0.095216
2020-09-02 00:15:00 | 4.705 | 227.76 | 3.121 | 210.734 | 2.609 | 195.267 | 2.936 | 175.433 | 19.031 | 889.733 | 20.837 | 0.18688
2020-09-02 00:30:00 | 5.264 | 230.633 | 3.372 | 216.899 | 2.805 | 205.1 | 3.045 | 186.4 | 18.723 | 889.533 | 21.904 | 0.14282
2020-09-02 00:45:00 | 5.57 | 225.773 | 4.664 | 227.498 | 3.569 | 219.2 | 3.373 | 199.433 | 18.01 | 889.783 | 22.533 | 0.4576
2020-09-02 01:00:00 | 5.573 | 229.26 | 5.424 | 232.601 | 4.093 | 230.133 | 3.519 | 214.167 | 17.71 | 889.7 | 23.621 | 1.0303
2020-09-02 01:15:00 | 5.306 | 230.133 | 5.192 | 237.742 | 4.581 | 237.1 | 3.824 | 227.633 | 17.468 | 890.117 | 23.819 | 2.1509
2020-09-02 01:30:00 | 5.707 | 228.673 | 5.511 | 238.978 | 4.718 | 241.3 | 4.23 | 230.867 | 17.806 | 889.667 | 23.696 | 3.7362
2020-09-02 01:45:00 | 5.822 | 228.333 | 5.921 | 238.179 | 5.054 | 246.2 | 4.444 | 241.7 | 17.606 | 889.7 | 23.909 | 5.9055
2020-09-02 02:00:00 | 5.875 | 225.26 | 6.023 | 234.781 | 5.414 | 241.4 | 4.792 | 238.167 | 17.848 | 889.667 | 24.56 | 7.144
2020-09-02 02:15:00 | 5.798 | 226.447 | 5.604 | 230.87 | 5.063 | 240.233 | 4.531 | 237.4 | 17.531 | 889.967 | 24.965 | 4.812
2020-09-02 02:30:00 | 4.922 | 217.693 | 5.856 | 222.604 | 4.96 | 232.067 | 4.36 | 233.1 | 17.489 | 889.967 | 25.093 | 4.699
2020-09-02 02:45:00 | 5.277 | 224.12 | 5.287 | 224.581 | 4.629 | 234.167 | 4.155 | 234.1 | 17.36 | 889.567 | 25.344 | 3.4001
2020-09-02 03:00:00 | 3.191 | 260.573 | 3.968 | 235.653 | 3.991 | 243.4 | 3.499 | 244.717 | 17.239 | 889.933 | 25.547 | 0.81502
2020-09-02 03:15:00 | 4.223 | 235.613 | 5.14 | 235.331 | 4.047 | 257.767 | 3.516 | 264.567 | 16.948 | 889.433 | 26.907 | 1.5853
2020-09-02 03:30:00 | 4.35 | 227.187 | 4.445 | 235.722 | 3.48 | 260 | 3.049 | 271.733 | 16.414 | 889.833 | 27.387 | 0.79939
2020-09-02 03:45:00 | 4.944 | 221.64 | 3.91 | 227.326 | 2.835 | 247.033 | 2.398 | 263.8 | 16.248 | 889.117 | 27.701 | 0.77452
2020-09-02 04:00:00 | 6.076 | 219.747 | 4.316 | 227.984 | 3.264 | 239.5 | 2.837 | 243.433 | 16.464 | 890.267 | 27.488 | 1.5121
2020-09-02 04:15:00 | 6.003 | 224.213 | 5.168 | 227.523 | 4.455 | 232.3 | 3.657 | 227.867 | 16.448 | 889.817 | 27.429 | 3.2587
2020-09-02 04:30:00 | 6.06 | 223.44 | 4.65 | 226.877 | 4.279 | 227.233 | 3.814 | 224.2 | 16.298 | 889.817 | 27.563 | 4.1724
2020-09-02 04:45:00 | 6.58 | 217.387 | 6.674 | 216.999 | 5.142 | 220.533 | 4.604 | 218.133 | 16.056 | 889.917 | 27.691 | 4.6329
2020-09-02 05:00:00 | 6.103 | 221.313 | 6.49 | 221.458 | 5.604 | 226.7 | 4.97 | 222 | 16.193 | 889.717 | 27.509 | 5.9148
2020-09-02 05:15:00 | 6.329 | 217.407 | 7.035 | 218.658 | 5.675 | 223.433 | 4.72 | 219.467 | 15.887 | 889.883 | 27.909 | 7.4602
2020-09-02 05:30:00 | 5.728 | 216.06 | 5.964 | 226.588 | 5.405 | 236.433 | 4.677 | 231.233 | 15.635 | 889.933 | 28.283 | 9.1542
2020-09-02 05:45:00 | 5.817 | 212.2 | 5.568 | 233.989 | 5.019 | 245.7 | 4.687 | 243.067 | 15.058 | 889.65 | 29.088 | 7.6684
2020-09-02 06:00:00 | 5.729 | 218.747 | 5.569 | 235.502 | 4.964 | 248.167 | 4.3 | 247.467 | 14.72 | 889.883 | 30.048 | 5.4472
2020-09-02 06:15:00 | 5.915 | 223.767 | 6.034 | 235.369 | 4.828 | 244.467 | 3.994 | 244.6 | 14.874 | 889.85 | 29.509 | 7.0637
2020-09-02 06:30:00 | 6.322 | 222.807 | 6.055 | 230.873 | 5.035 | 242.4 | 4.429 | 244.633 | 15.117 | 890.167 | 27.995 | 9.371
2020-09-02 06:45:00 | 6.204 | 221.167 | 7.229 | 227.15 | 6.639 | 233.233 | 5.771 | 228.267 | 15.281 | 890.083 | 27.424 | 9.2963
2020-09-02 07:00:00 | 5.819 | 219.633 | 6.92 | 226.948 | 6.305 | 234.6 | 5.732 | 230.533 | 15.208 | 889.883 | 27.531 | 12.4541
2020-09-02 07:15:00 | 5.348 | 216.52 | 6.231 | 224.181 | 6.05 | 233.333 | 5.646 | 228.633 | 14.862 | 889.417 | 26.864 | 11.7528
2020-09-02 07:30:00 | 5.692 | 220.387 | 6.066 | 226.399 | 5.754 | 234.833 | 5.213 | 231.5 | 15.129 | 889.667 | 26.037 | 9.9572
2020-09-02 07:45:00 | 5.66 | 222.467 | 6.248 | 231.228 | 5.775 | 239.367 | 5.334 | 236.067 | 16.2 | 889.6 | 24.811 | 8.605
2020-09-02 08:00:00 | 4.947 | 219.913 | 6.377 | 229.106 | 6.03 | 238.967 | 5.42 | 236.233 | 16.985 | 890.217 | 23.707 | 10.6706
2020-09-02 08:15:00 | 4.294 | 216.847 | 6.312 | 219.523 | 5.622 | 229.9 | 5.002 | 230.367 | 18.006 | 889.883 | 22.613 | 8.8565
2020-09-02 08:30:00 | 4.481 | 219.7 | 5.771 | 219.859 | 5.466 | 227.033 | 5.309 | 227.567 | 19.535 | 889.883 | 21.051 | 9.4569
2020-09-02 08:45:00 | 4.109 | 224.74 | 4.471 | 224.405 | 5.101 | 229.5 | 5.285 | 231.133 | 21.477 | 889.067 | 19.296 | 9.4029
2020-09-02 09:00:00 | 3.791 | 232.687 | 3.727 | 229.8 | 3.925 | 236.2 | 4.133 | 232.933 | 22.898 | 889.2 | 17.784 | 5.2042
2020-09-02 09:15:00 | 3.371 | 238.58 | 3.345 | 232.202 | 3.35 | 233.8 | 3.32 | 226.9 | 23.939 | 889.267 | 16.68 | 3.5827
2020-09-02 09:30:00 | 2.864 | 234.047 | 2.798 | 234.9 | 2.644 | 238.367 | 2.717 | 232.967 | 24.881 | 889.567 | 15.716 | 1.5931
2020-09-02 09:45:00 | 2.016 | 251.427 | 2.197 | 248.497 | 2.207 | 255.35 | 2.373 | 253.767 | 25.606 | 889.6 | 14.704 | 0.66722
2020-09-02 10:00:00 | 1.838 | 269.627 | 1.793 | 274.14 | 1.886 | 279.083 | 2.138 | 273.533 | 26.402 | 889.733 | 13.719 | 0.24159
2020-09-02 10:15:00 | 2.484 | 323.12 | 2.51 | 313.909 | 2.36 | 310.133 | 2.599 | 309.5 | 25.177 | 889.533 | 13.672 | 0.27002
2020-09-02 10:30:00 | 1.966 | 312.973 | 1.84 | 313.525 | 2.004 | 320.5 | 2.448 | 326.9 | 25.473 | 889.167 | 13.951 | 0.20535
2020-09-02 10:45:00 | 2.018 | 286.2 | 2.159 | 323.864 | 2.117 | 322.5 | 2.56 | 322.2 | 25.856 | 889.833 | 14.189 | 0.17977
2020-09-02 11:00:00 | 1.092 | 291.973 | 1.619 | 309.034 | 1.365 | 259.033 | 1.486 | 212.767 | 26.244 | 889.533 | 14.035 | 0.20749
2020-09-02 11:15:00 | 2.446 | 162.415 | 2.484 | 331.703 | 2.307 | 336.433 | 2.53 | 330.267 | 26.294 | 889.433 | 13.761 | 0.16272
2020-09-02 11:30:00 | 2.623 | 291.52 | 2.817 | 326.754 | 2.813 | 273.501 | 3.01 | 308.567 | 26.223 | 889.5 | 13.652 | 0.18119
2020-09-02 11:45:00 | 2.534 | 317.973 | 2.902 | 309.275 | 2.781 | 313.6 | 2.904 | 315 | 26.798 | 889.9 | 13.356 | 1.117
2020-09-02 12:00:00 | 2.871 | 164.208 | 3.009 | 212.08 | 3.488 | 223.9 | 3.585 | 251 | 27.202 | 889.267 | 12.697 | 0.7866
2020-09-02 12:15:00 | 5.762 | 301.107 | 5.638 | 294.755 | 5.963 | 298 | 6.164 | 294.7 | 27.202 | 889.467 | 13.071 | 2.8792
2020-09-02 12:30:00 | 5.439 | 321.853 | 5.62 | 311.796 | 6.174 | 325.7 | 6.406 | 323.233 | 27.623 | 889.633 | 12.905 | 6.749
2020-09-02 12:45:00 | 2.991 | 274.447 | 2.83 | 273.556 | 2.611 | 273.967 | 3.197 | 279.333 | 27.523 | 889.967 | 13.244 | 12.6133
2020-09-02 13:00:00 | 1.268 | 212.53 | 1.626 | 264.683 | 2.383 | 277.7 | 3.128 | 278.033 | 27.202 | 889.6 | 13.2 | 7.3409
2020-09-02 13:15:00 | 2.898 | 274.893 | 2.876 | 286.644 | 2.681 | 290.367 | 3.003 | 294.383 | 27.256 | 889.633 | 13.469 | 4.2897
2020-09-02 13:30:00 | 6.863 | 324.347 | 6.95 | 316.088 | 7.208 | 318.7 | 7.399 | 316.033 | 27.856 | 889.367 | 13.917 | 8.9645
2020-09-02 13:45:00 | 3.91 | 271.627 | 4.292 | 317.67 | 4.31 | 299.868 | 4.759 | 285 | 27.989 | 889.467 | 13.764 | 20.6434
2020-09-02 14:00:00 | 7.104 | 270.533 | 7.195 | 306.495 | 7.37 | 307.133 | 7.595 | 318.667 | 28.289 | 889.467 | 13.603 | 24.56
2020-09-02 14:15:00 | 5.584 | 303.96 | 5.867 | 300.705 | 6.208 | 308.233 | 6.626 | 310.967 | 27.864 | 889.533 | 13.463 | 31.0219
2020-09-02 14:30:00 | 7.682 | 295.813 | 7.946 | 288.571 | 8.104 | 291.6 | 8.48 | 291 | 27.91 | 889.7 | 13.851 | 26.6406
2020-09-02 14:45:00 | 6.691 | 300.453 | 7.009 | 298.94 | 7.305 | 308.5 | 7.47 | 308.733 | 28.394 | 889.267 | 13.955 | 32.7564
2020-09-02 15:00:00 | 5.329 | 313.787 | 5.638 | 304.394 | 5.696 | 305.467 | 5.728 | 305.567 | 28.068 | 889.867 | 13.5 | 25.2898
2020-09-02 15:15:00 | 4.221 | 295.933 | 4.073 | 299.447 | 4.065 | 301 | 4.653 | 294.6 | 28.539 | 889.633 | 13.741 | 28.1292
2020-09-02 15:30:00 | 4.462 | 309.88 | 4.759 | 305.538 | 5.118 | 309.267 | 5.332 | 305.633 | 28.418 | 889.7 | 13.495 | 28.9584
2020-09-02 15:45:00 | 6.407 | 308.253 | 6.922 | 301.28 | 7.257 | 304.8 | 7.52 | 303.667 | 28.273 | 889.167 | 13.753 | 32.7735
2020-09-02 16:00:00 | 7.024 | 329.28 | 7.243 | 324.036 | 7.503 | 328.233 | 7.716 | 324.433 | 28.16 | 889.633 | 13.889 | 27.8549
2020-09-02 16:15:00 | 5.421 | 284.687 | 5.496 | 278.385 | 5.933 | 281.367 | 6.175 | 279 | 27.968 | 889.4 | 14.16 | 15.0697
2020-09-02 16:30:00 | 6.074 | 297.28 | 6.428 | 293.206 | 6.628 | 296.633 | 7.112 | 294.283 | 28.489 | 889.3 | 13.581 | 21.2395
2020-09-02 16:45:00 | 8.837 | 317.613 | 9.216 | 308.833 | 9.037 | 311.867 | 9.492 | 306.9 | 28.535 | 889.367 | 14.013 | 26.5041
2020-09-02 17:00:00 | 6.306 | 306.133 | 6.956 | 303.503 | 7.333 | 312.2 | 8.081 | 307.667 | 28.202 | 889.133 | 14.277 | 38.9554
2020-09-02 17:15:00 | 6.541 | 308.6 | 6.797 | 301.779 | 7.062 | 303.5 | 7.346 | 300.1 | 28.031 | 889.433 | 14.596 | 35.868
2020-09-02 17:30:00 | 8.56 | 311.027 | 9.135 | 305.532 | 9.239 | 309.867 | 9.592 | 306.2 | 28.294 | 889.667 | 13.888 | 43.5997
2020-09-02 17:45:00 | 6.661 | 324.72 | 7.052 | 318.953 | 7.247 | 322 | 7.55 | 321.5 | 28.018 | 889.2 | 13.944 | 43.6892
2020-09-02 18:00:00 | 7.052 | 302.16 | 7.475 | 297.822 | 7.953 | 301.8 | 8.214 | 301.2 | 27.635 | 889.367 | 13.932 | 30.4478
2020-09-02 18:15:00 | 7.95 | 287.88 | 8.361 | 284.316 | 8.223 | 287.467 | 8.693 | 286.167 | 27.706 | 889.967 | 14.044 | 40.54
2020-09-02 18:30:00 | 7.1 | 296.867 | 7.039 | 288.994 | 7.156 | 293.5 | 7.593 | 290.367 | 27.518 | 889.6 | 14.357 | 41.2626
2020-09-02 18:45:00 | 8.273 | 298 | 8.732 | 294.31 | 9.319 | 297.7 | 9.687 | 296.033 | 27.502 | 889.8 | 14.479 | 51.1409
2020-09-02 19:00:00 | 8.627 | 297.04 | 9.466 | 293.216 | 9.811 | 297.1 | 10.337 | 294.4 | 26.998 | 889.6 | 14.815 | 60.433
2020-09-02 19:15:00 | 9.47 | 311.627 | 9.907 | 305.261 | 10.322 | 308.367 | 10.828 | 306.133 | 26.918 | 889.6 | 14.44 | 66.2554
2020-09-02 19:30:00 | 8.649 | 310.8 | 9.195 | 302.305 | 10.029 | 306.2 | 10.258 | 304.267 | 26.289 | 889.667 | 14.515 | 60.59
2020-09-02 19:45:00 | 7.747 | 304.013 | 8.51 | 297.905 | 9.005 | 302.667 | 9.197 | 300.333 | 26.373 | 889.4 | 14.624 | 48.5779
2020-09-02 20:00:00 | 6.451 | 297.867 | 7.259 | 294.473 | 7.715 | 299.633 | 7.978 | 295.767 | 25.698 | 889.533 | 14.367 | 36.7626
2020-09-02 20:15:00 | 6.356 | 300.04 | 7.318 | 295.779 | 7.819 | 301.467 | 8.618 | 299.6 | 25.214 | 889.733 | 14.571 | 31.0511
2020-09-02 20:30:00 | 5.968 | 297.987 | 7.168 | 293.649 | 7.815 | 296.933 | 8.547 | 295.4 | 25.16 | 889.767 | 13.927 | 36.2922
2020-09-02 20:45:00 | 6.794 | 291.787 | 7.96 | 286.938 | 8.226 | 292.1 | 8.627 | 288.1 | 24.956 | 889.733 | 13.781 | 36.8322
2020-09-02 21:00:00 | 5.458 | 293.467 | 6.685 | 287.121 | 7.302 | 290.533 | 8.063 | 288.133 | 25.039 | 889.4 | 14.069 | 37.6231
2020-09-02 21:15:00 | 6.047 | 290.267 | 7.464 | 286.578 | 8.011 | 290.267 | 8.511 | 288.833 | 24.631 | 889.5 | 15.049 | 35.6719
2020-09-02 21:30:00 | 5.58 | 285.653 | 6.871 | 283.443 | 7.418 | 288 | 8.102 | 286.267 | 24.294 | 889.4 | 15.435 | 30.9764
2020-09-02 21:45:00 | 5.658 | 280.627 | 7.034 | 277.886 | 7.851 | 283.1 | 8.553 | 280.633 | 24.339 | 889.533 | 15.764 | 29.9987
2020-09-02 22:00:00 | 5.334 | 288.16 | 6.912 | 282.55 | 7.542 | 287.767 | 8.266 | 284.133 | 23.964 | 889.433 | 15.985 | 28.9677
2020-09-02 22:15:00 | 5.326 | 286.36 | 6.86 | 281.218 | 7.511 | 286.5 | 8.282 | 283.067 | 23.577 | 889.233 | 16.019 | 26.6264
2020-09-02 22:30:00 | 5.102 | 277.947 | 6.534 | 274.971 | 7.246 | 280.167 | 7.972 | 277.733 | 23.685 | 889.567 | 15.94 | 27.4101
2020-09-02 22:45:00 | 5.076 | 276.707 | 6.389 | 272.703 | 6.763 | 278.267 | 7.246 | 275.767 | 23.581 | 888.9 | 16.123 | 28.299
2020-09-02 23:00:00 | 5.11 | 281.867 | 6.359 | 277.914 | 6.818 | 282.367 | 7.283 | 279.633 | 23.031 | 889.233 | 16.271 | 28.3999
2020-09-02 23:15:00 | 4.965 | 276.12 | 6.135 | 274.354 | 6.475 | 279.433 | 6.914 | 276.167 | 23.081 | 889.3 | 16.743 | 23.291
2020-09-02 23:30:00 | 4.484 | 259.413 | 5.447 | 264.13 | 6.228 | 269.733 | 6.8 | 268.033 | 22.427 | 890.167 | 17.451 | 15.9856
2020-09-02 23:45:00 | 4.335 | 254.98 | 5.183 | 258.298 | 5.94 | 264.133 | 6.317 | 260.717 | 22.094 | 889.7 | 18.005 | 13.7523