## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-03 00:00:00 | 4.062 | 232.22 | 4.691 | 242.052 | 5.393 | 253.133 | 5.736 | 252.8 | 22.214 | 889.733 | 18.155 | 15.6261
2020-09-03 00:15:00 | 4.929 | 242.96 | 5.632 | 249.652 | 6.201 | 257.9 | 6.606 | 255.467 | 21.348 | 889.767 | 18.901 | 19.8724
2020-09-03 00:30:00 | 4.849 | 243.84 | 5.749 | 254.269 | 6.29 | 262.4 | 6.627 | 262.4 | 20.473 | 889.4 | 19.873 | 19.3374
2020-09-03 00:45:00 | 4.427 | 228.013 | 5.335 | 245.547 | 5.969 | 259.233 | 6.405 | 259.55 | 19.989 | 889.817 | 20.451 | 17.2106
2020-09-03 01:00:00 | 5.262 | 227.633 | 5.466 | 240.952 | 5.835 | 253.567 | 6.198 | 254.783 | 19.01 | 889.667 | 21.184 | 17.669
2020-09-03 01:15:00 | 5.586 | 234.847 | 6.26 | 243.512 | 6.439 | 254.433 | 6.714 | 254.967 | 19.073 | 889.75 | 21.093 | 22.4987
2020-09-03 01:30:00 | 5.072 | 224.827 | 6.412 | 232.845 | 6.534 | 245.067 | 6.294 | 245.933 | 18.677 | 889.85 | 21.312 | 24.0754
2020-09-03 01:45:00 | 5.218 | 226.3 | 6.256 | 232.399 | 6.248 | 241.733 | 6.07 | 241.233 | 18.539 | 889.85 | 21.637 | 22.6706
2020-09-03 02:00:00 | 4.922 | 233.327 | 5.749 | 240.743 | 5.997 | 250.667 | 5.891 | 247.933 | 18.323 | 889.6 | 21.792 | 20.3421
2020-09-03 02:15:00 | 5.106 | 235.5 | 5.759 | 244.783 | 5.646 | 256.033 | 5.666 | 257.083 | 18.181 | 889.383 | 22.24 | 19.2649
2020-09-03 02:30:00 | 5.511 | 233.147 | 6.069 | 242.495 | 5.833 | 252.267 | 5.758 | 254.9 | 17.918 | 889.5 | 22.843 | 18.9579
2020-09-03 02:45:00 | 5.22 | 221.173 | 5.944 | 238.312 | 5.893 | 251.767 | 5.956 | 254.467 | 17.21 | 890 | 23.595 | 17.0508
2020-09-03 03:00:00 | 5.875 | 221.947 | 5.737 | 236.549 | 5.724 | 250.567 | 5.638 | 254.067 | 16.864 | 889.733 | 24.037 | 16.6713
2020-09-03 03:15:00 | 5.947 | 228.5 | 6.385 | 238.958 | 6.322 | 250.267 | 6.194 | 251.067 | 17.014 | 889.733 | 23.952 | 20.1787
2020-09-03 03:30:00 | 5.304 | 223.567 | 6.723 | 238.099 | 6.552 | 250.867 | 6.463 | 250.967 | 16.998 | 889.883 | 24.427 | 21.7142
2020-09-03 03:45:00 | 5.65 | 219.313 | 6.441 | 231.045 | 6.212 | 244.667 | 6.013 | 244.567 | 16.248 | 889.833 | 25.637 | 19.8639
2020-09-03 04:00:00 | 5.563 | 221.8 | 6.82 | 230.017 | 6.18 | 241.533 | 5.868 | 242.333 | 16.414 | 889.95 | 26.197 | 17.0238
2020-09-03 04:15:00 | 5.71 | 222.907 | 6.645 | 229.901 | 6.113 | 240.533 | 5.676 | 240.267 | 16.598 | 889.933 | 26.597 | 15.5856
2020-09-03 04:30:00 | 6.144 | 221.873 | 7.39 | 227.186 | 6.89 | 236.567 | 6.402 | 235.667 | 16.714 | 890.05 | 26.853 | 18.3305
2020-09-03 04:45:00 | 5.453 | 221.133 | 7.101 | 227.06 | 6.858 | 236.867 | 6.444 | 235.733 | 16.091 | 889.883 | 27.424 | 18.9302
2020-09-03 05:00:00 | 5.722 | 224.62 | 7.45 | 227.919 | 7.309 | 236.9 | 6.785 | 235.1 | 15.626 | 889.817 | 27.771 | 21.3461
2020-09-03 05:15:00 | 6.269 | 222.36 | 7.254 | 226.702 | 7.105 | 235 | 6.751 | 233.567 | 16.082 | 890.183 | 27.445 | 22.574
2020-09-03 05:30:00 | 6.494 | 222.947 | 7.561 | 227.283 | 7.308 | 235.2 | 6.952 | 233.367 | 15.666 | 889.533 | 27.52 | 23.9653
2020-09-03 05:45:00 | 6.751 | 223.193 | 7.593 | 226.655 | 7.314 | 234.867 | 6.894 | 233.6 | 15.892 | 889.9 | 27.749 | 24.4087
2020-09-03 06:00:00 | 6.283 | 221.547 | 7.648 | 224.383 | 7.443 | 232.1 | 7.183 | 230.933 | 15.806 | 889.667 | 27.728 | 23.5269
2020-09-03 06:15:00 | 6.49 | 220.193 | 7.889 | 222.88 | 7.351 | 228.733 | 7.136 | 227.4 | 15.552 | 889.55 | 28.139 | 24.7718
2020-09-03 06:30:00 | 6.352 | 219.387 | 8.006 | 221.454 | 7.473 | 227.467 | 7.156 | 226.033 | 15.392 | 889.433 | 28.592 | 25.773
2020-09-03 06:45:00 | 6.113 | 220.08 | 7.87 | 221.778 | 7.039 | 228.467 | 6.873 | 226.867 | 15.433 | 889.9 | 28.843 | 25.1605
2020-09-03 07:00:00 | 6.472 | 217.3 | 8.043 | 218.897 | 7.252 | 225.233 | 6.856 | 224 | 15.454 | 889.717 | 29.136 | 23.8999
2020-09-03 07:15:00 | 6.329 | 212.52 | 8.843 | 212.359 | 8.116 | 216.867 | 7.727 | 214.267 | 15.252 | 889.917 | 29.536 | 25.9613
2020-09-03 07:30:00 | 7.29 | 212.273 | 8.864 | 213.984 | 8.602 | 218.133 | 8.161 | 216.033 | 16.146 | 889.5 | 28.827 | 30.128
2020-09-03 07:45:00 | 6.027 | 220.28 | 8.075 | 218.776 | 8.056 | 222.1 | 7.915 | 219.133 | 17.235 | 890.033 | 27.493 | 29.6363
2020-09-03 08:00:00 | 6.124 | 217.907 | 8.191 | 214.888 | 7.986 | 219.433 | 8.02 | 215.967 | 17.823 | 889.567 | 26.427 | 27.2723
2020-09-03 08:15:00 | 6.208 | 216.587 | 8.167 | 214.248 | 7.839 | 218.267 | 7.764 | 214.133 | 18.731 | 889.683 | 24.987 | 27.2062
2020-09-03 08:30:00 | 5.632 | 212.82 | 6.778 | 213.042 | 7.775 | 217.5 | 7.968 | 214.3 | 20.244 | 889.4 | 23.579 | 23.9425
2020-09-03 08:45:00 | 6.592 | 216.907 | 7.197 | 215.669 | 8 | 218.267 | 8.45 | 213.833 | 21.868 | 889.783 | 21.573 | 23.3123
2020-09-03 09:00:00 | 6.9 | 218.653 | 7.018 | 214.724 | 7.244 | 218.667 | 7.638 | 215.1 | 22.614 | 889.9 | 20.376 | 22.3296
2020-09-03 09:15:00 | 6.463 | 223.033 | 6.855 | 221.009 | 7.12 | 223.667 | 7.159 | 219.633 | 23.685 | 889.533 | 19.595 | 17.7691
2020-09-03 09:30:00 | 6.031 | 222.02 | 6.302 | 216.624 | 6.458 | 219.733 | 6.521 | 214.8 | 23.994 | 889.367 | 19.053 | 15.4769
2020-09-03 09:45:00 | 5.83 | 233.033 | 5.915 | 229.592 | 6.038 | 235.5 | 6.001 | 231.733 | 25.039 | 889.167 | 18.595 | 15.0697
2020-09-03 10:00:00 | 5.91 | 240.847 | 6.068 | 238.263 | 6.098 | 243.6 | 5.862 | 239.167 | 25.389 | 889.767 | 18.412 | 12.5983
2020-09-03 10:15:00 | 4.573 | 272.7 | 5.082 | 270.564 | 5.334 | 275.5 | 5.508 | 271.767 | 25.731 | 889.733 | 18.168 | 10.429
2020-09-03 10:30:00 | 4.917 | 279.193 | 5.556 | 272.083 | 5.451 | 274.3 | 5.705 | 269.15 | 25.852 | 889.733 | 17.239 | 8.9602
2020-09-03 10:45:00 | 4.136 | 274.533 | 4.432 | 275.195 | 4.878 | 278.867 | 5.23 | 278.667 | 25.41 | 889.167 | 17.184 | 9.4854
2020-09-03 11:00:00 | 4.39 | 300.173 | 4.645 | 294.045 | 5.048 | 294.767 | 5.22 | 295.1 | 25.977 | 889.667 | 16.845 | 7.2961
2020-09-03 11:15:00 | 5.86 | 304.8 | 6.058 | 299.24 | 6.021 | 301.733 | 6.12 | 294.9 | 25.681 | 889.5 | 16.3 | 8.6327
2020-09-03 11:30:00 | 5.827 | 290.587 | 5.992 | 287.813 | 5.838 | 293.233 | 5.963 | 288.033 | 26.123 | 889.267 | 15.795 | 10.6429
2020-09-03 11:45:00 | 6.41 | 300.24 | 6.532 | 295.492 | 6.714 | 301.5 | 6.829 | 300.4 | 26.468 | 889.233 | 15.479 | 9.0228
2020-09-03 12:00:00 | 4.704 | 286.747 | 4.727 | 285.39 | 4.93 | 290.567 | 4.962 | 290.767 | 26.748 | 889.467 | 15.189 | 10.7836
2020-09-03 12:15:00 | 5.02 | 277.047 | 5.369 | 273.881 | 5.628 | 277.933 | 5.842 | 271.033 | 27.035 | 889.533 | 14.224 | 12.7547
2020-09-03 12:30:00 | 5.243 | 313.453 | 5.497 | 299.197 | 5.751 | 302.833 | 6.226 | 298.033 | 27.048 | 889.733 | 14.396 | 13.1604
2020-09-03 12:45:00 | 5.579 | 325.533 | 5.908 | 313.374 | 6.126 | 315.333 | 6.474 | 312.033 | 27.244 | 889.333 | 14.031 | 13.9285
2020-09-03 13:00:00 | 4.126 | 280.267 | 4.213 | 279.021 | 4.483 | 287.65 | 4.857 | 287.433 | 27.735 | 889.867 | 13.221 | 10.8361
2020-09-03 13:15:00 | 5.168 | 288.12 | 5.322 | 303.375 | 5.907 | 323.1 | 6.285 | 320.867 | 27.744 | 889.233 | 13.233 | 11.0749
2020-09-03 13:30:00 | 5.366 | 303.407 | 5.908 | 277.397 | 5.976 | 289.333 | 6.429 | 297.2 | 28.498 | 889.567 | 12.24 | 11.757
2020-09-03 13:45:00 | 4.956 | 299.06 | 4.918 | 292.225 | 5.201 | 294.933 | 5.613 | 292.867 | 28.498 | 889.467 | 11.864 | 11.649
2020-09-03 14:00:00 | 4.071 | 328.667 | 4.084 | 333.212 | 3.955 | 321.867 | 4.366 | 329.667 | 28.506 | 889.867 | 10.936 | 9.8065
2020-09-03 14:15:00 | 4.121 | 256.053 | 4.392 | 254.742 | 4.378 | 265.767 | 4.626 | 259.25 | 28.46 | 889.433 | 10.819 | 9.3731
2020-09-03 14:30:00 | 5.486 | 298.533 | 5.433 | 297.134 | 5.467 | 303.267 | 5.634 | 298 | 29.198 | 889.1 | 10.14 | 10.92
2020-09-03 14:45:00 | 4.385 | 317.533 | 4.588 | 317.556 | 4.869 | 317.933 | 5.359 | 317.467 | 28.981 | 889.233 | 9.937 | 7.6549
2020-09-03 15:00:00 | 5.537 | 313.333 | 5.886 | 329.028 | 5.987 | 330.3 | 5.975 | 323.9 | 29.998 | 888.933 | 9.768 | 9.8584
2020-09-03 15:15:00 | 4.364 | 303.173 | 4.774 | 298.07 | 4.88 | 301.967 | 5.157 | 302.8 | 29.248 | 889.2 | 9.935 | 9.874
2020-09-03 15:30:00 | 4.478 | 291.133 | 4.85 | 322.106 | 5.259 | 292.933 | 5.515 | 306.067 | 29.148 | 889.067 | 9.693 | 5.5353
2020-09-03 15:45:00 | 3.356 | 310.894 | 3.651 | 314.814 | 3.717 | 314.933 | 3.603 | 312.1 | 29.581 | 889.067 | 10.059 | 5.4856
2020-09-03 16:00:00 | 1.984 | 234.567 | 2.163 | 204.756 | 2.485 | 195.669 | 3.357 | 230.1 | 29.814 | 888.667 | 9.449 | 6.5628
2020-09-03 16:15:00 | 4.357 | 106.702 | 4.544 | 183.945 | 4.723 | 183.8 | 4.93 | 300.533 | 29.648 | 888.867 | 9.546 | 7.0346
2020-09-03 16:30:00 | 4.694 | 296.733 | 4.824 | 293.625 | 4.742 | 298.333 | 5.165 | 297.8 | 29.881 | 888.933 | 9.755 | 6.6033
2020-09-03 16:45:00 | 5.708 | 298.187 | 5.528 | 325.706 | 6.144 | 329.933 | 6.433 | 327.5 | 30.202 | 888.8 | 9.805 | 7.3949
2020-09-03 17:00:00 | 2.836 | 179.314 | 2.992 | 217.665 | 3.275 | 251.533 | 3.412 | 295.633 | 30.031 | 889.167 | 10.29 | 5.9993
2020-09-03 17:15:00 | 2.699 | 292.143 | 2.725 | 281.813 | 2.738 | 205.2 | 3.246 | 261.067 | 30.198 | 889.433 | 10.705 | 3.4853
2020-09-03 17:30:00 | 4.997 | 304.387 | 5.286 | 303.22 | 5.237 | 312.167 | 5.531 | 311.4 | 30.627 | 889.4 | 10.457 | 3.5862
2020-09-03 17:45:00 | 3.539 | 186.96 | 3.569 | 274.207 | 3.8 | 217.468 | 4.386 | 284.667 | 29.948 | 889.567 | 10.969 | 4.3217
2020-09-03 18:00:00 | 3.822 | 46.663 | 3.826 | 39.521 | 3.856 | 50.233 | 3.975 | 70.267 | 29.981 | 889.633 | 10.648 | 7.3167
2020-09-03 18:15:00 | 5.534 | 299.747 | 5.341 | 306.497 | 5.54 | 294.65 | 5.618 | 298.533 | 29.968 | 889.467 | 10.667 | 6.2416
2020-09-03 18:30:00 | 1.597 | 304.667 | 1.586 | 314.823 | 1.914 | 294.269 | 2.596 | 289.534 | 30.144 | 889.533 | 10.824 | 7.0147
2020-09-03 18:45:00 | 4.166 | 309.787 | 4.114 | 313.807 | 4.111 | 306.733 | 4.571 | 322.4 | 30.506 | 889.1 | 10.391 | 2.6717
2020-09-03 19:00:00 | 3.352 | 251.588 | 3.335 | 295.328 | 3.532 | 249.433 | 3.829 | 272.7 | 30.818 | 889.267 | 10.424 | 2.1537
2020-09-03 19:15:00 | 2.708 | 141.994 | 2.582 | 260.194 | 2.507 | 98.234 | 2.678 | 63.6 | 30.185 | 889.1 | 10.355 | 0.77949
2020-09-03 19:30:00 | 3.108 | 59.863 | 3.224 | 83.301 | 3.36 | 27.801 | 3.813 | 77.133 | 30.031 | 888.8 | 9.749 | 1.0055
2020-09-03 19:45:00 | 3.797 | 35.447 | 3.649 | 27.635 | 3.561 | 32.4 | 3.594 | 29.933 | 29.714 | 889 | 9.353 | 0.98769
2020-09-03 20:00:00 | 2.966 | 33.357 | 2.931 | 28.469 | 3.031 | 30.4 | 3.293 | 25.067 | 29.131 | 889.067 | 9.339 | 0.99195
2020-09-03 20:15:00 | 3.326 | 35.15 | 3.955 | 29.972 | 4.304 | 32.633 | 4.391 | 27.267 | 28.36 | 888.933 | 9.671 | 2.0386
2020-09-03 20:30:00 | 3.003 | 21.217 | 3.511 | 26.896 | 3.958 | 31.967 | 4.267 | 27.733 | 28.031 | 889 | 9.932 | 3.0057
2020-09-03 20:45:00 | 2.362 | 26.898 | 2.717 | 24.761 | 2.895 | 24.433 | 3.527 | 19.833 | 27.677 | 889.433 | 10.224 | 2.0606
2020-09-03 21:00:00 | 2.186 | 20.038 | 2.406 | 25.593 | 2.767 | 24.867 | 3.298 | 19.2 | 27.077 | 889.5 | 10.64 | 0.89176
2020-09-03 21:15:00 | 1.323 | 32.768 | 1.484 | 27.244 | 2.253 | 24.167 | 3.425 | 17.933 | 26.344 | 889.5 | 10.717 | 0.13359
2020-09-03 21:30:00 | 0 | 92.28 | 0.04 | 37.139 | 1.128 | 27.233 | 2.403 | 16.333 | 25.614 | 889.733 | 11.272 | 0.19967
2020-09-03 21:45:00 | 0.552 | 187.573 | 0.04 | 4.015 | 1.528 | 118.333 | 2.477 | 23.867 | 24.918 | 889.667 | 11.6 | 0.29133
2020-09-03 22:00:00 | 0.592 | 212.633 | 0.073 | 1.874 | 1.082 | 352 | 1.77 | 0 | 25.123 | 889.533 | 11.787 | 0.24159
2020-09-03 22:15:00 | 1.507 | 237.107 | 0.924 | 247.417 | 0.22 | 352 | 1.241 | 0 | 24.781 | 889.533 | 11.891 | 0.18617
2020-09-03 22:30:00 | 3.21 | 238.54 | 1.314 | 310.626 | 1.027 | 320.267 | 1.808 | 326.167 | 25.085 | 889.8 | 12.037 | 0.18191
2020-09-03 22:45:00 | 3.135 | 237.913 | 1.918 | 285.408 | 1.811 | 290 | 2.301 | 304.033 | 24.656 | 889.567 | 11.947 | 0.17622
2020-09-03 23:00:00 | 4.223 | 234.52 | 2.31 | 255.517 | 2.103 | 272.467 | 2.518 | 268.133 | 24.198 | 889.7 | 11.959 | 0.17551
2020-09-03 23:15:00 | 4.928 | 232.04 | 3.389 | 247.15 | 3.145 | 262.533 | 3.289 | 265.767 | 22.206 | 889.567 | 13.36 | 0.10019
2020-09-03 23:30:00 | 5.733 | 228.287 | 3.773 | 244.45 | 3.314 | 258 | 3.385 | 263.9 | 20.464 | 889.5 | 15.365 | 1.1874
2020-09-03 23:45:00 | 5.363 | 230.453 | 3.491 | 244.522 | 3.15 | 262.067 | 3.413 | 266.5 | 20.548 | 889.867 | 16.949 | 1.1149