## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-04 00:00:00 | 5.561 | 227.34 | 4.459 | 245.641 | 4.098 | 254.867 | 3.943 | 255.683 | 20.523 | 889.267 | 17.875 | 1.9853
2020-09-04 00:15:00 | 5.796 | 228.673 | 5.118 | 244.782 | 4.598 | 253.767 | 4.086 | 253.817 | 20.439 | 889.567 | 18.405 | 3.2423
2020-09-04 00:30:00 | 5.635 | 223.547 | 5.414 | 238.394 | 4.842 | 250.133 | 4.354 | 255.167 | 20.839 | 889.733 | 18.224 | 4.5697
2020-09-04 00:45:00 | 5.457 | 222.593 | 5.802 | 237.456 | 4.966 | 249.167 | 4.355 | 254.367 | 20.902 | 889.5 | 18.219 | 5.9148
2020-09-04 01:00:00 | 5.593 | 223.22 | 5.964 | 237.13 | 5.207 | 246.667 | 4.567 | 248.1 | 20.552 | 889.933 | 18.187 | 6.3525
2020-09-04 01:15:00 | 5.274 | 223.693 | 5.508 | 236.206 | 4.864 | 247.2 | 4.319 | 252.767 | 20.394 | 889.633 | 18.019 | 5.7662
2020-09-04 01:30:00 | 5.236 | 219.56 | 5.142 | 236.887 | 4.454 | 248.333 | 3.894 | 253.733 | 20.531 | 889.233 | 18.088 | 4.085
2020-09-04 01:45:00 | 6.058 | 217.173 | 6.299 | 224.256 | 5.178 | 235.267 | 4.028 | 242.067 | 20.285 | 889.067 | 18.579 | 4.1646
2020-09-04 02:00:00 | 5.539 | 222.94 | 6.167 | 226.646 | 5.563 | 236.467 | 4.867 | 234.233 | 20.827 | 889.6 | 18.405 | 6.4036
2020-09-04 02:15:00 | 5.926 | 230.707 | 5.995 | 235.588 | 5.829 | 242.967 | 5.543 | 240.767 | 20.589 | 889.5 | 18.368 | 7.6173
2020-09-04 02:30:00 | 5.724 | 211.473 | 7.008 | 219.829 | 6.831 | 228.333 | 5.983 | 229.733 | 20.827 | 889.433 | 18.384 | 12.8208
2020-09-04 02:45:00 | 5.76 | 215.793 | 7.079 | 213.84 | 6.431 | 219.933 | 5.903 | 219.333 | 20.544 | 889.167 | 18.549 | 10.8319
2020-09-04 03:00:00 | 5.707 | 215.58 | 6.515 | 213.557 | 5.84 | 217.433 | 5.345 | 217.933 | 20.514 | 889.433 | 18.424 | 9.6893
2020-09-04 03:15:00 | 5.102 | 208.48 | 6.29 | 203.944 | 6.608 | 212.2 | 6.303 | 209.633 | 20.331 | 889.4 | 18.539 | 12.0342
2020-09-04 03:30:00 | 5.11 | 200.373 | 5.969 | 198.607 | 5.666 | 202.367 | 5.427 | 196.367 | 20.335 | 889.433 | 18.451 | 10.0076
2020-09-04 03:45:00 | 4.83 | 204.927 | 5.889 | 197.538 | 5.614 | 200 | 5.358 | 196.067 | 20.477 | 890 | 18.163 | 6.442
2020-09-04 04:00:00 | 4.607 | 208.807 | 6.463 | 204.082 | 6.184 | 205.233 | 5.984 | 199.267 | 20.114 | 889.133 | 18.416 | 8.2674
2020-09-04 04:15:00 | 5.43 | 214.46 | 5.731 | 209.028 | 5.548 | 210.133 | 5.703 | 203.6 | 20.698 | 889.267 | 18.579 | 7.4865
2020-09-04 04:30:00 | 5.646 | 220.167 | 5.696 | 214.467 | 5.191 | 216.433 | 5.213 | 209.533 | 21.068 | 889.333 | 18.912 | 6.5386
2020-09-04 04:45:00 | 6.476 | 226.833 | 6.4 | 219.83 | 5.722 | 226.6 | 5.532 | 220.2 | 20.494 | 889.633 | 19.107 | 6.5386
2020-09-04 05:00:00 | 5.961 | 222.42 | 6.217 | 219.134 | 5.573 | 223.8 | 4.958 | 220.767 | 20.414 | 889.733 | 19.435 | 6.0604
2020-09-04 05:15:00 | 5.559 | 220.2 | 6.491 | 216.375 | 5.734 | 222.7 | 5.16 | 220.7 | 20.306 | 889.467 | 20.085 | 5.8593
2020-09-04 05:30:00 | 5.736 | 220.22 | 6.379 | 217.266 | 5.72 | 222.867 | 5.282 | 221.4 | 20.331 | 889.917 | 20.824 | 6.3013
2020-09-04 05:45:00 | 5.911 | 226.16 | 6.647 | 221.158 | 5.902 | 227.633 | 5.271 | 227.333 | 20.085 | 889.783 | 21.595 | 7.3956
2020-09-04 06:00:00 | 5.517 | 222.12 | 6.27 | 223.363 | 5.502 | 231.967 | 5.066 | 232.467 | 20.102 | 889.483 | 22.203 | 7.5462
2020-09-04 06:15:00 | 5.5 | 220.433 | 5.722 | 226.679 | 5.614 | 236.167 | 5.407 | 234.167 | 19.602 | 889.933 | 22.453 | 6.4583
2020-09-04 06:30:00 | 5.825 | 221.473 | 6.524 | 224.994 | 6.196 | 234.133 | 5.904 | 233.1 | 19.431 | 889.617 | 22.613 | 8.082
2020-09-04 06:45:00 | 6.016 | 223.76 | 6.914 | 231.519 | 6.49 | 242.467 | 6.097 | 240.933 | 19.573 | 890.1 | 22.032 | 12.2971
2020-09-04 07:00:00 | 6.392 | 225.327 | 7.042 | 231.954 | 6.783 | 239.767 | 6.54 | 236.367 | 19.606 | 889.6 | 21.557 | 17.6327
2020-09-04 07:15:00 | 6.274 | 224.927 | 7.499 | 228.753 | 7.3 | 234.433 | 7.019 | 230.867 | 19.81 | 889.8 | 20.632 | 27.1884
2020-09-04 07:30:00 | 5.937 | 236.86 | 7.684 | 245.182 | 8.032 | 258.6 | 8.091 | 260.017 | 20.41 | 889.7 | 19.672 | 34.4319
2020-09-04 07:45:00 | 12.532 | 281.213 | 14.448 | 274.301 | 15.042 | 278.433 | 15.317 | 274.033 | 22.581 | 889.5 | 18.663 | 77.2784
2020-09-04 08:00:00 | 13.883 | 266.973 | 15.704 | 259.694 | 16.094 | 264.083 | 16.624 | 258.667 | 20.789 | 889.5 | 32.389 | 89.2294
2020-09-04 08:15:00 | 16.934 | 267.933 | 19.015 | 260.373 | 19.413 | 263.967 | 19.758 | 259.1 | 20.131 | 890.067 | 39.32 | 87.8552
2020-09-04 08:30:00 | 17.825 | 264.433 | 19.971 | 259.116 | 20.193 | 264.2 | 20.475 | 260.567 | 19.668 | 889.583 | 41.12 | 83.2294
2020-09-04 08:45:00 | 18.167 | 265.533 | 20.655 | 260.57 | 21.226 | 264.817 | 21.471 | 259.683 | 19.423 | 889.675 | 42.107 | 79.1031
2020-09-04 09:00:00 | 18.632 | 268.747 | 20.9 | 261.88 | 21.618 | 265.533 | 22.226 | 259.6 | 19.077 | 889.8 | 43.301 | 79.0051
2020-09-04 09:15:00 | 18.655 | 267.667 | 20.632 | 260.954 | 21.076 | 265.833 | 21.673 | 260.667 | 19.044 | 889.467 | 44.523 | 71.5377
2020-09-04 09:30:00 | 18.112 | 267.58 | 20.988 | 260.526 | 21.259 | 264.65 | 21.765 | 261.333 | 18.673 | 889.733 | 44.587 | 67.1379
2020-09-04 09:45:00 | 18.962 | 267.393 | 21.634 | 261.932 | 22.162 | 265.767 | 22.718 | 260.283 | 19.064 | 890.117 | 45.136 | 79.6794
2020-09-04 10:00:00 | 15.947 | 262.5 | 17.608 | 256.356 | 18.518 | 261.333 | 18.923 | 256.6 | 18.902 | 890.233 | 45.163 | 81.7763
2020-09-04 10:15:00 | 18.011 | 263.907 | 19.325 | 258.346 | 19.922 | 261.75 | 20.141 | 257.833 | 18.823 | 889.758 | 46.08 | 81.2945
2020-09-04 10:30:00 | 16.743 | 265.493 | 18.837 | 262.259 | 19.232 | 267 | 19.227 | 263.167 | 19.181 | 889.842 | 47.035 | 81.9425
2020-09-04 10:45:00 | 17.751 | 276.573 | 19.182 | 270.763 | 19.975 | 274.7 | 20.326 | 270.767 | 18.881 | 890.117 | 48.651 | 82.3646
2020-09-04 11:00:00 | 16.331 | 278.667 | 18.125 | 271.9 | 18.814 | 275.133 | 19.577 | 272.133 | 18.639 | 889.908 | 48.949 | 83.1882
2020-09-04 11:15:00 | 15.819 | 272.267 | 17.651 | 264.873 | 18.207 | 270.367 | 18.212 | 265.967 | 18.91 | 889.892 | 47.157 | 83.3687
2020-09-04 11:30:00 | 15.342 | 272.92 | 17.14 | 268.857 | 17.589 | 271.967 | 18.255 | 267.3 | 19.656 | 889.942 | 46.309 | 83.4617
2020-09-04 11:45:00 | 15.59 | 286.56 | 17.315 | 279.964 | 17.958 | 283.6 | 18.48 | 281.767 | 19.394 | 889.575 | 46.213 | 83.1434
2020-09-04 12:00:00 | 15.542 | 280.413 | 16.617 | 273.74 | 16.82 | 278.867 | 17.02 | 276.667 | 20.064 | 889.508 | 44.315 | 83.2123
2020-09-04 12:15:00 | 15.525 | 280.347 | 16.845 | 274.663 | 17.383 | 277.567 | 17.625 | 274.6 | 19.789 | 890.125 | 45.211 | 83.2216
2020-09-04 12:30:00 | 14.517 | 284.747 | 15.616 | 278.444 | 16.06 | 282.3 | 16.522 | 281.833 | 19.839 | 889.767 | 45.04 | 82.8862
2020-09-04 12:45:00 | 15.489 | 284.133 | 16.875 | 278.847 | 17.122 | 281.033 | 17.308 | 279.4 | 19.623 | 889.9 | 46.485 | 81.2711
2020-09-04 13:00:00 | 13.939 | 288.213 | 15.273 | 280.846 | 16.104 | 285.8 | 16.67 | 282.667 | 18.923 | 889.983 | 51.52 | 81.5198
2020-09-04 13:15:00 | 15.073 | 286.12 | 16.185 | 282.535 | 17.032 | 283.833 | 17.616 | 282.4 | 18.323 | 890.133 | 52.949 | 82.6368
2020-09-04 13:30:00 | 13.946 | 286.04 | 15.242 | 277.83 | 15.858 | 281.333 | 16.325 | 279.533 | 18.018 | 889.458 | 55.52 | 82.8904
2020-09-04 13:45:00 | 12.03 | 274.973 | 13.18 | 268.093 | 13.715 | 272.733 | 14.208 | 269.4 | 17.61 | 889.775 | 64.539 | 82.5075
2020-09-04 14:00:00 | 10.874 | 275.573 | 12.663 | 269.487 | 13.567 | 274 | 14.1 | 270.633 | 17.081 | 890.283 | 63.445 | 85.6503
2020-09-04 14:15:00 | 7.704 | 276.507 | 8.474 | 270.107 | 8.835 | 274.4 | 9.118 | 271 | 17.648 | 889.733 | 58.917 | 81.0721
2020-09-04 14:30:00 | 8.2 | 267.94 | 8.938 | 262.364 | 9.255 | 267.7 | 9.207 | 266.183 | 17.844 | 890.033 | 57.504 | 60.7975
2020-09-04 14:45:00 | 8.089 | 259.033 | 8.891 | 256.75 | 9.378 | 261.783 | 9.417 | 258.05 | 18.881 | 890.058 | 52.704 | 55.5301
2020-09-04 15:00:00 | 8.3 | 261.267 | 8.669 | 258.789 | 9.053 | 263.217 | 9.065 | 260.3 | 19.168 | 889.925 | 49.856 | 53.9285
2020-09-04 15:15:00 | 8.783 | 268.853 | 9.397 | 263.321 | 9.592 | 266.317 | 9.512 | 262.8 | 19.573 | 890.292 | 48.667 | 63.0109
2020-09-04 15:30:00 | 8.001 | 268.493 | 8.512 | 264.81 | 8.99 | 269.467 | 8.981 | 265.183 | 19.718 | 889.758 | 50.245 | 61.3397
2020-09-04 15:45:00 | 8.779 | 265.22 | 9.141 | 262.292 | 9.454 | 267.583 | 9.488 | 262.9 | 20.085 | 890.2 | 46.251 | 44.0857
2020-09-04 16:00:00 | 9.761 | 264.64 | 10.518 | 259.145 | 10.821 | 264.967 | 11.117 | 260.15 | 20.285 | 890.233 | 44.827 | 54.202
2020-09-04 16:15:00 | 10.028 | 280.067 | 10.786 | 273.166 | 11.067 | 275 | 11.298 | 271.467 | 20.273 | 890.058 | 45.157 | 70.4953
2020-09-04 16:30:00 | 7.986 | 270.54 | 8.57 | 265.358 | 9.114 | 268.6 | 9.115 | 263.383 | 20.639 | 889.783 | 44.848 | 61.6104
2020-09-04 16:45:00 | 9.889 | 272.827 | 10.534 | 268.043 | 10.733 | 271.433 | 10.8 | 267.733 | 20.806 | 889.55 | 43.867 | 75.3449
2020-09-04 17:00:00 | 10.875 | 275.773 | 11.775 | 268.665 | 12.198 | 273.4 | 12.444 | 268.933 | 21.16 | 890.4 | 43.493 | 77.9449
2020-09-04 17:15:00 | 9.474 | 268.8 | 10.366 | 265.87 | 10.7 | 268.633 | 10.725 | 262.967 | 21.127 | 889.908 | 42.912 | 80.4163
2020-09-04 17:30:00 | 10.632 | 284.613 | 11.614 | 279.814 | 12.005 | 282.2 | 12.3 | 277.9 | 20.81 | 889.842 | 43.381 | 83.9343
2020-09-04 17:45:00 | 11.694 | 286.92 | 12.478 | 281.374 | 12.484 | 285.067 | 12.901 | 282.967 | 21.468 | 890.075 | 42.555 | 84.0771
2020-09-04 18:00:00 | 10.824 | 279.387 | 11.781 | 273.368 | 12.194 | 277.033 | 12.39 | 273.467 | 20.748 | 889.867 | 43.563 | 84.1766
2020-09-04 18:15:00 | 10.514 | 288.867 | 11.345 | 282.657 | 11.87 | 286.767 | 12.367 | 284.4 | 21.206 | 889.867 | 42.741 | 83.4525
2020-09-04 18:30:00 | 9.138 | 284.867 | 10.277 | 277.346 | 10.514 | 282.8 | 10.858 | 278.833 | 20.831 | 889.85 | 45.52 | 77.8532
2020-09-04 18:45:00 | 8.145 | 282.2 | 8.703 | 274.211 | 9.016 | 276.8 | 9.357 | 275.633 | 20.831 | 889.633 | 45.403 | 58.5557
2020-09-04 19:00:00 | 8.018 | 280.713 | 8.805 | 277.332 | 9.092 | 283.833 | 9.573 | 281.833 | 21.064 | 889.758 | 43.307 | 57.6028
2020-09-04 19:15:00 | 7.054 | 290.533 | 7.501 | 283.92 | 7.766 | 285.267 | 8.194 | 283.433 | 20.764 | 890.083 | 46.405 | 71.2926
2020-09-04 19:30:00 | 8.004 | 284.187 | 9.135 | 276.43 | 9.628 | 280 | 9.923 | 276.733 | 20.035 | 889.925 | 47.381 | 51.2283
2020-09-04 19:45:00 | 7.367 | 273.373 | 8.193 | 268.945 | 8.287 | 274.267 | 8.328 | 272.867 | 20.464 | 890.025 | 46.373 | 35.7543
2020-09-04 20:00:00 | 6.196 | 285.44 | 6.927 | 281.297 | 7.268 | 285.2 | 7.652 | 282.167 | 20.348 | 889.625 | 46.187 | 25.9478
2020-09-04 20:15:00 | 7.07 | 287.733 | 8.041 | 281.531 | 8.363 | 286.767 | 8.739 | 285.467 | 20.51 | 889.767 | 47.451 | 41.6214
2020-09-04 20:30:00 | 6.797 | 279.293 | 7.415 | 274.616 | 7.816 | 278.1 | 8.069 | 274.167 | 20.044 | 890.475 | 47.659 | 36.2289
2020-09-04 20:45:00 | 7.166 | 279.4 | 7.919 | 275.68 | 8.255 | 278.3 | 8.693 | 273.2 | 20.239 | 890.092 | 47.925 | 42.8202
2020-09-04 21:00:00 | 7.149 | 281.44 | 8.094 | 277.997 | 8.574 | 281.9 | 8.942 | 280.2 | 20.348 | 890 | 47.413 | 39.1579
2020-09-04 21:15:00 | 6.011 | 282.347 | 6.971 | 277.388 | 7.252 | 281.033 | 7.482 | 277.967 | 20.048 | 889.942 | 47.371 | 31.6579
2020-09-04 21:30:00 | 5.491 | 276.907 | 6.292 | 272.284 | 6.72 | 278.167 | 6.841 | 274.867 | 19.627 | 889.808 | 47.312 | 26.7699
2020-09-04 21:45:00 | 4.641 | 266.6 | 5.592 | 265.582 | 6.007 | 270.633 | 6.189 | 265.417 | 19.485 | 889.792 | 47.2 | 22.6621
2020-09-04 22:00:00 | 5.681 | 258.347 | 6.636 | 257.171 | 7.018 | 263 | 7.117 | 259.267 | 18.968 | 889.8 | 47.856 | 22.1491
2020-09-04 22:15:00 | 5.504 | 262.333 | 6.649 | 260.249 | 6.914 | 266.033 | 7.124 | 260.967 | 18.806 | 889.575 | 47.957 | 30.0754
2020-09-04 22:30:00 | 5.206 | 261.667 | 6.487 | 260.662 | 7.014 | 265.3 | 7.06 | 262.483 | 18.606 | 890.267 | 48.341 | 25.5676
2020-09-04 22:45:00 | 4.16 | 269.613 | 5.358 | 269.863 | 5.611 | 276.633 | 5.894 | 273.667 | 18.314 | 889.792 | 48.971 | 19.2919
2020-09-04 23:00:00 | 4.387 | 278.707 | 5.554 | 281.964 | 5.826 | 288.167 | 6.328 | 286.667 | 17.66 | 889.45 | 49.568 | 15.2679
2020-09-04 23:15:00 | 4.28 | 275.16 | 5.515 | 276.892 | 6.021 | 281.133 | 6.378 | 278.867 | 17.731 | 889.5 | 49.883 | 16.2336
2020-09-04 23:30:00 | 3.954 | 269.24 | 4.752 | 269.86 | 5.087 | 274.9 | 5.287 | 271.1 | 16.981 | 890.083 | 51.456 | 15.4193
2020-09-04 23:45:00 | 4.272 | 247.913 | 4.867 | 257.117 | 5.079 | 265.7 | 5.317 | 264.967 | 16.581 | 889.983 | 53.109 | 17.1751