## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-05 00:00:00 | 5.361 | 242.58 | 6.228 | 248.772 | 6.691 | 257.267 | 6.861 | 255.75 | 16.531 | 889.883 | 54.133 | 24.57
2020-09-05 00:15:00 | 6.122 | 250.3 | 7.446 | 254.976 | 7.939 | 262.633 | 8.346 | 259.133 | 16.464 | 889.433 | 54.107 | 37.8391
2020-09-05 00:30:00 | 6.031 | 243.333 | 7.242 | 248.318 | 7.688 | 255.9 | 7.887 | 253.633 | 16.698 | 889.642 | 54.016 | 47.2413
2020-09-05 00:45:00 | 5.848 | 239.853 | 7.183 | 244.443 | 7.671 | 252.267 | 7.671 | 249.283 | 16.174 | 890.042 | 55.573 | 43.9905
2020-09-05 01:00:00 | 5.015 | 239.08 | 6.372 | 244.894 | 6.848 | 253.1 | 6.943 | 250.55 | 16.564 | 889.033 | 55.829 | 37.223
2020-09-05 01:15:00 | 5.295 | 241.24 | 6.199 | 245.579 | 6.476 | 253.767 | 6.698 | 250.5 | 16.089 | 889.725 | 55.883 | 34.6003
2020-09-05 01:30:00 | 5.284 | 233.333 | 6.564 | 240.443 | 6.851 | 250.667 | 6.882 | 248.067 | 15.901 | 889.817 | 56.661 | 33.2261
2020-09-05 01:45:00 | 6.162 | 229.873 | 7.194 | 233.276 | 7.149 | 240.067 | 6.924 | 238.133 | 15.44 | 889.908 | 57.515 | 35.1922
2020-09-05 02:00:00 | 5.36 | 231.66 | 6.856 | 235.451 | 7.248 | 243.533 | 7.153 | 240.567 | 15.758 | 889.667 | 57.6 | 35.0508
2020-09-05 02:15:00 | 6.135 | 229.093 | 7.525 | 232.179 | 7.7 | 240.367 | 7.683 | 236.467 | 15.602 | 890.158 | 57.973 | 39.3469
2020-09-05 02:30:00 | 6.195 | 230.68 | 7.645 | 231.843 | 8.073 | 239.667 | 7.877 | 236.6 | 15.623 | 889.783 | 58.549 | 41.0707
2020-09-05 02:45:00 | 6.158 | 239.207 | 7.553 | 237.832 | 8.115 | 246 | 8.09 | 242.967 | 15.324 | 889.858 | 58.464 | 48.9872
2020-09-05 03:00:00 | 6.048 | 233.433 | 7.667 | 236.782 | 8.051 | 245.433 | 8.145 | 242.5 | 15.181 | 889.408 | 59.072 | 50.6662
2020-09-05 03:15:00 | 6.414 | 235.6 | 7.928 | 240.224 | 8.366 | 249.1 | 8.414 | 246.3 | 14.824 | 889.825 | 59.232 | 51.8032
2020-09-05 03:30:00 | 6.681 | 234.553 | 8.243 | 238.583 | 8.958 | 248.733 | 8.87 | 246.133 | 15.269 | 889.667 | 58.976 | 59.235
2020-09-05 03:45:00 | 7.343 | 235.987 | 8.693 | 239.374 | 9.256 | 248.967 | 9.5 | 245.367 | 15.492 | 889.933 | 58.379 | 65.2911
2020-09-05 04:00:00 | 6.052 | 230.553 | 7.813 | 235.284 | 8.489 | 246.167 | 8.721 | 243.3 | 14.979 | 890.233 | 59.232 | 58.103
2020-09-05 04:15:00 | 5.839 | 239.767 | 7.458 | 241.902 | 8.045 | 252.067 | 8.316 | 250.067 | 14.758 | 889.783 | 59.989 | 55.9934
2020-09-05 04:30:00 | 5.454 | 234.067 | 6.683 | 240.201 | 7.486 | 251.033 | 7.776 | 248.867 | 15.158 | 890.142 | 60.267 | 47.9533
2020-09-05 04:45:00 | 6.073 | 253.68 | 7.74 | 256.085 | 8.414 | 264.533 | 8.744 | 260.683 | 15.05 | 890.117 | 59.808 | 43.7418
2020-09-05 05:00:00 | 5.579 | 234.407 | 6.667 | 241.869 | 7.208 | 253.8 | 7.326 | 254.2 | 15.167 | 890.167 | 59.499 | 45.1274
2020-09-05 05:15:00 | 5.65 | 236.153 | 6.521 | 243.126 | 6.782 | 254.633 | 6.911 | 256.133 | 14.149 | 889.475 | 62.197 | 37.5307
2020-09-05 05:30:00 | 6.515 | 228.56 | 7.143 | 235.865 | 7.657 | 248.833 | 7.756 | 250.483 | 14.308 | 889.642 | 62.133 | 36.801
2020-09-05 05:45:00 | 5.878 | 232.647 | 6.811 | 236.637 | 7.063 | 249.033 | 6.972 | 248.5 | 14.295 | 890.1 | 62.112 | 37.9265
2020-09-05 06:00:00 | 4.845 | 236.847 | 5.996 | 242.537 | 6.275 | 255.1 | 6.343 | 256.4 | 14.191 | 889.733 | 62.165 | 28.8661
2020-09-05 06:15:00 | 4.995 | 230.773 | 5.488 | 240.539 | 5.712 | 252.7 | 5.738 | 255.967 | 14.424 | 889.642 | 62.347 | 23.4501
2020-09-05 06:30:00 | 5.235 | 217.24 | 6.023 | 226.925 | 5.839 | 236.533 | 5.564 | 238.033 | 14.137 | 889.65 | 62.731 | 20.2966
2020-09-05 06:45:00 | 5.428 | 216.793 | 6.298 | 227.817 | 6.235 | 237.7 | 6.178 | 238.8 | 13.799 | 889.625 | 64.149 | 22.1214
2020-09-05 07:00:00 | 6.106 | 226.627 | 7.018 | 232.184 | 7.136 | 239.967 | 7.257 | 237.433 | 14.054 | 889.8 | 63.339 | 31.1605
2020-09-05 07:15:00 | 6.75 | 233.513 | 8.739 | 234.608 | 8.981 | 241.433 | 8.604 | 238 | 14.074 | 889.658 | 63.36 | 47.9576
2020-09-05 07:30:00 | 6.724 | 234.9 | 8.715 | 235.885 | 9.172 | 243.267 | 9.016 | 240.433 | 15.008 | 889.65 | 59.541 | 58.5024
2020-09-05 07:45:00 | 7.636 | 238.047 | 9.038 | 237.255 | 9.362 | 244.133 | 9.405 | 242.2 | 15.756 | 889.9 | 56.32 | 68.7914
2020-09-05 08:00:00 | 6.876 | 238.733 | 8.282 | 237.524 | 8.799 | 244.8 | 8.743 | 241.7 | 16.681 | 890.042 | 52.725 | 63.7186
2020-09-05 08:15:00 | 6.656 | 236.58 | 7.92 | 235.515 | 8.442 | 242.933 | 8.365 | 240.167 | 17.481 | 889.942 | 50.08 | 59.1355
2020-09-05 08:30:00 | 6.721 | 239.147 | 7.548 | 237.07 | 8.066 | 244.5 | 8.112 | 240.667 | 18.023 | 890.017 | 48.011 | 52.3027
2020-09-05 08:45:00 | 6.887 | 239.98 | 7.314 | 237.144 | 7.927 | 242.333 | 8.218 | 239.133 | 18.785 | 890.325 | 45.589 | 47.6677
2020-09-05 09:00:00 | 8.074 | 234.573 | 8.437 | 232 | 8.991 | 237.3 | 8.987 | 232.267 | 19.21 | 889.875 | 43.829 | 56.4169
2020-09-05 09:15:00 | 7.227 | 250.473 | 7.582 | 245.871 | 7.977 | 250.817 | 8.065 | 246.683 | 20.206 | 890.117 | 41.963 | 60.4493
2020-09-05 09:30:00 | 8.531 | 257.293 | 9.33 | 252.181 | 9.132 | 259.25 | 9.014 | 254.2 | 20.931 | 889.617 | 39.091 | 57.9439
2020-09-05 09:45:00 | 8.557 | 271.287 | 9.326 | 268.46 | 9.367 | 273.2 | 9.322 | 269.267 | 20.831 | 889.733 | 37.616 | 54.1331
2020-09-05 10:00:00 | 7.977 | 294.72 | 8.624 | 287.621 | 8.924 | 291.333 | 9.092 | 287.1 | 21.214 | 889.85 | 36.773 | 49.2508
2020-09-05 10:15:00 | 8.474 | 295.453 | 8.851 | 291.171 | 9.209 | 296.5 | 9.788 | 294.833 | 21.077 | 889.733 | 36.376 | 51.374
2020-09-05 10:30:00 | 7.535 | 288.107 | 7.899 | 284.16 | 8.399 | 285.867 | 8.728 | 283.467 | 21.302 | 889.6 | 35.949 | 47.7856
2020-09-05 10:45:00 | 6.967 | 294.747 | 7.426 | 290.675 | 7.616 | 293.433 | 7.965 | 291.567 | 21.768 | 889.767 | 35.312 | 43.7688
2020-09-05 11:00:00 | 6.959 | 297.72 | 7.426 | 293.391 | 7.664 | 296.733 | 7.973 | 292.267 | 21.977 | 890.083 | 34.109 | 32.664
2020-09-05 11:15:00 | 6.755 | 293.68 | 7.083 | 290.074 | 7.4 | 294.733 | 7.559 | 291.233 | 22.089 | 889.6 | 33.413 | 34.6714
2020-09-05 11:30:00 | 7.004 | 281.6 | 7.261 | 274.201 | 7.63 | 279.033 | 8.01 | 276.833 | 22.564 | 889.75 | 32.589 | 35.3095
2020-09-05 11:45:00 | 6.559 | 286.367 | 6.582 | 276.53 | 6.966 | 277.717 | 7.094 | 274.217 | 22.714 | 890.05 | 31.264 | 29.1951
2020-09-05 12:00:00 | 7.187 | 266.687 | 7.578 | 264.026 | 7.602 | 269.467 | 7.788 | 267.45 | 22.981 | 889.6 | 29.373 | 25.1505
2020-09-05 12:15:00 | 6.903 | 308.933 | 7.206 | 301.242 | 7.359 | 304.4 | 7.741 | 300.7 | 23.048 | 889.767 | 28.581 | 33.2467
2020-09-05 12:30:00 | 7.827 | 296.053 | 8.062 | 289.763 | 8.223 | 293.967 | 8.58 | 291.6 | 22.748 | 889.517 | 28.376 | 30.7775
2020-09-05 12:45:00 | 8.966 | 300.747 | 9.21 | 297.835 | 9.392 | 302.167 | 10.045 | 299 | 22.814 | 889.817 | 28.144 | 32.9611
2020-09-05 13:00:00 | 7.661 | 293.48 | 8.266 | 290.234 | 8.609 | 293.933 | 8.626 | 293.467 | 23.348 | 889.95 | 26.84 | 34.3381
2020-09-05 13:15:00 | 8.069 | 291.747 | 8.181 | 286.239 | 8.349 | 291.233 | 8.572 | 286.433 | 23.364 | 889.767 | 27 | 34.5243
2020-09-05 13:30:00 | 8.236 | 312.107 | 8.632 | 301.394 | 9.006 | 306.767 | 9.514 | 305.333 | 23.398 | 889.517 | 27.237 | 36.1408
2020-09-05 13:45:00 | 8.219 | 313.747 | 8.498 | 308.838 | 8.734 | 311.033 | 9.211 | 304.6 | 23.298 | 889.367 | 27.101 | 41.1148
2020-09-05 14:00:00 | 7.765 | 314.96 | 7.899 | 309.327 | 8.112 | 316.4 | 8.367 | 313.633 | 23.844 | 889.7 | 27.08 | 41.2143
2020-09-05 14:15:00 | 8.434 | 306.027 | 8.773 | 300.908 | 9.211 | 304.133 | 9.716 | 297.967 | 23.198 | 889.667 | 27.808 | 47.7032
2020-09-05 14:30:00 | 7.95 | 299.093 | 8.599 | 290.608 | 8.503 | 293.1 | 8.73 | 290.483 | 23.331 | 889.617 | 27.965 | 45.315
2020-09-05 14:45:00 | 7.237 | 281.293 | 7.488 | 277.39 | 7.429 | 281.4 | 7.495 | 279.167 | 23.531 | 889.75 | 26.699 | 36.0193
2020-09-05 15:00:00 | 9.263 | 314.293 | 9.627 | 302.476 | 10.098 | 306.8 | 10.551 | 302.8 | 23.489 | 889.917 | 26.147 | 45.0307
2020-09-05 15:15:00 | 9.292 | 290.44 | 9.844 | 284.372 | 10.128 | 288.667 | 10.578 | 286.567 | 23.498 | 889.367 | 25.955 | 67.1315
2020-09-05 15:30:00 | 8.525 | 289.88 | 9.433 | 284.275 | 9.559 | 291.2 | 9.795 | 290.933 | 23.623 | 889.933 | 25.488 | 59.7224
2020-09-05 15:45:00 | 8.743 | 328.32 | 9.096 | 318.242 | 9.398 | 321.8 | 9.823 | 319 | 24.044 | 890.083 | 25.259 | 47.9817
2020-09-05 16:00:00 | 9.004 | 311.027 | 9.264 | 303.458 | 9.384 | 306.233 | 9.596 | 304.2 | 24.002 | 889.917 | 26.323 | 57.6405
2020-09-05 16:15:00 | 6.955 | 302.787 | 7.333 | 297.299 | 7.637 | 300.867 | 8.088 | 298.933 | 23.998 | 889.933 | 25.896 | 49.9059
2020-09-05 16:30:00 | 9.213 | 284.807 | 10.137 | 280.818 | 10.864 | 284.833 | 11.427 | 282.233 | 24.531 | 889.967 | 25.688 | 55.071
2020-09-05 16:45:00 | 9.077 | 277.68 | 9.784 | 270.941 | 9.83 | 274.767 | 9.854 | 271.55 | 24.239 | 889.317 | 26.024 | 56.0303
2020-09-05 17:00:00 | 7.422 | 333.653 | 7.898 | 328.862 | 8.041 | 333.133 | 8.381 | 332.4 | 24.348 | 890.2 | 26.595 | 48.062
2020-09-05 17:15:00 | 6.833 | 339.453 | 6.832 | 331.379 | 7.059 | 334.2 | 7.277 | 333.867 | 23.877 | 889.867 | 26.555 | 43.5286
2020-09-05 17:30:00 | 6.794 | 330.947 | 6.804 | 337.696 | 7.145 | 340.967 | 7.268 | 338.533 | 23.414 | 890.233 | 26.277 | 31.4269
2020-09-05 17:45:00 | 6.059 | 329.493 | 6.754 | 321.107 | 7.289 | 326.867 | 7.516 | 326.8 | 23.414 | 889.7 | 26.499 | 30.5089
2020-09-05 18:00:00 | 6.918 | 326.507 | 7.436 | 320.827 | 7.785 | 325.2 | 8.152 | 322.367 | 23.644 | 889.883 | 25.349 | 35.4892
2020-09-05 18:15:00 | 7.145 | 323.013 | 7.573 | 315.414 | 7.911 | 319.4 | 8.24 | 319.2 | 23.744 | 889.983 | 25.173 | 37.0681
2020-09-05 18:30:00 | 6.747 | 327.813 | 7.221 | 316.134 | 7.604 | 320.7 | 8.063 | 319.667 | 24.344 | 889.767 | 24.939 | 35.1176
2020-09-05 18:45:00 | 6.91 | 320.427 | 6.998 | 312.801 | 7.347 | 318.633 | 7.632 | 317.5 | 24.044 | 889.583 | 25.48 | 34.373
2020-09-05 19:00:00 | 5.655 | 316.747 | 5.855 | 309.848 | 6.132 | 317.167 | 6.453 | 317.6 | 23.71 | 889.85 | 25.437 | 29.3834
2020-09-05 19:15:00 | 4.061 | 315.733 | 4.268 | 322.312 | 4.59 | 317.167 | 4.925 | 327.267 | 23.664 | 889.633 | 25.448 | 26.7869
2020-09-05 19:30:00 | 5.892 | 314.107 | 5.876 | 308.924 | 6.239 | 314.9 | 6.684 | 315.5 | 23.598 | 889.6 | 25.725 | 27.2524
2020-09-05 19:45:00 | 6.811 | 331.213 | 7.44 | 324.618 | 7.856 | 330.333 | 8.342 | 328.167 | 23.248 | 890.083 | 26.773 | 26.9603
2020-09-05 20:00:00 | 6.61 | 325.773 | 7.37 | 319.282 | 7.662 | 323.433 | 8.098 | 322.667 | 22.548 | 889.833 | 28.285 | 26.9539
2020-09-05 20:15:00 | 4.892 | 325.587 | 5.42 | 321.637 | 5.814 | 324.833 | 6.144 | 325.367 | 22.214 | 889.633 | 29.384 | 20.8118
2020-09-05 20:30:00 | 3.599 | 319.533 | 4.316 | 318.092 | 4.958 | 323.533 | 5.432 | 322.667 | 22.16 | 889.6 | 30.211 | 12.3163
2020-09-05 20:45:00 | 3.439 | 325.24 | 3.995 | 323.022 | 4.166 | 327.433 | 4.626 | 329.8 | 21.435 | 889.683 | 31.093 | 7.4773
2020-09-05 21:00:00 | 3.263 | 304.187 | 3.979 | 309.537 | 4.184 | 318.333 | 4.704 | 322.133 | 21.006 | 889.7 | 31.811 | 7.478
2020-09-05 21:15:00 | 2.948 | 306.04 | 3.432 | 312.11 | 3.5 | 315.933 | 3.974 | 315.433 | 20.956 | 889.717 | 32.555 | 5.762
2020-09-05 21:30:00 | 2.585 | 304.613 | 3.313 | 311.324 | 3.745 | 321.3 | 4.518 | 322.967 | 20.318 | 889.467 | 33.187 | 2.8032
2020-09-05 21:45:00 | 2.121 | 340.813 | 3.122 | 249.195 | 3.623 | 5.034 | 4.484 | 0 | 19.573 | 890.033 | 34.44 | 3.5187
2020-09-05 22:00:00 | 2.417 | 326.827 | 2.927 | 260.127 | 3.644 | 64.134 | 4.481 | 26.8 | 19.327 | 889.717 | 33.936 | 1.8922
2020-09-05 22:15:00 | 3.373 | 340.16 | 3.99 | 337.035 | 4.966 | 270.467 | 5.536 | 224.7 | 19.244 | 889.733 | 33.995 | 2.8018
2020-09-05 22:30:00 | 3.246 | 324.253 | 3.807 | 332.205 | 4.454 | 342.167 | 5.284 | 348.067 | 19.048 | 889.733 | 34.563 | 4.3451
2020-09-05 22:45:00 | 2.203 | 327.88 | 2.625 | 335.066 | 3.472 | 348.833 | 4.366 | 353.967 | 19.127 | 889.617 | 34.883 | 2.875
2020-09-05 23:00:00 | 2.082 | 293.867 | 2.756 | 332.96 | 3.573 | 353.9 | 3.953 | 354.067 | 18.739 | 890.3 | 35.581 | 0.74325
2020-09-05 23:15:00 | 2.571 | 266.56 | 2.227 | 288.715 | 2.298 | 318.8 | 2.856 | 331.7 | 18.039 | 889.8 | 36.611 | 0.23733
2020-09-05 23:30:00 | 3.448 | 220.72 | 2.656 | 245.118 | 2.251 | 256.133 | 2.61 | 264.9 | 17.31 | 889.617 | 38.203 | 0.15561
2020-09-05 23:45:00 | 4.106 | 213.227 | 3.527 | 221.288 | 3.332 | 244.9 | 3.387 | 261.467 | 17.406 | 889.9 | 38.699 | 0.92942