## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-06 00:00:00 | 4.589 | 213.413 | 3.74 | 237.235 | 3.268 | 253.6 | 3.432 | 256.45 | 16.714 | 889.483 | 40.064 | 2.5381
2020-09-06 00:15:00 | 4.963 | 219.273 | 4.276 | 230.941 | 3.629 | 247.433 | 3.648 | 255.633 | 15.257 | 889.817 | 42.155 | 3.0007
2020-09-06 00:30:00 | 5.597 | 219.173 | 5.682 | 227.278 | 4.988 | 239.9 | 4.649 | 246.233 | 15.787 | 889.817 | 42.08 | 8.5893
2020-09-06 00:45:00 | 5.215 | 226.207 | 5.505 | 237.999 | 5.049 | 251.333 | 4.849 | 251.033 | 15.514 | 890.125 | 42.272 | 10.7459
2020-09-06 01:00:00 | 4.788 | 229.867 | 5.487 | 246.992 | 5.176 | 257.2 | 5.094 | 257.2 | 14.924 | 889.692 | 42.336 | 10.0886
2020-09-06 01:15:00 | 5.454 | 233.367 | 6.37 | 244.566 | 6.09 | 254.133 | 5.992 | 252.65 | 14.824 | 890.2 | 43.051 | 15.4342
2020-09-06 01:30:00 | 5.171 | 245.867 | 5.705 | 256.234 | 5.648 | 264.067 | 5.788 | 263.433 | 15.074 | 889.967 | 43.547 | 13.8951
2020-09-06 01:45:00 | 5.597 | 249.913 | 5.641 | 261.449 | 5.617 | 269.867 | 5.856 | 268.9 | 15.193 | 890.025 | 43.504 | 15.145
2020-09-06 02:00:00 | 5.736 | 245.4 | 5.722 | 257.667 | 5.825 | 266.133 | 6.047 | 264.033 | 15.248 | 890.15 | 43.861 | 14.3847
2020-09-06 02:15:00 | 5.08 | 242.1 | 5.834 | 259.661 | 6.001 | 268.067 | 6.224 | 266 | 15.388 | 890.067 | 44.363 | 14.1232
2020-09-06 02:30:00 | 6.008 | 230.38 | 6.637 | 238.239 | 6.196 | 248.833 | 5.885 | 251.867 | 14.074 | 890 | 46.293 | 16.2734
2020-09-06 02:45:00 | 5.538 | 225.707 | 6.545 | 234.174 | 6.105 | 242.767 | 5.882 | 241.167 | 14.237 | 889.933 | 46.315 | 15.1905
2020-09-06 03:00:00 | 5.307 | 224.24 | 5.728 | 236.365 | 5.554 | 244.933 | 5.391 | 242.5 | 14.408 | 890.083 | 46.197 | 12.7532
2020-09-06 03:15:00 | 5.793 | 221.68 | 5.899 | 227.893 | 5.714 | 236.633 | 5.459 | 234.967 | 13.92 | 889.608 | 46.539 | 12.1756
2020-09-06 03:30:00 | 5.779 | 221.213 | 5.53 | 225.054 | 4.99 | 233.133 | 4.833 | 233.867 | 13.787 | 889.483 | 46.891 | 8.0273
2020-09-06 03:45:00 | 6.081 | 218.26 | 6.69 | 213.555 | 5.729 | 217.5 | 4.701 | 217.6 | 13.628 | 890.092 | 47.851 | 8.4245
2020-09-06 04:00:00 | 5.958 | 217.253 | 6.565 | 215.347 | 6.036 | 216.5 | 5.169 | 209.767 | 13.995 | 890.142 | 47.733 | 10.4766
2020-09-06 04:15:00 | 5.949 | 219.627 | 5.967 | 217.13 | 6.023 | 220.267 | 5.078 | 212.333 | 13.954 | 889.275 | 48.181 | 10.0069
2020-09-06 04:30:00 | 5.822 | 220.093 | 6.113 | 222.949 | 5.522 | 227.7 | 5.198 | 220.4 | 13.749 | 890.183 | 48.779 | 11.2525
2020-09-06 04:45:00 | 5.93 | 219.947 | 6.707 | 221.53 | 5.66 | 226.667 | 4.658 | 223.533 | 13.176 | 890.017 | 49.941 | 11.3627
2020-09-06 05:00:00 | 5.824 | 223.707 | 6.383 | 224.868 | 5.943 | 233.467 | 5.678 | 231.433 | 12.962 | 890.1 | 50.517 | 12.4392
2020-09-06 05:15:00 | 5.62 | 223.68 | 6.301 | 225.165 | 5.773 | 234.067 | 5.404 | 234.133 | 13.303 | 889.508 | 50.389 | 10.79
2020-09-06 05:30:00 | 5.9 | 223.873 | 6.577 | 226.833 | 5.945 | 237.233 | 5.413 | 236.467 | 13.443 | 889.925 | 50.731 | 10.9392
2020-09-06 05:45:00 | 5.648 | 229.26 | 6.031 | 231.688 | 5.68 | 241.867 | 5.352 | 240.933 | 13.285 | 889.85 | 51.232 | 10.4453
2020-09-06 06:00:00 | 5.788 | 227.24 | 6.4 | 230.174 | 6.111 | 238.9 | 5.616 | 237.033 | 13.012 | 889.583 | 52.192 | 11.5453
2020-09-06 06:15:00 | 5.391 | 221.68 | 5.849 | 229.112 | 5.382 | 238.967 | 4.89 | 239.167 | 13.126 | 890.108 | 52.277 | 9.8271
2020-09-06 06:30:00 | 5.602 | 223.32 | 6.066 | 227.122 | 5.329 | 237.9 | 4.741 | 239.233 | 13.297 | 889.742 | 52.331 | 8.1069
2020-09-06 06:45:00 | 5.814 | 221.033 | 5.994 | 222.53 | 5.424 | 230.633 | 4.93 | 230.933 | 13.389 | 890.242 | 52.576 | 8.4998
2020-09-06 07:00:00 | 5.713 | 221.947 | 6.053 | 223.06 | 5.166 | 233 | 4.622 | 234.567 | 13.176 | 889.6 | 53.088 | 7.9505
2020-09-06 07:15:00 | 5.69 | 223.113 | 5.468 | 225.229 | 4.797 | 235.667 | 4.342 | 237.667 | 13.27 | 890.117 | 52.779 | 5.8465
2020-09-06 07:30:00 | 5.524 | 225.253 | 4.924 | 229.138 | 4.461 | 240.433 | 4.095 | 240.833 | 13.691 | 889.717 | 51.168 | 4.7253
2020-09-06 07:45:00 | 5.336 | 228.14 | 5.066 | 234.83 | 4.533 | 247 | 4.187 | 249.6 | 14.099 | 889.958 | 49.184 | 4.5121
2020-09-06 08:00:00 | 4.513 | 233.733 | 5.206 | 237.653 | 4.805 | 248.433 | 4.428 | 247.2 | 14.758 | 889.8 | 46.848 | 4.1327
2020-09-06 08:15:00 | 3.641 | 221.04 | 4.985 | 230.474 | 4.337 | 242.833 | 4.086 | 243.1 | 15.854 | 889.683 | 44.203 | 3.4491
2020-09-06 08:30:00 | 3.674 | 213.04 | 4.431 | 218.098 | 3.938 | 234.367 | 3.426 | 236.7 | 16.831 | 889.642 | 41.771 | 3.1649
2020-09-06 08:45:00 | 3.036 | 203.187 | 3.004 | 199.608 | 3.468 | 204.4 | 4.178 | 211.433 | 18.36 | 889.833 | 38.496 | 1.8993
2020-09-06 09:00:00 | 2.438 | 211.18 | 2.277 | 211.389 | 2.39 | 216.5 | 2.786 | 211.867 | 19.956 | 889.95 | 34.341 | 0.28138
2020-09-06 09:15:00 | 2.172 | 230.64 | 1.884 | 227.474 | 2.014 | 233.167 | 2.368 | 233.267 | 21.394 | 889.783 | 30.427 | 0.26859
2020-09-06 09:30:00 | 2.097 | 249.38 | 1.895 | 250.947 | 2.048 | 253.45 | 2.399 | 244.567 | 22.206 | 889.633 | 27.283 | 0.20251
2020-09-06 09:45:00 | 1.479 | 209.78 | 1.433 | 221.092 | 1.624 | 228.867 | 2.206 | 222.833 | 22.648 | 889.783 | 26.357 | 0.24088
2020-09-06 10:00:00 | 3.106 | 241.233 | 3.167 | 233.8 | 3.03 | 235.683 | 3.157 | 227.1 | 23.498 | 889.717 | 25.387 | 0.13288
2020-09-06 10:15:00 | 3.304 | 246.04 | 3.275 | 239.938 | 3.395 | 242.583 | 3.652 | 237.767 | 23.414 | 889.967 | 24.989 | 0.21957
2020-09-06 10:30:00 | 2.591 | 203.733 | 2.538 | 204.358 | 2.51 | 210.4 | 2.975 | 208.967 | 23.689 | 889.667 | 25.019 | 0.12222
2020-09-06 10:45:00 | 2.314 | 223.953 | 2.383 | 229.534 | 2.121 | 234.167 | 2.658 | 232.933 | 24.335 | 889.6 | 24.981 | 0.083136
2020-09-06 11:00:00 | 2.169 | 222.793 | 2.304 | 232.855 | 2.21 | 237.633 | 2.679 | 237.267 | 24.548 | 890.25 | 24.251 | 0.097348
2020-09-06 11:15:00 | 2.363 | 248.58 | 2.544 | 245.306 | 2.618 | 254.717 | 3.129 | 248.033 | 24.802 | 889.917 | 23.517 | 0.090953
2020-09-06 11:30:00 | 2.769 | 277.493 | 2.78 | 267.126 | 2.863 | 265.9 | 3.154 | 256.833 | 25.073 | 889.917 | 22.347 | 0.22525
2020-09-06 11:45:00 | 2.765 | 317.707 | 2.403 | 309.13 | 2.24 | 306.333 | 2.707 | 288.733 | 25.348 | 889.933 | 21.672 | 0.23804
2020-09-06 12:00:00 | 1.972 | 260.013 | 1.991 | 276.444 | 2.024 | 290.417 | 2.616 | 296.633 | 25.144 | 889.983 | 22.347 | 0.17125
2020-09-06 12:15:00 | 2.53 | 36.085 | 2.648 | 45.89 | 2.373 | 51.667 | 2.889 | 60 | 25.198 | 889.817 | 21.221 | 0.19683
2020-09-06 12:30:00 | 1.62 | 71.678 | 1.102 | 65.128 | 0.77 | 53.54 | 1.615 | 45.967 | 25.51 | 889.95 | 20.752 | 0.1947
2020-09-06 12:45:00 | 2.058 | 187.978 | 1.936 | 240.074 | 1.506 | 178.971 | 2.024 | 181.467 | 25.477 | 889.533 | 20.379 | 0.17196
2020-09-06 13:00:00 | 1.443 | 145.177 | 0.883 | 137.124 | 0.41 | 241.267 | 1.168 | 217.483 | 25.76 | 889.267 | 19.763 | 0.1009
2020-09-06 13:15:00 | 1.526 | 22.441 | 1.54 | 29.729 | 1.05 | 42.067 | 1.875 | 37.901 | 25.852 | 889.583 | 20.157 | 0.13714
2020-09-06 13:30:00 | 1.601 | 312.198 | 1.637 | 320.63 | 0.969 | 315.233 | 1.62 | 277.233 | 26.285 | 889.2 | 19.86 | 0.47395
2020-09-06 13:45:00 | 2.989 | 298.392 | 2.933 | 291.786 | 3.111 | 290.717 | 3.577 | 287.767 | 26.231 | 889.633 | 19.628 | 0.18048
2020-09-06 14:00:00 | 3.093 | 72.052 | 3.032 | 76.29 | 2.957 | 76.6 | 3.357 | 84.2 | 27.206 | 889.7 | 18.928 | 0.1073
2020-09-06 14:15:00 | 4.024 | 38.482 | 3.979 | 62.316 | 3.9 | 28.969 | 3.906 | 22.3 | 26.948 | 889.733 | 18.067 | 0.54429
2020-09-06 14:30:00 | 2.972 | 236.425 | 3.106 | 318.447 | 3.379 | 320.1 | 3.471 | 324.3 | 26.618 | 889.6 | 18.272 | 2.2198
2020-09-06 14:45:00 | 1.566 | 289.82 | 1.355 | 280.165 | 1.069 | 290.8 | 1.622 | 286.367 | 26.694 | 888.967 | 18.115 | 3.5621
2020-09-06 15:00:00 | 4.881 | 53.175 | 4.825 | 53.556 | 5.316 | 57.8 | 5.428 | 57.067 | 26.848 | 889.767 | 17.941 | 4.5853
2020-09-06 15:15:00 | 5.158 | 61.672 | 4.619 | 56.866 | 4.809 | 58.7 | 5.163 | 56.2 | 27.689 | 889.367 | 17.648 | 5.3861
2020-09-06 15:30:00 | 3.198 | 89.583 | 2.954 | 80.107 | 2.872 | 79.2 | 3.248 | 60.5 | 27.152 | 889.833 | 17.669 | 6.0348
2020-09-06 15:45:00 | 4.866 | 52.351 | 4.479 | 48.785 | 4.757 | 56.1 | 4.8 | 52.433 | 27.681 | 889.667 | 17.171 | 5.8146
2020-09-06 16:00:00 | 3.273 | 97.074 | 2.948 | 69.056 | 3.228 | 37.971 | 3.934 | 41.133 | 27.444 | 889.467 | 16.693 | 3.5749
2020-09-06 16:15:00 | 2.432 | 146.571 | 2.931 | 180.157 | 3.424 | 73.443 | 4.392 | 40.967 | 27.502 | 889.367 | 16.072 | 4.2108
2020-09-06 16:30:00 | 4.941 | 58.528 | 4.863 | 54.139 | 5.32 | 55.533 | 5.783 | 47.7 | 27.648 | 889.367 | 15.851 | 5.8039
2020-09-06 16:45:00 | 5.661 | 31.7 | 5.512 | 29.356 | 5.893 | 32.4 | 6.011 | 28.633 | 27.773 | 889.567 | 15.947 | 6.14
2020-09-06 17:00:00 | 3.413 | 60.528 | 3.699 | 57.427 | 3.964 | 63.833 | 4.484 | 56.667 | 27.718 | 889.767 | 16.28 | 10.7949
2020-09-06 17:15:00 | 4.865 | 57.258 | 4.917 | 55.791 | 5.284 | 61.4 | 5.56 | 60.567 | 27.723 | 889.467 | 15.859 | 14.6299
2020-09-06 17:30:00 | 5.65 | 41.144 | 5.25 | 41.444 | 5.453 | 48.633 | 5.148 | 49.067 | 27.731 | 889.533 | 15.349 | 13.2201
2020-09-06 17:45:00 | 5.178 | 39.367 | 5.049 | 40.734 | 5.332 | 44 | 5.753 | 40.433 | 27.898 | 889.433 | 14.88 | 9.9323
2020-09-06 18:00:00 | 6.674 | 39.163 | 6.85 | 37.01 | 6.923 | 41.5 | 7.131 | 37.133 | 27.944 | 889.467 | 14.461 | 13.1888
2020-09-06 18:15:00 | 6.02 | 65.949 | 6.131 | 57.936 | 6.534 | 62.3 | 6.585 | 54.8 | 28.073 | 889.267 | 14.059 | 19.1597
2020-09-06 18:30:00 | 4.626 | 40.282 | 4.183 | 36.322 | 4.764 | 42.933 | 5.138 | 42.033 | 27.56 | 889.833 | 13.816 | 13.8553
2020-09-06 18:45:00 | 5.425 | 61.678 | 5.251 | 56.608 | 5.638 | 60.033 | 5.736 | 57.967 | 28.077 | 889.933 | 13.643 | 14.3122
2020-09-06 19:00:00 | 4.877 | 53.959 | 4.684 | 45.477 | 4.977 | 51.333 | 5.122 | 44.233 | 27.714 | 889.3 | 13.68 | 12.194
2020-09-06 19:15:00 | 5.666 | 70.537 | 5.33 | 60.587 | 5.445 | 64.467 | 6.006 | 63.5 | 27.21 | 889.633 | 14.011 | 15.9167
2020-09-06 19:30:00 | 4.706 | 55.808 | 4.465 | 49.725 | 4.656 | 54.7 | 5.035 | 52.4 | 27.306 | 889.567 | 14.323 | 14.6291
2020-09-06 19:45:00 | 4.191 | 71.875 | 4.102 | 65.714 | 4.498 | 68.4 | 4.811 | 65.9 | 26.994 | 889.667 | 14.68 | 11.8814
2020-09-06 20:00:00 | 4.517 | 62.538 | 4.123 | 55.766 | 3.927 | 58.833 | 4.154 | 55.7 | 26.398 | 889.467 | 16.128 | 11.961
2020-09-06 20:15:00 | 4.129 | 73.685 | 4.514 | 70.181 | 5.059 | 73.567 | 5.426 | 69.967 | 25.827 | 889.6 | 16.784 | 10.6976
2020-09-06 20:30:00 | 4.39 | 80 | 4.733 | 76.813 | 5.277 | 81.4 | 5.45 | 77.733 | 25.189 | 889.467 | 17.101 | 11.9908
2020-09-06 20:45:00 | 3.995 | 87.88 | 4.592 | 77.943 | 5.007 | 81.067 | 5.253 | 75.633 | 24.856 | 889.4 | 17.539 | 13.5676
2020-09-06 21:00:00 | 4.56 | 90.163 | 4.921 | 83.309 | 4.876 | 88.833 | 4.886 | 84.6 | 24.244 | 889.067 | 17.659 | 17.1147
2020-09-06 21:15:00 | 4.145 | 98.563 | 4.406 | 94.765 | 3.897 | 100.333 | 3.79 | 92 | 24.144 | 889.2 | 17.413 | 19.7914
2020-09-06 21:30:00 | 4.126 | 106.953 | 4.401 | 98.195 | 3.496 | 98.833 | 3.513 | 90.9 | 24.173 | 889.733 | 17.344 | 17.5155
2020-09-06 21:45:00 | 4.087 | 109.42 | 3.819 | 96.043 | 3.393 | 101.1 | 3.34 | 94.567 | 23.798 | 889.6 | 17.36 | 17.4956
2020-09-06 22:00:00 | 4.882 | 116.52 | 5.165 | 106.706 | 5.103 | 107.3 | 5.076 | 101.9 | 23.248 | 889.9 | 17.507 | 23.3272
2020-09-06 22:15:00 | 4.398 | 118.327 | 4.799 | 107.825 | 4.759 | 108.9 | 4.935 | 103.867 | 23.598 | 889.7 | 17.389 | 21.4016
2020-09-06 22:30:00 | 3.786 | 128.887 | 4.566 | 116.535 | 5.375 | 117.3 | 5.983 | 112.767 | 23.398 | 889.833 | 17.6 | 16.4127
2020-09-06 22:45:00 | 4.092 | 138.92 | 4.766 | 123.062 | 5.363 | 122.933 | 5.677 | 116.633 | 22.981 | 889.733 | 17.437 | 16.8049
2020-09-06 23:00:00 | 3.908 | 140.573 | 4.705 | 123.626 | 5.146 | 125.067 | 5.467 | 119.767 | 23.581 | 889.6 | 16.984 | 14.3101
2020-09-06 23:15:00 | 3.46 | 139.133 | 4.318 | 119.661 | 4.669 | 123.4 | 5.03 | 119.833 | 22.698 | 889.5 | 17.747 | 10.7701
2020-09-06 23:30:00 | 3.427 | 138.533 | 4.052 | 118.758 | 4.338 | 119.467 | 4.813 | 116.3 | 22.531 | 889.367 | 19.432 | 8.3357
2020-09-06 23:45:00 | 3 | 152.64 | 3.496 | 126.164 | 3.545 | 127.033 | 4.268 | 125.333 | 21.814 | 889.7 | 20.968 | 8.4202