## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-07 00:00:00 | 2.959 | 165.993 | 3.606 | 137.042 | 3.244 | 135.867 | 3.42 | 130.633 | 21.739 | 889.567 | 22.293 | 8.9617
2020-09-07 00:15:00 | 4.061 | 190.487 | 3.323 | 160.064 | 3.677 | 151.567 | 4.221 | 144.733 | 21.264 | 890.4 | 22.731 | 7.3515
2020-09-07 00:30:00 | 5.818 | 227.607 | 4.821 | 205.429 | 3.622 | 190 | 3.333 | 176.333 | 19.227 | 889.933 | 24.384 | 4.3835
2020-09-07 00:45:00 | 5.21 | 223.827 | 5.044 | 212.191 | 4.632 | 206.367 | 4.298 | 191.433 | 18.744 | 889.833 | 26.763 | 1.554
2020-09-07 01:00:00 | 5.338 | 229.2 | 4.048 | 222.14 | 2.932 | 209.2 | 2.903 | 186.767 | 18.773 | 889.583 | 25.968 | 0.27428
2020-09-07 01:15:00 | 5.193 | 235.033 | 3.699 | 238.047 | 3.088 | 233.6 | 2.542 | 212.667 | 18.523 | 889.967 | 25.424 | 0.23591
2020-09-07 01:30:00 | 5.621 | 229.753 | 4.687 | 235.137 | 4.008 | 240.233 | 3.337 | 230.8 | 19.239 | 890.05 | 25.797 | 0.44837
2020-09-07 01:45:00 | 5.601 | 223.367 | 5.321 | 227.396 | 5.052 | 233.2 | 4.482 | 228 | 18.96 | 889.4 | 27.509 | 4.3615
2020-09-07 02:00:00 | 4.175 | 215.6 | 5.953 | 218.557 | 5.641 | 224.367 | 5.279 | 218.533 | 18.639 | 890.033 | 28.549 | 7.0247
2020-09-07 02:15:00 | 4.772 | 216 | 7.084 | 216.954 | 6.792 | 219.233 | 6.539 | 214.433 | 18.235 | 889.883 | 29.739 | 10.0467
2020-09-07 02:30:00 | 5.417 | 219.607 | 6.559 | 219.27 | 6.199 | 220.733 | 6.157 | 213.2 | 19.127 | 889.367 | 29.403 | 10.2641
2020-09-07 02:45:00 | 5.076 | 221.86 | 7.336 | 220.906 | 7.098 | 220.567 | 6.861 | 213.633 | 18.51 | 889.783 | 29.819 | 11.1914
2020-09-07 03:00:00 | 4.154 | 228.3 | 5.664 | 223.571 | 5.752 | 221.733 | 5.741 | 212.267 | 18.639 | 889.783 | 30.112 | 6.9593
2020-09-07 03:15:00 | 5.297 | 235.767 | 5.506 | 234.506 | 4.868 | 237.467 | 4.645 | 226.567 | 18.639 | 889.933 | 30.709 | 3.1293
2020-09-07 03:30:00 | 5.009 | 236.113 | 6.104 | 235.29 | 5.657 | 236.833 | 5.342 | 227.6 | 18.481 | 889.533 | 30.613 | 5.5367
2020-09-07 03:45:00 | 4.751 | 238.733 | 5.58 | 235.798 | 5.407 | 237.167 | 5.062 | 227.2 | 18.335 | 889.75 | 31.035 | 6.5578
2020-09-07 04:00:00 | 4.985 | 228.367 | 4.353 | 225.387 | 4.534 | 221.1 | 4.797 | 210.933 | 18.589 | 889.583 | 30.875 | 3.6004
2020-09-07 04:15:00 | 4.759 | 211.94 | 4.981 | 212.565 | 4.672 | 210.533 | 4.428 | 201.067 | 18.364 | 889.567 | 30.683 | 1.7878
2020-09-07 04:30:00 | 4.552 | 208.467 | 5.827 | 207.007 | 5.099 | 203.333 | 4.791 | 194.2 | 17.181 | 889.633 | 31.755 | 3.5926
2020-09-07 04:45:00 | 5.125 | 228.247 | 4.785 | 216.487 | 4.109 | 215.267 | 3.903 | 205.367 | 17.114 | 889.633 | 32.331 | 4.9448
2020-09-07 05:00:00 | 4.89 | 226.313 | 3.694 | 219.333 | 2.575 | 215.933 | 2.606 | 194.967 | 17.768 | 889.683 | 31.472 | 2.1736
2020-09-07 05:15:00 | 4.959 | 229.58 | 3.569 | 217.486 | 2.841 | 215.667 | 2.914 | 203.233 | 16.948 | 889.85 | 32.747 | 0.74112
2020-09-07 05:30:00 | 5.625 | 272.7 | 5.884 | 263.577 | 5.281 | 267.25 | 4.889 | 262.7 | 16.15 | 889.517 | 33.637 | 3.6353
2020-09-07 05:45:00 | 5.317 | 268.653 | 5.663 | 274.213 | 6.128 | 276.467 | 6.592 | 271.633 | 17.66 | 889.717 | 31.424 | 23.6242
2020-09-07 06:00:00 | 5.984 | 284.467 | 6.623 | 286.46 | 6.875 | 294.233 | 7.282 | 294.267 | 17.418 | 890.15 | 29.965 | 26.7216
2020-09-07 06:15:00 | 6.218 | 284.88 | 7.252 | 285.158 | 7.454 | 289.267 | 7.95 | 285.367 | 17.098 | 889.933 | 34.357 | 38.9874
2020-09-07 06:30:00 | 6.402 | 266.113 | 8.09 | 270.579 | 8.432 | 276.267 | 8.712 | 272.8 | 16.398 | 889.95 | 39.109 | 37.859
2020-09-07 06:45:00 | 5.24 | 258.267 | 6.899 | 262.475 | 7.136 | 269.433 | 7.447 | 266.1 | 15.972 | 889.8 | 40.251 | 30.1962
2020-09-07 07:00:00 | 4.775 | 270.627 | 6.211 | 271.114 | 6.637 | 276.367 | 6.908 | 273.233 | 15.6 | 889.592 | 44.165 | 27.511
2020-09-07 07:15:00 | 3.619 | 264.107 | 4.752 | 276.159 | 5.198 | 278.333 | 5.598 | 274.1 | 16.146 | 889.483 | 47.424 | 16.3629
2020-09-07 07:30:00 | 4.642 | 253.347 | 5.817 | 260.975 | 6.324 | 263.767 | 6.511 | 255.617 | 15.673 | 889.892 | 49.568 | 16.795
2020-09-07 07:45:00 | 5.285 | 253.007 | 5.278 | 254.574 | 5.267 | 262.067 | 5.501 | 259.733 | 15.896 | 889.85 | 48.768 | 16.1874
2020-09-07 08:00:00 | 5.395 | 258.947 | 6.138 | 257.848 | 6.642 | 263.967 | 7.178 | 259.1 | 16.438 | 889.9 | 47.563 | 14.8629
2020-09-07 08:15:00 | 6.723 | 262.14 | 8.226 | 256.644 | 9.124 | 261.117 | 9.384 | 255.317 | 18.398 | 889.842 | 42.475 | 24.8187
2020-09-07 08:30:00 | 6.238 | 263.96 | 7.136 | 257.101 | 7.64 | 261.25 | 8.1 | 254.717 | 18.914 | 890.317 | 39.611 | 22.8774
2020-09-07 08:45:00 | 5.558 | 273.52 | 5.904 | 266.019 | 6.285 | 271.6 | 6.69 | 266.6 | 18.944 | 889.9 | 38.384 | 21.6282
2020-09-07 09:00:00 | 5.85 | 268.287 | 6.45 | 263.054 | 6.696 | 269.05 | 6.918 | 263.3 | 19.356 | 890.267 | 37.92 | 34.2429
2020-09-07 09:15:00 | 5.55 | 262.693 | 5.843 | 254.4 | 6.078 | 258.25 | 6.344 | 251.933 | 19.673 | 889.75 | 37.088 | 35.269
2020-09-07 09:30:00 | 6.725 | 259.42 | 7.21 | 254.942 | 7.289 | 260.533 | 7.398 | 256.667 | 20.439 | 889.833 | 35.384 | 37.8995
2020-09-07 09:45:00 | 7.613 | 274.473 | 7.973 | 268.665 | 8.131 | 271.867 | 8.008 | 266.167 | 20.435 | 889.6 | 35.728 | 38.2896
2020-09-07 10:00:00 | 9.086 | 279.64 | 9.46 | 274.031 | 9.517 | 277.167 | 9.662 | 270.467 | 20.144 | 889.567 | 36.085 | 45.7726
2020-09-07 10:15:00 | 6.528 | 278.713 | 6.979 | 272.588 | 6.793 | 274 | 7.071 | 269.85 | 20.418 | 889.933 | 36.051 | 41.6563
2020-09-07 10:30:00 | 6.57 | 273.2 | 6.714 | 268.825 | 6.695 | 273.533 | 6.973 | 266.8 | 20.435 | 889.983 | 35.176 | 26.0686
2020-09-07 10:45:00 | 6.653 | 290.293 | 6.843 | 284.726 | 6.853 | 287.4 | 7.445 | 282.033 | 21.289 | 889.883 | 33.731 | 23.6704
2020-09-07 11:00:00 | 7.046 | 288.907 | 7.188 | 283.626 | 7.144 | 284.367 | 7.487 | 279.533 | 21.827 | 889.7 | 32.816 | 22.8952
2020-09-07 11:15:00 | 6.985 | 293.24 | 7.151 | 284.266 | 7.44 | 287.267 | 7.712 | 286.267 | 21.86 | 889.733 | 32.672 | 34.0383
2020-09-07 11:30:00 | 7.306 | 306.667 | 7.624 | 301.713 | 7.65 | 302.333 | 8.14 | 299.7 | 22.514 | 890.317 | 31.52 | 33.7803
2020-09-07 11:45:00 | 7.408 | 275.667 | 7.85 | 275.012 | 8.018 | 278.2 | 8.165 | 275.767 | 22.331 | 889.783 | 31.797 | 34.4682
2020-09-07 12:00:00 | 7.889 | 309.613 | 8.548 | 301.512 | 8.916 | 304.567 | 9.479 | 298.5 | 22.635 | 889.4 | 31.16 | 46.1328
2020-09-07 12:15:00 | 9.102 | 311.427 | 9.15 | 305.807 | 9.342 | 308.1 | 9.527 | 304.4 | 22.748 | 889.717 | 30.552 | 51.2653
2020-09-07 12:30:00 | 9.617 | 303.933 | 10.082 | 299.972 | 10.488 | 304.067 | 10.802 | 299.9 | 22.814 | 889.6 | 31.291 | 63.4905
2020-09-07 12:45:00 | 10.339 | 299.267 | 11.25 | 293.701 | 11.404 | 299 | 11.604 | 297.467 | 22.614 | 889.5 | 31.491 | 83.8945
2020-09-07 13:00:00 | 12.125 | 306.093 | 12.791 | 301.652 | 12.844 | 304.267 | 13.327 | 301.267 | 22.339 | 889.567 | 32.032 | 84.1709
2020-09-07 13:15:00 | 11.34 | 290.093 | 12.402 | 285.884 | 12.462 | 290.333 | 12.744 | 288.133 | 21.848 | 889.683 | 33.056 | 82.9785
2020-09-07 13:30:00 | 12.485 | 300.253 | 13.182 | 295.498 | 13.467 | 300.267 | 13.849 | 296.667 | 21.923 | 889.783 | 33.509 | 81.8445
2020-09-07 13:45:00 | 12.804 | 289.28 | 13.155 | 285.87 | 13.817 | 288.433 | 14.242 | 284.267 | 21.664 | 889.683 | 34.757 | 81.5489
2020-09-07 14:00:00 | 12.974 | 291.107 | 13.94 | 286.313 | 14.518 | 287.267 | 15.007 | 283.633 | 22.218 | 889.783 | 35.168 | 82.1905
2020-09-07 14:15:00 | 14.407 | 278.507 | 15.555 | 275.077 | 15.875 | 277.833 | 15.916 | 275.1 | 21.473 | 890.017 | 35.736 | 82.6382
2020-09-07 14:30:00 | 12.538 | 287.28 | 13.535 | 281.286 | 13.91 | 284.2 | 14.034 | 281 | 21.681 | 889.967 | 34.003 | 82.2772
2020-09-07 14:45:00 | 12.033 | 288.68 | 12.905 | 281.949 | 13.098 | 286 | 13.356 | 282.667 | 21.256 | 889.533 | 35.003 | 80.4731
2020-09-07 15:00:00 | 12.402 | 279.587 | 13.537 | 275.418 | 13.812 | 278.267 | 14.032 | 276.933 | 21.502 | 889.833 | 35.483 | 80.083
2020-09-07 15:15:00 | 13.622 | 287.893 | 14.305 | 280.758 | 14.663 | 282.367 | 14.886 | 281.833 | 21.556 | 889.45 | 35.501 | 80.6479
2020-09-07 15:30:00 | 12.772 | 284.08 | 13.9 | 278.584 | 14.153 | 282.267 | 14.381 | 282.033 | 21.598 | 889.75 | 35.104 | 79.6318
2020-09-07 15:45:00 | 13.653 | 294.107 | 14.811 | 289.307 | 15.139 | 292.133 | 15.856 | 291.233 | 21.723 | 889.933 | 34.435 | 80.0574
2020-09-07 16:00:00 | 15.021 | 294.813 | 16.128 | 290.481 | 16.535 | 292.067 | 17.036 | 290.533 | 21.664 | 889.75 | 36.917 | 80.2763
2020-09-07 16:15:00 | 13.55 | 292.813 | 14.748 | 290.809 | 15.324 | 295.133 | 16.349 | 292.233 | 21.527 | 889.683 | 38.467 | 79.3326
2020-09-07 16:30:00 | 14.592 | 291.933 | 16.315 | 284.57 | 16.835 | 288.2 | 17.461 | 288.5 | 20.323 | 889.95 | 42.091 | 79.9963
2020-09-07 16:45:00 | 14.757 | 287.307 | 16.368 | 280.772 | 16.998 | 284.933 | 17.679 | 283.567 | 19.439 | 890 | 44.443 | 80.4099
2020-09-07 17:00:00 | 14.274 | 293 | 15.443 | 287.325 | 15.415 | 290.067 | 16.086 | 289.333 | 19.198 | 889.925 | 46.368 | 80.2706
2020-09-07 17:15:00 | 14.192 | 285.827 | 15.731 | 280.494 | 16.067 | 285.133 | 16.518 | 283.133 | 18.868 | 890.25 | 46.171 | 80.2137
2020-09-07 17:30:00 | 13.685 | 287.973 | 14.813 | 282.02 | 15.207 | 284 | 15.654 | 282.467 | 19.068 | 889.883 | 44.368 | 80.1086
2020-09-07 17:45:00 | 13.121 | 297.44 | 14.515 | 291.362 | 15.297 | 295.733 | 15.916 | 294.067 | 18.848 | 889.808 | 44.72 | 80.1839
2020-09-07 18:00:00 | 12.373 | 288.6 | 14.23 | 282.776 | 14.751 | 285.467 | 15.511 | 285.233 | 18.556 | 889.608 | 45.504 | 79.8968
2020-09-07 18:15:00 | 11.385 | 293.747 | 12.544 | 287.389 | 12.862 | 292.433 | 13.291 | 289.767 | 18.939 | 889.8 | 46.331 | 80.2052
2020-09-07 18:30:00 | 12.054 | 294.027 | 13.063 | 288.171 | 13.621 | 289.933 | 14.252 | 287 | 18.885 | 889.808 | 46.139 | 79.7661
2020-09-07 18:45:00 | 10.965 | 298.667 | 12.295 | 292.503 | 12.885 | 296.067 | 13.793 | 293.3 | 18.656 | 889.692 | 46.368 | 79.7405
2020-09-07 19:00:00 | 13.116 | 294.067 | 14.478 | 288.85 | 14.987 | 291.367 | 15.584 | 291.1 | 18.656 | 889.567 | 46.379 | 77.4177
2020-09-07 19:15:00 | 11.259 | 291.52 | 12.375 | 284.474 | 12.773 | 287.967 | 13.455 | 286.6 | 18.202 | 889.925 | 47.653 | 78.2199
2020-09-07 19:30:00 | 12.042 | 290.373 | 13.235 | 282.432 | 13.543 | 284.067 | 14.188 | 282.2 | 17.985 | 890.142 | 48.229 | 79.3582
2020-09-07 19:45:00 | 10.545 | 294.027 | 11.937 | 284.54 | 12.214 | 288.6 | 12.566 | 286.1 | 17.394 | 889.95 | 49.605 | 80.1612
2020-09-07 20:00:00 | 11.5 | 288.8 | 12.96 | 281.725 | 13.277 | 286.2 | 13.853 | 283.867 | 17.606 | 889.508 | 51.525 | 82.5145
2020-09-07 20:15:00 | 10.921 | 295.347 | 12.072 | 288.756 | 12.682 | 291.333 | 13.53 | 290.4 | 17.068 | 890.217 | 53.077 | 83.2898
2020-09-07 20:30:00 | 10.114 | 285.933 | 11.333 | 279.309 | 11.62 | 283.033 | 11.973 | 281.3 | 17.231 | 889.825 | 53.723 | 83.0461
2020-09-07 20:45:00 | 9.828 | 276.52 | 10.749 | 271.628 | 11.449 | 276.667 | 11.641 | 272 | 16.764 | 889.992 | 53.573 | 83.665
2020-09-07 21:00:00 | 9.4 | 265.6 | 10.417 | 263.362 | 10.848 | 267.133 | 11.033 | 264.6 | 16.598 | 889.95 | 53.781 | 76.9075
2020-09-07 21:15:00 | 8.149 | 277.12 | 8.908 | 268.271 | 9.174 | 273 | 9.269 | 267.667 | 16.581 | 890.467 | 55.051 | 68.0765
2020-09-07 21:30:00 | 6.817 | 270.94 | 7.527 | 265.733 | 7.847 | 270.767 | 8.062 | 264.633 | 16.564 | 889.775 | 54.853 | 55.3524
2020-09-07 21:45:00 | 7.663 | 269.807 | 8.453 | 264.115 | 8.812 | 268.5 | 8.645 | 265.967 | 16.581 | 890.025 | 55.451 | 55.1627
2020-09-07 22:00:00 | 7.429 | 274.48 | 8.253 | 269.731 | 8.499 | 274.667 | 8.731 | 271.233 | 16.414 | 890.292 | 55.387 | 52.4
2020-09-07 22:15:00 | 8.72 | 276.813 | 9.602 | 270.815 | 9.986 | 275.333 | 10.299 | 270.8 | 16.298 | 889.458 | 56.005 | 65.2293
2020-09-07 22:30:00 | 9.302 | 283.307 | 10.294 | 276.898 | 10.594 | 280.467 | 10.848 | 277.633 | 15.832 | 889.7 | 59.291 | 84.2796
2020-09-07 22:45:00 | 9.46 | 277.187 | 10.314 | 273.156 | 10.644 | 276.233 | 10.913 | 272.2 | 15.138 | 889.792 | 60.672 | 85.5508
2020-09-07 23:00:00 | 11.695 | 272.333 | 12.969 | 266.844 | 13.165 | 270.867 | 13.118 | 266.167 | 15.208 | 890.383 | 61.947 | 84.4366
2020-09-07 23:15:00 | 11.966 | 276.24 | 13.042 | 268.829 | 13.124 | 271.567 | 13.194 | 266.633 | 14.641 | 889.6 | 63.563 | 66.2326
2020-09-07 23:30:00 | 12.677 | 279.86 | 14.191 | 272.596 | 14.318 | 277.3 | 14.248 | 272.5 | 14.208 | 889.875 | 62.272 | 63.7748
2020-09-07 23:45:00 | 11.678 | 275.213 | 13.25 | 270.47 | 13.762 | 274.733 | 14.143 | 271.8 | 14.083 | 889.35 | 62.176 | 70.0157