## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-08 00:00:00 | 12.116 | 273.853 | 12.871 | 266.607 | 13.354 | 272.833 | 13.43 | 269.2 | 14.174 | 890 | 62.139 | 61.7234
2020-09-08 00:15:00 | 12.525 | 291.587 | 13.593 | 285.189 | 14.25 | 287.4 | 15.046 | 285.933 | 14.037 | 889.7 | 61.739 | 58.1734
2020-09-08 00:30:00 | 12.378 | 278.267 | 13.934 | 270.39 | 14.629 | 275.867 | 15.112 | 271.433 | 13.518 | 890.417 | 63.605 | 60.2632
2020-09-08 00:45:00 | 10.459 | 265.153 | 11.776 | 259.707 | 12.305 | 264.217 | 12.537 | 259.733 | 13.745 | 890.033 | 64.469 | 66.46
2020-09-08 01:00:00 | 10.821 | 267.8 | 12.144 | 261.171 | 12.49 | 267.867 | 12.78 | 262.3 | 13.483 | 890.15 | 65.355 | 77.3374
2020-09-08 01:15:00 | 10.323 | 277.2 | 11.829 | 272.284 | 12.533 | 275.967 | 13.116 | 272.333 | 13.387 | 890.317 | 66.661 | 78.9283
2020-09-08 01:30:00 | 11.513 | 276.44 | 12.803 | 271.1 | 13.342 | 274.8 | 13.551 | 268.4 | 13.487 | 890 | 65.573 | 72.1389
2020-09-08 01:45:00 | 12.061 | 284.44 | 13.23 | 277.148 | 13.754 | 279.1 | 14.173 | 277.367 | 13.691 | 890.092 | 65.552 | 71.6955
2020-09-08 02:00:00 | 11.489 | 288.453 | 12.781 | 282.413 | 13.383 | 285.3 | 13.964 | 283.5 | 13.749 | 889.75 | 65.189 | 72.1737
2020-09-08 02:15:00 | 10.297 | 287.987 | 11.714 | 282.393 | 12.251 | 285.5 | 12.96 | 283.167 | 13.468 | 889.925 | 65.781 | 73.2253
2020-09-08 02:30:00 | 10.148 | 288.867 | 11.08 | 282.079 | 11.728 | 285.967 | 12.456 | 282.467 | 13.278 | 889.758 | 63.92 | 72.9361
2020-09-08 02:45:00 | 10.876 | 286.24 | 12.299 | 279.427 | 12.922 | 281.933 | 13.217 | 280.333 | 13.12 | 889.883 | 63.216 | 73.204
2020-09-08 03:00:00 | 9.138 | 276.36 | 10.264 | 272.039 | 10.81 | 276.033 | 10.782 | 273 | 12.966 | 889.975 | 64.32 | 76.7128
2020-09-08 03:15:00 | 8.512 | 266.547 | 9.553 | 261.469 | 9.615 | 266.083 | 10.316 | 260.733 | 12.649 | 889.842 | 64.741 | 65.8937
2020-09-08 03:30:00 | 11.144 | 280.2 | 12.912 | 275.609 | 13.497 | 279.1 | 14.17 | 276.633 | 11.99 | 889.717 | 65.344 | 78.8018
2020-09-08 03:45:00 | 12.233 | 277.6 | 14.306 | 270.403 | 14.739 | 274.4 | 15.538 | 271.533 | 12.078 | 889.508 | 63.968 | 82.1856
2020-09-08 04:00:00 | 12.594 | 279.107 | 13.865 | 275.061 | 14.33 | 279.533 | 14.865 | 276.933 | 12.166 | 889.3 | 63.339 | 79.2538
2020-09-08 04:15:00 | 13.398 | 281.453 | 15.252 | 275.771 | 15.671 | 279.067 | 15.961 | 276.133 | 11.607 | 889.375 | 64.384 | 75.7187
2020-09-08 04:30:00 | 11.768 | 281.84 | 13.381 | 275.433 | 13.647 | 278.867 | 14.427 | 277.4 | 11.707 | 890.492 | 64.885 | 69.8757
2020-09-08 04:45:00 | 12.823 | 282.493 | 14.247 | 278.512 | 14.948 | 281.1 | 15.686 | 278.233 | 11.87 | 890.142 | 65.36 | 70.0803
2020-09-08 05:00:00 | 13.644 | 285.427 | 14.897 | 279.373 | 15.685 | 282.4 | 16.759 | 281 | 11.445 | 890.183 | 67.344 | 71.1547
2020-09-08 05:15:00 | 13.162 | 285.72 | 14.473 | 280.637 | 14.94 | 280.633 | 15.292 | 279.433 | 11.274 | 890.3 | 68.016 | 72.2582
2020-09-08 05:30:00 | 12.348 | 288.867 | 13.022 | 283.415 | 13.621 | 287.333 | 14.38 | 285.267 | 11.095 | 889.558 | 70.576 | 72.7045
2020-09-08 05:45:00 | 10.978 | 285.6 | 12.2 | 280.534 | 12.685 | 285.933 | 12.997 | 282.567 | 10.878 | 889.692 | 73.12 | 74.0979
2020-09-08 06:00:00 | 10.076 | 281.6 | 11.264 | 277.264 | 11.866 | 280.7 | 12.195 | 276.633 | 10.945 | 890.233 | 73.653 | 75.7834
2020-09-08 06:15:00 | 9.652 | 283.667 | 10.587 | 279.024 | 10.873 | 283.667 | 11.295 | 281.467 | 10.861 | 889.992 | 73.579 | 74.5264
2020-09-08 06:30:00 | 9.105 | 293.6 | 10.323 | 288.504 | 10.53 | 292.233 | 11.018 | 290.633 | 10.945 | 890.017 | 73.76 | 77.0865
2020-09-08 06:45:00 | 7.969 | 288.933 | 8.839 | 281.661 | 9.293 | 287.267 | 9.68 | 283.467 | 10.928 | 889.683 | 73.136 | 61.9827
2020-09-08 07:00:00 | 7.449 | 286.56 | 8.369 | 280.805 | 8.696 | 285.3 | 8.922 | 282.567 | 11.009 | 890.1 | 73.477 | 51.6177
2020-09-08 07:15:00 | 8.184 | 290.667 | 9.46 | 285.483 | 10.064 | 289.767 | 10.343 | 287.567 | 10.878 | 889.792 | 74.779 | 56.2342
2020-09-08 07:30:00 | 6.272 | 286.467 | 6.872 | 280.466 | 7.341 | 284.767 | 7.811 | 282.867 | 10.678 | 889.633 | 77.979 | 40.4398
2020-09-08 07:45:00 | 5.899 | 283.653 | 6.631 | 277.391 | 7.01 | 280.733 | 7.126 | 278.933 | 10.857 | 890.283 | 80.267 | 30.2332
2020-09-08 08:00:00 | 7.902 | 284.4 | 8.794 | 278.439 | 9.272 | 282.033 | 9.675 | 280.233 | 11.128 | 889.942 | 79.365 | 49.4306
2020-09-08 08:15:00 | 7.112 | 279.627 | 8.089 | 274.677 | 8.436 | 278.233 | 8.574 | 274.333 | 10.362 | 890.175 | 87.285 | 45.7697
2020-09-08 08:30:00 | 7.14 | 286.747 | 7.924 | 281.08 | 8.6 | 283.333 | 8.933 | 281.3 | 10.274 | 889.979 | 86.112 | 35.0686
2020-09-08 08:45:00 | 7.515 | 282.68 | 8.546 | 277.634 | 8.812 | 281.033 | 9.198 | 277.867 | 10.368 | 890.229 | 86.123 | 28.8248
2020-09-08 09:00:00 | 7.465 | 284.08 | 8.472 | 280.278 | 8.866 | 282.467 | 9.271 | 278.133 | 10.578 | 890.283 | 86.453 | 40.1754
2020-09-08 09:15:00 | 6.441 | 276.787 | 7.492 | 273.201 | 8.008 | 277.867 | 8.434 | 274.167 | 10.514 | 889.783 | 84.885 | 42.4755
2020-09-08 09:30:00 | 7.709 | 282.733 | 8.474 | 276.382 | 8.932 | 280.733 | 9.204 | 279.3 | 10.728 | 889.458 | 80.64 | 41.5966
2020-09-08 09:45:00 | 5.989 | 277.067 | 6.532 | 273.864 | 6.745 | 278.333 | 6.941 | 275 | 10.928 | 890.1 | 73.264 | 27.0335
2020-09-08 10:00:00 | 4.637 | 281.867 | 5.066 | 276.059 | 5.12 | 281.467 | 5.157 | 278.433 | 11.432 | 889.867 | 69.083 | 13.5448
2020-09-08 10:15:00 | 4.773 | 267.827 | 4.85 | 266.308 | 5.282 | 271.733 | 5.203 | 269.633 | 11.699 | 889.767 | 64.469 | 9.9344
2020-09-08 10:30:00 | 3.448 | 261.673 | 3.795 | 259.122 | 3.68 | 261.8 | 3.562 | 254.633 | 11.986 | 889.967 | 62.827 | 3.4065
2020-09-08 10:45:00 | 4.746 | 287.347 | 5.115 | 279.588 | 5.189 | 281.433 | 5.156 | 275.533 | 12.253 | 889.825 | 60.928 | 6.9422
2020-09-08 11:00:00 | 3.336 | 264.833 | 3.862 | 260.486 | 3.971 | 265 | 3.999 | 262.717 | 12.864 | 889.942 | 58.368 | 5.919
2020-09-08 11:15:00 | 3.628 | 281.373 | 4.195 | 279.176 | 4.289 | 284.367 | 4.204 | 282 | 13.924 | 890.017 | 54.667 | 4.7359
2020-09-08 11:30:00 | 4.214 | 303.867 | 4.639 | 299.346 | 4.587 | 303.733 | 4.615 | 299.5 | 14.37 | 890.142 | 52.085 | 4.7203
2020-09-08 11:45:00 | 3.392 | 298.333 | 3.999 | 293.647 | 4.176 | 293.5 | 4.357 | 289.433 | 14.228 | 889.983 | 51.195 | 3.8051
2020-09-08 12:00:00 | 4.031 | 305.133 | 4.531 | 300.819 | 4.708 | 302.8 | 4.748 | 299.433 | 14.691 | 889.792 | 49.125 | 4.4432
2020-09-08 12:15:00 | 4.4 | 303.347 | 4.629 | 297.63 | 4.764 | 302.2 | 4.637 | 299.6 | 14.984 | 889.925 | 47.552 | 5.0429
2020-09-08 12:30:00 | 3.059 | 296.493 | 3.5 | 293.949 | 3.818 | 298.533 | 3.987 | 301.233 | 15.512 | 889.875 | 46.395 | 4.6997
2020-09-08 12:45:00 | 1.523 | 292.547 | 2.396 | 291.967 | 2.475 | 293.4 | 2.795 | 285.683 | 16.764 | 889.408 | 42.811 | 3.3382
2020-09-08 13:00:00 | 2.942 | 282.957 | 3.545 | 292.502 | 3.919 | 284.634 | 4.175 | 295.067 | 16.698 | 890.058 | 40.731 | 1.4929
2020-09-08 13:15:00 | 3.577 | 291.247 | 4.096 | 287.106 | 4.045 | 292.233 | 4.201 | 287.733 | 17.744 | 889.8 | 38.941 | 1.4709
2020-09-08 13:30:00 | 3.12 | 281.553 | 3.346 | 278.255 | 3.628 | 287.3 | 3.856 | 289.267 | 17.777 | 889.567 | 38.701 | 1.9327
2020-09-08 13:45:00 | 3.875 | 315.373 | 4.051 | 309.604 | 3.995 | 301 | 4.093 | 312.367 | 18.239 | 890.017 | 36.803 | 1.8006
2020-09-08 14:00:00 | 4.596 | 289.927 | 5.012 | 290.039 | 4.798 | 293.433 | 5.062 | 290.1 | 17.939 | 890.033 | 35.181 | 2.0329
2020-09-08 14:15:00 | 4.159 | 260.813 | 4.255 | 257.355 | 4.12 | 264.617 | 4.096 | 259.1 | 18.935 | 889.65 | 30.6 | 2.32
2020-09-08 14:30:00 | 5.033 | 289.347 | 5.398 | 317.181 | 5.58 | 321.967 | 5.816 | 320.567 | 18.539 | 889.933 | 27.936 | 4.9633
2020-09-08 14:45:00 | 3.15 | 265.889 | 3.194 | 330.152 | 3.025 | 321 | 3.085 | 317.3 | 18.518 | 889.867 | 28.653 | 4.2975
2020-09-08 15:00:00 | 3.011 | 276.712 | 3.527 | 281.915 | 3.677 | 286.7 | 4.118 | 304.25 | 19.073 | 889.45 | 29.848 | 5.0351
2020-09-08 15:15:00 | 4.172 | 294.293 | 4.259 | 283.856 | 4.563 | 285.7 | 4.939 | 283.667 | 19.41 | 889.833 | 29.136 | 6.6488
2020-09-08 15:30:00 | 4.52 | 238.482 | 4.881 | 322.388 | 5.107 | 325.5 | 5.09 | 314.033 | 19.227 | 890.2 | 30.333 | 7.4638
2020-09-08 15:45:00 | 4.674 | 282.987 | 5.193 | 309.23 | 5.305 | 300.333 | 5.504 | 306.567 | 19.764 | 889.583 | 31.069 | 7.6898
2020-09-08 16:00:00 | 3.3 | 303.993 | 3.505 | 298.793 | 3.827 | 305.733 | 3.839 | 303.8 | 19.86 | 889.783 | 30.485 | 6.3347
2020-09-08 16:15:00 | 3.235 | 269.64 | 3.32 | 272.119 | 3.354 | 282.3 | 3.229 | 275.933 | 20.402 | 890.217 | 29.965 | 2.7073
2020-09-08 16:30:00 | 3.684 | 310.053 | 4.063 | 304.613 | 4.31 | 308.7 | 4.258 | 313.5 | 20.239 | 889.683 | 29.539 | 3.1521
2020-09-08 16:45:00 | 3.63 | 303.44 | 3.755 | 302.096 | 3.916 | 308.9 | 4.134 | 309 | 20.602 | 889.35 | 30.704 | 2.5225
2020-09-08 17:00:00 | 3.847 | 319.387 | 4.029 | 319.979 | 4.193 | 312.4 | 4.351 | 321.333 | 21.018 | 889.75 | 31.387 | 2.3342
2020-09-08 17:15:00 | 4.426 | 204.989 | 4.887 | 293.747 | 4.77 | 297.533 | 4.984 | 309.5 | 20.552 | 889.917 | 31.688 | 2.3399
2020-09-08 17:30:00 | 3.285 | 271.374 | 3.698 | 294.599 | 3.928 | 238.168 | 3.838 | 213.733 | 20.602 | 889.433 | 31.195 | 4.7544
2020-09-08 17:45:00 | 4.541 | 310.653 | 4.659 | 337.297 | 4.438 | 323.567 | 4.499 | 329.367 | 20.714 | 889.933 | 30.48 | 5.4991
2020-09-08 18:00:00 | 4.659 | 325 | 4.802 | 314.745 | 4.881 | 316.533 | 4.843 | 313.667 | 20.589 | 889.567 | 30.808 | 5.875
2020-09-08 18:15:00 | 4.923 | 323.227 | 4.994 | 317.927 | 5.234 | 322.967 | 5.254 | 324.367 | 20.944 | 889.55 | 28.717 | 8.5893
2020-09-08 18:30:00 | 4.449 | 326.8 | 4.596 | 314.653 | 4.779 | 284.267 | 4.866 | 308.233 | 20.764 | 890.05 | 27.472 | 7.0303
2020-09-08 18:45:00 | 3.788 | 314.347 | 4.169 | 321.528 | 4.379 | 323.167 | 4.491 | 320.033 | 21.356 | 889.933 | 25.651 | 5.4778
2020-09-08 19:00:00 | 4.369 | 334.12 | 4.584 | 327.465 | 4.655 | 334.767 | 4.632 | 334 | 21.056 | 889.517 | 25.957 | 6.6886
2020-09-08 19:15:00 | 4.375 | 323.56 | 4.587 | 322.45 | 4.686 | 325.767 | 4.913 | 324.067 | 20.773 | 889.583 | 25.608 | 7.596
2020-09-08 19:30:00 | 3.857 | 335.067 | 4.12 | 332.084 | 4.328 | 326.933 | 4.421 | 339.467 | 20.71 | 889.85 | 25.795 | 7.9889
2020-09-08 19:45:00 | 4.14 | 339.053 | 4.356 | 332.433 | 4.396 | 338.133 | 4.511 | 325.667 | 20.256 | 889.933 | 26.864 | 6.7099
2020-09-08 20:00:00 | 3.659 | 327.8 | 4.211 | 321.563 | 4.454 | 326.033 | 4.679 | 326.1 | 19.927 | 890.25 | 27.741 | 5.3925
2020-09-08 20:15:00 | 3.816 | 337.493 | 4.181 | 332.916 | 4.32 | 338.1 | 4.427 | 335.767 | 19.902 | 889.733 | 28.589 | 6.14
2020-09-08 20:30:00 | 2.47 | 318.493 | 3.354 | 318.684 | 3.602 | 324.267 | 3.762 | 326 | 19.548 | 889.85 | 29.336 | 4.7608
2020-09-08 20:45:00 | 2.567 | 319.547 | 3.34 | 315.044 | 3.814 | 321.933 | 4.15 | 321.867 | 19.11 | 889.7 | 29.744 | 3.8797
2020-09-08 21:00:00 | 2.558 | 324.533 | 2.974 | 326.178 | 3.194 | 333.267 | 3.389 | 328.333 | 18.756 | 889.9 | 29.984 | 1.7082
2020-09-08 21:15:00 | 2.445 | 314.173 | 2.792 | 321.132 | 2.97 | 326.067 | 3.265 | 327 | 18.764 | 890.033 | 30.085 | 0.57627
2020-09-08 21:30:00 | 2.916 | 303.2 | 3.06 | 312.78 | 3.098 | 321 | 3.299 | 326.833 | 18.473 | 890.05 | 30.352 | 1.6244
2020-09-08 21:45:00 | 3.191 | 297.867 | 3.406 | 309.38 | 3.475 | 314.767 | 3.674 | 314.7 | 18.639 | 889.833 | 30.512 | 3.4171
2020-09-08 22:00:00 | 3.968 | 292.28 | 4.69 | 299.742 | 4.719 | 306.2 | 4.883 | 306.8 | 18.127 | 889.733 | 30.917 | 4.1625
2020-09-08 22:15:00 | 4.671 | 302.387 | 6.005 | 301.892 | 6.352 | 308.233 | 6.757 | 305.867 | 17.998 | 889.65 | 31.973 | 8.9503
2020-09-08 22:30:00 | 3.981 | 287.467 | 5.158 | 285.008 | 5.491 | 291.733 | 5.849 | 291.367 | 17.81 | 889.75 | 32.693 | 14.2462
2020-09-08 22:45:00 | 3.284 | 263.373 | 4.251 | 273.993 | 4.969 | 283.933 | 5.477 | 284.167 | 17.423 | 889.683 | 34.045 | 11.9958
2020-09-08 23:00:00 | 3.805 | 251.32 | 5.131 | 261.073 | 5.386 | 269.033 | 5.632 | 267 | 16.981 | 889.883 | 35.749 | 9.4996
2020-09-08 23:15:00 | 3.33 | 262.027 | 5.247 | 268.507 | 5.504 | 275.033 | 5.804 | 272.8 | 15.946 | 889.917 | 38.325 | 9.3475
2020-09-08 23:30:00 | 4.446 | 260.72 | 5.264 | 265.286 | 5.451 | 272.167 | 5.7 | 268.167 | 15.858 | 890.067 | 38.533 | 13.6336
2020-09-08 23:45:00 | 4.733 | 262.9 | 5.177 | 270.099 | 5.499 | 278.333 | 5.987 | 278.967 | 16.174 | 889.75 | 37.987 | 11.9219