## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-09 00:00:00 | 4.352 | 257.187 | 5.01 | 266.395 | 5.167 | 276.133 | 5.363 | 275.033 | 15.497 | 889.5 | 38.467 | 10.817
2020-09-09 00:15:00 | 4.083 | 231.34 | 4.617 | 254.45 | 5.001 | 268 | 5.248 | 267.4 | 15.2 | 889.617 | 39.075 | 12.4207
2020-09-09 00:30:00 | 4.531 | 235.267 | 5.043 | 250.586 | 5.067 | 263 | 5.14 | 264.033 | 14.741 | 889.683 | 39.269 | 12.1564
2020-09-09 00:45:00 | 4.86 | 229.533 | 4.855 | 239.158 | 4.916 | 254.933 | 5.001 | 258.583 | 14.178 | 890.033 | 40.501 | 10.4233
2020-09-09 01:00:00 | 4.828 | 227.953 | 5.158 | 241.048 | 5.161 | 255.167 | 5.336 | 259.7 | 14.049 | 889.758 | 41.845 | 10.8738
2020-09-09 01:15:00 | 4.798 | 226.653 | 4.927 | 243.951 | 4.943 | 257.533 | 5.128 | 259.967 | 13.791 | 890.208 | 42.549 | 10.4226
2020-09-09 01:30:00 | 4.992 | 234.62 | 5.242 | 249.257 | 5.328 | 261.867 | 5.511 | 263.467 | 13.641 | 889.9 | 43.264 | 10.5874
2020-09-09 01:45:00 | 5.548 | 234.667 | 5.402 | 249.42 | 5.503 | 260.6 | 5.694 | 260.467 | 13.67 | 889.9 | 43.552 | 10.316
2020-09-09 02:00:00 | 5.446 | 231 | 5.736 | 245.228 | 5.539 | 258.5 | 5.575 | 259.6 | 12.984 | 890.05 | 44.544 | 10.2187
2020-09-09 02:15:00 | 5.338 | 228.173 | 5.763 | 238.208 | 5.436 | 252.033 | 5.203 | 255.95 | 13.022 | 889.9 | 46.347 | 9.7632
2020-09-09 02:30:00 | 5.447 | 230.427 | 6.001 | 239.296 | 5.582 | 251.7 | 5.38 | 253.7 | 12.543 | 889.917 | 47.808 | 10.1689
2020-09-09 02:45:00 | 5.276 | 235.313 | 6.103 | 247.598 | 5.98 | 260.067 | 5.919 | 260.067 | 12.578 | 889.833 | 47.531 | 10.0574
2020-09-09 03:00:00 | 5.538 | 238.827 | 6.361 | 252.46 | 6.404 | 262.467 | 6.519 | 261.967 | 12.328 | 889.925 | 47.904 | 12.3354
2020-09-09 03:15:00 | 5.449 | 226.233 | 6.171 | 240.078 | 6.044 | 256.933 | 6.007 | 260.167 | 12.216 | 889.975 | 48.672 | 12.496
2020-09-09 03:30:00 | 5.606 | 234.1 | 6.316 | 243.834 | 5.935 | 257.2 | 5.741 | 264.7 | 11.99 | 889.592 | 48.843 | 13.0886
2020-09-09 03:45:00 | 5.219 | 240.873 | 6.013 | 246.934 | 5.529 | 258.667 | 5.124 | 266.533 | 12.053 | 889.692 | 49.067 | 11.9681
2020-09-09 04:00:00 | 4.916 | 241.467 | 5.68 | 249.756 | 5.237 | 259.133 | 4.926 | 262.6 | 12.045 | 890.317 | 50.731 | 10.9065
2020-09-09 04:15:00 | 5.095 | 230.087 | 5.718 | 239.407 | 5.131 | 249.5 | 4.638 | 252.633 | 11.52 | 890.15 | 52.864 | 11.8338
2020-09-09 04:30:00 | 5.307 | 230.887 | 5.62 | 237.537 | 5.093 | 248.167 | 4.604 | 251.5 | 11.349 | 889.908 | 53.899 | 10.3494
2020-09-09 04:45:00 | 5.105 | 227.967 | 5.127 | 238.944 | 4.827 | 249.4 | 4.442 | 251.867 | 11.028 | 889.533 | 54.219 | 9.0071
2020-09-09 05:00:00 | 5.55 | 229.833 | 5.205 | 241.804 | 4.891 | 252.067 | 4.63 | 253.333 | 10.845 | 889.625 | 54.795 | 8.5957
2020-09-09 05:15:00 | 5.142 | 228.627 | 5.138 | 241.649 | 4.84 | 251.667 | 4.652 | 252.467 | 10.714 | 890.217 | 55.104 | 8.0862
2020-09-09 05:30:00 | 5.514 | 230.36 | 5.169 | 242.212 | 5 | 251.4 | 4.744 | 252.067 | 10.697 | 890.125 | 55.968 | 7.3956
2020-09-09 05:45:00 | 5.127 | 223.027 | 5.509 | 239.965 | 5.231 | 250.6 | 4.796 | 251.333 | 10.243 | 889.767 | 56.587 | 8.5787
2020-09-09 06:00:00 | 6.161 | 228.333 | 6.186 | 239.744 | 5.695 | 250 | 5.259 | 251.267 | 9.783 | 890.058 | 57.504 | 12.6808
2020-09-09 06:15:00 | 5.611 | 227.04 | 5.862 | 240.888 | 5.128 | 252.7 | 4.802 | 258.767 | 10.174 | 890.142 | 57.216 | 11.2319
2020-09-09 06:30:00 | 5.392 | 229.873 | 5.542 | 243.222 | 4.954 | 254.9 | 4.585 | 263.467 | 10.014 | 890.067 | 56.992 | 9.2928
2020-09-09 06:45:00 | 5.724 | 218.113 | 6.177 | 230.366 | 5.427 | 242.4 | 4.516 | 247.067 | 9.874 | 890.008 | 57.045 | 9.5415
2020-09-09 07:00:00 | 5.197 | 220.887 | 5.474 | 233.663 | 4.89 | 244.1 | 4.327 | 244.267 | 9.718 | 889.408 | 57.131 | 7.7821
2020-09-09 07:15:00 | 5.738 | 218.867 | 5.565 | 230.672 | 4.974 | 240.7 | 4.194 | 241.1 | 10.037 | 890.1 | 56.672 | 7.024
2020-09-09 07:30:00 | 5.888 | 219.773 | 5.517 | 228.372 | 4.953 | 236.1 | 4.471 | 235.567 | 10.224 | 889.683 | 54.997 | 8.1459
2020-09-09 07:45:00 | 5.249 | 221.5 | 5.382 | 230.732 | 4.972 | 239.033 | 4.357 | 239.967 | 10.745 | 890.042 | 52.533 | 7.37
2020-09-09 08:00:00 | 4.999 | 222.14 | 5.654 | 231.974 | 5.152 | 240.467 | 4.666 | 240.633 | 11.486 | 889.633 | 49.515 | 7.1767
2020-09-09 08:15:00 | 4.993 | 221.24 | 6.085 | 228.981 | 5.604 | 237.1 | 5.145 | 235.367 | 12.524 | 889.85 | 46.859 | 8.9631
2020-09-09 08:30:00 | 4.294 | 221.767 | 5.564 | 225.914 | 5.486 | 237.433 | 4.977 | 235 | 13.485 | 889.858 | 44.725 | 8.8267
2020-09-09 08:45:00 | 4.165 | 225.28 | 4.463 | 223.75 | 5.323 | 230.3 | 5.12 | 230.4 | 15.533 | 889.808 | 39.829 | 7.5654
2020-09-09 09:00:00 | 4.356 | 217.513 | 4.474 | 215.637 | 4.538 | 220.9 | 4.54 | 218.7 | 16.626 | 890.2 | 36.107 | 5.438
2020-09-09 09:15:00 | 3.924 | 226.007 | 3.991 | 222.716 | 4.132 | 226.6 | 4.116 | 224.2 | 17.485 | 889.617 | 33.227 | 3.6296
2020-09-09 09:30:00 | 4.014 | 231.773 | 3.991 | 228.61 | 4.05 | 233.167 | 4.019 | 229.833 | 18.502 | 889.817 | 31.387 | 2.6298
2020-09-09 09:45:00 | 2.84 | 239.3 | 2.986 | 235.878 | 3.03 | 244.65 | 2.863 | 238.15 | 19.51 | 889.567 | 29.507 | 0.59688
2020-09-09 10:00:00 | 1.496 | 231.6 | 1.713 | 234.803 | 1.772 | 241.7 | 2.017 | 239.533 | 20.048 | 889.683 | 28.384 | 0.15135
2020-09-09 10:15:00 | 1.469 | 282.96 | 1.547 | 274.8 | 1.461 | 280.5 | 1.541 | 277.65 | 19.781 | 890.067 | 27.627 | 0.23591
2020-09-09 10:30:00 | 2.304 | 192.16 | 2.414 | 199.393 | 2.188 | 210.233 | 2.239 | 207.033 | 20.598 | 889.967 | 27.419 | 0.23662
2020-09-09 10:45:00 | 0.842 | 220.04 | 0.906 | 242.111 | 1.063 | 243.45 | 1.78 | 240.5 | 20.844 | 890.033 | 26.64 | 0.19043
2020-09-09 11:00:00 | 2.723 | 310.533 | 2.662 | 296.43 | 2.48 | 295.767 | 2.549 | 290.7 | 20.764 | 889.967 | 25.397 | 0.1748
2020-09-09 11:15:00 | 1.273 | 248.16 | 1.597 | 290.491 | 1.516 | 258.433 | 1.856 | 274.533 | 20.86 | 889.533 | 25.581 | 0.16911
2020-09-09 11:30:00 | 1.527 | 281.313 | 1.042 | 239.602 | 0.863 | 281.733 | 1.152 | 314.833 | 21.298 | 889.333 | 25.048 | 0.16769
2020-09-09 11:45:00 | 0.487 | 233.956 | 0.895 | 258.831 | 0.56 | 213.869 | 0.77 | 183.2 | 21.423 | 889.7 | 24.296 | 0.17338
2020-09-09 12:00:00 | 1.859 | 104.69 | 1.898 | 91.005 | 1.796 | 93.567 | 1.79 | 120.367 | 21.352 | 889.783 | 23.829 | 0.18119
2020-09-09 12:15:00 | 0.836 | 61.312 | 1.209 | 85.736 | 1.393 | 129.433 | 1.646 | 100.968 | 22.781 | 889.567 | 22.72 | 0.16911
2020-09-09 12:30:00 | 1.753 | 121.867 | 2.216 | 180.966 | 1.82 | 80.102 | 1.508 | 29.74 | 22.714 | 889.8 | 21.781 | 0.18262
2020-09-09 12:45:00 | 2.256 | 47.082 | 2.742 | 33.928 | 2.658 | 39.834 | 2.762 | 55.533 | 22.814 | 889.417 | 21.387 | 0.12293
2020-09-09 13:00:00 | 2.6 | 106.08 | 2.698 | 109.857 | 2.195 | 118.167 | 2.202 | 116.367 | 22.581 | 890.067 | 20.136 | 0.19612
2020-09-09 13:15:00 | 2.984 | 71.833 | 3.152 | 63.83 | 3.215 | 66.433 | 3.456 | 62.933 | 23.148 | 889.667 | 19.955 | 0.10019
2020-09-09 13:30:00 | 3.005 | 179.638 | 2.754 | 160.404 | 3.008 | 89.405 | 3.382 | 81.469 | 23.281 | 889.5 | 19.823 | 0.59048
2020-09-09 13:45:00 | 3.169 | 31.084 | 3.191 | 27.776 | 3.148 | 55.1 | 3.436 | 38.875 | 23.514 | 889.6 | 19.227 | 1.6471
2020-09-09 14:00:00 | 3.494 | 89.342 | 3.646 | 66.98 | 3.782 | 18.203 | 3.988 | 19.133 | 23.618 | 889.167 | 18.637 | 2.6774
2020-09-09 14:15:00 | 4.636 | 55.476 | 5.052 | 58.062 | 5.327 | 61.933 | 5.327 | 56.333 | 23.906 | 889.867 | 17.488 | 2.946
2020-09-09 14:30:00 | 3.2 | 55.487 | 3.692 | 71.291 | 3.486 | 69.567 | 3.702 | 67.533 | 24.423 | 889.7 | 16.925 | 2.1509
2020-09-09 14:45:00 | 3.095 | 72.09 | 3.211 | 71.409 | 3.244 | 83 | 3.362 | 103.167 | 24.51 | 889.467 | 16.583 | 2.8998
2020-09-09 15:00:00 | 5.186 | 55.535 | 5.486 | 53.375 | 5.626 | 56.533 | 5.85 | 53.733 | 24.244 | 889.633 | 16.597 | 2.6604
2020-09-09 15:15:00 | 2.315 | 75.041 | 2.332 | 56.992 | 2.082 | 84.071 | 2.46 | 49.408 | 24.539 | 889.4 | 16.205 | 2.9425
2020-09-09 15:30:00 | 3.849 | 75.273 | 3.784 | 74.717 | 3.969 | 74.8 | 4.158 | 70.333 | 24.739 | 889.5 | 16.509 | 4.3842
2020-09-09 15:45:00 | 3.574 | 48.941 | 3.081 | 61.509 | 2.944 | 24.1 | 3.193 | 24.933 | 24.839 | 889.533 | 16.075 | 4.7679
2020-09-09 16:00:00 | 3.522 | 64.326 | 3.813 | 61.696 | 4.343 | 63 | 4.598 | 57.033 | 25.439 | 889.867 | 15.683 | 6.4555
2020-09-09 16:15:00 | 4.624 | 69.537 | 4.619 | 66.369 | 5.183 | 72.3 | 5.719 | 70.2 | 24.823 | 890.067 | 15.752 | 6.5365
2020-09-09 16:30:00 | 3 | 110.716 | 3.363 | 97.072 | 3.495 | 99.133 | 3.694 | 94.267 | 24.935 | 889.333 | 16.243 | 6.3788
2020-09-09 16:45:00 | 3.295 | 44.802 | 3.422 | 42.284 | 3.644 | 50.3 | 3.96 | 56.967 | 24.748 | 889.433 | 15.624 | 11.1062
2020-09-09 17:00:00 | 4.781 | 67.409 | 5.089 | 66.324 | 5.031 | 72.033 | 5.578 | 66.433 | 25.306 | 889.333 | 15.563 | 10.559
2020-09-09 17:15:00 | 5.212 | 80.08 | 5.191 | 73.509 | 5.606 | 74.7 | 5.759 | 71.1 | 25.089 | 889.633 | 15.192 | 12.0157
2020-09-09 17:30:00 | 6.345 | 55.833 | 6.092 | 51.445 | 6.356 | 56.8 | 6.47 | 53.333 | 24.964 | 889.8 | 14.504 | 11.7933
2020-09-09 17:45:00 | 4.347 | 58.374 | 4.301 | 52.703 | 4.667 | 54.3 | 4.927 | 53.333 | 25.156 | 889.367 | 13.989 | 10.127
2020-09-09 18:00:00 | 4.294 | 75.017 | 4.385 | 61.877 | 4.802 | 64.933 | 4.868 | 58 | 24.989 | 889.267 | 13.365 | 6.9827
2020-09-09 18:15:00 | 4.002 | 72.915 | 4.103 | 67.258 | 4.297 | 70 | 4.417 | 65.5 | 25.589 | 889.5 | 13.043 | 8.0443
2020-09-09 18:30:00 | 3.917 | 101.027 | 4.321 | 92.783 | 4.276 | 95.1 | 4.252 | 88.3 | 25.994 | 889.667 | 12.787 | 7.9264
2020-09-09 18:45:00 | 3.617 | 83.069 | 3.734 | 80.881 | 3.817 | 85.067 | 3.839 | 82.4 | 25.406 | 889.467 | 12.141 | 10.0268
2020-09-09 19:00:00 | 4.037 | 92.47 | 3.976 | 85.947 | 3.911 | 88.3 | 4.059 | 81.8 | 25.744 | 889.367 | 11.875 | 8.2824
2020-09-09 19:15:00 | 4.387 | 90.81 | 4.192 | 89.332 | 4.255 | 91.8 | 4.363 | 86.8 | 25.435 | 889.367 | 11.952 | 6.3944
2020-09-09 19:30:00 | 4.236 | 74.562 | 4.396 | 69.34 | 4.699 | 75 | 4.744 | 71.4 | 25.489 | 889.667 | 12.307 | 5.3449
2020-09-09 19:45:00 | 2.52 | 57.667 | 2.717 | 53.344 | 2.634 | 55.133 | 2.626 | 53.1 | 24.831 | 889.367 | 12.488 | 2.9382
2020-09-09 20:00:00 | 2.563 | 65.123 | 2.466 | 59.779 | 2.561 | 63.133 | 2.91 | 62.1 | 24.264 | 889.167 | 13.045 | 2.3555
2020-09-09 20:15:00 | 2.315 | 63.508 | 2.71 | 60.089 | 2.783 | 64.033 | 2.905 | 60.867 | 23.989 | 889.6 | 13.445 | 1.0744
2020-09-09 20:30:00 | 1.838 | 62.633 | 2.383 | 62.668 | 2.581 | 67.133 | 2.923 | 65.3 | 23.298 | 889.467 | 13.667 | 0.34534
2020-09-09 20:45:00 | 2.162 | 68.787 | 2.212 | 64.68 | 2.342 | 68.667 | 2.677 | 62.767 | 22.898 | 889.7 | 13.667 | 0.10658
2020-09-09 21:00:00 | 1.371 | 71.107 | 1.78 | 62.098 | 2.119 | 64 | 2.576 | 68 | 22.931 | 889.333 | 13.621 | 0.2018
2020-09-09 21:15:00 | 1.672 | 68.053 | 2.362 | 62.122 | 2.577 | 68.033 | 2.941 | 67.933 | 22.631 | 889.3 | 13.608 | 0.31549
2020-09-09 21:30:00 | 0.516 | 68.027 | 1.794 | 61.5 | 2.236 | 68.033 | 2.737 | 68 | 22.231 | 889.833 | 13.659 | 0.30981
2020-09-09 21:45:00 | 0 | 68.06 | 1.235 | 52.649 | 1.655 | 61.133 | 1.849 | 68 | 21.573 | 889.933 | 14.403 | 0.21317
2020-09-09 22:00:00 | 0.229 | 68.12 | 0.367 | 51.096 | 1.249 | 55 | 1.532 | 54 | 20.948 | 889.267 | 15.165 | 0.17054
2020-09-09 22:15:00 | 2.276 | 264.48 | 0.819 | 39.08 | 0.244 | 54.467 | 0.262 | 53.933 | 20.623 | 888.867 | 15.187 | 0.17054
2020-09-09 22:30:00 | 4.727 | 255.407 | 3.709 | 277.442 | 2.787 | 300.567 | 1.977 | 148.034 | 19.385 | 889.633 | 16.42 | 0.17622
2020-09-09 22:45:00 | 7.1 | 257.427 | 8.918 | 263.123 | 8.55 | 270.3 | 8.165 | 269.133 | 17.489 | 889.367 | 18.705 | 7.7438
2020-09-09 23:00:00 | 7.743 | 300.333 | 9.274 | 292.614 | 9.947 | 295.233 | 10.523 | 291.933 | 19.281 | 889.783 | 27.733 | 67.7817
2020-09-09 23:15:00 | 7.818 | 287.56 | 9.033 | 280.934 | 9.5 | 285 | 10.103 | 283.3 | 18.985 | 889.917 | 29.883 | 64.9557
2020-09-09 23:30:00 | 8.121 | 282.467 | 9.499 | 276.877 | 9.824 | 281.9 | 10.76 | 279.267 | 18.806 | 889.817 | 30.571 | 64.6438
2020-09-09 23:45:00 | 8.004 | 285 | 9.582 | 277.362 | 10.235 | 280.433 | 10.963 | 279.9 | 18.789 | 890.133 | 30.459 | 65.2279