## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-09-10 00:00:00 | 8.078 | 282.2 | 9.515 | 276.025 | 10.215 | 278.567 | 10.722 | 278.4 | 18.406 | 889.65 | 30.848 | 61.9607
2020-09-10 00:15:00 | 8.184 | 282.667 | 9.333 | 275.874 | 9.824 | 278.533 | 10.358 | 275.467 | 18.335 | 889.533 | 29.979 | 68.8162
2020-09-10 00:30:00 | 8.602 | 280.467 | 9.759 | 274.207 | 10.57 | 280.067 | 10.997 | 278.133 | 18.114 | 889.45 | 30.821 | 75.2284
2020-09-10 00:45:00 | 9.79 | 282.093 | 11.246 | 276.982 | 12.384 | 279.833 | 13.147 | 279.533 | 17.818 | 889.8 | 30.56 | 83.6415
2020-09-10 01:00:00 | 10.915 | 285.093 | 12.924 | 280.088 | 13.679 | 282.333 | 14.41 | 279.633 | 17.939 | 889.933 | 29.56 | 83.9314
2020-09-10 01:15:00 | 9.562 | 284.96 | 10.798 | 281.047 | 11.803 | 283.4 | 12.973 | 279.5 | 17.635 | 889.65 | 28.075 | 82.1444
2020-09-10 01:30:00 | 9.109 | 280.173 | 10.198 | 273.687 | 10.872 | 279.567 | 11.356 | 274.367 | 17.51 | 889.8 | 27.429 | 77.0546
2020-09-10 01:45:00 | 8.017 | 274.64 | 9.54 | 268.305 | 10.046 | 274.567 | 10.478 | 270.967 | 17.785 | 889.633 | 27.549 | 74.3978
2020-09-10 02:00:00 | 7.891 | 264.027 | 9.543 | 262.229 | 10.28 | 266.767 | 10.688 | 263.567 | 17.177 | 889.85 | 29.269 | 63.5303
2020-09-10 02:15:00 | 8.7 | 264.453 | 10.026 | 262.181 | 10.81 | 266.567 | 10.989 | 261.367 | 17.748 | 889.75 | 28.381 | 61.3084
2020-09-10 02:30:00 | 7.703 | 263.06 | 9.366 | 259.203 | 10.223 | 265.2 | 10.587 | 259.133 | 17.798 | 889.883 | 27.736 | 57.4536
2020-09-10 02:45:00 | 7.073 | 268.453 | 8.454 | 264.819 | 9.148 | 270.3 | 9.816 | 266.317 | 18.052 | 889.8 | 26.605 | 50.4261
2020-09-10 03:00:00 | 9.029 | 268.267 | 10.336 | 263.785 | 10.88 | 269.2 | 11.229 | 264.167 | 17.706 | 889.967 | 25.781 | 51.9417
2020-09-10 03:15:00 | 8.04 | 283.787 | 9.118 | 274.64 | 9.678 | 277.2 | 10.326 | 273.467 | 17.964 | 889.833 | 26.597 | 57.0912
2020-09-10 03:30:00 | 9.126 | 275.64 | 10.437 | 268.046 | 11.057 | 272.967 | 11.394 | 268.9 | 17.427 | 889.667 | 27.781 | 65.5327
2020-09-10 03:45:00 | 7.985 | 277.24 | 9.282 | 269.465 | 9.813 | 274.467 | 10.157 | 271.467 | 17.664 | 889.85 | 27.789 | 66.563
2020-09-10 04:00:00 | 7.676 | 274.213 | 8.583 | 267.005 | 9.18 | 271.933 | 9.623 | 268.933 | 18.114 | 889.8 | 27.808 | 60.1772
2020-09-10 04:15:00 | 8.831 | 269.08 | 9.916 | 264.38 | 10.539 | 266.767 | 10.776 | 263.283 | 17.527 | 889.683 | 28.584 | 60.7662
2020-09-10 04:30:00 | 7.377 | 272.113 | 8.626 | 267.398 | 9.342 | 272.367 | 10.047 | 267.067 | 17.394 | 890.067 | 28.48 | 63.114
2020-09-10 04:45:00 | 10.327 | 266.587 | 11.497 | 262.187 | 12.094 | 267.133 | 12.138 | 262.767 | 17.556 | 889.8 | 30.344 | 78.0316
2020-09-10 05:00:00 | 8.037 | 269.613 | 9.262 | 261.037 | 9.793 | 265.45 | 10.118 | 259.8 | 17.168 | 889.567 | 32.509 | 69.9411
2020-09-10 05:15:00 | 6.046 | 247.307 | 7.05 | 242.838 | 7.478 | 247.1 | 7.706 | 242.117 | 17.089 | 889.967 | 32.632 | 44.8844
2020-09-10 05:30:00 | 6.729 | 231.8 | 7.748 | 228.19 | 8.283 | 234.367 | 8.473 | 229.933 | 17.364 | 889.85 | 33.755 | 39.3157
2020-09-10 05:45:00 | 5.512 | 254.113 | 6.743 | 248.794 | 7.5 | 253.95 | 7.428 | 249.65 | 16.748 | 889.95 | 35.715 | 25.8831
2020-09-10 06:00:00 | 6.66 | 235.2 | 7.314 | 233.072 | 7.81 | 239.133 | 7.998 | 234 | 16.564 | 889.6 | 37.92 | 33.3384
2020-09-10 06:15:00 | 3.336 | 232.033 | 4.407 | 233.596 | 4.868 | 237.467 | 5.024 | 232.5 | 16.698 | 889.083 | 38.309 | 14.4096
2020-09-10 06:30:00 | 4.575 | 235.753 | 5.194 | 233.456 | 5.544 | 238.4 | 5.552 | 232.8 | 16.664 | 890.1 | 37.979 | 14.9581
2020-09-10 06:45:00 | 4.917 | 225.147 | 5.803 | 225.669 | 6.15 | 230.833 | 6.273 | 226.8 | 16.003 | 889.4 | 38.197 | 21.6936
2020-09-10 07:00:00 | 5.272 | 234.793 | 6.151 | 232.167 | 6.698 | 236.733 | 6.801 | 231.867 | 15.875 | 889.65 | 38.128 | 28.385
2020-09-10 07:15:00 | 4.378 | 240.98 | 5.376 | 240.212 | 5.842 | 245.933 | 6.082 | 241.183 | 15.55 | 889.767 | 38.453 | 17.0969
2020-09-10 07:30:00 | 4.082 | 256.887 | 5.147 | 252.958 | 5.587 | 255.35 | 5.828 | 250.167 | 15.846 | 889.833 | 38.216 | 18.4975
2020-09-10 07:45:00 | 4.474 | 254.88 | 5.162 | 251.978 | 5.494 | 256.617 | 5.694 | 252.467 | 15.638 | 889.383 | 37.997 | 21.3547
2020-09-10 08:00:00 | 3.987 | 250.8 | 4.75 | 250.732 | 5.192 | 253.467 | 5.573 | 248.583 | 15.402 | 890.367 | 37.619 | 15.6957
2020-09-10 08:15:00 | 4.304 | 250.747 | 5.084 | 248.511 | 5.468 | 253.267 | 5.7 | 248.083 | 15.69 | 889.85 | 37.104 | 15.2992
2020-09-10 08:30:00 | 4.795 | 256.333 | 5.553 | 254.631 | 5.899 | 257.6 | 6.32 | 251.65 | 16.264 | 889.633 | 35.523 | 16.9776
2020-09-10 08:45:00 | 4.867 | 259.667 | 5.532 | 257.62 | 6.164 | 263.667 | 6.54 | 258.283 | 17.014 | 889.55 | 33.928 | 22.7253
2020-09-10 09:00:00 | 5.721 | 266.38 | 5.955 | 262.738 | 6.132 | 268.55 | 6.225 | 262.15 | 17.939 | 889.95 | 31.456 | 23.907
2020-09-10 09:15:00 | 6.567 | 267.693 | 7.279 | 260.446 | 7.354 | 263.933 | 7.267 | 257.583 | 17.802 | 889.9 | 31.704 | 29.1467
2020-09-10 09:30:00 | 6.657 | 272.287 | 7.141 | 267.263 | 7.035 | 270.767 | 7.092 | 264.8 | 18.348 | 890.017 | 32.797 | 29.1617
2020-09-10 09:45:00 | 6.266 | 268.7 | 7.012 | 264.161 | 7.257 | 268.2 | 7.41 | 264.05 | 17.885 | 890.1 | 32.813 | 29.3734
2020-09-10 10:00:00 | 6.349 | 287.667 | 6.759 | 282.876 | 6.876 | 285.7 | 7.136 | 282.733 | 17.673 | 889.833 | 33.128 | 24.1941
2020-09-10 10:15:00 | 6.607 | 286.36 | 6.94 | 281.883 | 6.936 | 284.2 | 7.334 | 283.233 | 18.364 | 889.5 | 32.04 | 28.1349
2020-09-10 10:30:00 | 7.306 | 296.64 | 7.856 | 290.458 | 8.162 | 295.067 | 8.638 | 292.833 | 18.277 | 890.083 | 32.272 | 32.0153
2020-09-10 10:45:00 | 7.102 | 292.347 | 7.524 | 290.89 | 7.499 | 296.033 | 7.7 | 293.4 | 18.502 | 889.667 | 32.997 | 37.1435
2020-09-10 11:00:00 | 8.185 | 296.333 | 8.486 | 293.154 | 8.606 | 295.5 | 9.138 | 290.8 | 18.877 | 889.85 | 32.856 | 39.4869
2020-09-10 11:15:00 | 8.415 | 291.547 | 8.797 | 286.855 | 8.899 | 289.633 | 9.155 | 287.767 | 19.177 | 889.717 | 32.443 | 38.8346
2020-09-10 11:30:00 | 7.616 | 286.707 | 8.052 | 281.401 | 8.21 | 286.767 | 8.397 | 284.767 | 19.152 | 889.383 | 31.445 | 38.5774
2020-09-10 11:45:00 | 6.927 | 282.627 | 7.249 | 278.285 | 7.478 | 281.367 | 7.579 | 279.2 | 19.223 | 889.9 | 30.245 | 30.6816
2020-09-10 12:00:00 | 6.748 | 281.893 | 7.137 | 273.512 | 7.374 | 276.2 | 7.473 | 272.333 | 19.51 | 889.983 | 30.059 | 27.7881
2020-09-10 12:15:00 | 6.349 | 278.853 | 6.852 | 275.644 | 7.008 | 278.633 | 7.208 | 277.8 | 20.36 | 889.683 | 28.523 | 21.2587
2020-09-10 12:30:00 | 5.431 | 286.327 | 5.954 | 281.128 | 6.136 | 284.417 | 6.394 | 282.717 | 20.144 | 889.567 | 28.424 | 22.4937
2020-09-10 12:45:00 | 5.836 | 265.167 | 6.146 | 265.752 | 6.285 | 270.567 | 6.319 | 265.533 | 20.623 | 889.817 | 27.699 | 16.1846
2020-09-10 13:00:00 | 6.121 | 291.893 | 6.25 | 289.342 | 6.521 | 290.8 | 7.063 | 289.8 | 21.064 | 889.817 | 27.299 | 20.9575
2020-09-10 13:15:00 | 5.376 | 295.813 | 5.349 | 292.541 | 5.424 | 297.067 | 5.589 | 293.067 | 21.102 | 889.883 | 26.576 | 12.9259
2020-09-10 13:30:00 | 8.526 | 293.667 | 8.928 | 289.691 | 9.019 | 293 | 9.097 | 287.9 | 20.914 | 889.717 | 26.304 | 27.5409
2020-09-10 13:45:00 | 7.356 | 310.987 | 7.717 | 304.27 | 7.772 | 306.6 | 7.848 | 306.333 | 20.714 | 889.5 | 27.093 | 44.0637
2020-09-10 14:00:00 | 8.77 | 293.88 | 9.055 | 290.806 | 9.191 | 294.833 | 9.389 | 291.733 | 20.964 | 889.867 | 27.419 | 53.6812
2020-09-10 14:15:00 | 8.016 | 295.707 | 8.548 | 286.678 | 8.634 | 289.5 | 8.822 | 285.733 | 20.244 | 889.867 | 28.461 | 54.676
2020-09-10 14:30:00 | 7.676 | 294.587 | 8.108 | 295.396 | 8.258 | 300.533 | 8.551 | 298.167 | 20.852 | 889.783 | 27.317 | 38.6513
2020-09-10 14:45:00 | 7.478 | 284.24 | 8.018 | 275.894 | 8.18 | 279.417 | 8.377 | 277.883 | 21.135 | 889.567 | 26.84 | 44.4872
2020-09-10 15:00:00 | 6.558 | 263.833 | 7.281 | 266.055 | 7.486 | 272.317 | 7.461 | 270.25 | 21.344 | 890.217 | 26.536 | 41.8986
2020-09-10 15:15:00 | 4.876 | 311.633 | 4.735 | 304.134 | 4.808 | 302 | 5.19 | 296.183 | 21.427 | 889.833 | 26.728 | 25.3914
2020-09-10 15:30:00 | 9.22 | 311.68 | 9.561 | 303.358 | 9.816 | 308.133 | 10.535 | 306.333 | 21.989 | 889.45 | 26.451 | 32.0807
2020-09-10 15:45:00 | 11.937 | 312.893 | 12.564 | 307.686 | 12.795 | 310.267 | 13.264 | 309.667 | 20.998 | 889.733 | 27.165 | 81.0074
2020-09-10 16:00:00 | 9.934 | 290.08 | 10.557 | 285.726 | 10.919 | 289.2 | 11.124 | 287.733 | 20.689 | 890.017 | 28.504 | 91.3952
2020-09-10 16:15:00 | 7.833 | 296.213 | 8.168 | 288.161 | 8.323 | 292.533 | 8.463 | 289.367 | 20.86 | 889.767 | 28.747 | 64.5195
2020-09-10 16:30:00 | 8.565 | 275.813 | 8.782 | 269.386 | 8.564 | 274.3 | 8.468 | 272.167 | 21.36 | 889.567 | 27.101 | 47.8986
2020-09-10 16:45:00 | 6.434 | 294.72 | 7.136 | 286.34 | 7.228 | 289.8 | 7.605 | 286.8 | 21.518 | 889.683 | 27.019 | 38.1773
2020-09-10 17:00:00 | 7.486 | 281.653 | 8.156 | 276.254 | 8.485 | 279.3 | 8.397 | 277.367 | 21.502 | 890.033 | 26.901 | 40.9649
2020-09-10 17:15:00 | 7.249 | 281.44 | 7.754 | 275.156 | 7.938 | 279.167 | 8.085 | 274.35 | 21.402 | 889.767 | 27.616 | 38.2299
2020-09-10 17:30:00 | 8.774 | 279.507 | 9.369 | 274.97 | 9.516 | 282.033 | 9.606 | 278.267 | 21.352 | 889.75 | 26.715 | 40.8455
2020-09-10 17:45:00 | 8.585 | 286.853 | 9.137 | 284.002 | 9.351 | 288.833 | 10.001 | 283.2 | 21.635 | 889.933 | 26.499 | 47.4602
2020-09-10 18:00:00 | 8.476 | 294.733 | 8.996 | 287.841 | 9.273 | 292.133 | 9.452 | 289.667 | 21.431 | 889.817 | 26.952 | 52.0341
2020-09-10 18:15:00 | 7.85 | 291.307 | 8.286 | 286.626 | 8.639 | 292.533 | 9.179 | 289.567 | 21.877 | 889.85 | 26.133 | 55.6388
2020-09-10 18:30:00 | 8.542 | 296.067 | 9.163 | 292.101 | 9.343 | 296.5 | 9.758 | 294.7 | 21.464 | 889.9 | 25.856 | 60.6703
2020-09-10 18:45:00 | 8.712 | 297.76 | 9.314 | 295.15 | 9.772 | 297.2 | 10.318 | 295 | 21.356 | 889.617 | 26.133 | 65.5121
2020-09-10 19:00:00 | 9.536 | 294.893 | 10.278 | 291.003 | 10.537 | 294.033 | 10.856 | 293.767 | 21.198 | 890.117 | 26.565 | 72.1524
2020-09-10 19:15:00 | 8.26 | 288.387 | 9.034 | 285.314 | 9.305 | 290.5 | 9.717 | 288.233 | 20.714 | 889.75 | 27.336 | 69.8913
2020-09-10 19:30:00 | 7.294 | 291.08 | 7.946 | 287.492 | 8.276 | 292.433 | 8.709 | 291.867 | 20.473 | 890.083 | 27.701 | 63.2035
2020-09-10 19:45:00 | 7.333 | 282.92 | 8.395 | 276.263 | 8.755 | 279.2 | 8.924 | 275.6 | 20.085 | 889.7 | 28.885 | 55.8093
2020-09-10 20:00:00 | 7.315 | 291.427 | 8.329 | 284.165 | 8.414 | 287.8 | 8.717 | 286.133 | 19.681 | 889.867 | 29.309 | 45.2205
2020-09-10 20:15:00 | 6.656 | 288.533 | 7.41 | 284.764 | 7.693 | 287.933 | 7.853 | 286.367 | 19.673 | 889.483 | 29.76 | 36.7477
2020-09-10 20:30:00 | 6.764 | 282.16 | 7.881 | 277.158 | 7.992 | 281.733 | 8.391 | 278.567 | 19.106 | 889.833 | 30.224 | 36.3405
2020-09-10 20:45:00 | 5.848 | 275.533 | 6.781 | 270.776 | 7.108 | 275.833 | 7.397 | 273.467 | 18.439 | 889.7 | 30.616 | 31.7034
2020-09-10 21:00:00 | 5.507 | 279.347 | 6.717 | 274.871 | 7.151 | 279.033 | 7.513 | 277.2 | 18.635 | 889.367 | 31.216 | 30.6212
2020-09-10 21:15:00 | 5.622 | 280.333 | 6.847 | 277.22 | 7.298 | 279 | 7.534 | 275.2 | 18.031 | 890.083 | 31.067 | 28.4937
2020-09-10 21:30:00 | 5.049 | 281.4 | 6.227 | 278.56 | 6.859 | 282.933 | 7.234 | 280.333 | 18.352 | 889.767 | 31.269 | 22.7033
2020-09-10 21:45:00 | 6.51 | 311.773 | 7.697 | 307.121 | 8.356 | 312.667 | 8.677 | 310.933 | 17.781 | 889.517 | 30.376 | 26.0963
2020-09-10 22:00:00 | 5.576 | 311.24 | 6.603 | 306.954 | 7.178 | 313.967 | 7.576 | 313.067 | 17.664 | 889.55 | 28.525 | 33.3369
2020-09-10 22:15:00 | 5.889 | 314.787 | 7.052 | 308.707 | 7.472 | 313 | 8.209 | 310.6 | 17.248 | 889.867 | 28.835 | 36.6908
2020-09-10 22:30:00 | 5.83 | 308.493 | 7.111 | 302.788 | 7.682 | 308.7 | 8.145 | 307.267 | 17.098 | 889.783 | 29.328 | 35.6264
2020-09-10 22:45:00 | 5.272 | 299.32 | 6.47 | 294.658 | 7.081 | 299.6 | 7.803 | 298.7 | 16.764 | 889.833 | 30.051 | 32.5887
2020-09-10 23:00:00 | 5.033 | 300.64 | 6.242 | 298.566 | 6.945 | 302.167 | 7.552 | 303.2 | 16.046 | 889.8 | 31.077 | 28.3765
2020-09-10 23:15:00 | 5.028 | 299.493 | 6.354 | 295.692 | 6.904 | 301.867 | 7.394 | 300.2 | 16.136 | 889.983 | 31.848 | 24.6595
2020-09-10 23:30:00 | 4.793 | 295.267 | 6.058 | 292.893 | 6.501 | 299.4 | 7.027 | 298.2 | 15.794 | 889.583 | 31.992 | 19.871
2020-09-10 23:45:00 | 4.496 | 294.373 | 5.558 | 291.977 | 6.011 | 299.5 | 6.683 | 297.7 | 15.799 | 889.567 | 32.091 | 19.4141